## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-13 00:00:00 | 2.367 | 38.12 | 2.876 | 45.5 | 3.161 | 42.861 | 3.135 | 44.84 | 18.25 | 975.739 | 99.8844 | 0.36949
2020-09-13 00:15:00 | 1.757 | 41.56 | 2.549 | 54.67 | 2.713 | 51.4991 | 2.763 | 47.51 | 18.19 | 975.739 | 99.8836 | -0.3621
2020-09-13 00:30:00 | 1.759 | 46.43 | 3.096 | 52.97 | 3.268 | 49.8977 | 3.313 | 59.63 | 18.1 | 975.739 | 99.9175 | -0.29928
2020-09-13 00:45:00 | 2.183 | 46.09 | 2.684 | 51.29 | 2.889 | 48.3152 | 2.882 | 68.72 | 18.13 | 975.739 | 99.882 | -0.19213
2020-09-13 01:00:00 | 2.194 | 57.22 | 3.039 | 58.24 | 3.019 | 54.8621 | 3.191 | 76.3 | 18.54 | 975.887 | 99.6104 | -0.24386
2020-09-13 01:15:00 | 2.107 | 52.45 | 2.479 | 55.57 | 2.54 | 52.3469 | 2.684 | 73.2 | 19.12 | 975.739 | 93.1282 | -0.0036948
2020-09-13 01:30:00 | 2.505 | 63.49 | 2.748 | 65.87 | 2.492 | 62.0495 | 2.572 | 84.2 | 19.34 | 975.739 | 89.7512 | 0.033254
2020-09-13 01:45:00 | 1.426 | 67.92 | 1.863 | 58.08 | 2.105 | 54.7114 | 2.353 | 91.7 | 19.35 | 975.887 | 88.8981 | -0.13301
2020-09-13 02:00:00 | 1.747 | 54.73 | 1.299 | 46.62 | 2.1 | 43.916 | 2.289 | 81.3 | 19.55 | 976.036 | 88.5555 | -0.11454
2020-09-13 02:15:00 | 2.122 | 37.72 | 2.198 | 43.06 | 1.658 | 40.5625 | 1.767 | 62.77 | 19.56 | 976.036 | 88.2143 | -0.040643
2020-09-13 02:30:00 | 2.27 | 37.52 | 2.459 | 36.82 | 2.184 | 34.6844 | 2.103 | 58.72 | 19.39 | 975.739 | 86.2357 | -0.11454
2020-09-13 02:45:00 | 1.513 | 51.05 | 2.03 | 50.29 | 2.085 | 47.3732 | 2.088 | 71.17 | 19.43 | 975.739 | 83.4385 | -0.077592
2020-09-13 03:00:00 | 1.946 | 62.39 | 2.143 | 63.24 | 2.632 | 59.5721 | 2.73 | 80.6 | 19.89 | 975.739 | 82.8586 | -0.055423
2020-09-13 03:15:00 | 1.701 | 79.27 | 1.715 | 77.14 | 2.248 | 72.6659 | 2.419 | 94.3 | 19.89 | 975.739 | 81.9376 | -0.018474
2020-09-13 03:30:00 | 1.507 | 91.7 | 1.637 | 99.2 | 2.167 | 93.4464 | 2.404 | 103.9 | 19.98 | 975.739 | 82.0058 | 0.31406
2020-09-13 03:45:00 | 2.079 | 99.6 | 1.909 | 107.6 | 2.411 | 101.359 | 2.551 | 106.8 | 20.24 | 975.739 | 81.5283 | 0.36579
2020-09-13 04:00:00 | 2.247 | 73.11 | 2.889 | 77.04 | 3.128 | 72.5717 | 3.193 | 86.2 | 20.1 | 975.739 | 83.575 | 0.2845
2020-09-13 04:15:00 | 0.511 | 88.7 | 1.269 | 96.2 | 2.909 | 90.6204 | 3.096 | 96 | 19.75 | 975.739 | 83.9502 | 0.073897
2020-09-13 04:30:00 | 0.423 | 88.7 | 0.786 | 89.1 | 0.89 | 83.9322 | 0.904 | 97.9 | 19.83 | 975.739 | 83.7114 | -0.055423
2020-09-13 04:45:00 | 0.735 | 73.98 | 1.503 | 79.29 | 1.874 | 74.6912 | 1.791 | 92 | 19.86 | 975.591 | 83.4385 | -0.084981
2020-09-13 05:00:00 | 1.601 | 43.55 | 0.276 | 33.1 | 0.582 | 31.1802 | 0.453 | 77.72 | 19.46 | 975.739 | 84.6666 | -0.19583
2020-09-13 05:15:00 | 1.138 | 94.6 | 0.139 | 52.33 | 0.509 | 49.2949 | 0.318 | 124.9 | 19.56 | 975.739 | 84.5984 | -0.25125
2020-09-13 05:30:00 | 2.033 | 26.07 | 1.296 | 31.55 | 0.356 | 29.7201 | 0.378 | 72 | 19.56 | 975.739 | 84.8713 | -0.26972
2020-09-13 05:45:00 | 2.012 | 6.875 | 0.82 | 31.07 | 0 | 29.2679 | 0 | 74.27 | 19.6 | 976.036 | 83.9843 | -0.22539
2020-09-13 06:00:00 | 1.936 | 0.098 | 1.012 | 30.4 | 0.18 | 28.6368 | 0.046 | 28.43 | 19.69 | 976.333 | 83.5068 | -0.22539
2020-09-13 06:15:00 | 0.316 | 0.098 | 0 | 30.4 | 0 | 28.6368 | 0 | 28.41 | 19.77 | 976.333 | 82.7563 | -0.22539
2020-09-13 06:30:00 | 1.785 | 0.098 | 1.641 | 30.4 | 0.894 | 28.6368 | 0.549 | 20.48 | 19.84 | 976.63 | 84.0526 | -0.22539
2020-09-13 06:45:00 | 2.239 | 12.25 | 2.924 | 30.4 | 2.749 | 28.6368 | 2.656 | 20.54 | 19.32 | 976.469 | 86.8498 | -0.24016
2020-09-13 07:00:00 | 2.347 | 20.41 | 3.042 | 30.83 | 2.507 | 29.0419 | 2.437 | 26.35 | 19.32 | 976.891 | 87.0544 | -0.23647
2020-09-13 07:15:00 | 0.999 | 19.34 | 1.884 | 25.46 | 1.548 | 23.9833 | 1.4 | 26.46 | 19.53 | 976.953 | 87.9414 | -0.25125
2020-09-13 07:30:00 | 0 | 19.19 | 0 | 25.44 | 0 | 23.9645 | 0 | 26.45 | 20 | 977.018 | 82.2105 | -0.24016
2020-09-13 07:45:00 | 0.545 | 19.19 | 0 | 25.43 | 0 | 23.9551 | 0 | 26.45 | 20.2 | 977.224 | 86.1621 | -0.24016
2020-09-13 08:00:00 | 0.427 | 19.19 | 0 | 25.43 | 0 | 23.9551 | 0 | 26.4 | 19.88 | 977.37 | 90.9987 | -0.22539
2020-09-13 08:15:00 | 0.781 | 9.76 | 0.327 | 21.48 | 0 | 20.2342 | 0 | 26.4 | 19.47 | 977.519 | 91.5758 | -0.24016
2020-09-13 08:30:00 | 0.453 | 9.75 | 0.015 | 21.46 | 0 | 20.2153 | 0 | 26.4 | 19.51 | 977.667 | 90.8597 | -0.22539
2020-09-13 08:45:00 | 0.004 | 9.77 | 0.034 | 21.49 | 0 | 20.2436 | 0 | 26.41 | 20.3 | 977.964 | 88.4039 | -0.23647
2020-09-13 09:00:00 | 0.244 | 154.6 | 0.419 | 93.5 | 0.006 | 88.077 | 0 | 26.43 | 20.43 | 978.409 | 85.3331 | -0.22539
2020-09-13 09:15:00 | 0.716 | 205.6 | 0.795 | 204 | 0.279 | 192.168 | 0.18 | 263.1 | 21.41 | 978.456 | 81.4324 | -0.22539
2020-09-13 09:30:00 | 0.279 | 194.7 | 0.373 | 172.8 | 0 | 162.778 | 0 | 230.7 | 21.45 | 978.703 | 78.5603 | -0.24016
2020-09-13 09:45:00 | 0.438 | 264.6 | 0.266 | 267.3 | 0.006 | 251.797 | 0.018 | 291.4 | 22.13 | 978.852 | 79.5432 | -0.25125
2020-09-13 10:00:00 | 0.371 | 296.8 | 0.415 | 292 | 0.075 | 275.064 | 0.04 | 294 | 22.03 | 978.852 | 76.2666 | -0.22539
2020-09-13 10:15:00 | 1.244 | 326.8 | 1.94 | 327.6 | 1.662 | 308.599 | 1.369 | 332.1 | 22.19 | 978.555 | 76.9048 | -0.22539
2020-09-13 10:30:00 | 0.766 | 29.13 | 1.089 | 6.246 | 1.291 | 5.8837 | 1.037 | 33.73 | 23.13 | 978.666 | 72.3255 | -0.26972
2020-09-13 10:45:00 | 1.751 | 309.2 | 2.184 | 316 | 1.833 | 297.672 | 1.668 | 303.9 | 22.8 | 978.108 | 77.0961 | -0.25125
2020-09-13 11:00:00 | 1.706 | 293.5 | 2.005 | 300.7 | 1.684 | 283.259 | 1.48 | 290.4 | 22.12 | 977.96 | 76.8575 | -0.24016
2020-09-13 11:15:00 | 1.602 | 299.6 | 1.893 | 326.4 | 1.563 | 307.469 | 1.225 | 288.1 | 22.18 | 977.243 | 78.4595 | -0.24016
2020-09-13 11:30:00 | 2.382 | 288.5 | 2.63 | 305.4 | 2.408 | 287.687 | 2.304 | 290.4 | 22.22 | 977.936 | 75.7669 | -0.25864
2020-09-13 11:45:00 | 2.279 | 296.7 | 2.183 | 316.8 | 1.907 | 298.426 | 1.703 | 294 | 22.55 | 978.236 | 73.6212 | -0.25125
2020-09-13 12:00:00 | 2.33 | 328.3 | 2.534 | 334.8 | 2.351 | 315.382 | 2.193 | 328.8 | 23.7 | 977.578 | 70.484 | -0.27342
2020-09-13 12:15:00 | 2.218 | 312.6 | 2.306 | 316.3 | 1.381 | 297.955 | 1.134 | 308 | 23.71 | 977.812 | 69.2911 | -0.26233
2020-09-13 12:30:00 | 2.067 | 21.35 | 2.766 | 42.91 | 2.226 | 40.4212 | 1.931 | 28.85 | 23.55 | 977.515 | 69.8705 | -0.26233
2020-09-13 12:45:00 | 1.018 | 24.14 | 1.7 | 26.45 | 1.824 | 24.9159 | 1.548 | 23.17 | 23.82 | 977.515 | 70.075 | -0.25125
2020-09-13 13:00:00 | 2.007 | 25.61 | 2.137 | 356.6 | 2.114 | 335.917 | 2.108 | 23.43 | 24.7 | 977.96 | 65.3688 | -0.26972
2020-09-13 13:15:00 | 1.81 | 9.6 | 2.217 | 352 | 2.602 | 331.584 | 2.639 | 29.92 | 24.59 | 977.96 | 64.1755 | -0.2882
2020-09-13 13:30:00 | 1.521 | 25.15 | 2.246 | 41.69 | 2.744 | 39.272 | 2.533 | 30.65 | 25.23 | 977.515 | 63.0506 | -0.25125
2020-09-13 13:45:00 | 1.836 | 9.34 | 2.23 | 35.05 | 2.378 | 33.0171 | 2.452 | 2.577 | 23.73 | 977.07 | 64.5177 | -0.24016
2020-09-13 14:00:00 | 1.312 | 11.92 | 1.978 | 16.41 | 2.802 | 15.4582 | 2.509 | 10.76 | 24.41 | 976.773 | 65.7113 | -0.28081
2020-09-13 14:15:00 | 1.42 | 3.701 | 2.361 | 16.33 | 2.215 | 15.3829 | 2.013 | 1.242 | 24.19 | 976.773 | 64.6197 | -0.2845
2020-09-13 14:30:00 | 1.392 | 15.72 | 2.287 | 34.41 | 2.955 | 32.4142 | 2.467 | 11.07 | 24.69 | 976.625 | 63.36 | -0.27342
2020-09-13 14:45:00 | 3.168 | 7.95 | 4.742 | 27.49 | 4.069 | 25.8956 | 4.049 | 4.735 | 23.47 | 975.587 | 68.9161 | 0.38796
2020-09-13 15:00:00 | 4.063 | 7.45 | 3.85 | 17.24 | 3.853 | 16.2401 | 3.804 | 2.224 | 23.06 | 975.363 | 66.4622 | 0.081287
2020-09-13 15:15:00 | 2.732 | 351.9 | 2.733 | 9.38 | 3.387 | 8.836 | 3.399 | 353.1 | 23.07 | 975.143 | 66.9507 | 0.081287
2020-09-13 15:30:00 | 2.183 | 353.9 | 1.968 | 5.584 | 1.823 | 5.2601 | 1.657 | 351.9 | 23.12 | 975.143 | 67.1644 | 0.0073897
2020-09-13 15:45:00 | 1.833 | 335 | 1.792 | 351.3 | 1.449 | 330.925 | 1.289 | 337.4 | 23.19 | 975.143 | 68.8714 | -0.13671
2020-09-13 16:00:00 | 2.005 | 311 | 2.49 | 320.2 | 2.067 | 301.628 | 1.963 | 318 | 23.16 | 974.995 | 69.3488 | -0.26233
2020-09-13 16:15:00 | 1.404 | 304.1 | 1.96 | 319.2 | 1.869 | 300.686 | 1.762 | 309.8 | 23.08 | 974.846 | 70.647 | -0.25125
2020-09-13 16:30:00 | 2.536 | 319.7 | 2.889 | 331 | 2.744 | 311.802 | 2.704 | 322.3 | 23.15 | 974.846 | 70.5844 | -0.25125
2020-09-13 16:45:00 | 1.239 | 342.3 | 1.874 | 357.2 | 2.67 | 336.482 | 2.765 | 340.4 | 23.1 | 974.698 | 69.082 | -0.25494
2020-09-13 17:00:00 | 2.467 | 358.3 | 2.817 | 14 | 3.469 | 13.188 | 3.509 | 359.3 | 23.12 | 974.55 | 70.173 | -0.2143
2020-09-13 17:15:00 | 1.868 | 18.82 | 4.021 | 35.67 | 4.372 | 33.6011 | 4.151 | 21.02 | 22.94 | 974.698 | 72.8269 | 0.0036948
2020-09-13 17:30:00 | 1.578 | 22.4 | 2.817 | 36.77 | 3.019 | 34.6373 | 2.831 | 22.87 | 22.74 | 974.995 | 71.602 | -0.1404
2020-09-13 17:45:00 | 1.831 | 357.2 | 1.886 | 11.95 | 1.945 | 11.2569 | 1.96 | 357.1 | 22.9 | 974.55 | 67.242 | -0.26972
2020-09-13 18:00:00 | 2.893 | 27.29 | 2.584 | 11.85 | 2.741 | 11.1627 | 2.342 | 6.123 | 22.96 | 974.401 | 66.7689 | -0.20691
2020-09-13 18:15:00 | 2.347 | 4.419 | 2.914 | 20.71 | 2.426 | 19.5088 | 2.276 | 8.23 | 22.77 | 974.253 | 68.3376 | -0.22539
2020-09-13 18:30:00 | 2.239 | 12.79 | 3.021 | 25.9 | 3.021 | 24.3978 | 2.643 | 14.07 | 22.76 | 974.352 | 64.7911 | -0.24016
2020-09-13 18:45:00 | 2.137 | 12.5 | 2.439 | 26.03 | 2.573 | 24.5203 | 2.467 | 20.42 | 22.81 | 974.97 | 66.0877 | -0.24016
2020-09-13 19:00:00 | 2.765 | 10 | 2.894 | 23.72 | 2.868 | 22.3442 | 2.867 | 15.81 | 22.75 | 974.822 | 65.6795 | -0.20691
2020-09-13 19:15:00 | 2.446 | 13.59 | 2.579 | 27.86 | 2.853 | 26.2441 | 2.918 | 20.49 | 22.7 | 975.112 | 65.5776 | -0.20691
2020-09-13 19:30:00 | 2.148 | 12.35 | 2.433 | 27.86 | 2.868 | 26.2441 | 2.783 | 19.88 | 22.73 | 975.144 | 64.2507 | -0.18474
2020-09-13 19:45:00 | 2.071 | 23.99 | 2.996 | 33.6 | 2.805 | 31.6512 | 2.778 | 35.2 | 22.76 | 974.848 | 64.9352 | -0.24016
2020-09-13 20:00:00 | 1.568 | 30.86 | 2.413 | 39.86 | 2.645 | 37.5481 | 2.661 | 42.47 | 22.74 | 974.824 | 64.1841 | -0.25125
2020-09-13 20:15:00 | 2.883 | 50.68 | 3.321 | 62.91 | 3.349 | 59.2612 | 3.361 | 59.72 | 22.86 | 974.848 | 62.3455 | -0.2882
2020-09-13 20:30:00 | 3.442 | 58.79 | 3.824 | 72.6 | 3.751 | 68.3892 | 3.761 | 64.92 | 22.93 | 974.848 | 62.9224 | -0.218
2020-09-13 20:45:00 | 2.972 | 60.35 | 3.362 | 75.32 | 3.509 | 70.9514 | 3.501 | 70.73 | 23.02 | 974.848 | 62.1377 | -0.19213
2020-09-13 21:00:00 | 3.238 | 79.43 | 3.604 | 87.4 | 3.588 | 82.3308 | 3.562 | 91.7 | 23.12 | 974.848 | 62.069 | -0.25494
2020-09-13 21:15:00 | 2.485 | 94.9 | 3.111 | 102.7 | 2.876 | 96.7434 | 2.977 | 107.1 | 23.01 | 975.144 | 61.0775 | -0.25864
2020-09-13 21:30:00 | 1.821 | 90.4 | 2.047 | 102.5 | 1.747 | 96.555 | 1.713 | 102 | 23.23 | 975.137 | 61.521 | -0.22539
2020-09-13 21:45:00 | 1.538 | 113.5 | 2.669 | 133.3 | 2.802 | 125.569 | 2.707 | 122.2 | 23.13 | 975.276 | 62.2368 | -0.22539
2020-09-13 22:00:00 | 1.731 | 128.7 | 2.191 | 149.8 | 2.968 | 141.112 | 2.969 | 132.1 | 22.97 | 975.076 | 62.4043 | -0.22539
2020-09-13 22:15:00 | 1.716 | 141.1 | 2.035 | 162.8 | 2.548 | 153.358 | 2.536 | 140.8 | 22.84 | 975.23 | 62.7451 | -0.20691
2020-09-13 22:30:00 | 1.859 | 144.1 | 2.019 | 167 | 2.515 | 157.314 | 2.567 | 143 | 22.76 | 974.829 | 64.0417 | -0.24016
2020-09-13 22:45:00 | 2.319 | 132.8 | 2.835 | 150.6 | 3.273 | 141.865 | 3.262 | 138.3 | 22.57 | 974.806 | 65.6096 | -0.26972
2020-09-13 23:00:00 | 2.985 | 129.3 | 3.587 | 145.5 | 3.489 | 137.061 | 3.455 | 133.1 | 22.37 | 974.549 | 62.6791 | 0.58748
2020-09-13 23:15:00 | 5.155 | 126.9 | 5.322 | 139.3 | 5.147 | 131.221 | 5.029 | 134.1 | 23.16 | 974.526 | 61.5879 | 2.797
2020-09-13 23:30:00 | 4.864 | 129.1 | 5.177 | 144.9 | 5.43 | 136.496 | 5.373 | 134.4 | 23.03 | 974.651 | 62.8133 | 3.2995
2020-09-13 23:45:00 | 4.175 | 129.1 | 4.351 | 148.2 | 4.72 | 139.604 | 4.701 | 133.6 | 22.72 | 974.48 | 63.4283 | 2.7157