## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-14 00:00:00 | 4.198 | 127.6 | 4.407 | 143.3 | 4.473 | 134.989 | 4.461 | 132.6 | 22.68 | 974.325 | 63.8024 | 2.0469
2020-09-14 00:15:00 | 3.991 | 137.8 | 4.295 | 155.4 | 4.262 | 146.387 | 4.273 | 143.4 | 22.57 | 974.535 | 65.6779 | 2.1541
2020-09-14 00:30:00 | 3.72 | 135.7 | 3.957 | 152.1 | 4.092 | 143.278 | 4.046 | 140.1 | 22.26 | 974.244 | 66.3643 | 2.6307
2020-09-14 00:45:00 | 3.557 | 134.6 | 3.753 | 151.9 | 4.021 | 143.09 | 3.97 | 140.3 | 22.17 | 974.551 | 66.7731 | 3.3771
2020-09-14 01:00:00 | 4.826 | 137 | 4.998 | 153.6 | 4.875 | 144.691 | 4.792 | 141.5 | 22.1 | 973.957 | 67.1186 | 4.3341
2020-09-14 01:15:00 | 4.083 | 131.5 | 4.144 | 149.5 | 4.26 | 140.829 | 4.344 | 135.9 | 21.88 | 973.809 | 69.3694 | 4.7996
2020-09-14 01:30:00 | 4.211 | 137 | 4.607 | 153.1 | 4.428 | 144.22 | 4.337 | 142.6 | 21.83 | 973.66 | 69.3042 | 3.6062
2020-09-14 01:45:00 | 3.815 | 139 | 4.226 | 154.3 | 4.979 | 145.351 | 4.907 | 149 | 21.62 | 973.809 | 70.191 | 4.3969
2020-09-14 02:00:00 | 3.738 | 134.3 | 4.131 | 151.9 | 4.55 | 143.09 | 4.53 | 140.2 | 21.62 | 973.512 | 70.6003 | 3.5766
2020-09-14 02:15:00 | 3.92 | 140.1 | 4.377 | 154.2 | 4.636 | 145.256 | 4.571 | 156.8 | 21.64 | 973.364 | 70.0204 | 2.6566
2020-09-14 02:30:00 | 4.382 | 148.8 | 5.1 | 155.8 | 5.193 | 146.764 | 5.088 | 159.7 | 21.5 | 973.215 | 71.5211 | 4.1678
2020-09-14 02:45:00 | 4.596 | 149.4 | 5.282 | 159.4 | 5.272 | 150.155 | 5.195 | 161.2 | 21.46 | 973.067 | 72.2374 | 3.3254
2020-09-14 03:00:00 | 4.486 | 149.6 | 5.223 | 158.4 | 5.048 | 149.213 | 4.986 | 161.1 | 21.34 | 973.067 | 73.1582 | 2.5938
2020-09-14 03:15:00 | 3.723 | 154.7 | 4.187 | 163.3 | 4.43 | 153.829 | 4.365 | 165 | 21.26 | 973.067 | 73.5334 | 3.4769
2020-09-14 03:30:00 | 3.976 | 153.6 | 4.604 | 167 | 4.967 | 157.314 | 4.996 | 164.1 | 20.96 | 973.067 | 74.5907 | 3.4325
2020-09-14 03:45:00 | 3.687 | 146.6 | 3.983 | 159.8 | 4.107 | 150.532 | 4.056 | 156.9 | 20.98 | 972.919 | 74.4884 | 3.1443
2020-09-14 04:00:00 | 4.198 | 149.3 | 4.602 | 162.9 | 4.857 | 153.452 | 4.8 | 159.2 | 21.05 | 972.77 | 74.693 | 3.9387
2020-09-14 04:15:00 | 4.074 | 145.6 | 4.334 | 158.3 | 4.758 | 149.119 | 4.726 | 157.1 | 21.05 | 972.919 | 73.9455 | 3.0519
2020-09-14 04:30:00 | 3.148 | 146.3 | 3.758 | 156.9 | 4.443 | 147.8 | 4.39 | 156.5 | 21.14 | 972.919 | 74.6933 | 2.5494
2020-09-14 04:45:00 | 3.148 | 146.3 | 3.758 | 156.9 | 4.443 | 147.8 | 4.39 | 156.5 | 21.14 | 972.919 | 74.6933 | 1.6664
2020-09-14 05:00:00 | 3.148 | 146.3 | 3.758 | 156.9 | 4.443 | 147.8 | 4.39 | 156.5 | 21.14 | 972.919 | 74.6933 | 1.2489
2020-09-14 05:15:00 | 3.148 | 146.3 | 3.758 | 156.9 | 4.443 | 147.8 | 4.39 | 156.5 | 21.14 | 972.919 | 74.6933 | 1.5703
2020-09-14 05:30:00 | 3.148 | 146.3 | 3.758 | 156.9 | 4.443 | 147.8 | 4.39 | 156.5 | 21.14 | 972.919 | 74.6933 | 3.7207
2020-09-14 05:45:00 | 3.148 | 146.3 | 3.758 | 156.9 | 4.443 | 147.8 | 4.39 | 156.5 | 21.14 | 972.919 | 74.6933 | 5.6679
2020-09-14 06:00:00 | 3.148 | 146.3 | 3.758 | 156.9 | 4.443 | 147.8 | 4.39 | 156.5 | 21.14 | 972.919 | 74.6933 | 5.3317
2020-09-14 06:15:00 | 3.148 | 146.3 | 3.758 | 156.9 | 4.443 | 147.8 | 4.39 | 156.5 | 21.14 | 972.919 | 74.6933 | 4.4227
2020-09-14 06:30:00 | 3.148 | 146.3 | 3.758 | 156.9 | 4.443 | 147.8 | 4.39 | 156.5 | 21.14 | 972.919 | 74.6933 | 4.0606
2020-09-14 06:45:00 | 3.891 | 155.9 | 4.553 | 165 | 4.679 | 155.43 | 4.683 | 168.8 | 20.96 | 973.69 | 77.976 | 3.5286
2020-09-14 07:00:00 | 3.557 | 157.3 | 3.909 | 168.3 | 4.295 | 158.539 | 4.39 | 170 | 21.14 | 973.661 | 79.0248 | 3.0556
2020-09-14 07:15:00 | 3.657 | 158.2 | 3.909 | 167.4 | 3.871 | 157.691 | 3.929 | 169.7 | 21.34 | 973.958 | 78.0355 | 4.2454
2020-09-14 07:30:00 | 3.493 | 149.5 | 3.819 | 165.7 | 4.173 | 156.089 | 4.242 | 155.1 | 21.31 | 974.254 | 79.8432 | 4.4597
2020-09-14 07:45:00 | 3.644 | 140.1 | 3.625 | 153.8 | 3.583 | 144.88 | 3.547 | 148 | 21.47 | 974.422 | 78.3636 | 5.7824
2020-09-14 08:00:00 | 4.167 | 142.7 | 4.348 | 163 | 4.222 | 153.546 | 4.166 | 148.6 | 21.37 | 973.96 | 80.2728 | 6.9241
2020-09-14 08:15:00 | 4.251 | 135.4 | 4.392 | 148.8 | 4.367 | 140.17 | 4.314 | 144.1 | 21.22 | 974.253 | 80.1364 | 6.4844
2020-09-14 08:30:00 | 4.578 | 138.4 | 4.471 | 155.4 | 4.557 | 146.387 | 4.629 | 145 | 21.55 | 974.698 | 80.0623 | 6.381
2020-09-14 08:45:00 | 4.601 | 139.1 | 4.648 | 156.4 | 4.756 | 147.329 | 4.691 | 145.1 | 21.59 | 974.698 | 79.8841 | 6.7246
2020-09-14 09:00:00 | 5.804 | 143.9 | 5.716 | 161.2 | 5.328 | 151.85 | 5.248 | 148.6 | 21.61 | 974.55 | 77.8033 | 6.6803
2020-09-14 09:15:00 | 4.852 | 138.8 | 4.85 | 156.8 | 4.565 | 147.706 | 4.426 | 144.5 | 22.22 | 975.143 | 77.1224 | 7.4562
2020-09-14 09:30:00 | 5.564 | 151.7 | 5.246 | 167.7 | 4.646 | 157.973 | 4.515 | 155.5 | 22.02 | 974.995 | 76.907 | 6.1334
2020-09-14 09:45:00 | 5.485 | 147.3 | 5.484 | 161.5 | 4.458 | 152.133 | 4.324 | 157.3 | 22.18 | 975.292 | 78.8478 | 4.5964
2020-09-14 10:00:00 | 4.772 | 146 | 5.105 | 161.9 | 4.651 | 152.51 | 4.601 | 151.5 | 22.38 | 975.292 | 79.4273 | 4.7701
2020-09-14 10:15:00 | 4.844 | 144.1 | 5.144 | 159.5 | 4.644 | 150.249 | 4.494 | 153.2 | 22.66 | 975.142 | 78.8136 | 3.7022
2020-09-14 10:30:00 | 5.827 | 143 | 5.951 | 155.1 | 5.31 | 146.104 | 5.129 | 152.3 | 22.78 | 975.351 | 78.4256 | 4.0754
2020-09-14 10:45:00 | 5.36 | 141.5 | 5.512 | 158.6 | 4.842 | 149.401 | 4.785 | 150.3 | 23.17 | 974.865 | 73.2788 | 2.9337
2020-09-14 11:00:00 | 5.326 | 150.8 | 5.182 | 166.4 | 4.466 | 156.749 | 4.482 | 160.8 | 23.87 | 975.155 | 70.484 | 1.9546
2020-09-14 11:15:00 | 5.554 | 161.6 | 5.113 | 178.4 | 4.481 | 168.053 | 4.413 | 168 | 23.81 | 974.698 | 68.7117 | 2.2354
2020-09-14 11:30:00 | 4.91 | 167 | 4.898 | 182.2 | 4.323 | 171.632 | 4.347 | 174.7 | 23.99 | 974.401 | 67.3483 | 1.2008
2020-09-14 11:45:00 | 5.212 | 190.3 | 5.041 | 203.4 | 4.374 | 191.603 | 4.405 | 191.3 | 24.2 | 974.401 | 62.304 | 1.6331
2020-09-14 12:00:00 | 5.079 | 154 | 5.121 | 175.5 | 4.672 | 165.321 | 4.606 | 162.2 | 24.33 | 973.66 | 68.4049 | 0.5764
2020-09-14 12:15:00 | 4.806 | 151.1 | 4.893 | 164.2 | 4.021 | 154.676 | 4.003 | 161 | 24.03 | 973.672 | 68.0982 | 0.51728
2020-09-14 12:30:00 | 4.109 | 171.6 | 3.827 | 185.1 | 3.26 | 174.364 | 3.188 | 176.9 | 23.65 | 973.253 | 71.8473 | 0.63551
2020-09-14 12:45:00 | 3.2 | 183.1 | 3.093 | 201.7 | 2.482 | 190.001 | 2.462 | 187.7 | 23.43 | 972.767 | 70.7 | 1.5703
2020-09-14 13:00:00 | 4.497 | 253.8 | 4.729 | 268 | 4.779 | 252.456 | 4.708 | 253.1 | 22.07 | 972.325 | 85.3636 | 2.1578
2020-09-14 13:15:00 | 2.462 | 264.8 | 2.63 | 285.6 | 3.148 | 269.035 | 3.188 | 255.2 | 21.4 | 971.583 | 90.6238 | 0.32884
2020-09-14 13:30:00 | 2.74 | 93.7 | 3.405 | 106 | 3.631 | 99.852 | 3.483 | 102.4 | 21.47 | 971.583 | 81.8753 | 10.6173
2020-09-14 13:45:00 | 3.562 | 59.58 | 3.932 | 78.19 | 3.691 | 73.655 | 3.753 | 63.94 | 20.63 | 971.381 | 77.6811 | 9.3073
2020-09-14 14:00:00 | 2.418 | 141 | 2.638 | 160.4 | 2.569 | 151.097 | 2.672 | 147.4 | 20.56 | 971.571 | 78.2283 | 7.2271
2020-09-14 14:15:00 | 4.793 | 149.3 | 5.348 | 162.1 | 5.178 | 152.698 | 5.123 | 156.4 | 20.5 | 970.99 | 90.244 | 15.4408
2020-09-14 14:30:00 | 5.972 | 145.5 | 6.386 | 160.7 | 6.887 | 151.379 | 6.96 | 150.5 | 20 | 970.693 | 87.1077 | 18.223
2020-09-14 14:45:00 | 5.755 | 147.9 | 6.238 | 161.1 | 6.218 | 151.756 | 6.152 | 153.9 | 20.66 | 970.396 | 79.947 | 13.2091
2020-09-14 15:00:00 | 4.249 | 152.6 | 4.972 | 165 | 5.084 | 155.43 | 5.016 | 158.7 | 21.22 | 970.123 | 73.5444 | 9.2149
2020-09-14 15:15:00 | 5.796 | 170 | 6.412 | 180.9 | 6.498 | 170.408 | 6.552 | 175.8 | 22.09 | 970.868 | 69.0422 | 17.8902
2020-09-14 15:30:00 | 4.77 | 159.2 | 5.253 | 170.2 | 5.399 | 160.328 | 5.406 | 165.1 | 21.64 | 970.842 | 78.0034 | 12.5957
2020-09-14 15:45:00 | 4.305 | 155.8 | 4.504 | 169.3 | 4.939 | 159.481 | 5.108 | 164.3 | 21.12 | 970.693 | 81.8895 | 14.5614
2020-09-14 16:00:00 | 5.845 | 164.7 | 6.202 | 179.6 | 6.223 | 169.183 | 6.323 | 169.9 | 21.35 | 970.693 | 79.2633 | 31.7446
2020-09-14 16:15:00 | 7.384 | 178.2 | 7.207 | 189.6 | 7.368 | 178.603 | 7.471 | 182.7 | 21.27 | 970.693 | 84.8568 | 38.9511
2020-09-14 16:30:00 | 7.471 | 168.7 | 7.649 | 183 | 7.622 | 172.386 | 7.685 | 174.5 | 20.92 | 970.842 | 79.8773 | 23.0669
2020-09-14 16:45:00 | 5.283 | 166.5 | 5.811 | 179.3 | 6.055 | 168.901 | 6.132 | 172.9 | 21.06 | 970.693 | 81.3779 | 9.5031
2020-09-14 17:00:00 | 4.578 | 156.8 | 4.824 | 168.7 | 5.068 | 158.915 | 5.09 | 165.3 | 21.67 | 970.693 | 76.3302 | 6.3551
2020-09-14 17:15:00 | 4.193 | 147.7 | 4.602 | 160.3 | 5.16 | 151.003 | 5.179 | 156.7 | 21.24 | 970.842 | 80.3548 | 5.1986
2020-09-14 17:30:00 | 4.073 | 146.9 | 4.374 | 159 | 4.868 | 149.778 | 4.912 | 159.4 | 21.58 | 971.287 | 82.7422 | 4.3341
2020-09-14 17:45:00 | 3.723 | 153.7 | 4.123 | 159.8 | 3.827 | 150.532 | 3.883 | 162.5 | 21.58 | 970.99 | 80.423 | 1.2415
2020-09-14 18:00:00 | 2.297 | 165.1 | 3.497 | 175.9 | 4.283 | 165.698 | 4.291 | 173.4 | 21.6 | 971.287 | 79.8773 | 1.0863
2020-09-14 18:15:00 | 2.403 | 198.1 | 3.024 | 209.8 | 3.278 | 197.632 | 3.476 | 203 | 21.98 | 971.583 | 76.8418 | 0.15518
2020-09-14 18:30:00 | 2.714 | 211.8 | 2.878 | 219.4 | 2.418 | 206.675 | 2.625 | 220.2 | 22.08 | 971.732 | 77.6603 | 0.42121
2020-09-14 18:45:00 | 3.177 | 273 | 3.627 | 286.6 | 3.474 | 269.977 | 3.417 | 271.8 | 20.82 | 971.287 | 93.3834 | -0.26233
2020-09-14 19:00:00 | 2.571 | 284.5 | 2.03 | 322.9 | 0 | 304.172 | 0 | 241.1 | 19.97 | 971.287 | 92.0191 | -0.32515
2020-09-14 19:15:00 | 2.183 | 47.07 | 2.357 | 43.19 | 0.285 | 40.685 | 0.074 | 14.98 | 19.81 | 970.699 | 93.9405 | -0.29559
2020-09-14 19:30:00 | 2.38 | 56.91 | 2.63 | 50.89 | 1.938 | 47.9384 | 1.874 | 99.3 | 19.78 | 971.089 | 90.8409 | -0.28081
2020-09-14 19:45:00 | 2.947 | 99.1 | 2.955 | 91.2 | 2.973 | 85.9104 | 2.936 | 121.3 | 20.28 | 971.301 | 86.8497 | -0.34731
2020-09-14 20:00:00 | 3.575 | 127.4 | 4.382 | 137.3 | 4.328 | 129.337 | 4.219 | 136.3 | 21.53 | 971.557 | 78.3217 | 1.0974
2020-09-14 20:15:00 | 4.285 | 122 | 4.883 | 133.7 | 4.964 | 125.945 | 4.882 | 130.1 | 22.04 | 971.882 | 77.3623 | 7.689
2020-09-14 20:30:00 | 4.438 | 106.3 | 4.571 | 116.2 | 5.17 | 109.46 | 5.386 | 114.7 | 21.69 | 972.029 | 81.0711 | 18.6959
2020-09-14 20:45:00 | 4.532 | 108.5 | 5.149 | 118.1 | 5.714 | 111.25 | 5.862 | 118.5 | 21.34 | 971.88 | 82.9809 | 25.9785
2020-09-14 21:00:00 | 5.449 | 115.1 | 5.913 | 133.2 | 6.422 | 125.474 | 6.504 | 121 | 21.36 | 971.732 | 80.764 | 29.1745
2020-09-14 21:15:00 | 6.95 | 125.7 | 6.938 | 139.3 | 7.251 | 131.221 | 7.316 | 134.7 | 21.66 | 971.583 | 78.0355 | 29.6105
2020-09-14 21:30:00 | 8.15 | 128.4 | 8.18 | 140.3 | 7.948 | 132.163 | 7.841 | 135.9 | 21.36 | 971.583 | 81.0369 | 33.3275
2020-09-14 21:45:00 | 8.19 | 128 | 8.47 | 139.6 | 8.7 | 131.503 | 8.65 | 137 | 21.16 | 971.435 | 81.0369 | 42.0141
2020-09-14 22:00:00 | 7.773 | 128.7 | 8.24 | 142.8 | 8.46 | 134.518 | 8.48 | 136.6 | 21.27 | 971.435 | 78.1037 | 41.2271
2020-09-14 22:15:00 | 7.916 | 127.9 | 8.09 | 143.3 | 8.71 | 134.989 | 8.69 | 135.2 | 21.36 | 971.435 | 78.3766 | 52.0337
2020-09-14 22:30:00 | 9.19 | 132.2 | 9.61 | 147.6 | 10.05 | 139.039 | 10.05 | 136.6 | 21.33 | 971.138 | 78.7859 | 58.1421
2020-09-14 22:45:00 | 9.73 | 131.4 | 9.39 | 152.4 | 9.26 | 143.561 | 9.16 | 133.9 | 21.34 | 970.693 | 75.9209 | 66.2449
2020-09-14 23:00:00 | 9.77 | 135.1 | 10.07 | 152.6 | 9.72 | 143.749 | 9.65 | 139.9 | 21.18 | 970.693 | 79.5362 | 65.6944
2020-09-14 23:15:00 | 8.12 | 132.5 | 8.71 | 150.6 | 8.57 | 141.865 | 8.56 | 133.5 | 21.04 | 970.545 | 80.8322 | 66.001
2020-09-14 23:30:00 | 8.69 | 131.5 | 8.98 | 146.4 | 9.34 | 137.909 | 9.33 | 135.1 | 21.13 | 970.396 | 79.5362 | 63.5033
2020-09-14 23:45:00 | 9.51 | 134.3 | 9.74 | 149 | 9.82 | 140.358 | 9.72 | 139.6 | 20.97 | 970.248 | 81.1051 | 63.9171