## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-15 00:00:00 | 8.44 | 137.5 | 8.65 | 152.3 | 8.72 | 143.467 | 8.69 | 141.3 | 20.54 | 970.1 | 84.6522 | 55.5853
2020-09-15 00:15:00 | 8.6 | 139.7 | 8.58 | 157.9 | 8.21 | 148.742 | 8.13 | 143.7 | 20.44 | 969.951 | 80.1859 | 50.4199
2020-09-15 00:30:00 | 8.46 | 138.1 | 9.01 | 158.1 | 10.02 | 148.93 | 10.04 | 143.5 | 20.39 | 969.803 | 80.5683 | 47.0206
2020-09-15 00:45:00 | 9.11 | 142.2 | 9.15 | 160.4 | 9.64 | 151.097 | 9.59 | 145 | 20.43 | 969.506 | 82.3455 | 41.8072
2020-09-15 01:00:00 | 8.4 | 139.3 | 8.87 | 157.7 | 9.18 | 148.553 | 9.04 | 145 | 20.31 | 969.513 | 81.1187 | 36.3499
2020-09-15 01:15:00 | 8.46 | 138.4 | 8.77 | 154 | 9.58 | 145.068 | 9.73 | 144.2 | 20.28 | 969.551 | 80.9824 | 39.642
2020-09-15 01:30:00 | 8.29 | 142.8 | 8.41 | 159.9 | 9.11 | 150.626 | 9.12 | 147.6 | 20.19 | 969.392 | 80.6072 | 38.3562
2020-09-15 01:45:00 | 8.54 | 138.9 | 9.01 | 155.4 | 9.02 | 146.387 | 8.95 | 145.5 | 20.25 | 969.247 | 81.6988 | 42.4538
2020-09-15 02:00:00 | 9.07 | 142 | 9.71 | 157.9 | 10.26 | 148.742 | 10.14 | 146.5 | 20.11 | 968.951 | 82.3128 | 44.4305
2020-09-15 02:15:00 | 8.88 | 140.2 | 9.14 | 156.7 | 9.97 | 147.611 | 9.83 | 146.2 | 19.96 | 968.607 | 83.3021 | 50.4605
2020-09-15 02:30:00 | 8.96 | 138.9 | 9.01 | 155 | 9.15 | 146.01 | 9.14 | 145.7 | 19.9 | 968.615 | 84.8712 | 48.1808
2020-09-15 02:45:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.49 | 86.5768 | 46.2114
2020-09-15 03:00:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 46.3335
2020-09-15 03:15:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 43.8099
2020-09-15 03:30:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 39.0176
2020-09-15 03:45:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 46.3223
2020-09-15 04:00:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 52.2229
2020-09-15 04:15:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 52.8917
2020-09-15 04:30:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 57.4347
2020-09-15 04:45:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 52.6331
2020-09-15 05:00:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 43.0634
2020-09-15 05:15:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 33.7118
2020-09-15 05:30:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 34.7981
2020-09-15 05:45:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 40.3145
2020-09-15 06:00:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 41.4081
2020-09-15 06:15:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 40.5879
2020-09-15 06:30:00 | 8.27 | 143.8 | 8.37 | 162 | 8.31 | 152.604 | 8.35 | 150.1 | 19.8 | 968.473 | 86.5768 | 28.0254
2020-09-15 06:45:00 | 6.498 | 146.1 | 6.47 | 160.1 | 6.643 | 150.814 | 6.552 | 150.8 | 19.48 | 968.911 | 93.604 | 28.938
2020-09-15 07:00:00 | 7.083 | 141 | 7.204 | 160.6 | 7.64 | 151.285 | 7.581 | 147.8 | 19.47 | 969.208 | 92.2736 | 33.9593
2020-09-15 07:15:00 | 7.844 | 147.4 | 8.23 | 161.9 | 8.39 | 152.51 | 8.37 | 151.4 | 19.5 | 968.763 | 92.5124 | 37.8537
2020-09-15 07:30:00 | 7.798 | 145.3 | 7.81 | 161.3 | 7.828 | 151.945 | 7.736 | 151.3 | 19.25 | 968.854 | 94.5932 | 39.9117
2020-09-15 07:45:00 | 8.33 | 140.3 | 8.49 | 156.2 | 8.74 | 147.14 | 8.68 | 146 | 19.36 | 968.626 | 93.8086 | 41.6889
2020-09-15 08:00:00 | 7.987 | 141.1 | 7.782 | 160.2 | 8.4 | 150.908 | 8.51 | 145.8 | 19.45 | 969.064 | 93.8751 | 38.0294
2020-09-15 08:15:00 | 7.775 | 146.1 | 8.07 | 164.5 | 8.7 | 154.959 | 8.68 | 151.4 | 19.5 | 968.913 | 94.5815 | 39.0804
2020-09-15 08:30:00 | 8.26 | 141.9 | 8.55 | 160.4 | 8.46 | 151.097 | 8.44 | 147.8 | 19.82 | 968.913 | 93.4857 | 39.2503
2020-09-15 08:45:00 | 8.63 | 143.7 | 8.53 | 162.5 | 8.57 | 153.075 | 8.51 | 150.3 | 20.05 | 968.913 | 93.1105 | 36.0247
2020-09-15 09:00:00 | 8.46 | 147.1 | 8.62 | 162.1 | 8.57 | 152.698 | 8.53 | 152.8 | 20.18 | 969.209 | 93.9964 | 38.903
2020-09-15 09:15:00 | 8.39 | 145.2 | 8.74 | 160.3 | 9.03 | 151.003 | 8.88 | 152.4 | 20.37 | 969.358 | 92.5634 | 33.7894
2020-09-15 09:30:00 | 7.711 | 146.9 | 7.846 | 163.8 | 7.5 | 154.3 | 7.316 | 153.7 | 20.49 | 969.358 | 90.9925 | 32.91
2020-09-15 09:45:00 | 7.535 | 145.5 | 7.708 | 160 | 7.856 | 150.72 | 7.805 | 153.1 | 20.69 | 969.506 | 90.2387 | 27.5229
2020-09-15 10:00:00 | 7.257 | 150.7 | 7.14 | 163.7 | 6.821 | 154.205 | 6.69 | 159.8 | 20.93 | 969.324 | 88.8664 | 24.2012
2020-09-15 10:15:00 | 6.34 | 155.3 | 6.182 | 176.7 | 6.406 | 166.451 | 6.511 | 159.9 | 21.55 | 969.211 | 85.9335 | 23.0891
2020-09-15 10:30:00 | 6.309 | 164.6 | 6.399 | 181.6 | 6.205 | 171.067 | 6.308 | 169.4 | 22.2 | 969.21 | 83.1938 | 27.9404
2020-09-15 10:45:00 | 6.907 | 176 | 6.718 | 196 | 6.243 | 184.632 | 6.252 | 174.1 | 22.3 | 968.617 | 80.3273 | 26.614
2020-09-15 11:00:00 | 7.19 | 173.4 | 6.887 | 187.5 | 5.681 | 176.625 | 5.676 | 174.7 | 22.42 | 968.913 | 80.8046 | 25.1249
2020-09-15 11:15:00 | 8.38 | 151.6 | 8.23 | 166.3 | 7.401 | 156.655 | 7.347 | 160.9 | 22.7 | 968.765 | 78.6225 | 31.07
2020-09-15 11:30:00 | 6.611 | 166.1 | 6.972 | 179.9 | 6.348 | 169.466 | 6.287 | 177.1 | 22.95 | 968.913 | 78.4747 | 29.2632
2020-09-15 11:45:00 | 6.779 | 161.8 | 6.701 | 176.5 | 5.809 | 166.263 | 5.78 | 170.8 | 23.07 | 968.319 | 74.8254 | 24.2382
2020-09-15 12:00:00 | 7.354 | 144.4 | 7.457 | 163.5 | 6.915 | 154.017 | 6.842 | 151 | 23.11 | 968.468 | 76.5639 | 29.0267
2020-09-15 12:15:00 | 7.681 | 158.6 | 7.623 | 177.7 | 7.235 | 167.393 | 7.247 | 162.2 | 23.5 | 967.726 | 73.3254 | 29.5514
2020-09-15 12:30:00 | 6.532 | 162.6 | 6.787 | 180 | 6.935 | 169.56 | 6.893 | 164.8 | 23.69 | 967.578 | 72.2686 | 30.2312
2020-09-15 12:45:00 | 7.206 | 181.7 | 7.122 | 196.8 | 5.987 | 185.386 | 6.007 | 181.5 | 24.1 | 967.429 | 68.0416 | 28.7385
2020-09-15 13:00:00 | 8.08 | 183.9 | 8.14 | 197.5 | 7.472 | 186.045 | 7.566 | 184.6 | 24.26 | 967.429 | 66.9508 | 28.6001
2020-09-15 13:15:00 | 6.626 | 172.3 | 6.419 | 188 | 5.669 | 177.096 | 5.6 | 173 | 24.16 | 966.985 | 69.4733 | 28.018
2020-09-15 13:30:00 | 7.111 | 172.3 | 7.002 | 193.7 | 6.383 | 182.465 | 6.371 | 172.1 | 24.47 | 967.281 | 66.9508 | 29.0082
2020-09-15 13:45:00 | 7.165 | 180 | 7.069 | 194 | 6.505 | 182.748 | 6.588 | 183 | 24.61 | 967.281 | 67.7007 | 25.2469
2020-09-15 14:00:00 | 6.613 | 171.3 | 6.506 | 188 | 5.801 | 177.096 | 5.786 | 175.1 | 24.68 | 966.688 | 65.7914 | 24.8368
2020-09-15 14:15:00 | 7.701 | 179.6 | 7.47 | 198.2 | 6.714 | 186.704 | 6.646 | 181.1 | 24.51 | 966.389 | 65.519 | 29.9393
2020-09-15 14:30:00 | 9.05 | 175.2 | 8.62 | 193.6 | 8.21 | 182.371 | 8.25 | 180.6 | 24.9 | 966.688 | 65.1781 | 40.6545
2020-09-15 14:45:00 | 7.305 | 177.7 | 7.127 | 195.2 | 6.625 | 183.878 | 6.7 | 180.8 | 24.98 | 966.54 | 64.2236 | 34.1995
2020-09-15 15:00:00 | 10.37 | 191.8 | 10.02 | 203 | 9.21 | 191.226 | 9.27 | 194.2 | 25.26 | 966.54 | 60.6099 | 37.5507
2020-09-15 15:15:00 | 10.14 | 180.4 | 9.49 | 194.3 | 9.02 | 183.031 | 9.09 | 183.2 | 25.35 | 966.674 | 62.4413 | 37.1923
2020-09-15 15:30:00 | 9.71 | 178.9 | 9.27 | 192 | 8.97 | 180.864 | 9.08 | 182.3 | 25.17 | 965.571 | 63.8719 | 39.3649
2020-09-15 15:45:00 | 10.07 | 178.5 | 9.51 | 191.4 | 9.02 | 180.299 | 9.04 | 182.1 | 25.12 | 966.063 | 64.2142 | 40.5509
2020-09-15 16:00:00 | 10.47 | 181.9 | 9.95 | 194.8 | 9.28 | 183.502 | 9.38 | 184.7 | 25.18 | 965.938 | 63.4986 | 40.1814
2020-09-15 16:15:00 | 10.45 | 180.6 | 10.24 | 194 | 9.64 | 182.748 | 9.64 | 183.2 | 25.08 | 965.742 | 64.7968 | 35.4077
2020-09-15 16:30:00 | 8.16 | 181.9 | 7.918 | 197.3 | 6.991 | 185.857 | 7.064 | 182 | 24.96 | 965.798 | 65.6872 | 38.3673
2020-09-15 16:45:00 | 9.41 | 177.7 | 9.19 | 193.7 | 8.38 | 182.465 | 8.38 | 178 | 24.93 | 965.775 | 65.3826 | 39.8452
2020-09-15 17:00:00 | 8.89 | 176 | 8.47 | 193.1 | 8.1 | 181.9 | 8.12 | 178.5 | 24.68 | 965.65 | 65.9962 | 34.0406
2020-09-15 17:15:00 | 8.34 | 178.9 | 7.751 | 196.7 | 7.416 | 185.291 | 7.469 | 177.9 | 24.49 | 965.798 | 67.4962 | 30.0576
2020-09-15 17:30:00 | 7.152 | 166.1 | 6.992 | 186.4 | 6.154 | 175.589 | 6.16 | 170.6 | 24.26 | 965.501 | 68.9286 | 30.0613
2020-09-15 17:45:00 | 7.193 | 171.5 | 6.91 | 186.4 | 6.325 | 175.589 | 6.488 | 172 | 24.07 | 965.353 | 70.7791 | 34.1884
2020-09-15 18:00:00 | 7.99 | 171.8 | 7.529 | 190.5 | 7.017 | 179.451 | 7.143 | 175.2 | 23.92 | 965.205 | 72.8264 | 31.9641
2020-09-15 18:15:00 | 9.35 | 177.3 | 9.11 | 192.5 | 8.44 | 181.335 | 8.49 | 176.7 | 23.82 | 964.908 | 72.6219 | 31.0367
2020-09-15 18:30:00 | 7.757 | 171.2 | 7.255 | 189.8 | 6.897 | 178.792 | 6.947 | 172.5 | 23.64 | 965.501 | 72.3491 | 25.5979
2020-09-15 18:45:00 | 6.113 | 168.1 | 6.22 | 182.5 | 6.831 | 171.915 | 7.074 | 173 | 23.45 | 965.353 | 73.0711 | 27.6411
2020-09-15 19:00:00 | 6.728 | 173.2 | 6.603 | 187 | 6.836 | 176.154 | 7.084 | 179.5 | 23.39 | 965.501 | 70.7914 | 26.0043
2020-09-15 19:15:00 | 7.024 | 169.3 | 7.383 | 183.7 | 7.34 | 173.045 | 7.614 | 179 | 23.58 | 965.65 | 71.1336 | 34.6207
2020-09-15 19:30:00 | 8.74 | 171.9 | 8.97 | 185.9 | 9.04 | 175.118 | 9.22 | 179.6 | 23.7 | 965.65 | 70.7928 | 29.7472
2020-09-15 19:45:00 | 6.486 | 174.5 | 6.856 | 189 | 6.935 | 178.038 | 7.184 | 179.2 | 23.83 | 966.243 | 71.269 | 19.6344
2020-09-15 20:00:00 | 7.15 | 169.4 | 7.127 | 179.5 | 6.854 | 169.089 | 6.929 | 177.3 | 23.63 | 966.243 | 70.1778 | 19.7305
2020-09-15 20:15:00 | 6.202 | 166.8 | 6 | 178.5 | 6.371 | 168.147 | 6.784 | 177.4 | 23.36 | 966.243 | 73.0435 | 22.3206
2020-09-15 20:30:00 | 7.377 | 173.7 | 7.728 | 183.8 | 8.37 | 173.14 | 8.53 | 178.2 | 23.32 | 966.54 | 71.0656 | 21.1271
2020-09-15 20:45:00 | 6.639 | 171.8 | 7.028 | 182.2 | 7.347 | 171.632 | 7.568 | 179.8 | 23.36 | 966.54 | 73.9983 | 22.121
2020-09-15 21:00:00 | 6.672 | 166.8 | 6.892 | 178.6 | 7.075 | 168.241 | 7.288 | 177.2 | 23.08 | 966.243 | 73.1799 | 22.7935
2020-09-15 21:15:00 | 6.948 | 163.3 | 7.138 | 176.3 | 7.034 | 166.075 | 7.237 | 171.3 | 23.14 | 966.243 | 76.3853 | 23.8872
2020-09-15 21:30:00 | 7.479 | 162.5 | 7.327 | 176 | 7.37 | 165.792 | 7.459 | 170 | 22.93 | 966.265 | 76.3853 | 25.9711
2020-09-15 21:45:00 | 6.575 | 155.7 | 7.064 | 171.7 | 7.81 | 161.741 | 7.851 | 163.1 | 22.43 | 966.133 | 78.636 | 27.8961
2020-09-15 22:00:00 | 7.063 | 160.9 | 7.462 | 173.8 | 7.51 | 163.72 | 7.535 | 167.6 | 22.18 | 966.081 | 79.7272 | 34.0221
2020-09-15 22:15:00 | 7.39 | 165.6 | 7.452 | 179.5 | 7.215 | 169.089 | 7.474 | 172.6 | 22.33 | 966.357 | 79.7294 | 36.9891
2020-09-15 22:30:00 | 6.473 | 154.5 | 6.839 | 169.7 | 7.106 | 159.857 | 7.224 | 160.5 | 21.96 | 965.942 | 81.2291 | 37.7872
2020-09-15 22:45:00 | 7.249 | 164.4 | 7.25 | 179.9 | 7.833 | 169.466 | 7.963 | 169 | 22.03 | 966.093 | 81.5756 | 37.3069
2020-09-15 23:00:00 | 8.33 | 181 | 8.23 | 194.5 | 8.71 | 183.219 | 8.88 | 186.8 | 22.2 | 967.577 | 73.6668 | 20.586
2020-09-15 23:15:00 | 6.016 | 248.1 | 6.279 | 259.7 | 6.597 | 244.637 | 6.595 | 252.9 | 21.8 | 966.835 | 68.9616 | 6.1261
2020-09-15 23:30:00 | 3.534 | 257 | 3.891 | 262 | 4.529 | 246.804 | 4.706 | 263.5 | 21.36 | 966.686 | 59.3439 | 1.6516
2020-09-15 23:45:00 | 1.362 | 278.9 | 2.341 | 292.6 | 3.682 | 275.629 | 3.957 | 281.4 | 21.57 | 966.538 | 61.6644 | -0.31037