## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-16 00:00:00 | 3.082 | 221.2 | 3.487 | 222 | 4.252 | 209.124 | 4.489 | 220.7 | 21.75 | 966.538 | 66.0982 | 0.67246
2020-09-16 00:15:00 | 6.731 | 178.7 | 7.496 | 188.7 | 7.421 | 177.755 | 7.556 | 183.6 | 20.53 | 965.351 | 77.4556 | 31.7599
2020-09-16 00:30:00 | 8.59 | 169.3 | 8.44 | 178.1 | 8.12 | 167.77 | 8.27 | 175.3 | 20.23 | 965.054 | 85.5147 | 38.2845
2020-09-16 00:45:00 | 7.464 | 157.9 | 7.511 | 170.6 | 7.235 | 160.705 | 7.372 | 164.3 | 20.27 | 965.478 | 83.9843 | 26.2888
2020-09-16 01:00:00 | 4.964 | 168.5 | 5.99 | 184.7 | 6.34 | 173.987 | 6.466 | 172.7 | 20.47 | 965.476 | 79.0039 | 22.5238
2020-09-16 01:15:00 | 5.98 | 187.5 | 6.933 | 195.6 | 7.017 | 184.255 | 7.196 | 196.1 | 20.78 | 965.583 | 75.8656 | 28.1695
2020-09-16 01:30:00 | 5.676 | 184.6 | 6.966 | 192.1 | 6.689 | 180.958 | 6.733 | 195.2 | 21.23 | 966.041 | 75.1824 | 22.0582
2020-09-16 01:45:00 | 4.933 | 185.3 | 6.21 | 192.6 | 6.325 | 181.429 | 6.415 | 194 | 21.14 | 965.949 | 77.5678 | 15.9285
2020-09-16 02:00:00 | 5.038 | 189.6 | 5.68 | 198.3 | 5.633 | 186.799 | 5.765 | 197.1 | 21.25 | 965.945 | 79.845 | 8.3836
2020-09-16 02:15:00 | 5.543 | 186.2 | 5.593 | 195.8 | 5.943 | 184.444 | 6.071 | 195.4 | 21.12 | 965.945 | 83.0849 | 5.9302
2020-09-16 02:30:00 | 3.996 | 194 | 4.302 | 204.6 | 4.857 | 192.733 | 4.971 | 200.6 | 21.13 | 965.797 | 81.7199 | 3.7207
2020-09-16 02:45:00 | 4.088 | 196.2 | 4.402 | 207 | 4.817 | 194.994 | 4.843 | 206.6 | 21.08 | 965.945 | 81.3791 | 3.8537
2020-09-16 03:00:00 | 3.899 | 199.7 | 3.924 | 200 | 4.298 | 188.4 | 4.393 | 214.3 | 20.91 | 965.945 | 86.2919 | 4.6333
2020-09-16 03:15:00 | 4.56 | 182.7 | 4.264 | 184 | 3.723 | 173.328 | 3.743 | 192.5 | 20.46 | 965.974 | 90.9002 | 3.451
2020-09-16 03:30:00 | 3.595 | 173.7 | 3.799 | 177.4 | 3.077 | 167.111 | 3.132 | 195.3 | 20.53 | 966.123 | 82.1397 | 3.5323
2020-09-16 03:45:00 | 3.491 | 176.5 | 3.612 | 179.1 | 2.835 | 168.712 | 2.852 | 197.1 | 20.77 | 965.728 | 88.4871 | 5.3797
2020-09-16 04:00:00 | 2.891 | 174 | 3.482 | 180.8 | 2.266 | 170.314 | 2.073 | 186 | 20.64 | 966.012 | 87.1226 | 5.376
2020-09-16 04:15:00 | 3.968 | 175.3 | 4.41 | 180.7 | 3.53 | 170.219 | 3.427 | 186.9 | 20.15 | 966.164 | 92.6488 | 5.6605
2020-09-16 04:30:00 | 3.281 | 167.2 | 3.73 | 183.7 | 3.848 | 173.045 | 3.779 | 174.1 | 19.49 | 966.162 | 97.0834 | 5.0545
2020-09-16 04:45:00 | 3.422 | 172.3 | 4.172 | 178.5 | 3.385 | 168.147 | 3.343 | 184.9 | 19.76 | 966.231 | 93.4675 | 3.5988
2020-09-16 05:00:00 | 3.667 | 187.2 | 3.625 | 189.1 | 3.687 | 178.132 | 3.786 | 200.7 | 19.97 | 966.387 | 91.489 | 2.9891
2020-09-16 05:15:00 | 4.211 | 188.8 | 4.026 | 190.9 | 3.998 | 179.828 | 4.166 | 197.7 | 19.84 | 966.239 | 92.5465 | 5.2245
2020-09-16 05:30:00 | 4.629 | 177.3 | 4.609 | 180.5 | 4.158 | 170.031 | 4.135 | 189.7 | 19.65 | 966.373 | 93.7404 | 5.6273
2020-09-16 05:45:00 | 3.8 | 190.4 | 3.985 | 191.6 | 3.718 | 180.487 | 3.776 | 199.2 | 20.02 | 966.388 | 88.8624 | 3.1258
2020-09-16 06:00:00 | 3.728 | 191.5 | 3.783 | 198.2 | 3.848 | 186.704 | 3.868 | 207.6 | 20.06 | 966.833 | 86.0993 | 1.3301
2020-09-16 06:15:00 | 2.694 | 224.7 | 3.433 | 216.9 | 3.459 | 204.32 | 3.468 | 241.9 | 20.83 | 967.403 | 80.3002 | 0.87568
2020-09-16 06:30:00 | 2.531 | 219.7 | 3.139 | 215.3 | 3.199 | 202.813 | 3.305 | 239 | 21.52 | 967.746 | 73.371 | 0.6429
2020-09-16 06:45:00 | 2.995 | 232.2 | 3.627 | 229.5 | 3.977 | 216.189 | 4 | 246.2 | 22.17 | 968.319 | 69.5089 | 1.3893
2020-09-16 07:00:00 | 3.506 | 235.5 | 3.702 | 234.8 | 4.12 | 221.182 | 4.12 | 251.9 | 21.63 | 968.393 | 74.6127 | 1.8105
2020-09-16 07:15:00 | 3.22 | 248.2 | 3.676 | 251.1 | 4.448 | 236.536 | 4.507 | 259 | 21.47 | 968.323 | 79.1816 | 1.7477
2020-09-16 07:30:00 | 2.25 | 240 | 3.2 | 240.4 | 3.726 | 226.457 | 3.733 | 252.5 | 21.45 | 968.913 | 75.4873 | 0.72789
2020-09-16 07:45:00 | 2.896 | 249 | 3.349 | 252.6 | 3.609 | 237.949 | 3.55 | 258.5 | 21.39 | 968.913 | 73.7129 | 0.29928
2020-09-16 08:00:00 | 4.08 | 258.8 | 4.065 | 268.5 | 4.11 | 252.927 | 3.99 | 267 | 21 | 969.358 | 78.3368 | 0.51358
2020-09-16 08:15:00 | 5.051 | 295.7 | 5.363 | 309.1 | 5.346 | 291.172 | 5.332 | 297 | 21.1 | 969.206 | 74.314 | 2.7416
2020-09-16 08:30:00 | 4.831 | 310.2 | 4.998 | 321.1 | 4.003 | 302.476 | 3.962 | 314.6 | 20.83 | 969.947 | 78.0604 | 8.779
2020-09-16 08:45:00 | 6.276 | 305.4 | 6.539 | 317.6 | 5.058 | 299.179 | 5.131 | 311 | 20.49 | 969.951 | 84.6707 | 20.9424
2020-09-16 09:00:00 | 5.099 | 320.4 | 5.407 | 332.7 | 5.539 | 313.403 | 5.602 | 321.8 | 19.84 | 969.655 | 93.1649 | 26.2851
2020-09-16 09:15:00 | 3.261 | 352.4 | 3.602 | 7.769 | 4.023 | 7.3184 | 4.135 | 344.6 | 18.88 | 969.358 | 96.5877 | 16.8854
2020-09-16 09:30:00 | 3.598 | 350 | 3.461 | 359.4 | 3.611 | 338.555 | 3.723 | 344.4 | 18.48 | 969.21 | 99.9087 | 17.8092
2020-09-16 09:45:00 | 2.806 | 10.75 | 4.365 | 34.5 | 4.211 | 32.499 | 4.37 | 351.2 | 18.18 | 968.98 | 99.9147 | 21.201
2020-09-16 10:00:00 | 3.593 | 352.8 | 4.231 | 26.54 | 4.463 | 25.0007 | 4.448 | 346.6 | 17.96 | 969.208 | 99.8966 | 19.5531
2020-09-16 10:15:00 | 4.908 | 6.093 | 5.504 | 27.15 | 5.374 | 25.5753 | 5.452 | 357.1 | 18.39 | 968.912 | 99.9318 | 20.3623
2020-09-16 10:30:00 | 4.481 | 359.8 | 5.289 | 28.71 | 5.768 | 27.0448 | 5.984 | 353.4 | 18.54 | 969.061 | 99.6589 | 16.6822
2020-09-16 10:45:00 | 3.309 | 10 | 5.755 | 31.35 | 5.117 | 29.5317 | 5.149 | 358.1 | 19.02 | 969.061 | 97.9539 | 21.4929
2020-09-16 11:00:00 | 5.015 | 358.4 | 5.716 | 26.06 | 6.292 | 24.5485 | 6.504 | 354.3 | 19.01 | 969.357 | 96.6576 | 18.1084
2020-09-16 11:15:00 | 5.699 | 8.58 | 6.665 | 28.43 | 6.284 | 26.7811 | 6.761 | 3.229 | 18.98 | 969.506 | 95.9755 | 16.8226
2020-09-16 11:30:00 | 4.785 | 10.14 | 6.046 | 33.2 | 5.704 | 31.2744 | 5.747 | 1.627 | 19.39 | 969.506 | 93.3784 | 12.6992
2020-09-16 11:45:00 | 4.257 | 13.77 | 5.944 | 37.58 | 5.234 | 35.4004 | 5.103 | 359.3 | 20.39 | 969.531 | 86.0701 | 12.7066
2020-09-16 12:00:00 | 2.943 | 13.2 | 4.765 | 33.67 | 4.311 | 31.7171 | 4.446 | 3.104 | 20.97 | 969.952 | 79.8168 | 11.4355
2020-09-16 12:15:00 | 1.925 | 23.56 | 4.696 | 33.14 | 5.282 | 31.2179 | 4.846 | 18.58 | 21.97 | 969.952 | 66.8583 | 12.7952
2020-09-16 12:30:00 | 2.91 | 20.77 | 3.018 | 7.903 | 4.596 | 7.4446 | 4.482 | 23.55 | 22.72 | 970.397 | 63.542 | 13.6007
2020-09-16 12:45:00 | 3.456 | 16.37 | 4.259 | 355.6 | 5.295 | 334.975 | 5.169 | 22.06 | 22.71 | 970.248 | 62.7578 | 12.0193
2020-09-16 13:00:00 | 3.008 | 6.477 | 4.003 | 29.1 | 3.496 | 27.4122 | 3.657 | 352.4 | 22.85 | 970.526 | 60.133 | 12.1523
2020-09-16 13:15:00 | 3.738 | 359.8 | 4.054 | 346.4 | 4.316 | 326.309 | 4.071 | 10.86 | 23.08 | 970.693 | 61.1897 | 12.3814
2020-09-16 13:30:00 | 4.176 | 7.271 | 5.103 | 23.23 | 5.671 | 21.8827 | 5.625 | 4.187 | 22.1 | 970.078 | 65.34 | 13.1832
2020-09-16 13:45:00 | 3.49 | 12.28 | 4.88 | 13.79 | 4.87 | 12.9902 | 4.571 | 20.06 | 23.09 | 970.229 | 60.4675 | 13.1019
2020-09-16 14:00:00 | 3.769 | 5.659 | 3.507 | 12.85 | 4.28 | 12.1047 | 4.188 | 358.2 | 23.24 | 970.729 | 56.6137 | 15.559
2020-09-16 14:15:00 | 3.743 | 358.6 | 4.026 | 1.197 | 4.127 | 1.1276 | 4.061 | 352.8 | 23.53 | 971.029 | 53.7832 | 10.1534
2020-09-16 14:30:00 | 3.429 | 344.7 | 3.645 | 2.363 | 3.471 | 2.226 | 3.472 | 337.2 | 23.67 | 970.101 | 52.9993 | 6.7209
2020-09-16 14:45:00 | 3.463 | 336.9 | 3.791 | 350.1 | 3.853 | 329.794 | 3.952 | 330.4 | 23.64 | 970.842 | 53.3402 | 8.0289
2020-09-16 15:00:00 | 3.549 | 346.5 | 3.127 | 348.8 | 2.857 | 328.57 | 2.643 | 355.7 | 23.61 | 970.397 | 54.8045 | 6.9278
2020-09-16 15:15:00 | 4.387 | 344.2 | 4.387 | 354.6 | 3.723 | 334.033 | 3.657 | 339.2 | 23.2 | 970.101 | 53.5787 | 9.88
2020-09-16 15:30:00 | 4.009 | 339 | 4.89 | 356.8 | 5.114 | 336.106 | 5.129 | 338.7 | 22.97 | 969.804 | 54.3285 | 10.1239
2020-09-16 15:45:00 | 3.097 | 348.4 | 3.919 | 2.443 | 3.929 | 2.3013 | 3.87 | 347.4 | 22.49 | 969.719 | 56.7492 | 11.4023
2020-09-16 16:00:00 | 2.821 | 7.356 | 4.402 | 34.8 | 3.965 | 32.7816 | 3.751 | 356 | 22.43 | 969.343 | 55.974 | 14.2473
2020-09-16 16:15:00 | 4.969 | 5.71 | 5.43 | 22.45 | 6.175 | 21.1479 | 6.59 | 2.506 | 21.92 | 969.21 | 55.2948 | 10.7963
2020-09-16 16:30:00 | 4.407 | 0.598 | 4.515 | 20.66 | 5.374 | 19.4617 | 5.6 | 1.931 | 21.77 | 968.913 | 55.4381 | 10.3751
2020-09-16 16:45:00 | 4.772 | 5.355 | 4.857 | 20.4 | 4.674 | 19.2168 | 4.884 | 4.952 | 21.6 | 968.913 | 56.3994 | 8.0622
2020-09-16 17:00:00 | 4.331 | 1.641 | 4.558 | 18.49 | 5.714 | 17.4176 | 6.117 | 1.584 | 21.45 | 969.085 | 54.1176 | 9.8578
2020-09-16 17:15:00 | 4.941 | 353.4 | 5.284 | 8.48 | 6.231 | 7.9882 | 6.224 | 355.7 | 21.34 | 969.202 | 51.8329 | 12.374
2020-09-16 17:30:00 | 4.098 | 355.5 | 4.604 | 12.58 | 6.027 | 11.8504 | 6.239 | 358.3 | 21.33 | 969.043 | 51.9737 | 10.7705
2020-09-16 17:45:00 | 4.315 | 355.8 | 4.522 | 11.13 | 5.857 | 10.4845 | 6.196 | 3.656 | 21.14 | 969.061 | 53.3423 | 9.0524
2020-09-16 18:00:00 | 3.728 | 4.684 | 4.164 | 14.48 | 5.005 | 13.6402 | 5.567 | 7.489 | 21 | 968.912 | 55.9345 | 7.8479
2020-09-16 18:15:00 | 3.537 | 5.634 | 4.548 | 25.48 | 3.993 | 24.0022 | 4.107 | 8.75 | 20.73 | 968.764 | 55.6958 | 4.9659
2020-09-16 18:30:00 | 2.975 | 8.81 | 3.799 | 21.85 | 3.174 | 20.5827 | 3.012 | 6.219 | 20.77 | 969.061 | 55.6623 | 2.9078
2020-09-16 18:45:00 | 3.187 | 11.88 | 4.336 | 29.45 | 4.016 | 27.7419 | 3.743 | 13.98 | 20.7 | 968.912 | 55.5999 | 4.9696
2020-09-16 19:00:00 | 3.473 | 7.98 | 4.553 | 22.66 | 3.817 | 21.3457 | 3.786 | 5.674 | 20.6 | 968.936 | 51.645 | 6.514
2020-09-16 19:15:00 | 2.771 | 8.64 | 4.113 | 29.31 | 4.087 | 27.61 | 3.914 | 7.154 | 20.42 | 969.286 | 50.0764 | 5.3021
2020-09-16 19:30:00 | 3.159 | 9.33 | 4.083 | 27.3 | 3.914 | 25.7166 | 3.82 | 8.84 | 20.56 | 969.625 | 41.1735 | 3.0187
2020-09-16 19:45:00 | 2.937 | 14.27 | 3.758 | 29.45 | 3.652 | 27.7419 | 3.626 | 13.87 | 20.92 | 969.82 | 37.2847 | 2.797
2020-09-16 20:00:00 | 3.184 | 15.57 | 4.013 | 31.3 | 4.008 | 29.4846 | 3.893 | 18.28 | 20.87 | 969.975 | 37.7622 | 3.7207
2020-09-16 20:15:00 | 3.307 | 19.13 | 4.561 | 36.54 | 4.794 | 34.4207 | 4.741 | 20.89 | 20.73 | 969.609 | 36.159 | 2.797
2020-09-16 20:30:00 | 3.233 | 9.53 | 4.113 | 26.98 | 3.807 | 25.4152 | 3.71 | 10.78 | 20.87 | 969.806 | 34.7604 | 3.5027
2020-09-16 20:45:00 | 2.625 | 20.29 | 3.811 | 36.01 | 4.054 | 33.9214 | 4.112 | 22.62 | 20.7 | 969.577 | 33.8734 | 1.2452
2020-09-16 21:00:00 | 1.992 | 21.82 | 2.579 | 38.64 | 3.186 | 36.3989 | 3.178 | 21.57 | 20.95 | 969.622 | 33.2253 | 0.49141
2020-09-16 21:15:00 | 2.27 | 13.17 | 3.149 | 32.46 | 3.12 | 30.5773 | 3.035 | 14.52 | 21 | 969.672 | 32.1337 | 0.37687
2020-09-16 21:30:00 | 2.525 | 16.44 | 3.786 | 32.39 | 3.965 | 30.5114 | 3.97 | 20.24 | 21 | 969.668 | 32.0655 | -0.018474
2020-09-16 21:45:00 | 2.247 | 20.19 | 3.479 | 37.9 | 3.662 | 35.7018 | 3.654 | 23.64 | 21.04 | 969.789 | 31.929 | -0.18105
2020-09-16 22:00:00 | 2.421 | 35.8 | 3.004 | 47.79 | 2.833 | 45.0182 | 2.865 | 44.17 | 21.38 | 969.62 | 29.6776 | -0.22539
2020-09-16 22:15:00 | 2.107 | 44.33 | 2.349 | 53.53 | 2.212 | 50.4253 | 2.218 | 45.87 | 21.4 | 969.827 | 30.5646 | -0.011085
2020-09-16 22:30:00 | 3.549 | 44.15 | 4.65 | 59.47 | 4.837 | 56.0207 | 4.823 | 47.5 | 21.41 | 970.048 | 31.7244 | 0.92371
2020-09-16 22:45:00 | 2.898 | 45.99 | 3.717 | 64.09 | 3.782 | 60.3728 | 3.817 | 45.57 | 21.18 | 970.164 | 30.701 | 1.0715
2020-09-16 23:00:00 | 3.337 | 33.87 | 3.722 | 54.32 | 3.863 | 51.1694 | 3.886 | 34.08 | 21.52 | 969.952 | 28.5856 | 1.1454
2020-09-16 23:15:00 | 3.674 | 43.77 | 4.604 | 63.91 | 4.415 | 60.2032 | 4.395 | 42.76 | 21.54 | 969.663 | 29.8801 | 2.0469
2020-09-16 23:30:00 | 2.929 | 52.44 | 4.29 | 73.05 | 4.478 | 68.8131 | 4.479 | 52.91 | 21.4 | 970.1 | 27.4244 | 0.65399
2020-09-16 23:45:00 | 2.75 | 37.41 | 4.251 | 56.47 | 4.573 | 53.1947 | 4.53 | 37.18 | 21.37 | 970.1 | 28.9921 | 1.7846