## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-17 00:00:00 | 2.549 | 30.33 | 3.993 | 53.14 | 4.295 | 50.0579 | 4.281 | 31.71 | 21.27 | 970.1 | 27.1503 | 1.2452
2020-09-17 00:15:00 | 1.485 | 20.32 | 2.41 | 33.16 | 3.123 | 31.2367 | 2.903 | 20.12 | 21.68 | 970.396 | 23.1256 | -1.1176e-08
2020-09-17 00:30:00 | 1.665 | 269.2 | 1.684 | 284.2 | 0.773 | 267.716 | 0.389 | 333.3 | 21.42 | 970.396 | 28.516 | -0.27711
2020-09-17 00:45:00 | 1.849 | 251.8 | 2.313 | 256.4 | 1.457 | 241.529 | 1.154 | 265.5 | 21.02 | 970.545 | 29.0975 | -0.25864
2020-09-17 01:00:00 | 2.375 | 260.2 | 2.561 | 261.9 | 1.607 | 246.71 | 1.428 | 271 | 21.12 | 970.272 | 31.1103 | -0.24016
2020-09-17 01:15:00 | 2.229 | 267.9 | 2.899 | 280 | 2.612 | 263.76 | 2.449 | 270.7 | 20.85 | 970.269 | 33.7711 | -0.25864
2020-09-17 01:30:00 | 1.895 | 249.2 | 2.587 | 258.1 | 2.973 | 243.13 | 2.91 | 255.7 | 20.6 | 970.353 | 33.4982 | -0.25125
2020-09-17 01:45:00 | 2.183 | 263.6 | 3.298 | 272.5 | 3.756 | 256.695 | 3.677 | 264.6 | 20.55 | 970.296 | 33.6347 | 0.055423
2020-09-17 02:00:00 | 2.648 | 276 | 3.441 | 288.5 | 3.644 | 271.767 | 3.545 | 273.6 | 20.6 | 970.597 | 33.8393 | 0.1404
2020-09-17 02:15:00 | 3.422 | 282.8 | 4.466 | 300.6 | 3.982 | 283.165 | 3.893 | 280.7 | 20.6 | 970.459 | 34.044 | 2.7748
2020-09-17 02:30:00 | 4.236 | 302.3 | 5.039 | 321.1 | 4.957 | 302.476 | 4.904 | 300.1 | 20.61 | 970.755 | 35.4767 | 4.7627
2020-09-17 02:45:00 | 2.855 | 309.7 | 3.073 | 325.6 | 4.211 | 306.715 | 4.393 | 308.6 | 20.44 | 970.649 | 35.0674 | 1.6848
2020-09-17 03:00:00 | 2.898 | 296.2 | 3.76 | 315.1 | 3.891 | 296.824 | 3.814 | 295.9 | 20.44 | 970.349 | 32.6454 | 2.2132
2020-09-17 03:15:00 | 4.022 | 303.3 | 4.701 | 320 | 4.42 | 301.44 | 4.362 | 306.1 | 20.94 | 970.691 | 30.9398 | 2.5236
2020-09-17 03:30:00 | 3.128 | 304.7 | 3.512 | 321.6 | 4.522 | 302.947 | 4.604 | 302.8 | 20.75 | 970.678 | 30.8716 | 2.0359
2020-09-17 03:45:00 | 3.907 | 302.1 | 4.558 | 322.3 | 5.076 | 303.607 | 4.999 | 301.6 | 20.56 | 970.905 | 31.6561 | 3.3549
2020-09-17 04:00:00 | 2.551 | 316.2 | 3.011 | 338.2 | 2.744 | 318.584 | 2.798 | 314.4 | 20.07 | 970.439 | 35.8861 | 5.2023
2020-09-17 04:15:00 | 3.823 | 332.9 | 4.694 | 354.8 | 3.319 | 334.222 | 3.257 | 325 | 19.84 | 970.364 | 35.6132 | 7.737
2020-09-17 04:30:00 | 4.165 | 330.7 | 4.18 | 348.1 | 3.39 | 327.91 | 3.382 | 321.1 | 20.22 | 970.376 | 34.9991 | 7.4968
2020-09-17 04:45:00 | 3.925 | 336.3 | 4.315 | 352.8 | 3.092 | 332.338 | 3.152 | 330.9 | 19.77 | 970.683 | 35.8861 | 4.541
2020-09-17 05:00:00 | 3.082 | 334.3 | 3.878 | 355.4 | 2.802 | 334.787 | 2.712 | 328.6 | 19.56 | 970.692 | 37.7281 | 4.6851
2020-09-17 05:15:00 | 3.121 | 336.8 | 3.901 | 358.2 | 3.402 | 337.424 | 3.336 | 329.3 | 19.38 | 970.394 | 37.8646 | 5.2578
2020-09-17 05:30:00 | 3.261 | 336.1 | 4.372 | 356.3 | 3.704 | 335.635 | 3.576 | 331.3 | 19.61 | 970.544 | 36.9777 | 4.4634
2020-09-17 05:45:00 | 3.221 | 330.9 | 3.703 | 353.7 | 3.086 | 333.185 | 3.076 | 327.3 | 19.62 | 970.692 | 36.6365 | 4.456
2020-09-17 06:00:00 | 3.221 | 330.9 | 3.703 | 353.7 | 3.086 | 333.185 | 3.076 | 327.3 | 19.62 | 970.692 | 36.6365 | 4.6629
2020-09-17 06:15:00 | 3.221 | 330.9 | 3.703 | 353.7 | 3.086 | 333.185 | 3.076 | 327.3 | 19.62 | 970.692 | 36.6365 | 5.2171
2020-09-17 06:30:00 | 3.221 | 330.9 | 3.703 | 353.7 | 3.086 | 333.185 | 3.076 | 327.3 | 19.62 | 970.692 | 36.6365 | 4.6925
2020-09-17 06:45:00 | 3.221 | 330.9 | 3.703 | 353.7 | 3.086 | 333.185 | 3.076 | 327.3 | 19.62 | 970.692 | 36.6365 | 5.6346
2020-09-17 07:00:00 | 4.377 | 348.7 | 4.586 | 4.718 | 5.465 | 4.4444 | 5.493 | 350 | 19.08 | 970.989 | 38.9562 | 5.8083
2020-09-17 07:15:00 | 3.695 | 350.7 | 4.228 | 7.649 | 4.794 | 7.2054 | 4.859 | 353.6 | 18.82 | 970.989 | 39.9795 | 4.153
2020-09-17 07:30:00 | 3.371 | 350.8 | 3.676 | 4.331 | 4.26 | 4.0798 | 4.301 | 351.7 | 18.65 | 971.365 | 42.845 | 4.2897
2020-09-17 07:45:00 | 2.485 | 2.252 | 3.63 | 27.24 | 3.563 | 25.6601 | 3.583 | 355.4 | 18.93 | 971.293 | 41.8874 | 5.9339
2020-09-17 08:00:00 | 3.514 | 17.25 | 4.678 | 42.5 | 4.415 | 40.035 | 4.342 | 9.51 | 19.21 | 971.851 | 44.7457 | 4.7479
2020-09-17 08:15:00 | 3.797 | 18.11 | 5.294 | 38.53 | 3.909 | 36.2953 | 3.728 | 9.8 | 18.82 | 971.297 | 43.2055 | 7.1126
2020-09-17 08:30:00 | 3.353 | 16.25 | 5.136 | 36.62 | 3.769 | 34.496 | 3.677 | 8.26 | 18.84 | 971.732 | 42.5576 | 7.0941
2020-09-17 08:45:00 | 3.851 | 10.98 | 4.745 | 34.93 | 3.677 | 32.9041 | 3.733 | 1.971 | 19 | 971.583 | 42.421 | 5.158
2020-09-17 09:00:00 | 3.909 | 8.34 | 4.021 | 28.71 | 3.563 | 27.0448 | 3.685 | 7.401 | 18.87 | 971.583 | 40.3751 | 2.9781
2020-09-17 09:15:00 | 3.274 | 13.63 | 3.543 | 29.5 | 2.917 | 27.789 | 2.944 | 5.515 | 19.14 | 972.455 | 40.5817 | 1.3856
2020-09-17 09:30:00 | 2.992 | 27 | 3.827 | 47.36 | 3.064 | 44.6131 | 2.972 | 14.68 | 20.1 | 972.79 | 38.1245 | 2.1245
2020-09-17 09:45:00 | 2.374 | 25.59 | 3.195 | 47.02 | 2.259 | 44.2928 | 2.035 | 9.02 | 20.57 | 973.512 | 39.4139 | 1.2119
2020-09-17 10:00:00 | 1.188 | 25.89 | 2.34 | 30.87 | 3.245 | 29.0795 | 2.709 | 19.86 | 22.24 | 973.957 | 37.635 | 1.2082
2020-09-17 10:15:00 | 1.1 | 26.53 | 2.163 | 49.44 | 2.862 | 46.5725 | 2.655 | 20.85 | 22.97 | 973.7 | 37.2872 | 0.70941
2020-09-17 10:30:00 | 2.196 | 13.23 | 3.129 | 337.4 | 3.223 | 317.831 | 3.326 | 31.4 | 22.46 | 973.511 | 38.2045 | 0.48402
2020-09-17 10:45:00 | 3.48 | 346.3 | 3.893 | 337.5 | 2.984 | 317.925 | 2.718 | 356.3 | 22.56 | 973.215 | 33.7752 | 1.6996
2020-09-17 11:00:00 | 3.276 | 310.3 | 4.013 | 318.7 | 3.621 | 300.215 | 3.634 | 316.1 | 22.39 | 973.363 | 37.7639 | 1.0272
2020-09-17 11:15:00 | 4.019 | 305.8 | 4.198 | 315.7 | 3.949 | 297.389 | 3.901 | 310.2 | 22.19 | 973.215 | 34.8321 | 0.52097
2020-09-17 11:30:00 | 2.966 | 297.7 | 3.249 | 309.2 | 3.077 | 291.266 | 3.124 | 296.5 | 21.93 | 973.066 | 36.0925 | 0.95696
2020-09-17 11:45:00 | 3.886 | 291.4 | 4.083 | 301.2 | 3.919 | 283.73 | 3.904 | 296.4 | 22.12 | 973.363 | 31.6969 | 1.9028
2020-09-17 12:00:00 | 3.794 | 300.3 | 4.374 | 311.1 | 3.932 | 293.056 | 3.924 | 305.6 | 22.17 | 973.066 | 37.4551 | 3.0556
2020-09-17 12:15:00 | 3.585 | 272.5 | 3.574 | 281 | 3.286 | 264.702 | 3.241 | 278.5 | 22.1 | 973.066 | 36.0257 | 4.5151
2020-09-17 12:30:00 | 4.433 | 290.5 | 4.862 | 297.5 | 4.514 | 280.245 | 4.443 | 293 | 21.96 | 973.096 | 23.347 | 4.7183
2020-09-17 12:45:00 | 4.303 | 278.4 | 4.765 | 288.2 | 4.539 | 271.484 | 4.461 | 283.5 | 22.1 | 972.892 | 28.6302 | 4.4929
2020-09-17 13:00:00 | 4.211 | 287 | 4.811 | 298.6 | 4.977 | 281.281 | 4.988 | 285.8 | 22.62 | 973.215 | 26.6575 | 6.2221
2020-09-17 13:15:00 | 4.259 | 315.3 | 4.318 | 315.7 | 3.752 | 297.389 | 3.797 | 320.8 | 22.73 | 972.77 | 26.9303 | 8.0511
2020-09-17 13:30:00 | 4.499 | 300 | 5.466 | 310.6 | 5.829 | 292.585 | 5.865 | 301.6 | 23.35 | 972.918 | 28.1916 | 6.6544
2020-09-17 13:45:00 | 5.038 | 305.1 | 5.22 | 315.7 | 4.618 | 297.389 | 4.558 | 306.9 | 22.74 | 973.066 | 28.4302 | 7.8072
2020-09-17 14:00:00 | 4.453 | 281.1 | 4.742 | 290.3 | 4.618 | 273.463 | 4.701 | 288.9 | 22.94 | 973.66 | 29.9642 | 8.6866
2020-09-17 14:15:00 | 4.995 | 285.9 | 5.443 | 298.7 | 5.323 | 281.375 | 5.256 | 288.6 | 22.97 | 974.075 | 27.3358 | 11.3432
2020-09-17 14:30:00 | 5.738 | 304.4 | 6.8 | 314.9 | 6.683 | 296.636 | 6.743 | 307.5 | 23.11 | 973.444 | 29.2435 | 12.5551
2020-09-17 14:45:00 | 5.702 | 302.6 | 6.36 | 314.1 | 6.238 | 295.882 | 6.259 | 303.3 | 22.87 | 973.395 | 26.653 | 15.4888
2020-09-17 15:00:00 | 4.688 | 280.3 | 5.737 | 298.1 | 5.62 | 280.81 | 5.495 | 277.6 | 23 | 973.237 | 29.516 | 13.0945
2020-09-17 15:15:00 | 5.52 | 287.8 | 6.077 | 300.6 | 5.984 | 283.165 | 5.938 | 289.6 | 22.62 | 973.334 | 27.88 | 14.5614
2020-09-17 15:30:00 | 6.8 | 298.9 | 7.716 | 312.6 | 7.195 | 294.469 | 7.191 | 299.6 | 22.71 | 973.06 | 27.3347 | 13.2017
2020-09-17 15:45:00 | 4.887 | 297 | 5.333 | 312.8 | 5.447 | 294.658 | 5.518 | 294.6 | 22.64 | 972.918 | 28.5276 | 11.2951
2020-09-17 16:00:00 | 4.982 | 298.5 | 5.992 | 310.5 | 6.205 | 292.491 | 6.231 | 300.8 | 22.92 | 973.275 | 26.8576 | 11.7422
2020-09-17 16:15:00 | 4.009 | 287 | 4.463 | 301.2 | 4.473 | 283.73 | 4.393 | 287.1 | 22.68 | 972.931 | 27.2665 | 7.6631
2020-09-17 16:30:00 | 4.152 | 270.9 | 4.244 | 285.3 | 4.094 | 268.753 | 3.955 | 274.9 | 22.72 | 973.287 | 27.2665 | 5.7122
2020-09-17 16:45:00 | 4.502 | 283 | 5.051 | 294.9 | 5.005 | 277.796 | 4.973 | 285 | 22.34 | 973.286 | 28.2209 | 5.3501
2020-09-17 17:00:00 | 3.552 | 287.5 | 4.377 | 300.1 | 4.277 | 282.694 | 4.245 | 289 | 22.25 | 973.342 | 29.4506 | 4.7072
2020-09-17 17:15:00 | 3.746 | 292.2 | 4.607 | 306.8 | 4.56 | 289.006 | 4.5 | 293.3 | 22.03 | 973.362 | 29.6573 | 3.7429
2020-09-17 17:30:00 | 2.702 | 290.3 | 3.691 | 301.1 | 3.871 | 283.636 | 3.835 | 289.4 | 21.84 | 972.77 | 32.0436 | 3.2699
2020-09-17 17:45:00 | 3.059 | 290.6 | 3.934 | 304.2 | 3.934 | 286.556 | 3.934 | 291.7 | 21.59 | 972.325 | 32.3877 | 3.3993
2020-09-17 18:00:00 | 2.768 | 295.7 | 3.377 | 309.3 | 3.738 | 291.361 | 3.784 | 297.6 | 21.44 | 971.731 | 31.7763 | 1.8659
2020-09-17 18:15:00 | 3.072 | 314 | 3.16 | 324.5 | 2.67 | 305.679 | 2.635 | 310.4 | 21.18 | 971.583 | 32.1909 | 2.0728
2020-09-17 18:30:00 | 2.321 | 328.4 | 1.866 | 342.1 | 1.503 | 322.258 | 1.09 | 327.4 | 21.13 | 971.724 | 33.4917 | 0.62443
2020-09-17 18:45:00 | 2.622 | 340.4 | 3.17 | 354.5 | 3.067 | 333.939 | 2.972 | 341 | 21.13 | 971.286 | 33.4243 | 0.092371
2020-09-17 19:00:00 | 2.911 | 337.9 | 3.41 | 356.8 | 2.97 | 336.106 | 2.859 | 339.3 | 21.13 | 971.607 | 32.1307 | 0.25125
2020-09-17 19:15:00 | 3 | 338.7 | 3.671 | 358.7 | 4.059 | 337.895 | 4.11 | 340.4 | 20.99 | 971.922 | 31.6561 | 0.29928
2020-09-17 19:30:00 | 3.243 | 343.7 | 3.471 | 5.278 | 4.018 | 4.9719 | 4.049 | 343.5 | 21.02 | 972.038 | 31.1786 | 0.26603
2020-09-17 19:45:00 | 3.483 | 18.84 | 3.318 | 14.82 | 3.728 | 13.9604 | 3.878 | 2.622 | 20.94 | 972.688 | 32.7477 | 0.31037
2020-09-17 20:00:00 | 3.044 | 22.64 | 3.011 | 15.94 | 4.181 | 15.0155 | 4.566 | 356.6 | 20.86 | 972.737 | 32.0996 | 0.30667
2020-09-17 20:15:00 | 2.283 | 10.81 | 3.188 | 26.37 | 3.548 | 24.8405 | 3.641 | 6.483 | 20.78 | 972.875 | 31.2468 | 0.39904
2020-09-17 20:30:00 | 2.628 | 22.17 | 3.068 | 18.64 | 4.099 | 17.5589 | 4.245 | 356.3 | 20.87 | 973.065 | 31.3832 | 0.19583
2020-09-17 20:45:00 | 2.668 | 356.2 | 2.692 | 14.26 | 3.72 | 13.4329 | 3.669 | 352.3 | 20.97 | 973.066 | 29.0977 | -0.10346
2020-09-17 21:00:00 | 2.372 | 354.4 | 2.651 | 15.47 | 3.375 | 14.5727 | 3.331 | 351.8 | 20.92 | 973.354 | 28.7225 | -0.31406
2020-09-17 21:15:00 | 2.704 | 350.8 | 2.968 | 9.97 | 3.067 | 9.3917 | 3.002 | 347.3 | 21.03 | 973.342 | 27.5627 | -0.27711
2020-09-17 21:30:00 | 2.474 | 332.3 | 2.694 | 349.5 | 2.395 | 329.229 | 2.348 | 328.8 | 21.07 | 973.36 | 26.8122 | -0.25864
2020-09-17 21:45:00 | 1.716 | 323.7 | 1.907 | 343 | 1.589 | 323.106 | 1.525 | 323.4 | 21.12 | 973.506 | 27.972 | -0.22539
2020-09-17 22:00:00 | 1.299 | 299.4 | 1.641 | 317.8 | 1.348 | 299.368 | 1.209 | 308.8 | 21.03 | 973.364 | 28.1085 | -0.24016
2020-09-17 22:15:00 | 0.216 | 299.4 | 1.07 | 317.8 | 0.628 | 299.368 | 0.136 | 308.8 | 21.06 | 973.513 | 27.7674 | -0.25125
2020-09-17 22:30:00 | 1.174 | 256.9 | 1.393 | 274.2 | 1.124 | 258.296 | 1.072 | 249 | 21.09 | 973.364 | 28.1085 | -0.24016
2020-09-17 22:45:00 | 2.005 | 221.8 | 2.196 | 227.8 | 1.889 | 214.588 | 1.831 | 223.3 | 20.77 | 973.364 | 28.0403 | -0.22539
2020-09-17 23:00:00 | 2.408 | 211.5 | 2.584 | 219.6 | 2.383 | 206.863 | 2.368 | 217.2 | 20.77 | 973.364 | 28.5178 | -0.24386
2020-09-17 23:15:00 | 3.08 | 210 | 3.331 | 215.3 | 3.057 | 202.813 | 3.035 | 216.1 | 20.61 | 973.364 | 29.1318 | -0.24016
2020-09-17 23:30:00 | 3.705 | 216.5 | 3.921 | 224.6 | 3.555 | 211.573 | 3.562 | 225.3 | 20.8 | 973.067 | 28.4496 | -0.24386
2020-09-17 23:45:00 | 3.69 | 219.6 | 4.019 | 226.5 | 3.677 | 213.363 | 3.611 | 227.8 | 20.86 | 973.214 | 29.4047 | -0.077592