## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-18 00:00:00 | 3.743 | 223 | 4.075 | 227.2 | 3.944 | 214.022 | 3.835 | 229.1 | 20.81 | 973.345 | 29.2001 | 0.42121
2020-09-18 00:15:00 | 3.733 | 217.7 | 4.085 | 221.3 | 4.234 | 208.465 | 4.168 | 230.4 | 20.59 | 973.351 | 31.3832 | 0.49141
2020-09-18 00:30:00 | 3.659 | 211.9 | 4.208 | 217.1 | 4.262 | 204.508 | 4.273 | 223.5 | 20.51 | 973.067 | 30.9398 | 1.356
2020-09-18 00:45:00 | 3.723 | 213.8 | 4.343 | 218.8 | 4.222 | 206.11 | 4.235 | 222 | 20.4 | 972.899 | 31.3832 | 1.0715
2020-09-18 01:00:00 | 3.304 | 212.1 | 4.18 | 219.2 | 4.313 | 206.486 | 4.403 | 218.7 | 20.31 | 972.919 | 31.6903 | 2.2391
2020-09-18 01:15:00 | 3.284 | 211.3 | 4.062 | 217.5 | 4.489 | 204.885 | 4.619 | 221.4 | 20.39 | 973.036 | 31.9632 | 2.5901
2020-09-18 01:30:00 | 3.912 | 212.9 | 4.354 | 216.7 | 4.682 | 204.131 | 4.813 | 222.9 | 20.29 | 972.919 | 32.4748 | 2.1763
2020-09-18 01:45:00 | 3.524 | 215.9 | 4.095 | 217.5 | 4.794 | 204.885 | 4.938 | 227.9 | 20.3 | 972.917 | 31.6561 | 2.2021
2020-09-18 02:00:00 | 3.133 | 208.7 | 3.937 | 212.6 | 4.389 | 200.269 | 4.545 | 224 | 20.13 | 972.919 | 31.2468 | 1.9878
2020-09-18 02:15:00 | 3.197 | 217.7 | 3.783 | 216 | 4.201 | 203.472 | 4.171 | 227.2 | 20.39 | 972.77 | 29.9505 | 1.138
2020-09-18 02:30:00 | 3.023 | 204 | 3.686 | 205.4 | 4.026 | 193.487 | 4.163 | 219.8 | 20.52 | 972.77 | 29.8141 | 1.0493
2020-09-18 02:45:00 | 3.537 | 198 | 4.047 | 208.5 | 4.196 | 196.407 | 4.288 | 211 | 20.65 | 972.77 | 29.473 | 1.7181
2020-09-18 03:00:00 | 3.478 | 190.9 | 3.888 | 198.5 | 4.054 | 186.987 | 4.105 | 201.9 | 20.57 | 972.754 | 29.5412 | 2.0839
2020-09-18 03:15:00 | 4.435 | 191.5 | 4.517 | 200.2 | 4.71 | 188.588 | 4.795 | 203.4 | 20.44 | 972.747 | 29.6435 | 4.7109
2020-09-18 03:30:00 | 4.941 | 191.1 | 5.195 | 196.9 | 5.142 | 185.48 | 5.223 | 201.3 | 20.33 | 972.77 | 30.4963 | 6.163
2020-09-18 03:45:00 | 5.421 | 191.3 | 5.783 | 198.3 | 5.643 | 186.799 | 5.663 | 199.6 | 20.07 | 972.474 | 30.6328 | 7.7407
2020-09-18 04:00:00 | 4.586 | 184.4 | 5.491 | 193.7 | 5.508 | 182.465 | 5.595 | 195.1 | 19.69 | 972.618 | 31.3832 | 8.2728
2020-09-18 04:15:00 | 4.806 | 188.4 | 5.238 | 196.5 | 5.486 | 185.103 | 5.518 | 199.4 | 19.72 | 972.325 | 30.5646 | 8.2321
2020-09-18 04:30:00 | 4.806 | 188.4 | 5.238 | 196.5 | 5.486 | 185.103 | 5.518 | 199.4 | 19.72 | 972.177 | 30.7692 | 9.0265
2020-09-18 04:45:00 | 4.806 | 188.4 | 5.238 | 196.5 | 5.486 | 185.103 | 5.518 | 199.4 | 19.72 | 972.177 | 30.7692 | 8.6903
2020-09-18 05:00:00 | 4.806 | 188.4 | 5.238 | 196.5 | 5.486 | 185.103 | 5.518 | 199.4 | 19.72 | 972.177 | 30.7692 | 10.9552
2020-09-18 05:15:00 | 4.806 | 188.4 | 5.238 | 196.5 | 5.486 | 185.103 | 5.518 | 199.4 | 19.72 | 972.177 | 30.7692 | 13.2534
2020-09-18 05:30:00 | 4.806 | 188.4 | 5.238 | 196.5 | 5.486 | 185.103 | 5.518 | 199.4 | 19.72 | 972.177 | 30.7692 | 13.1019
2020-09-18 05:45:00 | 4.806 | 188.4 | 5.238 | 196.5 | 5.486 | 185.103 | 5.518 | 199.4 | 19.72 | 972.177 | 30.7692 | 12.6955
2020-09-18 06:00:00 | 4.806 | 188.4 | 5.238 | 196.5 | 5.486 | 185.103 | 5.518 | 199.4 | 19.72 | 972.177 | 30.7692 | 14.0921
2020-09-18 06:15:00 | 4.806 | 188.4 | 5.238 | 196.5 | 5.486 | 185.103 | 5.518 | 199.4 | 19.72 | 972.177 | 30.7692 | 14.2178
2020-09-18 06:30:00 | 4.806 | 188.4 | 5.238 | 196.5 | 5.486 | 185.103 | 5.518 | 199.4 | 19.72 | 972.177 | 30.7692 | 16.7635
2020-09-18 06:45:00 | 4.806 | 188.4 | 5.238 | 196.5 | 5.486 | 185.103 | 5.518 | 199.4 | 19.72 | 972.177 | 30.7692 | 16.7303
2020-09-18 07:00:00 | 5.303 | 178.7 | 5.438 | 188.4 | 5.3 | 177.473 | 5.386 | 186.1 | 20.04 | 973.364 | 36.9036 | 15.4001
2020-09-18 07:15:00 | 4.239 | 176 | 4.706 | 181 | 4.588 | 170.502 | 4.754 | 189.5 | 19.81 | 973.661 | 35.5389 | 13.6894
2020-09-18 07:30:00 | 4.887 | 189.9 | 5.333 | 202.4 | 5.73 | 190.661 | 5.923 | 193.6 | 20.58 | 973.573 | 36.5565 | 14.4838
2020-09-18 07:45:00 | 5.342 | 182.6 | 5.56 | 194.9 | 5.763 | 183.596 | 5.943 | 188.2 | 20.65 | 973.661 | 38.3291 | 15.8731
2020-09-18 08:00:00 | 4.936 | 172 | 4.924 | 181.7 | 4.59 | 171.161 | 4.629 | 184.5 | 20.83 | 973.957 | 37.7131 | 14.8902
2020-09-18 08:15:00 | 4.8 | 176.8 | 4.809 | 184.4 | 5.366 | 173.705 | 5.605 | 185.7 | 21.36 | 974.105 | 38.3908 | 15.5701
2020-09-18 08:30:00 | 5.561 | 175.3 | 5.412 | 180.5 | 5.648 | 170.031 | 5.745 | 187.7 | 21.24 | 974.105 | 37.3679 | 17.5099
2020-09-18 08:45:00 | 6.486 | 163.9 | 6.596 | 170.4 | 6.409 | 160.517 | 6.473 | 175.3 | 20.89 | 974.55 | 40.708 | 20.0076
2020-09-18 09:00:00 | 7.231 | 173.6 | 6.961 | 185.9 | 6.635 | 175.118 | 6.797 | 182.7 | 21.68 | 974.55 | 41.455 | 19.9337
2020-09-18 09:15:00 | 6.641 | 162.8 | 6.593 | 179.5 | 6.35 | 169.089 | 6.504 | 173.4 | 21.65 | 974.847 | 40.7035 | 20.1332
2020-09-18 09:30:00 | 7.318 | 162.6 | 7.278 | 173.9 | 6.516 | 163.814 | 6.557 | 174.9 | 22.14 | 974.698 | 38.5888 | 23.3403
2020-09-18 09:45:00 | 9.14 | 172.3 | 9.59 | 183.7 | 9.33 | 173.045 | 9.39 | 178.6 | 22.25 | 974.847 | 35.1798 | 22.2393
2020-09-18 10:00:00 | 9.25 | 164.9 | 8.7 | 182.5 | 7.739 | 171.915 | 7.69 | 171.7 | 22.39 | 974.698 | 41.5204 | 19.5568
2020-09-18 10:15:00 | 7.821 | 172.5 | 7.649 | 185.1 | 7.332 | 174.364 | 7.301 | 175.1 | 22.41 | 974.698 | 44.384 | 18.4299
2020-09-18 10:30:00 | 8.66 | 173 | 7.966 | 189.8 | 7.276 | 178.792 | 7.308 | 178.9 | 22.45 | 974.698 | 45.7474 | 18.223
2020-09-18 10:45:00 | 8.81 | 180.1 | 8.42 | 196.8 | 7.708 | 185.386 | 7.78 | 181.3 | 22.66 | 974.698 | 46.3951 | 15.8546
2020-09-18 11:00:00 | 7.433 | 165 | 7.186 | 183.8 | 6.925 | 173.14 | 6.837 | 168.9 | 23.19 | 974.698 | 43.7703 | 17.7463
2020-09-18 11:15:00 | 7.55 | 159.2 | 7.45 | 173.8 | 6.991 | 163.72 | 6.881 | 166.6 | 23.77 | 974.846 | 43.4975 | 16.8079
2020-09-18 11:30:00 | 7.321 | 184.9 | 6.665 | 200.3 | 5.704 | 188.683 | 5.674 | 183.7 | 24.37 | 975.119 | 39.7781 | 16.2093
2020-09-18 11:45:00 | 7.16 | 177.7 | 7.007 | 191.5 | 6.175 | 180.393 | 6.17 | 183.3 | 24.57 | 974.844 | 38.7867 | 14.4727
2020-09-18 12:00:00 | 7.152 | 183.8 | 6.959 | 199 | 6.622 | 187.458 | 6.601 | 186 | 24.72 | 974.729 | 40.2181 | 13.4603
2020-09-18 12:15:00 | 7.926 | 178.8 | 7.419 | 192.9 | 6.559 | 181.712 | 6.422 | 184.4 | 24.84 | 974.712 | 40.6271 | 15.4814
2020-09-18 12:30:00 | 7.803 | 179.7 | 7.567 | 190.8 | 6.968 | 179.734 | 7.033 | 184.5 | 24.91 | 974.321 | 41.2066 | 15.4371
2020-09-18 12:45:00 | 8.21 | 178.2 | 7.728 | 190.5 | 6.757 | 179.451 | 6.753 | 184.1 | 25.49 | 974.339 | 39.4683 | 16.612
2020-09-18 13:00:00 | 7.007 | 173.4 | 6.69 | 189.6 | 6.544 | 178.603 | 6.595 | 177.3 | 25.52 | 974.388 | 37.5597 | 14.9383
2020-09-18 13:15:00 | 6.932 | 184.8 | 6.519 | 199.8 | 5.994 | 188.212 | 6.007 | 185.6 | 25.84 | 973.825 | 35.8555 | 14.1845
2020-09-18 13:30:00 | 5.926 | 207.7 | 6.038 | 219.2 | 5.491 | 206.486 | 5.477 | 212.1 | 26.29 | 974.253 | 34.1854 | 17.2845
2020-09-18 13:45:00 | 6.376 | 207.4 | 5.665 | 212.7 | 5.483 | 200.363 | 5.62 | 211.8 | 26.58 | 974.401 | 33.197 | 15.6144
2020-09-18 14:00:00 | 7.336 | 188.9 | 6.892 | 198.6 | 6.106 | 187.081 | 6.112 | 194.9 | 26.64 | 974.549 | 33.2649 | 11.018
2020-09-18 14:15:00 | 6.182 | 196.3 | 6.309 | 204.4 | 6.037 | 192.545 | 6.122 | 202.2 | 26.91 | 974.401 | 30.161 | 12.7066
2020-09-18 14:30:00 | 7.178 | 206.3 | 6.619 | 211.5 | 6.076 | 199.233 | 6.178 | 209.6 | 26.69 | 974.401 | 29.6844 | 9.8763
2020-09-18 14:45:00 | 5.712 | 191.9 | 5.555 | 207.9 | 5.216 | 195.842 | 5.22 | 197.8 | 26.99 | 974.549 | 31.1848 | 11.6794
2020-09-18 15:00:00 | 5.909 | 241.8 | 5.987 | 256 | 5.586 | 241.152 | 5.433 | 243.3 | 27.45 | 974.97 | 26.6863 | 12.0895
2020-09-18 15:15:00 | 6.486 | 231.5 | 6.384 | 243.6 | 6.315 | 229.471 | 6.471 | 231.1 | 27.31 | 974.839 | 27.1272 | 12.7509
2020-09-18 15:30:00 | 6.601 | 245.5 | 6.46 | 262.9 | 6.271 | 247.652 | 6.16 | 246.8 | 27.1 | 974.809 | 28.418 | 10.6042
2020-09-18 15:45:00 | 4.532 | 212.6 | 4.279 | 203 | 4.339 | 191.226 | 4.469 | 230.3 | 27.29 | 974.531 | 29.5783 | 8.9526
2020-09-18 16:00:00 | 5.566 | 246.9 | 5.394 | 260.7 | 5.206 | 245.579 | 5.085 | 247.6 | 26.91 | 974.664 | 28.4851 | 9.1226
2020-09-18 16:15:00 | 4.566 | 233.2 | 4.755 | 251.5 | 4.392 | 236.913 | 4.337 | 239 | 27.01 | 974.478 | 29.2699 | 10.1904
2020-09-18 16:30:00 | 4.816 | 223.6 | 4.694 | 245.5 | 4.494 | 231.261 | 4.466 | 229.1 | 26.88 | 974.561 | 30.0579 | 7.9107
2020-09-18 16:45:00 | 4.913 | 233.3 | 5.346 | 245.1 | 5.236 | 230.884 | 5.21 | 235.5 | 26.8 | 974.379 | 30.5368 | 3.2773
2020-09-18 17:00:00 | 3.108 | 207 | 3.045 | 218.2 | 3.204 | 205.544 | 3.228 | 218.6 | 26.77 | 974.401 | 31.2191 | 1.7957
2020-09-18 17:15:00 | 3.177 | 202.7 | 3.622 | 210 | 3.876 | 197.82 | 4.003 | 208.6 | 26.65 | 974.104 | 31.7645 | 0.62443
2020-09-18 17:30:00 | 3.302 | 194.1 | 3.888 | 206.2 | 3.682 | 194.24 | 3.702 | 198.8 | 26.43 | 973.807 | 32.7874 | 0.49511
2020-09-18 17:45:00 | 3.028 | 195.4 | 3.776 | 205.3 | 3.652 | 193.393 | 3.71 | 200.5 | 26.24 | 973.659 | 31.561 | 0.53945
2020-09-18 18:00:00 | 3.092 | 195.9 | 3.96 | 206.7 | 4.158 | 194.711 | 4.212 | 200.8 | 26.02 | 973.304 | 32.1063 | 1.5223
2020-09-18 18:15:00 | 3.434 | 189.1 | 4.238 | 200.7 | 4.499 | 189.059 | 4.515 | 194.4 | 25.89 | 973.511 | 32.5206 | 3.2588
2020-09-18 18:30:00 | 2.919 | 178.4 | 3.988 | 187.7 | 4.283 | 176.813 | 4.316 | 186.1 | 25.51 | 973.511 | 32.7254 | 3.9646
2020-09-18 18:45:00 | 3.105 | 185.5 | 4.221 | 194 | 4.456 | 182.748 | 4.451 | 191.7 | 25.5 | 973.363 | 33.0016 | 3.6062
2020-09-18 19:00:00 | 2.727 | 180.4 | 4.136 | 185.8 | 4.372 | 175.024 | 4.352 | 189.7 | 25.33 | 973.215 | 32.5946 | 3.6838
2020-09-18 19:15:00 | 3.148 | 183.2 | 4.43 | 190.2 | 4.684 | 179.168 | 4.721 | 189.6 | 25.32 | 973.511 | 31.6056 | 4.02
2020-09-18 19:30:00 | 2.878 | 184.4 | 3.842 | 192.4 | 4.639 | 181.241 | 4.655 | 191.8 | 25.52 | 973.66 | 31.2308 | 3.2662
2020-09-18 19:45:00 | 2.439 | 177.3 | 3.492 | 182.6 | 4.148 | 172.009 | 4.217 | 188.7 | 25.48 | 973.956 | 31.0944 | 2.9078
2020-09-18 20:00:00 | 3.353 | 182 | 4.561 | 186.2 | 4.723 | 175.4 | 4.734 | 191.5 | 25.32 | 974.105 | 31.0944 | 3.8352
2020-09-18 20:15:00 | 3.105 | 186.5 | 4.328 | 194.1 | 4.562 | 182.842 | 4.599 | 194.3 | 25.38 | 973.956 | 30.3784 | 4.1752
2020-09-18 20:30:00 | 3.284 | 188.6 | 3.904 | 197.1 | 4.257 | 185.668 | 4.395 | 196.4 | 25.47 | 974.105 | 29.5943 | 4.1013
2020-09-18 20:45:00 | 3.322 | 190.7 | 3.985 | 198.9 | 4.138 | 187.364 | 4.209 | 198.2 | 25.46 | 973.956 | 29.1851 | 4.1604
2020-09-18 21:00:00 | 3.491 | 191.5 | 4.029 | 200 | 4.458 | 188.4 | 4.558 | 199.5 | 25.42 | 974.105 | 29.2533 | 3.9165
2020-09-18 21:15:00 | 2.995 | 168.4 | 3.87 | 180.7 | 4.194 | 170.219 | 4.151 | 179.8 | 25.02 | 974.253 | 32.7992 | 5.775
2020-09-18 21:30:00 | 3.184 | 165.3 | 4.083 | 173.7 | 4.389 | 163.625 | 4.393 | 176 | 24.35 | 973.956 | 32.6289 | 5.7122
2020-09-18 21:45:00 | 3.634 | 174.7 | 4.461 | 182.8 | 5.081 | 172.198 | 5.088 | 186.5 | 24.39 | 974.105 | 32.1893 | 7.1421
2020-09-18 22:00:00 | 3.161 | 156.5 | 3.962 | 170 | 4.824 | 160.14 | 4.736 | 167.2 | 24.2 | 974.105 | 33.8276 | 8.0806
2020-09-18 22:15:00 | 4.497 | 148.2 | 4.829 | 163.2 | 5.524 | 153.734 | 5.414 | 159.9 | 23.67 | 974.105 | 35.9761 | 4.1899
2020-09-18 22:30:00 | 3.588 | 166.9 | 4.566 | 173.7 | 5.074 | 163.625 | 5.042 | 176.4 | 23.86 | 974.105 | 33.3504 | 4.7664
2020-09-18 22:45:00 | 3.069 | 170.4 | 3.837 | 179.8 | 3.939 | 169.372 | 3.886 | 178.3 | 24.11 | 974.105 | 33.4868 | 2.9485
2020-09-18 23:00:00 | 2.227 | 159.1 | 2.904 | 168.4 | 3.357 | 158.633 | 3.247 | 171.1 | 23.62 | 974.291 | 35.8056 | 2.5051
2020-09-18 23:15:00 | 2.439 | 166.3 | 3.068 | 174.5 | 3.611 | 164.379 | 3.644 | 179.7 | 23.53 | 974.363 | 34.7826 | 1.7144
2020-09-18 23:30:00 | 2.811 | 180.1 | 3.331 | 186.6 | 3.326 | 175.777 | 3.397 | 192.2 | 23.57 | 974.262 | 35.8056 | 3.2441
2020-09-18 23:45:00 | 2.977 | 168.5 | 3.556 | 173.9 | 3.687 | 163.814 | 3.629 | 178.5 | 23.46 | 974.326 | 35.6013 | 4.6444