## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-19 00:00:00 | 3.353 | 158.9 | 3.579 | 163.5 | 3.263 | 154.017 | 3.267 | 174.9 | 22.95 | 974.394 | 38.0227 | 5.376
2020-09-19 00:15:00 | 3.368 | 142.6 | 4.044 | 156.2 | 3.82 | 147.14 | 3.606 | 155.7 | 22.42 | 974.106 | 38.3325 | 4.9622
2020-09-19 00:30:00 | 2.965 | 157.1 | 3.374 | 159.5 | 2.891 | 150.249 | 2.816 | 173.1 | 22.46 | 974.254 | 39.4601 | 3.4325
2020-09-19 00:45:00 | 3.141 | 172.1 | 3.328 | 177.8 | 3.319 | 167.488 | 3.29 | 181.9 | 22.95 | 973.957 | 37.585 | 2.7231
2020-09-19 01:00:00 | 2.773 | 172.7 | 3.239 | 177.3 | 3.392 | 167.017 | 3.438 | 185.1 | 22.77 | 974.254 | 37.3124 | 3.6653
2020-09-19 01:15:00 | 2.829 | 173.2 | 3.737 | 178.8 | 4.191 | 168.43 | 4.135 | 185.2 | 22.89 | 974.106 | 36.5621 | 4.8403
2020-09-19 01:30:00 | 3.189 | 164.5 | 4.024 | 171.4 | 3.96 | 161.459 | 3.904 | 176.4 | 22.74 | 973.957 | 38.8131 | 7.689
2020-09-19 01:45:00 | 3.669 | 147.5 | 4.596 | 157.9 | 4.705 | 148.742 | 4.622 | 162.4 | 22.02 | 973.957 | 41.9509 | 9.2186
2020-09-19 02:00:00 | 3.703 | 149.2 | 4.832 | 158.3 | 4.552 | 149.119 | 4.449 | 160.5 | 21.69 | 973.809 | 41.678 | 8.742
2020-09-19 02:15:00 | 4.098 | 153.2 | 4.954 | 159.5 | 4.443 | 150.249 | 4.494 | 169 | 21.73 | 973.66 | 41.8144 | 10.8961
2020-09-19 02:30:00 | 4.78 | 145.1 | 5.328 | 155.9 | 4.931 | 146.858 | 4.859 | 158.7 | 21.48 | 973.66 | 44.2701 | 15.2819
2020-09-19 02:45:00 | 3.856 | 142.2 | 5.103 | 156.6 | 5.76 | 147.517 | 5.643 | 154.3 | 21.24 | 973.66 | 45.4985 | 19.0691
2020-09-19 03:00:00 | 6.197 | 138.2 | 6.655 | 153.8 | 6.767 | 144.88 | 6.603 | 149.2 | 21.08 | 973.364 | 45.1579 | 22.509
2020-09-19 03:15:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 23.2849
2020-09-19 03:30:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 18.2267
2020-09-19 03:45:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 16.0541
2020-09-19 04:00:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 15.4518
2020-09-19 04:15:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 17.9754
2020-09-19 04:30:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 19.8007
2020-09-19 04:45:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 18.9804
2020-09-19 05:00:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 16.4716
2020-09-19 05:15:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 13.1684
2020-09-19 05:30:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 13.0613
2020-09-19 05:45:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 15.74
2020-09-19 06:00:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 31.5281
2020-09-19 06:15:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 38.5225
2020-09-19 06:30:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 38.9474
2020-09-19 06:45:00 | 5.75 | 145.6 | 6.396 | 160.5 | 6.111 | 151.191 | 5.994 | 155.5 | 21.26 | 973.364 | 47.6839 | 44.0869
2020-09-19 07:00:00 | 7.035 | 130.4 | 8.15 | 140.7 | 7.332 | 132.539 | 6.944 | 142.7 | 20.6 | 974.254 | 47.8854 | 42.4131
2020-09-19 07:15:00 | 7.658 | 132 | 8.8 | 148.5 | 8.86 | 139.887 | 8.58 | 140.1 | 20.15 | 974.551 | 51.7736 | 49.4149
2020-09-19 07:30:00 | 7.704 | 129.5 | 8.86 | 144.6 | 8.93 | 136.213 | 8.64 | 139.2 | 19.91 | 974.403 | 52.6895 | 48.1512
2020-09-19 07:45:00 | 7.083 | 134.8 | 8.04 | 149.4 | 8.2 | 140.735 | 7.869 | 147.2 | 20.17 | 974.635 | 50.6736 | 42.3318
2020-09-19 08:00:00 | 6.756 | 139.5 | 7.038 | 157 | 7.055 | 147.894 | 6.914 | 147.4 | 20.6 | 974.848 | 48.3206 | 39.7824
2020-09-19 08:15:00 | 7.716 | 138.7 | 7.762 | 157.4 | 8.15 | 148.271 | 7.889 | 146.5 | 21.34 | 975.143 | 48.213 | 37.1812
2020-09-19 08:30:00 | 5.375 | 139 | 5.752 | 154.4 | 5.847 | 145.445 | 5.923 | 145.6 | 21.81 | 975.44 | 45.6188 | 30.4012
2020-09-19 08:45:00 | 5.467 | 138.2 | 6.12 | 156.9 | 6.078 | 147.8 | 6.165 | 148 | 22.34 | 975.885 | 48.5127 | 25.5646
2020-09-19 09:00:00 | 6.067 | 133.3 | 6.008 | 151.8 | 5.92 | 142.996 | 5.847 | 141.1 | 22.02 | 976.033 | 49.4291 | 24.6335
2020-09-19 09:15:00 | 6.149 | 129.2 | 7.038 | 146.3 | 7.006 | 137.815 | 6.71 | 139.1 | 22.59 | 976.478 | 46.9064 | 25.79
2020-09-19 09:30:00 | 6.225 | 137 | 6.355 | 154.4 | 6.124 | 145.445 | 6.007 | 142.9 | 22.53 | 976.327 | 46.0859 | 24.1347
2020-09-19 09:45:00 | 5.944 | 130.2 | 6.435 | 143.5 | 6.554 | 135.177 | 6.448 | 139.3 | 22.89 | 976.458 | 50.2731 | 22.339
2020-09-19 10:00:00 | 7.134 | 138.9 | 6.946 | 154.8 | 6.737 | 145.822 | 6.542 | 147.4 | 22.57 | 976.37 | 53.2379 | 23.3514
2020-09-19 10:15:00 | 7.224 | 158.3 | 6.918 | 175.2 | 6.432 | 165.038 | 6.249 | 158.5 | 22.62 | 976.048 | 53.4424 | 21.5927
2020-09-19 10:30:00 | 7.093 | 150.4 | 6.913 | 169.4 | 6.678 | 159.575 | 6.69 | 155.7 | 22.84 | 976.229 | 52.4199 | 20.2293
2020-09-19 10:45:00 | 7.734 | 148.2 | 7.629 | 162.7 | 6.872 | 153.263 | 6.845 | 154.5 | 23.22 | 976.45 | 49.3526 | 18.6811
2020-09-19 11:00:00 | 7.379 | 146.1 | 7.158 | 163.8 | 6.783 | 154.3 | 6.613 | 149.4 | 23.4 | 976.162 | 50.4431 | 18.1749
2020-09-19 11:15:00 | 7.645 | 147.9 | 7.554 | 164.2 | 7.012 | 154.676 | 6.84 | 154.2 | 23.76 | 976.149 | 48.0232 | 16.4458
2020-09-19 11:30:00 | 7.305 | 148 | 7.127 | 161.6 | 6.411 | 152.227 | 6.244 | 156.9 | 24.08 | 975.905 | 47.6483 | 16.7155
2020-09-19 11:45:00 | 7.014 | 145.2 | 7.117 | 158.8 | 6.213 | 149.59 | 5.984 | 156.9 | 24.76 | 976.329 | 43.831 | 15.2967
2020-09-19 12:00:00 | 6.317 | 172.2 | 6.043 | 189 | 5.122 | 178.038 | 5.098 | 175.2 | 25.44 | 976.032 | 45.0579 | 16.2758
2020-09-19 12:15:00 | 6.603 | 171.8 | 6.601 | 189.3 | 6.119 | 178.321 | 6.063 | 174.8 | 25.3 | 975.735 | 45.3306 | 14.3877
2020-09-19 12:30:00 | 6.853 | 186.7 | 6.34 | 198.6 | 5.852 | 187.081 | 5.893 | 190.1 | 25.32 | 975.884 | 43.3538 | 13.1647
2020-09-19 12:45:00 | 7.098 | 179.3 | 6.874 | 191.4 | 6.78 | 180.299 | 6.863 | 183.2 | 25.62 | 975.587 | 41.411 | 12.7324
2020-09-19 13:00:00 | 7.813 | 175.5 | 7.567 | 186.5 | 6.935 | 175.683 | 6.886 | 180.2 | 26.15 | 975.587 | 38.2413 | 15.075
2020-09-19 13:15:00 | 6.815 | 172.5 | 6.851 | 190.9 | 6.628 | 179.828 | 6.552 | 174.5 | 26.55 | 975.587 | 37.1847 | 16.0282
2020-09-19 13:30:00 | 6.815 | 180.1 | 6.698 | 199.4 | 6.104 | 187.835 | 5.989 | 180.3 | 26.76 | 975.439 | 37.9005 | 19.9855
2020-09-19 13:45:00 | 7.231 | 216.7 | 7.133 | 224.8 | 7.098 | 211.762 | 7.268 | 226 | 27.09 | 975.587 | 32.1739 | 30.189
2020-09-19 14:00:00 | 9.05 | 214.1 | 8.32 | 207.7 | 8.5 | 195.653 | 8.61 | 222.3 | 27.58 | 975.735 | 24.0939 | 33.7339
2020-09-19 14:15:00 | 8.44 | 212.5 | 8.37 | 218.2 | 8.9 | 205.544 | 9.1 | 221.2 | 27.57 | 975.884 | 26.6524 | 33.8337
2020-09-19 14:30:00 | 8.21 | 211.2 | 7.861 | 217.1 | 8.33 | 204.508 | 8.34 | 217.7 | 27.54 | 975.884 | 29.3789 | 29.6807
2020-09-19 14:45:00 | 7.755 | 206.1 | 6.895 | 209.9 | 6.355 | 197.726 | 6.55 | 220.2 | 27.71 | 975.689 | 32.2405 | 22.243
2020-09-19 15:00:00 | 6.733 | 207.6 | 6.353 | 210.6 | 6.602 | 198.385 | 6.725 | 215.6 | 27.27 | 975.555 | 33.467 | 14.1919
2020-09-19 15:15:00 | 8.78 | 196.9 | 7.987 | 203.8 | 7.307 | 191.98 | 7.319 | 203.3 | 27.36 | 975.379 | 33.4687 | 17.0443
2020-09-19 15:30:00 | 5.081 | 215.2 | 5.476 | 222.3 | 5.793 | 209.407 | 5.943 | 222 | 27.6 | 975.837 | 33.8428 | 10.9294
2020-09-19 15:45:00 | 5.743 | 218.8 | 5.031 | 212.6 | 5.114 | 200.269 | 5.23 | 223.3 | 27.53 | 975.942 | 33.4317 | 5.6273
2020-09-19 16:00:00 | 4.826 | 209.2 | 4.307 | 209.3 | 4.224 | 197.161 | 4.334 | 216.4 | 27.6 | 976.005 | 32.5107 | 4.2823
2020-09-19 16:15:00 | 4.397 | 210.7 | 4.274 | 214.8 | 4.679 | 202.342 | 4.766 | 218.8 | 27.64 | 975.752 | 32.4753 | 3.9756
2020-09-19 16:30:00 | 3.794 | 211.6 | 3.763 | 226.7 | 3.695 | 213.551 | 3.804 | 219.5 | 27.51 | 975.829 | 34.1792 | 2.8376
2020-09-19 16:45:00 | 3.792 | 224.4 | 4.205 | 234.5 | 4.003 | 220.899 | 4.046 | 226.6 | 27.35 | 975.738 | 32.4751 | 1.6405
2020-09-19 17:00:00 | 4.42 | 231.1 | 4.752 | 244.2 | 4.483 | 230.036 | 4.372 | 235.7 | 27.14 | 975.583 | 34.695 | 1.2563
2020-09-19 17:15:00 | 3.935 | 226.3 | 4.195 | 238.6 | 3.86 | 224.761 | 3.809 | 227.4 | 26.98 | 975.29 | 34.6958 | 1.1676
2020-09-19 17:30:00 | 4.262 | 227.2 | 4.512 | 239.2 | 4.695 | 225.326 | 4.711 | 228.5 | 26.81 | 974.845 | 35.3085 | 2.3536
2020-09-19 17:45:00 | 2.957 | 222 | 3.068 | 227.7 | 4.534 | 214.493 | 4.591 | 224.6 | 26.58 | 974.845 | 36.1963 | 3.0409
2020-09-19 18:00:00 | 2.347 | 222.3 | 2.712 | 226.7 | 3.952 | 213.551 | 4.151 | 224.2 | 26.13 | 974.495 | 37.0825 | 3.8242
2020-09-19 18:15:00 | 2.51 | 209.5 | 3.466 | 215.7 | 4.066 | 203.189 | 4.176 | 215.8 | 25.99 | 974.693 | 37.8374 | 2.531
2020-09-19 18:30:00 | 2.543 | 196.8 | 3.137 | 203.3 | 3.629 | 191.509 | 3.685 | 207 | 26.03 | 974.55 | 38.0433 | 2.0174
2020-09-19 18:45:00 | 2.482 | 190.1 | 3.024 | 200.8 | 3.283 | 189.154 | 3.338 | 199.4 | 25.84 | 974.698 | 38.4524 | 1.4742
2020-09-19 19:00:00 | 2.622 | 184.2 | 3.487 | 190.6 | 3.832 | 179.545 | 3.924 | 193.7 | 25.86 | 974.698 | 38.8302 | 1.4299
2020-09-19 19:15:00 | 2.926 | 170.1 | 3.819 | 181.1 | 3.748 | 170.596 | 3.718 | 179.4 | 25.79 | 974.55 | 38.5261 | 1.2193
2020-09-19 19:30:00 | 2.891 | 167.4 | 3.727 | 178.9 | 4.102 | 168.524 | 4.054 | 176.9 | 26.05 | 974.55 | 39.0725 | 1.7255
2020-09-19 19:45:00 | 3.388 | 151.6 | 3.627 | 160 | 3.911 | 150.72 | 3.837 | 163.3 | 25.49 | 974.698 | 40.6069 | 2.2834
2020-09-19 20:00:00 | 4.106 | 161.9 | 4.742 | 171 | 5.157 | 161.082 | 5.088 | 173.6 | 25.23 | 974.698 | 39.6863 | 4.5631
2020-09-19 20:15:00 | 4.29 | 165.6 | 4.919 | 173.8 | 5.043 | 163.72 | 5.157 | 176.6 | 25.32 | 974.698 | 38.7316 | 7.1274
2020-09-19 20:30:00 | 5.311 | 161.3 | 5.489 | 173.3 | 5.811 | 163.249 | 5.829 | 171.3 | 25.16 | 974.55 | 39.0726 | 11.6425
2020-09-19 20:45:00 | 6.248 | 164.4 | 6.407 | 174.7 | 6.391 | 164.567 | 6.376 | 174.2 | 25.25 | 974.698 | 37.777 | 13.6081
2020-09-19 21:00:00 | 6.105 | 159.8 | 6.33 | 170.6 | 6.416 | 160.705 | 6.366 | 169.8 | 24.69 | 974.55 | 39.8568 | 14.0626
2020-09-19 21:15:00 | 5.988 | 161 | 6.24 | 170.7 | 6.5 | 160.799 | 6.626 | 172.2 | 24.42 | 974.253 | 39.4136 | 16.4495
2020-09-19 21:30:00 | 5.988 | 158.8 | 6.77 | 170 | 6.811 | 160.14 | 6.794 | 169.8 | 24.11 | 974.105 | 38.9374 | 19.6566
2020-09-19 21:45:00 | 6.289 | 160.1 | 6.793 | 172.9 | 6.579 | 162.872 | 6.552 | 168.5 | 23.91 | 973.956 | 39.8287 | 21.2675
2020-09-19 22:00:00 | 6.792 | 164.9 | 6.831 | 173.9 | 6.434 | 163.814 | 6.565 | 177.2 | 23.91 | 973.956 | 38.9429 | 23.3995
2020-09-19 22:15:00 | 7.098 | 166.7 | 7.13 | 176.5 | 7.271 | 166.263 | 7.321 | 175.4 | 23.82 | 974.105 | 39.6249 | 27.9293
2020-09-19 22:30:00 | 7.767 | 166.9 | 7.905 | 177.9 | 7.879 | 167.582 | 8.05 | 176.3 | 24.01 | 973.956 | 35.8056 | 31.4025
2020-09-19 22:45:00 | 7.101 | 164.8 | 6.908 | 179.6 | 7.253 | 169.183 | 7.421 | 173.1 | 23.58 | 974.105 | 38.1927 | 36.2004
2020-09-19 23:00:00 | 7.16 | 164.4 | 7.202 | 179.1 | 7.441 | 168.712 | 7.466 | 173.8 | 23.33 | 974.105 | 38.3973 | 37.2477
2020-09-19 23:15:00 | 7.584 | 165.5 | 7.386 | 176 | 7.017 | 165.792 | 7.11 | 174.3 | 23.24 | 973.956 | 37.3742 | 38.4633
2020-09-19 23:30:00 | 7.361 | 167.6 | 7.386 | 180.6 | 7.302 | 170.125 | 7.533 | 175.1 | 22.98 | 973.956 | 40.3751 | 41.7961
2020-09-19 23:45:00 | 7.088 | 167 | 7.46 | 180.3 | 7.609 | 169.843 | 7.726 | 175 | 22.98 | 974.204 | 37.7153 | 41.5321