## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-20 00:00:00 | 7.236 | 166.8 | 7.12 | 176.6 | 7.505 | 166.357 | 7.764 | 175.8 | 22.92 | 974.5 | 40.5115 | 35.5112
2020-09-20 00:15:00 | 7.321 | 168.2 | 7.127 | 179.5 | 7.098 | 169.089 | 7.163 | 174.5 | 22.7 | 974.312 | 39.83 | 38.3008
2020-09-20 00:30:00 | 7.458 | 168.4 | 7.383 | 177.8 | 7.79 | 167.488 | 8.01 | 175.9 | 22.67 | 974.381 | 40.5134 | 38.9141
2020-09-20 00:45:00 | 8.22 | 171.3 | 8.4 | 182.3 | 8.98 | 171.727 | 9.11 | 179.9 | 22.64 | 974.378 | 39.3188 | 37.0889
2020-09-20 01:00:00 | 8.65 | 171.6 | 8.69 | 182.5 | 8.83 | 171.915 | 9.01 | 180.3 | 22.77 | 974.54 | 40.1037 | 39.0397
2020-09-20 01:15:00 | 8.86 | 173.1 | 8.8 | 181.7 | 8.87 | 171.161 | 9.18 | 181.3 | 22.52 | 974.543 | 40.2405 | 42.6496
2020-09-20 01:30:00 | 8.52 | 166.8 | 8.35 | 176.7 | 8.35 | 166.451 | 8.48 | 177.2 | 22.45 | 974.847 | 42.0838 | 32.3927
2020-09-20 01:45:00 | 6.205 | 157.2 | 6.885 | 172.2 | 7.708 | 162.212 | 7.803 | 168.5 | 21.77 | 974.548 | 44.4388 | 24.9033
2020-09-20 02:00:00 | 7.267 | 155.1 | 7.634 | 168.3 | 7.523 | 158.539 | 7.415 | 164.8 | 21.65 | 974.402 | 45.2251 | 24.8441
2020-09-20 02:15:00 | 6.945 | 157.8 | 7.309 | 172 | 7.533 | 162.024 | 7.477 | 168.5 | 21.48 | 974.254 | 43.8608 | 23.1039
2020-09-20 02:30:00 | 6.779 | 161.5 | 7.13 | 173.7 | 7.103 | 163.625 | 7.125 | 170.9 | 21.51 | 974.254 | 43.0423 | 18.4225
2020-09-20 02:45:00 | 6.057 | 175.5 | 5.811 | 184 | 5.707 | 173.328 | 5.801 | 185.4 | 21.66 | 974.254 | 43.3151 | 17.7426
2020-09-20 03:00:00 | 5.806 | 176.5 | 6.146 | 184.4 | 6.223 | 173.705 | 6.353 | 184.3 | 21.61 | 974.254 | 43.9973 | 17.218
2020-09-20 03:15:00 | 5.878 | 186.3 | 6.849 | 195.5 | 6.986 | 184.161 | 7.117 | 194.8 | 21.39 | 974.254 | 41.4052 | 18.2378
2020-09-20 03:30:00 | 6.315 | 188 | 6.47 | 196.2 | 7.131 | 184.82 | 7.207 | 194.6 | 21.68 | 974.254 | 42.3602 | 18.4299
2020-09-20 03:45:00 | 5.735 | 186.7 | 6.286 | 194.8 | 6.806 | 183.502 | 6.947 | 194.5 | 21.39 | 974.551 | 43.4857 | 18.1454
2020-09-20 04:00:00 | 5.283 | 182.1 | 5.885 | 189.8 | 6.35 | 178.792 | 6.445 | 189.3 | 21.45 | 974.551 | 43.1105 | 20.451
2020-09-20 04:15:00 | 4.775 | 178.1 | 5.409 | 183.6 | 6.007 | 172.951 | 6.04 | 189.9 | 21.07 | 974.551 | 44.7479 | 18.707
2020-09-20 04:30:00 | 4.923 | 183.7 | 5.634 | 188.9 | 6.274 | 177.944 | 6.415 | 190.2 | 21.23 | 974.551 | 43.9302 | 18.5592
2020-09-20 04:45:00 | 4.862 | 180.6 | 5.601 | 188.4 | 5.659 | 177.473 | 5.702 | 188.7 | 21.15 | 974.551 | 44.2715 | 16.1317
2020-09-20 05:00:00 | 4.788 | 184.8 | 5.599 | 191.5 | 5.674 | 180.393 | 5.829 | 192.6 | 21.38 | 974.699 | 42.9104 | 14.0404
2020-09-20 05:15:00 | 4.972 | 186.6 | 5.663 | 195.3 | 5.987 | 183.973 | 6.01 | 194.2 | 21.34 | 974.848 | 43.25 | 14.2584
2020-09-20 05:30:00 | 5.454 | 186.4 | 5.997 | 195.6 | 5.803 | 184.255 | 5.831 | 195.4 | 21.29 | 974.848 | 44.7505 | 16.4864
2020-09-20 05:45:00 | 4.933 | 186.7 | 5.78 | 197.7 | 6.06 | 186.233 | 6.124 | 194.5 | 21.1 | 974.848 | 45.4324 | 16.1834
2020-09-20 06:00:00 | 4.964 | 191.9 | 5.399 | 199.7 | 5.638 | 188.117 | 5.905 | 201.1 | 21.23 | 974.848 | 44.5806 | 14.6759
2020-09-20 06:15:00 | 4.89 | 194.7 | 4.98 | 203 | 5.684 | 191.226 | 5.969 | 201.4 | 21.34 | 975.441 | 43.9979 | 12.2928
2020-09-20 06:30:00 | 4.423 | 193.9 | 4.834 | 202.9 | 5.18 | 191.132 | 5.409 | 204.5 | 21.46 | 975.441 | 43.5198 | 10.2421
2020-09-20 06:45:00 | 4.857 | 190.8 | 5.103 | 200.4 | 5.157 | 188.777 | 5.297 | 199.6 | 21.53 | 975.738 | 43.1787 | 8.8455
2020-09-20 07:00:00 | 4.65 | 196.2 | 4.747 | 206.1 | 4.766 | 194.146 | 4.879 | 201.7 | 21.85 | 976.183 | 43.0396 | 8.173
2020-09-20 07:15:00 | 4.387 | 192.3 | 4.839 | 199.9 | 4.679 | 188.306 | 4.744 | 200.1 | 21.94 | 976.058 | 43.9898 | 6.6359
2020-09-20 07:30:00 | 4.54 | 185.6 | 4.791 | 198.8 | 4.547 | 187.27 | 4.568 | 194.2 | 22.16 | 976.33 | 43.9888 | 6.7024
2020-09-20 07:45:00 | 4.665 | 189.5 | 4.768 | 202.4 | 4.443 | 190.661 | 4.484 | 196.5 | 22.39 | 976.33 | 43.5733 | 6.4106
2020-09-20 08:00:00 | 4.811 | 187 | 4.371 | 198.3 | 3.949 | 186.799 | 4.026 | 195.7 | 22.63 | 976.627 | 41.8672 | 5.6974
2020-09-20 08:15:00 | 4.941 | 189.4 | 4.481 | 201.4 | 4.155 | 189.719 | 4.189 | 197.4 | 22.9 | 976.775 | 41.1803 | 3.9387
2020-09-20 08:30:00 | 5.423 | 194.3 | 5.028 | 202.5 | 4.305 | 190.755 | 4.329 | 202.2 | 23.23 | 976.916 | 39.8159 | 3.8205
2020-09-20 08:45:00 | 5.132 | 188.1 | 4.942 | 201.9 | 4.621 | 190.19 | 4.629 | 194.2 | 23.46 | 977.366 | 39.2702 | 4.0717
2020-09-20 09:00:00 | 5.469 | 194 | 5.274 | 205.9 | 4.847 | 193.958 | 4.848 | 199.7 | 23.6 | 977.301 | 39.06 | 3.8168
2020-09-20 09:15:00 | 4.665 | 191.2 | 4.279 | 206.9 | 4.064 | 194.9 | 4.061 | 196.8 | 23.82 | 977.415 | 39.2638 | 2.1578
2020-09-20 09:30:00 | 4.923 | 200.2 | 4.515 | 206.3 | 4.173 | 194.335 | 4.176 | 207.4 | 24.18 | 977.538 | 39.332 | 1.9693
2020-09-20 09:45:00 | 4.885 | 214.9 | 5.192 | 219 | 5.046 | 206.298 | 5.162 | 225.3 | 24.45 | 977.663 | 37.9687 | 1.1639
2020-09-20 10:00:00 | 4.177 | 194.7 | 3.911 | 203.2 | 3.802 | 191.414 | 3.769 | 212.3 | 24.7 | 977.96 | 38.5821 | 0.58379
2020-09-20 10:15:00 | 4.269 | 220.1 | 4.31 | 222.9 | 4.219 | 209.972 | 4.275 | 224.9 | 24.83 | 978.108 | 40.6269 | 1.3449
2020-09-20 10:30:00 | 4.742 | 191.8 | 4.192 | 198.5 | 4.043 | 186.987 | 4.059 | 209.6 | 25.21 | 977.96 | 40.2155 | 1.4114
2020-09-20 10:45:00 | 4.354 | 196.2 | 4.313 | 196.6 | 3.766 | 185.197 | 3.791 | 210.9 | 25.5 | 978.405 | 38.3068 | 0.60226
2020-09-20 11:00:00 | 3.519 | 222.6 | 3.827 | 220.5 | 3.058 | 207.711 | 2.957 | 243.9 | 26.25 | 978.553 | 34.9686 | 0.90524
2020-09-20 11:15:00 | 4.065 | 245.3 | 3.888 | 259.6 | 3.568 | 244.543 | 3.522 | 243.8 | 25.48 | 978.013 | 34.657 | 1.3264
2020-09-20 11:30:00 | 2.432 | 276.6 | 2.86 | 290.3 | 3.045 | 273.463 | 3.156 | 284.8 | 26.27 | 977.857 | 33.7993 | 1.3782
2020-09-20 11:45:00 | 4.412 | 288.9 | 4.706 | 305.5 | 4.443 | 287.781 | 4.395 | 285.2 | 26.25 | 978.106 | 32.5724 | 1.84
2020-09-20 12:00:00 | 4.04 | 293.2 | 4.563 | 306.9 | 4.11 | 289.1 | 4.059 | 295.4 | 26.3 | 978.106 | 32.5724 | 1.7883
2020-09-20 12:15:00 | 4.185 | 297.6 | 4.829 | 312.1 | 4.374 | 293.998 | 4.301 | 298.9 | 26.27 | 977.513 | 34.3441 | 0.55053
2020-09-20 12:30:00 | 3.57 | 292.2 | 4.049 | 303.9 | 3.427 | 286.274 | 3.251 | 294.7 | 26.63 | 977.513 | 33.9016 | -0.044338
2020-09-20 12:45:00 | 3.22 | 249.5 | 3.599 | 268.9 | 3.591 | 253.304 | 3.509 | 252.3 | 26.5 | 977.389 | 34.3497 | -0.28081
2020-09-20 13:00:00 | 2.419 | 239 | 2.705 | 247.7 | 2.059 | 233.333 | 1.996 | 248 | 26.42 | 977.215 | 34.0816 | -0.24386
2020-09-20 13:15:00 | 2.761 | 242 | 2.727 | 247.9 | 2.398 | 233.522 | 2.32 | 246.2 | 27.06 | 977.663 | 31.2195 | -0.2845
2020-09-20 13:30:00 | 4.269 | 237.6 | 4.113 | 254.4 | 3.621 | 239.645 | 3.565 | 238.4 | 27.16 | 977.657 | 34.0821 | -0.29189
2020-09-20 13:45:00 | 2.035 | 256.8 | 2.629 | 269.3 | 2.412 | 253.681 | 2.475 | 257.3 | 27.07 | 978.126 | 31.8645 | -0.11454
2020-09-20 14:00:00 | 3.784 | 235.8 | 3.781 | 251.2 | 3.431 | 236.63 | 3.44 | 231.3 | 26.82 | 978.015 | 34.5498 | 0.2882
2020-09-20 14:15:00 | 3.677 | 273.6 | 3.983 | 284.2 | 4.033 | 267.716 | 3.848 | 273.5 | 26.93 | 977.84 | 35.2306 | 1.3745
2020-09-20 14:30:00 | 4.897 | 252.7 | 4.908 | 264.7 | 4.496 | 249.347 | 4.339 | 256.9 | 26.81 | 977.676 | 36.9357 | 2.5494
2020-09-20 14:45:00 | 4.272 | 194.7 | 4.016 | 197.8 | 3.637 | 186.328 | 3.621 | 213.2 | 27.58 | 977.866 | 30.1905 | 2.2021
2020-09-20 15:00:00 | 3.203 | 222.6 | 3.533 | 244.7 | 2.917 | 230.507 | 2.905 | 219.2 | 27.45 | 977.81 | 29.7104 | 1.0419
2020-09-20 15:15:00 | 3.437 | 221.9 | 3.047 | 226.2 | 2.797 | 213.08 | 2.684 | 225.6 | 27.76 | 977.661 | 31.1755 | 0.84242
2020-09-20 15:30:00 | 2.362 | 214 | 2.471 | 213 | 2.128 | 200.646 | 2.083 | 234.8 | 28.02 | 978.106 | 30.7325 | 0.099761
2020-09-20 15:45:00 | 2.134 | 280.2 | 2.592 | 286.2 | 2.451 | 269.6 | 2.294 | 287.6 | 27.33 | 977.513 | 32.0273 | 0.088676
2020-09-20 16:00:00 | 2.817 | 293 | 2.845 | 296.8 | 2.533 | 279.586 | 2.35 | 291.7 | 27.53 | 977.81 | 33.2198 | -0.2845
2020-09-20 16:15:00 | 2.75 | 254.9 | 2.712 | 270 | 2.222 | 254.34 | 2.154 | 247.7 | 27.23 | 977.365 | 33.5264 | -0.27342
2020-09-20 16:30:00 | 2.301 | 297.2 | 3.147 | 312.1 | 2.937 | 293.998 | 2.87 | 299.1 | 26.62 | 976.92 | 34.9234 | -0.25125
2020-09-20 16:45:00 | 1.654 | 301.3 | 2.421 | 312 | 2.212 | 293.904 | 2.108 | 300.4 | 26.94 | 977.325 | 33.8091 | -0.23647
2020-09-20 17:00:00 | 1.871 | 303.7 | 2.208 | 314.4 | 1.691 | 296.165 | 1.522 | 304.1 | 26.58 | 976.772 | 34.2186 | -0.24755
2020-09-20 17:15:00 | 1.607 | 304.7 | 2.185 | 324.2 | 1.912 | 305.396 | 1.777 | 301.5 | 26.18 | 976.18 | 34.4233 | -0.23647
2020-09-20 17:30:00 | 1.918 | 292.1 | 2.234 | 304.1 | 2.047 | 286.462 | 1.899 | 286.5 | 26.13 | 976.18 | 35.242 | -0.22539
2020-09-20 17:45:00 | 1.147 | 280 | 1.738 | 293.3 | 1.643 | 276.289 | 1.492 | 280.5 | 25.95 | 976.146 | 36.5031 | -0.22539
2020-09-20 18:00:00 | 0.145 | 291 | 1.248 | 306.7 | 1.266 | 288.911 | 1.071 | 282.7 | 25.79 | 975.885 | 35.8615 | -0.22539
2020-09-20 18:15:00 | 0.681 | 291.1 | 1.129 | 306.7 | 0.928 | 288.911 | 0.64 | 282.7 | 25.67 | 975.885 | 35.9299 | -0.23647
2020-09-20 18:30:00 | 0.26 | 291.1 | 1.329 | 306.7 | 1.393 | 288.911 | 1.258 | 282.7 | 25.67 | 975.736 | 35.1857 | -0.22539
2020-09-20 18:45:00 | 1.145 | 291.1 | 1.697 | 306.7 | 1.536 | 288.911 | 1.37 | 282.8 | 25.8 | 976.033 | 34.9812 | -0.22539
2020-09-20 19:00:00 | 1.639 | 294.2 | 2.081 | 308.8 | 1.721 | 290.89 | 1.601 | 299.6 | 25.8 | 976.033 | 33.8902 | -0.22539
2020-09-20 19:15:00 | 1.499 | 293.6 | 1.973 | 310 | 1.935 | 292.02 | 1.785 | 297.1 | 25.81 | 976.033 | 32.9356 | -0.22539
2020-09-20 19:30:00 | 1.782 | 291.7 | 2.239 | 304.6 | 2.001 | 286.933 | 1.836 | 286.8 | 25.87 | 976.33 | 32.8674 | -0.23647
2020-09-20 19:45:00 | 1.406 | 289.6 | 1.84 | 301.2 | 1.454 | 283.73 | 1.349 | 283.3 | 25.88 | 976.33 | 31.9127 | -0.22539
2020-09-20 20:00:00 | 1.152 | 280.6 | 1.776 | 290.3 | 1.627 | 273.463 | 1.461 | 273.3 | 25.81 | 976.478 | 31.64 | -0.22539
2020-09-20 20:15:00 | 1.333 | 281.1 | 1.62 | 290.3 | 1.431 | 273.463 | 1.199 | 278.4 | 25.82 | 976.33 | 30.7535 | -0.22539
2020-09-20 20:30:00 | 0 | 281.1 | 1.119 | 290.3 | 0.928 | 273.463 | 0.498 | 276.7 | 25.83 | 976.33 | 32.1173 | -0.22539
2020-09-20 20:45:00 | 0.138 | 264.8 | 1.516 | 289.8 | 1.35 | 272.992 | 1.092 | 266.2 | 25.75 | 976.626 | 32.2537 | -0.23647
2020-09-20 21:00:00 | 2.268 | 231.5 | 2.689 | 238.1 | 2.444 | 224.29 | 2.411 | 228 | 25.58 | 976.626 | 31.64 | -0.24016
2020-09-20 21:15:00 | 2.252 | 189.3 | 2.942 | 205.7 | 2.924 | 193.769 | 2.923 | 194.6 | 25.29 | 976.181 | 34.2653 | -0.22539
2020-09-20 21:30:00 | 3.463 | 203.2 | 4.008 | 213.4 | 4.069 | 201.023 | 4.077 | 210.7 | 25.06 | 976.478 | 33.9584 | 0.16257
2020-09-20 21:45:00 | 2.88 | 223.6 | 3.264 | 233 | 3.728 | 219.486 | 3.705 | 229.6 | 24.91 | 976.181 | 34.4357 | 0.47663
2020-09-20 22:00:00 | 3.692 | 243.8 | 4.031 | 252.4 | 3.797 | 237.761 | 3.695 | 247.3 | 25 | 976.181 | 34.6403 | 0.12193
2020-09-20 22:15:00 | 2.857 | 240.3 | 2.945 | 258.3 | 2.731 | 243.319 | 2.686 | 241.2 | 24.82 | 976.478 | 35.3222 | -0.28081
2020-09-20 22:30:00 | 3.092 | 231.1 | 3.349 | 241.1 | 3.1 | 227.116 | 3.03 | 237.5 | 24.76 | 976.33 | 35.254 | -0.22539
2020-09-20 22:45:00 | 2.444 | 239.7 | 2.835 | 250.3 | 2.657 | 235.783 | 2.567 | 243.8 | 24.69 | 976.033 | 35.7317 | -0.24386
2020-09-20 23:00:00 | 2.446 | 241 | 2.549 | 250.4 | 2.792 | 235.877 | 2.793 | 244.2 | 24.48 | 976.033 | 35.9368 | -0.22539
2020-09-20 23:15:00 | 2.745 | 233.3 | 2.809 | 242.3 | 2.365 | 228.247 | 2.223 | 239.5 | 24.41 | 976.033 | 36.4848 | -0.22539
2020-09-20 23:30:00 | 2.674 | 242.1 | 2.878 | 249.5 | 2.706 | 235.029 | 2.628 | 248.7 | 24.2 | 976.033 | 36.6573 | -0.20691
2020-09-20 23:45:00 | 2.39 | 237.5 | 2.653 | 240 | 2.734 | 226.08 | 2.62 | 249.9 | 24.14 | 976.033 | 37.681 | -0.18844