## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-21 00:00:00 | 2.316 | 229.6 | 2.868 | 235.7 | 3.021 | 222.029 | 2.847 | 241.4 | 23.95 | 975.736 | 37.4419 | -0.16996
2020-09-21 00:15:00 | 2.873 | 232 | 3.183 | 233.2 | 3.311 | 219.674 | 3.262 | 240.8 | 23.96 | 975.588 | 37.9879 | -0.11454
2020-09-21 00:30:00 | 3.011 | 235.3 | 3.374 | 237.6 | 3.652 | 223.819 | 3.58 | 245.1 | 24.16 | 975.736 | 37.2378 | 0.033254
2020-09-21 00:45:00 | 3.031 | 236.8 | 3.4 | 237.6 | 3.563 | 223.819 | 3.445 | 248 | 23.99 | 975.588 | 37.7153 | 0.070202
2020-09-21 01:00:00 | 2.985 | 241.1 | 3.482 | 240.3 | 3.522 | 226.363 | 3.468 | 251 | 23.87 | 975.736 | 38.0563 | -0.0036948
2020-09-21 01:15:00 | 2.117 | 250.8 | 3.093 | 248.7 | 3.456 | 234.275 | 3.448 | 258 | 23.74 | 975.44 | 37.5106 | -0.022169
2020-09-21 01:30:00 | 2.671 | 250.2 | 3.385 | 255.7 | 3.532 | 240.869 | 3.374 | 256.2 | 24.12 | 975.738 | 35.5669 | 0.014779
2020-09-21 01:45:00 | 2.656 | 255.3 | 3.18 | 260.7 | 3.344 | 245.579 | 3.234 | 258.8 | 24.32 | 975.885 | 35.4646 | 0.014779
2020-09-21 02:00:00 | 3.179 | 241.9 | 3.502 | 247.2 | 3.588 | 232.862 | 3.427 | 249.2 | 24.16 | 975.737 | 37.1696 | -0.11084
2020-09-21 02:15:00 | 2.109 | 221.6 | 2.39 | 211.3 | 2.601 | 199.045 | 2.544 | 235.1 | 23.59 | 975.292 | 38.9088 | -0.24386
2020-09-21 02:30:00 | 2.242 | 196.9 | 2.472 | 191.4 | 2.271 | 180.299 | 2.258 | 221.6 | 23.45 | 975.156 | 39.1475 | 0.040643
2020-09-21 02:45:00 | 2.04 | 183.9 | 2.063 | 180.8 | 1.5 | 170.314 | 1.309 | 199 | 23.57 | 975.156 | 38.3973 | 0.43969
2020-09-21 03:00:00 | 2.168 | 183.5 | 2.413 | 185.7 | 1.607 | 174.929 | 1.505 | 196.2 | 23.55 | 975.306 | 38.466 | 0.38426
2020-09-21 03:15:00 | 1.921 | 166.5 | 2.569 | 169.5 | 1.589 | 159.669 | 1.267 | 187.8 | 23.36 | 975.66 | 39.9662 | 0.17366
2020-09-21 03:30:00 | 1.721 | 164.6 | 1.296 | 171.7 | 0.468 | 161.741 | 0.025 | 184.1 | 23.5 | 975.425 | 38.1942 | 0.51728
2020-09-21 03:45:00 | 1.711 | 146.9 | 2.159 | 167.2 | 1.702 | 157.502 | 1.251 | 169.7 | 23.45 | 975.885 | 41.3318 | 0.51358
2020-09-21 04:00:00 | 1.678 | 160.9 | 2.485 | 166 | 1.222 | 156.372 | 0.937 | 165.5 | 22.91 | 975.726 | 41.9478 | 1.1528
2020-09-21 04:15:00 | 2.224 | 145.7 | 2.61 | 159.8 | 1.277 | 150.532 | 0.81 | 161.7 | 22.72 | 975.441 | 42.7678 | 0.99391
2020-09-21 04:30:00 | 3.161 | 156.6 | 3.487 | 167.2 | 2.395 | 157.502 | 2.093 | 167.4 | 22.77 | 975.738 | 44.8151 | 0.1404
2020-09-21 04:45:00 | 2.186 | 179.5 | 2.226 | 177 | 1.393 | 166.734 | 1.252 | 181.9 | 23.04 | 975.589 | 41.678 | -0.081287
2020-09-21 05:00:00 | 1.737 | 169.5 | 1.851 | 171.6 | 1.142 | 161.647 | 0.795 | 183.2 | 23.39 | 975.589 | 38.472 | 0.0073897
2020-09-21 05:15:00 | 2.011 | 162.2 | 2.896 | 174.5 | 2.047 | 164.379 | 1.754 | 177.5 | 23.24 | 975.589 | 40.586 | 0.084981
2020-09-21 05:30:00 | 2.025 | 174.4 | 2.157 | 175.3 | 1.37 | 165.133 | 1.162 | 177.1 | 23.15 | 975.589 | 40.177 | -0.044338
2020-09-21 05:45:00 | 1.839 | 161.9 | 2.428 | 164.5 | 1.231 | 154.959 | 1.007 | 172.9 | 23.12 | 975.441 | 40.3817 | 1.7329
2020-09-21 06:00:00 | 2.066 | 177 | 2.508 | 175.4 | 1.854 | 165.227 | 1.68 | 188.1 | 22.98 | 975.589 | 40.5177 | 2.8635
2020-09-21 06:15:00 | 1.914 | 179.7 | 2.431 | 181.9 | 1.948 | 171.35 | 1.782 | 189.8 | 23.04 | 975.886 | 41.0976 | 3.7244
2020-09-21 06:30:00 | 2.216 | 168.4 | 2.311 | 167.9 | 1.388 | 158.162 | 1.015 | 179.7 | 23.11 | 975.862 | 39.4904 | 3.5618
2020-09-21 06:45:00 | 1.63 | 147.5 | 2.254 | 161.7 | 0.926 | 152.321 | 0.34 | 165.7 | 23.19 | 976.076 | 39.659 | 3.5101
2020-09-21 07:00:00 | 1.312 | 147.9 | 2.239 | 161 | 0.45 | 151.662 | 0.136 | 162.8 | 23.55 | 976.035 | 41.9437 | 4.2897
2020-09-21 07:15:00 | 1.229 | 149.2 | 2.083 | 161.4 | 0.108 | 152.039 | 0 | 162.8 | 23.5 | 976.33 | 42.2776 | 4.3784
2020-09-21 07:30:00 | 0 | 146.2 | 0 | 164 | 0 | 154.488 | 0 | 162.4 | 24.71 | 976.775 | 41.8622 | 3.2293
2020-09-21 07:45:00 | 0.011 | 131.9 | 0 | 37.78 | 0 | 35.5888 | 0 | 162.4 | 26.14 | 976.856 | 41.7182 | 2.8302
2020-09-21 08:00:00 | 1.461 | 141.2 | 1.508 | 156.9 | 0 | 147.8 | 0 | 162.4 | 24.56 | 977.219 | 50.065 | 1.8918
2020-09-21 08:15:00 | 1.3 | 149.5 | 1.539 | 163.9 | 0 | 154.394 | 0.087 | 162.4 | 24.1 | 977.343 | 49.9634 | 1.9804
2020-09-21 08:30:00 | 2.556 | 134.5 | 2.439 | 154.1 | 0 | 145.162 | 0.569 | 161.2 | 23.69 | 977.16 | 53.0234 | 1.7809
2020-09-21 08:45:00 | 2.985 | 142.5 | 2.704 | 164.1 | 1.723 | 154.582 | 1.495 | 138.6 | 23.99 | 977.226 | 53.84 | 0.47294
2020-09-21 09:00:00 | 3.187 | 151.3 | 2.809 | 166.8 | 1.887 | 157.126 | 1.568 | 150.6 | 24.05 | 977.333 | 52.6889 | -0.066507
2020-09-21 09:15:00 | 3.386 | 148 | 3.001 | 166.1 | 1.831 | 156.466 | 1.566 | 151.2 | 24.42 | 977.615 | 53.7109 | -0.16627
2020-09-21 09:30:00 | 2.735 | 163.9 | 2.666 | 170.6 | 1.66 | 160.705 | 1.461 | 160.8 | 24.27 | 977.672 | 49.6868 | -0.20691
2020-09-21 09:45:00 | 2.502 | 124 | 2.377 | 152.2 | 1.249 | 143.372 | 0.833 | 139.6 | 24.85 | 977.594 | 49.6204 | -0.25864
2020-09-21 10:00:00 | 1.341 | 181 | 1.473 | 174.5 | 0.794 | 164.379 | 0.502 | 206.3 | 25.35 | 977.605 | 48.664 | -0.23647
2020-09-21 10:15:00 | 2.239 | 277.7 | 2.306 | 285.8 | 1.882 | 269.224 | 1.732 | 275.9 | 24.76 | 977.218 | 51.2437 | -0.22539
2020-09-21 10:30:00 | 2.126 | 270.1 | 2.446 | 278.4 | 2.329 | 262.253 | 2.157 | 271.5 | 24.93 | 977.068 | 52.4021 | -0.22539
2020-09-21 10:45:00 | 2.236 | 175.6 | 2.083 | 200.4 | 1.454 | 188.777 | 1.372 | 198.7 | 25.16 | 976.92 | 50.0852 | -0.22539
2020-09-21 11:00:00 | 1.987 | 177.5 | 2.047 | 190.9 | 1.385 | 179.828 | 1.077 | 180.2 | 25.73 | 976.92 | 48.9949 | -0.22539
2020-09-21 11:15:00 | 3.184 | 193.4 | 2.758 | 203.4 | 1.991 | 191.603 | 1.967 | 204 | 25.7 | 976.624 | 50.7666 | -0.22539
2020-09-21 11:30:00 | 3.251 | 183.6 | 3.065 | 190.9 | 2.886 | 179.828 | 2.857 | 208.3 | 25.97 | 976.566 | 49.0002 | -0.25864
2020-09-21 11:45:00 | 2.117 | 272.5 | 2.315 | 279.4 | 2.169 | 263.195 | 1.906 | 278 | 25.93 | 976.949 | 53.494 | -0.24016
2020-09-21 12:00:00 | 2.957 | 298.6 | 3.177 | 305.7 | 2.304 | 287.969 | 2.069 | 305.3 | 25.88 | 976.64 | 53.2199 | -0.25125
2020-09-21 12:15:00 | 2.658 | 317.4 | 2.717 | 325.4 | 2.169 | 306.527 | 2.014 | 315.6 | 25.35 | 976.262 | 54.2457 | -0.24016
2020-09-21 12:30:00 | 2.64 | 298.8 | 2.745 | 309.4 | 1.961 | 291.455 | 1.859 | 297.6 | 25.24 | 976.165 | 54.8709 | -0.24016
2020-09-21 12:45:00 | 2.901 | 301 | 3.137 | 312.7 | 2.835 | 294.563 | 2.689 | 299.8 | 25.2 | 976.328 | 54.7358 | -0.26233
2020-09-21 13:00:00 | 2.139 | 296.6 | 2.464 | 312.5 | 2.431 | 294.375 | 2.325 | 299 | 25.45 | 976.18 | 53.9148 | -0.24016
2020-09-21 13:15:00 | 2.717 | 310.4 | 2.871 | 324.3 | 2.408 | 305.491 | 2.185 | 311.2 | 25.77 | 976.328 | 52.6204 | -0.25125
2020-09-21 13:30:00 | 1.186 | 329.9 | 1.772 | 330.4 | 1.444 | 311.237 | 1.173 | 327.4 | 26.17 | 976.328 | 49.826 | -0.22539
2020-09-21 13:45:00 | 3.314 | 287.9 | 3.835 | 304.3 | 3.54 | 286.651 | 3.496 | 290.5 | 25.57 | 975.884 | 50.236 | -0.18474
2020-09-21 14:00:00 | 3.475 | 295 | 3.909 | 308.8 | 3.619 | 290.89 | 3.522 | 296 | 25.28 | 975.587 | 49.11 | -0.029559
2020-09-21 14:15:00 | 2.942 | 302.6 | 3.208 | 317.5 | 3.199 | 299.085 | 3.208 | 307.7 | 25.59 | 975.587 | 48.2955 | -0.062812
2020-09-21 14:30:00 | 1.879 | 315.3 | 2.513 | 331.9 | 2.243 | 312.65 | 2.158 | 312.9 | 25.74 | 975.439 | 47.7163 | 1.1306
2020-09-21 14:45:00 | 2.816 | 302.1 | 3.246 | 320.4 | 3.211 | 301.817 | 3.154 | 307.2 | 25.72 | 975.29 | 49.2842 | 1.0346
2020-09-21 15:00:00 | 2.875 | 342.2 | 3.137 | 359.9 | 3.347 | 339.026 | 3.343 | 342.7 | 24.98 | 974.994 | 50.9202 | 0.21061
2020-09-21 15:15:00 | 2.098 | 347.7 | 2.687 | 12.72 | 0 | 11.9822 | 3.488 | 346.6 | 24.58 | 974.446 | 51.3292 | 1.4484
2020-09-21 15:30:00 | 2.87 | 14.23 | 4.53 | 33.82 | 0 | 31.8584 | 3.634 | 14.71 | 23.9 | 974.54 | 59.4509 | 2.3684
2020-09-21 15:45:00 | 2.213 | 40.81 | 4.2 | 54.75 | 0 | 51.5745 | 3.904 | 44.48 | 22.79 | 974.105 | 59.0458 | 3.6431
2020-09-21 16:00:00 | 3.889 | 28.81 | 4.78 | 42.78 | 0 | 40.2988 | 4.558 | 31.84 | 22.03 | 973.511 | 61.7797 | 6.3625
2020-09-21 16:15:00 | 3.741 | 30.15 | 6.084 | 45.6 | 0 | 42.9552 | 6.483 | 34.06 | 21.82 | 973.66 | 57.6265 | 6.4992
2020-09-21 16:30:00 | 2.436 | 33.28 | 3.313 | 46.95 | 0 | 44.2269 | 3.812 | 38.22 | 21.99 | 974.126 | 61.4493 | 4.5077
2020-09-21 16:45:00 | 2.988 | 129.4 | 3.203 | 153.5 | 2.551 | 144.597 | 2.322 | 126.8 | 21.41 | 974.212 | 71.1387 | 10.6042
2020-09-21 17:00:00 | 5.717 | 93.1 | 5.872 | 107.6 | 4.402 | 101.359 | 4.265 | 103.1 | 20.74 | 974.402 | 65.7913 | 18.9361
2020-09-21 17:15:00 | 3.212 | 82.1 | 2.111 | 105.9 | 1.194 | 99.7578 | 1.119 | 92.8 | 21.32 | 974.236 | 63.1753 | 10.8887
2020-09-21 17:30:00 | 0.037 | 136.3 | 0.956 | 143.1 | 0.256 | 134.8 | 0.18 | 126.3 | 21.69 | 973.808 | 55.637 | 3.414
2020-09-21 17:45:00 | 5.635 | 190.9 | 6.578 | 205.4 | 5.776 | 193.487 | 5.732 | 193.3 | 21.24 | 973.958 | 48.9852 | 3.7614
2020-09-21 18:00:00 | 1.606 | 215 | 1.555 | 224.6 | 1.01 | 211.573 | 0.992 | 209.9 | 23.64 | 974.542 | 41.6169 | -0.30667
2020-09-21 18:15:00 | 0.818 | 228.4 | 0.655 | 246 | 0 | 231.732 | 0 | 226.6 | 24.77 | 974.556 | 42.1567 | -0.23647
2020-09-21 18:30:00 | 1.668 | 273.8 | 1.93 | 277.5 | 1.365 | 261.405 | 1.257 | 284.9 | 24.2 | 974.551 | 43.4516 | -0.25864
2020-09-21 18:45:00 | 0 | 284.5 | 0.098 | 280.2 | 0 | 263.948 | 0 | 289.7 | 24.05 | 974.699 | 44.0591 | -0.25125
2020-09-21 19:00:00 | 0.465 | 9.06 | 1.088 | 323.4 | 0 | 304.643 | 0 | 290.1 | 24.64 | 974.74 | 41.4322 | -0.25125
2020-09-21 19:15:00 | 1.892 | 135.2 | 2.07 | 156.9 | 0.937 | 147.8 | 0.678 | 103.1 | 24.15 | 974.576 | 40.5797 | -0.26233
2020-09-21 19:30:00 | 1.856 | 151 | 2.354 | 172.8 | 1.971 | 162.778 | 1.721 | 147.9 | 23.77 | 974.698 | 39.0793 | -0.11824
2020-09-21 19:45:00 | 2.421 | 173.6 | 2.687 | 186.3 | 2.767 | 175.495 | 2.663 | 176.5 | 24.18 | 974.55 | 39.8295 | -0.033254
2020-09-21 20:00:00 | 2.937 | 169.7 | 3.579 | 178.6 | 3.637 | 168.241 | 3.547 | 171.5 | 24 | 974.55 | 44.9446 | 1.5518
2020-09-21 20:15:00 | 3.189 | 140.3 | 4.029 | 154.1 | 3.825 | 145.162 | 3.646 | 150.8 | 23.4 | 974.698 | 46.2404 | 10.8296
2020-09-21 20:30:00 | 3.302 | 111.7 | 4.062 | 121.6 | 4.354 | 114.547 | 4.339 | 118.9 | 23.17 | 974.698 | 45.8312 | 11.1584
2020-09-21 20:45:00 | 3.705 | 101 | 4.269 | 114.8 | 4.257 | 108.142 | 4.303 | 108 | 23.59 | 974.847 | 46.786 | 13.331
2020-09-21 21:00:00 | 5.02 | 122.8 | 4.691 | 149.6 | 4.232 | 140.923 | 4.339 | 123 | 22.74 | 974.698 | 49.5823 | 16.1982
2020-09-21 21:15:00 | 5.531 | 123.4 | 5.581 | 137.6 | 5.328 | 129.619 | 5.281 | 128.2 | 23.39 | 974.554 | 47.9454 | 15.0861
2020-09-21 21:30:00 | 4.864 | 113.1 | 5.624 | 126.9 | 5.475 | 119.54 | 5.353 | 121.3 | 23.29 | 974.55 | 46.8542 | 13.5638
2020-09-21 21:45:00 | 3.986 | 113 | 4.655 | 124.6 | 4.321 | 117.373 | 4.207 | 121.3 | 23.27 | 974.552 | 48.1501 | 11.5833
2020-09-21 22:00:00 | 4.392 | 121.7 | 4.686 | 134.3 | 4.364 | 126.511 | 4.24 | 128.5 | 23.6 | 974.701 | 47.127 | 10.364
2020-09-21 22:15:00 | 4.295 | 123.8 | 4.64 | 137.8 | 4.481 | 129.808 | 4.321 | 128.7 | 23.46 | 974.847 | 46.1722 | 9.4773
2020-09-21 22:30:00 | 5.801 | 133.9 | 6.041 | 147.9 | 5.473 | 139.322 | 5.251 | 140.1 | 23.57 | 974.55 | 45.8653 | 10.486
2020-09-21 22:45:00 | 4.116 | 131.8 | 5.652 | 148.3 | 6.043 | 139.699 | 5.877 | 136.2 | 23.19 | 974.698 | 51.867 | 11.3173
2020-09-21 23:00:00 | 5.653 | 123.1 | 6.089 | 141.8 | 6.226 | 133.576 | 6.127 | 126.8 | 22.91 | 974.55 | 51.0145 | 13.8631
2020-09-21 23:15:00 | 5.252 | 125.2 | 5.098 | 146.1 | 5.216 | 137.626 | 5.243 | 126.5 | 22.71 | 974.432 | 49.4459 | 13.9333
2020-09-21 23:30:00 | 4.864 | 126.5 | 5.982 | 140.5 | 5.91 | 132.351 | 5.674 | 134.9 | 22.49 | 974.336 | 52.6513 | 11.8457
2020-09-21 23:45:00 | 3.846 | 136.7 | 4.806 | 157.1 | 5.328 | 147.988 | 5.276 | 137.4 | 21.97 | 974.125 | 56.6752 | 7.5781