## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-22 00:00:00 | 5.171 | 140.8 | 5.486 | 159.2 | 5.508 | 149.966 | 5.391 | 143.8 | 21.49 | 974.4 | 54.8354 | 5.9376
2020-09-22 00:15:00 | 3.871 | 127 | 4.89 | 147.3 | 6.129 | 138.757 | 5.926 | 134 | 21.91 | 974.254 | 51.0221 | 4.2934
2020-09-22 00:30:00 | 4.543 | 127.3 | 5.501 | 144.1 | 5.231 | 135.742 | 4.973 | 135.3 | 22.76 | 974.551 | 46.7927 | 0.60965
2020-09-22 00:45:00 | 4.424 | 247.7 | 3.979 | 280.8 | 3.275 | 264.514 | 2.992 | 213.1 | 22.11 | 974.699 | 55.7258 | -0.42121
2020-09-22 01:00:00 | 3.935 | 210 | 4.013 | 222.5 | 3.049 | 209.595 | 2.923 | 215.6 | 20.45 | 974.402 | 60.9132 | 1.1158
2020-09-22 01:15:00 | 2.643 | 161.2 | 3.011 | 192.1 | 2.975 | 180.958 | 2.905 | 156.5 | 20.63 | 974.254 | 63.8472 | -0.18105
2020-09-22 01:30:00 | 2.86 | 193.2 | 3.374 | 209.6 | 3.062 | 197.443 | 3 | 196.1 | 20.45 | 974.106 | 64.3929 | -0.081287
2020-09-22 01:45:00 | 2.712 | 211 | 3.346 | 216.8 | 3.415 | 204.226 | 3.476 | 216.1 | 20.64 | 974.254 | 63.1684 | 0.12562
2020-09-22 02:00:00 | 3.304 | 222 | 3.535 | 233.5 | 3.156 | 219.957 | 3.14 | 225.7 | 20.85 | 974.255 | 61.6682 | 0.82764
2020-09-22 02:15:00 | 4.514 | 225.9 | 4.816 | 236.6 | 4.618 | 222.877 | 4.53 | 227.4 | 20.43 | 974.255 | 70.7086 | 1.4188
2020-09-22 02:30:00 | 2.919 | 214.8 | 3.377 | 218.7 | 3.603 | 206.015 | 3.72 | 220.4 | 19.7 | 973.989 | 72.9303 | 0.96805
2020-09-22 02:45:00 | 2.27 | 192.6 | 2.252 | 191.1 | 2.261 | 180.016 | 2.353 | 212.5 | 19.57 | 974.023 | 73.3412 | 0.11454
2020-09-22 03:00:00 | 2.125 | 216.8 | 2.168 | 220.5 | 1.828 | 207.711 | 1.632 | 224.4 | 19.28 | 974.153 | 75.9338 | -0.14779
2020-09-22 03:15:00 | 2.229 | 247.6 | 3.05 | 260.9 | 2.266 | 245.768 | 1.879 | 235.8 | 19.13 | 974.355 | 73.3413 | -0.22539
2020-09-22 03:30:00 | 1.083 | 255.3 | 1.6 | 270.1 | 2.08 | 254.434 | 1.854 | 254.1 | 19.02 | 974.25 | 72.7955 | -0.25125
2020-09-22 03:45:00 | 1.259 | 245.2 | 1.782 | 261 | 1.198 | 245.862 | 0.707 | 250.9 | 19.13 | 973.958 | 70.5441 | -0.19213
2020-09-22 04:00:00 | 0.74 | 222.2 | 1.355 | 252.9 | 1.587 | 238.232 | 1.319 | 223.8 | 18.89 | 974.106 | 68.702 | -0.1441
2020-09-22 04:15:00 | 0.543 | 213.2 | 0.996 | 246.5 | 1.215 | 232.203 | 1.233 | 230 | 19.24 | 974.106 | 69.9301 | -0.092371
2020-09-22 04:30:00 | 0.551 | 203.1 | 1.078 | 234.2 | 1.085 | 220.616 | 1.074 | 230.5 | 19.12 | 974.106 | 69.3843 | -0.24755
2020-09-22 04:45:00 | 0.551 | 203.1 | 1.078 | 234.2 | 1.085 | 220.616 | 1.074 | 230.5 | 19.12 | 974.106 | 69.3843 | -0.22539
2020-09-22 05:00:00 | 0.551 | 203.1 | 1.078 | 234.2 | 1.085 | 220.616 | 1.074 | 230.5 | 19.12 | 974.106 | 69.3843 | -0.22539
2020-09-22 05:15:00 | 0.551 | 203.1 | 1.078 | 234.2 | 1.085 | 220.616 | 1.074 | 230.5 | 19.12 | 974.106 | 69.3843 | -0.22539
2020-09-22 05:30:00 | 0.551 | 203.1 | 1.078 | 234.2 | 1.085 | 220.616 | 1.074 | 230.5 | 19.12 | 974.106 | 69.3843 | -0.22539
2020-09-22 05:45:00 | 0.551 | 203.1 | 1.078 | 234.2 | 1.085 | 220.616 | 1.074 | 230.5 | 19.12 | 974.106 | 69.3843 | -0.22539
2020-09-22 06:00:00 | 0.551 | 203.1 | 1.078 | 234.2 | 1.085 | 220.616 | 1.074 | 230.5 | 19.12 | 974.106 | 69.3843 | -0.22539
2020-09-22 06:15:00 | 0.551 | 203.1 | 1.078 | 234.2 | 1.085 | 220.616 | 1.074 | 230.5 | 19.12 | 974.106 | 69.3843 | -0.22539
2020-09-22 06:30:00 | 0.551 | 203.1 | 1.078 | 234.2 | 1.085 | 220.616 | 1.074 | 230.5 | 19.12 | 974.106 | 69.3843 | -0.22539
2020-09-22 06:45:00 | 1.193 | 98.1 | 1.751 | 114.9 | 1.377 | 108.236 | 1.26 | 99.5 | 21.06 | 975.267 | 60.3787 | -0.22539
2020-09-22 07:00:00 | 0.95 | 99.8 | 0.192 | 125.3 | 0.394 | 118.033 | 0 | 100.1 | 21.33 | 975.443 | 61.0527 | -0.22539
2020-09-22 07:15:00 | 0.093 | 99.4 | 0.672 | 100.9 | 0.605 | 95.0478 | 0.049 | 100.2 | 21.62 | 976.035 | 59.65 | -0.20691
2020-09-22 07:30:00 | 0 | 92.5 | 0.274 | 117.9 | 0.44 | 111.062 | 0.037 | 98.1 | 22.75 | 976.041 | 58.6531 | -0.22539
2020-09-22 07:45:00 | 0.871 | 35.11 | 1.228 | 26.22 | 1.405 | 24.6992 | 1.252 | 58.62 | 21.89 | 976.033 | 63.6892 | -0.22539
2020-09-22 08:00:00 | 0.352 | 20.06 | 0.55 | 30.01 | 1.237 | 28.2694 | 1.211 | 35.11 | 21.83 | 976.33 | 63.7132 | -0.22539
2020-09-22 08:15:00 | 0.071 | 49.23 | 0.461 | 37.72 | 0.372 | 35.5322 | 0 | 35.11 | 23.29 | 977.072 | 58.9697 | -0.22539
2020-09-22 08:30:00 | 0.746 | 38.5 | 0.486 | 118 | 0 | 111.156 | 0 | 34.86 | 23.53 | 977.229 | 62.679 | -0.22539
2020-09-22 08:45:00 | 1.103 | 122.7 | 0.417 | 164.5 | 0 | 154.959 | 0 | 75.46 | 22.99 | 977.367 | 62.1655 | -0.22539
2020-09-22 09:00:00 | 0.983 | 228.4 | 1.048 | 225.7 | 0 | 212.609 | 0.117 | 237 | 23.41 | 977.07 | 60.9729 | -0.22539
2020-09-22 09:15:00 | 1.518 | 254.7 | 1.273 | 268.8 | 0 | 253.21 | 0.172 | 215.3 | 23.55 | 977.367 | 63.8685 | -0.22539
2020-09-22 09:30:00 | 1.904 | 296.4 | 1.719 | 295.2 | 0 | 278.078 | 1.216 | 301.3 | 23 | 977.218 | 65.2349 | -0.22539
2020-09-22 09:45:00 | 1.766 | 287.7 | 1.94 | 288.8 | 0 | 272.05 | 1.064 | 297.6 | 23.01 | 977.137 | 64.5839 | -0.22539
2020-09-22 10:00:00 | 1.426 | 344.5 | 0.926 | 304.1 | 0 | 286.462 | 1.221 | 355.2 | 23.7 | 977.418 | 60.9927 | -0.22539
2020-09-22 10:15:00 | 1.431 | 334.1 | 1.634 | 327.4 | 0 | 308.411 | 0.664 | 350 | 24.6 | 977.365 | 59.2845 | -0.22539
2020-09-22 10:30:00 | 1.366 | 335.8 | 1.438 | 316.3 | 0 | 297.955 | 0.758 | 348.2 | 24.28 | 977.365 | 58.1942 | -0.22539
2020-09-22 10:45:00 | 1.548 | 339.5 | 2.161 | 312.7 | 0 | 294.563 | 1.74 | 356.1 | 24.47 | 977.217 | 60.1704 | -0.22539
2020-09-22 11:00:00 | 3.003 | 306.4 | 3.057 | 310.6 | 0 | 292.585 | 2.648 | 309.1 | 24.23 | 977.068 | 61.431 | -0.24016
2020-09-22 11:15:00 | 2.573 | 6.411 | 2.436 | 349.5 | 0 | 329.229 | 1.955 | 16.58 | 24.4 | 977.53 | 61.6774 | -0.24016
2020-09-22 11:30:00 | 2.845 | 303.8 | 2.577 | 303.4 | 0 | 285.803 | 1.917 | 317.1 | 24.1 | 977.217 | 61.2794 | -0.24016
2020-09-22 11:45:00 | 2.28 | 324.7 | 2.249 | 334.6 | 0 | 315.193 | 1.367 | 323.8 | 23.94 | 976.922 | 60.3898 | -0.24016
2020-09-22 12:00:00 | 2.155 | 296.6 | 2.453 | 305.7 | 0 | 287.969 | 1.549 | 299.7 | 24.14 | 977.07 | 61.2801 | -0.24016
2020-09-22 12:15:00 | 2.26 | 301.4 | 2.334 | 310.7 | 0 | 292.679 | 1.58 | 305.3 | 24.06 | 976.922 | 61.6223 | -0.22539
2020-09-22 12:30:00 | 2.597 | 289.9 | 2.602 | 297.7 | 0 | 280.433 | 1.723 | 301 | 24.33 | 976.922 | 60.8725 | -0.23647
2020-09-22 12:45:00 | 2.952 | 307.2 | 3.096 | 310.7 | 0 | 292.679 | 2.444 | 309.1 | 24.54 | 976.773 | 59.2365 | -0.25864
2020-09-22 13:00:00 | 2.602 | 327.5 | 2.725 | 338.2 | 0 | 318.584 | 1.912 | 330.3 | 25 | 976.625 | 57.2597 | -0.24016
2020-09-22 13:15:00 | 2.097 | 302.9 | 2.584 | 309.3 | 0 | 291.361 | 2.434 | 313.5 | 24.93 | 976.625 | 55.3834 | -0.24016
2020-09-22 13:30:00 | 2.73 | 312.5 | 2.845 | 322.4 | 0 | 303.701 | 2.421 | 312.5 | 25.24 | 976.922 | 55.5852 | -0.25125
2020-09-22 13:45:00 | 3.304 | 304 | 3.617 | 320.5 | 0 | 301.911 | 3.084 | 304.7 | 24.96 | 976.773 | 54.6657 | -0.25125
2020-09-22 14:00:00 | 2.96 | 321 | 2.937 | 331.9 | 0 | 312.65 | 2.719 | 317.2 | 24.9 | 976.328 | 55.6896 | -0.24016
2020-09-22 14:15:00 | 3.291 | 311.4 | 3.51 | 324.2 | 0 | 305.396 | 3.061 | 311.4 | 24.99 | 976.477 | 55.3845 | -0.25125
2020-09-22 14:30:00 | 2.637 | 313.3 | 2.883 | 324.2 | 0 | 305.396 | 2.76 | 315.2 | 24.77 | 976.328 | 56.6457 | -0.25125
2020-09-22 14:45:00 | 2.982 | 315.7 | 3.042 | 324.3 | 0 | 305.491 | 2.702 | 314.2 | 24.92 | 976.18 | 57.0552 | -0.22539
2020-09-22 15:00:00 | 3.003 | 297.4 | 3.226 | 305 | 2.246 | 287.31 | 3.05 | 297.7 | 24.39 | 976.032 | 57.5664 | 0.10346
2020-09-22 15:15:00 | 2.019 | 337 | 2.436 | 347.5 | 2.239 | 327.345 | 2.126 | 329.9 | 24.71 | 976.032 | 55.9305 | 0.040643
2020-09-22 15:30:00 | 1.432 | 9.52 | 2.048 | 19.89 | 2.454 | 18.7364 | 2.129 | 358 | 24.53 | 975.735 | 57.0552 | -0.044338
2020-09-22 15:45:00 | 1.794 | 13.2 | 2.138 | 12.95 | 2.204 | 12.1989 | 1.972 | 2.168 | 24.53 | 975.794 | 55.4874 | 0.30298
2020-09-22 16:00:00 | 0.799 | 25.31 | 1.774 | 29.75 | 1.745 | 28.0245 | 1.327 | 11.14 | 24.68 | 976.067 | 55.0102 | 0.54314
2020-09-22 16:15:00 | 2.204 | 358.7 | 2.597 | 14.84 | 2.505 | 13.9793 | 2.32 | 354.6 | 24.13 | 975.782 | 56.0668 | 0.37687
2020-09-22 16:30:00 | 2.122 | 338.4 | 2.561 | 356.3 | 2.668 | 335.635 | 2.702 | 335 | 23.94 | 975.438 | 55.6326 | 0.19583
2020-09-22 16:45:00 | 2.676 | 328.2 | 3.088 | 340.7 | 3.069 | 320.939 | 2.964 | 332.6 | 23.95 | 975.143 | 54.6787 | 0.099761
2020-09-22 17:00:00 | 2.062 | 339.8 | 2.359 | 355.6 | 3.054 | 334.975 | 3.043 | 342 | 23.88 | 975.291 | 54.8184 | -0.077592
2020-09-22 17:15:00 | 2.891 | 350.7 | 3.029 | 6.978 | 3.771 | 6.5733 | 3.741 | 351.6 | 23.85 | 975.143 | 53.9378 | 0.044338
2020-09-22 17:30:00 | 2.827 | 4.119 | 3.144 | 17.53 | 3.55 | 16.5133 | 3.453 | 2.158 | 23.86 | 975.143 | 57.0406 | -0.088676
2020-09-22 17:45:00 | 2.627 | 44.55 | 4.264 | 60.29 | 3.825 | 56.7932 | 3.715 | 45.35 | 22.81 | 974.846 | 58.7794 | 2.7416
2020-09-22 18:00:00 | 4.845 | 57.41 | 7.038 | 74.69 | 6.768 | 70.358 | 7.359 | 60.99 | 21.63 | 974.698 | 71.9853 | 16.2808
2020-09-22 18:15:00 | 3.595 | 32.16 | 3.796 | 55.09 | 3.474 | 51.8948 | 3.471 | 36.48 | 21.3 | 974.146 | 59.2337 | 12.0066
2020-09-22 18:30:00 | 4.476 | 69.09 | 4.093 | 85.1 | 2.843 | 80.1642 | 2.745 | 70.93 | 22.53 | 974.402 | 52.1828 | 9.8985
2020-09-22 18:45:00 | 2.228 | 41.56 | 2.168 | 60.76 | 1.904 | 57.2359 | 1.878 | 39.67 | 23.34 | 974.402 | 46.9986 | 4.5705
2020-09-22 19:00:00 | 3.937 | 351.7 | 3.998 | 4.722 | 3.927 | 4.4481 | 3.817 | 353.5 | 24.05 | 974.996 | 47.5432 | 3.8316
2020-09-22 19:15:00 | 4.027 | 4.307 | 4.328 | 7.864 | 4.13 | 7.4079 | 4.301 | 3.016 | 23.92 | 975.037 | 50.9466 | 3.8205
2020-09-22 19:30:00 | 2.61 | 7.697 | 3.648 | 24.88 | 3.207 | 23.437 | 3.01 | 12.3 | 23.45 | 974.999 | 50.0256 | 2.3462
2020-09-22 19:45:00 | 2.119 | 10.2 | 3.091 | 27.79 | 2.655 | 26.1782 | 2.467 | 13.54 | 23.36 | 975.292 | 53.4015 | 1.3819
2020-09-22 20:00:00 | 1.859 | 14.02 | 2.96 | 32.49 | 3.054 | 30.6056 | 2.882 | 16.95 | 23.27 | 975.306 | 54.0836 | 0.18844
2020-09-22 20:15:00 | 1.68 | 21.98 | 2.986 | 42.17 | 3.169 | 39.7241 | 3.094 | 22.4 | 23.06 | 975.143 | 55.1748 | -0.17366
2020-09-22 20:30:00 | 1.344 | 41.77 | 2.04 | 54.45 | 2.228 | 51.2919 | 2.103 | 42.02 | 22.96 | 975.323 | 55.0043 | 0.059118
2020-09-22 20:45:00 | 2.931 | 73.03 | 3.512 | 88.4 | 4.079 | 83.2728 | 4.133 | 79.72 | 22.93 | 975.144 | 54.9702 | 0.11454
2020-09-22 21:00:00 | 3.881 | 109.8 | 4.599 | 128 | 5.04 | 120.576 | 5.172 | 113.4 | 23.2 | 975.205 | 49.3436 | 3.3623
2020-09-22 21:15:00 | 4.379 | 125.7 | 4.727 | 141.6 | 5.422 | 133.387 | 5.404 | 134.8 | 23.05 | 975.315 | 44.5354 | 7.0535
2020-09-22 21:30:00 | 5.564 | 136 | 5.824 | 152.8 | 5.613 | 143.938 | 5.508 | 140.2 | 23.17 | 975.206 | 44.6718 | 10.449
2020-09-22 21:45:00 | 4.657 | 139.4 | 4.98 | 157.2 | 5.486 | 148.082 | 5.396 | 146 | 22.93 | 975.16 | 48.3547 | 10.2975
2020-09-22 22:00:00 | 5.183 | 139.6 | 5.455 | 157.4 | 5.877 | 148.271 | 5.791 | 145 | 22.84 | 975.06 | 50.503 | 10.4379
2020-09-22 22:15:00 | 4.777 | 140.2 | 5.269 | 157.2 | 5.765 | 148.082 | 5.735 | 144.2 | 22.55 | 975.092 | 53.0605 | 10.9589
2020-09-22 22:30:00 | 5.206 | 137.1 | 5.453 | 154 | 5.514 | 145.068 | 5.449 | 141.7 | 22.54 | 975.034 | 54.4246 | 12.6401
2020-09-22 22:45:00 | 5.293 | 137.6 | 5.547 | 154.5 | 5.819 | 145.539 | 5.803 | 144.2 | 22.45 | 975.086 | 58.2105 | 12.6438
2020-09-22 23:00:00 | 6.001 | 144.3 | 6.363 | 159.5 | 6.691 | 150.249 | 6.639 | 150.7 | 22.23 | 974.939 | 62.6107 | 13.3273
2020-09-22 23:15:00 | 5.4 | 143.4 | 5.852 | 160.7 | 6.343 | 151.379 | 6.277 | 150.1 | 21.97 | 975.28 | 64.3173 | 10.9404
2020-09-22 23:30:00 | 5.135 | 143.1 | 5.701 | 159.9 | 6.315 | 150.626 | 6.196 | 150.4 | 21.81 | 975.108 | 64.8336 | 11.4282
2020-09-22 23:45:00 | 5.081 | 143.3 | 5.755 | 158.7 | 6.076 | 149.495 | 5.994 | 149.8 | 21.71 | 974.848 | 66.3024 | 14.7129