## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-23 00:00:00 | 5.076 | 136.3 | 5.499 | 152.3 | 5.765 | 143.467 | 5.709 | 141.9 | 21.65 | 974.848 | 62.6874 | 16.649
2020-09-23 00:15:00 | 5.232 | 131.7 | 5.361 | 150.8 | 5.391 | 142.054 | 5.337 | 140.5 | 21.65 | 974.848 | 63.0968 | 18.0161
2020-09-23 00:30:00 | 5.296 | 136.1 | 5.402 | 150.1 | 5.361 | 141.394 | 5.302 | 143.9 | 21.43 | 974.551 | 63.7108 | 16.3497
2020-09-23 00:45:00 | 4.555 | 135.5 | 5 | 153.2 | 4.906 | 144.314 | 4.792 | 141.8 | 21.2 | 974.551 | 64.5293 | 14.6759
2020-09-23 01:00:00 | 4.471 | 138.1 | 4.622 | 152.3 | 4.885 | 143.467 | 4.739 | 143.7 | 20.99 | 974.551 | 64.2565 | 14.6833
2020-09-23 01:15:00 | 4.415 | 135.4 | 4.599 | 152 | 4.761 | 143.184 | 4.637 | 141.2 | 20.75 | 974.699 | 63.3697 | 14.6464
2020-09-23 01:30:00 | 4.287 | 144 | 5.126 | 161.4 | 5.559 | 152.039 | 5.567 | 146.7 | 20.59 | 974.254 | 64.0177 | 18.1047
2020-09-23 01:45:00 | 6.133 | 143.6 | 6.384 | 160.7 | 6.678 | 151.379 | 6.733 | 149.7 | 20.51 | 974.254 | 65.5566 | 22.1543
2020-09-23 02:00:00 | 5.901 | 151.3 | 5.788 | 168.4 | 6.645 | 158.633 | 6.651 | 154.3 | 20.35 | 974.254 | 66.3789 | 19.8118
2020-09-23 02:15:00 | 4.28 | 148.2 | 4.809 | 171.9 | 5.918 | 161.93 | 6.119 | 149 | 20.23 | 974.266 | 66.8567 | 17.048
2020-09-23 02:30:00 | 4.783 | 147.9 | 5.438 | 166.1 | 6.518 | 156.466 | 6.573 | 150.7 | 20.1 | 974.368 | 67.6787 | 16.6674
2020-09-23 02:45:00 | 5.429 | 148.1 | 6.013 | 167.2 | 6.752 | 157.502 | 6.73 | 152.9 | 20.03 | 974.032 | 68.4974 | 16.6564
2020-09-23 03:00:00 | 5.444 | 148.5 | 5.593 | 166.2 | 6.401 | 156.56 | 6.522 | 153.3 | 19.78 | 974.075 | 70.7488 | 17.4212
2020-09-23 03:15:00 | 5.344 | 148.6 | 5.614 | 169.9 | 6.577 | 160.046 | 6.618 | 154.1 | 19.64 | 974.096 | 70.8852 | 17.8239
2020-09-23 03:30:00 | 6.325 | 150.9 | 6.678 | 167.9 | 7.167 | 158.162 | 7.214 | 155.1 | 19.55 | 973.95 | 71.2263 | 22.0656
2020-09-23 03:45:00 | 5.229 | 147.6 | 5.53 | 167.1 | 6.411 | 157.408 | 6.664 | 149.4 | 19.49 | 973.937 | 71.8403 | 24.2677
2020-09-23 04:00:00 | 6.687 | 141.4 | 6.867 | 156.1 | 7.159 | 147.046 | 7.018 | 145.5 | 19.63 | 973.809 | 71.2946 | 28.9861
2020-09-23 04:15:00 | 6.973 | 139.3 | 7.084 | 159.3 | 7.622 | 150.061 | 7.604 | 143.8 | 19.65 | 973.614 | 71.5675 | 32.0897
2020-09-23 04:30:00 | 7.17 | 135.8 | 7.434 | 151.6 | 7.599 | 142.807 | 7.589 | 142.3 | 19.79 | 973.334 | 70.6123 | 27.4601
2020-09-23 04:45:00 | 7.06 | 135.2 | 7.411 | 155 | 7.668 | 146.01 | 7.706 | 142.1 | 19.99 | 973.661 | 64.6768 | 23.9426
2020-09-23 05:00:00 | 6.652 | 136.5 | 6.943 | 157.1 | 6.554 | 147.988 | 6.588 | 142.3 | 20.06 | 973.607 | 63.1758 | 22.7566
2020-09-23 05:15:00 | 6.613 | 137.5 | 6.777 | 153.7 | 7.095 | 144.785 | 7.041 | 144.4 | 19.84 | 973.608 | 68.2927 | 27.4305
2020-09-23 05:30:00 | 7.584 | 141.1 | 7.828 | 159.6 | 7.691 | 150.343 | 7.581 | 144 | 19.54 | 973.612 | 72.7273 | 28.9048
2020-09-23 05:45:00 | 6.718 | 137.6 | 6.808 | 156.5 | 6.953 | 147.423 | 6.926 | 144 | 19.49 | 973.794 | 73.4436 | 26.3258
2020-09-23 06:00:00 | 5.911 | 141.1 | 6.128 | 159.9 | 6.32 | 150.626 | 6.348 | 145.8 | 19.35 | 974.106 | 74.4329 | 24.2086
2020-09-23 06:15:00 | 5.955 | 144 | 6.314 | 158.8 | 6.737 | 149.59 | 6.822 | 149.6 | 19.43 | 974.255 | 74.4329 | 24.1606
2020-09-23 06:30:00 | 5.901 | 145.5 | 6.384 | 165.5 | 6.48 | 155.901 | 6.42 | 148.8 | 19.43 | 974.7 | 76.002 | 22.6309
2020-09-23 06:45:00 | 5.094 | 147.2 | 5.179 | 168.7 | 5.356 | 158.915 | 5.393 | 150.7 | 19.32 | 974.551 | 77.3665 | 22.7529
2020-09-23 07:00:00 | 4.905 | 151.8 | 5.32 | 170.1 | 6.073 | 160.234 | 6.096 | 154.3 | 19.3 | 974.846 | 77.8441 | 20.8426
2020-09-23 07:15:00 | 5.812 | 146.6 | 6.192 | 165.1 | 6.335 | 155.524 | 6.407 | 148.5 | 19.28 | 974.997 | 76.889 | 14.772
2020-09-23 07:30:00 | 4.908 | 148.9 | 5.167 | 166.3 | 5.529 | 156.655 | 5.618 | 152.7 | 19.4 | 975.111 | 77.1619 | 14.8163
2020-09-23 07:45:00 | 5.258 | 147.7 | 5.696 | 165 | 6.086 | 155.43 | 6.104 | 153 | 19.4 | 975.439 | 78.117 | 13.8446
2020-09-23 08:00:00 | 4.821 | 153.3 | 4.826 | 172.1 | 5.302 | 162.118 | 5.373 | 155.4 | 19.39 | 975.316 | 77.8441 | 10.6744
2020-09-23 08:15:00 | 6.011 | 148.3 | 6.166 | 167.1 | 6.539 | 157.408 | 6.466 | 151.7 | 19.46 | 975.648 | 78.0829 | 12.1819
2020-09-23 08:30:00 | 6.041 | 147.8 | 6.095 | 165 | 6.259 | 155.43 | 6.162 | 153.3 | 19.71 | 975.594 | 76.6092 | 7.2899
2020-09-23 08:45:00 | 6.2 | 151.1 | 6.35 | 166.3 | 5.783 | 156.655 | 5.612 | 158.3 | 19.74 | 976.035 | 77.4898 | 3.0002
2020-09-23 09:00:00 | 1.982 | 188.5 | 1.416 | 191.3 | 1.481 | 180.205 | 1.52 | 192.2 | 20.48 | 976.628 | 73.1924 | 1.3338
2020-09-23 09:15:00 | 6.161 | 196.1 | 5.65 | 212.1 | 4.901 | 199.798 | 4.803 | 192.5 | 20.76 | 976.234 | 72.9075 | 0.84981
2020-09-23 09:30:00 | 3.524 | 199.3 | 3.51 | 212 | 2.828 | 199.704 | 2.772 | 204.7 | 21.07 | 976.33 | 73.0435 | -0.18474
2020-09-23 09:45:00 | 4.17 | 185.7 | 3.776 | 192.1 | 2.98 | 180.958 | 2.841 | 198.2 | 21.41 | 976.627 | 69.4854 | -0.19583
2020-09-23 10:00:00 | 4.43 | 200.9 | 3.985 | 208.9 | 3.652 | 196.784 | 3.746 | 206.6 | 21.94 | 976.923 | 63.7876 | -0.21061
2020-09-23 10:15:00 | 3.83 | 208.8 | 3.771 | 222.3 | 3.136 | 209.407 | 2.977 | 215.4 | 22.2 | 977.22 | 60.3375 | -0.18474
2020-09-23 10:30:00 | 1.972 | 186.4 | 2.174 | 199.3 | 2.078 | 187.741 | 1.905 | 192.8 | 22.33 | 977.22 | 61.5582 | -0.22539
2020-09-23 10:45:00 | 3.368 | 188.4 | 3.341 | 198.3 | 2.734 | 186.799 | 2.671 | 198.9 | 22.27 | 976.821 | 64.2127 | -0.25125
2020-09-23 11:00:00 | 2.759 | 204.8 | 2.806 | 207.4 | 2.682 | 195.371 | 2.647 | 211.3 | 23 | 977.306 | 55.5556 | -0.25864
2020-09-23 11:15:00 | 4.18 | 188.6 | 3.696 | 197 | 3.029 | 185.574 | 2.921 | 193.9 | 22.78 | 977.029 | 54.5672 | -0.28081
2020-09-23 11:30:00 | 3.299 | 186.7 | 3.483 | 192.1 | 2.914 | 180.958 | 2.531 | 201.9 | 22.82 | 976.807 | 55.0102 | -0.26972
2020-09-23 11:45:00 | 3.769 | 204.7 | 3.185 | 200.4 | 2.766 | 188.777 | 2.719 | 213.3 | 22.52 | 976.624 | 54.8113 | -0.040643
2020-09-23 12:00:00 | 4.926 | 249.6 | 4.803 | 263.3 | 4.354 | 248.029 | 4.212 | 251.8 | 21.94 | 976.478 | 65.8599 | 1.3523
2020-09-23 12:15:00 | 4.336 | 249.5 | 4.361 | 262.5 | 3.876 | 247.275 | 3.738 | 251 | 21.9 | 976.33 | 65.6553 | 1.2563
2020-09-23 12:30:00 | 3.758 | 281.2 | 4.088 | 294.4 | 3.916 | 277.325 | 3.809 | 283.8 | 22.35 | 976.33 | 62.2477 | 0.2882
2020-09-23 12:45:00 | 4.875 | 260.2 | 4.947 | 273.5 | 4.45 | 257.637 | 4.365 | 262.4 | 22.18 | 976.181 | 59.9995 | 1.3228
2020-09-23 13:00:00 | 3.222 | 271.4 | 3.822 | 281.8 | 3.593 | 265.456 | 3.616 | 273 | 22.21 | 975.885 | 60.5113 | 4.0533
2020-09-23 13:15:00 | 5.339 | 284.9 | 5.775 | 297.1 | 5.666 | 279.868 | 5.572 | 287.1 | 22.02 | 975.588 | 71.2522 | 9.4957
2020-09-23 13:30:00 | 4.504 | 313.8 | 4.722 | 325 | 3.985 | 306.15 | 3.799 | 318.1 | 21.33 | 974.55 | 75.6211 | 8.8529
2020-09-23 13:45:00 | 3.437 | 338 | 3.485 | 8.8 | 3.848 | 8.2896 | 3.972 | 337.8 | 21.12 | 974.253 | 77.2588 | 10.4564
2020-09-23 14:00:00 | 3.581 | 10.57 | 4.023 | 21.2 | 4.781 | 19.9704 | 4.614 | 10.86 | 20.74 | 973.956 | 84.6035 | 21.286
2020-09-23 14:15:00 | 3.056 | 38.02 | 5.588 | 47.69 | 5.854 | 44.924 | 5.699 | 47.91 | 19.16 | 973.774 | 88.2549 | 21.4818
2020-09-23 14:30:00 | 5.806 | 60.23 | 7.943 | 71.12 | 7.09 | 66.995 | 7.064 | 64.73 | 18.18 | 972.919 | 80.1506 | 25.9822
2020-09-23 14:45:00 | 3.452 | 22.8 | 4.977 | 41.6 | 5.397 | 39.1872 | 5.294 | 23.76 | 16.54 | 972.464 | 85.9968 | 19.3573
2020-09-23 15:00:00 | 4.951 | 12.41 | 6.43 | 30.13 | 6.439 | 28.3825 | 5.824 | 13.96 | 16.91 | 972.474 | 89.45 | 17.0665
2020-09-23 15:15:00 | 3.34 | 27.74 | 4.632 | 44.5 | 5.542 | 41.919 | 5.656 | 29.46 | 16.73 | 972.622 | 92.6117 | 17.8831
2020-09-23 15:30:00 | 3.343 | 8.47 | 5.322 | 27.13 | 5.29 | 25.5565 | 4.887 | 11.76 | 16.86 | 972.622 | 91.2131 | 14.7461
2020-09-23 15:45:00 | 3.858 | 18.14 | 6.276 | 35.32 | 6.643 | 33.2714 | 6.631 | 21.71 | 17.32 | 972.622 | 87.4253 | 10.3234
2020-09-23 16:00:00 | 3.284 | 14.67 | 5.108 | 34.65 | 5.404 | 32.6403 | 5.134 | 16.58 | 18.27 | 972.77 | 77.3929 | 7.4747
2020-09-23 16:15:00 | 3.151 | 19.39 | 4.492 | 38.52 | 4.89 | 36.2858 | 4.785 | 20.29 | 18.74 | 972.919 | 77.1818 | 7.6003
2020-09-23 16:30:00 | 3.378 | 9.42 | 4.448 | 28.53 | 3.957 | 26.8753 | 3.934 | 9.75 | 18.66 | 973.067 | 75.2545 | 6.6692
2020-09-23 16:45:00 | 2.883 | 16.87 | 4.596 | 34.07 | 4.992 | 32.0939 | 5.103 | 20.86 | 18.92 | 973.216 | 77.2662 | 6.1076
2020-09-23 17:00:00 | 3.082 | 9.7 | 3.983 | 29.28 | 3.845 | 27.5818 | 3.718 | 10.53 | 19.01 | 973.364 | 78.2537 | 4.3599
2020-09-23 17:15:00 | 2.382 | 21.22 | 4.036 | 40.43 | 4.483 | 38.0851 | 4.535 | 21.6 | 19.07 | 973.364 | 77.0596 | 4.0422
2020-09-23 17:30:00 | 3.097 | 28.06 | 4.438 | 47.1 | 5.224 | 44.3682 | 5.246 | 29.89 | 19.16 | 973.364 | 77.7759 | 3.9535
2020-09-23 17:45:00 | 3.164 | 25.23 | 4.711 | 43.12 | 4.982 | 40.619 | 5.029 | 27.64 | 19.19 | 973.364 | 77.9124 | 3.8611
2020-09-23 18:00:00 | 3.598 | 28.62 | 5.243 | 48.22 | 5.414 | 45.4232 | 5.416 | 29.03 | 19.14 | 973.513 | 82.2105 | 6.1039
2020-09-23 18:15:00 | 3.897 | 25.13 | 5.647 | 42.99 | 6.017 | 40.4966 | 5.982 | 26.26 | 19.02 | 973.661 | 84.1208 | 7.9402
2020-09-23 18:30:00 | 3.868 | 31.82 | 5.634 | 49.07 | 5.87 | 46.2239 | 5.824 | 36.4 | 19 | 973.364 | 83.575 | 8.572
2020-09-23 18:45:00 | 3.94 | 26.31 | 5.54 | 42.4 | 5.92 | 39.9408 | 5.921 | 30.89 | 18.93 | 973.364 | 83.5068 | 7.737
2020-09-23 19:00:00 | 3.733 | 27.58 | 5.299 | 42.73 | 5.534 | 40.2517 | 5.528 | 33.26 | 18.91 | 973.661 | 82.0058 | 7.2234
2020-09-23 19:15:00 | 3.562 | 31.13 | 5.481 | 45.16 | 5.246 | 42.5407 | 5.215 | 37.22 | 18.92 | 973.661 | 77.9465 | 5.8489
2020-09-23 19:30:00 | 3.657 | 37.5 | 5.034 | 50.19 | 5.425 | 47.279 | 5.411 | 43.86 | 18.97 | 973.809 | 72.8638 | 3.0372
2020-09-23 19:45:00 | 3.613 | 47.28 | 4.264 | 59.35 | 4.56 | 55.9077 | 4.573 | 55.92 | 19.04 | 973.958 | 69.8619 | 1.2599
2020-09-23 20:00:00 | 3.212 | 62.71 | 2.86 | 78.59 | 2.441 | 74.0318 | 2.297 | 67.33 | 19.09 | 973.958 | 67.0647 | 0.787
2020-09-23 20:15:00 | 2.857 | 69.82 | 3.492 | 85.5 | 2.435 | 80.541 | 2.2 | 72.91 | 19.32 | 974.255 | 61.6067 | 0.83873
2020-09-23 20:30:00 | 3.177 | 87.2 | 4.233 | 104.1 | 3.12 | 98.0622 | 3.01 | 90.7 | 19.62 | 974.106 | 57.9908 | 2.1689
2020-09-23 20:45:00 | 4.216 | 92.1 | 5.256 | 109.8 | 4.768 | 103.432 | 4.833 | 97 | 20.22 | 974.403 | 55.5347 | 3.8796
2020-09-23 21:00:00 | 3.565 | 104.9 | 4.397 | 125.4 | 4.751 | 118.127 | 4.96 | 107.8 | 20.04 | 974.552 | 61.3338 | 5.1839
2020-09-23 21:15:00 | 4.772 | 135.9 | 5.115 | 157.7 | 4.031 | 148.553 | 3.753 | 134.3 | 19.39 | 974.245 | 66.553 | 7.1865
2020-09-23 21:30:00 | 6.641 | 114.8 | 7.365 | 130.7 | 6.467 | 123.119 | 6.219 | 123.2 | 19.59 | 973.958 | 68.8726 | 10.401
2020-09-23 21:45:00 | 6.32 | 110.6 | 7.209 | 127.9 | 7.383 | 120.482 | 7.449 | 116.6 | 19.89 | 974.222 | 69.7936 | 14.2954
2020-09-23 22:00:00 | 6.225 | 110.9 | 6.79 | 132.1 | 7.256 | 124.438 | 7.245 | 115.8 | 19.51 | 973.944 | 74.8423 | 20.2367
2020-09-23 22:15:00 | 7.53 | 110.8 | 8.74 | 127.1 | 8.69 | 119.728 | 8.61 | 118.2 | 19.55 | 973.656 | 66.7918 | 25.3171
2020-09-23 22:30:00 | 7.065 | 111.9 | 8.09 | 127.1 | 8.15 | 119.728 | 8.12 | 119.8 | 19.84 | 973.808 | 65.1544 | 22.4462
2020-09-23 22:45:00 | 6.013 | 108 | 6.652 | 129 | 7.21 | 121.518 | 7.393 | 113.1 | 19.28 | 973.802 | 71.7722 | 20.5138
2020-09-23 23:00:00 | 4.634 | 120.4 | 4.704 | 147.4 | 6.162 | 138.851 | 6.371 | 117.6 | 18.9 | 973.364 | 75.0469 | 18.9656
2020-09-23 23:15:00 | 5.109 | 107.8 | 5.593 | 125.9 | 6.327 | 118.598 | 6.532 | 110.4 | 18.95 | 973.661 | 75.1834 | 21.7072
2020-09-23 23:30:00 | 5.13 | 108.5 | 5.65 | 131.9 | 6.589 | 124.25 | 6.863 | 113.9 | 18.91 | 973.513 | 75.1152 | 22.0878
2020-09-23 23:45:00 | 4.693 | 104.1 | 5.565 | 121.4 | 6.449 | 114.359 | 6.669 | 109.7 | 19.06 | 973.364 | 75.2857 | 25.2062