## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-24 00:00:00 | 4.285 | 114.5 | 5.072 | 132 | 5.829 | 124.344 | 6.061 | 115.5 | 18.91 | 973.067 | 75.7292 | 26.7655
2020-09-24 00:15:00 | 5.503 | 134.9 | 5.43 | 156.6 | 5.402 | 147.517 | 5.569 | 127.4 | 18.82 | 973.067 | 77.6395 | 21.3045
2020-09-24 00:30:00 | 6.33 | 119.4 | 6.974 | 133.7 | 7.284 | 125.945 | 7.151 | 128.3 | 19.01 | 973.067 | 73.2049 | 20.1073
2020-09-24 00:45:00 | 5.602 | 122 | 5.877 | 139.6 | 6.483 | 131.503 | 6.55 | 127.2 | 19.33 | 973.216 | 72.5909 | 21.4375
2020-09-24 01:00:00 | 6.631 | 121.5 | 6.468 | 143.6 | 6.561 | 135.271 | 6.59 | 124.5 | 19.45 | 973.067 | 69.9983 | 23.1186
2020-09-24 01:15:00 | 6.91 | 121.6 | 7.565 | 138.7 | 7.983 | 130.655 | 8.05 | 125.6 | 19.03 | 972.77 | 75.3198 | 25.088
2020-09-24 01:30:00 | 7.321 | 123.2 | 7.48 | 138.7 | 8.02 | 130.655 | 7.95 | 130.6 | 19.08 | 972.77 | 75.3198 | 27.704
2020-09-24 01:45:00 | 7.887 | 122.6 | 8.12 | 137 | 8.12 | 129.054 | 8.09 | 130.6 | 19.08 | 972.77 | 74.6717 | 21.3082
2020-09-24 02:00:00 | 7.576 | 125.4 | 7.987 | 138.9 | 8.22 | 130.844 | 8.18 | 132.2 | 18.82 | 973.067 | 78.0829 | 16.3829
2020-09-24 02:15:00 | 6.366 | 123.5 | 6.818 | 137.7 | 6.793 | 129.713 | 6.748 | 131.2 | 18.66 | 972.77 | 77.435 | 12.8728
2020-09-24 02:30:00 | 6.649 | 124.2 | 6.808 | 138.9 | 6.915 | 130.844 | 6.809 | 132.8 | 18.59 | 972.77 | 77.7077 | 8.8529
2020-09-24 02:45:00 | 5.822 | 127.1 | 6.107 | 143.3 | 6.035 | 134.989 | 6.01 | 134.3 | 18.6 | 972.77 | 77.5033 | 7.2308
2020-09-24 03:00:00 | 5.653 | 136.3 | 5.54 | 149.2 | 5.463 | 140.546 | 5.455 | 142.2 | 18.63 | 972.77 | 78.254 | 10.8887
2020-09-24 03:15:00 | 4.331 | 142.3 | 4.842 | 160.1 | 5.725 | 150.814 | 5.793 | 147.5 | 18.49 | 972.622 | 79.0722 | 13.5675
2020-09-24 03:30:00 | 4.443 | 137.6 | 4.793 | 156.1 | 5.336 | 147.046 | 5.363 | 142.8 | 18.47 | 972.474 | 78.2892 | 13.9517
2020-09-24 03:45:00 | 4.027 | 136.7 | 4.451 | 158.7 | 5.219 | 149.495 | 5.327 | 143.6 | 18.37 | 972.474 | 80.2329 | 19.8635
2020-09-24 04:00:00 | 5.265 | 141.4 | 5.721 | 162.8 | 6.592 | 153.358 | 6.674 | 149 | 18.47 | 972.325 | 79.0738 | 17.7759
2020-09-24 04:15:00 | 5.543 | 148 | 6.194 | 164.7 | 7.037 | 155.147 | 7.026 | 154.6 | 18.45 | 972.622 | 79.2102 | 12.3001
2020-09-24 04:30:00 | 4.854 | 224.5 | 5.026 | 244.3 | 5.053 | 230.131 | 5.009 | 214.5 | 18.23 | 973.513 | 99.4068 | 2.2058
2020-09-24 04:45:00 | 4.923 | 275 | 5.1 | 290.3 | 5 | 273.463 | 5.011 | 276.3 | 16.26 | 973.364 | 99.9165 | 6.647
2020-09-24 05:00:00 | 2.934 | 282.7 | 3.558 | 298.1 | 3.954 | 280.81 | 3.939 | 278.2 | 15.92 | 972.77 | 99.9049 | -0.24755
2020-09-24 05:15:00 | 2.487 | 298.3 | 2.855 | 319.2 | 3.759 | 300.686 | 3.865 | 289.1 | 15.92 | 972.77 | 99.9108 | -0.20322
2020-09-24 05:30:00 | 2.487 | 298.3 | 2.855 | 319.2 | 3.759 | 300.686 | 3.865 | 289.1 | 15.92 | 972.77 | 99.9108 | -0.26972
2020-09-24 05:45:00 | 2.487 | 298.3 | 2.855 | 319.2 | 3.759 | 300.686 | 3.865 | 289.1 | 15.92 | 972.77 | 99.9108 | -0.1404
2020-09-24 06:00:00 | 2.487 | 298.3 | 2.855 | 319.2 | 3.759 | 300.686 | 3.865 | 289.1 | 15.92 | 972.77 | 99.9108 | 0.096066
2020-09-24 06:15:00 | 2.487 | 298.3 | 2.855 | 319.2 | 3.759 | 300.686 | 3.865 | 289.1 | 15.92 | 972.77 | 99.9108 | -0.22908
2020-09-24 06:30:00 | 2.487 | 298.3 | 2.855 | 319.2 | 3.759 | 300.686 | 3.865 | 289.1 | 15.92 | 972.77 | 99.9108 | -0.26233
2020-09-24 06:45:00 | 2.487 | 298.3 | 2.855 | 319.2 | 3.759 | 300.686 | 3.865 | 289.1 | 15.92 | 972.77 | 99.9108 | -0.22169
2020-09-24 07:00:00 | 2.487 | 298.3 | 2.855 | 319.2 | 3.759 | 300.686 | 3.865 | 289.1 | 15.92 | 972.77 | 99.9108 | 11.1104
2020-09-24 07:15:00 | 2.487 | 298.3 | 2.855 | 319.2 | 3.759 | 300.686 | 3.865 | 289.1 | 15.92 | 972.77 | 99.9108 | 2.143
2020-09-24 07:30:00 | 2.487 | 298.3 | 2.855 | 319.2 | 3.759 | 300.686 | 3.865 | 289.1 | 15.92 | 972.77 | 99.9108 | 0.12562
2020-09-24 07:45:00 | 2.487 | 298.3 | 2.855 | 319.2 | 3.759 | 300.686 | 3.865 | 289.1 | 15.92 | 972.77 | 99.9108 | -0.15149
2020-09-24 08:00:00 | 1.908 | 40.02 | 2.129 | 47.35 | 1.442 | 44.6037 | 1.365 | 72.62 | 16.14 | 973.661 | 99.9147 | -0.20322
2020-09-24 08:15:00 | 1.622 | 73.3 | 1.932 | 62.23 | 2.012 | 58.6207 | 1.904 | 97.9 | 16.03 | 973.662 | 99.9147 | -0.15888
2020-09-24 08:30:00 | 2.038 | 85.5 | 2.354 | 73.85 | 1.366 | 69.5667 | 1.219 | 107.7 | 16.14 | 973.515 | 99.9147 | 0.27711
2020-09-24 08:45:00 | 1.987 | 97.1 | 3.41 | 101.4 | 3.453 | 95.5188 | 3.56 | 109.8 | 16.22 | 973.661 | 99.9147 | 0.92002
2020-09-24 09:00:00 | 3.69 | 129.3 | 4.466 | 140.9 | 4.934 | 132.728 | 4.785 | 137.6 | 16.6 | 973.81 | 99.9147 | 3.7133
2020-09-24 09:15:00 | 3.245 | 131.3 | 4.029 | 148.4 | 4.341 | 139.793 | 4.39 | 135.9 | 17.41 | 974.552 | 95.6151 | 4.7737
2020-09-24 09:30:00 | 2.885 | 139.8 | 3.528 | 161.1 | 4.43 | 151.756 | 4.533 | 143.8 | 17.62 | 974.552 | 94.8041 | 5.4868
2020-09-24 09:45:00 | 4.839 | 137.4 | 5.067 | 154.2 | 5.483 | 145.256 | 5.363 | 144.9 | 18.02 | 974.849 | 90.0565 | 5.7344
2020-09-24 10:00:00 | 4.264 | 145.8 | 4.412 | 161.9 | 4.346 | 152.51 | 4.4 | 151.7 | 18.32 | 975.146 | 89.1694 | 3.5434
2020-09-24 10:15:00 | 4.223 | 147 | 4.108 | 165.5 | 3.799 | 155.901 | 3.855 | 151.2 | 18.75 | 975.163 | 84.2914 | 3.1
2020-09-24 10:30:00 | 3.728 | 142.2 | 3.893 | 155.4 | 3.764 | 146.387 | 3.677 | 149.7 | 19.25 | 975.145 | 82.9128 | 3.063
2020-09-24 10:45:00 | 3.884 | 130.9 | 3.944 | 148.5 | 3.886 | 139.887 | 3.825 | 141.4 | 19.14 | 975.145 | 82.3963 | 2.0248
2020-09-24 11:00:00 | 3.914 | 129.3 | 3.794 | 149.7 | 3.232 | 141.017 | 3.224 | 134.9 | 19.13 | 975.212 | 82.2172 | 1.6146
2020-09-24 11:15:00 | 3.672 | 149.5 | 3.61 | 165.3 | 3.52 | 155.713 | 3.478 | 156.5 | 19.14 | 974.856 | 83.8193 | 1.2304
2020-09-24 11:30:00 | 3.613 | 141.7 | 3.285 | 164.6 | 3.013 | 155.053 | 2.918 | 147.5 | 19.33 | 974.847 | 77.9881 | 0.040643
2020-09-24 11:45:00 | 3.715 | 189.4 | 3.535 | 200.1 | 2.81 | 188.494 | 2.793 | 196.4 | 19.93 | 974.55 | 76.1124 | 0.018474
2020-09-24 12:00:00 | 3.031 | 152.9 | 2.86 | 165 | 2.38 | 155.43 | 2.353 | 160.4 | 20 | 974.402 | 79.7272 | -0.21061
2020-09-24 12:15:00 | 3.473 | 200.6 | 3.116 | 213.2 | 2.698 | 200.834 | 2.64 | 205.3 | 19.93 | 973.957 | 74.9531 | -0.30667
2020-09-24 12:30:00 | 2.699 | 202.5 | 2.444 | 215.1 | 2.418 | 202.624 | 2.483 | 214.6 | 19.68 | 973.957 | 76.4535 | -0.25125
2020-09-24 12:45:00 | 2.955 | 176.7 | 2.75 | 189.6 | 2.305 | 178.603 | 2.122 | 188.6 | 19.78 | 973.957 | 76.8968 | -0.25125
2020-09-24 13:00:00 | 3.288 | 196.1 | 2.893 | 213.8 | 2.116 | 201.4 | 2.592 | 203.5 | 20.27 | 973.957 | 72.8389 | -0.24016
2020-09-24 13:15:00 | 3.917 | 193.5 | 3.62 | 205.3 | 2.724 | 193.393 | 2.572 | 205.6 | 20.8 | 973.808 | 73.5782 | -0.24016
2020-09-24 13:30:00 | 3.56 | 189.3 | 3.188 | 197 | 2.517 | 185.574 | 2.362 | 201.3 | 20.42 | 973.363 | 76.7133 | -0.24016
2020-09-24 13:45:00 | 2.331 | 222.8 | 2.331 | 228.9 | 1.748 | 215.624 | 1.509 | 239.1 | 20.64 | 973.512 | 72.4916 | -0.25125
2020-09-24 14:00:00 | 3.251 | 217.2 | 2.919 | 211.6 | 2.27 | 199.327 | 2.289 | 226.1 | 20.89 | 973.808 | 73.9911 | -0.27342
2020-09-24 14:15:00 | 2.61 | 247.5 | 2.937 | 261.7 | 2.607 | 246.521 | 2.564 | 249.4 | 20.49 | 973.808 | 74.2594 | -0.18844
2020-09-24 14:30:00 | 2.462 | 277.3 | 2.713 | 285.7 | 2.851 | 269.129 | 2.77 | 273.6 | 20.69 | 973.66 | 74.5313 | -0.18474
2020-09-24 14:45:00 | 3.411 | 282.6 | 3.727 | 295.9 | 3.593 | 278.738 | 3.527 | 282 | 21 | 973.957 | 71.3605 | -0.16996
2020-09-24 15:00:00 | 3.251 | 291.2 | 3.344 | 307 | 3.105 | 289.194 | 3.104 | 291.4 | 21.02 | 973.957 | 73.6102 | 0.011085
2020-09-24 15:15:00 | 3.519 | 318.5 | 3.934 | 326.5 | 3.438 | 307.563 | 3.369 | 324.3 | 20.91 | 973.215 | 74.1215 | -0.19213
2020-09-24 15:30:00 | 2.436 | 303 | 2.734 | 317.2 | 2.634 | 298.802 | 2.551 | 306 | 21 | 973.512 | 70.8489 | -0.15149
2020-09-24 15:45:00 | 1.93 | 306 | 2.262 | 319.5 | 1.795 | 300.969 | 1.715 | 308.2 | 21.13 | 973.363 | 73.3379 | -0.14779
2020-09-24 16:00:00 | 1.887 | 307.6 | 2.375 | 316.4 | 2.136 | 298.049 | 2.07 | 307 | 20.7 | 973.067 | 75.0426 | -0.18105
2020-09-24 16:15:00 | 2.52 | 304.2 | 3.07 | 317.4 | 3.013 | 298.991 | 2.979 | 308 | 20.53 | 972.77 | 74.0618 | -0.073897
2020-09-24 16:30:00 | 1.611 | 310.2 | 2.339 | 323.5 | 2.561 | 304.737 | 2.528 | 312.4 | 20.39 | 972.473 | 74.9531 | -0.18474
2020-09-24 16:45:00 | 1.488 | 317.3 | 2.137 | 331.7 | 2.177 | 312.461 | 2.106 | 315.1 | 20.5 | 972.975 | 75.2272 | -0.22908
2020-09-24 17:00:00 | 1.618 | 335.6 | 2.063 | 354.6 | 2.591 | 334.033 | 2.498 | 333.5 | 20.29 | 972.747 | 77.3839 | -0.2845
2020-09-24 17:15:00 | 2.732 | 21.25 | 2.899 | 12.01 | 2.815 | 11.3134 | 2.837 | 357.1 | 20.01 | 972.622 | 80.559 | -0.26233
2020-09-24 17:30:00 | 2.349 | 359.7 | 2.324 | 18.03 | 2.601 | 16.9843 | 2.709 | 356.2 | 19.82 | 972.473 | 83.5607 | 0.096066
2020-09-24 17:45:00 | 2.957 | 344.4 | 3.282 | 3.048 | 3.474 | 2.8712 | 3.501 | 342.9 | 19.81 | 972.177 | 80.1928 | 0.61334
2020-09-24 18:00:00 | 2.888 | 3.065 | 3.328 | 17.87 | 3.23 | 16.8335 | 2.977 | 8.22 | 19.58 | 972.244 | 85.0759 | 0.53945
2020-09-24 18:15:00 | 2.298 | 19.7 | 3.167 | 35.41 | 3.303 | 33.3562 | 3.28 | 20.62 | 19.21 | 972.407 | 85.0077 | 0.7168
2020-09-24 18:30:00 | 2.347 | 10.61 | 3.183 | 30.09 | 3.095 | 28.3448 | 2.829 | 10.89 | 19.25 | 972.471 | 83.7455 | 0.69463
2020-09-24 18:45:00 | 2.178 | 10.92 | 3.183 | 29.5 | 3.072 | 27.789 | 2.857 | 10.39 | 19.18 | 972.177 | 84.0184 | 0.89785
2020-09-24 19:00:00 | 3.156 | 5.241 | 3.868 | 24 | 4.005 | 22.608 | 3.404 | 6.333 | 19.16 | 972.474 | 83.0974 | 2.0506
2020-09-24 19:15:00 | 2.773 | 7.021 | 3.712 | 25.23 | 3.593 | 23.7667 | 3.277 | 9.28 | 19.15 | 972.474 | 83.1656 | 1.8659
2020-09-24 19:30:00 | 2.709 | 8.17 | 3.661 | 26.54 | 3.517 | 25.0007 | 3.575 | 12.18 | 19.01 | 972.919 | 84.3936 | 2.5975
2020-09-24 19:45:00 | 2.921 | 12.29 | 4.075 | 29.72 | 4.311 | 27.9962 | 3.69 | 14.67 | 18.93 | 972.77 | 84.6666 | 2.7674
2020-09-24 20:00:00 | 2.686 | 17.9 | 3.515 | 32.25 | 3.619 | 30.3795 | 3.506 | 20.75 | 18.74 | 972.77 | 83.9843 | 2.3462
2020-09-24 20:15:00 | 2.96 | 15.81 | 4.001 | 33.27 | 4.255 | 31.3403 | 4.112 | 19.11 | 18.89 | 972.919 | 82.8936 | 1.2304
2020-09-24 20:30:00 | 2.342 | 20.09 | 3.326 | 36.55 | 3.637 | 34.4301 | 3.623 | 25.23 | 18.94 | 973.067 | 81.7334 | 0.59857
2020-09-24 20:45:00 | 2.628 | 26.37 | 3.725 | 44.84 | 4.107 | 42.2393 | 4.1 | 28.48 | 18.93 | 973.067 | 81.9382 | 0.56901
2020-09-24 21:00:00 | 2.464 | 24.56 | 3.461 | 38.63 | 3.812 | 36.3895 | 3.817 | 27.35 | 18.92 | 973.067 | 81.2909 | 0.6429
2020-09-24 21:15:00 | 2.196 | 27.64 | 3.308 | 45.16 | 3.817 | 42.5407 | 3.822 | 29.85 | 18.91 | 972.919 | 80.7447 | 0.47663
2020-09-24 21:30:00 | 1.89 | 24.49 | 2.914 | 41.03 | 3.342 | 38.6503 | 3.32 | 27.65 | 18.9 | 972.919 | 80.0958 | 0.31037
2020-09-24 21:45:00 | 1.795 | 26.8 | 2.559 | 46.76 | 3.039 | 44.0479 | 3.061 | 28.33 | 18.95 | 972.77 | 78.5324 | -0.21061
2020-09-24 22:00:00 | 1.89 | 23.88 | 2.656 | 40.65 | 2.988 | 38.2923 | 3.005 | 23.03 | 19.04 | 972.77 | 78.2568 | -0.19952
2020-09-24 22:15:00 | 1.734 | 17.26 | 2.431 | 37.58 | 2.731 | 35.4004 | 2.36 | 17.76 | 18.95 | 972.77 | 77.3713 | -0.27711
2020-09-24 22:30:00 | 0.97 | 12.35 | 2.239 | 32.15 | 2.484 | 30.2853 | 2.409 | 17.55 | 18.92 | 972.622 | 78.3571 | -0.28081
2020-09-24 22:45:00 | 2.656 | 9.69 | 2.86 | 27.43 | 2.634 | 25.8391 | 2.788 | 16.71 | 18.89 | 972.622 | 77.9834 | -0.24016
2020-09-24 23:00:00 | 2.117 | 4.126 | 2.623 | 21.04 | 2.284 | 19.8197 | 2.47 | 13.14 | 18.83 | 972.622 | 79.6883 | -0.24016
2020-09-24 23:15:00 | 2.296 | 4.487 | 3.119 | 21.85 | 2.749 | 20.5827 | 2.824 | 14.19 | 18.53 | 972.325 | 81.2217 | -0.24016
2020-09-24 23:30:00 | 2.653 | 10.91 | 3.211 | 23.53 | 2.876 | 22.1653 | 2.852 | 20.79 | 18.43 | 972.177 | 82.1442 | -0.24016
2020-09-24 23:45:00 | 2.377 | 10.91 | 2.656 | 21.44 | 2.467 | 20.1965 | 2.409 | 18.86 | 18.37 | 972.325 | 82.9298 | -0.24016