## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-25 00:00:00 | 2.39 | 8.94 | 2.104 | 21.41 | 1.798 | 20.1682 | 1.533 | 13.94 | 18.49 | 972.474 | 83.5107 | -0.24016
2020-09-25 00:15:00 | 2.554 | 9.65 | 3.16 | 20.95 | 2.576 | 19.7349 | 2.383 | 13.38 | 18.14 | 972.474 | 85.49 | -0.24016
2020-09-25 00:30:00 | 2.691 | 7.697 | 3.206 | 22.21 | 3.008 | 20.9218 | 2.984 | 14.26 | 17.8 | 972.177 | 87.7115 | -0.24016
2020-09-25 00:45:00 | 2.796 | 11.11 | 3.091 | 23.73 | 2.932 | 22.3537 | 2.819 | 17.49 | 18.02 | 972.325 | 85.7722 | -0.24016
2020-09-25 01:00:00 | 3.11 | 6.02 | 2.472 | 21.94 | 2.802 | 20.6675 | 3.14 | 7.264 | 18.19 | 972.177 | 84.135 | -0.25125
2020-09-25 01:15:00 | 3.575 | 356.9 | 3.778 | 10 | 3.906 | 9.42 | 3.942 | 356.8 | 18.15 | 972.325 | 84.6782 | -0.22908
2020-09-25 01:30:00 | 3.401 | 356.6 | 3.543 | 12.59 | 3.189 | 11.8598 | 3.687 | 356.8 | 17.71 | 972.177 | 90.0021 | 0.23647
2020-09-25 01:45:00 | 3.238 | 26.03 | 3.51 | 18.44 | 3.329 | 17.3705 | 3.786 | 356.8 | 17.5 | 972.177 | 91.302 | 0.73897
2020-09-25 02:00:00 | 3.406 | 0.575 | 4.407 | 21.82 | 4.412 | 20.5544 | 3.318 | 2.116 | 17.31 | 972.177 | 92.2669 | 2.1763
2020-09-25 02:15:00 | 2.817 | 9.79 | 4.001 | 26.95 | 4.094 | 25.3869 | 4.069 | 9.08 | 17.22 | 972.177 | 92.9191 | 2.4238
2020-09-25 02:30:00 | 3.064 | 10.98 | 4.095 | 31.73 | 4.522 | 29.8897 | 4.604 | 14.08 | 17.38 | 971.88 | 93.2258 | 2.3795
2020-09-25 02:45:00 | 3.33 | 11.7 | 4.484 | 30.93 | 4.606 | 29.1361 | 4.352 | 13.7 | 17.46 | 971.88 | 92.8169 | 3.7983
2020-09-25 03:00:00 | 3.348 | 14.32 | 4.584 | 32.79 | 4.59 | 30.8882 | 4.255 | 14.71 | 17.52 | 971.88 | 90.7012 | 3.8981
2020-09-25 03:15:00 | 3.557 | 11.54 | 4.295 | 28.28 | 4.028 | 26.6398 | 3.896 | 11.87 | 17.64 | 971.88 | 88.0396 | 4.1345
2020-09-25 03:30:00 | 3.539 | 9.15 | 4.535 | 27.27 | 4.372 | 25.6883 | 4.184 | 12.76 | 17.66 | 971.88 | 86.0591 | 3.6875
2020-09-25 03:45:00 | 3.317 | 10.23 | 4.343 | 26.85 | 4.547 | 25.2927 | 4.125 | 14.43 | 17.67 | 971.88 | 84.8655 | 2.712
2020-09-25 04:00:00 | 3.445 | 8.71 | 4.535 | 25.43 | 4.354 | 23.9551 | 4.204 | 13.78 | 17.53 | 972.028 | 85.5825 | 2.0543
2020-09-25 04:15:00 | 3.639 | 6.389 | 4.338 | 19.84 | 4.049 | 18.6893 | 4.222 | 10.87 | 17.5 | 972.177 | 87.0497 | 3.0704
2020-09-25 04:30:00 | 3.751 | 7.435 | 4.952 | 24.26 | 4.478 | 22.8529 | 4.604 | 12.3 | 17.23 | 972.177 | 89.7456 | 4.7922
2020-09-25 04:45:00 | 3.971 | 12.93 | 5.238 | 29.82 | 5.859 | 28.0904 | 5.095 | 15.9 | 17.07 | 972.177 | 91.5543 | 6.1667
2020-09-25 05:00:00 | 3.726 | 14.65 | 4.883 | 31.63 | 5.404 | 29.7955 | 4.762 | 17.67 | 16.97 | 972.177 | 91.7931 | 5.8305
2020-09-25 05:15:00 | 3.46 | 11.08 | 4.793 | 28.51 | 5.104 | 26.8564 | 4.627 | 13.98 | 17.02 | 972.177 | 91.179 | 5.764
2020-09-25 05:30:00 | 3.46 | 11.08 | 4.793 | 28.51 | 5.104 | 26.8564 | 4.627 | 13.98 | 17.02 | 972.325 | 91.452 | 5.7492
2020-09-25 05:45:00 | 3.46 | 11.08 | 4.793 | 28.51 | 5.104 | 26.8564 | 4.627 | 13.98 | 17.02 | 972.325 | 91.452 | 4.7479
2020-09-25 06:00:00 | 3.46 | 11.08 | 4.793 | 28.51 | 5.104 | 26.8564 | 4.627 | 13.98 | 17.02 | 972.325 | 91.452 | 5.2836
2020-09-25 06:15:00 | 3.46 | 11.08 | 4.793 | 28.51 | 5.104 | 26.8564 | 4.627 | 13.98 | 17.02 | 972.325 | 91.452 | 5.7676
2020-09-25 06:30:00 | 3.927 | 8.44 | 5.23 | 26.38 | 4.448 | 24.85 | 4.894 | 9.53 | 16.09 | 972.771 | 99.9147 | 7.1643
2020-09-25 06:45:00 | 4.195 | 10.42 | 5.53 | 27.88 | 4.893 | 26.263 | 4.915 | 11.77 | 15.99 | 972.919 | 99.9147 | 7.1828
2020-09-25 07:00:00 | 3.955 | 12.05 | 5.353 | 30.56 | 5.539 | 28.7875 | 4.96 | 14.58 | 16.11 | 973.068 | 99.9147 | 8.0732
2020-09-25 07:15:00 | 3.491 | 13.74 | 5.113 | 32.39 | 5.501 | 30.5114 | 4.96 | 15.78 | 16.17 | 973.364 | 99.9147 | 8.8898
2020-09-25 07:30:00 | 4.466 | 11.86 | 5.872 | 29.79 | 5.964 | 28.0622 | 4.856 | 15.91 | 16.17 | 973.364 | 99.9127 | 9.1041
2020-09-25 07:45:00 | 4.691 | 14.77 | 6.514 | 29.94 | 6.353 | 28.2035 | 5.849 | 18.53 | 16.29 | 973.364 | 99.8964 | 7.3675
2020-09-25 08:00:00 | 4.014 | 15.9 | 5.435 | 33.68 | 5.633 | 31.7266 | 5.498 | 20.87 | 16.38 | 973.661 | 98.2816 | 4.2195
2020-09-25 08:15:00 | 4.088 | 17.01 | 5.2 | 29.19 | 5.17 | 27.497 | 5.06 | 21.14 | 16.7 | 973.958 | 95.5827 | 2.7342
2020-09-25 08:30:00 | 3.372 | 14.45 | 4.803 | 28.49 | 4.641 | 26.8376 | 4.362 | 19.21 | 17.04 | 974.403 | 92.5806 | 0.91632
2020-09-25 08:45:00 | 3.008 | 10.13 | 4.039 | 25.07 | 3.967 | 23.6159 | 3.728 | 13.57 | 17.4 | 974.509 | 90.9091 | 0.19583
2020-09-25 09:00:00 | 3.611 | 13.21 | 4.366 | 28.86 | 3.988 | 27.1861 | 3.725 | 15.85 | 17.86 | 975.033 | 87.1227 | 0.096066
2020-09-25 09:15:00 | 1.692 | 10.95 | 2.333 | 22.59 | 2.324 | 21.2798 | 2.292 | 5.829 | 18.54 | 975.145 | 85.4026 | 0.42491
2020-09-25 09:30:00 | 3.136 | 325.8 | 3.321 | 327.1 | 2.553 | 308.128 | 2.302 | 341.6 | 17.69 | 975.337 | 98.7568 | 0.25864
2020-09-25 09:45:00 | 2.372 | 5.5 | 3.149 | 20.02 | 2.904 | 18.8588 | 2.842 | 5.181 | 18.43 | 975.293 | 89.139 | 0.83134
2020-09-25 10:00:00 | 1.647 | 16.92 | 2.289 | 12.86 | 2.874 | 12.1141 | 2.858 | 24.92 | 19.24 | 975.737 | 83.3966 | 0.49141
2020-09-25 10:15:00 | 2.903 | 9.22 | 3.865 | 25.02 | 3.237 | 23.5688 | 2.994 | 0.97 | 19.24 | 975.737 | 83.9702 | 0.72419
2020-09-25 10:30:00 | 2.806 | 19.35 | 3.722 | 32.05 | 3.288 | 30.1911 | 3.114 | 18.71 | 19.57 | 975.885 | 81.2341 | 0.69833
2020-09-25 10:45:00 | 2.168 | 21.12 | 3.165 | 40.19 | 2.802 | 37.859 | 2.603 | 11.13 | 20.04 | 975.885 | 79.1546 | 0.33623
2020-09-25 11:00:00 | 2.383 | 355.6 | 2.554 | 13.86 | 2.848 | 13.0561 | 2.759 | 350.3 | 20.06 | 975.885 | 79.6657 | 0.46925
2020-09-25 11:15:00 | 2.409 | 349.6 | 2.932 | 332.2 | 2.883 | 312.932 | 2.784 | 9.79 | 20.94 | 975.999 | 78.018 | 0.80178
2020-09-25 11:30:00 | 2.507 | 10.57 | 2.452 | 0.813 | 2.663 | 0.76585 | 2.644 | 8.95 | 20.39 | 975.769 | 79.0741 | 0.84981
2020-09-25 11:45:00 | 2.557 | 354 | 3.028 | 349.8 | 3.003 | 329.512 | 2.875 | 3.59 | 20.24 | 975.735 | 75.0266 | 1.9361
2020-09-25 12:00:00 | 2.249 | 344.4 | 2.912 | 346.9 | 2.867 | 326.78 | 2.852 | 357.2 | 20.78 | 975.431 | 77.8932 | 3.1147
2020-09-25 12:15:00 | 2.698 | 18.94 | 3.105 | 355.7 | 3.07 | 335.069 | 2.916 | 7.926 | 20.44 | 975.143 | 79.2568 | 3.4066
2020-09-25 12:30:00 | 2.76 | 7.237 | 3.624 | 9.94 | 3.68 | 9.3635 | 3.588 | 359.4 | 20.67 | 975.588 | 73.4958 | 3.1554
2020-09-25 12:45:00 | 2.574 | 0.708 | 2.889 | 356.4 | 3.323 | 335.729 | 3.197 | 9.78 | 20.48 | 974.846 | 78.7114 | 4.6223
2020-09-25 13:00:00 | 2.159 | 16.66 | 2.14 | 355.5 | 2.561 | 334.881 | 2.483 | 31.51 | 20.44 | 974.995 | 75.105 | 5.1654
2020-09-25 13:15:00 | 1.604 | 16.8 | 2.276 | 27.89 | 3.598 | 26.2724 | 3.399 | 13.21 | 21.09 | 975.143 | 77.323 | 5.7676
2020-09-25 13:30:00 | 2.393 | 10.48 | 3.076 | 13.22 | 3.741 | 12.4532 | 3.527 | 7.421 | 21.24 | 974.995 | 74.2809 | 8.1582
2020-09-25 13:45:00 | 2.451 | 16.01 | 4.095 | 28.94 | 4.303 | 27.2615 | 4.018 | 14.18 | 20.95 | 974.846 | 73.8367 | 7.8405
2020-09-25 14:00:00 | 3.75 | 14.43 | 4.612 | 37.21 | 4.148 | 35.0518 | 4.123 | 6.211 | 20.92 | 974.992 | 72.7459 | 7.7629
2020-09-25 14:15:00 | 2.218 | 19.18 | 4.701 | 35.77 | 4.043 | 33.6953 | 3.797 | 14.01 | 20.79 | 974.105 | 71.4505 | 9.0228
2020-09-25 14:30:00 | 2.861 | 12.59 | 4.457 | 32.08 | 3.815 | 30.2194 | 3.626 | 7.062 | 20.69 | 974.401 | 72.1757 | 8.0252
2020-09-25 14:45:00 | 3.626 | 7.632 | 4.803 | 30.35 | 4.435 | 28.5897 | 4.502 | 359.2 | 20.39 | 973.956 | 73.1992 | 9.4219
2020-09-25 15:00:00 | 4.91 | 354.8 | 4.648 | 19.9 | 5.346 | 18.7458 | 5.615 | 353.3 | 20.47 | 974.253 | 74.2923 | 12.5034
2020-09-25 15:15:00 | 4.716 | 6.307 | 5.149 | 26.41 | 5.831 | 24.8782 | 6.015 | 0.483 | 20.55 | 974.55 | 73.2015 | 12.3334
2020-09-25 15:30:00 | 3.692 | 4.294 | 4.732 | 24.74 | 4.806 | 23.3051 | 4.907 | 352.8 | 20.69 | 974.401 | 72.7583 | 15.1452
2020-09-25 15:45:00 | 4.645 | 7.955 | 5.443 | 24.21 | 5.702 | 22.8058 | 5.811 | 1.471 | 20.51 | 974.55 | 73.7811 | 15.7622
2020-09-25 16:00:00 | 5.316 | 354.5 | 5.415 | 13.72 | 6.34 | 12.9242 | 6.435 | 358.1 | 20.24 | 973.956 | 74.0198 | 14.7868
2020-09-25 16:15:00 | 5.898 | 6.55 | 6.225 | 22.38 | 5.936 | 21.082 | 6.058 | 2.943 | 20.25 | 973.956 | 73.4819 | 11.3838
2020-09-25 16:30:00 | 5.482 | 354.6 | 5.504 | 17.32 | 6.093 | 16.3154 | 6.221 | 354.8 | 20.13 | 974.105 | 75.7033 | 13.3051
2020-09-25 16:45:00 | 5.743 | 358 | 5.389 | 16.78 | 6.101 | 15.8068 | 6.361 | 3.939 | 19.94 | 973.672 | 75.8397 | 9.6805
2020-09-25 17:00:00 | 5.258 | 4.924 | 5.077 | 14.16 | 5.676 | 13.3387 | 5.977 | 3.136 | 19.9 | 973.569 | 75.2616 | 7.4377
2020-09-25 17:15:00 | 4.734 | 9.1 | 4.898 | 17.78 | 5.221 | 16.7488 | 4.477 | 7.499 | 19.76 | 973.511 | 75.9198 | 5.3908
2020-09-25 17:30:00 | 3.457 | 5.138 | 4.517 | 20.32 | 4.099 | 19.1414 | 4.056 | 12.7 | 19.63 | 973.512 | 78.5129 | 4.5521
2020-09-25 17:45:00 | 2.291 | 11.21 | 4.42 | 26.28 | 4.242 | 24.7558 | 3.692 | 16.41 | 19.43 | 973.067 | 79.3335 | 4.3341
2020-09-25 18:00:00 | 3.973 | 10.25 | 4.566 | 25.23 | 4.639 | 23.7667 | 4.24 | 15.7 | 19.49 | 973.132 | 77.3323 | 5.6568
2020-09-25 18:15:00 | 3.046 | 3.553 | 4.167 | 20.84 | 4.71 | 19.6313 | 4.168 | 7.227 | 19.39 | 973.604 | 78.2193 | 7.6262
2020-09-25 18:30:00 | 3.703 | 3.885 | 4.803 | 22.96 | 4.745 | 21.6283 | 4.288 | 8.5 | 19.08 | 973.653 | 79.4474 | 7.9476
2020-09-25 18:45:00 | 2.99 | 14.19 | 4.328 | 33.96 | 4.768 | 31.9903 | 4.387 | 18.92 | 19.01 | 973.513 | 79.9591 | 6.3219
2020-09-25 19:00:00 | 3.534 | 16.4 | 4.64 | 31.81 | 4.911 | 29.965 | 4.721 | 19.28 | 18.95 | 973.364 | 79.4133 | 7.652
2020-09-25 19:15:00 | 2.975 | 19.1 | 4.888 | 36.44 | 5.137 | 34.3265 | 5.185 | 23.1 | 18.9 | 973.661 | 80.232 | 8.0363
2020-09-25 19:30:00 | 3.215 | 19.48 | 4.903 | 38.88 | 5.554 | 36.625 | 5.61 | 22.99 | 18.8 | 973.809 | 79.1404 | 9.8505
2020-09-25 19:45:00 | 3.595 | 20.46 | 5.573 | 37.7 | 5.943 | 35.5134 | 5.946 | 23.73 | 18.97 | 973.958 | 78.8001 | 10.8296
2020-09-25 20:00:00 | 3.263 | 18.01 | 5.246 | 33 | 5.409 | 31.086 | 5.378 | 24.27 | 18.91 | 974.255 | 77.7082 | 11.0291
2020-09-25 20:15:00 | 2.88 | 23.59 | 4.673 | 36.52 | 4.974 | 34.4018 | 5.027 | 27.9 | 18.92 | 974.552 | 77.0259 | 8.3725
2020-09-25 20:30:00 | 2.975 | 25.64 | 4.906 | 40.2 | 4.883 | 37.8684 | 4.871 | 31.42 | 19.03 | 974.552 | 76.6843 | 9.5549
2020-09-25 20:45:00 | 3.154 | 32.49 | 4.724 | 47.06 | 4.806 | 44.3305 | 4.777 | 38.31 | 18.97 | 974.552 | 76.2411 | 8.5388
2020-09-25 21:00:00 | 3.365 | 29.93 | 5.054 | 46.46 | 5.409 | 43.7653 | 5.419 | 35.17 | 19.1 | 974.7 | 75.2518 | 8.3577
2020-09-25 21:15:00 | 3.182 | 26.08 | 4.686 | 40.68 | 5.066 | 38.3206 | 5.052 | 31.4 | 19.03 | 974.552 | 74.9788 | 6.6544
2020-09-25 21:30:00 | 3.56 | 29.8 | 4.967 | 44.71 | 5.249 | 42.1168 | 5.215 | 35.84 | 19 | 974.7 | 76.3432 | 6.7135
2020-09-25 21:45:00 | 2.742 | 33.52 | 4.435 | 48.64 | 4.997 | 45.8189 | 4.96 | 38.51 | 18.85 | 974.552 | 76.2069 | 5.9007
2020-09-25 22:00:00 | 2.772 | 31.18 | 4.476 | 44.71 | 5.068 | 42.1168 | 5.116 | 39.13 | 18.8 | 974.552 | 76.2409 | 4.3858
2020-09-25 22:15:00 | 2.995 | 33.08 | 4.259 | 45.84 | 4.662 | 43.1813 | 4.683 | 40.82 | 18.86 | 974.552 | 75.2518 | 3.3401
2020-09-25 22:30:00 | 2.654 | 37.23 | 4.333 | 49.68 | 4.448 | 46.7986 | 4.421 | 45.43 | 18.67 | 974.552 | 77.2991 | 2.4164
2020-09-25 22:45:00 | 2.441 | 45.44 | 3.653 | 56.7 | 3.611 | 53.4114 | 3.537 | 53.92 | 18.73 | 974.552 | 78.2555 | 2.5975
2020-09-25 23:00:00 | 3.028 | 54.44 | 4.024 | 66.96 | 3.428 | 63.0763 | 3.354 | 62.51 | 18.69 | 974.552 | 75.5275 | 1.9028
2020-09-25 23:15:00 | 2.845 | 55.64 | 3.272 | 64.96 | 3.263 | 61.1923 | 3.481 | 63.08 | 18.83 | 974.403 | 74.4689 | 0.61704
2020-09-25 23:30:00 | 3.115 | 53.68 | 3.484 | 63.95 | 3.42 | 60.2409 | 3.463 | 59.5 | 18.88 | 974.255 | 73.1391 | 0.059118
2020-09-25 23:45:00 | 2.903 | 68.98 | 2.325 | 73.9 | 1.815 | 69.6138 | 2.233 | 78.87 | 18.98 | 974.552 | 70.613 | -0.22539