## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-26 00:00:00 | 3.585 | 61.28 | 2.96 | 69.77 | 2.299 | 65.7233 | 2.681 | 78.73 | 19.23 | 974.552 | 70.3401 | -0.15149
2020-09-26 00:15:00 | 2.091 | 50.96 | 2.502 | 49.88 | 1.768 | 46.987 | 1.829 | 67.19 | 18.76 | 974.552 | 75.3216 | -0.20691
2020-09-26 00:30:00 | 2.508 | 64.25 | 2.955 | 71.14 | 2.21 | 67.0139 | 2.443 | 81.7 | 18.67 | 974.552 | 71.2294 | -0.16627
2020-09-26 00:45:00 | 1.744 | 95.7 | 2.527 | 104.8 | 3.303 | 98.7216 | 3.542 | 100.1 | 19.06 | 974.552 | 69.4214 | -0.018474
2020-09-26 01:00:00 | 0.923 | 94.5 | 1.912 | 104 | 2.441 | 97.968 | 2.554 | 101.5 | 19.29 | 974.552 | 70.0696 | -0.073897
2020-09-26 01:15:00 | 1.763 | 69.64 | 2.359 | 74.74 | 2.805 | 70.4051 | 2.979 | 85.4 | 19.17 | 974.849 | 70.8183 | -0.20322
2020-09-26 01:30:00 | 1.212 | 53.91 | 2.037 | 55.77 | 1.83 | 52.5353 | 1.948 | 72.91 | 18.79 | 974.552 | 73.8205 | -0.25864
2020-09-26 01:45:00 | 0.618 | 41.42 | 1.224 | 49.4 | 0 | 46.5348 | 0 | 68.61 | 18.62 | 974.552 | 72.5236 | -0.24016
2020-09-26 02:00:00 | 0.413 | 85.1 | 0.101 | 49.39 | 0 | 46.5254 | 0 | 107.2 | 18.72 | 974.552 | 72.3875 | -0.24016
2020-09-26 02:15:00 | 0.49 | 66.29 | 0.445 | 33.03 | 0.059 | 31.1143 | 0.043 | 106.9 | 18.69 | 974.552 | 72.7314 | -0.24016
2020-09-26 02:30:00 | 0.517 | 87.2 | 1.096 | 53.52 | 0.539 | 50.4158 | 0.591 | 91.2 | 18.77 | 974.255 | 71.0948 | -0.24016
2020-09-26 02:45:00 | 1.882 | 83.4 | 2.242 | 89.4 | 2.347 | 84.2148 | 2.424 | 90.9 | 18.94 | 974.106 | 71.3038 | -0.24016
2020-09-26 03:00:00 | 1.66 | 55.37 | 2.201 | 56.31 | 2.403 | 53.044 | 2.521 | 70.43 | 18.88 | 973.958 | 72.4618 | -0.18474
2020-09-26 03:15:00 | 2.845 | 28.97 | 3.096 | 37.65 | 2.792 | 35.4663 | 2.816 | 44.32 | 18.9 | 973.958 | 70.4106 | -0.18474
2020-09-26 03:30:00 | 2.712 | 28.81 | 3.694 | 39.31 | 3.443 | 37.03 | 3.394 | 40.79 | 18.91 | 973.958 | 71.2962 | -0.25864
2020-09-26 03:45:00 | 2.354 | 22.28 | 3.564 | 41.94 | 3.339 | 39.5075 | 3.361 | 23.42 | 18.53 | 974.106 | 71.4328 | -0.24016
2020-09-26 04:00:00 | 1.736 | 22.02 | 2.257 | 35.05 | 2.039 | 33.0171 | 1.782 | 14.65 | 18.61 | 974.255 | 71.0909 | -0.24016
2020-09-26 04:15:00 | 1.263 | 3.202 | 1.996 | 35 | 2.243 | 32.97 | 1.953 | 12 | 18.82 | 974.106 | 69.4544 | -0.24016
2020-09-26 04:30:00 | 1.484 | 29.86 | 2.145 | 32.12 | 2.647 | 30.257 | 2.809 | 32.35 | 18.94 | 974.255 | 69.2159 | -0.24016
2020-09-26 04:45:00 | 1.675 | 356.6 | 1.899 | 18.71 | 2.993 | 17.6248 | 2.989 | 356.7 | 18.97 | 974.552 | 68.0562 | -0.24016
2020-09-26 05:00:00 | 2.117 | 4.656 | 2.201 | 18.41 | 2.154 | 17.3422 | 1.576 | 0.241 | 19.25 | 974.552 | 67.5777 | -0.24016
2020-09-26 05:15:00 | 1.542 | 4.097 | 2.022 | 19.58 | 2.299 | 18.4444 | 2.172 | 1.241 | 19.19 | 974.255 | 67.7482 | -0.22539
2020-09-26 05:30:00 | 1.374 | 1.432 | 1.638 | 19 | 1.999 | 17.898 | 2.042 | 0.731 | 19.12 | 974.552 | 67.8849 | -0.22539
2020-09-26 05:45:00 | 1.895 | 353 | 2.006 | 13.93 | 2.459 | 13.1221 | 2.393 | 356.7 | 19.22 | 974.7 | 67.5764 | -0.22539
2020-09-26 06:00:00 | 1.376 | 353.3 | 1.431 | 13.88 | 1.327 | 13.075 | 1.647 | 356.7 | 19.18 | 974.552 | 68.5315 | -0.22539
2020-09-26 06:15:00 | 0.401 | 359.3 | 1.323 | 14 | 1.201 | 13.188 | 1.045 | 356.7 | 18.95 | 974.7 | 70.2712 | -0.24016
2020-09-26 06:30:00 | 1.024 | 8.4 | 1.485 | 14.16 | 1.187 | 13.3387 | 1.283 | 1.372 | 18.86 | 974.997 | 69.9301 | -0.22539
2020-09-26 06:45:00 | 0 | 8.57 | 0 | 14.13 | 0 | 13.3105 | 0 | 1.364 | 18.93 | 975.145 | 69.2822 | -0.22539
2020-09-26 07:00:00 | 0 | 8.57 | 0 | 14.13 | 0 | 13.3105 | 0 | 1.364 | 19.17 | 975.442 | 69.6913 | -0.22539
2020-09-26 07:15:00 | 0 | 8.57 | 0 | 14.13 | 0 | 13.3105 | 0 | 1.364 | 19.47 | 975.682 | 68.1563 | -0.22539
2020-09-26 07:30:00 | 0 | 8.57 | 0 | 14.13 | 0 | 13.3105 | 0 | 1.364 | 21.25 | 976.037 | 63.3705 | -0.22539
2020-09-26 07:45:00 | 0 | 248.5 | 0.11 | 259.7 | 0 | 244.637 | 0 | 0.432 | 20.19 | 976.115 | 67.6565 | -0.22539
2020-09-26 08:00:00 | 1.468 | 180 | 1.27 | 197.1 | 0.192 | 185.668 | 0.101 | 255.3 | 20.19 | 976.33 | 68.3611 | -0.22539
2020-09-26 08:15:00 | 1.221 | 176.9 | 0.794 | 168.4 | 0.059 | 158.633 | 0.012 | 229.6 | 20.69 | 976.923 | 67.9837 | -0.22539
2020-09-26 08:30:00 | 0.73 | 274.9 | 0.472 | 285 | 0.053 | 268.47 | 0.009 | 324.9 | 20.91 | 977.072 | 68.519 | -0.22539
2020-09-26 08:45:00 | 0.977 | 323.2 | 0.373 | 302.5 | 0 | 284.955 | 0 | 329.5 | 20.38 | 977.333 | 67.0764 | -0.24016
2020-09-26 09:00:00 | 0.863 | 280 | 0.714 | 258.2 | 0 | 243.224 | 0.137 | 284.3 | 21.21 | 977.22 | 65.2352 | -0.22539
2020-09-26 09:15:00 | 1.034 | 12.2 | 1.486 | 17.97 | 0 | 16.9277 | 0.738 | 17.43 | 21.57 | 977.96 | 69.6302 | -0.24016
2020-09-26 09:30:00 | 1.37 | 19.56 | 1.431 | 2.733 | 1.048 | 2.5745 | 0.803 | 23.65 | 21.63 | 978.385 | 71.9136 | -0.24016
2020-09-26 09:45:00 | 1.68 | 8.92 | 2.372 | 345.3 | 2.248 | 325.273 | 2.357 | 26.58 | 21.13 | 977.949 | 72.9934 | -0.24016
2020-09-26 10:00:00 | 2.456 | 7.49 | 2.435 | 14.61 | 2.484 | 13.7626 | 2.284 | 13.83 | 21.37 | 977.581 | 67.2597 | -0.24016
2020-09-26 10:15:00 | 1.452 | 26.7 | 1.891 | 32.95 | 1.499 | 31.0389 | 1.298 | 25 | 21.73 | 978.022 | 66.7839 | -0.24016
2020-09-26 10:30:00 | 1.362 | 19.85 | 2.316 | 30.77 | 1.485 | 28.9853 | 1.203 | 12.8 | 21.69 | 977.813 | 67.8713 | -0.24016
2020-09-26 10:45:00 | 1.536 | 25.45 | 2.001 | 41.93 | 1.553 | 39.4981 | 1.326 | 25.79 | 21.99 | 977.564 | 67.3331 | -0.24016
2020-09-26 11:00:00 | 1.349 | 26.03 | 1.821 | 33.86 | 1.814 | 31.8961 | 1.653 | 31.64 | 21.36 | 977.777 | 67.5822 | -0.24016
2020-09-26 11:15:00 | 1.874 | 25.77 | 3.061 | 26.81 | 3.255 | 25.255 | 3.132 | 24.78 | 22.42 | 977.811 | 59.7803 | -0.25125
2020-09-26 11:30:00 | 2.818 | 14.45 | 4.535 | 27.88 | 4.153 | 26.263 | 3.83 | 18.06 | 22.17 | 977.663 | 57.9361 | -0.26603
2020-09-26 11:45:00 | 2.587 | 6.21 | 2.637 | 23.92 | 2.068 | 22.5326 | 2.095 | 2.353 | 22.18 | 977.663 | 52.179 | -0.014779
2020-09-26 12:00:00 | 2.112 | 20.5 | 3.5 | 37.55 | 3.044 | 35.3721 | 2.796 | 17.96 | 22.82 | 977.218 | 54.8031 | 0.69094
2020-09-26 12:15:00 | 1.635 | 17.32 | 2.404 | 35.54 | 2.026 | 33.4787 | 1.953 | 18.38 | 22.8 | 977.366 | 53.6088 | 0.58379
2020-09-26 12:30:00 | 1.755 | 23.45 | 2.999 | 33.71 | 2.866 | 31.7548 | 2.609 | 23.92 | 22.9 | 977.366 | 51.1231 | 0.53945
2020-09-26 12:45:00 | 2.931 | 19.15 | 3.077 | 42.56 | 2.79 | 40.0915 | 2.759 | 349 | 22.7 | 977.07 | 52.2834 | 0.38426
2020-09-26 13:00:00 | 0.794 | 16.34 | 1.904 | 14.76 | 3.622 | 13.9039 | 3.382 | 16.1 | 23.23 | 977.366 | 52.8971 | 0.59857
2020-09-26 13:15:00 | 1.878 | 337.6 | 2.637 | 347.9 | 2.778 | 327.722 | 2.872 | 337 | 22.87 | 976.625 | 54.0559 | 0.16257
2020-09-26 13:30:00 | 2.473 | 16.36 | 3.231 | 29.27 | 3.174 | 27.5723 | 2.984 | 17.05 | 23.51 | 977.374 | 52.7607 | 0.49511
2020-09-26 13:45:00 | 2.585 | 21.82 | 3.183 | 32.43 | 3.026 | 30.5491 | 2.854 | 19.52 | 23.24 | 977.367 | 50.2045 | 0.3584
2020-09-26 14:00:00 | 2.25 | 20.66 | 4.248 | 32.42 | 4.555 | 30.5396 | 4.148 | 20.07 | 24.08 | 977.96 | 52.419 | 0.73158
2020-09-26 14:15:00 | 2.548 | 11.01 | 3.014 | 31.29 | 2.891 | 29.4752 | 2.839 | 7.375 | 23.09 | 977.218 | 53.3018 | 0.47663
2020-09-26 14:30:00 | 2.541 | 8.06 | 3.395 | 24.85 | 3.057 | 23.4087 | 3.084 | 4.192 | 23.22 | 976.922 | 53.2361 | 0.26972
2020-09-26 14:45:00 | 3.58 | 3.494 | 3.423 | 10.92 | 2.748 | 10.2866 | 2.707 | 353.2 | 23.55 | 977.367 | 51.7023 | 1.0272
2020-09-26 15:00:00 | 2.662 | 311.5 | 3.038 | 322.5 | 2.983 | 303.795 | 3.035 | 316.7 | 23.75 | 977.367 | 53.2349 | 1.6516
2020-09-26 15:15:00 | 2.582 | 319.4 | 3.124 | 330 | 2.478 | 310.86 | 2.546 | 320.5 | 23.88 | 977.07 | 53.0288 | 1.9915
2020-09-26 15:30:00 | 3.526 | 309 | 4.346 | 314.3 | 3.99 | 296.071 | 3.859 | 313 | 23.73 | 976.773 | 54.0541 | 2.0987
2020-09-26 15:45:00 | 3.948 | 303.2 | 4.87 | 315.5 | 4.506 | 297.201 | 4.507 | 308.3 | 23.05 | 976.18 | 54.4649 | 2.5457
2020-09-26 16:00:00 | 3.371 | 316.3 | 3.62 | 327.2 | 3.695 | 308.222 | 3.692 | 325.7 | 22.95 | 976.086 | 53.6469 | 1.8363
2020-09-26 16:15:00 | 3.057 | 324.6 | 3.497 | 342.9 | 3.603 | 323.012 | 3.588 | 326.1 | 22.92 | 976.262 | 53.6469 | 2.967
2020-09-26 16:30:00 | 3.585 | 332.1 | 3.809 | 351 | 3.985 | 330.642 | 4.074 | 335.5 | 22.66 | 976.032 | 56.1066 | 3.536
2020-09-26 16:45:00 | 2.62 | 341.6 | 2.676 | 10.04 | 4.186 | 9.4577 | 4.293 | 338.6 | 22.23 | 975.885 | 56.3831 | 3.5212
2020-09-26 17:00:00 | 3.154 | 349.4 | 3.282 | 11.48 | 3.52 | 10.8142 | 3.644 | 350.3 | 22 | 975.291 | 55.9778 | 4.0902
2020-09-26 17:15:00 | 4.211 | 2.597 | 4.077 | 11.29 | 4.712 | 10.6352 | 5.141 | 2.212 | 21.85 | 974.995 | 55.1653 | 6.5436
2020-09-26 17:30:00 | 4.581 | 18.21 | 4.714 | 11.27 | 4.972 | 10.6163 | 5.747 | 7.448 | 21.68 | 974.698 | 55.0364 | 6.1408
2020-09-26 17:45:00 | 4.308 | 41 | 4.512 | 11.51 | 4.567 | 10.8424 | 5.065 | 0.668 | 21.57 | 974.569 | 55.4135 | 6.7394
2020-09-26 18:00:00 | 3.465 | 6.342 | 3.832 | 19.23 | 4.715 | 18.1147 | 3.988 | 3.071 | 21.45 | 974.987 | 55.7916 | 7.1828
2020-09-26 18:15:00 | 2.988 | 6.73 | 3.955 | 26.41 | 4.033 | 24.8782 | 4.194 | 9.43 | 21.31 | 974.848 | 55.9344 | 6.9943
2020-09-26 18:30:00 | 2.668 | 11.97 | 3.755 | 30.22 | 3.998 | 28.4672 | 3.797 | 12.38 | 21.18 | 974.848 | 56.1732 | 6.2036
2020-09-26 18:45:00 | 2.686 | 16.84 | 3.461 | 39.63 | 3.909 | 37.3315 | 3.84 | 18.57 | 21.13 | 974.848 | 55.7981 | 6.1852
2020-09-26 19:00:00 | 2.947 | 13.38 | 4.08 | 32.93 | 4.433 | 31.0201 | 4.059 | 15.13 | 21.2 | 974.848 | 54.0246 | 5.3206
2020-09-26 19:15:00 | 2.697 | 14.41 | 3.673 | 32.65 | 4.534 | 30.7563 | 4.548 | 18.45 | 21.17 | 975.144 | 53.1417 | 4.8846
2020-09-26 19:30:00 | 2.543 | 18.52 | 3.354 | 35.63 | 4.232 | 33.5635 | 4.273 | 21.7 | 21.13 | 975.151 | 53.4835 | 3.4214
2020-09-26 19:45:00 | 2.891 | 20.34 | 3.668 | 37.58 | 4.043 | 35.4004 | 4.056 | 25.75 | 21.18 | 975.329 | 52.8392 | 3.0519
2020-09-26 20:00:00 | 2.615 | 25.98 | 3.382 | 38.13 | 3.487 | 35.9185 | 3.529 | 31.75 | 21.23 | 975.473 | 51.1669 | 1.6811
2020-09-26 20:15:00 | 2.308 | 27.58 | 3.379 | 42.23 | 3.37 | 39.7807 | 3.338 | 35.9 | 21.34 | 975.497 | 51.236 | 1.005
2020-09-26 20:30:00 | 2.109 | 36.9 | 3.034 | 48.93 | 2.912 | 46.0921 | 2.954 | 51.66 | 21.27 | 975.47 | 50.5541 | 0.55053
2020-09-26 20:45:00 | 2.298 | 60.8 | 3.101 | 62.17 | 2.736 | 58.5641 | 2.618 | 80.5 | 21.35 | 975.611 | 49.5309 | -0.036949
2020-09-26 21:00:00 | 2.395 | 91.1 | 2.413 | 80.7 | 2.5 | 76.0194 | 2.572 | 110.8 | 21.47 | 975.623 | 48.951 | -0.18105
2020-09-26 21:15:00 | 2.214 | 117.9 | 2.845 | 124.2 | 2.891 | 116.996 | 2.819 | 126.7 | 21.78 | 975.652 | 45.915 | -0.2845
2020-09-26 21:30:00 | 3.11 | 124.2 | 3.392 | 133.1 | 3.113 | 125.38 | 3.061 | 130 | 22.33 | 976.049 | 43.9015 | -0.32884
2020-09-26 21:45:00 | 4.875 | 100.7 | 5.522 | 114.1 | 4.786 | 107.482 | 4.703 | 108.1 | 22.31 | 975.738 | 43.9976 | 1.0087
2020-09-26 22:00:00 | 4.813 | 98.6 | 5.425 | 112.9 | 5.295 | 106.352 | 5.404 | 106.8 | 21.98 | 975.738 | 43.588 | 7.6816
2020-09-26 22:15:00 | 4.19 | 104.3 | 4.665 | 119.3 | 5.468 | 112.381 | 5.579 | 111.3 | 21.97 | 975.887 | 44.6794 | 10.6596
2020-09-26 22:30:00 | 4.813 | 103.9 | 5.435 | 119.7 | 6.363 | 112.757 | 6.537 | 109 | 21.66 | 975.887 | 45.7708 | 19.1467
2020-09-26 22:45:00 | 5.694 | 106.3 | 6.256 | 121 | 7.513 | 113.982 | 7.833 | 113 | 21.11 | 975.738 | 48.6358 | 23.9167
2020-09-26 23:00:00 | 6.366 | 111.1 | 7.058 | 127.1 | 7.67 | 119.728 | 7.716 | 116.8 | 20.89 | 975.738 | 49.3184 | 23.8465
2020-09-26 23:15:00 | 4.183 | 115.2 | 4.435 | 137 | 5.259 | 129.054 | 5.393 | 122.3 | 20.58 | 975.887 | 50.9596 | 23.0484
2020-09-26 23:30:00 | 4.634 | 126.3 | 5.044 | 148.7 | 5.31 | 140.075 | 5.342 | 129.5 | 20.45 | 975.762 | 52.7374 | 26.0043
2020-09-26 23:45:00 | 4.576 | 128.3 | 4.627 | 147.1 | 4.801 | 138.568 | 4.838 | 128.1 | 20.25 | 975.864 | 54.7842 | 27.0426