## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-27 00:00:00 | 5.592 | 126.6 | 5.686 | 153.2 | 5.745 | 144.314 | 5.816 | 125.4 | 20.3 | 975.878 | 55.1595 | 28.7163
2020-09-27 00:15:00 | 5.863 | 127.6 | 6.038 | 151.5 | 5.536 | 142.713 | 5.661 | 130.5 | 20.15 | 975.994 | 56.8651 | 32.1119
2020-09-27 00:30:00 | 6.496 | 131.2 | 6.578 | 148.9 | 6.086 | 140.264 | 6.053 | 130.1 | 19.96 | 975.871 | 57.7179 | 32.7215
2020-09-27 00:45:00 | 5.988 | 127.2 | 6.036 | 145.9 | 6.371 | 137.438 | 6.527 | 126 | 19.69 | 975.709 | 60.5151 | 33.745
2020-09-27 01:00:00 | 6.279 | 125.5 | 6.412 | 142.7 | 6.813 | 134.423 | 6.761 | 129.7 | 19.49 | 975.739 | 60.5151 | 38.988
2020-09-27 01:15:00 | 8.66 | 134.3 | 8.63 | 152.7 | 8.68 | 143.843 | 8.64 | 136.4 | 19.61 | 975.731 | 61.6067 | 37.8426
2020-09-27 01:30:00 | 8.64 | 134.6 | 8.73 | 151.2 | 8.84 | 142.43 | 8.76 | 140.3 | 19.45 | 975.887 | 62.4936 | 39.5977
2020-09-27 01:45:00 | 7.525 | 137.5 | 7.779 | 153.4 | 8.3 | 144.503 | 8.18 | 144.1 | 19.2 | 975.887 | 61.4702 | 37.1036
2020-09-27 02:00:00 | 6.792 | 142.5 | 6.683 | 158.1 | 7.602 | 148.93 | 7.729 | 148.8 | 19.04 | 975.442 | 62.9712 | 41.0682
2020-09-27 02:15:00 | 6.414 | 144.3 | 7.069 | 161.3 | 8.02 | 151.945 | 8.03 | 151.6 | 18.94 | 975.442 | 63.21 | 40.3773
2020-09-27 02:30:00 | 6.506 | 144.1 | 7.214 | 161.4 | 8.29 | 152.039 | 8.29 | 150.7 | 19 | 975.145 | 62.6987 | 38.3266
2020-09-27 02:45:00 | 6.948 | 142.6 | 6.949 | 158.6 | 7.317 | 149.401 | 7.4 | 149.1 | 18.94 | 975.145 | 62.4941 | 36.5125
2020-09-27 03:00:00 | 6.777 | 140.7 | 7.174 | 157.5 | 7.879 | 148.365 | 7.853 | 148.5 | 18.69 | 974.997 | 60.9944 | 39.0102
2020-09-27 03:15:00 | 7.259 | 139.3 | 7.695 | 154 | 7.556 | 145.068 | 7.539 | 144.6 | 18.97 | 974.849 | 64.6442 | 39.8674
2020-09-27 03:30:00 | 6.782 | 138.5 | 7.006 | 154.7 | 7.489 | 145.727 | 7.493 | 144.9 | 18.91 | 974.7 | 67.2704 | 40.2443
2020-09-27 03:45:00 | 6.692 | 137.9 | 7.047 | 153.3 | 7.523 | 144.409 | 7.506 | 145.5 | 18.7 | 974.7 | 66.6222 | 42.9969
2020-09-27 04:00:00 | 6.692 | 137.9 | 7.047 | 153.3 | 7.523 | 144.409 | 7.506 | 145.5 | 18.7 | 974.7 | 66.6222 | 44.3529
2020-09-27 04:15:00 | 6.692 | 137.9 | 7.047 | 153.3 | 7.523 | 144.409 | 7.506 | 145.5 | 18.7 | 974.7 | 66.6222 | 45.0919
2020-09-27 04:30:00 | 6.692 | 137.9 | 7.047 | 153.3 | 7.523 | 144.409 | 7.506 | 145.5 | 18.7 | 974.7 | 66.6222 | 44.0204
2020-09-27 04:45:00 | 6.692 | 137.9 | 7.047 | 153.3 | 7.523 | 144.409 | 7.506 | 145.5 | 18.7 | 974.7 | 66.6222 | 43.5031
2020-09-27 05:00:00 | 6.692 | 137.9 | 7.047 | 153.3 | 7.523 | 144.409 | 7.506 | 145.5 | 18.7 | 974.7 | 66.6222 | 40.5879
2020-09-27 05:15:00 | 6.692 | 137.9 | 7.047 | 153.3 | 7.523 | 144.409 | 7.506 | 145.5 | 18.7 | 974.7 | 66.6222 | 39.9006
2020-09-27 05:30:00 | 6.692 | 137.9 | 7.047 | 153.3 | 7.523 | 144.409 | 7.506 | 145.5 | 18.7 | 974.7 | 66.6222 | 38.4005
2020-09-27 05:45:00 | 6.692 | 137.9 | 7.047 | 153.3 | 7.523 | 144.409 | 7.506 | 145.5 | 18.7 | 974.7 | 66.6222 | 36.6196
2020-09-27 06:00:00 | 6.692 | 137.9 | 7.047 | 153.3 | 7.523 | 144.409 | 7.506 | 145.5 | 18.7 | 974.7 | 66.6222 | 36.9041
2020-09-27 06:15:00 | 6.692 | 137.9 | 7.047 | 153.3 | 7.523 | 144.409 | 7.506 | 145.5 | 18.7 | 974.7 | 66.6222 | 37.3586
2020-09-27 06:30:00 | 6.692 | 137.9 | 7.047 | 153.3 | 7.523 | 144.409 | 7.506 | 145.5 | 18.7 | 974.7 | 66.6222 | 34.2549
2020-09-27 06:45:00 | 5.531 | 136.9 | 6.084 | 153.5 | 6.928 | 144.597 | 6.97 | 143.2 | 18.7 | 976.333 | 63.077 | 34.9385
2020-09-27 07:00:00 | 6.69 | 135.6 | 6.764 | 153.5 | 7.141 | 144.597 | 7.138 | 142 | 18.83 | 976.63 | 62.3231 | 35.2488
2020-09-27 07:15:00 | 6.841 | 138.6 | 6.943 | 154.9 | 7.088 | 145.916 | 6.962 | 143.2 | 19.05 | 976.868 | 60.9245 | 32.6587
2020-09-27 07:30:00 | 6.593 | 137.8 | 6.946 | 156.4 | 6.607 | 147.329 | 6.539 | 141.3 | 19.16 | 976.636 | 62.6968 | 29.2114
2020-09-27 07:45:00 | 7.211 | 141.2 | 7.355 | 156 | 7.034 | 146.952 | 6.944 | 146 | 19.14 | 976.925 | 62.8241 | 25.912
2020-09-27 08:00:00 | 5.842 | 139.9 | 6.384 | 157.7 | 6.383 | 148.553 | 6.32 | 146 | 19.32 | 977.222 | 63.301 | 21.0606
2020-09-27 08:15:00 | 6.435 | 142.7 | 6.516 | 160.1 | 6.574 | 150.814 | 6.466 | 148.1 | 19.53 | 977.369 | 62.0637 | 18.356
2020-09-27 08:30:00 | 6.973 | 146.1 | 6.66 | 163.8 | 6.21 | 154.3 | 6.127 | 151.4 | 19.46 | 977.679 | 62.5405 | 14.8422
2020-09-27 08:45:00 | 5.84 | 147.8 | 5.57 | 164.4 | 5.328 | 154.865 | 5.248 | 151.2 | 19.65 | 977.962 | 61.1083 | 12.7214
2020-09-27 09:00:00 | 6.034 | 146.1 | 5.954 | 164.4 | 5.636 | 154.865 | 5.605 | 149.7 | 20.03 | 978.11 | 62.6669 | 12.6733
2020-09-27 09:15:00 | 6.851 | 146.8 | 6.468 | 166.5 | 6.022 | 156.843 | 5.903 | 152.4 | 20.14 | 978.258 | 61.507 | 12.0415
2020-09-27 09:30:00 | 5.985 | 148 | 5.785 | 166.1 | 5.463 | 156.466 | 5.376 | 150.8 | 20.24 | 978.11 | 60.2114 | 10.8998
2020-09-27 09:45:00 | 5.99 | 142.6 | 5.678 | 158.6 | 5.381 | 149.401 | 5.302 | 149.4 | 20.68 | 978.407 | 61.1993 | 10.4675
2020-09-27 10:00:00 | 5.628 | 145.6 | 5.601 | 166 | 5.157 | 156.372 | 5.014 | 149.8 | 20.88 | 978.407 | 59.8619 | 9.0709
2020-09-27 10:15:00 | 6.052 | 154.7 | 5.499 | 173.4 | 4.761 | 163.343 | 4.576 | 157.5 | 21.12 | 978.397 | 59.7921 | 7.7961
2020-09-27 10:30:00 | 5.536 | 149.5 | 5.468 | 169.3 | 4.862 | 159.481 | 4.762 | 151.2 | 21.16 | 978.555 | 59.383 | 6.3736
2020-09-27 10:45:00 | 5.666 | 147.7 | 5.473 | 165.8 | 4.522 | 156.184 | 4.441 | 149.9 | 21.52 | 978.555 | 54.5424 | 4.7109
2020-09-27 11:00:00 | 5.556 | 148.8 | 5.251 | 169.1 | 4.359 | 159.292 | 4.278 | 151.8 | 22.04 | 978.555 | 57.065 | 3.7687
2020-09-27 11:15:00 | 4.785 | 153.2 | 4.586 | 169.4 | 3.911 | 159.575 | 3.771 | 157.6 | 22.16 | 978.525 | 53.9568 | 3.4769
2020-09-27 11:30:00 | 4.609 | 138.5 | 4.706 | 149.3 | 4.234 | 140.641 | 4.036 | 144.9 | 22.34 | 978.374 | 52.5563 | 1.5408
2020-09-27 11:45:00 | 4.484 | 159.3 | 3.898 | 179.3 | 3.509 | 168.901 | 3.494 | 161.2 | 22.68 | 978.444 | 50.3068 | -0.10346
2020-09-27 12:00:00 | 4.387 | 142.4 | 3.967 | 162.3 | 3.164 | 152.887 | 3.084 | 145 | 23.14 | 978.109 | 50.3749 | -0.33623
2020-09-27 12:15:00 | 3.343 | 159.7 | 3.029 | 174.1 | 2.116 | 164.002 | 1.835 | 159.3 | 23.13 | 978.108 | 49.3183 | -0.32884
2020-09-27 12:30:00 | 2.959 | 155.7 | 3.032 | 173.4 | 2.479 | 163.343 | 2.288 | 159.6 | 22.95 | 977.675 | 49.2161 | -0.27711
2020-09-27 12:45:00 | 1.783 | 164.9 | 2.374 | 179.9 | 1.855 | 169.466 | 1.61 | 170.2 | 23.76 | 977.96 | 45.1943 | -0.19952
2020-09-27 13:00:00 | 3.286 | 151.2 | 3.492 | 172 | 2.792 | 162.024 | 2.709 | 150.3 | 24.68 | 978.108 | 44.649 | -0.088676
2020-09-27 13:15:00 | 2.162 | 134.5 | 1.978 | 162.1 | 1.423 | 152.698 | 1.343 | 157.6 | 23.89 | 978.256 | 43.1466 | 0.20322
2020-09-27 13:30:00 | 3.439 | 146.2 | 4.067 | 166.3 | 3.451 | 156.655 | 3.399 | 157.4 | 24.22 | 977.96 | 44.6468 | 0.15149
2020-09-27 13:45:00 | 2.648 | 95.8 | 2.812 | 95.2 | 2.61 | 89.6784 | 2.57 | 107.1 | 24.51 | 978.405 | 41.7482 | 0.61334
2020-09-27 14:00:00 | 4.167 | 129.6 | 4.665 | 148.2 | 4.552 | 139.604 | 4.438 | 136.4 | 24.08 | 978.256 | 44.8862 | 0.34362
2020-09-27 14:15:00 | 5.158 | 147.4 | 5.059 | 171.7 | 4.623 | 161.741 | 4.591 | 150.4 | 23.93 | 977.515 | 43.7607 | 1.1971
2020-09-27 14:30:00 | 5.378 | 153 | 5.167 | 168.8 | 4.339 | 159.01 | 4.181 | 159.3 | 23.53 | 977.663 | 43.4872 | 0.46186
2020-09-27 14:45:00 | 4.563 | 140.2 | 4.747 | 159.8 | 4.547 | 150.532 | 4.492 | 141.6 | 23.65 | 977.515 | 43.8974 | 0.46925
2020-09-27 15:00:00 | 4.303 | 142.9 | 4.504 | 159.4 | 4.094 | 150.155 | 4.09 | 150.8 | 23.8 | 977.515 | 42.1947 | 0.47294
2020-09-27 15:15:00 | 4.839 | 149 | 4.66 | 163.8 | 4.255 | 154.3 | 4.202 | 153.2 | 23.56 | 977.367 | 43.0128 | -0.1404
2020-09-27 15:30:00 | 4.514 | 149.3 | 4.269 | 163.5 | 3.598 | 154.017 | 3.422 | 154.7 | 23.65 | 977.515 | 41.7519 | -0.084981
2020-09-27 15:45:00 | 3.286 | 137.8 | 3.144 | 164.1 | 2.5 | 154.582 | 2.327 | 153.8 | 23.55 | 977.218 | 42.1268 | -0.15888
2020-09-27 16:00:00 | 3.233 | 149.9 | 3.18 | 176.3 | 2.767 | 166.075 | 2.681 | 162.3 | 23.65 | 977.218 | 43.456 | -0.22169
2020-09-27 16:15:00 | 1.752 | 138.5 | 1.851 | 195.7 | 1.355 | 184.349 | 1.216 | 172.8 | 24.06 | 976.625 | 44.1036 | -0.25864
2020-09-27 16:30:00 | 2.748 | 149.1 | 2.592 | 172.8 | 2.215 | 162.778 | 2.126 | 160.7 | 23.69 | 976.922 | 43.0811 | -0.24016
2020-09-27 16:45:00 | 2.173 | 136.3 | 2.099 | 158.1 | 1.537 | 148.93 | 1.368 | 154.2 | 23.59 | 976.329 | 42.3994 | -0.24016
2020-09-27 17:00:00 | 2.066 | 138.2 | 2.152 | 168.8 | 1.747 | 159.01 | 1.603 | 154.8 | 23.37 | 976.065 | 43.0811 | -0.25125
2020-09-27 17:15:00 | 1.657 | 137.6 | 1.822 | 156.9 | 1.426 | 147.8 | 1.237 | 144.7 | 23.21 | 975.585 | 43.5645 | -0.25125
2020-09-27 17:30:00 | 1.657 | 141.9 | 1.771 | 156.9 | 1.279 | 147.8 | 1.057 | 145.2 | 23.1 | 975.143 | 42.8839 | -0.25125
2020-09-27 17:45:00 | 1.379 | 137.5 | 1.549 | 157 | 1.398 | 147.894 | 1.235 | 145.2 | 23.02 | 974.698 | 43.3673 | -0.24016
2020-09-27 18:00:00 | 1.507 | 143.7 | 1.761 | 157 | 1.447 | 147.894 | 1.329 | 146.3 | 22.94 | 974.401 | 43.9873 | -0.25125
2020-09-27 18:15:00 | 1.555 | 143.7 | 1.897 | 163.8 | 1.551 | 154.3 | 1.431 | 147.4 | 22.81 | 974.253 | 44.8082 | -0.24016
2020-09-27 18:30:00 | 1.537 | 143.8 | 1.851 | 174.3 | 1.401 | 164.191 | 1.235 | 155.2 | 22.81 | 974.183 | 43.1034 | -0.24016
2020-09-27 18:45:00 | 0.618 | 143.8 | 1.143 | 174.3 | 0.761 | 164.191 | 0.4 | 155.2 | 22.86 | 974.401 | 41.9839 | -0.25125
2020-09-27 19:00:00 | 0 | 143.8 | 0.409 | 174.3 | 0.264 | 164.191 | 0 | 155.2 | 22.83 | 974.551 | 43.6562 | -0.24016
2020-09-27 19:15:00 | 1.287 | 53.14 | 1.366 | 37.04 | 0.368 | 34.8917 | 0.182 | 119.8 | 22.36 | 974.848 | 45.8731 | -0.24016
2020-09-27 19:30:00 | 1.803 | 34.51 | 1.799 | 32.19 | 0.656 | 30.323 | 0.369 | 22.87 | 22.26 | 974.848 | 51.9099 | -0.24016
2020-09-27 19:45:00 | 2.291 | 15.71 | 2.748 | 32.1 | 1.854 | 30.2382 | 1.711 | 18.96 | 22.06 | 974.848 | 51.5007 | -0.25125
2020-09-27 20:00:00 | 1.867 | 17.16 | 2.666 | 33.24 | 2.718 | 31.3121 | 2.643 | 23.77 | 22.06 | 974.848 | 52.0123 | -0.2845
2020-09-27 20:15:00 | 1.251 | 15.88 | 2.285 | 33.63 | 2.428 | 31.6795 | 2.406 | 20.77 | 21.94 | 974.848 | 53.1378 | -0.24016
2020-09-27 20:30:00 | 2.702 | 15.05 | 3.42 | 29.71 | 3.609 | 27.9868 | 3.593 | 17.91 | 21.66 | 974.848 | 55.2524 | -0.13671
2020-09-27 20:45:00 | 2.525 | 9.78 | 3.505 | 28.63 | 3.301 | 26.9695 | 3.348 | 14.89 | 21.46 | 974.848 | 55.5252 | 0.83503
2020-09-27 21:00:00 | 2.497 | 20.6 | 3.272 | 33.45 | 3.565 | 31.5099 | 3.601 | 24.02 | 21.46 | 974.848 | 55.1854 | 1.5592
2020-09-27 21:15:00 | 1.925 | 22.91 | 2.932 | 40.04 | 3.151 | 37.7177 | 3.208 | 26.95 | 21.6 | 974.848 | 54.0937 | 0.68355
2020-09-27 21:30:00 | 2.145 | 23.11 | 2.919 | 41.56 | 2.942 | 39.1495 | 2.946 | 27.88 | 21.62 | 974.996 | 54.5728 | 0.62812
2020-09-27 21:45:00 | 1.877 | 25.41 | 2.891 | 42.55 | 2.891 | 40.0821 | 2.921 | 29.32 | 21.54 | 974.996 | 54.9822 | 0.42491
2020-09-27 22:00:00 | 2.096 | 24.12 | 2.866 | 40.76 | 3.097 | 38.3959 | 3.157 | 28.29 | 21.55 | 974.996 | 54.7772 | 0.31776
2020-09-27 22:15:00 | 1.752 | 32.99 | 2.697 | 48.15 | 2.902 | 45.3573 | 2.926 | 40.16 | 21.47 | 974.848 | 55.1528 | -0.036949
2020-09-27 22:30:00 | 1.869 | 31.36 | 2.001 | 47.54 | 2.311 | 44.7827 | 2.342 | 37.16 | 21.46 | 974.863 | 55.2242 | -0.24016
2020-09-27 22:45:00 | 2.431 | 44.67 | 1.989 | 60.31 | 1.671 | 56.812 | 1.739 | 51.74 | 21.52 | 974.996 | 55.3636 | -0.24016
2020-09-27 23:00:00 | 2.446 | 63.98 | 2.809 | 77.51 | 2.523 | 73.0144 | 2.505 | 69.88 | 21.65 | 974.874 | 54.8503 | -0.25125
2020-09-27 23:15:00 | 0.914 | 112.5 | 1.154 | 161.2 | 0.572 | 151.85 | 0.6 | 111.4 | 21.17 | 974.849 | 56.4198 | -0.24016
2020-09-27 23:30:00 | 0.221 | 88.2 | 1.71 | 107.7 | 2.332 | 101.453 | 2.266 | 92.3 | 21.14 | 974.912 | 54.5796 | -0.24016
2020-09-27 23:45:00 | 2.326 | 101.8 | 2.684 | 116.2 | 2.273 | 109.46 | 2.238 | 110.9 | 21.58 | 974.956 | 53.2492 | -0.24016