## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-28 00:00:00 | 1.987 | 126.9 | 2.556 | 139.5 | 2.258 | 131.409 | 2.197 | 135.3 | 21.8 | 974.889 | 53.5562 | 0.048033
2020-09-28 00:15:00 | 4.144 | 124.4 | 4.591 | 143 | 4.407 | 134.706 | 4.298 | 127.3 | 20.44 | 974.757 | 59.6282 | 12.3925
2020-09-28 00:30:00 | 5.84 | 123.2 | 6.222 | 138.4 | 5.417 | 130.373 | 5.22 | 128 | 20.2 | 974.358 | 56.5581 | 15.7844
2020-09-28 00:45:00 | 6.353 | 128.7 | 6.516 | 143.4 | 5.933 | 135.083 | 5.742 | 132.9 | 20.3 | 974.592 | 53.795 | 11.9713
2020-09-28 01:00:00 | 5.852 | 143.3 | 5.992 | 158.3 | 5.783 | 149.119 | 5.628 | 149.2 | 19.89 | 974.486 | 56.2852 | 12.2928
2020-09-28 01:15:00 | 5.934 | 153 | 6.578 | 163.3 | 6.353 | 153.829 | 6.244 | 162.9 | 19.62 | 974.688 | 56.6945 | 11.7459
2020-09-28 01:30:00 | 5.725 | 153 | 6.141 | 164 | 5.877 | 154.488 | 5.76 | 163.8 | 19.61 | 974.551 | 56.9674 | 13.3236
2020-09-28 01:45:00 | 5.868 | 144.8 | 6.061 | 159.7 | 6.355 | 150.437 | 6.374 | 153 | 19.43 | 974.255 | 60.6515 | 15.5701
2020-09-28 02:00:00 | 6.317 | 139.9 | 6.887 | 154.8 | 6.971 | 145.822 | 6.674 | 147.8 | 18.88 | 974.255 | 65.7343 | 19.2243
2020-09-28 02:15:00 | 5.595 | 152.7 | 6.003 | 167.7 | 7.004 | 157.973 | 7.186 | 158.3 | 19.17 | 973.958 | 64.2674 | 22.9228
2020-09-28 02:30:00 | 5.794 | 152.3 | 6.547 | 167.8 | 7.246 | 158.068 | 7.171 | 158.9 | 18.66 | 973.958 | 67.474 | 24.6077
2020-09-28 02:45:00 | 4.959 | 154.4 | 5.376 | 171.1 | 6.271 | 161.176 | 6.389 | 156.2 | 18.67 | 973.958 | 68.5656 | 23.5953
2020-09-28 03:00:00 | 4.897 | 143.3 | 5.732 | 160.9 | 6.597 | 151.568 | 6.573 | 149.8 | 18.46 | 973.958 | 69.455 | 29.1782
2020-09-28 03:15:00 | 5.487 | 139.8 | 5.967 | 160.1 | 6.956 | 150.814 | 7.1 | 146.7 | 18.35 | 973.661 | 70.3405 | 32.4777
2020-09-28 03:30:00 | 5.143 | 143.4 | 5.931 | 160.3 | 6.419 | 151.003 | 6.557 | 148.4 | 18.13 | 973.513 | 71.5 | 34.4286
2020-09-28 03:45:00 | 6.401 | 144.8 | 6.992 | 158.8 | 7.223 | 149.59 | 7.179 | 151.5 | 18.17 | 973.513 | 72.1152 | 34.6503
2020-09-28 04:00:00 | 5.209 | 145 | 5.844 | 160.9 | 6.823 | 151.568 | 6.888 | 151 | 17.94 | 973.364 | 71.8454 | 36.4312
2020-09-28 04:15:00 | 5.589 | 140.8 | 6.161 | 158.2 | 7.05 | 149.024 | 7.072 | 147.4 | 18.02 | 973.364 | 71.5751 | 35.0308
2020-09-28 04:30:00 | 5.832 | 143.9 | 6.624 | 162.3 | 7.197 | 152.887 | 7.204 | 148.2 | 18.07 | 973.364 | 71.0296 | 36.1134
2020-09-28 04:45:00 | 5.978 | 142.8 | 6.519 | 159.4 | 7.429 | 150.155 | 7.438 | 147.6 | 17.89 | 973.364 | 70.9968 | 35.6146
2020-09-28 05:00:00 | 6.187 | 143.8 | 6.534 | 162 | 7.759 | 152.604 | 7.92 | 149.5 | 17.9 | 973.364 | 72.1936 | 38.3377
2020-09-28 05:15:00 | 5.63 | 143.4 | 6.511 | 160.5 | 7.619 | 151.191 | 7.665 | 148.7 | 17.77 | 973.216 | 72.81 | 37.2995
2020-09-28 05:30:00 | 6.606 | 144.8 | 6.897 | 163.6 | 7.876 | 154.111 | 7.925 | 149.2 | 17.68 | 973.364 | 74.1125 | 36.3499
2020-09-28 05:45:00 | 5.99 | 142.6 | 6.463 | 162.4 | 7.215 | 152.981 | 7.268 | 146.8 | 17.66 | 973.364 | 73.7037 | 37.1258
2020-09-28 06:00:00 | 6.026 | 139.6 | 6.199 | 155.4 | 6.811 | 146.387 | 6.84 | 145.6 | 17.59 | 973.364 | 74.4539 | 34.8535
2020-09-28 06:15:00 | 5.518 | 145.6 | 6.205 | 164.8 | 7.235 | 155.242 | 7.296 | 149.6 | 17.55 | 973.661 | 75.4131 | 31.2621
2020-09-28 06:30:00 | 4.959 | 140.6 | 5.284 | 161.6 | 6.177 | 152.227 | 6.15 | 143.4 | 17.68 | 973.809 | 75.0328 | 33.6083
2020-09-28 06:45:00 | 4.943 | 141 | 5.473 | 162.8 | 6.64 | 153.358 | 6.634 | 146.3 | 17.67 | 974.255 | 75.223 | 35.6331
2020-09-28 07:00:00 | 6.212 | 144.3 | 6.509 | 160.8 | 7.335 | 151.474 | 7.459 | 148 | 17.86 | 974.403 | 75.253 | 33.8115
2020-09-28 07:15:00 | 6.542 | 144 | 6.642 | 158.6 | 6.912 | 149.401 | 7.018 | 151.7 | 18.01 | 974.552 | 75.1834 | 30.6746
2020-09-28 07:30:00 | 5.835 | 144.2 | 6.212 | 161.5 | 6.9 | 152.133 | 6.967 | 150.8 | 18.12 | 974.552 | 75.6609 | 27.3492
2020-09-28 07:45:00 | 6.069 | 145.2 | 6.286 | 163.8 | 6.905 | 154.3 | 6.919 | 151.9 | 18.27 | 974.915 | 75.0469 | 24.7333
2020-09-28 08:00:00 | 6.435 | 144.6 | 6.529 | 161.4 | 6.31 | 152.039 | 6.275 | 152.8 | 18.53 | 974.849 | 74.6937 | 22.3612
2020-09-28 08:15:00 | 6.218 | 148.2 | 6.253 | 164.1 | 6.518 | 154.582 | 6.573 | 153 | 18.67 | 975.293 | 74.2838 | 20.8168
2020-09-28 08:30:00 | 6.858 | 152.1 | 6.759 | 168.9 | 6.722 | 159.104 | 6.659 | 157.7 | 18.67 | 975.293 | 74.0762 | 17.8904
2020-09-28 08:45:00 | 7.456 | 152.5 | 7.089 | 166 | 6.564 | 156.372 | 6.458 | 160.1 | 18.74 | 975.533 | 73.3183 | 15.7659
2020-09-28 09:00:00 | 7.216 | 153.6 | 6.782 | 167.9 | 6.231 | 158.162 | 6.155 | 161.8 | 19.13 | 975.338 | 73.0435 | 15.0528
2020-09-28 09:15:00 | 6.866 | 150.5 | 6.516 | 162.8 | 5.773 | 153.358 | 5.668 | 161.3 | 19.2 | 975.738 | 72.4297 | 13.8889
2020-09-28 09:30:00 | 6.917 | 153.5 | 6.621 | 165.1 | 5.282 | 155.524 | 5.075 | 163.6 | 19.39 | 975.588 | 72.9071 | 10.8259
2020-09-28 09:45:00 | 6.177 | 152.4 | 6.166 | 166.2 | 5.826 | 156.56 | 5.842 | 161.6 | 19.64 | 975.737 | 72.9061 | 9.747
2020-09-28 10:00:00 | 7.019 | 154.9 | 6.568 | 168.3 | 5.445 | 158.539 | 5.251 | 161.5 | 19.75 | 975.737 | 70.9887 | 7.083
2020-09-28 10:15:00 | 6.22 | 164.4 | 5.913 | 180.2 | 5.224 | 169.748 | 5.386 | 173.6 | 21.02 | 975.737 | 67.8146 | 6.8429
2020-09-28 10:30:00 | 5.847 | 153.9 | 5.614 | 167.6 | 4.84 | 157.879 | 4.866 | 165.4 | 21.09 | 975.885 | 67.3707 | 3.7835
2020-09-28 10:45:00 | 6.202 | 190 | 5.719 | 200.7 | 4.542 | 189.059 | 4.451 | 192 | 21 | 975.44 | 66.5154 | 3.2773
2020-09-28 11:00:00 | 5.434 | 191.8 | 4.985 | 208.4 | 3.69 | 196.313 | 3.593 | 194.4 | 21.44 | 975.292 | 60.2737 | 2.2021
2020-09-28 11:15:00 | 5.214 | 186.8 | 4.479 | 201 | 3.815 | 189.342 | 3.774 | 187.4 | 21.55 | 975.44 | 59.1799 | 1.925
2020-09-28 11:30:00 | 4.172 | 197 | 3.975 | 209.3 | 3.479 | 197.161 | 3.478 | 200.8 | 22.16 | 975.292 | 59.4171 | 1.4742
2020-09-28 11:45:00 | 4.875 | 190.7 | 4.463 | 205.2 | 3.728 | 193.298 | 3.774 | 191.5 | 22.14 | 975.292 | 55.769 | 1.2008
2020-09-28 12:00:00 | 4.892 | 182.6 | 4.673 | 196.4 | 4.066 | 185.009 | 3.96 | 184.9 | 22.33 | 975.292 | 56.7226 | 0.89046
2020-09-28 12:15:00 | 4.864 | 193.9 | 4.837 | 208.7 | 4.382 | 196.595 | 4.344 | 195.9 | 22.42 | 974.842 | 55.1541 | 0.63921
2020-09-28 12:30:00 | 5.337 | 200.8 | 4.732 | 212.3 | 4.219 | 199.987 | 4.227 | 203.8 | 22.38 | 974.542 | 51.5425 | 1.1639
2020-09-28 12:45:00 | 4.42 | 155.9 | 4.599 | 168 | 3.848 | 158.256 | 3.692 | 161.5 | 22.47 | 974.252 | 52.0879 | 0.53945
2020-09-28 13:00:00 | 5.5 | 182.5 | 5.179 | 195.6 | 4.443 | 184.255 | 4.423 | 190 | 22.63 | 973.956 | 45.8497 | 1.2415
2020-09-28 13:15:00 | 5.62 | 179.9 | 5.481 | 195.4 | 4.967 | 184.067 | 4.925 | 184.1 | 22.7 | 973.956 | 48.2018 | 0.55792
2020-09-28 13:30:00 | 4.522 | 147.4 | 4.53 | 159.2 | 4.214 | 149.966 | 4.072 | 155 | 22.61 | 974.105 | 48.1336 | 0.787
2020-09-28 13:45:00 | 4.4 | 192.6 | 4.676 | 204.3 | 4.25 | 192.451 | 4.255 | 193.1 | 23.02 | 973.511 | 51.0653 | 0.15518
2020-09-28 14:00:00 | 5.577 | 185 | 5.19 | 197.3 | 4.453 | 185.857 | 4.441 | 191.3 | 23.05 | 973.511 | 49.4631 | 0.43969
2020-09-28 14:15:00 | 4.221 | 190.7 | 3.985 | 201.7 | 3.387 | 190.001 | 3.438 | 193.9 | 22.73 | 973.066 | 49.6335 | 0.36579
2020-09-28 14:30:00 | 3.779 | 154.4 | 3.525 | 168.7 | 3.306 | 158.915 | 3.239 | 159.6 | 22.73 | 973.808 | 48.8154 | -0.20691
2020-09-28 14:45:00 | 4.489 | 136.3 | 4.484 | 153.9 | 4.143 | 144.974 | 4.044 | 147.4 | 23.26 | 973.779 | 48.232 | -0.10715
2020-09-28 15:00:00 | 3.195 | 190.3 | 3.65 | 205 | 3.586 | 193.11 | 3.562 | 189.7 | 23.33 | 973.419 | 47.9895 | 0.051728
2020-09-28 15:15:00 | 4.169 | 160.4 | 4.175 | 177.6 | 4.176 | 167.299 | 4.13 | 164.9 | 23.38 | 972.804 | 47.5119 | 0.15888
2020-09-28 15:30:00 | 2.344 | 136.6 | 3.114 | 149.1 | 2.942 | 140.452 | 2.913 | 139.5 | 23.08 | 973.097 | 48.3981 | -0.24016
2020-09-28 15:45:00 | 2.531 | 125.2 | 2.579 | 141.5 | 2.21 | 133.293 | 2.134 | 128.9 | 22.95 | 972.821 | 49.0798 | -0.26972
2020-09-28 16:00:00 | 2.525 | 139.3 | 2.72 | 155.1 | 2.609 | 146.104 | 2.587 | 139.6 | 22.78 | 972.759 | 48.0653 | -0.25125
2020-09-28 16:15:00 | 2.156 | 142.8 | 2.433 | 156.5 | 2.197 | 147.423 | 2.134 | 146.3 | 23 | 972.77 | 47.7927 | -0.25125
2020-09-28 16:30:00 | 2.697 | 150.5 | 3.08 | 166.5 | 2.757 | 156.843 | 2.73 | 155.6 | 22.8 | 972.025 | 47.6564 | -0.25125
2020-09-28 16:45:00 | 2.464 | 141.2 | 2.784 | 159.1 | 2.769 | 149.872 | 2.755 | 145.4 | 22.62 | 971.731 | 48.5135 | -0.25864
2020-09-28 17:00:00 | 2.668 | 140.3 | 2.855 | 157.4 | 2.668 | 148.271 | 2.587 | 143.7 | 22.55 | 971.583 | 48.8919 | -0.25864
2020-09-28 17:15:00 | 2.451 | 140.8 | 2.684 | 157.2 | 2.779 | 148.082 | 2.709 | 146 | 22.43 | 971.435 | 49.2344 | -0.25864
2020-09-28 17:30:00 | 2.694 | 138.7 | 2.809 | 155.5 | 2.807 | 146.481 | 2.796 | 144.1 | 22.4 | 970.99 | 50.196 | -0.18474
2020-09-28 17:45:00 | 2.247 | 146.6 | 2.602 | 163.3 | 3.214 | 153.829 | 3.259 | 151.5 | 22.17 | 970.99 | 51.6965 | -0.2143
2020-09-28 18:00:00 | 2.893 | 159.2 | 3.318 | 173.9 | 3.448 | 163.814 | 3.445 | 162.6 | 22.03 | 971.217 | 51.4245 | -0.12193
2020-09-28 18:15:00 | 3.514 | 162.1 | 3.63 | 178 | 3.245 | 167.676 | 3.262 | 163.8 | 22.17 | 971.433 | 51.2226 | -0.048033
2020-09-28 18:30:00 | 3.09 | 161.2 | 3.323 | 172.8 | 3.382 | 162.778 | 3.366 | 170 | 22.14 | 971.435 | 50.5447 | 0.055423
2020-09-28 18:45:00 | 3.09 | 164.9 | 3.525 | 175.7 | 3.583 | 165.509 | 3.623 | 169.9 | 22.08 | 971.583 | 49.1812 | 0.036948
2020-09-28 19:00:00 | 3.92 | 170.6 | 3.806 | 182.8 | 3.865 | 172.198 | 3.962 | 177.4 | 22.27 | 971.731 | 49.5563 | -0.084981
2020-09-28 19:15:00 | 2.426 | 189.8 | 2.904 | 199.2 | 2.675 | 187.646 | 2.694 | 195.7 | 21.96 | 971.88 | 51.9776 | -0.1404
2020-09-28 19:30:00 | 2.359 | 200.2 | 2.72 | 205.7 | 2.991 | 193.769 | 3.104 | 212.2 | 21.81 | 972.325 | 52.933 | -0.16627
2020-09-28 19:45:00 | 2.464 | 221.6 | 3.106 | 223.9 | 3.492 | 210.914 | 3.519 | 227.5 | 21.74 | 972.473 | 53.4788 | -0.20322
2020-09-28 20:00:00 | 2.283 | 241.4 | 2.873 | 253.1 | 2.853 | 238.42 | 2.765 | 243 | 21.84 | 972.622 | 53.6835 | -0.26972
2020-09-28 20:15:00 | 1.91 | 241.2 | 2.441 | 252.1 | 2.385 | 237.478 | 2.302 | 241.8 | 21.93 | 972.77 | 54.7067 | -0.17366
2020-09-28 20:30:00 | 2.497 | 227.9 | 2.968 | 242.2 | 2.848 | 228.152 | 2.877 | 228.4 | 21.92 | 972.77 | 52.1146 | -0.018474
2020-09-28 20:45:00 | 2.525 | 206.3 | 2.83 | 217.9 | 2.937 | 205.262 | 3.022 | 209.3 | 21.79 | 972.77 | 53.6152 | 0.070202
2020-09-28 21:00:00 | 2.26 | 210.4 | 2.579 | 218.1 | 2.434 | 205.45 | 2.472 | 217.9 | 21.66 | 972.622 | 50.1364 | -0.096066
2020-09-28 21:15:00 | 1.869 | 199.6 | 2.382 | 207.7 | 2.444 | 195.653 | 2.495 | 211.6 | 21.67 | 972.473 | 50.2387 | -0.22169
2020-09-28 21:30:00 | 1.956 | 190.3 | 2.265 | 200.2 | 2.139 | 188.588 | 2.195 | 198.4 | 21.66 | 972.473 | 49.045 | -0.20691
2020-09-28 21:45:00 | 2.439 | 192.4 | 2.799 | 206.4 | 2.856 | 194.429 | 2.977 | 201.1 | 21.67 | 972.473 | 48.9086 | -0.22539
2020-09-28 22:00:00 | 2.589 | 191.4 | 3.016 | 204.9 | 2.739 | 193.016 | 2.844 | 200.4 | 21.68 | 972.473 | 48.8404 | -0.22539
2020-09-28 22:15:00 | 2.201 | 186.2 | 2.748 | 201.5 | 2.82 | 189.813 | 2.946 | 192.4 | 21.67 | 972.473 | 50.2046 | -0.25864
2020-09-28 22:30:00 | 2.104 | 179.4 | 2.595 | 198.1 | 2.769 | 186.61 | 2.796 | 188.8 | 21.49 | 972.325 | 51.1596 | -0.24016
2020-09-28 22:45:00 | 1.175 | 196.5 | 2.093 | 200 | 2.075 | 188.4 | 2.172 | 214.5 | 21.55 | 972.325 | 49.4884 | -0.24016
2020-09-28 23:00:00 | 2.288 | 201 | 2.84 | 213.4 | 2.935 | 201.023 | 3.114 | 210 | 21.68 | 972.622 | 49.5225 | -0.24016
2020-09-28 23:15:00 | 2.27 | 201.1 | 2.63 | 210.4 | 2.558 | 198.197 | 2.694 | 212 | 21.63 | 972.325 | 50.6139 | -0.24016
2020-09-28 23:30:00 | 2.824 | 206.2 | 3.269 | 217.6 | 3.314 | 204.979 | 3.432 | 212.6 | 21.48 | 971.88 | 52.1828 | -0.19952
2020-09-28 23:45:00 | 2.857 | 182.5 | 3.5 | 187.5 | 3.609 | 176.625 | 3.644 | 192.6 | 20.96 | 972.028 | 57.2988 | 0.22908