## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-29 00:00:00 | 3.56 | 179 | 4.389 | 188.7 | 4.369 | 177.755 | 4.41 | 186.7 | 20.37 | 971.286 | 60.1637 | 2.0211
2020-09-29 00:15:00 | 4.752 | 157 | 4.936 | 170.6 | 4.763 | 160.705 | 4.683 | 165.7 | 19.84 | 970.693 | 59.3465 | 3.7761
2020-09-29 00:30:00 | 3.891 | 143.2 | 4.691 | 157.7 | 4.677 | 148.553 | 4.466 | 153 | 19.69 | 970.735 | 58.3315 | 0.29189
2020-09-29 00:45:00 | 3.514 | 150.4 | 3.85 | 163.7 | 3.675 | 154.205 | 3.466 | 163.7 | 19.85 | 970.754 | 57.9908 | -0.19213
2020-09-29 01:00:00 | 1.842 | 167.4 | 2.363 | 184 | 2.235 | 173.328 | 2.322 | 174.9 | 19.74 | 971.474 | 59.287 | -0.24016
2020-09-29 01:15:00 | 1.185 | 265.4 | 1.367 | 292.4 | 1.303 | 275.441 | 1.393 | 268.3 | 19.66 | 971.545 | 59.4235 | -0.24016
2020-09-29 01:30:00 | 2.234 | 279 | 2.073 | 306.5 | 1.877 | 288.723 | 1.922 | 269.5 | 19.52 | 971.555 | 60.174 | -0.27711
2020-09-29 01:45:00 | 1.905 | 330.9 | 2.206 | 3.38 | 2.271 | 3.184 | 2.335 | 326.4 | 18.97 | 970.957 | 69.1796 | -0.2882
2020-09-29 02:00:00 | 2.653 | 325.6 | 3.316 | 341.4 | 3.108 | 321.599 | 3.135 | 324.9 | 18.61 | 971.286 | 61.5726 | -0.17735
2020-09-29 02:15:00 | 2.025 | 330.4 | 2.254 | 344.9 | 2.108 | 324.896 | 2.111 | 323.2 | 19.53 | 970.989 | 61.095 | -0.24016
2020-09-29 02:30:00 | 0.502 | 323.7 | 1.677 | 339.5 | 1.421 | 319.809 | 1.431 | 323.2 | 19.7 | 970.989 | 58.9459 | -0.24016
2020-09-29 02:45:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.8543 | -0.24016
2020-09-29 03:00:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.24016
2020-09-29 03:15:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.24016
2020-09-29 03:30:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.24016
2020-09-29 03:45:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.22539
2020-09-29 04:00:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.24016
2020-09-29 04:15:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.24016
2020-09-29 04:30:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.24016
2020-09-29 04:45:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.22539
2020-09-29 05:00:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.22539
2020-09-29 05:15:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.22539
2020-09-29 05:30:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.22539
2020-09-29 05:45:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.24016
2020-09-29 06:00:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.25125
2020-09-29 06:15:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.17366
2020-09-29 06:30:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | 0.073897
2020-09-29 06:45:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.029559
2020-09-29 07:00:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | 0.10715
2020-09-29 07:15:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | 0.10346
2020-09-29 07:30:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.014779
2020-09-29 07:45:00 | 0.257 | 323.8 | 0.683 | 339.5 | 0 | 319.809 | 0 | 323.2 | 19.9 | 970.989 | 57.7861 | -0.1404
2020-09-29 08:00:00 | 0.753 | 164 | 1.424 | 163 | 0.025 | 153.546 | 0 | 347.5 | 20.23 | 971.65 | 54.2385 | -0.23647
2020-09-29 08:15:00 | 0 | 164 | 0 | 163 | 0 | 153.546 | 0 | 347.6 | 20.71 | 971.886 | 51.5083 | -0.22539
2020-09-29 08:30:00 | 0 | 164 | 0 | 163 | 0 | 153.546 | 0 | 347.5 | 21.22 | 971.88 | 51.0917 | -0.22539
2020-09-29 08:45:00 | 0 | 164 | 0.27 | 163 | 0 | 153.546 | 0 | 347.5 | 21.38 | 972.474 | 52.251 | -0.22539
2020-09-29 09:00:00 | 1.313 | 201.6 | 2.006 | 216.7 | 1.604 | 204.131 | 1.586 | 213.8 | 20.97 | 972.622 | 58.6261 | -0.22539
2020-09-29 09:15:00 | 1.115 | 173 | 1.779 | 192.1 | 1.157 | 180.958 | 1.073 | 182 | 19.76 | 972.621 | 65.9549 | -0.24016
2020-09-29 09:30:00 | 0.763 | 150.8 | 1.494 | 169.3 | 0.816 | 159.481 | 0.549 | 166.5 | 19.79 | 972.473 | 66.2964 | -0.19583
2020-09-29 09:45:00 | 0.436 | 152.8 | 1.114 | 171 | 0.239 | 161.082 | 0.234 | 166.5 | 20.27 | 972.454 | 62.2705 | -0.24016
2020-09-29 10:00:00 | 1.227 | 150.2 | 1.251 | 170.6 | 0 | 160.705 | 0 | 166.5 | 20.68 | 972.729 | 64.0409 | -0.22539
2020-09-29 10:15:00 | 0.445 | 132.4 | 0.92 | 146.8 | 0.006 | 138.286 | 0 | 166.5 | 20.92 | 972.921 | 60.5627 | -0.22539
2020-09-29 10:30:00 | 1.432 | 321.4 | 1.788 | 311.5 | 1.162 | 293.433 | 1.036 | 320.1 | 20.85 | 972.622 | 66.2907 | -0.22539
2020-09-29 10:45:00 | 1.844 | 313.4 | 2.134 | 312.3 | 1.406 | 294.187 | 1.323 | 325.9 | 20.61 | 972.622 | 69.4263 | -0.24016
2020-09-29 11:00:00 | 1.917 | 341.8 | 2.201 | 329.3 | 1.474 | 310.201 | 1.241 | 347.7 | 20.69 | 972.177 | 60.2193 | -0.25125
2020-09-29 11:15:00 | 0.686 | 12.55 | 1.444 | 341.6 | 1.957 | 321.787 | 1.734 | 13.11 | 21.36 | 972.622 | 57.4192 | -0.22539
2020-09-29 11:30:00 | 1.292 | 19.86 | 2.075 | 27.07 | 2.535 | 25.4999 | 2.32 | 19.43 | 21.23 | 972.473 | 63.0072 | -0.24755
2020-09-29 11:45:00 | 1.052 | 22.56 | 1.781 | 6.387 | 2.308 | 6.0165 | 1.991 | 23.62 | 21.77 | 972.77 | 60.5523 | -0.26233
2020-09-29 12:00:00 | 2.572 | 7.203 | 2.65 | 5.424 | 2.866 | 5.1094 | 2.627 | 18.09 | 21.57 | 972.473 | 58.5666 | -0.24755
2020-09-29 12:15:00 | 2.808 | 341.8 | 3.626 | 338.8 | 2.959 | 319.15 | 2.675 | 1.132 | 21.68 | 972.473 | 57.4059 | 0.23647
2020-09-29 12:30:00 | 2.652 | 355.9 | 3.451 | 341.8 | 2.923 | 321.976 | 2.777 | 17.29 | 21.82 | 972.177 | 60.542 | 2.7822
2020-09-29 12:45:00 | 4.576 | 11.41 | 5.9 | 34.39 | 5.152 | 32.3954 | 5.307 | 4.051 | 20.91 | 971.88 | 67.8371 | 8.5536
2020-09-29 13:00:00 | 4.154 | 10.45 | 5.287 | 28.38 | 4.949 | 26.734 | 5.149 | 7.138 | 20.2 | 971.583 | 64.2253 | 11.4651
2020-09-29 13:15:00 | 3.838 | 9.07 | 4.798 | 29.81 | 4.845 | 28.081 | 5.062 | 2.189 | 20.36 | 971.287 | 71.9057 | 10.268
2020-09-29 13:30:00 | 4.088 | 9.33 | 5.057 | 25.21 | 4.552 | 23.7478 | 4.716 | 1.969 | 20.29 | 970.99 | 69.417 | 10.2347
2020-09-29 13:45:00 | 4.951 | 6.762 | 5.522 | 30.16 | 5.04 | 28.4107 | 5.236 | 5.737 | 20.25 | 970.545 | 67.3794 | 12.8728
2020-09-29 14:00:00 | 4.701 | 2.293 | 5.478 | 27.51 | 5.618 | 25.9144 | 5.877 | 358.4 | 20.25 | 970.248 | 69.9744 | 14.6057
2020-09-29 14:15:00 | 5.084 | 3.847 | 5.397 | 25.04 | 5.521 | 23.5877 | 5.796 | 359.7 | 19.9 | 970.384 | 70.7246 | 14.3286
2020-09-29 14:30:00 | 5.316 | 7.444 | 5.471 | 23.25 | 5.526 | 21.9015 | 5.77 | 3.776 | 19.69 | 970.097 | 70.934 | 12.677
2020-09-29 14:45:00 | 5.513 | 8.37 | 5.877 | 22.19 | 5.608 | 20.903 | 5.646 | 6.668 | 19.63 | 970.248 | 69.8496 | 13.7079
2020-09-29 15:00:00 | 5.242 | 9.89 | 6.015 | 26.31 | 5.559 | 24.784 | 5.595 | 8.23 | 19.71 | 970.396 | 68.9632 | 12.4923
2020-09-29 15:15:00 | 4.77 | 13.04 | 6.417 | 30.33 | 5.363 | 28.5709 | 4.981 | 14.44 | 19.78 | 970.099 | 67.4625 | 12.8728
2020-09-29 15:30:00 | 5.967 | 6.462 | 5.729 | 18.92 | 5.653 | 17.8226 | 5.671 | 4.944 | 19.82 | 969.951 | 68.8267 | 12.2447
2020-09-29 15:45:00 | 5.949 | 8.64 | 5.801 | 19.78 | 6.177 | 18.6328 | 6.196 | 4.86 | 19.63 | 970.099 | 69.7817 | 11.6055
2020-09-29 16:00:00 | 6.064 | 7.121 | 5.841 | 18.66 | 6.386 | 17.5777 | 6.883 | 3.738 | 19.55 | 970.111 | 71.5602 | 13.597
2020-09-29 16:15:00 | 5.245 | 356 | 5.701 | 19.66 | 6.551 | 18.5197 | 6.764 | 355.5 | 19.49 | 970.396 | 74.2922 | 15.9285
2020-09-29 16:30:00 | 6.373 | 0.869 | 6.762 | 20.68 | 7.378 | 19.4806 | 7.657 | 359.6 | 19.3 | 970.116 | 76.7497 | 19.3167
2020-09-29 16:45:00 | 7.198 | 9.75 | 6.864 | 19.6 | 7.345 | 18.4632 | 7.813 | 3.509 | 19.13 | 970.272 | 78.5263 | 18.5186
2020-09-29 17:00:00 | 5.87 | 2.611 | 6.55 | 20.5 | 7.253 | 19.311 | 7.747 | 4.424 | 18.9 | 970.412 | 81.46 | 20.7872
2020-09-29 17:15:00 | 5.983 | 7.018 | 6.473 | 24.89 | 6.958 | 23.4464 | 7.451 | 2.608 | 18.72 | 970.498 | 83.575 | 20.2293
2020-09-29 17:30:00 | 6.524 | 6.703 | 6.427 | 25.18 | 5.872 | 23.7196 | 5.87 | 5.981 | 18.62 | 970.543 | 85.1441 | 21.4227
2020-09-29 17:45:00 | 6.039 | 2.794 | 6.465 | 23.94 | 7.35 | 22.5515 | 7.897 | 3.451 | 18.41 | 970.396 | 90.6021 | 20.7724
2020-09-29 18:00:00 | 5.916 | 10.65 | 7.23 | 27.81 | 6.793 | 26.197 | 6.389 | 14.86 | 18.04 | 970.692 | 91.9666 | 15.6588
2020-09-29 18:15:00 | 5.13 | 14.34 | 7.657 | 29.04 | 7.296 | 27.3557 | 6.718 | 18.47 | 17.92 | 970.544 | 87.1226 | 11.4947
2020-09-29 18:30:00 | 5.023 | 8.13 | 5.517 | 20.35 | 5.287 | 19.1697 | 4.991 | 7.011 | 17.7 | 970.692 | 89.9207 | 10.7077
2020-09-29 18:45:00 | 4.742 | 7.518 | 5.476 | 20.57 | 5.381 | 19.3769 | 5.052 | 14.55 | 17.25 | 970.692 | 92.9588 | 6.9057
2020-09-29 19:00:00 | 4.55 | 8.4 | 6.005 | 23.45 | 5.608 | 22.0899 | 5.246 | 14.67 | 17.13 | 970.692 | 96.7156 | 6.9389
2020-09-29 19:15:00 | 4.461 | 6.734 | 5.289 | 22.39 | 4.964 | 21.0914 | 4.713 | 12.72 | 17.04 | 970.841 | 99.8939 | 5.8046
2020-09-29 19:30:00 | 4.757 | 6.614 | 5.565 | 22.18 | 5.239 | 20.8936 | 5.09 | 13.37 | 16.98 | 970.989 | 99.9037 | 7.6114
2020-09-29 19:45:00 | 6.189 | 1.773 | 6.051 | 13.49 | 6.388 | 12.7076 | 6.687 | 7.389 | 16.79 | 970.989 | 99.942 | 10.9367
2020-09-29 20:00:00 | 5.847 | 3.972 | 5.606 | 15.74 | 5.918 | 14.8271 | 5.987 | 3.503 | 16.66 | 971.286 | 99.945 | 10.752
2020-09-29 20:15:00 | 5.37 | 5.64 | 5.642 | 20.93 | 5.282 | 19.7161 | 5.312 | 5.92 | 16.59 | 971.583 | 99.912 | 12.3038
2020-09-29 20:30:00 | 5.421 | 2.26 | 5.632 | 19.99 | 5.664 | 18.8306 | 5.91 | 4.012 | 16.51 | 971.583 | 99.8805 | 16.3645
2020-09-29 20:45:00 | 5.717 | 4.902 | 5.583 | 18.35 | 5.496 | 17.2857 | 5.516 | 4.626 | 16.33 | 971.583 | 99.9829 | 14.8237
2020-09-29 21:00:00 | 5.587 | 6.562 | 5.801 | 19.58 | 5.714 | 18.4444 | 5.455 | 7.844 | 16.13 | 971.583 | 99.9488 | 14.857
2020-09-29 21:15:00 | 5.046 | 10.17 | 6.961 | 24.48 | 6.559 | 23.0602 | 6.208 | 18.73 | 15.98 | 971.434 | 99.9147 | 10.3419
2020-09-29 21:30:00 | 3.858 | 9.13 | 5.99 | 22.96 | 6.04 | 21.6283 | 5.635 | 15.48 | 15.84 | 971.286 | 99.9147 | 10.2126
2020-09-29 21:45:00 | 5.441 | 5.055 | 5.279 | 10.96 | 4.799 | 10.3243 | 4.487 | 10.34 | 15.67 | 971.474 | 99.9147 | 8.7088
2020-09-29 22:00:00 | 4.908 | 1.188 | 5.53 | 6.333 | 5.203 | 5.9657 | 5.126 | 5.526 | 15.42 | 971.426 | 99.9147 | 7.5264
2020-09-29 22:15:00 | 5.127 | 359.6 | 5.645 | 7.033 | 5.206 | 6.6251 | 5.549 | 1.907 | 15.23 | 971.549 | 99.9147 | 9.396
2020-09-29 22:30:00 | 4.356 | 356.1 | 4.561 | 9.92 | 4.898 | 9.3446 | 5.052 | 3.238 | 15.15 | 971.581 | 99.9218 | 10.9367
2020-09-29 22:45:00 | 4.333 | 357.6 | 4.553 | 13.9 | 4.921 | 13.0938 | 5.088 | 358 | 15.01 | 971.88 | 99.9252 | 10.3419
2020-09-29 23:00:00 | 3.937 | 359.7 | 4.297 | 15.43 | 4.959 | 14.5351 | 4.912 | 0.657 | 14.85 | 971.583 | 99.9306 | 12.6585
2020-09-29 23:15:00 | 3.871 | 356.5 | 4.152 | 15.86 | 4.382 | 14.9401 | 4.5 | 358.3 | 14.67 | 971.88 | 99.9302 | 13.7596
2020-09-29 23:30:00 | 3.608 | 354.1 | 4.175 | 23.08 | 4.814 | 21.7414 | 4.938 | 354.5 | 14.48 | 971.583 | 99.8972 | 12.8655
2020-09-29 23:45:00 | 4.698 | 2.224 | 4.819 | 23.87 | 5.219 | 22.4855 | 5.488 | 2.148 | 14.29 | 971.88 | 99.9317 | 13.4936