## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-30 00:00:00 | 4.137 | 5.811 | 4.931 | 30.22 | 4.583 | 28.4672 | 4.678 | 4.337 | 14.14 | 971.731 | 99.9296 | 12.847
2020-09-30 00:15:00 | 4.397 | 2.992 | 4.522 | 20.98 | 4.649 | 19.7632 | 4.688 | 4.767 | 14.04 | 971.583 | 99.9307 | 9.9059
2020-09-30 00:30:00 | 3.588 | 9.19 | 4.87 | 25.62 | 5.13 | 24.134 | 4.372 | 13.92 | 14 | 971.583 | 99.9317 | 7.2973
2020-09-30 00:45:00 | 2.822 | 20.43 | 4.402 | 35.38 | 4.969 | 33.328 | 5.042 | 24.7 | 13.94 | 971.583 | 99.9278 | 6.0485
2020-09-30 01:00:00 | 2.434 | 23.84 | 3.709 | 42.02 | 4.412 | 39.5828 | 4.431 | 25.16 | 14 | 971.286 | 99.9312 | 7.8257
2020-09-30 01:15:00 | 2.893 | 32.11 | 4.711 | 46.87 | 5.391 | 44.1515 | 5.404 | 34.26 | 14.14 | 971.583 | 99.9634 | 6.2184
2020-09-30 01:30:00 | 2.265 | 29.41 | 3.471 | 41.59 | 4.344 | 39.1778 | 4.362 | 37.21 | 14.47 | 971.88 | 99.9294 | 2.2834
2020-09-30 01:45:00 | 3.519 | 3.079 | 3.451 | 6.687 | 2.912 | 6.2992 | 2.872 | 5.87 | 14.54 | 971.88 | 99.9294 | 6.2812
2020-09-30 02:00:00 | 3.542 | 337.8 | 3.627 | 350.8 | 4.552 | 330.454 | 4.698 | 342.6 | 14.1 | 971.583 | 99.9306 | 6.3662
2020-09-30 02:15:00 | 3.187 | 345.3 | 4.088 | 354.9 | 4.316 | 334.316 | 4.258 | 350.1 | 13.87 | 971.731 | 99.93 | 6.078
2020-09-30 02:30:00 | 2.343 | 353 | 2.527 | 11.88 | 3.787 | 11.191 | 3.937 | 351.3 | 13.79 | 971.286 | 100 | 5.2504
2020-09-30 02:45:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 6.4918
2020-09-30 03:00:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 5.5755
2020-09-30 03:15:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 5.7935
2020-09-30 03:30:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 5.1913
2020-09-30 03:45:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 5.7381
2020-09-30 04:00:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 5.3871
2020-09-30 04:15:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 6.1039
2020-09-30 04:30:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 6.8687
2020-09-30 04:45:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 4.6149
2020-09-30 05:00:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 3.0076
2020-09-30 05:15:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 0.82026
2020-09-30 05:30:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 0.011085
2020-09-30 05:45:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 0.28081
2020-09-30 06:00:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | 0.34362
2020-09-30 06:15:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | -0.18474
2020-09-30 06:30:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | -0.16996
2020-09-30 06:45:00 | 3.215 | 3.649 | 3.41 | 11.7 | 3.197 | 11.0214 | 3.091 | 10.29 | 13.68 | 971.286 | 99.8639 | -0.26233
2020-09-30 07:00:00 | 0 | 53.38 | 0.019 | 39.95 | 1.417 | 37.6329 | 1.677 | 68.32 | 15.34 | 973.581 | 92.4786 | -0.26233
2020-09-30 07:15:00 | 0.248 | 42.06 | 0.247 | 41.41 | 1.292 | 39.0082 | 1.299 | 51.19 | 15.89 | 973.959 | 85.0866 | -0.24016
2020-09-30 07:30:00 | 1.344 | 28.96 | 1.039 | 33.09 | 1.554 | 31.1708 | 1.393 | 56.28 | 15.69 | 974.255 | 87.7368 | -0.24016
2020-09-30 07:45:00 | 0.344 | 20.74 | 1.092 | 43.85 | 1.94 | 41.3067 | 1.785 | 21.27 | 15.69 | 974.272 | 89.8818 | -0.25864
2020-09-30 08:00:00 | 0.791 | 20.15 | 2.457 | 32.45 | 2.467 | 30.5679 | 2.19 | 19.56 | 15.74 | 974.254 | 89.4271 | -0.25125
2020-09-30 08:15:00 | 1.594 | 45.48 | 1.599 | 56.59 | 2.278 | 53.3078 | 2.388 | 59.53 | 15.74 | 974.814 | 83.7522 | -0.25864
2020-09-30 08:30:00 | 2.62 | 43.01 | 3.676 | 54.82 | 4.522 | 51.6404 | 4.622 | 54.15 | 16.42 | 974.55 | 77.954 | 0.25864
2020-09-30 08:45:00 | 2.784 | 39.29 | 3.941 | 48.41 | 3.954 | 45.6022 | 3.942 | 46.51 | 17.14 | 974.847 | 72.6343 | 0.055423
2020-09-30 09:00:00 | 2.592 | 34.05 | 3.39 | 49.15 | 3.392 | 46.2993 | 3.241 | 43.16 | 17.39 | 974.847 | 69.7016 | -0.036949
2020-09-30 09:15:00 | 2.136 | 44.67 | 2.878 | 58.1 | 2.785 | 54.7302 | 2.553 | 51.91 | 17.79 | 975.143 | 62.1897 | -0.25864
2020-09-30 09:30:00 | 1.506 | 6.54 | 2.056 | 29.5 | 1.888 | 27.789 | 1.744 | 18.88 | 18.98 | 975.44 | 58.0259 | -0.25864
2020-09-30 09:45:00 | 2.161 | 190.8 | 2.355 | 196.8 | 1.373 | 185.386 | 1.232 | 191.1 | 19.55 | 975.573 | 56.4514 | -0.24016
2020-09-30 10:00:00 | 1.44 | 44.04 | 1.152 | 2.579 | 0.891 | 2.4294 | 0.512 | 357.1 | 19.67 | 975.562 | 60.5321 | -0.25864
2020-09-30 10:15:00 | 2.459 | 326.5 | 2.433 | 336 | 1.955 | 316.512 | 1.767 | 316.8 | 19.46 | 975.302 | 61.4179 | -0.2882
2020-09-30 10:30:00 | 3.631 | 292.6 | 3.919 | 294.4 | 3.487 | 277.325 | 3.361 | 303.5 | 18.94 | 975.142 | 59.2365 | -0.218
2020-09-30 10:45:00 | 2.607 | 12.62 | 2.602 | 3.011 | 3.128 | 2.8364 | 3.045 | 15.83 | 19.84 | 975.439 | 56.5099 | 0.18474
2020-09-30 11:00:00 | 2.682 | 11.51 | 2.985 | 358.5 | 3.472 | 337.707 | 3.241 | 7.567 | 20.21 | 975.587 | 56.2713 | 0.66507
2020-09-30 11:15:00 | 4.16 | 338.1 | 4.443 | 338.9 | 4.104 | 319.244 | 3.982 | 341.8 | 19.79 | 975.291 | 54.4649 | 1.8179
2020-09-30 11:30:00 | 3.663 | 337.8 | 3.539 | 339 | 3.263 | 319.338 | 3.107 | 343.7 | 19.35 | 974.885 | 54.6694 | 2.2132
2020-09-30 11:45:00 | 1.704 | 25.06 | 2.872 | 19.63 | 3.827 | 18.4915 | 3.616 | 28.02 | 20.41 | 974.969 | 53.681 | 1.7772
2020-09-30 12:00:00 | 2.422 | 22.2 | 4.645 | 36.59 | 5.096 | 34.4678 | 4.724 | 23.61 | 19.86 | 974.813 | 53.784 | 3.0704
2020-09-30 12:15:00 | 2.786 | 23.87 | 3.517 | 39.75 | 3.23 | 37.4445 | 3.127 | 25.22 | 19.23 | 974.529 | 50.1741 | 2.7933
2020-09-30 12:30:00 | 3.039 | 18.29 | 4.507 | 36.96 | 4.639 | 34.8163 | 4.41 | 16.26 | 19.41 | 974.253 | 51.8493 | 2.8894
2020-09-30 12:45:00 | 3.148 | 18.25 | 3.348 | 11.76 | 3.138 | 11.0779 | 3.206 | 10.68 | 19.8 | 974.55 | 51.5432 | 2.2982
2020-09-30 13:00:00 | 2.725 | 7.612 | 2.944 | 10.6 | 3.479 | 9.9852 | 3.192 | 6.165 | 20.36 | 975.291 | 46.9068 | 2.8192
2020-09-30 13:15:00 | 3.269 | 338 | 3.979 | 326.3 | 3.379 | 307.375 | 3.343 | 347.2 | 20.98 | 974.55 | 46.7362 | 1.8253
2020-09-30 13:30:00 | 3.756 | 314.7 | 4.139 | 322.4 | 4.089 | 303.701 | 4.194 | 321.6 | 20.13 | 974.55 | 44.7596 | 1.5592
2020-09-30 13:45:00 | 3.031 | 350.3 | 3.246 | 4.992 | 3.649 | 4.7025 | 3.517 | 343.5 | 20.87 | 974.401 | 43.9067 | 1.1565
2020-09-30 14:00:00 | 2.94 | 312 | 3.289 | 330.3 | 3.738 | 311.143 | 3.741 | 304.8 | 20.54 | 973.956 | 46.1565 | 1.0456
2020-09-30 14:15:00 | 3.621 | 311.8 | 3.781 | 314.3 | 3.303 | 296.071 | 3.208 | 314.4 | 20.16 | 973.956 | 45.2746 | 0.37687
2020-09-30 14:30:00 | 3.289 | 296.4 | 3.801 | 308.4 | 3.441 | 290.513 | 3.328 | 297 | 19.99 | 973.66 | 44.8684 | 0.84612
2020-09-30 14:45:00 | 2.362 | 353.2 | 2.687 | 9.79 | 2.413 | 9.2222 | 2.302 | 344.9 | 20.56 | 973.511 | 44.2549 | 0.55792
2020-09-30 15:00:00 | 2.305 | 353.9 | 2.543 | 5.515 | 2.38 | 5.1951 | 2.256 | 346.3 | 19.83 | 972.77 | 46.8803 | 0.66507
2020-09-30 15:15:00 | 1.818 | 13.31 | 3.032 | 27.57 | 3.156 | 25.9709 | 3.017 | 2.362 | 19.95 | 972.918 | 44.3914 | 2.313
2020-09-30 15:30:00 | 2.425 | 17.8 | 2.832 | 20.62 | 2.503 | 19.424 | 2.362 | 358.4 | 19.4 | 971.88 | 45.1829 | 3.3697
2020-09-30 15:45:00 | 3.692 | 9.11 | 5.553 | 27.39 | 4.328 | 25.8014 | 3.927 | 11.87 | 19.14 | 971.527 | 45.8312 | 3.451
2020-09-30 16:00:00 | 4.236 | 8.43 | 5.652 | 27.02 | 4.522 | 25.4528 | 4.436 | 12.77 | 18.94 | 971.285 | 46.5208 | 3.0409
2020-09-30 16:15:00 | 3.187 | 13.44 | 5.366 | 28.14 | 5.061 | 26.5079 | 4.741 | 16.68 | 18.89 | 971.286 | 48.7722 | 3.0446
2020-09-30 16:30:00 | 3.251 | 13.68 | 4.913 | 30.33 | 4.583 | 28.5709 | 4.268 | 17.79 | 18.88 | 970.841 | 48.3997 | 2.5273
2020-09-30 16:45:00 | 3.294 | 8.05 | 4.338 | 22.5 | 4.196 | 21.195 | 3.779 | 12.11 | 18.85 | 970.845 | 50.1782 | 1.1195
2020-09-30 17:00:00 | 3.7 | 8.28 | 4.238 | 18.52 | 4.071 | 17.4458 | 3.45 | 7.841 | 18.74 | 970.985 | 49.4627 | 0.83873
2020-09-30 17:15:00 | 4.009 | 6.938 | 3.988 | 8.44 | 3.553 | 7.9505 | 3.593 | 0.788 | 18.68 | 970.967 | 48.1665 | 0.66138
2020-09-30 17:30:00 | 3.577 | 1.619 | 3.702 | 13.01 | 3.764 | 12.2554 | 3.109 | 3.649 | 18.63 | 971.138 | 48.9169 | 1.0198
2020-09-30 17:45:00 | 2.707 | 5.078 | 3.213 | 20.44 | 2.629 | 19.2545 | 2.651 | 10.61 | 18.35 | 971.138 | 49.4627 | 0.91632
2020-09-30 18:00:00 | 2.73 | 18.2 | 3.661 | 32.1 | 3.868 | 30.2382 | 3.827 | 22.94 | 18.39 | 971.286 | 51.1005 | 0.4323
2020-09-30 18:15:00 | 2.551 | 22.85 | 3.466 | 36.33 | 3.609 | 34.2229 | 3.534 | 29.89 | 18.4 | 971.286 | 50.2828 | -0.23278
2020-09-30 18:30:00 | 2.03 | 27.14 | 3.085 | 43.16 | 2.988 | 40.6567 | 2.852 | 36.69 | 18.47 | 971.286 | 49.4643 | -0.28081
2020-09-30 18:45:00 | 1.994 | 25.91 | 2.74 | 40.81 | 2.388 | 38.443 | 2.35 | 39.91 | 18.61 | 971.286 | 49.3273 | -0.25125
2020-09-30 19:00:00 | 2.117 | 31.54 | 3.372 | 42.82 | 2.991 | 40.3364 | 2.872 | 43.3 | 18.6 | 971.286 | 49.6699 | -0.25125
2020-09-30 19:15:00 | 1.78 | 54.98 | 2.39 | 54.38 | 2.245 | 51.226 | 2.157 | 74.13 | 18.71 | 971.583 | 49.0546 | -0.25125
2020-09-30 19:30:00 | 0 | 83.9 | 0.075 | 73.46 | 1.139 | 69.1993 | 1.066 | 109.1 | 18.91 | 971.583 | 49.6023 | -0.24016
2020-09-30 19:45:00 | 0 | 117.6 | 1.236 | 126.6 | 1.536 | 119.257 | 1.301 | 152.2 | 18.74 | 971.434 | 47.144 | -0.24016
2020-09-30 20:00:00 | 2.191 | 75.85 | 2.306 | 70.11 | 2.309 | 66.0436 | 2.327 | 100.9 | 18.84 | 970.989 | 49.1901 | -0.29928
2020-09-30 20:15:00 | 2.102 | 111.8 | 2.891 | 125.3 | 3.286 | 118.033 | 3.264 | 117.5 | 18.95 | 970.989 | 47.4171 | -0.27711
2020-09-30 20:30:00 | 2.4 | 145.1 | 2.745 | 158.3 | 2.736 | 149.119 | 2.592 | 146.1 | 19.34 | 971.138 | 48.8493 | -0.10346
2020-09-30 20:45:00 | 1.617 | 151 | 1.871 | 174.1 | 2.067 | 164.002 | 1.994 | 155.5 | 18.99 | 971.286 | 48.7805 | -0.16627
2020-09-30 21:00:00 | 2.403 | 152.3 | 2.426 | 173 | 2.416 | 162.966 | 2.337 | 151.8 | 18.84 | 971.286 | 49.9063 | 0.29559
2020-09-30 21:15:00 | 2.234 | 140.7 | 2.572 | 157.9 | 3.461 | 148.742 | 3.618 | 137.7 | 18.63 | 970.989 | 49.9744 | 0.65768
2020-09-30 21:30:00 | 3.411 | 110.9 | 3.653 | 125.5 | 3.81 | 118.221 | 3.886 | 109.4 | 19.13 | 970.841 | 49.259 | 3.3808
2020-09-30 21:45:00 | 3.013 | 109.3 | 3.364 | 115.9 | 3.37 | 109.178 | 3.259 | 117.1 | 18.91 | 970.396 | 49.4628 | 7.774
2020-09-30 22:00:00 | 3.861 | 109.1 | 4.129 | 126.6 | 5.587 | 119.257 | 5.844 | 115.9 | 19.07 | 970.396 | 48.4394 | 12.6068
2020-09-30 22:15:00 | 6.317 | 126.9 | 6.082 | 143.5 | 5.722 | 135.177 | 5.651 | 133.9 | 19.1 | 970.692 | 48.2347 | 16.8485
2020-09-30 22:30:00 | 6.299 | 120.6 | 6.225 | 143.4 | 6.513 | 135.083 | 6.636 | 122.3 | 18.96 | 970.544 | 48.5076 | 25.1323
2020-09-30 22:45:00 | 6.682 | 125.8 | 6.826 | 139.9 | 6.839 | 131.786 | 6.873 | 131.3 | 18.92 | 970.692 | 49.1898 | 25.3725
2020-09-30 23:00:00 | 7.333 | 132.7 | 7.833 | 147.8 | 8.47 | 139.228 | 8.43 | 137 | 18.84 | 970.396 | 49.6674 | 31.5577
2020-09-30 23:15:00 | 7.655 | 123.7 | 8.16 | 142.7 | 8.53 | 134.423 | 8.56 | 129.4 | 18.74 | 969.95 | 49.4627 | 30.597
2020-09-30 23:30:00 | 7.024 | 128.7 | 7.373 | 143.6 | 7.416 | 135.271 | 7.423 | 134.2 | 18.61 | 969.802 | 49.2586 | 33.5122
2020-09-30 23:45:00 | 7.272 | 132.9 | 7.894 | 147.4 | 8.38 | 138.851 | 8.32 | 139 | 18.61 | 970.247 | 49.4632 | 27.4638