## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-01 00:00:00 | 6.738 | 132.2 | 7.168 | 148.9 | 7.757 | 140.264 | 7.634 | 136.2 | 18.58 | 970.247 | 50.1453 | 29.1449
2020-10-01 00:15:00 | 5.957 | 128 | 6.611 | 144 | 7.388 | 135.648 | 7.408 | 134.9 | 18.36 | 970.099 | 51.2376 | 33.3238
2020-10-01 00:30:00 | 7.609 | 123.6 | 8.37 | 138.1 | 9.04 | 130.09 | 8.94 | 131.8 | 18.33 | 969.802 | 52.056 | 35.4262
2020-10-01 00:45:00 | 7.007 | 117.9 | 7.795 | 132.8 | 8.32 | 125.098 | 8.29 | 126.3 | 18.15 | 969.653 | 52.397 | 39.9782
2020-10-01 01:00:00 | 7.903 | 121.4 | 8.55 | 133 | 9.03 | 125.286 | 8.98 | 130 | 18.23 | 969.505 | 50.3839 | 43.0708
2020-10-01 01:15:00 | 7.826 | 126.6 | 8.18 | 140.1 | 8.45 | 131.974 | 8.38 | 134.4 | 18.58 | 969.802 | 50.6237 | 41.652
2020-10-01 01:30:00 | 7.39 | 129.8 | 7.979 | 142 | 8.34 | 133.764 | 8.21 | 138.9 | 18.38 | 969.802 | 52.3985 | 40.5916
2020-10-01 01:45:00 | 6.802 | 136 | 7.301 | 150.5 | 7.607 | 141.771 | 7.675 | 142.4 | 18.33 | 969.95 | 52.9436 | 40.4401
2020-10-01 02:00:00 | 6.473 | 140.9 | 6.706 | 155.6 | 7.261 | 146.575 | 7.278 | 144.1 | 18.11 | 969.505 | 54.9227 | 49.6402
2020-10-01 02:15:00 | 7.622 | 134.8 | 8.07 | 149.7 | 9.11 | 141.017 | 9.11 | 141.2 | 18.04 | 969.356 | 55.603 | 50.1871
2020-10-01 02:30:00 | 7.571 | 132.1 | 8.18 | 147.8 | 8.71 | 139.228 | 8.84 | 139.1 | 17.88 | 969.208 | 56.1509 | 51.9828
2020-10-01 02:45:00 | 7.683 | 131.3 | 7.91 | 147.3 | 8.79 | 138.757 | 8.82 | 139.4 | 17.68 | 969.208 | 56.8336 | 55.7589
2020-10-01 03:00:00 | 7.017 | 140.3 | 7.493 | 155.6 | 7.866 | 146.575 | 7.861 | 146.9 | 17.75 | 969.208 | 57.5189 | 55.5409
2020-10-01 03:15:00 | 7.668 | 139.7 | 7.649 | 152.9 | 7.991 | 144.032 | 7.938 | 145 | 17.64 | 969.208 | 57.4839 | 53.978
2020-10-01 03:30:00 | 6.593 | 137 | 6.757 | 155.4 | 7.04 | 146.387 | 7.352 | 142.9 | 17.56 | 968.911 | 57.7259 | 55.5594
2020-10-01 03:45:00 | 6.984 | 140.3 | 7.352 | 158.2 | 7.734 | 149.024 | 7.719 | 143.8 | 17.66 | 969.06 | 57.8613 | 57.0964
2020-10-01 04:00:00 | 7.121 | 139.4 | 7.728 | 153.1 | 7.815 | 144.22 | 7.797 | 144.3 | 17.54 | 968.911 | 59.2281 | 55.5816
2020-10-01 04:15:00 | 7.875 | 138.2 | 8.44 | 155.5 | 8.61 | 146.481 | 8.52 | 145.6 | 17.53 | 969.06 | 59.637 | 57.6765
2020-10-01 04:30:00 | 8.14 | 137.7 | 8.35 | 155.7 | 8.7 | 146.669 | 8.7 | 144.9 | 17.47 | 968.614 | 61.5495 | 65.3914
2020-10-01 04:45:00 | 8.3 | 134.3 | 9.08 | 151.2 | 9.61 | 142.43 | 9.55 | 142.6 | 17.34 | 968.763 | 61.6861 | 66.1119
2020-10-01 05:00:00 | 8.3 | 134.3 | 9.08 | 151.2 | 9.61 | 142.43 | 9.55 | 142.6 | 17.34 | 968.763 | 61.6861 | 65.0108
2020-10-01 05:15:00 | 8.3 | 134.3 | 9.08 | 151.2 | 9.61 | 142.43 | 9.55 | 142.6 | 17.34 | 968.763 | 61.6861 | 72.1529
2020-10-01 05:30:00 | 8.3 | 134.3 | 9.08 | 151.2 | 9.61 | 142.43 | 9.55 | 142.6 | 17.34 | 968.763 | 61.6861 | 71.9719
2020-10-01 05:45:00 | 8.3 | 134.3 | 9.08 | 151.2 | 9.61 | 142.43 | 9.55 | 142.6 | 17.34 | 968.763 | 61.6861 | 70.8893
2020-10-01 06:00:00 | 8.3 | 134.3 | 9.08 | 151.2 | 9.61 | 142.43 | 9.55 | 142.6 | 17.34 | 968.763 | 61.6861 | 72.0273
2020-10-01 06:15:00 | 8.3 | 134.3 | 9.08 | 151.2 | 9.61 | 142.43 | 9.55 | 142.6 | 17.34 | 968.763 | 61.6861 | 74.9019
2020-10-01 06:30:00 | 8.3 | 134.3 | 9.08 | 151.2 | 9.61 | 142.43 | 9.55 | 142.6 | 17.34 | 968.763 | 61.6861 | 74.695
2020-10-01 06:45:00 | 10.09 | 137.2 | 10.27 | 154 | 10.75 | 145.068 | 10.64 | 143.1 | 16.77 | 968.614 | 77.2564 | 72.6517
2020-10-01 07:00:00 | 10.26 | 140.5 | 10.64 | 158.1 | 11.19 | 148.93 | 11.07 | 144.4 | 16.72 | 968.614 | 78.0072 | 71.8352
2020-10-01 07:15:00 | 9.88 | 142.2 | 10.1 | 156.9 | 10.38 | 147.8 | 10.28 | 146.1 | 16.66 | 968.614 | 78.8261 | 75.8314
2020-10-01 07:30:00 | 9.06 | 135.6 | 9.33 | 155.2 | 9.76 | 146.198 | 9.71 | 143.3 | 16.54 | 969.06 | 78.792 | 71.1701
2020-10-01 07:45:00 | 10.02 | 140.8 | 10.53 | 155.8 | 10.97 | 146.764 | 11 | 145.6 | 16.62 | 968.911 | 78.202 | 68.5284
2020-10-01 08:00:00 | 9.1 | 142.3 | 9.36 | 158.8 | 10.14 | 149.59 | 10.11 | 147.4 | 16.75 | 969.208 | 77.573 | 67.0873
2020-10-01 08:15:00 | 9.7 | 141.3 | 9.99 | 158.4 | 10.76 | 149.213 | 10.76 | 146.3 | 16.92 | 969.208 | 77.7077 | 66.0084
2020-10-01 08:30:00 | 9.39 | 140.7 | 10.11 | 154.2 | 9.55 | 145.256 | 9.48 | 149.2 | 17.08 | 969.356 | 76.9913 | 65.1008
2020-10-01 08:45:00 | 9.47 | 143.2 | 9.9 | 163.1 | 9.81 | 153.64 | 9.8 | 146.2 | 17.43 | 969.467 | 76.7867 | 65.1586
2020-10-01 09:00:00 | 9.37 | 141.8 | 9.43 | 160.5 | 9.42 | 151.191 | 9.29 | 146.2 | 17.52 | 969.381 | 76.7184 | 59.3269
2020-10-01 09:15:00 | 9.99 | 143.5 | 10.34 | 159.7 | 10.26 | 150.437 | 10.02 | 149.6 | 17.86 | 969.706 | 76.2067 | 60.2545
2020-10-01 09:30:00 | 10.68 | 143 | 10.7 | 157.8 | 10.33 | 148.648 | 10.07 | 150 | 18.23 | 969.606 | 75.8656 | 65.0684
2020-10-01 09:45:00 | 10.55 | 151.7 | 10.96 | 168.3 | 10.66 | 158.539 | 10.44 | 157 | 18.73 | 969.655 | 74.7018 | 61.5366
2020-10-01 10:00:00 | 10.99 | 153.1 | 10.78 | 170.1 | 10.34 | 160.234 | 10.33 | 158.9 | 18.88 | 969.506 | 74.2875 | 56.386
2020-10-01 10:15:00 | 10.29 | 153.8 | 10.37 | 170.3 | 9.6 | 160.423 | 9.56 | 160.3 | 19.46 | 969.506 | 71.2825 | 60.9871
2020-10-01 10:30:00 | 9.59 | 156.1 | 9.53 | 169.2 | 8.84 | 159.386 | 8.75 | 166.2 | 19.47 | 969.803 | 72.2362 | 60.0903
2020-10-01 10:45:00 | 11.45 | 151.3 | 11.38 | 169.8 | 11 | 159.952 | 10.78 | 156.5 | 19.84 | 970.248 | 71.6842 | 49.7585
2020-10-01 11:00:00 | 9.53 | 147.4 | 9.45 | 161.4 | 8.16 | 152.039 | 7.846 | 157.7 | 19.96 | 969.586 | 72.4979 | 47.8578
2020-10-01 11:15:00 | 9.82 | 149 | 10.23 | 166 | 9.87 | 156.372 | 9.66 | 154.3 | 20.26 | 969.962 | 69.4288 | 43.9826
2020-10-01 11:30:00 | 8.96 | 152.3 | 9.25 | 166.1 | 8.83 | 156.466 | 8.62 | 159.7 | 20.67 | 969.358 | 70.8611 | 46.3334
2020-10-01 11:45:00 | 7.663 | 156 | 7.81 | 172.5 | 7.65 | 162.495 | 7.614 | 159.4 | 20.73 | 969.803 | 69.9062 | 29.9726
2020-10-01 12:00:00 | 7.831 | 173.6 | 7.322 | 192.8 | 6.895 | 181.618 | 6.965 | 173.2 | 21.16 | 968.913 | 69.9744 | 34.2143
2020-10-01 12:15:00 | 7.701 | 167 | 7.524 | 179.4 | 6.889 | 168.995 | 6.723 | 171.6 | 21.23 | 969.062 | 65.0639 | 35.7809
2020-10-01 12:30:00 | 7.239 | 166.8 | 7.465 | 184.1 | 6.719 | 173.422 | 6.654 | 169.4 | 21.69 | 968.913 | 64.1091 | 38.4765
2020-10-01 12:45:00 | 8.56 | 176.6 | 7.871 | 194 | 6.564 | 182.748 | 6.466 | 174.4 | 21.91 | 968.765 | 64.0025 | 36.8967
2020-10-01 13:00:00 | 7.65 | 166 | 7.317 | 181.5 | 6.996 | 170.973 | 6.952 | 171.4 | 22.25 | 968.617 | 62.1208 | 34.1847
2020-10-01 13:15:00 | 7.18 | 160.6 | 7.283 | 173.7 | 7.024 | 163.625 | 7.008 | 167.5 | 22.1 | 968.765 | 63.6891 | 31.2953
2020-10-01 13:30:00 | 8.54 | 163.5 | 7.943 | 176.4 | 6.762 | 166.169 | 6.735 | 169.1 | 22.02 | 968.468 | 64.5414 | 26.832
2020-10-01 13:45:00 | 7.99 | 157.6 | 7.797 | 171.8 | 7.378 | 161.836 | 7.26 | 163.6 | 22.32 | 968.617 | 63.3481 | 28.5057
2020-10-01 14:00:00 | 7.032 | 161.3 | 7.214 | 176.2 | 6.495 | 165.98 | 6.348 | 166.1 | 22.25 | 968.172 | 64.03 | 24.4081
2020-10-01 14:15:00 | 5.903 | 170.7 | 5.898 | 185.3 | 5.112 | 174.553 | 5.006 | 178.9 | 22.23 | 968.023 | 63.7572 | 19.4016
2020-10-01 14:30:00 | 6.187 | 155.4 | 5.99 | 171.4 | 5.386 | 161.459 | 5.381 | 164.1 | 22.2 | 968.023 | 65.0521 | 19.1947
2020-10-01 14:45:00 | 5.924 | 158.9 | 6.005 | 174.3 | 5.638 | 164.191 | 5.679 | 165.7 | 22.33 | 968.468 | 63.894 | 19.8672
2020-10-01 15:00:00 | 6.003 | 166.7 | 5.783 | 183.8 | 5.948 | 173.14 | 5.959 | 173.9 | 22.28 | 968.32 | 63.4174 | 14.8754
2020-10-01 15:15:00 | 6.912 | 185.1 | 6.547 | 198.8 | 5.763 | 187.27 | 5.862 | 184.9 | 22.44 | 968.023 | 63.1444 | 12.5255
2020-10-01 15:30:00 | 5.932 | 183.7 | 5.9 | 198.4 | 5.007 | 186.893 | 4.915 | 179.9 | 22.46 | 968.172 | 61.7815 | 13.8926
2020-10-01 15:45:00 | 4.785 | 165.2 | 4.998 | 178.9 | 4.608 | 168.524 | 4.573 | 167.8 | 22.48 | 968.023 | 64.7168 | 15.5701
2020-10-01 16:00:00 | 4.78 | 156.1 | 4.934 | 172.8 | 5.13 | 162.778 | 5.144 | 159.3 | 22.31 | 967.875 | 65.2677 | 14.4579
2020-10-01 16:15:00 | 7.104 | 150.8 | 6.979 | 162.9 | 6.366 | 153.452 | 6.315 | 157.3 | 22.2 | 967.875 | 65.6777 | 19.712
2020-10-01 16:30:00 | 6.922 | 148.8 | 7.352 | 163 | 6.762 | 153.546 | 6.672 | 156.9 | 22.06 | 967.43 | 65.8823 | 23.0817
2020-10-01 16:45:00 | 7.129 | 157.4 | 7.151 | 172.3 | 7.093 | 162.307 | 7.005 | 160.8 | 21.94 | 967.659 | 65.5754 | 21.8809
2020-10-01 17:00:00 | 6.631 | 150.8 | 6.805 | 166.6 | 6.912 | 156.937 | 6.863 | 157.9 | 21.92 | 967.704 | 66.4971 | 20.4768
2020-10-01 17:15:00 | 6.412 | 149.8 | 6.345 | 164.7 | 6.36 | 155.147 | 6.384 | 154.6 | 21.81 | 967.862 | 67.9971 | 25.1397
2020-10-01 17:30:00 | 6.266 | 146.4 | 6.465 | 165 | 7.172 | 155.43 | 7.199 | 152.4 | 21.66 | 967.724 | 68.0706 | 32.0823
2020-10-01 17:45:00 | 7.941 | 144 | 7.956 | 160.3 | 8.59 | 151.003 | 8.5 | 149.8 | 21.65 | 967.874 | 66.7748 | 37.7022
2020-10-01 18:00:00 | 6.864 | 153 | 7.365 | 170.7 | 7.617 | 160.799 | 7.719 | 155.8 | 21.55 | 968.17 | 67.6653 | 34.75
2020-10-01 18:15:00 | 7.563 | 152.9 | 7.874 | 168 | 8.06 | 158.256 | 8.04 | 160.2 | 21.62 | 968.022 | 65.9612 | 33.3903
2020-10-01 18:30:00 | 7.014 | 152.7 | 7.547 | 168.9 | 8.23 | 159.104 | 8.17 | 157.2 | 21.64 | 968.022 | 64.9386 | 33.4051
2020-10-01 18:45:00 | 6.795 | 154.2 | 7.181 | 170.1 | 8.4 | 160.234 | 8.52 | 157.8 | 21.41 | 968.17 | 65.5523 | 39.8674
2020-10-01 19:00:00 | 7.055 | 160.7 | 7.03 | 175.2 | 6.984 | 165.038 | 6.995 | 165.5 | 21.63 | 968.319 | 64.4611 | 37.1886
2020-10-01 19:15:00 | 6.961 | 156 | 7.291 | 168.7 | 7.739 | 158.915 | 7.744 | 161.6 | 21.57 | 968.319 | 65.1432 | 37.1332
2020-10-01 19:30:00 | 6.435 | 154.9 | 6.862 | 169.6 | 6.923 | 159.763 | 6.942 | 161 | 21.53 | 968.615 | 64.4611 | 39.3353
2020-10-01 19:45:00 | 7.596 | 157.7 | 7.831 | 170.3 | 7.528 | 160.423 | 7.576 | 165.7 | 21.6 | 968.764 | 64.1541 | 37.8352
2020-10-01 20:00:00 | 7.042 | 162.7 | 7.419 | 179 | 6.928 | 168.618 | 6.96 | 172.5 | 21.49 | 969.061 | 64.9386 | 31.6833
2020-10-01 20:15:00 | 6.481 | 159.8 | 6.47 | 174.3 | 6.633 | 164.191 | 6.654 | 162.8 | 21.36 | 968.764 | 65.6889 | 34.8128
2020-10-01 20:30:00 | 7.165 | 159.5 | 7.506 | 172.7 | 7.322 | 162.683 | 7.298 | 165.4 | 21.32 | 968.912 | 66.1664 | 38.2121
2020-10-01 20:45:00 | 8.1 | 157.2 | 8.57 | 171.9 | 8.59 | 161.93 | 8.58 | 164.3 | 21.36 | 968.912 | 67.0532 | 36.0654
2020-10-01 21:00:00 | 7.349 | 161.6 | 7.125 | 181.4 | 7.706 | 170.879 | 7.836 | 164.2 | 21.28 | 969.209 | 67.6671 | 34.92
2020-10-01 21:15:00 | 7.19 | 164.5 | 6.856 | 179.7 | 6.633 | 169.277 | 6.649 | 166.6 | 21.08 | 969.061 | 68.4857 | 30.9296
2020-10-01 21:30:00 | 6.807 | 158 | 7.015 | 172.6 | 7.235 | 162.589 | 7.26 | 165.2 | 20.88 | 969.654 | 69.5771 | 25.2727
2020-10-01 21:45:00 | 7.249 | 157.1 | 7.562 | 170.3 | 7.584 | 160.423 | 7.586 | 164.9 | 20.75 | 969.209 | 70.6003 | 24.3786
2020-10-01 22:00:00 | 6.098 | 158.4 | 6.867 | 170.7 | 7.398 | 160.799 | 7.438 | 166 | 20.4 | 969.209 | 71.2142 | 26.0671
2020-10-01 22:15:00 | 6.414 | 159.6 | 6.828 | 170.8 | 7.691 | 160.894 | 7.795 | 167.8 | 20.46 | 969.37 | 71.8696 | 22.0915
2020-10-01 22:30:00 | 5.498 | 159.4 | 6.345 | 169.2 | 6.734 | 159.386 | 6.848 | 169.5 | 20.32 | 969.507 | 71.4977 | 17.4397
2020-10-01 22:45:00 | 5.822 | 164.3 | 6.588 | 172.6 | 6.984 | 162.589 | 7.156 | 173.8 | 20.5 | 969.506 | 70.0633 | 18.4558
2020-10-01 23:00:00 | 5.962 | 171.2 | 6.189 | 181.7 | 6.297 | 171.161 | 6.445 | 180.2 | 20.66 | 969.654 | 68.8376 | 18.792
2020-10-01 23:15:00 | 6.994 | 177.6 | 7.199 | 185.6 | 7.322 | 174.835 | 7.528 | 184.2 | 21.14 | 969.506 | 68.2532 | 23.9537
2020-10-01 23:30:00 | 6.669 | 175.5 | 6.941 | 185.6 | 7.569 | 174.835 | 7.922 | 182.8 | 20.89 | 969.209 | 66.9168 | 25.8233
2020-10-01 23:45:00 | 7.864 | 178 | 7.687 | 189.7 | 7.914 | 178.697 | 8.05 | 184.6 | 21.18 | 969.654 | 67.0535 | 19.409