## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-02 00:00:00 | 6.218 | 172 | 6.483 | 184.4 | 6.343 | 173.705 | 6.501 | 181.2 | 20.82 | 969.506 | 68.3493 | 17.9496
2020-10-02 00:15:00 | 6.108 | 175.3 | 6.422 | 183.6 | 6.511 | 172.951 | 6.695 | 183.7 | 20.8 | 969.654 | 67.872 | 16.2278
2020-10-02 00:30:00 | 5.066 | 181.1 | 5.167 | 193.4 | 5.58 | 182.183 | 5.793 | 187.2 | 20.78 | 969.951 | 69.0998 | 14.9752
2020-10-02 00:45:00 | 5.569 | 181.4 | 5.371 | 191.5 | 5.328 | 180.393 | 5.505 | 187.2 | 20.8 | 970.1 | 68.6221 | 13.3901
2020-10-02 01:00:00 | 5.155 | 180.7 | 5.046 | 189.1 | 4.598 | 178.132 | 4.703 | 188.9 | 20.76 | 970.1 | 69.9184 | 12.4405
2020-10-02 01:15:00 | 4.566 | 174.6 | 5.121 | 185 | 4.585 | 174.27 | 4.51 | 183.5 | 20.51 | 970.396 | 70.8049 | 7.7518
2020-10-02 01:30:00 | 3.953 | 173.9 | 4.942 | 186.1 | 4.88 | 175.306 | 4.91 | 184.5 | 20.29 | 970.248 | 71.0811 | 2.1837
2020-10-02 01:45:00 | 2.898 | 187.8 | 3.515 | 200.5 | 3.41 | 188.871 | 3.476 | 196.4 | 20.32 | 970.396 | 74.8375 | 1.2673
2020-10-02 02:00:00 | 5.344 | 292.1 | 5.962 | 307.9 | 6.246 | 290.042 | 6.101 | 292.7 | 18.64 | 970.426 | 86.4743 | 4.2491
2020-10-02 02:15:00 | 3.106 | 307.9 | 3.679 | 321.7 | 4.517 | 303.041 | 4.507 | 300.6 | 18.81 | 970.413 | 83.5067 | 2.2058
2020-10-02 02:30:00 | 3.756 | 285.9 | 4.292 | 304 | 4.69 | 286.368 | 4.663 | 285.2 | 19.24 | 970.626 | 79.345 | 4.7072
2020-10-02 02:45:00 | 5.219 | 338.7 | 6.151 | 351.7 | 6.058 | 331.301 | 6.012 | 339.7 | 18.94 | 970.383 | 90.0563 | 28.3099
2020-10-02 03:00:00 | 5.449 | 359.9 | 6.772 | 23.51 | 7.446 | 22.1464 | 7.713 | 355.5 | 17.9 | 970.095 | 96.674 | 39.661
2020-10-02 03:15:00 | 5.107 | 1.81 | 5.514 | 20.12 | 6.142 | 18.953 | 6.389 | 357.7 | 17.45 | 970.544 | 97.9021 | 29.3112
2020-10-02 03:30:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 37.7909
2020-10-02 03:45:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 45.4825
2020-10-02 04:00:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 54.647
2020-10-02 04:15:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 51.0797
2020-10-02 04:30:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 47.2312
2020-10-02 04:45:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 45.6055
2020-10-02 05:00:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 46.6548
2020-10-02 05:15:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 55.3329
2020-10-02 05:30:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 52.8317
2020-10-02 05:45:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 53.3203
2020-10-02 06:00:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 43.6991
2020-10-02 06:15:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 47.4049
2020-10-02 06:30:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 46.2595
2020-10-02 06:45:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 47.6081
2020-10-02 07:00:00 | 5.496 | 4.811 | 5.953 | 24.59 | 5.915 | 23.1638 | 5.954 | 3.213 | 17.36 | 970.396 | 93.8787 | 38.7405
2020-10-02 07:15:00 | 7.446 | 4.988 | 7.8 | 22.31 | 7.635 | 21.016 | 7.561 | 6.778 | 16.08 | 970.99 | 73.3663 | 29.5033
2020-10-02 07:30:00 | 6.922 | 8.77 | 8.05 | 22.78 | 7.96 | 21.4588 | 7.609 | 13.64 | 15.97 | 971.732 | 73.1616 | 18.7772
2020-10-02 07:45:00 | 6.069 | 10.06 | 6.816 | 23.6 | 6.762 | 22.2312 | 6.603 | 13.31 | 16.06 | 972.177 | 74.936 | 13.5453
2020-10-02 08:00:00 | 5.926 | 7.771 | 6.798 | 21.09 | 6.958 | 19.8668 | 6.644 | 12.89 | 16.06 | 972.177 | 74.8678 | 12.9283
2020-10-02 08:15:00 | 6.682 | 5.201 | 6.683 | 19.46 | 6.653 | 18.3313 | 6.707 | 7.409 | 16.05 | 972.474 | 79.3721 | 19.8746
2020-10-02 08:30:00 | 5.574 | 13.55 | 7.953 | 29.28 | 7.533 | 27.5818 | 7.003 | 17.32 | 15.97 | 972.771 | 79.5086 | 14.0109
2020-10-02 08:45:00 | 5.439 | 10.52 | 7.442 | 25.73 | 7.363 | 24.2377 | 6.97 | 16.64 | 16.36 | 972.771 | 66.8145 | 12.8248
2020-10-02 09:00:00 | 4.96 | 16.48 | 8.23 | 31.13 | 7.899 | 29.3245 | 7.619 | 22.02 | 16.72 | 972.919 | 54.3934 | 14.7572
2020-10-02 09:15:00 | 5.196 | 14.51 | 7.938 | 30.34 | 7.975 | 28.5803 | 7.507 | 18.43 | 17.14 | 973.364 | 51.5231 | 13.416
2020-10-02 09:30:00 | 5.434 | 15.4 | 8.35 | 32.29 | 7.673 | 30.4172 | 7.252 | 20.44 | 17.42 | 973.364 | 42.9191 | 9.8246
2020-10-02 09:45:00 | 4.341 | 19.96 | 8.15 | 35.43 | 7.813 | 33.3751 | 7.405 | 24.21 | 17.75 | 973.364 | 42.675 | 11.7755
2020-10-02 10:00:00 | 4.698 | 17.08 | 7.465 | 30.91 | 7.218 | 29.1172 | 6.957 | 20.5 | 17.85 | 973.661 | 37.0462 | 11.1954
2020-10-02 10:15:00 | 5.227 | 19.43 | 7.577 | 32.01 | 7.027 | 30.1534 | 6.807 | 23.43 | 18.05 | 973.958 | 34.5898 | 11.6203
2020-10-02 10:30:00 | 3.673 | 18.91 | 7.368 | 36.66 | 6.8 | 34.5337 | 6.379 | 21.06 | 18.24 | 973.958 | 32.5431 | 12.7879
2020-10-02 10:45:00 | 5.441 | 12.69 | 7.266 | 28.37 | 6.711 | 26.7245 | 6.399 | 12.58 | 18.17 | 973.958 | 29.8823 | 13.8187
2020-10-02 11:00:00 | 5.579 | 10.48 | 7.051 | 27.44 | 6.218 | 25.8485 | 6.114 | 9.33 | 18.24 | 973.919 | 29.2001 | 19.7822
2020-10-02 11:15:00 | 6.018 | 10.52 | 7.337 | 26.63 | 6.93 | 25.0855 | 6.949 | 7.853 | 18.35 | 973.797 | 28.9272 | 17.1699
2020-10-02 11:30:00 | 4.466 | 9.56 | 6.115 | 30.09 | 5.732 | 28.3448 | 5.931 | 357.9 | 18.3 | 973.894 | 29.7459 | 18.138
2020-10-02 11:45:00 | 4.522 | 2.898 | 5.484 | 26.76 | 5.803 | 25.2079 | 6.122 | 359.5 | 18.3 | 974.09 | 29.5412 | 15.4814
2020-10-02 12:00:00 | 4.946 | 10.08 | 6.557 | 29.54 | 6.126 | 27.8267 | 6.117 | 8.51 | 18.22 | 973.729 | 30.5646 | 15.4149
2020-10-02 12:15:00 | 5.786 | 11.76 | 7.503 | 29.34 | 6.467 | 27.6383 | 6.104 | 8.19 | 18.1 | 973.255 | 25.516 | 19.882
2020-10-02 12:30:00 | 4.767 | 2.671 | 5.609 | 21.73 | 6.322 | 20.4697 | 6.631 | 357.3 | 18.06 | 973.475 | 26.6758 | 12.6696
2020-10-02 12:45:00 | 4.614 | 356.5 | 5.427 | 21.19 | 5.893 | 19.961 | 6.078 | 352.3 | 17.95 | 973.364 | 27.972 | 8.7494
2020-10-02 13:00:00 | 3.723 | 359.8 | 4.241 | 19.73 | 4.824 | 18.5857 | 4.874 | 354.3 | 17.94 | 973.952 | 29.8141 | 5.7898
2020-10-02 13:15:00 | 2.668 | 3.128 | 3.052 | 28.55 | 3.021 | 26.8941 | 2.997 | 350.4 | 17.87 | 973.362 | 33.3277 | 3.3956
2020-10-02 13:30:00 | 2.896 | 11.87 | 3.17 | 26.22 | 2.71 | 24.6992 | 2.7 | 1.517 | 17.63 | 973.364 | 34.1805 | 2.664
2020-10-02 13:45:00 | 2.605 | 354.1 | 2.891 | 11.08 | 3.136 | 10.4374 | 3.165 | 352.8 | 17.56 | 973.661 | 38.2739 | 2.6123
2020-10-02 14:00:00 | 2.589 | 329 | 2.986 | 343.5 | 3.367 | 323.577 | 3.42 | 329.8 | 17.33 | 973.364 | 40.5936 | 2.0211
2020-10-02 14:15:00 | 1.887 | 356.9 | 2.164 | 23.66 | 2.818 | 22.2877 | 3.086 | 346.8 | 17.2 | 973.364 | 38.2057 | 1.3597
2020-10-02 14:30:00 | 2.602 | 352.9 | 3.117 | 15.55 | 3.606 | 14.6481 | 3.679 | 350.5 | 17.17 | 973.513 | 38.138 | -0.055423
2020-10-02 14:45:00 | 3.08 | 357.8 | 2.965 | 23.51 | 3.316 | 22.1464 | 3.496 | 355 | 17.11 | 972.77 | 37.7976 | 0.096066
2020-10-02 15:00:00 | 2.972 | 9.63 | 2.814 | 19.54 | 3.003 | 18.4067 | 3.114 | 19.89 | 17.09 | 972.77 | 40.0488 | -0.19952
2020-10-02 15:15:00 | 2.862 | 0.021 | 2.955 | 22.8 | 3.021 | 21.4776 | 3.106 | 354.9 | 17.09 | 973.216 | 41.1401 | -0.12193
2020-10-02 15:30:00 | 2.753 | 2.968 | 2.85 | 16.97 | 2.945 | 15.9857 | 3.066 | 356.9 | 17.08 | 973.364 | 41.8222 | -0.2143
2020-10-02 15:45:00 | 1.437 | 14.05 | 2.27 | 31.57 | 1.877 | 29.7389 | 1.994 | 349.3 | 17.05 | 973.364 | 44.347 | -0.27711
2020-10-02 16:00:00 | 1.153 | 327.6 | 1.337 | 356.4 | 1.508 | 335.729 | 1.498 | 330.8 | 17 | 973.364 | 46.5982 | -0.27711
2020-10-02 16:15:00 | 1.833 | 330.5 | 2.49 | 338.2 | 2.67 | 318.584 | 2.651 | 335 | 16.86 | 973.364 | 46.8041 | -0.25125
2020-10-02 16:30:00 | 1.72 | 325.5 | 2.431 | 336.8 | 2.479 | 317.266 | 2.409 | 329.5 | 16.76 | 973.364 | 47.3529 | -0.25125
2020-10-02 16:45:00 | 2.142 | 330.6 | 2.722 | 342.9 | 2.98 | 323.012 | 2.944 | 335.7 | 16.65 | 973.067 | 48.3795 | -0.24016
2020-10-02 17:00:00 | 2.541 | 332.5 | 3.257 | 347.6 | 3.52 | 327.439 | 3.557 | 333.3 | 16.49 | 973.067 | 47.8385 | -0.25125
2020-10-02 17:15:00 | 3.138 | 336.7 | 3.482 | 351.7 | 3.553 | 331.301 | 3.567 | 337.1 | 16.44 | 973.216 | 49.4112 | -0.19583
2020-10-02 17:30:00 | 3.253 | 335.8 | 3.801 | 349.5 | 3.954 | 329.229 | 3.929 | 337.1 | 16.3 | 972.77 | 46.4085 | 1.4077
2020-10-02 17:45:00 | 3.394 | 348.9 | 3.76 | 5.132 | 4.613 | 4.8343 | 4.581 | 349.6 | 16.16 | 972.474 | 41.8359 | 2.2797
2020-10-02 18:00:00 | 3.521 | 348.9 | 4.371 | 12.53 | 4.608 | 11.8033 | 4.505 | 352.6 | 16.17 | 972.786 | 41.5629 | 1.9878
2020-10-02 18:15:00 | 3.442 | 347.9 | 4.259 | 4.236 | 4.122 | 3.9903 | 4.105 | 354.1 | 16.04 | 973.068 | 42.3136 | 1.7772
2020-10-02 18:30:00 | 4.2 | 346.1 | 4.747 | 18.15 | 4.392 | 17.0973 | 4.372 | 349.8 | 16.1 | 973.415 | 43.4738 | 3.3502
2020-10-02 18:45:00 | 3.685 | 342.5 | 4.387 | 22.77 | 4.125 | 21.4493 | 4.11 | 343.5 | 16.02 | 973.438 | 42.1771 | 2.2982
2020-10-02 19:00:00 | 3.261 | 348.7 | 3.814 | 5.03 | 3.553 | 4.7383 | 3.547 | 346.1 | 15.98 | 973.475 | 39.7202 | 1.2415
2020-10-02 19:15:00 | 3.194 | 17.96 | 3.346 | 15.26 | 3.507 | 14.3749 | 4.051 | 54.54 | 16.04 | 973.477 | 45.6577 | 1.5075
2020-10-02 19:30:00 | 2.472 | 22.38 | 3.088 | 23.12 | 2.838 | 21.779 | 3.025 | 0.203 | 15.82 | 973.652 | 39.3111 | 0.17735
2020-10-02 19:45:00 | 3.253 | 351.1 | 3.275 | 4.359 | 3.09 | 4.1062 | 3.084 | 349.2 | 16.19 | 974 | 39.1072 | 0.066507
2020-10-02 20:00:00 | 3.034 | 350.4 | 3.372 | 6.007 | 3.108 | 5.6586 | 3.104 | 348.5 | 16.1 | 974.21 | 38.6966 | -0.19213
2020-10-02 20:15:00 | 2.694 | 344.7 | 3.096 | 5.521 | 2.963 | 5.2008 | 2.936 | 345.7 | 16.06 | 974.383 | 39.4823 | -0.22169
2020-10-02 20:30:00 | 2.52 | 338.2 | 3.062 | 6.492 | 2.907 | 6.1155 | 2.867 | 338.9 | 16.03 | 974.479 | 39.379 | -0.19213
2020-10-02 20:45:00 | 2.449 | 340.3 | 3.029 | 1.871 | 2.79 | 1.7625 | 2.735 | 340.1 | 16 | 974.485 | 39.6527 | -0.18474
2020-10-02 21:00:00 | 1.89 | 344.3 | 2.531 | 2.623 | 2.258 | 2.4709 | 2.169 | 342.8 | 16 | 974.214 | 41.1539 | -0.23278
2020-10-02 21:15:00 | 1.851 | 67.2 | 2.49 | 17.51 | 1.915 | 16.4944 | 1.52 | 6.347 | 15.89 | 974.235 | 41.052 | -0.18474
2020-10-02 21:30:00 | 2.773 | 355.5 | 3.239 | 10.03 | 3.026 | 9.4483 | 3.124 | 358.2 | 15.82 | 974.523 | 39.9266 | -0.13671
2020-10-02 21:45:00 | 4.366 | 351.8 | 4.387 | 7.066 | 4.585 | 6.6562 | 4.54 | 355.2 | 16.03 | 974.542 | 43.2705 | 0.5764
2020-10-02 22:00:00 | 3.973 | 355.5 | 4.297 | 11.01 | 4.951 | 10.3714 | 5.088 | 355.4 | 15.83 | 974.256 | 42.6562 | 3.4103
2020-10-02 22:15:00 | 4.688 | 348.5 | 5.169 | 4.251 | 5.267 | 4.0044 | 5.322 | 352.3 | 15.69 | 974.351 | 41.7348 | 5.3945
2020-10-02 22:30:00 | 4.269 | 2.171 | 4.691 | 12.12 | 5.01 | 11.417 | 5.656 | 49.78 | 15.53 | 974.678 | 43.6108 | 4.0606
2020-10-02 22:45:00 | 3.302 | 7.422 | 3.645 | 14.67 | 4.43 | 13.8191 | 5.032 | 40.9 | 15.44 | 974.545 | 43.4074 | 1.9767
2020-10-02 23:00:00 | 2.883 | 1.17 | 2.866 | 16.28 | 3.817 | 15.3358 | 3.891 | 357.2 | 15.39 | 974.553 | 40.5417 | 1.3523
2020-10-02 23:15:00 | 2.934 | 357.4 | 3.149 | 13.13 | 3.86 | 12.3685 | 3.855 | 354.9 | 15.69 | 974.553 | 38.9739 | 1.1454
2020-10-02 23:30:00 | 3.57 | 0.241 | 3.5 | 11.01 | 4.354 | 10.3714 | 4.329 | 358.7 | 15.59 | 974.553 | 38.36 | 3.1628
2020-10-02 23:45:00 | 3.703 | 6.279 | 3.97 | 20.29 | 3.837 | 19.1132 | 3.753 | 8.78 | 15.53 | 974.255 | 42.3864 | 8.694