## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-03 00:00:00 | 3.463 | 9.21 | 4.839 | 24.12 | 4.382 | 22.721 | 3.924 | 13.53 | 15.16 | 974.256 | 43.8532 | 4.3932
2020-10-03 00:15:00 | 3.457 | 9.51 | 4.315 | 22.11 | 3.998 | 20.8276 | 3.687 | 10 | 15.17 | 973.959 | 45.5965 | 7.0793
2020-10-03 00:30:00 | 3.577 | 8.74 | 5.018 | 23.01 | 4.817 | 21.6754 | 4.309 | 14.72 | 14.93 | 973.959 | 45.4593 | 5.3243
2020-10-03 00:45:00 | 2.885 | 14.69 | 4.213 | 27.99 | 4.585 | 26.3666 | 4.423 | 20.81 | 14.86 | 973.662 | 45.5971 | 4.0163
2020-10-03 01:00:00 | 2.308 | 28.19 | 3.924 | 42.5 | 4.265 | 40.035 | 4.303 | 31.51 | 14.58 | 973.513 | 44.9829 | 3.1369
2020-10-03 01:15:00 | 2.73 | 33.2 | 4.213 | 48.15 | 4.646 | 45.3573 | 4.604 | 39.4 | 14.89 | 973.365 | 40.6143 | 2.2169
2020-10-03 01:30:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 0.16257
2020-10-03 01:45:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | -0.24386
2020-10-03 02:00:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | -0.28081
2020-10-03 02:15:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | -0.24386
2020-10-03 02:30:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | -0.24016
2020-10-03 02:45:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | -0.23647
2020-10-03 03:00:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 0.092371
2020-10-03 03:15:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 1.5703
2020-10-03 03:30:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 2.7416
2020-10-03 03:45:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 3.5988
2020-10-03 04:00:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 3.8279
2020-10-03 04:15:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 3.3327
2020-10-03 04:30:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 3.1074
2020-10-03 04:45:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 1.9139
2020-10-03 05:00:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 2.5901
2020-10-03 05:15:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 1.6442
2020-10-03 05:30:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 2.7822
2020-10-03 05:45:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 5.4277
2020-10-03 06:00:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 5.8896
2020-10-03 06:15:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 1.223
2020-10-03 06:30:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 0.51728
2020-10-03 06:45:00 | 2.333 | 38.95 | 3.791 | 58.77 | 4.227 | 55.3613 | 4.247 | 41.89 | 14.97 | 973.365 | 40.9556 | 1.3043
2020-10-03 07:00:00 | 2.681 | 129.9 | 2.086 | 147.2 | 1.739 | 138.662 | 1.665 | 117.4 | 15.77 | 973.662 | 34.228 | 1.5703
2020-10-03 07:15:00 | 1.598 | 78.36 | 1.868 | 92.6 | 1.892 | 87.2292 | 1.929 | 85 | 16.21 | 974.034 | 25.047 | 0.15888
2020-10-03 07:30:00 | 1.529 | 137.1 | 1.516 | 142.8 | 0.484 | 134.518 | 0.074 | 79.77 | 15.73 | 974.407 | 37.0585 | 0.20322
2020-10-03 07:45:00 | 2.903 | 153.5 | 3.645 | 169.5 | 3.723 | 159.669 | 3.606 | 155.9 | 15.14 | 974.552 | 36.5126 | 0.1441
2020-10-03 08:00:00 | 4.149 | 152.2 | 4.44 | 166.5 | 4.931 | 156.843 | 4.902 | 156.7 | 15.6 | 973.958 | 34.4985 | 1.0309
2020-10-03 08:15:00 | 3.588 | 152.2 | 3.842 | 168.8 | 4.166 | 159.01 | 4.166 | 154.4 | 15.72 | 974.255 | 34.328 | 1.175
2020-10-03 08:30:00 | 1.821 | 150.2 | 1.738 | 172.5 | 1.326 | 162.495 | 1.266 | 134.1 | 15.92 | 974.552 | 35.1776 | 0.10346
2020-10-03 08:45:00 | 2.163 | 141.3 | 2.097 | 165.7 | 1.381 | 156.089 | 1.191 | 140.2 | 16.07 | 974.849 | 38.2801 | 0.74636
2020-10-03 09:00:00 | 2.898 | 129 | 2.95 | 147.8 | 3.087 | 139.228 | 3.028 | 129.1 | 15.87 | 975.294 | 38.4156 | 2.3093
2020-10-03 09:15:00 | 2.663 | 126.6 | 2.836 | 152.4 | 3.161 | 143.561 | 3.073 | 127.3 | 15.95 | 974.997 | 39.7107 | 2.0765
2020-10-03 09:30:00 | 3.542 | 128.6 | 3.771 | 151.1 | 3.568 | 142.336 | 3.509 | 124 | 15.92 | 975.294 | 39.0984 | 2.7748
2020-10-03 09:45:00 | 2.852 | 110.3 | 3.073 | 128.4 | 3.408 | 120.953 | 3.537 | 111.4 | 16.24 | 975.294 | 39.8455 | 2.7231
2020-10-03 10:00:00 | 4.014 | 118.3 | 4.471 | 137.5 | 4.751 | 129.525 | 4.81 | 120.1 | 16.26 | 975.146 | 41.4816 | 4.5447
2020-10-03 10:15:00 | 3.728 | 131.6 | 3.814 | 156.4 | 3.464 | 147.329 | 3.534 | 133.1 | 16.32 | 974.552 | 43.1875 | 6.2221
2020-10-03 10:30:00 | 4.305 | 131 | 4.272 | 155.7 | 4.27 | 146.669 | 4.4 | 132.5 | 16.34 | 974.552 | 43.734 | 5.8748
2020-10-03 10:45:00 | 4.126 | 136.5 | 4.328 | 155.6 | 4.471 | 146.575 | 4.451 | 140.2 | 16.2 | 974.552 | 42.2318 | 1.9102
2020-10-03 11:00:00 | 3.046 | 142.6 | 3.477 | 160 | 3.27 | 150.72 | 3.109 | 148.2 | 16.18 | 974.552 | 41.6194 | -0.11084
2020-10-03 11:15:00 | 3.537 | 145.4 | 3.722 | 164.8 | 3.738 | 155.242 | 3.613 | 148.1 | 16.22 | 974.552 | 41.3457 | -0.20322
2020-10-03 11:30:00 | 2.495 | 155.2 | 2.697 | 170.5 | 2.645 | 160.611 | 2.605 | 157.6 | 16.41 | 975.146 | 39.9802 | -0.26972
2020-10-03 11:45:00 | 2.661 | 210.6 | 2.469 | 221.7 | 2.001 | 208.841 | 1.887 | 216.5 | 16.53 | 974.552 | 50.0791 | -0.25864
2020-10-03 12:00:00 | 3.904 | 178.2 | 3.607 | 194.2 | 2.891 | 182.936 | 2.859 | 180.3 | 16.16 | 974.552 | 51.3067 | -0.24016
2020-10-03 12:15:00 | 3.547 | 197.4 | 3.183 | 214.8 | 1.686 | 202.342 | 1.416 | 199.5 | 16.38 | 974.403 | 45.0976 | -0.22539
2020-10-03 12:30:00 | 3.322 | 181.3 | 2.707 | 202.1 | 1.86 | 190.378 | 1.691 | 176 | 16.73 | 974.255 | 40.8673 | -0.25125
2020-10-03 12:45:00 | 2.263 | 171.7 | 2.144 | 184.6 | 1.382 | 173.893 | 1.242 | 168 | 17.06 | 973.958 | 39.9113 | -0.24016
2020-10-03 13:00:00 | 3.583 | 165.7 | 3.722 | 180.2 | 3.136 | 169.748 | 3.152 | 170.7 | 16.86 | 973.068 | 43.3908 | 0.20691
2020-10-03 13:15:00 | 1.371 | 133.6 | 2.336 | 147.6 | 2.07 | 139.039 | 1.938 | 145.8 | 16.64 | 973.364 | 42.6403 | 0.22539
2020-10-03 13:30:00 | 2.127 | 141.4 | 2.185 | 153.1 | 1.233 | 144.22 | 1.083 | 160 | 16.3 | 972.771 | 45.7797 | -0.26233
2020-10-03 13:45:00 | 2.081 | 136.7 | 1.843 | 152.7 | 1.314 | 143.843 | 1.173 | 141.9 | 16.11 | 972.771 | 46.0523 | -0.25125
2020-10-03 14:00:00 | 0.171 | 136.7 | 0.346 | 152.7 | 0 | 143.843 | 0 | 141.7 | 16.17 | 972.919 | 49.7411 | -0.25125
2020-10-03 14:15:00 | 1.46 | 143.3 | 1.271 | 152.7 | 0.411 | 143.843 | 0.256 | 141.7 | 16.24 | 972.919 | 50.2882 | -0.25125
2020-10-03 14:30:00 | 2.477 | 153.4 | 2.295 | 164.6 | 2.126 | 155.053 | 2.101 | 151.3 | 16.09 | 972.177 | 47.1497 | -0.25125
2020-10-03 14:45:00 | 2.441 | 165.1 | 2.449 | 177.9 | 2.146 | 167.582 | 2.113 | 158.5 | 16.27 | 972.177 | 45.375 | -0.24016
2020-10-03 15:00:00 | 3.394 | 154.9 | 3.372 | 167.7 | 2.838 | 157.973 | 2.786 | 166.6 | 16.23 | 972.177 | 47.6951 | -0.26233
2020-10-03 15:15:00 | 2.592 | 183.5 | 2.633 | 202.2 | 2.289 | 190.472 | 2.03 | 182.6 | 16.34 | 972.177 | 46.0593 | -0.25125
2020-10-03 15:30:00 | 1.59 | 220.7 | 1.526 | 237.4 | 1.205 | 223.631 | 1.12 | 215.3 | 16.28 | 972.177 | 44.4584 | -0.25125
2020-10-03 15:45:00 | 3.853 | 164.7 | 3.932 | 181 | 3.53 | 170.502 | 3.417 | 168.4 | 16.27 | 971.88 | 46.2694 | -0.25125
2020-10-03 16:00:00 | 4.165 | 150.7 | 4.532 | 166.7 | 4.539 | 157.031 | 4.477 | 156.3 | 16.17 | 971.583 | 49.9564 | 1.3893
2020-10-03 16:15:00 | 4.458 | 154.7 | 4.885 | 169.6 | 5.31 | 159.763 | 5.32 | 160.2 | 16.02 | 971.583 | 46.6131 | 2.8081
2020-10-03 16:30:00 | 4.037 | 184.7 | 3.934 | 200.5 | 3.598 | 188.871 | 3.616 | 187.8 | 16.23 | 971.88 | 45.7942 | 0.38796
2020-10-03 16:45:00 | 3.715 | 181.9 | 3.783 | 194.5 | 3.782 | 183.219 | 3.84 | 188.4 | 16.13 | 971.88 | 44.9753 | -0.22908
2020-10-03 17:00:00 | 5.092 | 166.8 | 5.218 | 180.4 | 5.122 | 169.937 | 5.129 | 173.7 | 16.01 | 971.583 | 45.453 | 1.6516
2020-10-03 17:15:00 | 4.512 | 167.2 | 4.75 | 181.3 | 4.725 | 170.785 | 4.721 | 170.2 | 15.89 | 971.286 | 45.9307 | 6.248
2020-10-03 17:30:00 | 5.089 | 164.7 | 5.144 | 182.6 | 5.384 | 172.009 | 5.335 | 170.6 | 15.97 | 971.286 | 45.5895 | 9.3036
2020-10-03 17:45:00 | 6.802 | 160.7 | 6.685 | 177.9 | 6.447 | 167.582 | 6.514 | 163.1 | 15.78 | 971.01 | 44.5316 | 14.384
2020-10-03 18:00:00 | 6.932 | 158.1 | 6.808 | 173.1 | 6.536 | 163.06 | 6.567 | 163.7 | 15.77 | 970.901 | 50.6398 | 18.3412
2020-10-03 18:15:00 | 7.323 | 155 | 7.411 | 169.2 | 7.345 | 159.386 | 7.428 | 161.2 | 15.49 | 970.839 | 51.0493 | 24.7
2020-10-03 18:30:00 | 6.149 | 161.1 | 6.225 | 175.6 | 6.462 | 165.415 | 6.565 | 165.2 | 15.37 | 971.049 | 50.5729 | 22.206
2020-10-03 18:45:00 | 5.822 | 162.5 | 5.619 | 182.7 | 5.463 | 172.103 | 5.533 | 160.4 | 15.5 | 971.26 | 49.6191 | 9.9539
2020-10-03 19:00:00 | 5.495 | 158.1 | 5.918 | 176.1 | 6.221 | 165.886 | 6.259 | 163 | 15.41 | 971.575 | 44.5007 | 9.7766
2020-10-03 19:15:00 | 5.528 | 158.7 | 5.568 | 171.8 | 5.936 | 161.836 | 6.005 | 163 | 15.4 | 971.731 | 50.3055 | 14.2695
2020-10-03 19:30:00 | 6.1 | 158.1 | 6.386 | 173.2 | 6.508 | 163.154 | 6.494 | 163.3 | 15.2 | 971.731 | 48.5656 | 12.8248
2020-10-03 19:45:00 | 5.947 | 159.6 | 6.281 | 174.1 | 6.505 | 164.002 | 6.527 | 164.4 | 15.27 | 971.88 | 47.3718 | 19.1578
2020-10-03 20:00:00 | 6.588 | 154.9 | 7.363 | 169.3 | 7.67 | 159.481 | 7.634 | 160.1 | 14.92 | 971.583 | 52.4914 | 24.4118
2020-10-03 20:15:00 | 7.213 | 156.9 | 7.442 | 171.3 | 7.635 | 161.365 | 7.617 | 163.1 | 14.82 | 971.88 | 50.7166 | 20.3808
2020-10-03 20:30:00 | 6.973 | 164 | 6.667 | 175.7 | 6.933 | 165.509 | 7.028 | 169.1 | 14.81 | 971.88 | 48.7372 | 22.0582
2020-10-03 20:45:00 | 7.211 | 156.4 | 7.675 | 169.7 | 8.08 | 159.857 | 8.13 | 163.1 | 14.54 | 971.88 | 55.3566 | 21.3451
2020-10-03 21:00:00 | 6.703 | 156.9 | 6.954 | 171.3 | 7.225 | 161.365 | 7.27 | 163 | 14.55 | 971.88 | 56.9272 | 20.4362
2020-10-03 21:15:00 | 6.218 | 156.3 | 6.872 | 169.2 | 7.106 | 159.386 | 7.227 | 164.9 | 14.26 | 971.88 | 55.9703 | 18.8991
2020-10-03 21:30:00 | 6.072 | 164.5 | 6.678 | 175.7 | 6.594 | 165.509 | 6.677 | 171.5 | 14.17 | 971.88 | 57.0646 | 21.5114
2020-10-03 21:45:00 | 6.225 | 162.5 | 6.555 | 175.5 | 6.681 | 165.321 | 6.827 | 170.1 | 14.06 | 971.88 | 59.1816 | 19.2612
2020-10-03 22:00:00 | 5.62 | 164.9 | 6.13 | 176.5 | 6.058 | 166.263 | 6.106 | 174.1 | 13.95 | 971.88 | 59.53 | 17.0295
2020-10-03 22:15:00 | 4.777 | 163.3 | 6.049 | 175.3 | 6.226 | 165.133 | 6.366 | 172.7 | 13.78 | 971.88 | 58.097 | 15.7844
2020-10-03 22:30:00 | 4.402 | 162.8 | 5.972 | 174 | 6.355 | 163.908 | 6.387 | 173.2 | 14.02 | 971.88 | 56.1187 | 15.5036
2020-10-03 22:45:00 | 4.78 | 163.1 | 5.949 | 176.8 | 6.119 | 166.546 | 6.142 | 172.8 | 14.02 | 971.88 | 55.0265 | 13.7818
2020-10-03 23:00:00 | 4.037 | 171.6 | 5.614 | 179.8 | 5.722 | 169.372 | 5.798 | 184.1 | 14.38 | 971.583 | 45.4679 | 12.0267
2020-10-03 23:15:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 14.4986
2020-10-03 23:30:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 14.7683
2020-10-03 23:45:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 17.3769