## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-04 00:00:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 18.8068
2020-10-04 00:15:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 18.3745
2020-10-04 00:30:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 19.7748
2020-10-04 00:45:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 24.9624
2020-10-04 01:00:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 20.2441
2020-10-04 01:15:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 18.5999
2020-10-04 01:30:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 17.3584
2020-10-04 01:45:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 14.8902
2020-10-04 02:00:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 17.303
2020-10-04 02:15:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 16.0984
2020-10-04 02:30:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 23.1852
2020-10-04 02:45:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 18.0493
2020-10-04 03:00:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 36.0563
2020-10-04 03:15:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 49.4223
2020-10-04 03:30:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 57.3292
2020-10-04 03:45:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 65.1903
2020-10-04 04:00:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 77.5216
2020-10-04 04:15:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 78.4733
2020-10-04 04:30:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 83.6645
2020-10-04 04:45:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 83.3209
2020-10-04 05:00:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 87.9004
2020-10-04 05:15:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 88.0999
2020-10-04 05:30:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 87.2264
2020-10-04 05:45:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 89.2305
2020-10-04 06:00:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 85.5357
2020-10-04 06:15:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 85.011
2020-10-04 06:30:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 85.6687
2020-10-04 06:45:00 | 5.066 | 182.2 | 5.895 | 187.7 | 5.989 | 176.813 | 6.084 | 193.1 | 14.81 | 971.583 | 49.121 | 80.5698
2020-10-04 07:00:00 | 10.89 | 8.79 | 12.12 | 24.93 | 11.51 | 23.4841 | 11.49 | 7.306 | 9.51 | 974.405 | 36.9472 | 78.4733
2020-10-04 07:15:00 | 10.33 | 7.493 | 11.21 | 23.37 | 10.86 | 22.0145 | 10.61 | 7.687 | 9.33 | 974.85 | 39.7473 | 79.1031
2020-10-04 07:30:00 | 10.05 | 8.11 | 11.71 | 26.09 | 11.03 | 24.5768 | 11.36 | 6.858 | 9.22 | 975.148 | 39.6788 | 81.4159
2020-10-04 07:45:00 | 10.15 | 6.712 | 11.84 | 24.36 | 11.32 | 22.9471 | 11.34 | 7.044 | 9.34 | 975.445 | 36.5013 | 77.8272
2020-10-04 08:00:00 | 11.09 | 4.78 | 11.15 | 23.75 | 11.57 | 22.3725 | 11.65 | 7.121 | 9.14 | 975.742 | 35.3061 | 79.2704
2020-10-04 08:15:00 | 11.49 | 7.948 | 13.26 | 25.65 | 12.03 | 24.1623 | 11.58 | 9.62 | 9.17 | 975.742 | 34.7611 | 77.4727
2020-10-04 08:30:00 | 9.97 | 9.14 | 12.04 | 26.6 | 10.61 | 25.0572 | 10.34 | 8.84 | 9.24 | 975.742 | 35.9893 | 73.7926
2020-10-04 08:45:00 | 8.63 | 7.538 | 9.89 | 27.37 | 9.12 | 25.7825 | 9.47 | 3.639 | 9.31 | 975.89 | 37.9003 | 76.7263
2020-10-04 09:00:00 | 8.68 | 1.142 | 9.44 | 24.62 | 10.87 | 23.192 | 11.31 | 356.2 | 9.29 | 975.89 | 36.5316 | 68.8859
2020-10-04 09:15:00 | 9.99 | 10.93 | 11.06 | 26.17 | 11.09 | 24.6521 | 11.9 | 0.638 | 9.31 | 976.036 | 36.1216 | 68.3414
2020-10-04 09:30:00 | 8.43 | 4.783 | 10.86 | 29.95 | 9.85 | 28.2129 | 10.06 | 358.8 | 9.47 | 976.255 | 36.4981 | 67.8876
2020-10-04 09:45:00 | 9.23 | 11.16 | 11.57 | 29.4 | 9.72 | 27.6948 | 9.52 | 7.939 | 9.36 | 976.091 | 36.3581 | 67.2979
2020-10-04 10:00:00 | 7.405 | 6.633 | 9.82 | 33.56 | 8.8 | 31.6135 | 9.05 | 1.371 | 9.93 | 976.346 | 36.8697 | 66.6255
2020-10-04 10:15:00 | 8.63 | 11.81 | 12.24 | 29.52 | 10.49 | 27.8078 | 9.66 | 14.17 | 9.55 | 976.677 | 37.7198 | 59.1602
2020-10-04 10:30:00 | 6.404 | 11.91 | 8.99 | 31.53 | 7.851 | 29.7013 | 7.764 | 3.625 | 10.32 | 976.874 | 36.3543 | 59.1493
2020-10-04 10:45:00 | 7.308 | 3.185 | 9.07 | 30.94 | 9.19 | 29.1455 | 9.41 | 350.1 | 10.85 | 977.231 | 31.5412 | 63.7755
2020-10-04 11:00:00 | 5.422 | 6.041 | 8.27 | 33.74 | 7.505 | 31.7831 | 7.815 | 353.6 | 11.21 | 977.226 | 32.1557 | 68.9374
2020-10-04 11:15:00 | 5.413 | 3.483 | 7.618 | 25.93 | 8.4 | 24.4261 | 8.83 | 350.5 | 11.14 | 977.523 | 30.5135 | 73.7945
2020-10-04 11:30:00 | 7.308 | 4.093 | 9.58 | 30.1 | 9.99 | 28.3542 | 10.51 | 353.8 | 11.2 | 977.226 | 30.7846 | 77.3996
2020-10-04 11:45:00 | 6.187 | 12.16 | 9.77 | 33.98 | 8.01 | 32.0092 | 7.876 | 3.547 | 11.27 | 976.78 | 32.0136 | 71.6726
2020-10-04 12:00:00 | 5.521 | 11.12 | 9.13 | 36.37 | 7.808 | 34.2605 | 7.673 | 358.9 | 12.08 | 977.226 | 29.59 | 65.981
2020-10-04 12:15:00 | 5.075 | 12.12 | 7.547 | 31.62 | 7.375 | 29.786 | 7.395 | 3.544 | 12.24 | 977.204 | 29.4149 | 55.8133
2020-10-04 12:30:00 | 5.344 | 10.95 | 8.31 | 33.34 | 7.022 | 31.4063 | 7.125 | 358.8 | 11.98 | 977.184 | 30.3036 | 59.5018
2020-10-04 12:45:00 | 4.157 | 359.6 | 5.008 | 11.86 | 5.638 | 11.1721 | 5.615 | 351.8 | 12.28 | 977.374 | 30.7146 | 46.0341
2020-10-04 13:00:00 | 4.375 | 0.334 | 6.348 | 31 | 6.419 | 29.202 | 6.394 | 350.1 | 12.34 | 977.222 | 30.4077 | 42.8935
2020-10-04 13:15:00 | 3.897 | 3.345 | 5.527 | 24.18 | 5.648 | 22.7776 | 5.724 | 348.6 | 12.52 | 977.077 | 30.7843 | 36.021
2020-10-04 13:30:00 | 3.198 | 6.744 | 4.936 | 29.77 | 4.585 | 28.0433 | 4.507 | 348.5 | 12.75 | 977.225 | 30.1703 | 39.2762
2020-10-04 13:45:00 | 4.277 | 342.4 | 5.193 | 3.28 | 5.999 | 3.0898 | 6.196 | 334.4 | 12.8 | 977.225 | 27.2339 | 37.0224
2020-10-04 14:00:00 | 5.03 | 332.3 | 5.394 | 349.5 | 5.33 | 329.229 | 5.46 | 332.2 | 13.05 | 977.225 | 26.5526 | 29.5144
2020-10-04 14:15:00 | 3.329 | 4.23 | 4.111 | 18.74 | 4.182 | 17.6531 | 4.237 | 356.1 | 13.39 | 977.498 | 26.481 | 29.8343
2020-10-04 14:30:00 | 4.497 | 347.8 | 4.696 | 4.529 | 4.996 | 4.2663 | 5.103 | 346.7 | 13.41 | 976.985 | 26.7531 | 25.9785
2020-10-04 14:45:00 | 3.993 | 7.634 | 5.599 | 31.54 | 6.172 | 29.7107 | 6.277 | 354.5 | 13.53 | 977.119 | 27.1967 | 35.1496
2020-10-04 15:00:00 | 5.172 | 8.91 | 7.892 | 29.64 | 6.373 | 27.9209 | 6.369 | 0.92 | 13.71 | 977.086 | 26.3436 | 41.5403
2020-10-04 15:15:00 | 3.244 | 6.119 | 4.761 | 20.72 | 5.422 | 19.5182 | 5.281 | 355.9 | 13.77 | 977.224 | 28.3228 | 38.8919
2020-10-04 15:30:00 | 4.589 | 357.2 | 5.53 | 16.91 | 6.228 | 15.9292 | 6.336 | 351.1 | 13.57 | 977.224 | 27.0941 | 33.4938
2020-10-04 15:45:00 | 5.732 | 4.8 | 6.795 | 30.34 | 6.493 | 28.5803 | 6.631 | 359.7 | 13.33 | 976.778 | 28.1863 | 31.4579
2020-10-04 16:00:00 | 3.856 | 6.33 | 5.67 | 33.26 | 5.389 | 31.3309 | 5.559 | 350.9 | 13.24 | 976.927 | 30.0972 | 29.0289
2020-10-04 16:15:00 | 5.566 | 357.4 | 6.58 | 20.6 | 7.111 | 19.4052 | 7.265 | 355.1 | 13.44 | 977.224 | 28.664 | 34.6761
2020-10-04 16:30:00 | 4.73 | 353.2 | 5.427 | 22.3 | 7.085 | 21.0066 | 7.237 | 349.2 | 12.97 | 976.63 | 29.8243 | 30.2091
2020-10-04 16:45:00 | 4.07 | 358.3 | 5.611 | 29.08 | 4.918 | 27.3934 | 5.078 | 345.8 | 12.92 | 977.009 | 30.9162 | 29.1339
2020-10-04 17:00:00 | 4.129 | 348.3 | 4.796 | 19.69 | 5.697 | 18.548 | 5.992 | 346.7 | 12.75 | 977.165 | 30.302 | 20.5729
2020-10-04 17:15:00 | 4.397 | 343.8 | 4.489 | 11.2 | 4.875 | 10.5504 | 4.932 | 340.2 | 12.53 | 976.927 | 31.9447 | 23.2258
2020-10-04 17:30:00 | 5.298 | 350 | 5.33 | 10 | 6.498 | 9.42 | 6.71 | 347.9 | 12.28 | 976.631 | 32.0124 | 23.7985
2020-10-04 17:45:00 | 4.535 | 358.6 | 5.394 | 16.25 | 7.421 | 15.3075 | 7.838 | 359.1 | 12.07 | 976.186 | 32.9047 | 24.1717
2020-10-04 18:00:00 | 4.987 | 358 | 5.734 | 12.64 | 8.07 | 11.9069 | 8.51 | 359.6 | 11.88 | 976.186 | 33.1115 | 24.2493
2020-10-04 18:15:00 | 5.319 | 358.7 | 5.624 | 12.54 | 7.482 | 11.8127 | 7.927 | 359.3 | 11.68 | 976.334 | 34.2721 | 20.8574
2020-10-04 18:30:00 | 4.622 | 351 | 5.376 | 8.11 | 8.08 | 7.6396 | 8.14 | 355.7 | 11.6 | 976.635 | 33.8966 | 19.5864
2020-10-04 18:45:00 | 5.153 | 353.8 | 5.954 | 7.626 | 7.902 | 7.1837 | 7.866 | 355.9 | 11.57 | 976.798 | 33.999 | 14.8644
2020-10-04 19:00:00 | 5.423 | 7.147 | 5.601 | 12.3 | 6.513 | 11.5866 | 7.4 | 9.08 | 11.82 | 977.106 | 32.6349 | 10.6966
2020-10-04 19:15:00 | 3.828 | 7.296 | 4.113 | 15.78 | 5.142 | 14.8648 | 5.503 | 7.22 | 11.9 | 977.304 | 33.2507 | 8.5092
2020-10-04 19:30:00 | 3.955 | 9.97 | 3.934 | 16.52 | 4.634 | 15.5618 | 5.047 | 3.775 | 11.75 | 977.269 | 32.3639 | 7.6077
2020-10-04 19:45:00 | 4.737 | 9.77 | 4.934 | 14.03 | 5.867 | 13.2163 | 6.761 | 22.55 | 11.87 | 977.317 | 32.3659 | 8.8307
2020-10-04 20:00:00 | 4.522 | 8.51 | 4.709 | 14.55 | 5.636 | 13.7061 | 5.923 | 4.818 | 11.88 | 977.503 | 32.9118 | 10.1719
2020-10-04 20:15:00 | 4.463 | 8.65 | 4.423 | 17.19 | 4.547 | 16.193 | 4.726 | 4.897 | 11.59 | 977.618 | 34.4805 | 12.2299
2020-10-04 20:30:00 | 4.425 | 10.59 | 4.016 | 19.46 | 5.043 | 18.3313 | 5.363 | 4.937 | 11.58 | 977.631 | 33.4603 | 10.2495
2020-10-04 20:45:00 | 4.721 | 5.996 | 4.446 | 16.85 | 5.829 | 15.8727 | 6.649 | 10.43 | 11.53 | 977.802 | 34.0737 | 11.2693
2020-10-04 21:00:00 | 5.595 | 6.756 | 5 | 13.75 | 5.257 | 12.9525 | 5.393 | 4.815 | 11.41 | 977.735 | 34.3465 | 14.6057
2020-10-04 21:15:00 | 4.44 | 7.097 | 4.832 | 19.26 | 5.529 | 18.1429 | 5.353 | 8.33 | 11.44 | 977.855 | 34.6193 | 15.0971
2020-10-04 21:30:00 | 4.073 | 6.686 | 4.88 | 21.96 | 5.336 | 20.6863 | 5.078 | 8.34 | 11.42 | 978.063 | 34.2101 | 12.9098
2020-10-04 21:45:00 | 3.879 | 7.257 | 4.844 | 20.97 | 5.01 | 19.7537 | 5.047 | 6.17 | 11.39 | 978.083 | 34.2779 | 11.6314
2020-10-04 22:00:00 | 3.419 | 8.24 | 4.021 | 21.08 | 3.784 | 19.8574 | 3.743 | 9.01 | 11.23 | 978.096 | 35.3704 | 7.3343
2020-10-04 22:15:00 | 2.668 | 5.915 | 4.21 | 24.51 | 4.377 | 23.0884 | 4.288 | 7.171 | 11.01 | 978.1 | 36.6681 | 5.6309
2020-10-04 22:30:00 | 3.5 | 8.64 | 5.123 | 26.74 | 5.089 | 25.1891 | 5.009 | 11.74 | 11.31 | 978.115 | 35.7119 | 5.7048
2020-10-04 22:45:00 | 4.315 | 8.98 | 6.248 | 26.65 | 5.989 | 25.1043 | 5.483 | 14.2 | 11.46 | 978.112 | 34.0735 | 8.8935
2020-10-04 23:00:00 | 3.777 | 14.04 | 5.841 | 31.65 | 6.32 | 29.8143 | 5.811 | 18.64 | 11.41 | 978.114 | 33.2543 | 8.4612
2020-10-04 23:15:00 | 3.71 | 13.78 | 5.53 | 31.5 | 5.984 | 29.673 | 5.307 | 17.12 | 11.42 | 978.098 | 32.7074 | 7.9439
2020-10-04 23:30:00 | 3.95 | 14.1 | 5.604 | 32.69 | 5.931 | 30.794 | 5.373 | 17.18 | 11.65 | 978.091 | 31.7515 | 5.7566
2020-10-04 23:45:00 | 3.726 | 12.32 | 5.374 | 30.22 | 5.595 | 28.4672 | 4.841 | 15.75 | 11.55 | 978.066 | 31.888 | 5.6014