## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-05 00:00:00 | 3.365 | 8.27 | 4.428 | 26.12 | 4.86 | 24.605 | 4.426 | 13.01 | 11.69 | 978.108 | 31.547 | 3.7909
2020-10-05 00:15:00 | 2.934 | 11.17 | 4.103 | 27.73 | 4.745 | 26.1217 | 4.212 | 14.53 | 11.69 | 978.242 | 31.2736 | 3.1369
2020-10-05 00:30:00 | 3.059 | 7.923 | 4.236 | 26.53 | 3.965 | 24.9913 | 3.899 | 8.23 | 11.76 | 978.641 | 30.9326 | 2.8672
2020-10-05 00:45:00 | 4.065 | 7.479 | 5.21 | 26.76 | 4.74 | 25.2079 | 4.762 | 7.46 | 11.65 | 978.664 | 31.1373 | 4.7922
2020-10-05 01:00:00 | 3.531 | 8.23 | 4.576 | 25.73 | 4.547 | 24.2377 | 4.573 | 6.112 | 11.66 | 978.654 | 31.0005 | 4.3599
2020-10-05 01:15:00 | 3.263 | 8.67 | 4.553 | 26.89 | 4.133 | 25.3304 | 4.021 | 8.66 | 11.83 | 978.623 | 30.6591 | 4.5668
2020-10-05 01:30:00 | 3.631 | 7.2 | 5.205 | 27.93 | 4.743 | 26.3101 | 4.622 | 8.95 | 11.82 | 978.604 | 30.5232 | 6.865
2020-10-05 01:45:00 | 3.835 | 6.903 | 4.916 | 26.48 | 4.634 | 24.9442 | 4.436 | 7.418 | 11.91 | 978.592 | 30.1826 | 7.1237
2020-10-05 02:00:00 | 3.501 | 6.443 | 4.913 | 26.04 | 4.311 | 24.5297 | 4.258 | 5.366 | 11.96 | 978.553 | 29.9073 | 4.8661
2020-10-05 02:15:00 | 3.511 | 7.479 | 4.453 | 26.15 | 4.26 | 24.6333 | 4.372 | 7.718 | 12.1 | 978.479 | 29.8728 | 5.1506
2020-10-05 02:30:00 | 3.552 | 6.841 | 4.435 | 23.87 | 4.415 | 22.4855 | 4.66 | 5.144 | 12.11 | 978.648 | 29.4288 | 3.3919
2020-10-05 02:45:00 | 3.434 | 8.77 | 4.931 | 25.74 | 4.16 | 24.2471 | 4.128 | 7.513 | 11.87 | 978.143 | 30.4187 | 4.4745
2020-10-05 03:00:00 | 3.35 | 355.3 | 3.679 | 9.62 | 4.524 | 9.062 | 4.657 | 350.7 | 11.79 | 978.504 | 30.3506 | 0.95696
2020-10-05 03:15:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 3.4842
2020-10-05 03:30:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 6.078
2020-10-05 03:45:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 6.2775
2020-10-05 04:00:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 7.8442
2020-10-05 04:15:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 6.6064
2020-10-05 04:30:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 7.2567
2020-10-05 04:45:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 5.0989
2020-10-05 05:00:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 4.5114
2020-10-05 05:15:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 5.3575
2020-10-05 05:30:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 7.3786
2020-10-05 05:45:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 6.2554
2020-10-05 06:00:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 6.7911
2020-10-05 06:15:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 6.3034
2020-10-05 06:30:00 | 3.669 | 358 | 3.625 | 357.8 | 3.197 | 337.048 | 3.241 | 4.695 | 10.65 | 978.252 | 35.8483 | 5.594
2020-10-05 06:45:00 | 3.588 | 337.2 | 4.64 | 0.531 | 3.021 | 0.5002 | 2.747 | 333.1 | 10.35 | 979.901 | 35.035 | 4.3193
2020-10-05 07:00:00 | 2.482 | 337 | 3.246 | 0.989 | 2.907 | 0.93164 | 2.707 | 331.9 | 10.95 | 980.756 | 34.9619 | 4.2232
2020-10-05 07:15:00 | 2.556 | 338.3 | 3.032 | 3.944 | 2.479 | 3.7153 | 2.414 | 329.9 | 11.22 | 980.805 | 35.9107 | 2.6788
2020-10-05 07:30:00 | 2.86 | 334.5 | 3.436 | 354.9 | 2.467 | 334.316 | 2.33 | 331.6 | 10.85 | 980.789 | 35.8082 | 1.4632
2020-10-05 07:45:00 | 1.138 | 359.2 | 2.155 | 24.33 | 2.551 | 22.9189 | 2.658 | 341.8 | 10.97 | 980.492 | 37.6856 | 0.62073
2020-10-05 08:00:00 | 2.587 | 332.1 | 3.016 | 359.9 | 2.194 | 339.026 | 2.057 | 327.4 | 10.79 | 981.086 | 36.5933 | 0.73527
2020-10-05 08:15:00 | 1.509 | 358.8 | 2.505 | 21.22 | 2.81 | 19.9892 | 2.783 | 347 | 11.16 | 981.383 | 35.1596 | 1.6257
2020-10-05 08:30:00 | 4.137 | 5.672 | 3.975 | 25.16 | 4.188 | 23.7007 | 4.199 | 356.8 | 10.99 | 980.789 | 34.7841 | 4.9178
2020-10-05 08:45:00 | 4.223 | 9.11 | 4.287 | 22.96 | 4.901 | 21.6283 | 5.406 | 9.1 | 10.67 | 980.789 | 36.0471 | 5.9302
2020-10-05 09:00:00 | 4.665 | 7.047 | 5.351 | 24.32 | 5.13 | 22.9094 | 4.591 | 7.241 | 10.95 | 980.789 | 34.5793 | 3.9165
2020-10-05 09:15:00 | 4.259 | 10.96 | 5.085 | 32.47 | 4.166 | 30.5867 | 4.207 | 9.32 | 11.53 | 981.383 | 35.9778 | 2.5605
2020-10-05 09:30:00 | 3.633 | 6.469 | 3.955 | 27.39 | 4.288 | 25.8014 | 4.517 | 357.3 | 11.87 | 981.977 | 34.607 | 1.9657
2020-10-05 09:45:00 | 3.81 | 8.87 | 4.254 | 30.84 | 3.751 | 29.0513 | 3.988 | 3.903 | 11.99 | 981.68 | 34.9479 | 1.526
2020-10-05 10:00:00 | 4.042 | 15.77 | 5.57 | 31.39 | 5.254 | 29.5694 | 5.06 | 21.43 | 12.02 | 981.532 | 38.6339 | 0.99761
2020-10-05 10:15:00 | 3.876 | 16.89 | 5.156 | 30.79 | 4.799 | 29.0042 | 4.764 | 19.67 | 12.59 | 981.532 | 34.0614 | 1.3338
2020-10-05 10:30:00 | 4.111 | 13.56 | 5.282 | 27.52 | 4.697 | 25.9238 | 4.382 | 14.9 | 12.73 | 981.68 | 32.6962 | 1.2156
2020-10-05 10:45:00 | 2.284 | 19.21 | 5.085 | 35.86 | 4.806 | 33.7801 | 4.494 | 21.86 | 13.21 | 981.68 | 29.4194 | 0.90893
2020-10-05 11:00:00 | 2.872 | 20.88 | 5.703 | 38.16 | 4.857 | 35.9467 | 4.596 | 19.79 | 13.38 | 981.958 | 35.0799 | 1.053
2020-10-05 11:15:00 | 2.19 | 17.91 | 3.799 | 32.64 | 4.471 | 30.7469 | 4.27 | 14.21 | 14.29 | 981.978 | 29.2783 | 0.97174
2020-10-05 11:30:00 | 2.218 | 7.569 | 2.724 | 15.68 | 2.753 | 14.7706 | 2.678 | 14.92 | 14.36 | 982.27 | 29.2076 | 1.5149
2020-10-05 11:45:00 | 1.144 | 18.17 | 3.333 | 29.14 | 3.408 | 27.4499 | 3.28 | 19.24 | 14.83 | 982.27 | 29.5414 | 0.33254
2020-10-05 12:00:00 | 1.494 | 18.08 | 2.469 | 30.51 | 2.267 | 28.7404 | 2.092 | 19.02 | 15.05 | 982.27 | 27.4945 | 0.12932
2020-10-05 12:15:00 | 3.585 | 324.3 | 3.645 | 335.8 | 3.446 | 316.324 | 3.539 | 325.3 | 14.71 | 981.974 | 30.2917 | -0.19213
2020-10-05 12:30:00 | 2.737 | 344.7 | 2.964 | 9.26 | 3.102 | 8.7229 | 2.993 | 335.5 | 14.75 | 981.677 | 27.972 | -0.22539
2020-10-05 12:45:00 | 3.161 | 294.8 | 3.561 | 300.7 | 3.044 | 283.259 | 2.977 | 299.1 | 14.51 | 981.528 | 29.2001 | -0.25125
2020-10-05 13:00:00 | 2.147 | 324.4 | 2.878 | 326.5 | 2.215 | 307.563 | 2.124 | 337.4 | 14.59 | 981.231 | 28.9954 | -0.27342
2020-10-05 13:15:00 | 2.56 | 323.8 | 2.835 | 336.9 | 2.555 | 317.36 | 2.648 | 326.2 | 14.84 | 981.083 | 27.4947 | -0.24016
2020-10-05 13:30:00 | 1.221 | 226.1 | 1.177 | 244.8 | 0.053 | 230.602 | 0.101 | 252.1 | 14.59 | 980.934 | 27.6315 | -0.25125
2020-10-05 13:45:00 | 0.674 | 286.4 | 1.106 | 298.3 | 0.149 | 280.999 | 0.813 | 279.4 | 14.77 | 980.489 | 28.1085 | -0.23647
2020-10-05 14:00:00 | 0.552 | 312.2 | 0.671 | 83.4 | 0 | 78.5628 | 0.038 | 298.4 | 15.15 | 980.489 | 28.518 | -0.22539
2020-10-05 14:15:00 | 0.401 | 14.62 | 0.27 | 109.1 | 0.062 | 102.772 | 0.615 | 318.3 | 15.03 | 980.489 | 28.9272 | -0.24016
2020-10-05 14:30:00 | 1.053 | 321.7 | 1.815 | 323.5 | 0.394 | 304.737 | 1.468 | 335.3 | 14.75 | 980.192 | 27.6992 | -0.24016
2020-10-05 14:45:00 | 0.568 | 292.9 | 0.894 | 314.9 | 0 | 296.636 | 0.277 | 311.9 | 15.15 | 980.044 | 29.3377 | -0.25125
2020-10-05 15:00:00 | 0.474 | 348.5 | 1.098 | 2.233 | 0 | 2.1035 | 0.136 | 339.2 | 15.01 | 980.489 | 28.6544 | -0.24016
2020-10-05 15:15:00 | 0.694 | 345 | 1.263 | 348.8 | 0.022 | 328.57 | 0.828 | 329.8 | 15.25 | 980.638 | 28.6202 | -0.25864
2020-10-05 15:30:00 | 1.008 | 279.7 | 1.66 | 298.6 | 0.232 | 281.281 | 1.149 | 277.3 | 14.83 | 980.489 | 28.9954 | -0.25125
2020-10-05 15:45:00 | 1.06 | 243.5 | 1.137 | 265.4 | 0 | 250.007 | 0.363 | 258.3 | 15.16 | 980.786 | 27.9038 | -0.24016
2020-10-05 16:00:00 | 0.252 | 254.6 | 0.649 | 288.6 | 0 | 271.861 | 0.243 | 227.6 | 14.88 | 980.192 | 29.5071 | -0.24016
2020-10-05 16:15:00 | 1.904 | 236.7 | 2.05 | 261.1 | 0.289 | 245.956 | 1.673 | 235.8 | 14.45 | 979.896 | 31.5545 | -0.22539
2020-10-05 16:30:00 | 2.122 | 232.2 | 2.173 | 249.8 | 0.332 | 235.312 | 1.733 | 233.7 | 14.58 | 979.599 | 32.0679 | -0.25125
2020-10-05 16:45:00 | 2.155 | 216.6 | 2.278 | 232.3 | 0.199 | 218.827 | 1.691 | 223.5 | 14.38 | 979.302 | 32.0756 | -0.25125
2020-10-05 17:00:00 | 0.897 | 202 | 1.59 | 209 | 0.115 | 196.878 | 1.588 | 213.2 | 14.22 | 979.005 | 32.7589 | -0.25125
2020-10-05 17:15:00 | 2.574 | 223.3 | 2.643 | 235.4 | 1.888 | 221.747 | 2.549 | 227.3 | 14.19 | 979.133 | 31.6669 | -0.26233
2020-10-05 17:30:00 | 1.38 | 207.7 | 1.687 | 215.8 | 0.628 | 203.284 | 2.187 | 220.4 | 14 | 979.004 | 33.5817 | -0.19583
2020-10-05 17:45:00 | 2.656 | 201.6 | 3.223 | 211.8 | 2.551 | 199.516 | 3.101 | 205.3 | 13.79 | 978.71 | 34.744 | -0.10346
2020-10-05 18:00:00 | 3.248 | 213.3 | 3.742 | 225.3 | 3.693 | 212.233 | 3.669 | 215.5 | 13.68 | 978.562 | 34.8464 | 0.099761
2020-10-05 18:15:00 | 2.002 | 208 | 2.497 | 216.2 | 3.273 | 203.66 | 3.387 | 216.8 | 13.53 | 978.562 | 34.4076 | 0.52467
2020-10-05 18:30:00 | 2.38 | 212 | 3.512 | 219.2 | 3.596 | 206.486 | 3.585 | 219.6 | 13.47 | 978.71 | 35.774 | 0.67985
2020-10-05 18:45:00 | 2.482 | 206.8 | 3.016 | 212.3 | 3.321 | 199.987 | 3.552 | 214.7 | 13.3 | 978.71 | 35.7057 | 0.67616
2020-10-05 19:00:00 | 2.441 | 204.2 | 3.111 | 210.5 | 3.385 | 198.291 | 3.527 | 212.7 | 13.28 | 978.859 | 35.3644 | 1.1491
2020-10-05 19:15:00 | 3.22 | 213 | 3.998 | 224.2 | 3.929 | 211.196 | 3.949 | 216.7 | 13.3 | 978.859 | 34.6817 | 1.7994
2020-10-05 19:30:00 | 3.253 | 206.7 | 4.07 | 218.1 | 4.303 | 205.45 | 4.433 | 212.3 | 13.32 | 979.007 | 35.3644 | 2.2169
2020-10-05 19:45:00 | 2.719 | 206.3 | 3.622 | 213.1 | 4.188 | 200.74 | 4.252 | 213 | 13.12 | 979.017 | 34.3403 | 2.5827
2020-10-05 20:00:00 | 3.399 | 213.8 | 4.1 | 223.6 | 4.545 | 210.631 | 4.66 | 218.8 | 13.29 | 979.156 | 34.0672 | 2.7674
2020-10-05 20:15:00 | 2.487 | 206 | 3.535 | 214.5 | 4.305 | 202.059 | 4.41 | 211.9 | 13.13 | 979.304 | 33.8624 | 3.4916
2020-10-05 20:30:00 | 3.23 | 209.1 | 3.99 | 218.9 | 4.331 | 206.204 | 4.421 | 213.9 | 13.22 | 979.304 | 33.9307 | 2.9633
2020-10-05 20:45:00 | 2.428 | 204 | 3.428 | 211.2 | 3.944 | 198.95 | 4.072 | 211 | 13.06 | 979.304 | 34.9548 | 2.0987
2020-10-05 21:00:00 | 2.901 | 186.5 | 3.717 | 195.8 | 3.733 | 184.444 | 3.799 | 193.5 | 12.9 | 979.018 | 36.1154 | 2.2132
2020-10-05 21:15:00 | 2.311 | 183 | 3.612 | 192.9 | 4.021 | 181.712 | 4.054 | 189.7 | 12.65 | 979.047 | 39.051 | 1.8068
2020-10-05 21:30:00 | 2.602 | 169.9 | 3.346 | 180.8 | 3.693 | 170.314 | 3.718 | 181.5 | 12.58 | 979.095 | 37.4125 | 1.622
2020-10-05 21:45:00 | 2.842 | 185.7 | 3.556 | 191.5 | 3.603 | 180.393 | 3.7 | 194 | 12.45 | 979.082 | 37.3443 | 1.7809
2020-10-05 22:00:00 | 2.878 | 198.5 | 3.405 | 206.5 | 3.626 | 194.523 | 3.786 | 207 | 12.43 | 979.059 | 39.2558 | 2.2058
2020-10-05 22:15:00 | 3.291 | 210.8 | 3.911 | 217.7 | 4.033 | 205.073 | 4.102 | 218.7 | 12.48 | 979.052 | 39.7337 | 3.2773
2020-10-05 22:30:00 | 4.121 | 219.5 | 4.463 | 229 | 4.621 | 215.718 | 4.655 | 224.1 | 12.32 | 978.928 | 40.0068 | 2.8007
2020-10-05 22:45:00 | 3.174 | 208.3 | 3.543 | 217.4 | 4.018 | 204.791 | 4.23 | 216.2 | 11.96 | 978.882 | 41.5771 | 3.3327
2020-10-05 23:00:00 | 3.649 | 210.4 | 3.965 | 220.5 | 4.252 | 207.711 | 4.451 | 216 | 11.85 | 978.752 | 41.6453 | 3.1147
2020-10-05 23:15:00 | 3.853 | 223.4 | 4.31 | 232.4 | 5.063 | 218.921 | 5.236 | 228.9 | 11.63 | 978.433 | 42.8076 | 2.7785
2020-10-05 23:30:00 | 2.566 | 207.3 | 3.206 | 214 | 3.949 | 201.588 | 4.184 | 217 | 11.41 | 978.165 | 42.4701 | 3.6727
2020-10-05 23:45:00 | 3.455 | 208.5 | 3.873 | 215.2 | 4.753 | 202.718 | 5.029 | 219.1 | 11.55 | 978.604 | 39.3318 | 4.3267