## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-06 00:00:00 | 3.445 | 209.9 | 4.123 | 219.5 | 4.618 | 206.769 | 4.777 | 218.1 | 11.62 | 978.533 | 39.6719 | 3.8205
2020-10-06 00:15:00 | 3.358 | 211.3 | 4.095 | 218.4 | 4.89 | 205.733 | 5.095 | 220.3 | 11.56 | 978.672 | 40.1506 | 4.3821
2020-10-06 00:30:00 | 3.623 | 209.9 | 4.187 | 217.9 | 5.025 | 205.262 | 5.337 | 218.6 | 11.5 | 978.624 | 39.9458 | 3.7946
2020-10-06 00:45:00 | 3.866 | 208.1 | 4.586 | 215.8 | 5.219 | 203.284 | 5.432 | 215.9 | 11.51 | 978.888 | 38.6479 | 5.0545
2020-10-06 01:00:00 | 3.639 | 210.4 | 4.254 | 217.5 | 4.865 | 204.885 | 5.047 | 216.7 | 11.56 | 978.613 | 40.6971 | 3.5544
2020-10-06 01:15:00 | 4.2 | 207.5 | 4.581 | 216.5 | 4.896 | 203.943 | 5.052 | 213.5 | 11.38 | 979.091 | 42.8817 | 3.85
2020-10-06 01:30:00 | 2.934 | 199 | 3.658 | 205.9 | 3.853 | 193.958 | 4.031 | 209 | 11.08 | 979.298 | 45.9549 | 2.5901
2020-10-06 01:45:00 | 2.556 | 195.3 | 2.912 | 204.4 | 3.619 | 192.545 | 3.728 | 207.4 | 10.9 | 979.005 | 48.4124 | 1.4558
2020-10-06 02:00:00 | 2.38 | 208.4 | 3.029 | 214.8 | 3.67 | 202.342 | 3.86 | 218.5 | 10.99 | 979.009 | 49.5741 | 1.2784
2020-10-06 02:15:00 | 2.995 | 212.3 | 3.538 | 221.1 | 4.262 | 208.276 | 4.464 | 222.8 | 11.01 | 979.009 | 50.3955 | 2.7859
2020-10-06 02:30:00 | 3.082 | 213.6 | 3.556 | 220.4 | 4.222 | 207.617 | 4.459 | 221.3 | 11.05 | 979.009 | 51.2158 | 1.4927
2020-10-06 02:45:00 | 2.482 | 214.3 | 3.093 | 219.5 | 3.687 | 206.769 | 3.932 | 224.9 | 11.01 | 978.712 | 51.5242 | 1.2008
2020-10-06 03:00:00 | 2.469 | 218.2 | 3.139 | 222.7 | 4.077 | 209.783 | 4.283 | 229.1 | 10.96 | 978.712 | 51.4888 | 1.6183
2020-10-06 03:15:00 | 2.232 | 212.4 | 2.998 | 214 | 4.102 | 201.588 | 4.362 | 222.7 | 10.92 | 978.564 | 50.3972 | 0.25494
2020-10-06 03:30:00 | 2.063 | 218.8 | 2.784 | 220.5 | 3.637 | 207.711 | 3.83 | 229.7 | 11.13 | 978.415 | 48.9639 | -0.15888
2020-10-06 03:45:00 | 3.312 | 217.1 | 3.788 | 220.5 | 3.822 | 207.711 | 3.799 | 229 | 11.34 | 978.712 | 48.1401 | 0.43969
2020-10-06 04:00:00 | 3.595 | 214 | 4.336 | 221.2 | 4.448 | 208.37 | 4.423 | 224 | 11.36 | 978.861 | 48.2087 | 1.2304
2020-10-06 04:15:00 | 3.161 | 206.6 | 3.702 | 212.7 | 4.326 | 200.363 | 4.543 | 216.3 | 11.2 | 979.158 | 48.5491 | 1.5334
2020-10-06 04:30:00 | 2.791 | 200.7 | 3.379 | 203.9 | 4.026 | 192.074 | 4.23 | 211.9 | 11.15 | 978.963 | 48.754 | 1.0826
2020-10-06 04:45:00 | 2.37 | 188 | 2.712 | 192.5 | 3.199 | 181.335 | 3.376 | 204 | 11.15 | 978.692 | 48.7539 | 0.59118
2020-10-06 05:00:00 | 2.068 | 185.4 | 2.894 | 193.1 | 2.886 | 181.9 | 3.061 | 195.9 | 11.14 | 978.668 | 48.3442 | 0.53575
2020-10-06 05:15:00 | 2.068 | 185.4 | 2.894 | 193.1 | 2.886 | 181.9 | 3.061 | 195.9 | 11.14 | 978.668 | 48.3442 | 0.56162
2020-10-06 05:30:00 | 2.068 | 185.4 | 2.894 | 193.1 | 2.886 | 181.9 | 3.061 | 195.9 | 11.14 | 978.668 | 48.3442 | 1.6848
2020-10-06 05:45:00 | 2.068 | 185.4 | 2.894 | 193.1 | 2.886 | 181.9 | 3.061 | 195.9 | 11.14 | 978.668 | 48.3442 | 1.4521
2020-10-06 06:00:00 | 2.068 | 185.4 | 2.894 | 193.1 | 2.886 | 181.9 | 3.061 | 195.9 | 11.14 | 978.668 | 48.3442 | 1.3301
2020-10-06 06:15:00 | 2.068 | 185.4 | 2.894 | 193.1 | 2.886 | 181.9 | 3.061 | 195.9 | 11.14 | 978.668 | 48.3442 | 2.2206
2020-10-06 06:30:00 | 2.068 | 185.4 | 2.894 | 193.1 | 2.886 | 181.9 | 3.061 | 195.9 | 11.14 | 978.668 | 48.3442 | 3.3291
2020-10-06 06:45:00 | 2.362 | 147.5 | 3.344 | 157.5 | 3.311 | 148.365 | 3.282 | 154.9 | 11.24 | 979.294 | 48.0726 | 5.3206
2020-10-06 07:00:00 | 3.771 | 145.5 | 3.827 | 165.9 | 4.107 | 156.278 | 4.151 | 148.6 | 11.15 | 979.781 | 49.0276 | 7.2604
2020-10-06 07:15:00 | 3.544 | 141 | 3.679 | 164.1 | 4.237 | 154.582 | 4.431 | 143.2 | 10.79 | 979.605 | 50.5216 | 9.9096
2020-10-06 07:30:00 | 3.404 | 147.7 | 3.515 | 168.2 | 3.535 | 158.444 | 3.786 | 147.1 | 10.89 | 979.806 | 50.3158 | 10.4232
2020-10-06 07:45:00 | 4.732 | 143.1 | 4.313 | 168.7 | 4.234 | 158.915 | 4.316 | 147.1 | 11.18 | 980.222 | 50.1451 | 12.1671
2020-10-06 08:00:00 | 4.806 | 136.3 | 5.696 | 153.5 | 5.862 | 144.597 | 5.811 | 143.4 | 11.42 | 980.195 | 48.1994 | 14.6796
2020-10-06 08:15:00 | 6.018 | 133.6 | 6.015 | 151.6 | 6.238 | 142.807 | 6.28 | 138.3 | 11.43 | 980.492 | 46.9705 | 13.7929
2020-10-06 08:30:00 | 5.495 | 138.3 | 5.409 | 157.7 | 5.435 | 148.553 | 5.498 | 141.6 | 12.36 | 980.938 | 45.6654 | 12.9061
2020-10-06 08:45:00 | 6.108 | 137.6 | 6.026 | 158.7 | 5.646 | 149.495 | 5.684 | 140.1 | 12.25 | 981.086 | 46.4162 | 12.8913
2020-10-06 09:00:00 | 5.898 | 135.3 | 6.061 | 153.2 | 5.954 | 144.314 | 5.949 | 137 | 12.21 | 980.938 | 46.8243 | 10.9663
2020-10-06 09:15:00 | 5.288 | 132.9 | 5.243 | 153 | 5.206 | 144.126 | 5.286 | 134.9 | 12.4 | 981.378 | 43.0657 | 9.3701
2020-10-06 09:30:00 | 5.809 | 137.7 | 5.611 | 158.7 | 5.664 | 149.495 | 5.666 | 139.9 | 12.97 | 981.624 | 44.0198 | 9.093
2020-10-06 09:45:00 | 5.676 | 142.9 | 5.627 | 159.2 | 5.544 | 149.966 | 5.516 | 148.1 | 13.53 | 981.38 | 38.9695 | 8.2838
2020-10-06 10:00:00 | 6.108 | 148.9 | 5.959 | 166.9 | 5.575 | 157.22 | 5.551 | 153.6 | 14.24 | 981.677 | 35.9666 | 9.9539
2020-10-06 10:15:00 | 6.595 | 149.2 | 6.266 | 167.9 | 5.526 | 158.162 | 5.457 | 153 | 14.06 | 981.825 | 35.2788 | 8.7531
2020-10-06 10:30:00 | 5.579 | 146.6 | 5.402 | 164.8 | 4.865 | 155.242 | 4.91 | 153.1 | 14.25 | 982.716 | 36.231 | 8.5794
2020-10-06 10:45:00 | 5.972 | 150.6 | 5.852 | 165.7 | 5.302 | 156.089 | 5.261 | 155.1 | 14.35 | 981.825 | 39.2305 | 8.0511
2020-10-06 11:00:00 | 5.39 | 141.1 | 5.207 | 155.7 | 4.285 | 146.669 | 4.186 | 147.4 | 14.61 | 981.825 | 39.0248 | 7.8959
2020-10-06 11:15:00 | 5.362 | 153.1 | 5.228 | 168.9 | 4.717 | 159.104 | 4.678 | 161.3 | 14.96 | 982.27 | 38.2739 | 7.205
2020-10-06 11:30:00 | 5.393 | 156.2 | 5.358 | 170 | 4.473 | 160.14 | 4.494 | 164.8 | 14.89 | 981.677 | 35.2038 | 5.5681
2020-10-06 11:45:00 | 5.865 | 190.8 | 5.371 | 205.4 | 4.349 | 193.487 | 4.344 | 190.4 | 14.84 | 981.38 | 36.2285 | 5.7048
2020-10-06 12:00:00 | 5.357 | 177 | 4.916 | 194.2 | 4.201 | 182.936 | 4.237 | 179.3 | 14.86 | 981.083 | 36.0959 | 5.3612
2020-10-06 12:15:00 | 5.181 | 183.9 | 4.893 | 200.3 | 3.855 | 188.683 | 3.848 | 183.3 | 14.89 | 980.786 | 33.7122 | 4.1863
2020-10-06 12:30:00 | 5.035 | 187.3 | 4.786 | 200.6 | 3.863 | 188.965 | 3.804 | 189.2 | 15.12 | 980.489 | 30.9152 | 4.9511
2020-10-06 12:45:00 | 6.108 | 192 | 6.072 | 202.8 | 5.028 | 191.038 | 4.999 | 196 | 15.17 | 980.489 | 31.0522 | 6.551
2020-10-06 13:00:00 | 6.483 | 187.9 | 6.171 | 202.2 | 5.341 | 190.472 | 5.289 | 191 | 15.23 | 980.192 | 29.4789 | 6.3588
2020-10-06 13:15:00 | 5.503 | 184.9 | 5.282 | 200.4 | 4.387 | 188.777 | 4.347 | 179.8 | 15.15 | 979.896 | 29.8214 | 6.1778
2020-10-06 13:30:00 | 6.008 | 177.3 | 5.56 | 196 | 4.926 | 184.632 | 4.996 | 180.9 | 15.14 | 979.896 | 34.1222 | 5.11
2020-10-06 13:45:00 | 4.688 | 179.2 | 4.548 | 194 | 3.578 | 182.748 | 3.509 | 179.7 | 15.27 | 979.896 | 34.4631 | 3.4879
2020-10-06 14:00:00 | 5.196 | 179.7 | 4.982 | 196.2 | 4.504 | 184.82 | 4.528 | 182.3 | 15.57 | 980.044 | 36.3041 | 2.5494
2020-10-06 14:15:00 | 4.872 | 159.6 | 4.819 | 171.1 | 4.168 | 161.176 | 4.036 | 169.2 | 15.57 | 980.489 | 35.685 | 1.4299
2020-10-06 14:30:00 | 3.769 | 174 | 3.653 | 191.4 | 3.095 | 180.299 | 3.122 | 174.8 | 15.69 | 980.489 | 35.5472 | 1.2489
2020-10-06 14:45:00 | 3.945 | 146.5 | 3.921 | 161.8 | 3.166 | 152.416 | 3.012 | 154.8 | 15.77 | 980.489 | 35.9544 | 1.6738
2020-10-06 15:00:00 | 4.282 | 174 | 4.136 | 188 | 3.741 | 177.096 | 3.771 | 181.9 | 15.61 | 979.896 | 35.2729 | 1.0124
2020-10-06 15:15:00 | 4.236 | 183.2 | 3.957 | 194.3 | 3.047 | 183.031 | 3.165 | 186.2 | 15.5 | 980.192 | 35.8868 | 0.60226
2020-10-06 15:30:00 | 3.876 | 177.9 | 3.653 | 194.8 | 3.082 | 183.502 | 3.101 | 176.8 | 15.54 | 979.896 | 35.0016 | 0.218
2020-10-06 15:45:00 | 3.932 | 160.1 | 4.228 | 168 | 3.191 | 158.256 | 3.18 | 167.7 | 15.43 | 980.044 | 35.5554 | 0.75375
2020-10-06 16:00:00 | 3.835 | 168.7 | 3.656 | 192.2 | 2.764 | 181.052 | 2.816 | 175.6 | 15.41 | 979.896 | 35.6252 | 0.77961
2020-10-06 16:15:00 | 3.424 | 153.7 | 3.54 | 174.7 | 3.151 | 164.567 | 3.236 | 162.2 | 15.39 | 979.302 | 36.1713 | 0.58009
2020-10-06 16:30:00 | 3.897 | 162 | 3.881 | 181.2 | 3.403 | 170.69 | 3.483 | 168.5 | 15.29 | 979.302 | 36.1372 | 1.5297
2020-10-06 16:45:00 | 4.137 | 172.5 | 4.264 | 192 | 3.776 | 180.864 | 3.804 | 176 | 15.25 | 979.302 | 36.376 | 2.4645
2020-10-06 17:00:00 | 3.986 | 175.4 | 3.932 | 191 | 3.443 | 179.922 | 3.511 | 177.9 | 15.17 | 979.335 | 37.5363 | 1.6073
2020-10-06 17:15:00 | 5.485 | 177 | 5.322 | 192.1 | 4.585 | 180.958 | 4.589 | 178.3 | 15.1 | 979.544 | 37.1953 | 2.8487
2020-10-06 17:30:00 | 4.992 | 168.2 | 4.957 | 185.7 | 4.539 | 174.929 | 4.517 | 174.3 | 14.97 | 979.304 | 37.1984 | 3.7835
2020-10-06 17:45:00 | 4.428 | 175.9 | 4.313 | 192 | 4.224 | 180.864 | 4.263 | 177 | 14.87 | 979.601 | 38.9757 | 2.4349
2020-10-06 18:00:00 | 4.846 | 180.9 | 4.988 | 193.4 | 4.832 | 182.183 | 4.92 | 186.4 | 14.8 | 979.601 | 39.6587 | 2.3241
2020-10-06 18:15:00 | 3.634 | 179.9 | 4.157 | 190.3 | 4.173 | 179.263 | 4.268 | 186.6 | 14.65 | 979.601 | 40.4095 | 2.5384
2020-10-06 18:30:00 | 4.859 | 177 | 5.11 | 186.8 | 4.987 | 175.966 | 5.131 | 182.5 | 14.82 | 979.898 | 40 | 3.2552
2020-10-06 18:45:00 | 4.425 | 171.1 | 4.798 | 185.8 | 4.847 | 175.024 | 4.904 | 178.2 | 14.78 | 980.047 | 38.9759 | 3.9535
2020-10-06 19:00:00 | 4.417 | 171.8 | 4.888 | 185.6 | 5.165 | 174.835 | 5.297 | 180.7 | 14.76 | 980.195 | 38.5661 | 4.7331
2020-10-06 19:15:00 | 4.995 | 172.8 | 5.471 | 185.4 | 5.534 | 174.647 | 5.666 | 179.7 | 14.62 | 980.195 | 40.0671 | 6.8835
2020-10-06 19:30:00 | 6.557 | 176.3 | 6.496 | 189.2 | 6.228 | 178.226 | 6.318 | 180.9 | 14.64 | 980.344 | 39.6582 | 10.3603
2020-10-06 19:45:00 | 7.157 | 179.9 | 6.943 | 193.3 | 6.36 | 182.089 | 6.412 | 180.6 | 14.71 | 980.492 | 39.7268 | 8.5647
2020-10-06 20:00:00 | 7.89 | 174.7 | 8.04 | 186.6 | 7.846 | 175.777 | 7.945 | 179.6 | 14.43 | 979.898 | 40.6824 | 16.6933
2020-10-06 20:15:00 | 7.264 | 173.9 | 7.501 | 184.4 | 7.332 | 173.705 | 7.446 | 182.6 | 14.23 | 980.195 | 41.8428 | 14.3249
2020-10-06 20:30:00 | 7.512 | 180.2 | 7.273 | 192.3 | 7.551 | 181.147 | 7.685 | 188.1 | 14.16 | 980.492 | 42.7982 | 11.1141
2020-10-06 20:45:00 | 6.991 | 176.9 | 7.074 | 188.5 | 7.228 | 177.567 | 7.377 | 184.1 | 14.03 | 980.195 | 43.0704 | 9.5401
2020-10-06 21:00:00 | 5.457 | 173.2 | 6.097 | 186 | 6.231 | 175.212 | 6.323 | 180.7 | 13.74 | 980.64 | 43.1737 | 10.7889
2020-10-06 21:15:00 | 6.881 | 171 | 7.071 | 184.7 | 7.068 | 173.987 | 7.13 | 177.5 | 13.83 | 980.492 | 41.9798 | 12.7029
2020-10-06 21:30:00 | 6.2 | 167.7 | 6.476 | 185.6 | 6.294 | 174.835 | 6.364 | 174.9 | 13.81 | 980.492 | 43.4133 | 9.5733
2020-10-06 21:45:00 | 6.585 | 176.5 | 6.432 | 190.2 | 6.493 | 179.168 | 6.631 | 183.2 | 13.6 | 980.492 | 41.8451 | 6.3699
2020-10-06 22:00:00 | 5.73 | 176.2 | 5.381 | 187.6 | 5.534 | 176.719 | 5.679 | 185.2 | 13.39 | 980.789 | 46.1477 | 4.4006
2020-10-06 22:15:00 | 2.26 | 186.9 | 2.694 | 195.1 | 2.782 | 183.784 | 3.045 | 194.4 | 13.17 | 980.789 | 47.6189 | 0.88307
2020-10-06 22:30:00 | 1.757 | 190.5 | 2.139 | 193.4 | 2.729 | 182.183 | 2.956 | 200.8 | 13.03 | 980.492 | 48.4383 | 0.10715
2020-10-06 22:45:00 | 2.676 | 201.8 | 3.213 | 209.7 | 3.504 | 197.537 | 3.702 | 213.1 | 13.07 | 980.64 | 48.0628 | 0.26972
2020-10-06 23:00:00 | 2.817 | 211.2 | 3.285 | 218.1 | 3.525 | 205.45 | 3.761 | 219.4 | 13.23 | 980.789 | 47.6532 | 0.12932
2020-10-06 23:15:00 | 2.589 | 201.7 | 3.083 | 213.7 | 3.39 | 201.305 | 3.573 | 208.8 | 13.14 | 980.789 | 48.8821 | 0.66138
2020-10-06 23:30:00 | 3.202 | 205.2 | 3.61 | 214.1 | 3.797 | 201.682 | 3.952 | 211 | 13.01 | 980.789 | 50.1109 | -0.029559
2020-10-06 23:45:00 | 2.265 | 212.6 | 2.86 | 226.5 | 3.677 | 213.363 | 3.952 | 214.8 | 12.96 | 980.789 | 49.9744 | 0.26603