## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-07 00:00:00 | 1.803 | 197.1 | 2.715 | 208 | 3.891 | 195.936 | 4.097 | 204.5 | 12.97 | 980.789 | 49.7696 | 0.45077
2020-10-07 00:15:00 | 2.439 | 208.1 | 3.259 | 214.8 | 3.865 | 202.342 | 4.046 | 212.2 | 13.17 | 980.789 | 49.2234 | 0.52836
2020-10-07 00:30:00 | 3.478 | 191.9 | 4.106 | 200.5 | 4.57 | 188.871 | 4.716 | 199.3 | 12.98 | 980.789 | 50.1792 | 1.8142
2020-10-07 00:45:00 | 4.892 | 197.8 | 5.026 | 207.7 | 5.163 | 195.653 | 5.355 | 202.8 | 12.95 | 980.789 | 49.7013 | 2.1061
2020-10-07 01:00:00 | 3.097 | 183 | 3.702 | 188.1 | 3.932 | 177.19 | 4.168 | 191.8 | 12.85 | 980.789 | 51.886 | 2.0543
2020-10-07 01:15:00 | 3.284 | 177.4 | 3.868 | 184 | 4.194 | 173.328 | 4.344 | 186.7 | 12.89 | 980.492 | 48.4724 | 1.6405
2020-10-07 01:30:00 | 2.965 | 180.6 | 3.497 | 188.7 | 3.665 | 177.755 | 3.797 | 189.3 | 12.86 | 980.492 | 49.9744 | 1.1417
2020-10-07 01:45:00 | 3.197 | 161.9 | 3.768 | 166.5 | 3.83 | 156.843 | 3.87 | 179.1 | 12.31 | 980.344 | 53.0466 | 0.80917
2020-10-07 02:00:00 | 2.386 | 166 | 3.05 | 173.7 | 3.387 | 163.625 | 3.45 | 177 | 12.64 | 980.195 | 49.36 | 0.69833
2020-10-07 02:15:00 | 2.32 | 153.9 | 3.479 | 161.2 | 3.598 | 151.85 | 3.664 | 169 | 12.4 | 980.195 | 51.2715 | 0.37318
2020-10-07 02:30:00 | 1.659 | 191.9 | 2.354 | 198.7 | 2.337 | 187.175 | 2.59 | 195.6 | 12.72 | 980.492 | 47.3118 | -0.19583
2020-10-07 02:45:00 | 2.329 | 159.4 | 2.699 | 169.1 | 2.825 | 159.292 | 2.839 | 175.2 | 12.82 | 980.195 | 45.2637 | -0.20691
2020-10-07 03:00:00 | 2.301 | 172.1 | 2.986 | 180.1 | 3.13 | 169.654 | 3.275 | 187.3 | 12.89 | 980.195 | 45.6733 | 0.30298
2020-10-07 03:15:00 | 2.819 | 163.6 | 3.41 | 172.3 | 3.672 | 162.307 | 3.728 | 174.3 | 12.77 | 980.344 | 46.1512 | 0.59487
2020-10-07 03:30:00 | 2.479 | 162.9 | 3.53 | 171.7 | 3.601 | 161.741 | 3.616 | 176 | 12.76 | 980.195 | 46.5608 | 1.3228
2020-10-07 03:45:00 | 2.52 | 162.3 | 3.886 | 170.4 | 3.845 | 160.517 | 3.853 | 174.3 | 12.77 | 980.344 | 47.107 | 2.3979
2020-10-07 04:00:00 | 4.17 | 155.1 | 4.732 | 167.8 | 4.923 | 158.068 | 4.887 | 163.8 | 12.54 | 980.344 | 49.2917 | 5.9376
2020-10-07 04:15:00 | 5.408 | 147.7 | 5.806 | 163.6 | 6.119 | 154.111 | 6.02 | 157.9 | 11.97 | 979.75 | 54.1731 | 10.8444
2020-10-07 04:30:00 | 5.469 | 145.1 | 6.133 | 158.4 | 5.837 | 149.213 | 5.689 | 160.1 | 12.01 | 979.898 | 52.637 | 7.6446
2020-10-07 04:45:00 | 5.985 | 146.8 | 6.527 | 156.3 | 5.75 | 147.235 | 5.64 | 158.9 | 11.93 | 980.195 | 51.6812 | 7.5781
2020-10-07 05:00:00 | 4.548 | 149.9 | 5.32 | 158.1 | 5.603 | 148.93 | 5.623 | 165.9 | 12.25 | 980.344 | 49.5648 | 6.7246
2020-10-07 05:15:00 | 4.527 | 137.4 | 4.995 | 156.6 | 5.053 | 147.517 | 4.912 | 146 | 12.37 | 980.216 | 46.9705 | 5.9487
2020-10-07 05:30:00 | 4.055 | 139.3 | 4.175 | 161.1 | 3.848 | 151.756 | 3.848 | 143.5 | 12.29 | 980.658 | 50.3499 | 3.414
2020-10-07 05:45:00 | 2.448 | 140.8 | 4.013 | 159.4 | 4.73 | 150.155 | 4.645 | 150.5 | 12.04 | 980.345 | 45.7416 | 6.5621
2020-10-07 06:00:00 | 3.309 | 147.4 | 4.244 | 160.2 | 4.064 | 150.908 | 3.957 | 155.5 | 13.25 | 980.495 | 37.7539 | 9.8948
2020-10-07 06:15:00 | 4.989 | 149.6 | 5.236 | 167.9 | 5.88 | 158.162 | 5.893 | 150.7 | 12.11 | 980.495 | 55.8116 | 14.07
2020-10-07 06:30:00 | 5.587 | 139.1 | 5.729 | 155.2 | 4.073 | 146.198 | 5.755 | 144.9 | 11.91 | 980.797 | 56.1188 | 10.7926
2020-10-07 06:45:00 | 4.131 | 138.4 | 4.635 | 155.9 | 1.133 | 146.858 | 4.627 | 143.1 | 12.12 | 980.789 | 53.8658 | 9.8246
2020-10-07 07:00:00 | 5.472 | 143.6 | 5.977 | 158.4 | 6.045 | 149.213 | 5.994 | 152.7 | 12.35 | 981.131 | 55.3678 | 10.2828
2020-10-07 07:15:00 | 5.847 | 139.5 | 6.159 | 155.6 | 6.475 | 146.575 | 6.346 | 146 | 12.25 | 981.383 | 53.8658 | 8.9896
2020-10-07 07:30:00 | 5.564 | 135.7 | 5.824 | 152.3 | 4.992 | 143.467 | 5.829 | 141.3 | 12.49 | 981.68 | 52.9783 | 7.7259
2020-10-07 07:45:00 | 4.775 | 130.9 | 5.246 | 146.2 | 3.831 | 137.72 | 5.467 | 140 | 12.73 | 981.977 | 50.4523 | 5.7861
2020-10-07 08:00:00 | 3.562 | 128.1 | 4.279 | 145.4 | 0.549 | 136.967 | 4.917 | 135 | 13.01 | 982.274 | 47.5769 | 7.0165
2020-10-07 08:15:00 | 3.115 | 130.4 | 3.64 | 149.6 | 0.031 | 140.923 | 3.509 | 134.3 | 13.41 | 982.719 | 43.8903 | 1.1121
2020-10-07 08:30:00 | 3.34 | 165.8 | 3.116 | 184.6 | 0 | 173.893 | 2.289 | 164.4 | 13.6 | 983.165 | 47.303 | 0.72789
2020-10-07 08:45:00 | 4.154 | 141.7 | 4.277 | 160.2 | 0.003 | 150.908 | 3.578 | 145.4 | 13.84 | 983.165 | 45.8697 | 2.4017
2020-10-07 09:00:00 | 4.379 | 138 | 4.379 | 156.6 | 0.616 | 147.517 | 4.202 | 141.7 | 13.81 | 983.205 | 45.5214 | 1.3412
2020-10-07 09:15:00 | 3.095 | 151.3 | 3.382 | 164.7 | 0 | 155.147 | 2.921 | 155.9 | 14.51 | 983.755 | 40.7383 | 2.6123
2020-10-07 09:30:00 | 5.214 | 149.4 | 5.034 | 166.3 | 3.781 | 156.655 | 4.268 | 153.5 | 14.91 | 984.052 | 39.2291 | 5.1506
2020-10-07 09:45:00 | 6.299 | 140.8 | 5.903 | 160.5 | 5.625 | 151.191 | 5.656 | 144.7 | 15.24 | 983.78 | 41.8888 | 12.714
2020-10-07 10:00:00 | 5.666 | 148.4 | 5.461 | 164.3 | 3.04 | 154.771 | 4.721 | 153.5 | 14.51 | 983.751 | 47.0734 | 5.9635
2020-10-07 10:15:00 | 4.892 | 138.1 | 4.596 | 152.5 | 0.383 | 143.655 | 3.654 | 145.8 | 14.86 | 983.953 | 47.0066 | 5.8896
2020-10-07 10:30:00 | 4.394 | 143.7 | 3.904 | 153.9 | 0 | 144.974 | 2.969 | 147.6 | 15.3 | 984.031 | 42.2309 | 2.7637
2020-10-07 10:45:00 | 3.166 | 152.1 | 3.167 | 172.4 | 1.097 | 162.401 | 2.142 | 144.1 | 16.42 | 983.761 | 36.9736 | 2.0359
2020-10-07 11:00:00 | 5.071 | 149.2 | 4.86 | 166.6 | 4.328 | 156.937 | 4.24 | 153.3 | 16.64 | 983.602 | 31.1733 | 2.7822
2020-10-07 11:15:00 | 5.761 | 151.8 | 5.558 | 167.8 | 5.102 | 158.068 | 5.022 | 155.4 | 16.66 | 983.439 | 33.4541 | 3.3069
2020-10-07 11:30:00 | 5.87 | 142.6 | 5.795 | 160.2 | 5.155 | 150.908 | 5.032 | 147 | 16.7 | 983.666 | 33.2143 | 4.0015
2020-10-07 11:45:00 | 5.873 | 146 | 5.647 | 163.9 | 5.124 | 154.394 | 4.968 | 149.9 | 16.74 | 983.4 | 31.2362 | 4.3119
2020-10-07 12:00:00 | 5.127 | 141.1 | 5.2 | 161.7 | 4.71 | 152.321 | 4.624 | 143.5 | 17 | 983.46 | 30.4866 | 3.5434
2020-10-07 12:15:00 | 4.918 | 132.7 | 5.19 | 149.1 | 4.618 | 140.452 | 4.433 | 138 | 17.61 | 983.551 | 28.1331 | 3.3845
2020-10-07 12:30:00 | 5.653 | 143.7 | 5.501 | 159.1 | 4.944 | 149.872 | 4.894 | 144.8 | 17.52 | 983.234 | 27.6564 | 4.1308
2020-10-07 12:45:00 | 4.657 | 159 | 4.74 | 172.9 | 3.929 | 162.872 | 3.883 | 163.5 | 18.08 | 983.436 | 24.3828 | 3.2034
2020-10-07 13:00:00 | 3.833 | 180.8 | 3.842 | 198.8 | 3.331 | 187.27 | 3.188 | 188.4 | 17.93 | 983.151 | 26.0537 | 1.5555
2020-10-07 13:15:00 | 3.207 | 161.6 | 3.138 | 196.4 | 2.558 | 185.009 | 2.443 | 159.3 | 18.71 | 983.427 | 25.0984 | 1.0087
2020-10-07 13:30:00 | 4.323 | 197.6 | 4.525 | 203.8 | 3.975 | 191.98 | 4.064 | 202.5 | 18.46 | 983.147 | 24.6207 | 0.82764
2020-10-07 13:45:00 | 2.921 | 159.9 | 2.784 | 168.7 | 2.146 | 158.915 | 2.055 | 166.6 | 18.5 | 983.026 | 25.6437 | 1.1048
2020-10-07 14:00:00 | 5.099 | 176.7 | 4.867 | 191.8 | 4.143 | 180.676 | 4.158 | 181.7 | 18.66 | 983.005 | 22.711 | 1.2008
2020-10-07 14:15:00 | 4.64 | 172 | 4.471 | 189.4 | 3.205 | 178.415 | 3.089 | 173.1 | 18.86 | 983.153 | 20.2558 | 1.7107
2020-10-07 14:30:00 | 4.494 | 133.3 | 4.502 | 150.1 | 4.247 | 141.394 | 4.237 | 139.6 | 19.04 | 983.153 | 23.529 | 1.3856
2020-10-07 14:45:00 | 3.787 | 129.5 | 3.735 | 143.2 | 3.621 | 134.894 | 3.629 | 134 | 18.85 | 983.45 | 25.1628 | 1.3264
2020-10-07 15:00:00 | 4.244 | 143.1 | 4.525 | 160.5 | 4.099 | 151.191 | 3.998 | 146.9 | 18.97 | 983.45 | 24.7188 | 0.9348
2020-10-07 15:15:00 | 4.188 | 152.8 | 4.221 | 171.3 | 3.715 | 161.365 | 3.547 | 160.4 | 19.17 | 983.598 | 25.0938 | 0.13671
2020-10-07 15:30:00 | 3.473 | 174.5 | 3.29 | 192.8 | 2.627 | 181.618 | 2.483 | 181.1 | 19.48 | 983.005 | 25.6393 | 0.018474
2020-10-07 15:45:00 | 4.474 | 155.2 | 4.1 | 174.8 | 3.682 | 164.662 | 3.636 | 159.5 | 18.92 | 982.857 | 24.9574 | 0.18474
2020-10-07 16:00:00 | 2.732 | 146 | 2.848 | 164.4 | 2.731 | 154.865 | 2.702 | 153.1 | 19.11 | 983.598 | 25.0258 | -0.22539
2020-10-07 16:15:00 | 2.832 | 152.5 | 3.091 | 166.9 | 2.573 | 157.22 | 2.516 | 161.3 | 18.97 | 983.598 | 25.5722 | -0.25125
2020-10-07 16:30:00 | 1.247 | 146.5 | 1.514 | 162.3 | 0.895 | 152.887 | 0.8 | 155 | 19.1 | 983.45 | 25.575 | -0.25125
2020-10-07 16:45:00 | 1.586 | 144 | 1.93 | 163.2 | 1.582 | 153.734 | 1.51 | 151.8 | 18.81 | 983.45 | 25.5754 | -0.25125
2020-10-07 17:00:00 | 1.417 | 134.3 | 1.756 | 159.1 | 1.37 | 149.872 | 1.219 | 150.5 | 18.66 | 983.029 | 25.78 | -0.24016
2020-10-07 17:15:00 | 1.946 | 110.1 | 2.114 | 129 | 1.77 | 121.518 | 1.678 | 119.7 | 18.53 | 982.41 | 24.9656 | -0.24016
2020-10-07 17:30:00 | 2.485 | 108.9 | 2.449 | 126.8 | 2.133 | 119.446 | 2.106 | 112.1 | 18.53 | 981.97 | 24.5593 | -0.25125
2020-10-07 17:45:00 | 3.118 | 99.4 | 3.131 | 114.1 | 2.802 | 107.482 | 2.844 | 107.1 | 18.47 | 982.086 | 25.243 | -0.25864
2020-10-07 18:00:00 | 3.286 | 104.2 | 3.405 | 121.6 | 3.283 | 114.547 | 3.303 | 109.4 | 18.4 | 981.973 | 27.0169 | -0.25125
2020-10-07 18:15:00 | 3.437 | 110.8 | 3.344 | 125.5 | 3.118 | 118.221 | 3.122 | 115.9 | 18.33 | 982.27 | 27.9725 | -0.25125
2020-10-07 18:30:00 | 3.81 | 122 | 4.006 | 137.7 | 3.723 | 129.713 | 3.616 | 124.2 | 18.33 | 982.567 | 28.7246 | -0.19583
2020-10-07 18:45:00 | 3.912 | 121.6 | 4.008 | 138.8 | 3.759 | 130.75 | 3.669 | 124.7 | 18.31 | 982.419 | 28.1795 | 0.099761
2020-10-07 19:00:00 | 3.748 | 122.2 | 3.622 | 138.5 | 3.141 | 130.467 | 3.081 | 127.9 | 18.41 | 982.715 | 28.1812 | 0.38426
2020-10-07 19:15:00 | 2.329 | 134.5 | 3.41 | 151.2 | 3.237 | 142.43 | 3.132 | 139.5 | 17.96 | 982.864 | 28.9995 | 0.17366
2020-10-07 19:30:00 | 3.256 | 141.2 | 3.615 | 160.6 | 3.166 | 151.285 | 3.091 | 142.9 | 18.02 | 982.864 | 28.388 | -0.10715
2020-10-07 19:45:00 | 2.911 | 144.5 | 3.369 | 160.9 | 2.932 | 151.568 | 2.88 | 146.7 | 18.14 | 983.012 | 27.7082 | -0.24016
2020-10-07 20:00:00 | 2.839 | 145 | 3.282 | 160.9 | 2.912 | 151.568 | 2.849 | 147.6 | 18.18 | 983.161 | 27.9815 | -0.25494
2020-10-07 20:15:00 | 2.97 | 147.7 | 3.096 | 160.9 | 2.563 | 151.568 | 2.503 | 149.8 | 18.15 | 983.161 | 27.8109 | -0.25125
2020-10-07 20:30:00 | 2.061 | 147.7 | 2.6 | 160.9 | 2.093 | 151.568 | 2.032 | 149.8 | 17.97 | 983.309 | 29.21 | -0.25125
2020-10-07 20:45:00 | 2.301 | 154.4 | 2.377 | 176.2 | 2.093 | 165.98 | 2.098 | 149.8 | 17.86 | 983.309 | 29.0053 | -0.25125
2020-10-07 21:00:00 | 1.502 | 146.8 | 1.868 | 172.5 | 1.681 | 162.495 | 1.675 | 148.6 | 17.93 | 983.161 | 29.0735 | -0.25125
2020-10-07 21:15:00 | 1.104 | 108 | 1.357 | 106.1 | 0.975 | 99.9462 | 1.102 | 121 | 17.55 | 982.864 | 29.8243 | -0.24016
2020-10-07 21:30:00 | 0.312 | 95.5 | 0.623 | 77.23 | 0.828 | 72.7507 | 0.891 | 116.2 | 17.4 | 982.864 | 29.8925 | -0.25125
2020-10-07 21:45:00 | 0.082 | 116.2 | 0.5 | 85 | 0.679 | 80.07 | 0.642 | 117.7 | 17.4 | 982.876 | 29.5513 | -0.25125
2020-10-07 22:00:00 | 0 | 106.4 | 0 | 85 | 0.006 | 80.07 | 0 | 118.4 | 17.29 | 982.995 | 30.0972 | -0.25125
2020-10-07 22:15:00 | 0 | 135 | 0.436 | 85 | 0.873 | 80.07 | 0.992 | 120 | 17.13 | 983.16 | 30.509 | -0.25125
2020-10-07 22:30:00 | 1.148 | 153.4 | 1.679 | 153.9 | 2.273 | 144.974 | 2.279 | 150.4 | 17.27 | 983.165 | 30.3754 | -0.25125
2020-10-07 22:45:00 | 2.191 | 154.2 | 2.707 | 166.5 | 2.393 | 156.843 | 2.437 | 155 | 17.46 | 983.016 | 27.3715 | -0.25125
2020-10-07 23:00:00 | 2.211 | 154.7 | 2.577 | 169.1 | 2.462 | 159.292 | 2.47 | 158.5 | 17.54 | 983.016 | 25.256 | -0.25125
2020-10-07 23:15:00 | 2.257 | 161.2 | 2.423 | 174 | 2.006 | 163.908 | 2.027 | 160.9 | 17.44 | 983.165 | 26.4153 | -0.24016
2020-10-07 23:30:00 | 1.545 | 171.1 | 2.032 | 183.4 | 1.386 | 172.763 | 1.482 | 162.2 | 17.4 | 982.936 | 26.9248 | -0.24016
2020-10-07 23:45:00 | 1.244 | 171.3 | 1.689 | 189.5 | 0.945 | 178.509 | 1.084 | 162.3 | 17.3 | 982.799 | 26.3099 | -0.24016