## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-08 00:00:00 | 1.609 | 155.6 | 1.597 | 177 | 1.075 | 166.734 | 1.184 | 161.9 | 17.36 | 982.47 | 25.4569 | -0.25125
2020-10-08 00:15:00 | 2.408 | 123.1 | 2.38 | 141.2 | 2.24 | 133.01 | 2.322 | 126 | 17.35 | 982.234 | 28.1876 | -0.26233
2020-10-08 00:30:00 | 4.571 | 106.4 | 4.929 | 123.6 | 5.048 | 116.431 | 5.05 | 111.7 | 17.01 | 982.543 | 31.9403 | 4.1034
2020-10-08 00:45:00 | 3.069 | 97.4 | 3.423 | 115.9 | 3.583 | 109.178 | 3.797 | 101.7 | 16.26 | 982.644 | 33.851 | 5.0767
2020-10-08 01:00:00 | 3.256 | 110.7 | 3.832 | 125.6 | 3.901 | 118.315 | 3.949 | 118.9 | 16.37 | 983.048 | 47.4328 | 4.9474
2020-10-08 01:15:00 | 4.08 | 107.5 | 4.313 | 117.7 | 4.288 | 110.873 | 4.362 | 113.9 | 15.69 | 983.059 | 56.75 | 12.1967
2020-10-08 01:30:00 | 3.7 | 110.5 | 4.026 | 130.2 | 4.013 | 122.648 | 4.168 | 115.6 | 15.2 | 983.153 | 59.8605 | 15.5368
2020-10-08 01:45:00 | 4.591 | 118.1 | 4.809 | 143.9 | 5.348 | 135.554 | 5.472 | 118.4 | 15.14 | 982.867 | 59.5902 | 22.6531
2020-10-08 02:00:00 | 6.146 | 115.9 | 6.736 | 132.7 | 7.416 | 125.003 | 7.553 | 123.1 | 15.11 | 982.719 | 61.2284 | 27.1719
2020-10-08 02:15:00 | 6.46 | 120.7 | 7.038 | 134.3 | 7.279 | 126.511 | 7.232 | 128 | 15.05 | 983.016 | 60.6135 | 21.1641
2020-10-08 02:30:00 | 6.243 | 128.3 | 6.938 | 141.2 | 7.149 | 133.01 | 7.041 | 134.7 | 14.94 | 982.719 | 59.8633 | 24.5522
2020-10-08 02:45:00 | 6.514 | 129.8 | 7.048 | 144.2 | 7.759 | 135.836 | 7.729 | 135.7 | 15 | 982.571 | 61.843 | 25.8565
2020-10-08 03:00:00 | 6.777 | 127 | 7.427 | 139.5 | 7.889 | 131.409 | 7.846 | 134.4 | 15.04 | 982.571 | 62.662 | 27.0167
2020-10-08 03:15:00 | 7.257 | 131.2 | 7.634 | 144.1 | 7.744 | 135.742 | 7.688 | 137.3 | 14.93 | 982.571 | 64.6416 | 25.7235
2020-10-08 03:30:00 | 6.567 | 124.8 | 7.048 | 138.1 | 7.78 | 130.09 | 7.759 | 131.9 | 14.74 | 982.719 | 65.9725 | 27.8444
2020-10-08 03:45:00 | 7.155 | 125.4 | 7.792 | 137.8 | 7.986 | 129.808 | 7.902 | 132.7 | 14.62 | 982.571 | 67.2354 | 27.5155
2020-10-08 04:00:00 | 6.68 | 124.1 | 7.593 | 136.6 | 7.82 | 128.677 | 7.741 | 131.4 | 14.62 | 982.571 | 67.5739 | 29.7546
2020-10-08 04:15:00 | 7.18 | 122.7 | 8.03 | 136.6 | 8.31 | 128.677 | 8.22 | 130.6 | 14.59 | 982.274 | 66.8933 | 35.1158
2020-10-08 04:30:00 | 8.57 | 129.6 | 8.51 | 142.7 | 8.25 | 134.423 | 8.13 | 136.9 | 14.83 | 982.571 | 66.5157 | 35.3301
2020-10-08 04:45:00 | 6.511 | 133.6 | 6.92 | 150.8 | 7.302 | 142.054 | 7.308 | 139.2 | 14.56 | 982.571 | 67.3019 | 34.7907
2020-10-08 05:00:00 | 5.998 | 136.9 | 6.795 | 152.6 | 7.365 | 143.749 | 7.375 | 143.3 | 14.5 | 982.868 | 67.985 | 31.2067
2020-10-08 05:15:00 | 6.238 | 138 | 6.248 | 157.1 | 6.691 | 147.988 | 6.634 | 144.3 | 14.38 | 983.165 | 69.0754 | 27.4231
2020-10-08 05:30:00 | 5.975 | 138.5 | 6.281 | 156.9 | 6.635 | 147.8 | 6.557 | 144 | 14.31 | 983.165 | 69.2827 | 26.6879
2020-10-08 05:45:00 | 5.464 | 144.4 | 6.059 | 162.3 | 6.546 | 152.887 | 6.575 | 147.4 | 14.08 | 983.165 | 70.6491 | 21.0089
2020-10-08 06:00:00 | 4.887 | 144.6 | 5.583 | 163.8 | 6.78 | 154.3 | 6.825 | 150.4 | 13.84 | 983.462 | 70.5829 | 17.8313
2020-10-08 06:15:00 | 5.635 | 148 | 6.194 | 164.8 | 6.915 | 155.242 | 6.87 | 156.4 | 14.07 | 983.759 | 70.927 | 14.7424
2020-10-08 06:30:00 | 5.334 | 151.5 | 6.11 | 165.2 | 6.589 | 155.618 | 6.55 | 161.8 | 14.26 | 984.056 | 68.6019 | 11.3395
2020-10-08 06:45:00 | 4.943 | 152.6 | 6 | 161.8 | 6.368 | 152.416 | 6.269 | 162.2 | 14.49 | 984.204 | 67.7125 | 8.6016
2020-10-08 07:00:00 | 4.629 | 145.1 | 5.417 | 157.4 | 5.748 | 148.271 | 5.64 | 156.7 | 14.63 | 984.501 | 67.2674 | 6.0226
2020-10-08 07:15:00 | 4.481 | 144.5 | 4.957 | 155.3 | 5.099 | 146.293 | 4.978 | 157.7 | 14.89 | 984.706 | 66.1323 | 4.2158
2020-10-08 07:30:00 | 4.114 | 146.7 | 4.586 | 160.9 | 4.822 | 151.568 | 4.736 | 156.8 | 15.23 | 984.942 | 64.8012 | 3.2552
2020-10-08 07:45:00 | 3.764 | 148.7 | 3.832 | 164.2 | 4.003 | 154.676 | 3.949 | 155.2 | 15.44 | 985.239 | 64.8174 | 1.175
2020-10-08 08:00:00 | 2.993 | 153.8 | 3.2 | 164.3 | 2.98 | 154.771 | 2.89 | 163.3 | 15.74 | 985.833 | 63.0394 | 0.21061
2020-10-08 08:15:00 | 3.314 | 152 | 3.198 | 163.3 | 2.487 | 153.829 | 2.381 | 162.3 | 16.06 | 986.2 | 61.4703 | -0.41013
2020-10-08 08:30:00 | 3.074 | 150.6 | 3.052 | 163.3 | 2.917 | 153.829 | 2.826 | 163.5 | 16.43 | 986.425 | 58.8767 | -0.37687
2020-10-08 08:45:00 | 3.21 | 146 | 2.914 | 158.7 | 1.983 | 149.495 | 1.894 | 157.4 | 16.93 | 986.57 | 58.2539 | -0.27342
2020-10-08 09:00:00 | 2.921 | 157.1 | 2.894 | 173.8 | 2.38 | 163.72 | 2.276 | 160.8 | 17.01 | 986.719 | 58.4232 | -0.24016
2020-10-08 09:15:00 | 3.307 | 137.9 | 3.316 | 146.7 | 3.148 | 138.191 | 3.038 | 147 | 17.11 | 986.521 | 57.4939 | -0.20691
2020-10-08 09:30:00 | 3.452 | 140.5 | 3.183 | 161.6 | 2.713 | 152.227 | 2.592 | 142.6 | 17.34 | 986.865 | 56.4024 | -0.18474
2020-10-08 09:45:00 | 3.373 | 134.6 | 3.456 | 147.8 | 3.326 | 139.228 | 3.231 | 144 | 17.25 | 987.01 | 57.4254 | -0.24016
2020-10-08 10:00:00 | 3.506 | 143.9 | 3.597 | 159.6 | 3.128 | 150.343 | 2.951 | 149.6 | 17.58 | 986.713 | 56.948 | -0.28081
2020-10-08 10:15:00 | 2.366 | 142.7 | 2.143 | 173.5 | 1.779 | 163.437 | 1.631 | 148 | 18.03 | 986.417 | 56.607 | -0.25125
2020-10-08 10:30:00 | 2.826 | 151.1 | 2.627 | 161 | 2.167 | 151.662 | 2.131 | 147.5 | 17.82 | 986.417 | 56.0614 | -0.26972
2020-10-08 10:45:00 | 3.156 | 180.3 | 3.083 | 188.9 | 2.49 | 177.944 | 2.429 | 186 | 17.75 | 985.972 | 57.3572 | -0.25125
2020-10-08 11:00:00 | 3.245 | 197.2 | 2.781 | 214.7 | 2.416 | 202.247 | 2.437 | 195.6 | 18.04 | 985.65 | 56.4706 | -0.25125
2020-10-08 11:15:00 | 2.686 | 165.1 | 3.139 | 182 | 2.558 | 171.444 | 2.46 | 172.3 | 18.1 | 985.643 | 55.1407 | -0.25125
2020-10-08 11:30:00 | 3.368 | 145 | 3.254 | 160.7 | 3.308 | 151.379 | 3.198 | 148.7 | 19.08 | 985.644 | 52.4467 | -0.25125
2020-10-08 11:45:00 | 1.936 | 154 | 2.072 | 164.4 | 0.317 | 154.865 | 1.392 | 158.3 | 19.32 | 985.824 | 51.3896 | -0.25125
2020-10-08 12:00:00 | 2.394 | 92.8 | 3.211 | 121.5 | 0 | 114.453 | 2.749 | 85.9 | 19.79 | 985.823 | 49.4376 | -0.26972
2020-10-08 12:15:00 | 2.795 | 165.1 | 2.417 | 181.5 | 0 | 170.973 | 2.186 | 165.2 | 19.55 | 985.527 | 50.4942 | -0.22169
2020-10-08 12:30:00 | 3.177 | 159 | 3.188 | 171.4 | 0 | 161.459 | 2.294 | 166.7 | 19.59 | 985.23 | 50.4603 | -0.022169
2020-10-08 12:45:00 | 3.177 | 103.5 | 3.666 | 124.7 | 0 | 117.467 | 3.244 | 106.6 | 19.29 | 984.933 | 50.5966 | -0.059118
2020-10-08 13:00:00 | 2.517 | 131.1 | 2.707 | 157.7 | 0 | 148.553 | 2.302 | 125.7 | 19.4 | 984.933 | 50.0511 | -0.055423
2020-10-08 13:15:00 | 1.823 | 99.2 | 2.206 | 115.4 | 0 | 108.707 | 1.701 | 96 | 19.95 | 984.933 | 49.8466 | -0.29928
2020-10-08 13:30:00 | 0.886 | 22.82 | 1.259 | 24.56 | 0 | 23.1355 | 1.7 | 17.46 | 19.88 | 984.637 | 48.551 | -0.26603
2020-10-08 13:45:00 | 0.532 | 25.95 | 1.963 | 52.43 | 0 | 49.3891 | 1.339 | 24.87 | 19.71 | 984.043 | 50.6648 | -0.26972
2020-10-08 14:00:00 | 2.125 | 309.6 | 2.582 | 303.2 | 0 | 285.614 | 1.392 | 332.2 | 19.68 | 984.192 | 49.3027 | -0.25864
2020-10-08 14:15:00 | 2.029 | 323.5 | 2.014 | 326 | 0 | 307.092 | 1.351 | 341.9 | 19.5 | 983.747 | 52.0368 | -0.24016
2020-10-08 14:30:00 | 3.309 | 289.8 | 3.454 | 296.3 | 0 | 279.115 | 2.635 | 294 | 19.81 | 984.34 | 51.9693 | -0.24016
2020-10-08 14:45:00 | 1.867 | 349.2 | 2.053 | 344.4 | 0 | 324.425 | 1.923 | 353.8 | 19.83 | 984.043 | 49.8838 | -0.23647
2020-10-08 15:00:00 | 1.847 | 340.1 | 2.386 | 353.9 | 0 | 333.374 | 2.143 | 339 | 19.72 | 983.747 | 51.8923 | -0.22539
2020-10-08 15:15:00 | 2.434 | 325 | 2.615 | 343.8 | 0 | 323.86 | 2.465 | 325.4 | 19.45 | 983.598 | 52.7788 | -0.24016
2020-10-08 15:30:00 | 2.232 | 11.09 | 1.71 | 355.4 | 0 | 334.787 | 1.601 | 13.37 | 19.13 | 983.153 | 53.8786 | -0.24016
2020-10-08 15:45:00 | 1.065 | 338.6 | 1.303 | 356.7 | 0 | 336.011 | 1.345 | 342.6 | 18.97 | 983.057 | 54.2199 | -0.24016
2020-10-08 16:00:00 | 0.275 | 344.1 | 0.772 | 347.9 | 0 | 327.722 | 0.519 | 345.3 | 18.88 | 983.304 | 53.8868 | -0.26972
2020-10-08 16:15:00 | 2.306 | 306 | 2.773 | 315.7 | 0 | 297.389 | 1.927 | 312.4 | 18.77 | 983.454 | 54.4338 | -0.25864
2020-10-08 16:30:00 | 1.874 | 17.49 | 2.37 | 31.86 | 0 | 30.0121 | 1.461 | 9.89 | 18.49 | 982.563 | 56.7555 | -0.2882
2020-10-08 16:45:00 | 2.719 | 1.854 | 3.047 | 14.82 | 0 | 13.9604 | 2.528 | 7.629 | 18.34 | 982.615 | 53.8973 | -0.20691
2020-10-08 17:00:00 | 1.549 | 14.06 | 3.494 | 32.48 | 0 | 30.5962 | 3.089 | 17.31 | 18.13 | 982.534 | 56.0123 | -0.1404
2020-10-08 17:15:00 | 1.877 | 11.68 | 3.042 | 28.84 | 0 | 27.1673 | 2.582 | 10.52 | 18.12 | 982.27 | 54.7501 | 0.0036948
2020-10-08 17:30:00 | 1.859 | 3.12 | 2.134 | 24.56 | 0 | 23.1355 | 1.935 | 10.28 | 18.06 | 982.864 | 52.874 | -0.084981
2020-10-08 17:45:00 | 2.385 | 0.997 | 3.096 | 19.41 | 0 | 18.2842 | 2.539 | 5.313 | 18.05 | 982.27 | 53.4213 | 0.081287
2020-10-08 18:00:00 | 2.349 | 9.22 | 3.203 | 28.17 | 0 | 26.5361 | 3.071 | 10.68 | 17.86 | 982.27 | 54.6496 | 0.12932
2020-10-08 18:15:00 | 2.587 | 3.236 | 2.753 | 21.86 | 0 | 20.5921 | 2.332 | 10.48 | 17.75 | 982.419 | 53.1505 | 0.20691
2020-10-08 18:30:00 | 1.943 | 7.605 | 2.868 | 26.88 | 0 | 25.321 | 2.437 | 15.95 | 18.03 | 982.27 | 52.4699 | -0.096066
2020-10-08 18:45:00 | 2.096 | 19.65 | 3.231 | 35.59 | 0 | 33.5258 | 2.887 | 25.23 | 17.86 | 982.122 | 52.6092 | -0.27342
2020-10-08 19:00:00 | 4.392 | 47.04 | 5.046 | 67.55 | 0 | 63.6321 | 4.563 | 53.28 | 17.83 | 981.676 | 52.7459 | 0.066507
2020-10-08 19:15:00 | 2.556 | 45.5 | 3.111 | 58.95 | 0 | 55.5309 | 2.36 | 55.6 | 17.92 | 981.676 | 52.2 | -0.19952
2020-10-08 19:30:00 | 2.012 | 72.64 | 2.446 | 90.9 | 0 | 85.6278 | 1.92 | 74.7 | 17.94 | 982.27 | 51.3819 | -0.27711
2020-10-08 19:45:00 | 2.229 | 85.1 | 2.574 | 92 | 0 | 86.664 | 2.073 | 107.4 | 18.32 | 982.27 | 50.7687 | -0.25125
2020-10-08 20:00:00 | 2.893 | 66.9 | 3.093 | 76.99 | 0 | 72.5246 | 2.274 | 86 | 18.1 | 981.973 | 50.9727 | -0.24016
2020-10-08 20:15:00 | 2.421 | 56.75 | 3.001 | 65.59 | 0 | 61.7858 | 2.574 | 70.06 | 17.88 | 981.676 | 50.9722 | -0.24016
2020-10-08 20:30:00 | 2.413 | 72.67 | 3.101 | 84.5 | 0 | 79.599 | 2.921 | 82.4 | 17.66 | 982.122 | 49.3683 | -0.25125
2020-10-08 20:45:00 | 0.163 | 19.01 | 0.463 | 71.92 | 0 | 67.7486 | 0 | 93.4 | 18.16 | 982.864 | 47.8716 | -0.25125
2020-10-08 21:00:00 | 0 | 194.1 | 0 | 72.41 | 0 | 68.2102 | 0.077 | 129.5 | 18.14 | 982.864 | 47.8411 | -0.25125
2020-10-08 21:15:00 | 2.474 | 286.3 | 2.566 | 301.8 | 0 | 284.296 | 0.966 | 281.7 | 17.59 | 982.864 | 51.7318 | -0.26233
2020-10-08 21:30:00 | 2.61 | 290.2 | 1.205 | 322.8 | 0 | 304.078 | 0 | 284.4 | 17.6 | 983.012 | 50.7081 | -0.27342
2020-10-08 21:45:00 | 2.893 | 319.3 | 2.474 | 333.3 | 0 | 313.969 | 0.484 | 323.8 | 17.16 | 982.864 | 52.619 | 0.070202
2020-10-08 22:00:00 | 2.275 | 323.4 | 1.845 | 332.9 | 0 | 313.592 | 0.015 | 323.7 | 17.54 | 983.161 | 51.1175 | 0.19213
2020-10-08 22:15:00 | 2.03 | 340.5 | 1.789 | 10.19 | 0 | 9.599 | 0.958 | 333.9 | 17.01 | 983.012 | 49.9573 | -0.029559
2020-10-08 22:30:00 | 1.189 | 340.5 | 1.018 | 6.627 | 0 | 6.2426 | 0 | 333.9 | 17.32 | 982.864 | 50.6398 | -0.25125
2020-10-08 22:45:00 | 0.751 | 6.627 | 0.203 | 6.627 | 0 | 6.2426 | 0 | 333.9 | 17.37 | 982.567 | 48.7971 | -0.26233
2020-10-08 23:00:00 | 0.004 | 6.627 | 0.038 | 6.627 | 0 | 6.2426 | 0 | 333.9 | 17.66 | 982.572 | 48.5241 | -0.25125
2020-10-08 23:15:00 | 1.578 | 91.6 | 1.682 | 83.2 | 0 | 78.3744 | 0.781 | 119.7 | 17.64 | 982.27 | 48.8312 | -0.25125
2020-10-08 23:30:00 | 2.421 | 128 | 2.62 | 140.3 | 0 | 132.163 | 2.46 | 131.3 | 17.8 | 982.29 | 49.2066 | -0.24016
2020-10-08 23:45:00 | 2.314 | 135.8 | 2.589 | 149.7 | 0 | 141.017 | 2.781 | 141.9 | 17.63 | 982.271 | 50.6739 | -0.26233