## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-09 00:00:00 | 3.572 | 131.1 | 3.87 | 142.7 | 0 | 134.423 | 3.249 | 137.6 | 17.44 | 981.974 | 50.2986 | 0.87198
2020-10-09 00:15:00 | 4.083 | 115.7 | 4.458 | 131.1 | 0 | 123.496 | 4.115 | 121.2 | 17.4 | 981.677 | 49.3431 | 4.0865
2020-10-09 00:30:00 | 4.54 | 123.2 | 4.919 | 136.6 | 0 | 128.677 | 4.792 | 129.8 | 17.59 | 981.677 | 47.5004 | 6.4143
2020-10-09 00:45:00 | 5.418 | 131 | 5.325 | 144.7 | 0 | 136.307 | 5.404 | 137.8 | 17.28 | 981.677 | 47.6369 | 7.8515
2020-10-09 01:00:00 | 5.618 | 136.3 | 5.775 | 148.9 | 0 | 140.264 | 5.648 | 143.1 | 17.25 | 981.528 | 47.1592 | 7.6299
2020-10-09 01:15:00 | 3.835 | 136.4 | 4.131 | 153.1 | 0 | 144.22 | 4.426 | 143.3 | 16.92 | 981.677 | 48.4559 | 4.456
2020-10-09 01:30:00 | 4.213 | 140 | 3.932 | 155.8 | 0 | 146.764 | 4.573 | 146.2 | 16.63 | 981.38 | 48.7289 | 6.5288
2020-10-09 01:45:00 | 3.603 | 143.4 | 4.062 | 164.5 | 0 | 154.959 | 4.894 | 148.1 | 16.35 | 981.677 | 49.8208 | 5.376
2020-10-09 02:00:00 | 4.042 | 151.6 | 5.103 | 165.8 | 0 | 156.184 | 5.432 | 159.9 | 16.16 | 981.677 | 51.1175 | 3.8611
2020-10-09 02:15:00 | 4.711 | 156.5 | 5.527 | 167.4 | 0 | 157.691 | 5.383 | 165.6 | 16.12 | 981.743 | 51.8683 | 2.7563
2020-10-09 02:30:00 | 4.744 | 153.8 | 5.328 | 166.7 | 0 | 157.031 | 5.179 | 163.7 | 16.05 | 981.79 | 56.3044 | 4.2158
2020-10-09 02:45:00 | 4.586 | 160.5 | 5.09 | 174 | 0 | 163.908 | 5.419 | 166.8 | 16.03 | 981.499 | 57.1238 | 4.3562
2020-10-09 03:00:00 | 4.816 | 162.6 | 5.302 | 177.7 | 0 | 167.393 | 5.5 | 167.6 | 15.94 | 981.312 | 58.6248 | 4.7405
2020-10-09 03:15:00 | 4.8 | 161.7 | 5.041 | 178.8 | 0 | 168.43 | 5.429 | 168.5 | 15.84 | 981.334 | 59.9906 | 4.1456
2020-10-09 03:30:00 | 4.392 | 161 | 4.742 | 178.6 | 0 | 168.241 | 4.915 | 167.6 | 15.66 | 981.223 | 60.8104 | 4.4745
2020-10-09 03:45:00 | 4.604 | 161.2 | 5.087 | 175.6 | 0 | 165.415 | 5.118 | 168.7 | 15.48 | 981.086 | 62.7954 | 5.1765
2020-10-09 04:00:00 | 4.65 | 160.3 | 5.236 | 174.3 | 0 | 164.191 | 5.139 | 166 | 15.39 | 980.789 | 63.5487 | 7.5153
2020-10-09 04:15:00 | 5.02 | 150.5 | 5.312 | 167.3 | 0 | 157.597 | 5.806 | 157.6 | 15.09 | 980.492 | 66.2116 | 11.5538
2020-10-09 04:30:00 | 5.138 | 149.3 | 5.913 | 166.9 | 0 | 157.22 | 6.781 | 157.7 | 14.92 | 980.492 | 67.0648 | 13.2977
2020-10-09 04:45:00 | 5 | 145.9 | 5.78 | 162.2 | 0 | 152.792 | 6.677 | 155.1 | 14.92 | 980.492 | 66.6212 | 12.5699
2020-10-09 05:00:00 | 4.686 | 145.8 | 5.458 | 162.7 | 0 | 153.263 | 6.687 | 158.3 | 14.72 | 980.492 | 67.5744 | 12.4479
2020-10-09 05:15:00 | 6.649 | 139.5 | 6.693 | 154.3 | 0 | 145.351 | 6.83 | 148.7 | 15.07 | 980.195 | 65.5967 | 15.6735
2020-10-09 05:30:00 | 6.031 | 144.2 | 6.941 | 157.4 | 0 | 148.271 | 6.364 | 155.5 | 15.29 | 980.195 | 65.7324 | 16.1723
2020-10-09 05:45:00 | 7.152 | 144.9 | 7.613 | 158.4 | 0 | 149.213 | 6.506 | 155.3 | 15.4 | 980.492 | 65.9383 | 13.1241
2020-10-09 06:00:00 | 7.032 | 145.1 | 7.416 | 158.2 | 0 | 149.024 | 6.769 | 157.6 | 15.42 | 980.789 | 66.6892 | 15.1452
2020-10-09 06:15:00 | 6.733 | 142.7 | 7.081 | 157.8 | 0 | 148.648 | 6.888 | 150.7 | 15.15 | 980.789 | 67.099 | 12.9024
2020-10-09 06:30:00 | 6.46 | 146 | 6.688 | 162.3 | 0 | 152.887 | 6.458 | 154.7 | 15.22 | 980.937 | 66.7565 | 13.2793
2020-10-09 06:45:00 | 6.557 | 144.1 | 7.133 | 156.1 | 0 | 147.046 | 6.038 | 156.2 | 15.45 | 980.937 | 66.6165 | 13.852
2020-10-09 07:00:00 | 6.261 | 147.2 | 6.941 | 157.1 | 0 | 147.988 | 6.203 | 160.1 | 15.35 | 980.993 | 65.7235 | 13.3569
2020-10-09 07:15:00 | 6.593 | 149.8 | 6.486 | 163.1 | 0 | 153.64 | 5.977 | 158.1 | 15.52 | 981.428 | 66.6781 | 12.1228
2020-10-09 07:30:00 | 5.929 | 151.1 | 5.831 | 169.1 | 0 | 159.292 | 6.56 | 157.2 | 15.56 | 981.528 | 65.3131 | 14.6316
2020-10-09 07:45:00 | 6.588 | 142.5 | 6.557 | 159.6 | 0 | 150.343 | 6.267 | 150.5 | 15.83 | 981.825 | 64.039 | 14.4062
2020-10-09 08:00:00 | 6.087 | 142.6 | 6.251 | 158.8 | 0 | 149.59 | 6.3 | 147.2 | 15.95 | 981.825 | 63.5176 | 13.6931
2020-10-09 08:15:00 | 5.549 | 148 | 5.537 | 165.6 | 0 | 155.995 | 6.17 | 151.4 | 15.95 | 981.677 | 64.4053 | 15.3558
2020-10-09 08:30:00 | 5.689 | 151.6 | 5.325 | 171.7 | 0 | 161.741 | 5.528 | 151.3 | 15.93 | 981.825 | 63.8603 | 14.4986
2020-10-09 08:45:00 | 5.86 | 151.6 | 5.657 | 169.6 | 0 | 159.763 | 5.393 | 155.8 | 16.07 | 981.677 | 64.3357 | 11.8272
2020-10-09 09:00:00 | 7.019 | 152.2 | 6.736 | 167.6 | 0 | 157.879 | 6.287 | 155.9 | 15.9 | 981.677 | 65.2913 | 11.3801
2020-10-09 09:15:00 | 6.501 | 155.6 | 6.499 | 171.2 | 0 | 161.27 | 5.742 | 160 | 16.04 | 981.677 | 64.1331 | 9.1337
2020-10-09 09:30:00 | 5.804 | 160.3 | 5.969 | 176 | 0 | 165.792 | 5.528 | 165.1 | 16.59 | 982.122 | 63.6876 | 7.0276
2020-10-09 09:45:00 | 5.559 | 157.4 | 5.389 | 173.6 | 0 | 163.531 | 4.803 | 164.6 | 16.96 | 982.122 | 61.4703 | 6.6138
2020-10-09 10:00:00 | 5.605 | 153.9 | 5.489 | 168.5 | 0 | 158.727 | 4.507 | 159.5 | 17.03 | 982.275 | 60.9586 | 7.7924
2020-10-09 10:15:00 | 5.863 | 153.9 | 5.611 | 170.4 | 0 | 160.517 | 5.215 | 158.6 | 17.19 | 981.529 | 60.9238 | 9.9983
2020-10-09 10:30:00 | 5.761 | 147.9 | 5.716 | 161.5 | 0 | 152.133 | 4.932 | 156.8 | 17.4 | 981.377 | 60.1656 | 7.0756
2020-10-09 10:45:00 | 4.517 | 147.1 | 4.456 | 157.1 | 0 | 147.988 | 3.659 | 155.4 | 17.67 | 981.822 | 58.5607 | 4.0976
2020-10-09 11:00:00 | 4.785 | 157.8 | 4.451 | 175.5 | 0 | 165.321 | 3.855 | 162.2 | 18.78 | 981.736 | 56.3343 | 2.0728
2020-10-09 11:15:00 | 4.729 | 169.8 | 4.277 | 181 | 0 | 170.502 | 3.855 | 178.4 | 18.83 | 981.373 | 55.5832 | 1.3671
2020-10-09 11:30:00 | 4.926 | 186.5 | 4.775 | 194.9 | 0 | 183.596 | 3.649 | 193.1 | 19.08 | 981.225 | 54.1459 | 0.32884
2020-10-09 11:45:00 | 3.83 | 200.4 | 3.39 | 209 | 0 | 196.878 | 2.921 | 201.4 | 19.03 | 981.077 | 51.2147 | 0.32515
2020-10-09 12:00:00 | 4.078 | 201.4 | 3.574 | 210.4 | 0 | 198.197 | 3.078 | 212.8 | 19.11 | 981.077 | 50.5358 | 0.014779
2020-10-09 12:15:00 | 4.732 | 200.5 | 4.43 | 205.1 | 0 | 193.204 | 4.1 | 210.7 | 18.96 | 980.78 | 51.6283 | -0.3621
2020-10-09 12:30:00 | 3.983 | 192.9 | 3.482 | 201.6 | 0 | 189.907 | 1.999 | 197.3 | 19.26 | 980.78 | 47.8431 | -0.30667
2020-10-09 12:45:00 | 2.014 | 202.9 | 2.087 | 203.3 | 0 | 191.509 | 1.616 | 210.2 | 19.16 | 980.78 | 50.2302 | -0.25125
2020-10-09 13:00:00 | 2.559 | 184.9 | 2.595 | 194.5 | 0 | 183.219 | 2.083 | 194.9 | 19.47 | 980.483 | 50.4007 | -0.25125
2020-10-09 13:15:00 | 2.423 | 151.7 | 2.055 | 146.6 | 0 | 138.097 | 1.814 | 167.5 | 19.29 | 980.632 | 49.5817 | -0.25125
2020-10-09 13:30:00 | 0.926 | 227.5 | 0.97 | 239.4 | 0 | 225.515 | 0.398 | 225.5 | 19.5 | 980.335 | 46.581 | -0.25125
2020-10-09 13:45:00 | 3.034 | 224.3 | 2.954 | 231.9 | 0 | 218.45 | 2.388 | 231.1 | 19.82 | 980.335 | 46.3763 | -0.25125
2020-10-09 14:00:00 | 1.89 | 164.6 | 2.173 | 172 | 0 | 162.024 | 1.305 | 177.7 | 19.45 | 980.483 | 48.7638 | -0.25125
2020-10-09 14:15:00 | 1.378 | 212.2 | 1.923 | 218.2 | 0 | 205.544 | 1.017 | 227.4 | 19.62 | 980.038 | 47.3316 | -0.25125
2020-10-09 14:30:00 | 0.507 | 197 | 0.375 | 187.9 | 0 | 177.002 | 0.323 | 232.3 | 19.81 | 979.89 | 46.8542 | -0.25125
2020-10-09 14:45:00 | 2.947 | 151.7 | 2.766 | 170.5 | 0 | 160.611 | 2.157 | 155.2 | 19.91 | 980.187 | 47.8769 | -0.25125
2020-10-09 15:00:00 | 2.492 | 134.5 | 2.538 | 152 | 0 | 143.184 | 1.999 | 145.7 | 19.52 | 980.483 | 48.9674 | -0.25125
2020-10-09 15:15:00 | 3.848 | 186.8 | 3.438 | 202.4 | 0 | 190.661 | 2.775 | 190.5 | 19.62 | 980.187 | 47.7396 | -0.2882
2020-10-09 15:30:00 | 3.12 | 154.6 | 3.29 | 168.7 | 0 | 158.915 | 2.796 | 168.6 | 19.3 | 979.593 | 49.0366 | -0.2882
2020-10-09 15:45:00 | 3.572 | 174.8 | 3.379 | 189.8 | 0 | 178.792 | 2.796 | 179.3 | 19.29 | 979.653 | 48.2182 | -0.26972
2020-10-09 16:00:00 | 3.141 | 157.8 | 3.029 | 173.3 | 0 | 163.249 | 2.439 | 159 | 19.14 | 979.58 | 49.9938 | -0.2882
2020-10-09 16:15:00 | 2.367 | 145.9 | 2.802 | 161.3 | 0 | 151.945 | 2.536 | 153.1 | 18.88 | 979.151 | 51.9098 | -0.25125
2020-10-09 16:30:00 | 2.605 | 137 | 2.94 | 151.4 | 0 | 142.619 | 2.646 | 149.4 | 18.68 | 978.705 | 50.6139 | -0.26972
2020-10-09 16:45:00 | 2.554 | 133.6 | 2.559 | 150.9 | 0 | 142.148 | 2.208 | 142.9 | 18.76 | 978.443 | 47.2107 | -0.2882
2020-10-09 17:00:00 | 2.441 | 139.9 | 2.523 | 153.4 | 0 | 144.503 | 2.085 | 147.1 | 18.74 | 978.788 | 49.0534 | -0.26972
2020-10-09 17:15:00 | 1.788 | 142.4 | 2.211 | 156.2 | 0 | 147.14 | 1.81 | 147.8 | 18.6 | 978.704 | 49.7356 | -0.26972
2020-10-09 17:30:00 | 1.44 | 156 | 1.756 | 157.4 | 0 | 148.271 | 1.449 | 153.7 | 18.59 | 978.708 | 51.1683 | -0.26972
2020-10-09 17:45:00 | 0.847 | 156 | 1.508 | 157.4 | 0 | 148.271 | 1.263 | 155.4 | 18.67 | 978.708 | 50.146 | -0.26972
2020-10-09 18:00:00 | 1.058 | 179 | 1.743 | 173.5 | 0 | 163.437 | 1.39 | 182.9 | 18.65 | 978.708 | 50.6919 | -0.25125
2020-10-09 18:15:00 | 1.969 | 266.2 | 2.533 | 281.8 | 0 | 265.456 | 2.177 | 270.1 | 18.03 | 978.708 | 55.1964 | -0.26972
2020-10-09 18:30:00 | 1.698 | 264.1 | 2.17 | 275.9 | 0 | 259.898 | 1.599 | 265.1 | 18.07 | 978.708 | 55.8816 | -0.26972
2020-10-09 18:45:00 | 2.518 | 254.1 | 2.607 | 264.4 | 0 | 249.065 | 1.584 | 256.9 | 18.02 | 979.005 | 55.3377 | -0.25125
2020-10-09 19:00:00 | 2.324 | 247.5 | 2.518 | 261.3 | 0 | 246.145 | 1.665 | 247.1 | 18.05 | 979.005 | 55.2709 | -0.25125
2020-10-09 19:15:00 | 1.915 | 234 | 2.298 | 241.5 | 0 | 227.493 | 1.375 | 230.6 | 17.96 | 979.005 | 55.4768 | -0.25125
2020-10-09 19:30:00 | 1.757 | 204.1 | 2.068 | 219 | 0 | 206.298 | 1.472 | 222.8 | 17.73 | 978.559 | 56.4331 | -0.25125
2020-10-09 19:45:00 | 1.634 | 200.2 | 2.331 | 216.1 | 0 | 203.566 | 1.828 | 207.2 | 17.67 | 978.708 | 55.4818 | -0.25125
2020-10-09 20:00:00 | 2.569 | 197.1 | 2.63 | 215.5 | 0 | 203.001 | 1.96 | 191.2 | 17.88 | 979.005 | 55.5533 | -0.25125
2020-10-09 20:15:00 | 2.324 | 187.7 | 2.641 | 209.4 | 0 | 197.255 | 2.651 | 188.5 | 17.89 | 978.708 | 55.6898 | -0.25125
2020-10-09 20:30:00 | 2.214 | 179 | 2.947 | 197.2 | 0 | 185.762 | 2.837 | 182.6 | 17.81 | 978.708 | 55.9972 | -0.24016
2020-10-09 20:45:00 | 1.409 | 173.2 | 2.551 | 189.2 | 0 | 178.226 | 2.984 | 178 | 17.69 | 978.708 | 56.3039 | -0.26972
2020-10-09 21:00:00 | 2.268 | 154.6 | 2.569 | 170.8 | 0 | 160.894 | 2.987 | 158.4 | 18.03 | 978.856 | 55.0076 | -0.23278
2020-10-09 21:15:00 | 3.531 | 168.5 | 3.87 | 182.9 | 0 | 172.292 | 3.804 | 170.8 | 17.85 | 978.559 | 52.4824 | 0.025864
2020-10-09 21:30:00 | 3.552 | 167.9 | 3.888 | 183.1 | 0 | 172.48 | 3.695 | 173.6 | 18.06 | 978.708 | 52.2778 | 0.0073897
2020-10-09 21:45:00 | 2.329 | 175.3 | 3.16 | 186.5 | 0 | 175.683 | 3.119 | 179.3 | 17.95 | 978.856 | 52.9602 | -0.25125
2020-10-09 22:00:00 | 2.127 | 170.4 | 3.282 | 177.8 | 0 | 167.488 | 3.053 | 178.2 | 17.81 | 978.708 | 53.6426 | -0.2882
2020-10-09 22:15:00 | 2.316 | 157.9 | 3.034 | 172.2 | 0 | 162.212 | 2.793 | 160.1 | 17.88 | 978.559 | 54.9394 | -0.25125
2020-10-09 22:30:00 | 2.375 | 156.1 | 2.74 | 176 | 0 | 165.792 | 2.449 | 159.5 | 17.94 | 978.262 | 54.6664 | -0.25125
2020-10-09 22:45:00 | 2.099 | 162 | 2.635 | 176 | 0 | 165.792 | 2.335 | 166.5 | 17.92 | 978.708 | 53.984 | -0.25125
2020-10-09 23:00:00 | 1.622 | 167.9 | 2.155 | 177.9 | 0 | 167.582 | 1.841 | 167.3 | 18.05 | 978.708 | 52.3801 | -0.25125
2020-10-09 23:15:00 | 2.648 | 160.7 | 2.95 | 178.1 | 0 | 167.77 | 2.393 | 167.3 | 17.95 | 978.262 | 52.4143 | -0.25125
2020-10-09 23:30:00 | 2.441 | 158 | 3.103 | 179 | 0 | 168.618 | 2.849 | 166.7 | 17.61 | 978.262 | 52.7555 | -0.25125
2020-10-09 23:45:00 | 1.891 | 169.2 | 2.853 | 176.9 | 0 | 166.64 | 2.735 | 167.5 | 17.62 | 978.411 | 53.9157 | -0.23647