## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-10 00:00:00 | 2.571 | 168.7 | 3.213 | 176.7 | 0 | 166.451 | 2.837 | 171.1 | 17.73 | 978.262 | 52.2436 | -0.25125
2020-10-10 00:15:00 | 2.217 | 168 | 2.712 | 172.1 | 0 | 162.118 | 2.569 | 177.7 | 17.76 | 978.114 | 50.7081 | -0.25125
2020-10-10 00:30:00 | 1.874 | 163.9 | 2.423 | 162.8 | 0 | 153.358 | 2.037 | 171.5 | 17.87 | 978.114 | 50.8446 | -0.25125
2020-10-10 00:45:00 | 2.142 | 156.4 | 2.577 | 167.4 | 0 | 157.691 | 2.029 | 168.4 | 17.88 | 978.114 | 52.2095 | -0.25125
2020-10-10 01:00:00 | 1.956 | 163.3 | 2.242 | 167.5 | 0 | 157.785 | 1.67 | 181.1 | 17.95 | 977.966 | 51.8 | -0.25125
2020-10-10 01:15:00 | 2.038 | 173.8 | 2.572 | 178.4 | 0 | 168.053 | 2.001 | 185.5 | 17.69 | 977.817 | 52.619 | -0.25125
2020-10-10 01:30:00 | 1.608 | 169.8 | 2.127 | 179.9 | 0 | 169.466 | 1.994 | 184.4 | 17.82 | 977.817 | 52.8237 | -0.24016
2020-10-10 01:45:00 | 2.171 | 158.1 | 2.362 | 162.1 | 0 | 152.698 | 1.165 | 175.6 | 17.81 | 977.817 | 52.9602 | -0.25125
2020-10-10 02:00:00 | 1.515 | 133.3 | 1.641 | 145.4 | 0 | 136.967 | 0 | 158.4 | 18 | 977.52 | 50.9811 | -0.24016
2020-10-10 02:15:00 | 0.626 | 157.9 | 1.528 | 157.3 | 0 | 148.177 | 0 | 158.4 | 17.85 | 977.817 | 52.0719 | -0.24016
2020-10-10 02:30:00 | 0.145 | 158 | 0.173 | 157.3 | 0 | 148.177 | 0 | 158.4 | 17.89 | 977.817 | 52.0048 | -0.25125
2020-10-10 02:45:00 | 0 | 158 | 0 | 157.3 | 0 | 148.177 | 0 | 158.5 | 17.81 | 977.669 | 51.8 | -0.22539
2020-10-10 03:00:00 | 0 | 158 | 0 | 157.3 | 0 | 148.177 | 0 | 158.4 | 17.79 | 977.52 | 51.9365 | -0.25125
2020-10-10 03:15:00 | 0 | 158 | 0 | 157.2 | 0 | 148.082 | 0 | 158.4 | 17.81 | 977.817 | 51.8 | -0.46186
2020-10-10 03:30:00 | 0 | 158 | 0.503 | 157.2 | 0 | 148.082 | 0 | 158.5 | 17.66 | 978.411 | 52.4143 | -0.24016
2020-10-10 03:45:00 | 0 | 204.9 | 0 | 157.2 | 0 | 148.082 | 0 | 159.2 | 17.56 | 978.114 | 52.6872 | -0.22539
2020-10-10 04:00:00 | 1.182 | 39.34 | 1.298 | 37.81 | 0 | 35.617 | 0 | 159 | 17.6 | 978.114 | 52.5508 | -0.22539
2020-10-10 04:15:00 | 0 | 322.6 | 0.297 | 34.07 | 0 | 32.0939 | 0 | 159 | 17.67 | 978.262 | 51.8 | -0.22539
2020-10-10 04:30:00 | 0 | 268.1 | 0.18 | 346.4 | 0 | 326.309 | 0 | 159 | 17.81 | 978.114 | 51.1175 | -0.24016
2020-10-10 04:45:00 | 1.052 | 319.2 | 1.236 | 0.336 | 0 | 0.31651 | 0 | 159 | 17.68 | 978.114 | 52.7555 | -0.25125
2020-10-10 05:00:00 | 1.629 | 21.05 | 1.109 | 30.16 | 0 | 28.4107 | 0.225 | 34.62 | 17.59 | 978.262 | 52.755 | -0.040643
2020-10-10 05:15:00 | 0.432 | 21.1 | 1.116 | 30.21 | 0 | 28.4578 | 0.003 | 34.6 | 17.58 | 978.708 | 52.7555 | 0.97174
2020-10-10 05:30:00 | 0 | 21.09 | 0 | 30.21 | 0 | 28.4578 | 0 | 34.6 | 17.5 | 978.708 | 53.506 | 1.7329
2020-10-10 05:45:00 | 1.311 | 22.32 | 1.478 | 60.09 | 0 | 56.6048 | 1.158 | 35.08 | 17.42 | 978.262 | 52.9944 | 2.6529
2020-10-10 06:00:00 | 1.06 | 46.92 | 0.998 | 79.43 | 0 | 74.8231 | 0.246 | 63.53 | 17.59 | 978.262 | 52.4825 | 2.9965
2020-10-10 06:15:00 | 1.315 | 69.44 | 2.076 | 93.1 | 0 | 87.7002 | 1.708 | 65.86 | 17.33 | 978.262 | 53.711 | 3.0224
2020-10-10 06:30:00 | 2.311 | 64.13 | 2.799 | 81.4 | 0 | 76.6788 | 2.294 | 66.4 | 17.62 | 978.114 | 53.3015 | 4.3414
2020-10-10 06:45:00 | 2.556 | 82.2 | 4.077 | 105.9 | 0 | 99.7578 | 4.12 | 81.6 | 16.93 | 977.817 | 54.1192 | 7.301
2020-10-10 07:00:00 | 2.514 | 93.7 | 3.216 | 121.3 | 0 | 114.265 | 3.873 | 94.3 | 17.48 | 978.114 | 54.529 | 14.0811
2020-10-10 07:15:00 | 5.138 | 115.5 | 5.573 | 139.4 | 0 | 131.315 | 4.899 | 113.2 | 16.41 | 977.817 | 53.9126 | 10.8665
2020-10-10 07:30:00 | 3.83 | 114.1 | 3.778 | 136 | 0 | 128.112 | 2.724 | 108.3 | 16.41 | 978.262 | 53.1596 | 8.0511
2020-10-10 07:45:00 | 2.431 | 109.4 | 3.285 | 130.1 | 0 | 122.554 | 3.542 | 110.9 | 16.77 | 978.411 | 54.2496 | 9.0191
2020-10-10 08:00:00 | 0.593 | 97.4 | 1.228 | 107 | 0 | 100.794 | 1.01 | 102.3 | 16.79 | 978.708 | 51.3144 | 7.2271
2020-10-10 08:15:00 | 3.549 | 114.3 | 3.515 | 132 | 0 | 124.344 | 3.155 | 121.9 | 17.26 | 978.708 | 49.6728 | 8.1287
2020-10-10 08:30:00 | 2.817 | 137.7 | 2.858 | 155.9 | 0 | 146.858 | 2.923 | 141.7 | 16.96 | 979.005 | 52.6033 | 4.0643
2020-10-10 08:45:00 | 1.622 | 101.3 | 2.779 | 110.6 | 0 | 104.185 | 3.443 | 109.7 | 16.88 | 979.153 | 54.8539 | 4.4079
2020-10-10 09:00:00 | 2.095 | 113.4 | 2.694 | 138.5 | 0 | 130.467 | 3.387 | 118.7 | 16.95 | 979.302 | 51.0357 | 3.499
2020-10-10 09:15:00 | 0.83 | 105.7 | 2.099 | 111.5 | 0 | 105.033 | 1.754 | 118.7 | 17.58 | 979.302 | 53.6942 | 1.9176
2020-10-10 09:30:00 | 1.629 | 114.5 | 2.226 | 120.6 | 0 | 113.605 | 2.021 | 123.2 | 17.43 | 979.302 | 53.7609 | 1.9841
2020-10-10 09:45:00 | 1.609 | 109.6 | 2.258 | 127.6 | 0 | 120.199 | 1.759 | 108.9 | 17.71 | 979.302 | 49.9403 | 3.0519
2020-10-10 10:00:00 | 2.865 | 107.5 | 3.806 | 119.9 | 0 | 112.946 | 3.812 | 116 | 17.58 | 979.123 | 53.2492 | 1.175
2020-10-10 10:15:00 | 3.016 | 138.5 | 2.94 | 159.6 | 0 | 150.343 | 2.493 | 138.2 | 17.8 | 979.294 | 51.68 | 1.0087
2020-10-10 10:30:00 | 3.708 | 137.3 | 3.474 | 162.4 | 0 | 152.981 | 2.753 | 142.3 | 18.25 | 979.597 | 49.1216 | 0.9348
2020-10-10 10:45:00 | 3.891 | 140.3 | 3.898 | 161.6 | 0 | 152.227 | 3.17 | 142 | 18.02 | 979.079 | 53.2151 | 1.4299
2020-10-10 11:00:00 | 4.706 | 144.3 | 4.824 | 160.8 | 0 | 151.474 | 4.887 | 150.3 | 17.88 | 978.926 | 56.3534 | 1.9398
2020-10-10 11:15:00 | 4.943 | 138 | 4.913 | 155.4 | 0 | 146.387 | 4.072 | 140.2 | 17.98 | 978.855 | 54.7824 | 1.1897
2020-10-10 11:30:00 | 4.806 | 148.6 | 4.826 | 167 | 0 | 157.314 | 4.291 | 152.4 | 17.95 | 978.561 | 55.7346 | 0.82764
2020-10-10 11:45:00 | 3.503 | 140.3 | 3.686 | 157.8 | 0 | 148.648 | 3.654 | 146.7 | 17.79 | 978.409 | 54.6475 | 0.033254
2020-10-10 12:00:00 | 3.654 | 131.5 | 3.799 | 147.9 | 0 | 139.322 | 3.422 | 136.6 | 18.09 | 978.112 | 53.6907 | 0.70202
2020-10-10 12:15:00 | 3.771 | 139.3 | 3.653 | 157.4 | 0 | 148.271 | 3.455 | 142 | 17.59 | 977.848 | 57.4789 | 0.53575
2020-10-10 12:30:00 | 3.23 | 139.2 | 3.53 | 160.8 | 0 | 151.474 | 3.43 | 142.1 | 17.86 | 977.817 | 55.6029 | -0.31037
2020-10-10 12:45:00 | 2.663 | 143.8 | 2.584 | 163.7 | 0 | 154.205 | 1.836 | 146.4 | 18 | 977.579 | 54.7842 | -0.27711
2020-10-10 13:00:00 | 2.293 | 150 | 2.127 | 166.8 | 0 | 157.126 | 1.474 | 145.5 | 18.06 | 977.773 | 54.5796 | -0.30667
2020-10-10 13:15:00 | 1.854 | 155.9 | 1.794 | 170.2 | 0 | 160.328 | 0.994 | 147.9 | 18.25 | 977.253 | 53.3515 | -0.18105
2020-10-10 13:30:00 | 2.679 | 139.4 | 2.722 | 156.1 | 0 | 147.046 | 2.281 | 147 | 18.04 | 977.053 | 53.9314 | 0.014779
2020-10-10 13:45:00 | 3.307 | 146.9 | 3.328 | 166.2 | 0 | 156.56 | 3.142 | 153 | 17.77 | 976.84 | 59.6282 | -0.025864
2020-10-10 14:00:00 | 1.973 | 119.1 | 2.428 | 135 | 0 | 127.17 | 2.269 | 126.4 | 17.89 | 976.899 | 57.2403 | -0.26603
2020-10-10 14:15:00 | 3.184 | 157.7 | 3.149 | 175.7 | 0 | 165.509 | 2.584 | 156.2 | 18.04 | 976.918 | 55.9099 | -0.25125
2020-10-10 14:30:00 | 3.605 | 164.3 | 3.469 | 177.2 | 0 | 166.922 | 3.096 | 173.6 | 17.92 | 976.916 | 57.445 | -0.25125
2020-10-10 14:45:00 | 3.761 | 148.9 | 3.704 | 160.5 | 0 | 151.191 | 2.831 | 156.5 | 17.9 | 976.63 | 57.9908 | -0.16996
2020-10-10 15:00:00 | 3.427 | 155.5 | 3.592 | 170 | 0 | 160.14 | 3.399 | 162.4 | 17.72 | 976.63 | 60.1057 | -0.16257
2020-10-10 15:15:00 | 3.148 | 156.7 | 3.267 | 171.5 | 0 | 161.553 | 3.152 | 163.7 | 17.58 | 976.333 | 61.5043 | 0.16257
2020-10-10 15:30:00 | 3.23 | 156.8 | 3.431 | 172.4 | 0 | 162.401 | 3.511 | 161.7 | 17.58 | 976.333 | 61.7772 | 0.066507
2020-10-10 15:45:00 | 3.051 | 156.3 | 3.057 | 175.3 | 0 | 165.133 | 3.035 | 156.5 | 17.55 | 976.184 | 62.4937 | -0.044338
2020-10-10 16:00:00 | 3.235 | 158.4 | 3.282 | 172.9 | 0 | 162.872 | 2.987 | 164.2 | 17.51 | 976.036 | 63.7217 | 0.070202
2020-10-10 16:15:00 | 2.99 | 159.3 | 2.779 | 171.9 | 0 | 161.93 | 2.327 | 158.4 | 17.41 | 975.887 | 64.8137 | -0.19952
2020-10-10 16:30:00 | 3.631 | 160.8 | 3.842 | 174.3 | 0 | 164.191 | 3.725 | 166.9 | 17.23 | 975.739 | 68.566 | 0.3547
2020-10-10 16:45:00 | 4.006 | 152.4 | 4.08 | 167 | 0 | 157.314 | 3.631 | 157.1 | 16.79 | 975.739 | 66.8655 | 0.69094
2020-10-10 17:00:00 | 3.692 | 163.6 | 3.735 | 175.1 | 0 | 164.944 | 3.445 | 168.6 | 16.77 | 975.591 | 67.2897 | 1.1602
2020-10-10 17:15:00 | 3.639 | 165.4 | 3.574 | 176.6 | 0 | 166.357 | 3.537 | 166.1 | 16.91 | 975.591 | 65.9273 | 2.2576
2020-10-10 17:30:00 | 3.695 | 159.4 | 4.034 | 173.6 | 0 | 163.531 | 4.12 | 164.3 | 16.75 | 975.739 | 66.951 | 1.5999
2020-10-10 17:45:00 | 3.56 | 160.5 | 3.374 | 177.9 | 0 | 167.582 | 3.219 | 166.2 | 16.66 | 975.739 | 69.9539 | 0.7168
2020-10-10 18:00:00 | 3.662 | 156.3 | 3.929 | 168.6 | 0 | 158.821 | 4.016 | 160.9 | 16.38 | 975.739 | 71.1141 | 0.95696
2020-10-10 18:15:00 | 4.43 | 162.6 | 4.302 | 175.6 | 0 | 165.415 | 4.265 | 167.8 | 16.37 | 975.591 | 70.6023 | 0.99391
2020-10-10 18:30:00 | 3.542 | 150.7 | 3.76 | 164.8 | 0.13 | 155.242 | 3.792 | 154.9 | 16.17 | 975.442 | 74.663 | 0.4286
2020-10-10 18:45:00 | 4.481 | 162.6 | 4.663 | 173.4 | 0 | 163.343 | 4.135 | 172.7 | 16.01 | 975.454 | 73.7076 | 1.4521
2020-10-10 19:00:00 | 2.765 | 171.2 | 2.853 | 181.1 | 0 | 170.596 | 2.707 | 174.1 | 16.17 | 975.739 | 73.844 | 0.26233
2020-10-10 19:15:00 | 3.537 | 170.4 | 3.842 | 185.8 | 0.648 | 175.024 | 3.995 | 175.2 | 16.09 | 975.888 | 73.7758 | 0.19952
2020-10-10 19:30:00 | 1.882 | 177.3 | 2.439 | 192.1 | 0 | 180.958 | 2.758 | 185.8 | 16.08 | 975.888 | 74.2194 | -0.26972
2020-10-10 19:45:00 | 1.726 | 163.4 | 2.28 | 174.5 | 0 | 164.379 | 2.829 | 172.9 | 16.15 | 975.755 | 74.6289 | -0.26972
2020-10-10 20:00:00 | 3.123 | 162.7 | 3.891 | 171.6 | 0 | 161.647 | 4.041 | 175.7 | 16.15 | 975.891 | 70.9094 | 0.13671
2020-10-10 20:15:00 | 3.136 | 175.9 | 3.788 | 186.8 | 0 | 175.966 | 4.023 | 183.8 | 16.24 | 975.591 | 70.8753 | 1.1306
2020-10-10 20:30:00 | 4.852 | 164.7 | 5.223 | 176 | 0 | 165.792 | 5.108 | 173 | 16.51 | 975.147 | 66.9169 | 2.8229
2020-10-10 20:45:00 | 4.297 | 175.2 | 4.517 | 188.2 | 0 | 177.284 | 4.573 | 178.8 | 16.51 | 975.443 | 68.4866 | 1.6479
2020-10-10 21:00:00 | 3.907 | 167.3 | 4.054 | 176.7 | 0 | 166.451 | 4.387 | 171.9 | 16.54 | 975.591 | 68.0771 | 2.2982
2020-10-10 21:15:00 | 3.228 | 167.2 | 3.451 | 182.4 | 0 | 171.821 | 3.702 | 171.7 | 16.47 | 975.591 | 68.9302 | 1.8844
2020-10-10 21:30:00 | 4.114 | 158.1 | 4.226 | 170.6 | 0 | 160.705 | 4.655 | 165.2 | 16.31 | 975.443 | 69.7492 | 2.2058
2020-10-10 21:45:00 | 4.507 | 157.8 | 4.809 | 168.8 | 0 | 159.01 | 4.759 | 165.6 | 16.2 | 975.146 | 70.4999 | 3.414
2020-10-10 22:00:00 | 4.047 | 154.6 | 4.407 | 166 | 0 | 156.372 | 4.479 | 161.3 | 16.19 | 975.146 | 70.9776 | 1.5112
2020-10-10 22:15:00 | 3.667 | 156.7 | 4.415 | 165.7 | 0 | 156.089 | 4.227 | 166.5 | 16.26 | 975.146 | 68.316 | 0.83134
2020-10-10 22:30:00 | 3.723 | 155.9 | 4.123 | 166.2 | 0 | 156.56 | 4.331 | 166.2 | 16.46 | 974.997 | 68.4525 | 0.92002
2020-10-10 22:45:00 | 3.641 | 158.8 | 4.259 | 169.5 | 0 | 159.669 | 4.833 | 170.4 | 16.48 | 974.849 | 66.2685 | 1.138
2020-10-10 23:00:00 | 3.549 | 161.8 | 4.215 | 173.3 | 0 | 163.249 | 4.54 | 170.8 | 16.57 | 974.7 | 64.0164 | 0.87198
2020-10-10 23:15:00 | 3.623 | 159.2 | 4.123 | 166.2 | 0 | 156.56 | 4.571 | 170.3 | 16.52 | 974.7 | 63.7434 | 1.1824
2020-10-10 23:30:00 | 3.805 | 169.7 | 4.507 | 178.7 | 0 | 168.335 | 4.782 | 180.4 | 16.52 | 974.552 | 64.6306 | 2.1024
2020-10-10 23:45:00 | 3.279 | 168.2 | 3.725 | 175.5 | 0 | 165.321 | 3.708 | 178.4 | 16.75 | 974.552 | 62.8562 | 1.0678