## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-11 00:00:00 | 2.783 | 161.2 | 3.898 | 166.2 | 0 | 156.56 | 4.747 | 175.6 | 16.75 | 974.552 | 62.4467 | 1.5112
2020-10-11 00:15:00 | 3.874 | 164.8 | 4.645 | 172.8 | 0 | 162.778 | 5.185 | 175.8 | 17.06 | 974.552 | 60.7405 | 2.2649
2020-10-11 00:30:00 | 3.35 | 171.7 | 3.74 | 178.9 | 0 | 168.524 | 4.135 | 178.5 | 17.29 | 974.7 | 60.331 | 1.1417
2020-10-11 00:45:00 | 3.08 | 166 | 3.525 | 173.7 | 0 | 163.625 | 3.837 | 173.6 | 17.18 | 974.552 | 61.1495 | 1.2599
2020-10-11 01:00:00 | 2.704 | 162.3 | 3.101 | 171.1 | 0 | 161.176 | 3.073 | 172.2 | 17.13 | 974.552 | 60.7405 | 0.97544
2020-10-11 01:15:00 | 3.999 | 165.5 | 4.607 | 178.4 | 0 | 168.053 | 4.54 | 173.2 | 16.99 | 974.403 | 61.0807 | 3.584
2020-10-11 01:30:00 | 4.328 | 147.7 | 4.865 | 162.7 | 0 | 153.263 | 5.011 | 157 | 17.03 | 973.958 | 61.9006 | 7.8072
2020-10-11 01:45:00 | 5.038 | 149.9 | 5.668 | 159.8 | 0 | 150.532 | 6.501 | 160.9 | 16.7 | 974.107 | 62.3093 | 10.0611
2020-10-11 02:00:00 | 4.405 | 149.4 | 5.501 | 163.2 | 0 | 153.734 | 5.579 | 158.7 | 16.53 | 973.958 | 62.3783 | 9.8098
2020-10-11 02:15:00 | 4.614 | 146.3 | 5.21 | 160.7 | 0 | 151.379 | 5.618 | 154.9 | 16.49 | 973.958 | 61.7642 | 9.3627
2020-10-11 02:30:00 | 4.795 | 147.5 | 5.103 | 162.1 | 0 | 152.698 | 5.62 | 160.2 | 16.7 | 973.661 | 62.2419 | 7.9328
2020-10-11 02:45:00 | 4.558 | 156.6 | 5.32 | 167.3 | 0 | 157.597 | 5.337 | 170.6 | 16.58 | 973.81 | 62.822 | 9.4773
2020-10-11 03:00:00 | 5.02 | 159.6 | 5.747 | 168.8 | 0 | 159.01 | 5.536 | 169.6 | 16.69 | 973.364 | 62.1054 | 11.6462
2020-10-11 03:15:00 | 5.916 | 146.7 | 6.005 | 159.9 | 0 | 150.626 | 6.147 | 155.7 | 16.68 | 973.364 | 62.6514 | 10.8111
2020-10-11 03:30:00 | 5.186 | 146.6 | 5.836 | 160.5 | 0 | 151.191 | 6.275 | 155.5 | 16.58 | 973.364 | 63.2656 | 10.6448
2020-10-11 03:45:00 | 4.908 | 143.8 | 5.688 | 158 | 0 | 148.836 | 6.389 | 155 | 16.4 | 973.216 | 63.6751 | 12.1523
2020-10-11 04:00:00 | 5.781 | 150.9 | 6.747 | 162.3 | 0 | 152.887 | 7.12 | 160.4 | 16.39 | 973.364 | 64.8353 | 17.92
2020-10-11 04:15:00 | 4.813 | 139.2 | 4.998 | 161 | 0 | 151.662 | 5.638 | 144.7 | 16.29 | 973.364 | 67.224 | 13.9628
2020-10-11 04:30:00 | 4.892 | 142 | 5.785 | 160 | 0 | 150.72 | 6.341 | 149.5 | 16.13 | 973.068 | 68.5207 | 14.6279
2020-10-11 04:45:00 | 5.51 | 147.5 | 5.944 | 162.8 | 0 | 153.358 | 6.802 | 155.3 | 15.95 | 972.771 | 70.0222 | 18.0937
2020-10-11 05:00:00 | 5.538 | 141.8 | 6.276 | 161.2 | 0 | 151.85 | 7.1 | 148.3 | 16.15 | 972.771 | 69.6809 | 21.0015
2020-10-11 05:15:00 | 4.954 | 146.2 | 5.448 | 164.5 | 0 | 154.959 | 6.583 | 151.3 | 16.08 | 973.089 | 70.2269 | 20.5138
2020-10-11 05:30:00 | 5.738 | 144.6 | 6.409 | 160.5 | 0 | 151.191 | 6.929 | 150.3 | 16.05 | 972.839 | 70.4999 | 23.5066
2020-10-11 05:45:00 | 4.622 | 143.8 | 4.926 | 166.3 | 0 | 156.655 | 6.188 | 148.5 | 15.87 | 972.879 | 70.0904 | 23.3034
2020-10-11 06:00:00 | 3.973 | 146.3 | 4.131 | 167.6 | 0.019 | 157.879 | 5.503 | 144.9 | 15.86 | 973.105 | 71.9331 | 25.0474
2020-10-11 06:15:00 | 4.918 | 142.3 | 5.576 | 161.2 | 0 | 151.85 | 5.951 | 148 | 16.01 | 972.942 | 70.7388 | 24.5596
2020-10-11 06:30:00 | 5.939 | 143 | 6.422 | 159.5 | 0.003 | 150.249 | 7.079 | 147.8 | 16 | 972.899 | 71.7284 | 26.7285
2020-10-11 06:45:00 | 5.168 | 144.6 | 5.686 | 161.3 | 0 | 151.945 | 5.865 | 148.4 | 15.92 | 973.124 | 72.2061 | 25.4797
2020-10-11 07:00:00 | 5.5 | 150 | 5.44 | 167 | 0.019 | 157.314 | 6.262 | 155.1 | 16.1 | 973.368 | 71.1824 | 23.0854
2020-10-11 07:15:00 | 5.566 | 149.5 | 5.836 | 167.5 | 0.025 | 157.785 | 6.702 | 152.9 | 15.98 | 973.661 | 72.4791 | 21.8476
2020-10-11 07:30:00 | 5.921 | 146 | 6.115 | 164.4 | 0.022 | 154.865 | 6.723 | 151.5 | 15.9 | 973.661 | 74.0488 | 23.1667
2020-10-11 07:45:00 | 5.556 | 146 | 5.806 | 161.5 | 0.031 | 152.133 | 6.674 | 153.9 | 16.01 | 973.958 | 73.2298 | 15.8841
2020-10-11 08:00:00 | 5.4 | 145.9 | 5.711 | 161.1 | 0.009 | 151.756 | 5.74 | 154.1 | 16.53 | 974.255 | 72.001 | 14.3693
2020-10-11 08:15:00 | 4.913 | 149.5 | 5.218 | 164.1 | 0 | 154.582 | 5.342 | 156 | 16.91 | 974.552 | 70.8295 | 10.4601
2020-10-11 08:30:00 | 4.553 | 150.1 | 4.844 | 164.8 | 0 | 155.242 | 4.599 | 156.1 | 17.26 | 974.849 | 71.0218 | 7.3306
2020-10-11 08:45:00 | 5.275 | 149.4 | 5.55 | 164.6 | 0.012 | 155.053 | 5.248 | 153.9 | 17.02 | 975.146 | 71.7039 | 10.2347
2020-10-11 09:00:00 | 4.823 | 145.9 | 4.893 | 166.5 | 0 | 156.843 | 4.851 | 152.6 | 16.96 | 975.294 | 70.9535 | 11.3173
2020-10-11 09:15:00 | 6.146 | 151.6 | 6.401 | 166.1 | 0.019 | 156.466 | 5.862 | 157.5 | 16.97 | 975.146 | 71.6357 | 11.2878
2020-10-11 09:30:00 | 5.472 | 147.6 | 5.583 | 164.2 | 0 | 154.676 | 5.238 | 154.6 | 17.22 | 975.146 | 70.6465 | 8.9674
2020-10-11 09:45:00 | 5.362 | 143.2 | 5.404 | 158.2 | 0 | 149.024 | 4.701 | 150.2 | 17.53 | 975.333 | 68.2927 | 8.6386
2020-10-11 10:00:00 | 5.52 | 150 | 5.448 | 163.6 | 0 | 154.111 | 4.846 | 155.3 | 17.79 | 975.161 | 69.1105 | 10.8628
2020-10-11 10:15:00 | 5.26 | 140.8 | 5.338 | 159.7 | 0 | 150.437 | 5.034 | 148.3 | 17.52 | 974.848 | 70.0612 | 11.4688
2020-10-11 10:30:00 | 6.575 | 149.6 | 6.744 | 165.4 | 0 | 155.807 | 5.862 | 154.8 | 17.65 | 974.848 | 70.055 | 11.8641
2020-10-11 10:45:00 | 6.437 | 147.8 | 6.529 | 163.7 | 0 | 154.205 | 6.099 | 154.7 | 18.18 | 974.848 | 67.3602 | 13.2977
2020-10-11 11:00:00 | 7.19 | 146.9 | 6.979 | 160 | 0 | 150.72 | 6.297 | 154.9 | 18.39 | 974.551 | 68.0057 | 16.5862
2020-10-11 11:15:00 | 7.063 | 142.4 | 7.133 | 156.3 | 0 | 147.235 | 6.096 | 149.5 | 18.53 | 974.548 | 68.4108 | 15.8841
2020-10-11 11:30:00 | 7.535 | 134.4 | 7.675 | 150.2 | 0 | 141.488 | 7.079 | 142.2 | 18.74 | 974.192 | 64.5184 | 19.7785
2020-10-11 11:45:00 | 6.115 | 149.3 | 6.189 | 170.4 | 0 | 160.517 | 6 | 157.9 | 19.61 | 974.01 | 63.9727 | 14.6833
2020-10-11 12:00:00 | 5.063 | 183.8 | 4.765 | 198.2 | 0 | 186.704 | 4.627 | 189.7 | 19.25 | 973.966 | 63.5294 | 11.805
2020-10-11 12:15:00 | 5.858 | 159.2 | 5.908 | 177.1 | 0 | 166.828 | 5.63 | 164.9 | 19.34 | 973.981 | 63.0861 | 8.0067
2020-10-11 12:30:00 | 5.569 | 159.7 | 5.399 | 176.6 | 0 | 166.357 | 4.988 | 167 | 19.16 | 974.142 | 62.6769 | 6.769
2020-10-11 12:45:00 | 5.028 | 152.5 | 5.013 | 173.4 | 0 | 163.343 | 4.594 | 156.4 | 19.35 | 974.144 | 63.1202 | 5.8157
2020-10-11 13:00:00 | 4.586 | 143.8 | 4.489 | 158.2 | 0 | 149.024 | 3.876 | 152.3 | 19.61 | 974.199 | 62.7455 | 5.2615
2020-10-11 13:15:00 | 4.412 | 158.1 | 4.509 | 178.1 | 0 | 167.77 | 4.242 | 165.2 | 19.63 | 973.551 | 64.757 | 5.9746
2020-10-11 13:30:00 | 5.283 | 162.9 | 5.317 | 177.2 | 0 | 166.922 | 4.955 | 166.9 | 19.42 | 973.733 | 63.9045 | 6.3034
2020-10-11 13:45:00 | 4.543 | 146.3 | 4.175 | 159.2 | 0 | 149.966 | 3.478 | 155.8 | 19.14 | 973.531 | 66.224 | 5.7492
2020-10-11 14:00:00 | 5.209 | 150.4 | 5.243 | 164.8 | 0 | 155.242 | 4.647 | 157.4 | 19.18 | 973.361 | 65.8191 | 4.1641
2020-10-11 14:15:00 | 4.964 | 150.4 | 4.998 | 166.6 | 0 | 156.937 | 4.268 | 156.5 | 19.1 | 973.364 | 64.8361 | 3.887
2020-10-11 14:30:00 | 3.794 | 159.7 | 4.052 | 176.2 | 0 | 165.98 | 3.29 | 161.3 | 19.28 | 973.067 | 64.8363 | 3.2847
2020-10-11 14:45:00 | 4.121 | 142.7 | 4.387 | 159.3 | 0 | 150.061 | 4.013 | 148.4 | 19.14 | 973.364 | 65.4843 | 3.2662
2020-10-11 15:00:00 | 3.953 | 149.1 | 4.026 | 166.6 | 0 | 156.937 | 3.527 | 155.2 | 19.24 | 973.364 | 65.9959 | 1.489
2020-10-11 15:15:00 | 3.572 | 154 | 3.53 | 169.5 | 0 | 159.669 | 3.106 | 159 | 19.06 | 973.364 | 67.0217 | 0.94219
2020-10-11 15:30:00 | 3.943 | 142.5 | 3.967 | 157.8 | 0 | 148.648 | 3.346 | 147.2 | 18.94 | 973.067 | 68.0863 | 1.2304
2020-10-11 15:45:00 | 3.646 | 141.8 | 3.745 | 157.1 | 0 | 147.988 | 3.203 | 147.1 | 18.81 | 973.286 | 69.4525 | 1.829
2020-10-11 16:00:00 | 4.229 | 151.4 | 4.139 | 166 | 0.199 | 156.372 | 3.786 | 156.5 | 18.66 | 973.42 | 71.7721 | 2.0322
2020-10-11 16:15:00 | 3.358 | 157.1 | 3.625 | 172.9 | 0.991 | 162.872 | 3.157 | 163.4 | 18.46 | 973.481 | 72.5226 | 2.5236
2020-10-11 16:30:00 | 3.835 | 174.7 | 3.814 | 191.7 | 1.624 | 180.581 | 3.473 | 175.3 | 18.36 | 973.648 | 74.3647 | 5.413
2020-10-11 16:45:00 | 5.582 | 153.9 | 5.384 | 167.6 | 1.696 | 157.879 | 4.258 | 162 | 18.05 | 973.661 | 76.6161 | 6.8576
2020-10-11 17:00:00 | 5.043 | 157.5 | 5.177 | 170.1 | 1.696 | 160.234 | 4.502 | 162.3 | 17.74 | 973.661 | 78.2534 | 6.6655
2020-10-11 17:15:00 | 5.498 | 156.9 | 5.599 | 171.7 | 1.696 | 161.741 | 5.154 | 163.7 | 17.49 | 973.661 | 79.8923 | 11.8974
2020-10-11 17:30:00 | 7.037 | 160.1 | 6.731 | 170.9 | 1.714 | 160.988 | 5.457 | 167.8 | 17.28 | 973.364 | 80.4419 | 13.7559
2020-10-11 17:45:00 | 5.962 | 159.7 | 5.934 | 175.6 | 2.184 | 165.415 | 5.9 | 163.3 | 17.05 | 973.809 | 82.2484 | 9.8505
2020-10-11 18:00:00 | 4.897 | 159.3 | 4.959 | 173.6 | 3.166 | 163.531 | 4.321 | 164.9 | 16.84 | 973.809 | 84.0625 | 7.907
2020-10-11 18:15:00 | 4.262 | 154.7 | 4.995 | 169.5 | 3.217 | 159.669 | 5.101 | 162.1 | 16.54 | 973.958 | 86.0897 | 6.6322
2020-10-11 18:30:00 | 4.346 | 158.3 | 5.039 | 172.2 | 3.222 | 162.212 | 5.016 | 166.9 | 16.49 | 974.106 | 85.8213 | 5.1617
2020-10-11 18:45:00 | 4.19 | 161.4 | 4.463 | 175.7 | 3.222 | 165.509 | 4.563 | 169.3 | 16.46 | 974.255 | 86.1286 | 4.2602
2020-10-11 19:00:00 | 4.096 | 168.9 | 4.561 | 175.6 | 3.222 | 165.415 | 4.174 | 183.8 | 16.64 | 974.552 | 85.9921 | 4.0569
2020-10-11 19:15:00 | 4.052 | 163.8 | 4.356 | 176.6 | 3.222 | 166.357 | 4.128 | 169.1 | 16.6 | 974.552 | 85.9239 | 2.6935
2020-10-11 19:30:00 | 4.167 | 165.4 | 4.614 | 174.5 | 3.219 | 164.379 | 4.365 | 176.4 | 16.72 | 974.849 | 85.9921 | 3.6911
2020-10-11 19:45:00 | 4.336 | 164.2 | 4.53 | 177.6 | 3.222 | 167.299 | 4.494 | 171.9 | 16.59 | 974.849 | 86.3675 | 2.531
2020-10-11 20:00:00 | 3.483 | 173.4 | 3.656 | 183 | 3.222 | 172.386 | 3.29 | 184.2 | 16.53 | 975.145 | 86.8794 | -0.58379
2020-10-11 20:15:00 | 1.79 | 271.8 | 2.474 | 287.8 | 3.222 | 271.108 | 2.661 | 268.9 | 16.53 | 975.294 | 89.8823 | -0.32145
2020-10-11 20:30:00 | 1.353 | 267.2 | 2.725 | 278 | 3.222 | 261.876 | 2.898 | 262.7 | 16.56 | 975.145 | 86.7429 | -0.2845
2020-10-11 20:45:00 | 0.367 | 264.6 | 2.05 | 273.3 | 3.222 | 257.449 | 2.169 | 265.6 | 16.75 | 975.145 | 85.7874 | -0.25125
2020-10-11 21:00:00 | 0.353 | 266.5 | 2.093 | 274.3 | 3.222 | 258.391 | 2.661 | 263.7 | 17.06 | 975.442 | 83.467 | -0.26972
2020-10-11 21:15:00 | 1.284 | 284 | 2.214 | 293.3 | 3.222 | 276.289 | 2.663 | 285.1 | 17.11 | 975.739 | 83.9447 | -0.26972
2020-10-11 21:30:00 | 1.189 | 315.6 | 2.188 | 335 | 3.222 | 315.57 | 2.355 | 311.7 | 16.96 | 975.739 | 85.8215 | -0.25125
2020-10-11 21:45:00 | 0.823 | 326.6 | 2.211 | 341.3 | 3.222 | 321.505 | 3.012 | 321.6 | 16.79 | 975.739 | 86.9476 | -0.25125
2020-10-11 22:00:00 | 1.536 | 309.1 | 1.917 | 325.3 | 3.222 | 306.433 | 2.162 | 306.8 | 16.78 | 976.184 | 86.6064 | -0.25125
2020-10-11 22:15:00 | 0.899 | 286.9 | 1.879 | 299.9 | 3.222 | 282.506 | 2.085 | 289 | 16.85 | 976.333 | 85.7191 | -0.25125
2020-10-11 22:30:00 | 1.658 | 284.7 | 2.441 | 299 | 3.222 | 281.658 | 2.373 | 284.2 | 16.8 | 976.333 | 86.0604 | -0.25125
2020-10-11 22:45:00 | 2.245 | 301.5 | 2.86 | 313.4 | 3.222 | 295.223 | 2.9 | 300.3 | 16.73 | 976.333 | 87.2206 | -0.2882
2020-10-11 23:00:00 | 3.547 | 338.1 | 4.136 | 357.8 | 3.222 | 337.048 | 3.99 | 333.5 | 16.19 | 976.333 | 94.5914 | -0.1441
2020-10-11 23:15:00 | 3.417 | 350.4 | 4.187 | 7.326 | 3.194 | 6.9011 | 4.981 | 354.4 | 15.7 | 976.333 | 95.3421 | 3.9978
2020-10-11 23:30:00 | 5.155 | 357.2 | 5.317 | 11.52 | 2.561 | 10.8518 | 5.824 | 359.9 | 15.56 | 976.184 | 95.4103 | 14.9124
2020-10-11 23:45:00 | 5.692 | 6.292 | 6.629 | 24.91 | 1.879 | 23.4652 | 6.211 | 7.784 | 15.24 | 975.739 | 95.8198 | 30.0723