## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-13 00:00:00 | 7.216 | 4.624 | 6.805 | 19.52 | 1.802 | 18.3878 | 7.334 | 5.618 | 14.92 | 975.822 | 89.814 | 39.2393
2020-10-13 00:15:00 | 6.391 | 9.56 | 7.652 | 26.41 | 1.714 | 24.8782 | 6.537 | 11.71 | 14.7 | 976.019 | 91.3198 | 31.1956
2020-10-13 00:30:00 | 5.919 | 10.08 | 7.718 | 28.53 | 1.732 | 26.8753 | 6.667 | 12.47 | 14.29 | 976.037 | 90.682 | 34.7574
2020-10-13 00:45:00 | 6.953 | 11.17 | 8.87 | 27.94 | 0.222 | 26.3195 | 7.675 | 15.7 | 14.03 | 976.037 | 83.2082 | 35.005
2020-10-13 01:00:00 | 6.917 | 10.59 | 8.36 | 25.39 | 0.014 | 23.9174 | 7.166 | 15.5 | 13.79 | 975.74 | 79.5536 | 38.6813
2020-10-13 01:15:00 | 5.523 | 16.64 | 8.3 | 31.24 | 0 | 29.4281 | 7.563 | 20.84 | 13.51 | 975.74 | 77.1324 | 35.67
2020-10-13 01:30:00 | 5.298 | 12.78 | 7.061 | 28.27 | 0 | 26.6303 | 6.025 | 17.79 | 13.43 | 975.889 | 75.9727 | 32.9487
2020-10-13 01:45:00 | 5.201 | 8.36 | 5.443 | 18.12 | 0.156 | 17.069 | 5.898 | 6.051 | 13.33 | 976.037 | 74.3725 | 27.9256
2020-10-13 02:00:00 | 5.475 | 8.9 | 6.355 | 24.06 | 0 | 22.6645 | 5.574 | 12.69 | 13.15 | 975.889 | 72.4321 | 26.577
2020-10-13 02:15:00 | 6.34 | 8.34 | 7.227 | 26.12 | 0.027 | 24.605 | 6.05 | 10.63 | 13.16 | 975.74 | 72.0598 | 28.2101
2020-10-13 02:30:00 | 7.088 | 9.02 | 8.94 | 25.52 | 0.006 | 24.0398 | 7.505 | 12.84 | 13.06 | 975.443 | 74.0741 | 32.3151
2020-10-13 02:45:00 | 6.521 | 14.68 | 9.09 | 28.78 | 0 | 27.1108 | 8.39 | 21.07 | 12.87 | 975.146 | 76.8732 | 27.0056
2020-10-13 03:00:00 | 6.126 | 18.64 | 8.77 | 32.28 | 0.034 | 30.4078 | 8.53 | 24.43 | 12.91 | 975.146 | 78.6482 | 18.4447
2020-10-13 03:15:00 | 5.847 | 12.47 | 8.2 | 26.64 | 0.044 | 25.0949 | 7.747 | 19.25 | 12.93 | 975.443 | 80.4915 | 17.6022
2020-10-13 03:30:00 | 5.508 | 5.928 | 6.55 | 19.57 | 0.119 | 18.4349 | 6.718 | 11.7 | 12.73 | 975.592 | 81.857 | 17.2993
2020-10-13 03:45:00 | 5.298 | 13.23 | 8.16 | 26.34 | 0.844 | 24.8123 | 8 | 19.79 | 12.47 | 975.443 | 83.8368 | 17.2328
2020-10-13 04:00:00 | 5.191 | 18.43 | 8.35 | 31.33 | 1.62 | 29.5129 | 8.46 | 24.05 | 12.5 | 975.592 | 84.4513 | 18.7107
2020-10-13 04:15:00 | 5.048 | 11.38 | 7.396 | 23.86 | 1.663 | 22.4761 | 6.789 | 17.95 | 12.46 | 976.037 | 86.0215 | 19.3979
2020-10-13 04:30:00 | 4.594 | 9.14 | 5.519 | 23.69 | 1.293 | 22.316 | 5.875 | 11.66 | 11.93 | 976.334 | 84.5195 | 19.2317
2020-10-13 04:45:00 | 4.308 | 7.581 | 5.466 | 22.97 | 0.37 | 21.6377 | 5.434 | 8.24 | 11.68 | 976.631 | 83.9392 | 16.3829
2020-10-13 05:00:00 | 4.972 | 11.23 | 6.368 | 26.37 | 0.918 | 24.8405 | 5.337 | 14.6 | 11.44 | 976.338 | 84.5878 | 12.629
2020-10-13 05:15:00 | 4.428 | 9.04 | 6.675 | 24.26 | 0.999 | 22.8529 | 5.06 | 15.85 | 11.3 | 976.558 | 85.8167 | 16.516
2020-10-13 05:30:00 | 4.857 | 17.97 | 7.731 | 31.38 | 1.622 | 29.56 | 7.943 | 24.37 | 11.11 | 976.052 | 87.8648 | 22.3353
2020-10-13 05:45:00 | 4.742 | 16.38 | 7.751 | 29.16 | 0.969 | 27.4687 | 7.708 | 21.35 | 11.32 | 976.356 | 87.6268 | 20.4251
2020-10-13 06:00:00 | 5.242 | 17.82 | 7.958 | 30.35 | 1.209 | 28.5897 | 8.17 | 23.71 | 11.37 | 976.69 | 88.1387 | 20.5507
2020-10-13 06:15:00 | 4.88 | 15.53 | 7.521 | 28.06 | 1.049 | 26.4325 | 7.426 | 21.77 | 11.68 | 976.836 | 86.4318 | 17.9496
2020-10-13 06:30:00 | 5.518 | 9.13 | 6.667 | 23.22 | 0.43 | 21.8732 | 6.468 | 16.57 | 11.52 | 977.201 | 85.373 | 17.6761
2020-10-13 06:45:00 | 4.841 | 11.84 | 6.928 | 26.08 | 0.351 | 24.5674 | 6.858 | 19.26 | 11.41 | 977.284 | 85.134 | 14.3729
2020-10-13 07:00:00 | 4.617 | 10.44 | 6.35 | 24.18 | 0.257 | 22.7776 | 6.257 | 18.1 | 11.41 | 977.412 | 85.5436 | 17.1367
2020-10-13 07:15:00 | 5.217 | 11.97 | 7.422 | 25.81 | 0.273 | 24.313 | 7.089 | 19.38 | 11.03 | 977.326 | 83.3931 | 21.7405
2020-10-13 07:30:00 | 4.356 | 18.8 | 7.076 | 29.51 | 0.009 | 27.7984 | 7.423 | 26.33 | 11 | 977.293 | 83.0859 | 22.0619
2020-10-13 07:45:00 | 5.046 | 32.27 | 7.396 | 48.22 | 0 | 45.4232 | 8.22 | 38.73 | 11.1 | 976.99 | 84.1099 | 19.6787
2020-10-13 08:00:00 | 2.933 | 26.33 | 5.555 | 35 | 0 | 32.97 | 5.719 | 35.9 | 12.72 | 977.82 | 69.9778 | 4.2602
2020-10-13 08:15:00 | 2.898 | 26.12 | 4.54 | 40.2 | 0 | 37.8684 | 4.882 | 31.36 | 13.13 | 978.413 | 72.1966 | 3.3845
2020-10-13 08:30:00 | 5.536 | 5.922 | 5.374 | 15.3 | 0.061 | 14.4126 | 5.421 | 12.73 | 13.42 | 978.413 | 72.0134 | 5.3612
2020-10-13 08:45:00 | 4.493 | 359.4 | 4.66 | 20.6 | 0.371 | 19.4052 | 4.917 | 0.107 | 13.43 | 978.986 | 73.3334 | 7.0904
2020-10-13 09:00:00 | 4.476 | 2.141 | 4.704 | 18.98 | 0.256 | 17.8792 | 5.169 | 5.571 | 13.25 | 978.858 | 73.1275 | 6.4549
2020-10-13 09:15:00 | 4.617 | 2.419 | 4.954 | 18.67 | 0.555 | 17.5871 | 4.871 | 2.685 | 13.29 | 979.153 | 70.4999 | 5.2947
2020-10-13 09:30:00 | 3.988 | 3.86 | 4.297 | 30.53 | 0.865 | 28.7593 | 4.013 | 355.8 | 13.69 | 979.302 | 67.4217 | 3.6099
2020-10-13 09:45:00 | 3.321 | 3.934 | 4.077 | 28.64 | 0.976 | 26.9789 | 4.082 | 354.1 | 14.02 | 979.302 | 66.2556 | 4.5003
2020-10-13 10:00:00 | 1.772 | 24.14 | 3.755 | 31.51 | 0.295 | 29.6824 | 3.453 | 16.94 | 14.84 | 979.599 | 59.9709 | 10.0795
2020-10-13 10:15:00 | 4.359 | 14.29 | 5.982 | 35.72 | 0.383 | 33.6482 | 4.907 | 7.204 | 14.85 | 979.747 | 58.4684 | 13.6155
2020-10-13 10:30:00 | 3.525 | 1.004 | 4.678 | 30.18 | 0.868 | 28.4296 | 5.075 | 350.5 | 15.31 | 980.123 | 54.7843 | 18.0678
2020-10-13 10:45:00 | 5.429 | 0.847 | 6.179 | 25.26 | 0.619 | 23.7949 | 6.504 | 355.9 | 14.77 | 979.505 | 52.874 | 23.8661
2020-10-13 11:00:00 | 4.946 | 5.27 | 5.821 | 21.78 | 0.337 | 20.5168 | 5.689 | 1.825 | 14.59 | 979.301 | 51.7824 | 15.6514
2020-10-13 11:15:00 | 4.624 | 3.34 | 5.246 | 25.21 | 0.258 | 23.7478 | 5.903 | 358.7 | 14.49 | 979.302 | 52.1932 | 13.5675
2020-10-13 11:30:00 | 5.569 | 11.33 | 6.35 | 27.2 | 0.053 | 25.6224 | 5.666 | 8.53 | 14.52 | 978.708 | 48.7881 | 12.0969
2020-10-13 11:45:00 | 5.173 | 14.2 | 6.501 | 33.8 | 0.014 | 31.8396 | 5.712 | 13.82 | 14.57 | 978.411 | 49.5447 | 17.5099
2020-10-13 12:00:00 | 4.783 | 8.06 | 6.798 | 29.99 | 0.04 | 28.2506 | 6.649 | 0.048 | 15.12 | 978.708 | 48.3492 | 25.9969
2020-10-13 12:15:00 | 4.995 | 7.751 | 6.435 | 28.18 | 0.062 | 26.5456 | 6.297 | 3.05 | 15.1 | 978.559 | 47.491 | 25.6792
2020-10-13 12:30:00 | 5.832 | 10.08 | 7.181 | 30.23 | 0 | 28.4767 | 6.916 | 4.405 | 15.44 | 978.114 | 40.8677 | 24.0793
2020-10-13 12:45:00 | 6.463 | 12.58 | 8.51 | 29.98 | 0 | 28.2412 | 6.86 | 11.46 | 15.69 | 978.114 | 41.6859 | 25.0906
2020-10-13 13:00:00 | 4.448 | 8.82 | 6.539 | 31.48 | 0 | 29.6542 | 6.109 | 2.593 | 15.69 | 978.114 | 36.4319 | 21.7183
2020-10-13 13:15:00 | 5.717 | 9.9 | 6.918 | 32.27 | 0 | 30.3983 | 5.928 | 10.13 | 15.75 | 977.966 | 37.0118 | 18.0124
2020-10-13 13:30:00 | 4.798 | 3.233 | 5.939 | 30.27 | 0 | 28.5143 | 5.681 | 357 | 16.25 | 978.114 | 33.4982 | 13.8889
2020-10-13 13:45:00 | 5.63 | 13.07 | 7.777 | 30.47 | 0 | 28.7027 | 6.226 | 15.08 | 16.1 | 978.114 | 29.2001 | 11.8605
2020-10-13 14:00:00 | 4.617 | 2.353 | 5.169 | 22.1 | 0 | 20.8182 | 5.108 | 0.458 | 16.29 | 977.966 | 32.0655 | 11.6166
2020-10-13 14:15:00 | 4.387 | 12.46 | 5.463 | 35.47 | 0 | 33.4127 | 4.619 | 5.979 | 16.22 | 978.262 | 31.5197 | 8.04
2020-10-13 14:30:00 | 3.472 | 9.18 | 4.773 | 29.06 | 0 | 27.3745 | 4.298 | 7.735 | 16.21 | 978.039 | 29.473 | 6.7135
2020-10-13 14:45:00 | 4.034 | 7.85 | 4.801 | 24.24 | 0 | 22.8341 | 4.507 | 3.861 | 16.74 | 978.427 | 23.8103 | 5.4979
2020-10-13 15:00:00 | 3.343 | 10.72 | 4.021 | 25.84 | 0 | 24.3413 | 3.733 | 4.516 | 16.62 | 978.409 | 23.5336 | 5.6088
2020-10-13 15:15:00 | 3.2 | 353 | 4.077 | 25.77 | 0 | 24.2753 | 4.882 | 348.4 | 16.67 | 978.706 | 22.2374 | 3.015
2020-10-13 15:30:00 | 1.498 | 23.37 | 3.091 | 44.86 | 0 | 42.2581 | 2.712 | 13.27 | 16.82 | 979.003 | 23.6686 | 1.1011
2020-10-13 15:45:00 | 1.637 | 13.89 | 2.283 | 32.78 | 0 | 30.8788 | 1.901 | 16.77 | 16.6 | 978.672 | 25.9168 | 0.52836
2020-10-13 16:00:00 | 4.229 | 151.4 | 4.139 | 166 | 0.199 | 156.372 | 3.786 | 156.5 | 18.66 | 973.42 | 71.7721 | 2.0322
2020-10-13 16:15:00 | 3.358 | 157.1 | 3.625 | 172.9 | 0.991 | 162.872 | 3.157 | 163.4 | 18.46 | 973.481 | 72.5226 | 2.5236
2020-10-13 16:30:00 | 3.835 | 174.7 | 3.814 | 191.7 | 1.624 | 180.581 | 3.473 | 175.3 | 18.36 | 973.648 | 74.3647 | 5.413
2020-10-13 16:45:00 | 5.582 | 153.9 | 5.384 | 167.6 | 1.696 | 157.879 | 4.258 | 162 | 18.05 | 973.661 | 76.6161 | 6.8576
2020-10-13 17:00:00 | 5.043 | 157.5 | 5.177 | 170.1 | 1.696 | 160.234 | 4.502 | 162.3 | 17.74 | 973.661 | 78.2534 | 6.6655
2020-10-13 17:15:00 | 5.498 | 156.9 | 5.599 | 171.7 | 1.696 | 161.741 | 5.154 | 163.7 | 17.49 | 973.661 | 79.8923 | 11.8974
2020-10-13 17:30:00 | 7.037 | 160.1 | 6.731 | 170.9 | 1.714 | 160.988 | 5.457 | 167.8 | 17.28 | 973.364 | 80.4419 | 13.7559
2020-10-13 17:45:00 | 5.962 | 159.7 | 5.934 | 175.6 | 2.184 | 165.415 | 5.9 | 163.3 | 17.05 | 973.809 | 82.2484 | 9.8505
2020-10-13 18:00:00 | 4.897 | 159.3 | 4.959 | 173.6 | 3.166 | 163.531 | 4.321 | 164.9 | 16.84 | 973.809 | 84.0625 | 7.907
2020-10-13 18:15:00 | 4.262 | 154.7 | 4.995 | 169.5 | 3.217 | 159.669 | 5.101 | 162.1 | 16.54 | 973.958 | 86.0897 | 6.6322
2020-10-13 18:30:00 | 4.346 | 158.3 | 5.039 | 172.2 | 3.222 | 162.212 | 5.016 | 166.9 | 16.49 | 974.106 | 85.8213 | 5.1617
2020-10-13 18:45:00 | 4.19 | 161.4 | 4.463 | 175.7 | 3.222 | 165.509 | 4.563 | 169.3 | 16.46 | 974.255 | 86.1286 | 4.2602
2020-10-13 19:00:00 | 4.096 | 168.9 | 4.561 | 175.6 | 3.222 | 165.415 | 4.174 | 183.8 | 16.64 | 974.552 | 85.9921 | 4.0569
2020-10-13 19:15:00 | 4.052 | 163.8 | 4.356 | 176.6 | 3.222 | 166.357 | 4.128 | 169.1 | 16.6 | 974.552 | 85.9239 | 2.6935
2020-10-13 19:30:00 | 4.167 | 165.4 | 4.614 | 174.5 | 3.219 | 164.379 | 4.365 | 176.4 | 16.72 | 974.849 | 85.9921 | 3.6911
2020-10-13 19:45:00 | 4.336 | 164.2 | 4.53 | 177.6 | 3.222 | 167.299 | 4.494 | 171.9 | 16.59 | 974.849 | 86.3675 | 2.531
2020-10-13 20:00:00 | 3.483 | 173.4 | 3.656 | 183 | 3.222 | 172.386 | 3.29 | 184.2 | 16.53 | 975.145 | 86.8794 | -0.58379
2020-10-13 20:15:00 | 1.79 | 271.8 | 2.474 | 287.8 | 3.222 | 271.108 | 2.661 | 268.9 | 16.53 | 975.294 | 89.8823 | -0.32145
2020-10-13 20:30:00 | 1.353 | 267.2 | 2.725 | 278 | 3.222 | 261.876 | 2.898 | 262.7 | 16.56 | 975.145 | 86.7429 | -0.2845
2020-10-13 20:45:00 | 0.367 | 264.6 | 2.05 | 273.3 | 3.222 | 257.449 | 2.169 | 265.6 | 16.75 | 975.145 | 85.7874 | -0.25125
2020-10-13 21:00:00 | 0.353 | 266.5 | 2.093 | 274.3 | 3.222 | 258.391 | 2.661 | 263.7 | 17.06 | 975.442 | 83.467 | -0.26972
2020-10-13 21:15:00 | 1.284 | 284 | 2.214 | 293.3 | 3.222 | 276.289 | 2.663 | 285.1 | 17.11 | 975.739 | 83.9447 | -0.26972
2020-10-13 21:30:00 | 1.189 | 315.6 | 2.188 | 335 | 3.222 | 315.57 | 2.355 | 311.7 | 16.96 | 975.739 | 85.8215 | -0.25125
2020-10-13 21:45:00 | 0.823 | 326.6 | 2.211 | 341.3 | 3.222 | 321.505 | 3.012 | 321.6 | 16.79 | 975.739 | 86.9476 | -0.25125
2020-10-13 22:00:00 | 1.536 | 309.1 | 1.917 | 325.3 | 3.222 | 306.433 | 2.162 | 306.8 | 16.78 | 976.184 | 86.6064 | -0.25125
2020-10-13 22:15:00 | 0.899 | 286.9 | 1.879 | 299.9 | 3.222 | 282.506 | 2.085 | 289 | 16.85 | 976.333 | 85.7191 | -0.25125
2020-10-13 22:30:00 | 1.658 | 284.7 | 2.441 | 299 | 3.222 | 281.658 | 2.373 | 284.2 | 16.8 | 976.333 | 86.0604 | -0.25125
2020-10-13 22:45:00 | 2.245 | 301.5 | 2.86 | 313.4 | 3.222 | 295.223 | 2.9 | 300.3 | 16.73 | 976.333 | 87.2206 | -0.2882
2020-10-13 23:00:00 | 3.547 | 338.1 | 4.136 | 357.8 | 3.222 | 337.048 | 3.99 | 333.5 | 16.19 | 976.333 | 94.5914 | -0.1441
2020-10-13 23:15:00 | 3.417 | 350.4 | 4.187 | 7.326 | 3.194 | 6.9011 | 4.981 | 354.4 | 15.7 | 976.333 | 95.3421 | 3.9978
2020-10-13 23:30:00 | 5.155 | 357.2 | 5.317 | 11.52 | 2.561 | 10.8518 | 5.824 | 359.9 | 15.56 | 976.184 | 95.4103 | 14.9124
2020-10-13 23:45:00 | 5.692 | 6.292 | 6.629 | 24.91 | 1.879 | 23.4652 | 6.211 | 7.784 | 15.24 | 975.739 | 95.8198 | 30.0723