## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-14 00:00:00 | 7.216 | 4.624 | 6.805 | 19.52 | 1.802 | 18.3878 | 7.334 | 5.618 | 14.92 | 975.822 | 89.814 | 39.2393
2020-10-14 00:15:00 | 6.391 | 9.56 | 7.652 | 26.41 | 1.714 | 24.8782 | 6.537 | 11.71 | 14.7 | 976.019 | 91.3198 | 31.1956
2020-10-14 00:30:00 | 5.919 | 10.08 | 7.718 | 28.53 | 1.732 | 26.8753 | 6.667 | 12.47 | 14.29 | 976.037 | 90.682 | 34.7574
2020-10-14 00:45:00 | 6.953 | 11.17 | 8.87 | 27.94 | 0.222 | 26.3195 | 7.675 | 15.7 | 14.03 | 976.037 | 83.2082 | 35.005
2020-10-14 01:00:00 | 6.917 | 10.59 | 8.36 | 25.39 | 0.014 | 23.9174 | 7.166 | 15.5 | 13.79 | 975.74 | 79.5536 | 38.6813
2020-10-14 01:15:00 | 5.523 | 16.64 | 8.3 | 31.24 | 0 | 29.4281 | 7.563 | 20.84 | 13.51 | 975.74 | 77.1324 | 35.67
2020-10-14 01:30:00 | 5.298 | 12.78 | 7.061 | 28.27 | 0 | 26.6303 | 6.025 | 17.79 | 13.43 | 975.889 | 75.9727 | 32.9487
2020-10-14 01:45:00 | 5.201 | 8.36 | 5.443 | 18.12 | 0.156 | 17.069 | 5.898 | 6.051 | 13.33 | 976.037 | 74.3725 | 27.9256
2020-10-14 02:00:00 | 5.475 | 8.9 | 6.355 | 24.06 | 0 | 22.6645 | 5.574 | 12.69 | 13.15 | 975.889 | 72.4321 | 26.577
2020-10-14 02:15:00 | 6.34 | 8.34 | 7.227 | 26.12 | 0.027 | 24.605 | 6.05 | 10.63 | 13.16 | 975.74 | 72.0598 | 28.2101
2020-10-14 02:30:00 | 7.088 | 9.02 | 8.94 | 25.52 | 0.006 | 24.0398 | 7.505 | 12.84 | 13.06 | 975.443 | 74.0741 | 32.3151
2020-10-14 02:45:00 | 6.521 | 14.68 | 9.09 | 28.78 | 0 | 27.1108 | 8.39 | 21.07 | 12.87 | 975.146 | 76.8732 | 27.0056
2020-10-14 03:00:00 | 6.126 | 18.64 | 8.77 | 32.28 | 0.034 | 30.4078 | 8.53 | 24.43 | 12.91 | 975.146 | 78.6482 | 18.4447
2020-10-14 03:15:00 | 5.847 | 12.47 | 8.2 | 26.64 | 0.044 | 25.0949 | 7.747 | 19.25 | 12.93 | 975.443 | 80.4915 | 17.6022
2020-10-14 03:30:00 | 5.508 | 5.928 | 6.55 | 19.57 | 0.119 | 18.4349 | 6.718 | 11.7 | 12.73 | 975.592 | 81.857 | 17.2993
2020-10-14 03:45:00 | 5.298 | 13.23 | 8.16 | 26.34 | 0.844 | 24.8123 | 8 | 19.79 | 12.47 | 975.443 | 83.8368 | 17.2328
2020-10-14 04:00:00 | 5.191 | 18.43 | 8.35 | 31.33 | 1.62 | 29.5129 | 8.46 | 24.05 | 12.5 | 975.592 | 84.4513 | 18.7107
2020-10-14 04:15:00 | 5.048 | 11.38 | 7.396 | 23.86 | 1.663 | 22.4761 | 6.789 | 17.95 | 12.46 | 976.037 | 86.0215 | 19.3979
2020-10-14 04:30:00 | 4.594 | 9.14 | 5.519 | 23.69 | 1.293 | 22.316 | 5.875 | 11.66 | 11.93 | 976.334 | 84.5195 | 19.2317
2020-10-14 04:45:00 | 4.308 | 7.581 | 5.466 | 22.97 | 0.37 | 21.6377 | 5.434 | 8.24 | 11.68 | 976.631 | 83.9392 | 16.3829
2020-10-14 05:00:00 | 4.972 | 11.23 | 6.368 | 26.37 | 0.918 | 24.8405 | 5.337 | 14.6 | 11.44 | 976.338 | 84.5878 | 12.629
2020-10-14 05:15:00 | 4.428 | 9.04 | 6.675 | 24.26 | 0.999 | 22.8529 | 5.06 | 15.85 | 11.3 | 976.558 | 85.8167 | 16.516
2020-10-14 05:30:00 | 4.857 | 17.97 | 7.731 | 31.38 | 1.622 | 29.56 | 7.943 | 24.37 | 11.11 | 976.052 | 87.8648 | 22.3353
2020-10-14 05:45:00 | 4.742 | 16.38 | 7.751 | 29.16 | 0.969 | 27.4687 | 7.708 | 21.35 | 11.32 | 976.356 | 87.6268 | 20.4251
2020-10-14 06:00:00 | 5.242 | 17.82 | 7.958 | 30.35 | 1.209 | 28.5897 | 8.17 | 23.71 | 11.37 | 976.69 | 88.1387 | 20.5507
2020-10-14 06:15:00 | 4.88 | 15.53 | 7.521 | 28.06 | 1.049 | 26.4325 | 7.426 | 21.77 | 11.68 | 976.836 | 86.4318 | 17.9496
2020-10-14 06:30:00 | 5.518 | 9.13 | 6.667 | 23.22 | 0.43 | 21.8732 | 6.468 | 16.57 | 11.52 | 977.201 | 85.373 | 17.6761
2020-10-14 06:45:00 | 4.841 | 11.84 | 6.928 | 26.08 | 0.351 | 24.5674 | 6.858 | 19.26 | 11.41 | 977.284 | 85.134 | 14.3729
2020-10-14 07:00:00 | 4.617 | 10.44 | 6.35 | 24.18 | 0.257 | 22.7776 | 6.257 | 18.1 | 11.41 | 977.412 | 85.5436 | 17.1367
2020-10-14 07:15:00 | 5.217 | 11.97 | 7.422 | 25.81 | 0.273 | 24.313 | 7.089 | 19.38 | 11.03 | 977.326 | 83.3931 | 21.7405
2020-10-14 07:30:00 | 4.356 | 18.8 | 7.076 | 29.51 | 0.009 | 27.7984 | 7.423 | 26.33 | 11 | 977.293 | 83.0859 | 22.0619
2020-10-14 07:45:00 | 5.046 | 32.27 | 7.396 | 48.22 | 0 | 45.4232 | 8.22 | 38.73 | 11.1 | 976.99 | 84.1099 | 19.6787
2020-10-14 08:00:00 | 2.933 | 26.33 | 5.555 | 35 | 0 | 32.97 | 5.719 | 35.9 | 12.72 | 977.82 | 69.9778 | 4.2602
2020-10-14 08:15:00 | 2.898 | 26.12 | 4.54 | 40.2 | 0 | 37.8684 | 4.882 | 31.36 | 13.13 | 978.413 | 72.1966 | 3.3845
2020-10-14 08:30:00 | 5.536 | 5.922 | 5.374 | 15.3 | 0.061 | 14.4126 | 5.421 | 12.73 | 13.42 | 978.413 | 72.0134 | 5.3612
2020-10-14 08:45:00 | 4.493 | 359.4 | 4.66 | 20.6 | 0.371 | 19.4052 | 4.917 | 0.107 | 13.43 | 978.986 | 73.3334 | 7.0904
2020-10-14 09:00:00 | 4.476 | 2.141 | 4.704 | 18.98 | 0.256 | 17.8792 | 5.169 | 5.571 | 13.25 | 978.858 | 73.1275 | 6.4549
2020-10-14 09:15:00 | 4.617 | 2.419 | 4.954 | 18.67 | 0.555 | 17.5871 | 4.871 | 2.685 | 13.29 | 979.153 | 70.4999 | 5.2947
2020-10-14 09:30:00 | 3.988 | 3.86 | 4.297 | 30.53 | 0.865 | 28.7593 | 4.013 | 355.8 | 13.69 | 979.302 | 67.4217 | 3.6099
2020-10-14 09:45:00 | 3.321 | 3.934 | 4.077 | 28.64 | 0.976 | 26.9789 | 4.082 | 354.1 | 14.02 | 979.302 | 66.2556 | 4.5003
2020-10-14 10:00:00 | 1.772 | 24.14 | 3.755 | 31.51 | 0.295 | 29.6824 | 3.453 | 16.94 | 14.84 | 979.599 | 59.9709 | 10.0795
2020-10-14 10:15:00 | 4.359 | 14.29 | 5.982 | 35.72 | 0.383 | 33.6482 | 4.907 | 7.204 | 14.85 | 979.747 | 58.4684 | 13.6155
2020-10-14 10:30:00 | 3.525 | 1.004 | 4.678 | 30.18 | 0.868 | 28.4296 | 5.075 | 350.5 | 15.31 | 980.123 | 54.7843 | 18.0678
2020-10-14 10:45:00 | 5.429 | 0.847 | 6.179 | 25.26 | 0.619 | 23.7949 | 6.504 | 355.9 | 14.77 | 979.505 | 52.874 | 23.8661
2020-10-14 11:00:00 | 4.946 | 5.27 | 5.821 | 21.78 | 0.337 | 20.5168 | 5.689 | 1.825 | 14.59 | 979.301 | 51.7824 | 15.6514
2020-10-14 11:15:00 | 4.624 | 3.34 | 5.246 | 25.21 | 0.258 | 23.7478 | 5.903 | 358.7 | 14.49 | 979.302 | 52.1932 | 13.5675
2020-10-14 11:30:00 | 5.569 | 11.33 | 6.35 | 27.2 | 0.053 | 25.6224 | 5.666 | 8.53 | 14.52 | 978.708 | 48.7881 | 12.0969
2020-10-14 11:45:00 | 5.173 | 14.2 | 6.501 | 33.8 | 0.014 | 31.8396 | 5.712 | 13.82 | 14.57 | 978.411 | 49.5447 | 17.5099
2020-10-14 12:00:00 | 4.783 | 8.06 | 6.798 | 29.99 | 0.04 | 28.2506 | 6.649 | 0.048 | 15.12 | 978.708 | 48.3492 | 25.9969
2020-10-14 12:15:00 | 4.995 | 7.751 | 6.435 | 28.18 | 0.062 | 26.5456 | 6.297 | 3.05 | 15.1 | 978.559 | 47.491 | 25.6792
2020-10-14 12:30:00 | 5.832 | 10.08 | 7.181 | 30.23 | 0 | 28.4767 | 6.916 | 4.405 | 15.44 | 978.114 | 40.8677 | 24.0793
2020-10-14 12:45:00 | 6.463 | 12.58 | 8.51 | 29.98 | 0 | 28.2412 | 6.86 | 11.46 | 15.69 | 978.114 | 41.6859 | 25.0906
2020-10-14 13:00:00 | 2.053 | 357.2 | 2.773 | 8.73 | 2.9671 | 8.2237 | 2.938 | 360 | 10.05 | 983.077 | 97.0283 | -0.16996
2020-10-14 13:15:00 | 2.434 | 5.119 | 2.74 | 7.439 | 2.9318 | 7.0075 | 2.427 | 6.576 | 10.08 | 983.213 | 97.6792 | -0.0073897
2020-10-14 13:30:00 | 1.384 | 356.5 | 1.389 | 11.92 | 1.4862 | 11.2286 | 2.269 | 355.5 | 10.12 | 983.179 | 98.1162 | -0.15888
2020-10-14 13:45:00 | 1.656 | 344.3 | 1.669 | 8.35 | 1.7858 | 7.8657 | 2.144 | 344.5 | 10.26 | 982.944 | 98.4579 | 0.044338
2020-10-14 14:00:00 | 1.935 | 349.7 | 2.28 | 13.03 | 2.4396 | 12.2743 | 2.961 | 350.3 | 10.19 | 982.948 | 98.9358 | 0.32884
2020-10-14 14:15:00 | 0.717 | 347.1 | 1.165 | 17.98 | 1.2466 | 16.9372 | 1.677 | 338.4 | 10.19 | 982.925 | 99.2021 | -0.1404
2020-10-14 14:30:00 | 0.432 | 350.7 | 0.539 | 0.611 | 0.57673 | 0.57556 | 1.252 | 337 | 10.31 | 983.024 | 99.4759 | -0.19583
2020-10-14 14:45:00 | 0.699 | 6.535 | 1.189 | 21 | 1.2722 | 19.782 | 1.226 | 0.636 | 10.35 | 982.624 | 99.8484 | -0.17366
2020-10-14 15:00:00 | 0.022 | 1.414 | 0.533 | 31.01 | 0.57031 | 29.2114 | 1.081 | 341.3 | 10.33 | 982.938 | 99.8132 | -0.218
2020-10-14 15:15:00 | 0 | 59.46 | 0.011 | 78.32 | 0.01177 | 73.7774 | 0.003 | 347.5 | 10.47 | 982.728 | 99.9488 | -0.26233
2020-10-14 15:30:00 | 0.471 | 327.9 | 1.03 | 321.5 | 1.1021 | 302.853 | 0.959 | 335.7 | 10.6 | 982.937 | 99.983 | -0.24016
2020-10-14 15:45:00 | 0.026 | 18.99 | 0.227 | 27.61 | 0.24289 | 26.0086 | 0.775 | 340.9 | 10.61 | 982.658 | 99.9488 | -0.24016
2020-10-14 16:00:00 | 0.392 | 20.48 | 1.74 | 35.9 | 1.8618 | 33.8178 | 1.265 | 9.25 | 10.74 | 982.608 | 99.9147 | -0.24016
2020-10-14 16:15:00 | 0 | 12.58 | 0 | 33.44 | 0 | 31.5005 | 0 | 11.02 | 10.63 | 982.638 | 99.6075 | -0.25864
2020-10-14 16:30:00 | 0 | 27.78 | 0 | 33.73 | 0 | 31.7737 | 0 | 11.02 | 10.6 | 982.585 | 99.2661 | -0.25125
2020-10-14 16:45:00 | 0 | 27.78 | 0 | 33.73 | 0 | 31.7737 | 0 | 11.02 | 10.64 | 982.451 | 98.9248 | -0.24016
2020-10-14 17:00:00 | 0.14 | 338.7 | 0.534 | 1.943 | 0.57138 | 1.8303 | 0.043 | 10.97 | 10.82 | 982.306 | 98.5493 | -0.26233
2020-10-14 17:15:00 | 0.096 | 329 | 0.135 | 333.9 | 0.14445 | 314.534 | 0.015 | 10.98 | 10.78 | 982.016 | 98.9248 | -0.24016
2020-10-14 17:30:00 | 0.212 | 345.4 | 0.105 | 333.4 | 0.11235 | 314.063 | 0 | 10.99 | 10.6 | 982.022 | 99.2661 | -0.25125
2020-10-14 17:45:00 | 1.075 | 303 | 1.219 | 324.6 | 1.3043 | 305.773 | 0.165 | 9.73 | 10.59 | 982.16 | 99.9183 | -0.26233
2020-10-14 18:00:00 | 1.988 | 324.3 | 2.162 | 329 | 2.3133 | 309.918 | 1.869 | 326.1 | 10.53 | 982.03 | 99.9643 | -0.24016
2020-10-14 18:15:00 | 1.323 | 340.5 | 2.001 | 355.9 | 2.1411 | 335.258 | 1.96 | 341.7 | 10.43 | 982.187 | 99.9311 | -0.25125
2020-10-14 18:30:00 | 1.339 | 20.98 | 1.751 | 5.587 | 1.8736 | 5.263 | 1.624 | 0.992 | 10.35 | 982.554 | 99.9328 | -0.25125
2020-10-14 18:45:00 | 1.137 | 3.795 | 1.515 | 11.2 | 1.6211 | 10.5504 | 1.396 | 18.21 | 10.4 | 982.261 | 99.932 | -0.26233
2020-10-14 19:00:00 | 0.982 | 6.894 | 1.728 | 17.63 | 1.849 | 16.6075 | 1.584 | 49.94 | 10.39 | 982.574 | 99.9676 | -0.24016
2020-10-14 19:15:00 | 1.79 | 5.609 | 1.438 | 17.62 | 1.5387 | 16.598 | 1.52 | 42.05 | 10.41 | 982.871 | 99.9671 | -0.24016
2020-10-14 19:30:00 | 0.435 | 36.42 | 0.984 | 35.31 | 1.0529 | 33.262 | 0.948 | 65.02 | 10.5 | 982.871 | 99.9683 | -0.24016
2020-10-14 19:45:00 | 0.991 | 36.72 | 1.148 | 40.27 | 1.2284 | 37.9343 | 0.966 | 71.51 | 10.46 | 982.718 | 99.9674 | -0.24016
2020-10-14 20:00:00 | 0.03 | 99 | 0.991 | 94.8 | 1.0604 | 89.3016 | 2.045 | 118.2 | 10.26 | 982.871 | 99.9372 | -0.24016
2020-10-14 20:15:00 | 0.156 | 96.7 | 0.853 | 94.8 | 0.91271 | 89.3016 | 2.05 | 115.2 | 10.53 | 982.871 | 99.6311 | -0.25125
2020-10-14 20:30:00 | 0.842 | 116.4 | 1.431 | 125.8 | 1.5312 | 118.504 | 2.062 | 115.8 | 10.7 | 982.871 | 94.9167 | -0.24016
2020-10-14 20:45:00 | 2.633 | 125.6 | 2.607 | 141.7 | 2.7895 | 133.481 | 2.643 | 126.1 | 11.1 | 982.871 | 90.4776 | -0.24016
2020-10-14 21:00:00 | 2.173 | 124.5 | 2.306 | 140.3 | 2.4674 | 132.163 | 2.91 | 129.3 | 11.14 | 983.02 | 89.6567 | -0.24016
2020-10-14 21:15:00 | 2.321 | 128.9 | 2.505 | 147.8 | 2.6803 | 139.228 | 2.809 | 133.7 | 11.05 | 983.463 | 90.3381 | -0.26972
2020-10-14 21:30:00 | 0.626 | 144.8 | 1.531 | 159 | 1.6382 | 149.778 | 2.309 | 144.5 | 11.01 | 983.452 | 90.816 | -0.16627
2020-10-14 21:45:00 | 0.35 | 147.9 | 1.197 | 164.1 | 1.2808 | 154.582 | 1.494 | 142.6 | 10.88 | 983.465 | 91.6013 | -0.23278
2020-10-14 22:00:00 | 0.682 | 142 | 1.505 | 166.6 | 1.6103 | 156.937 | 2.101 | 142.6 | 10.9 | 983.465 | 91.5671 | -0.17735
2020-10-14 22:15:00 | 0.775 | 126.9 | 1.537 | 145.9 | 1.6446 | 137.438 | 2.462 | 135.6 | 10.88 | 983.156 | 91.6357 | -0.22169
2020-10-14 22:30:00 | 1.414 | 139.1 | 2.114 | 155.7 | 2.262 | 146.669 | 3.412 | 142.5 | 10.92 | 983.283 | 91.9768 | -0.018474
2020-10-14 22:45:00 | 2.007 | 136.6 | 2.758 | 156.8 | 2.9511 | 147.706 | 3.354 | 140.8 | 10.72 | 982.833 | 93.6847 | 1.3412
2020-10-14 23:00:00 | 3.314 | 137.3 | 3.921 | 154.5 | 4.1955 | 145.539 | 4.634 | 144.5 | 10.55 | 982.871 | 93.3099 | 2.9707
2020-10-14 23:15:00 | 2.896 | 140.2 | 3.648 | 158.8 | 3.9034 | 149.59 | 4.568 | 146.6 | 10.65 | 982.87 | 93.7863 | 0.74636
2020-10-14 23:30:00 | 2.536 | 148.6 | 2.858 | 173.3 | 3.0581 | 163.249 | 3.764 | 149.6 | 10.6 | 982.831 | 94.435 | 0.61704
2020-10-14 23:45:00 | 2.633 | 147.7 | 3.027 | 161 | 3.2389 | 151.662 | 4.12 | 154.4 | 10.74 | 982.573 | 94.0253 | 0.19213