## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-15 00:00:00 | 2.454 | 143.8 | 3.075 | 157.5 | 3.2902 | 148.365 | 3.914 | 152.8 | 10.82 | 982.55 | 94.0941 | 0.74636
2020-10-15 00:15:00 | 3.623 | 152.1 | 4.354 | 167.1 | 4.6588 | 157.408 | 5.004 | 163 | 10.76 | 982.231 | 95.1174 | 1.8991
2020-10-15 00:30:00 | 4.489 | 156.6 | 4.688 | 170.9 | 5.0162 | 160.988 | 5.495 | 163.5 | 10.6 | 982.549 | 95.1519 | 1.8918
2020-10-15 00:45:00 | 4.32 | 152.9 | 4.573 | 170.3 | 4.8931 | 160.423 | 5.353 | 161.9 | 10.6 | 982.419 | 96.4834 | 2.6603
2020-10-15 01:00:00 | 4.425 | 154.3 | 4.586 | 172.3 | 4.907 | 162.307 | 5.46 | 164.2 | 10.6 | 982.422 | 96.3469 | 3.9387
2020-10-15 01:15:00 | 3.575 | 160.4 | 3.776 | 173.5 | 4.0403 | 163.437 | 4.543 | 166.6 | 10.58 | 982.255 | 96.5184 | 3.6579
2020-10-15 01:30:00 | 4.134 | 148 | 4.673 | 162.6 | 5.0001 | 153.169 | 5.674 | 157.5 | 10.45 | 982.558 | 97.7808 | 1.7994
2020-10-15 01:45:00 | 3.899 | 155.6 | 4.228 | 168.8 | 4.524 | 159.01 | 5.022 | 163.8 | 10.44 | 982.264 | 98.1905 | 3.6394
2020-10-15 02:00:00 | 4.246 | 155.9 | 4.824 | 169.9 | 5.1617 | 160.046 | 5.419 | 164.4 | 10.46 | 981.977 | 98.3971 | 7.3786
2020-10-15 02:15:00 | 4.716 | 153.1 | 5.578 | 166.5 | 5.9685 | 156.843 | 6.313 | 162.5 | 10.33 | 981.832 | 99.2174 | 7.4414
2020-10-15 02:30:00 | 4.647 | 158.7 | 5.169 | 172.5 | 5.5308 | 162.495 | 5.526 | 166.4 | 10.31 | 981.683 | 99.3893 | 4.5114
2020-10-15 02:45:00 | 4.292 | 161.8 | 4.307 | 173.2 | 4.6085 | 163.154 | 3.939 | 170.1 | 10.34 | 981.683 | 99.1483 | 1.8548
2020-10-15 03:00:00 | 3.47 | 168.7 | 3.492 | 181.8 | 3.7364 | 171.256 | 3.71 | 175.6 | 10.33 | 981.683 | 99.6938 | 2.5494
2020-10-15 03:15:00 | 3.662 | 163.9 | 3.97 | 175.9 | 4.2479 | 165.698 | 3.87 | 168.1 | 10.33 | 981.386 | 99.9333 | 3.0335
2020-10-15 03:30:00 | 3.917 | 152 | 4.251 | 162.7 | 4.5486 | 153.263 | 4.041 | 161.6 | 10.19 | 981.089 | 99.9369 | 4.3747
2020-10-15 03:45:00 | 3.605 | 150.4 | 3.896 | 167.2 | 4.1687 | 157.502 | 4.156 | 156.1 | 10.16 | 981.089 | 99.9387 | 4.0717
2020-10-15 04:00:00 | 2.225 | 152.9 | 2.932 | 168 | 3.1372 | 158.256 | 3.341 | 159.5 | 10.18 | 980.495 | 99.1522 | 7.8331
2020-10-15 04:15:00 | 4.101 | 142.6 | 4.686 | 157.9 | 5.014 | 148.742 | 4.553 | 150.5 | 10.36 | 980.495 | 98.6385 | 7.035
2020-10-15 04:30:00 | 4.392 | 145.5 | 4.783 | 161 | 5.1178 | 151.662 | 4.963 | 155.3 | 10.33 | 980.792 | 98.9469 | 7.253
2020-10-15 04:45:00 | 5.704 | 145.8 | 5.898 | 158.9 | 6.3109 | 149.684 | 5.625 | 159.2 | 10.3 | 980.792 | 98.9476 | 10.0906
2020-10-15 05:00:00 | 5.015 | 150 | 5.872 | 160.5 | 6.283 | 151.191 | 5.488 | 158 | 10.42 | 981.089 | 97.3762 | 8.0326
2020-10-15 05:15:00 | 3.48 | 152.5 | 3.955 | 170.7 | 4.2318 | 160.799 | 4.558 | 157.8 | 10.2 | 981.089 | 98.1284 | 9.2925
2020-10-15 05:30:00 | 3.202 | 152.4 | 3.919 | 166.1 | 4.1933 | 156.466 | 4.449 | 158.5 | 10.25 | 981.089 | 92.601 | 10.7446
2020-10-15 05:45:00 | 5.283 | 155 | 5.458 | 166.8 | 5.8401 | 157.126 | 5.587 | 163.3 | 10.98 | 981.089 | 91.1992 | 10.9959
2020-10-15 06:00:00 | 4.594 | 156.1 | 5.351 | 168.6 | 5.7256 | 158.821 | 5.526 | 164.3 | 10.6 | 981.386 | 93.7549 | 10.2421
2020-10-15 06:15:00 | 3.861 | 155.9 | 4.625 | 172 | 4.9488 | 162.024 | 5.266 | 165.6 | 10.6 | 980.792 | 87.4027 | 9.1891
2020-10-15 06:30:00 | 2.788 | 153.6 | 3.794 | 167.4 | 4.0596 | 157.691 | 4.334 | 165.3 | 11.23 | 981.214 | 82.0076 | 8.6312
2020-10-15 06:45:00 | 3.554 | 164.5 | 4.382 | 176 | 3.974 | 163.908 | 4.482 | 171.3 | 10.99 | 981.321 | 83.4415 | 9.3184
2020-10-15 07:00:00 | 5.204 | 160.5 | 5.611 | 170.6 | 6.0038 | 160.705 | 5.893 | 169.3 | 11.02 | 980.992 | 82.3148 | 11.5279
2020-10-15 07:15:00 | 4.313 | 153.6 | 5.512 | 163.3 | 5.8978 | 153.829 | 5.91 | 167.7 | 11.09 | 981.188 | 86.1406 | 11.7644
2020-10-15 07:30:00 | 5.97 | 153.2 | 6.182 | 163.1 | 6.6147 | 153.64 | 6.089 | 164.7 | 11.13 | 981.128 | 82.7539 | 13.0096
2020-10-15 07:45:00 | 4.698 | 157.6 | 5.243 | 165 | 5.61 | 155.43 | 5.679 | 173.2 | 11.3 | 981.703 | 85.1369 | 8.9785
2020-10-15 08:00:00 | 5.017 | 152.5 | 5.392 | 164.8 | 5.7694 | 155.242 | 5.971 | 161.9 | 11.23 | 981.722 | 86.7044 | 10.5414
2020-10-15 08:15:00 | 4.836 | 151.5 | 5.069 | 161.7 | 5.4238 | 152.321 | 5.111 | 160.4 | 11.41 | 981.996 | 83.9051 | 7.9661
2020-10-15 08:30:00 | 4.624 | 151.5 | 4.627 | 164.1 | 4.9509 | 154.582 | 4.978 | 162.7 | 11.54 | 982.463 | 83.6662 | 7.4636
2020-10-15 08:45:00 | 4.553 | 154.2 | 4.924 | 166 | 5.2687 | 156.372 | 5.154 | 163.9 | 11.65 | 982.573 | 82.2325 | 7.567
2020-10-15 09:00:00 | 4.969 | 153.9 | 5.305 | 167.2 | 5.6764 | 157.502 | 5.205 | 162.5 | 11.76 | 982.719 | 83.2907 | 9.1928
2020-10-15 09:15:00 | 5.635 | 153.3 | 5.675 | 167.5 | 6.0723 | 157.785 | 5.806 | 160.4 | 11.73 | 983.165 | 82.1984 | 10.582
2020-10-15 09:30:00 | 5.554 | 152.8 | 5.622 | 167.8 | 6.0155 | 158.068 | 5.696 | 159.4 | 11.84 | 983.165 | 83.2224 | 9.0745
2020-10-15 09:45:00 | 5.771 | 154.2 | 5.721 | 168.4 | 6.1215 | 158.633 | 5.404 | 160.8 | 12.05 | 983.462 | 82.5397 | 8.4464
2020-10-15 10:00:00 | 5.686 | 155.1 | 5.177 | 168.2 | 5.5394 | 158.444 | 4.963 | 161.9 | 12.16 | 983.462 | 82.6658 | 7.9476
2020-10-15 10:15:00 | 6.006 | 152.2 | 5.729 | 166.1 | 6.13 | 156.466 | 4.917 | 162 | 12.23 | 983.462 | 83.105 | 9.6435
2020-10-15 10:30:00 | 6.841 | 149.8 | 6.736 | 163.8 | 7.2075 | 154.3 | 5.462 | 156.7 | 12.4 | 983.165 | 82.3173 | 12.5255
2020-10-15 10:45:00 | 6.297 | 153.7 | 6.125 | 168.2 | 6.5537 | 158.444 | 5.788 | 159.7 | 12.41 | 983.165 | 86.0736 | 9.1078
2020-10-15 11:00:00 | 6.205 | 148.5 | 6.274 | 163.8 | 6.7132 | 154.3 | 5.572 | 156 | 12.76 | 983.165 | 82.969 | 9.7729
2020-10-15 11:15:00 | 6.228 | 148.8 | 5.885 | 163.1 | 6.2969 | 153.64 | 4.859 | 159.5 | 13.13 | 983.61 | 80.6826 | 8.1102
2020-10-15 11:30:00 | 6.189 | 156.6 | 5.716 | 166.9 | 6.1161 | 157.22 | 4.734 | 167.1 | 13.53 | 983.681 | 78.1453 | 11.0476
2020-10-15 11:45:00 | 5.689 | 157.6 | 5.356 | 176.3 | 5.7309 | 166.075 | 5.103 | 164.4 | 13.93 | 983.495 | 75.8915 | 10.7446
2020-10-15 12:00:00 | 6.302 | 157.9 | 6.384 | 169.6 | 6.8309 | 159.763 | 5.437 | 170 | 13.75 | 983.191 | 72.4109 | 9.6066
2020-10-15 12:15:00 | 5.875 | 170.1 | 5.553 | 187.9 | 5.9417 | 177.002 | 4.68 | 171.9 | 14.05 | 982.865 | 71.8649 | 11.8013
2020-10-15 12:30:00 | 6.542 | 163.7 | 6.297 | 183.3 | 6.7378 | 172.669 | 5.223 | 169.6 | 14.06 | 982.57 | 69.3738 | 13.4086
2020-10-15 12:45:00 | 5.094 | 171.9 | 5.031 | 193.1 | 5.3832 | 181.9 | 4.263 | 174.5 | 14.22 | 982.567 | 70.0904 | 12.6327
2020-10-15 13:00:00 | 5.878 | 174.8 | 5.76 | 190.4 | 6.1632 | 179.357 | 5.052 | 182.6 | 14.55 | 982.27 | 68.589 | 11.9676
2020-10-15 13:15:00 | 5.623 | 181.9 | 5.21 | 199.8 | 5.5747 | 188.212 | 4.836 | 180.6 | 14.25 | 982.27 | 71.8649 | 7.9661
2020-10-15 13:30:00 | 5.531 | 184.3 | 5.074 | 202.6 | 5.4292 | 190.849 | 4.14 | 186.8 | 14.17 | 981.825 | 75.5503 | 5.0435
2020-10-15 13:45:00 | 5.334 | 183.6 | 4.885 | 199.6 | 5.227 | 188.023 | 3.911 | 178.8 | 14.2 | 981.677 | 77.3247 | 6.2036
2020-10-15 14:00:00 | 4.663 | 153 | 4.745 | 166.3 | 5.0771 | 156.655 | 4.168 | 158.1 | 14.29 | 981.677 | 78.0072 | 5.4277
2020-10-15 14:15:00 | 5.569 | 162.3 | 5.491 | 179.8 | 5.8754 | 169.372 | 4.81 | 169.1 | 14.56 | 981.38 | 76.8811 | 6.0706
2020-10-15 14:30:00 | 5.056 | 159 | 4.852 | 176.7 | 5.1916 | 166.451 | 4.069 | 168.8 | 14.37 | 981.38 | 78.3484 | 6.902
2020-10-15 14:45:00 | 5.646 | 149.3 | 5.739 | 164.1 | 6.1407 | 154.582 | 4.968 | 157.7 | 14.35 | 981.38 | 78.0754 | 7.6372
2020-10-15 15:00:00 | 6.177 | 171.6 | 5.811 | 186 | 6.2178 | 175.212 | 4.619 | 181.1 | 14.85 | 981.38 | 75.9543 | 12.4332
2020-10-15 15:15:00 | 5.395 | 171 | 5.264 | 190.3 | 5.6325 | 179.263 | 4.637 | 173.1 | 14.69 | 981.083 | 76.6233 | 17.2734
2020-10-15 15:30:00 | 5.446 | 162.4 | 5.264 | 174 | 5.6325 | 163.908 | 4.668 | 167.3 | 14.66 | 981.083 | 77.4493 | 12.5662
2020-10-15 15:45:00 | 5.436 | 170.8 | 5.335 | 197.1 | 5.7085 | 185.668 | 4.696 | 168.7 | 14.78 | 981.083 | 76.7743 | 9.8135
2020-10-15 16:00:00 | 4.65 | 155.8 | 4.919 | 170.7 | 5.2633 | 160.799 | 4.326 | 163.3 | 14.63 | 981.083 | 78.1425 | 9.2741
2020-10-15 16:15:00 | 5.275 | 153.4 | 5.256 | 169.4 | 5.6239 | 159.575 | 4.836 | 160.9 | 14.5 | 980.638 | 79.338 | 12.4997
2020-10-15 16:30:00 | 6.225 | 156.4 | 6.294 | 170.6 | 6.7346 | 160.705 | 6.112 | 160.9 | 14.31 | 980.489 | 80.1228 | 13.6414
2020-10-15 16:45:00 | 5.773 | 155.5 | 5.54 | 173.6 | 5.9278 | 163.531 | 5.309 | 159.6 | 14.17 | 980.24 | 81.3854 | 10.6079
2020-10-15 17:00:00 | 5.556 | 166.9 | 5.407 | 177.4 | 5.7855 | 167.111 | 4.769 | 173.3 | 14 | 980.187 | 82.651 | 10.0869
2020-10-15 17:15:00 | 5.316 | 155.7 | 5.448 | 168.9 | 5.8294 | 159.104 | 5.134 | 163 | 13.81 | 979.898 | 84.3681 | 11.7459
2020-10-15 17:30:00 | 4.606 | 155.5 | 4.832 | 173.6 | 5.1702 | 163.531 | 4.51 | 164.1 | 13.76 | 979.898 | 85.4603 | 12.1782
2020-10-15 17:45:00 | 5.229 | 167.2 | 5.085 | 178.7 | 5.4409 | 168.335 | 4.731 | 167.5 | 13.55 | 979.898 | 85.9357 | 14.2436
2020-10-15 18:00:00 | 5.035 | 160.2 | 4.936 | 180.6 | 5.2815 | 170.125 | 5.46 | 162 | 13.61 | 979.898 | 85.5282 | 11.6609
2020-10-15 18:15:00 | 5.232 | 153.5 | 5.259 | 169.8 | 5.6271 | 159.952 | 5.444 | 159.6 | 13.52 | 979.601 | 86.418 | 12.0858
2020-10-15 18:30:00 | 5.755 | 158.8 | 5.972 | 172 | 6.39 | 162.024 | 5.763 | 161.3 | 13.41 | 979.601 | 87.0438 | 19.0802
2020-10-15 18:45:00 | 5.406 | 155.9 | 5.476 | 168.5 | 5.8593 | 158.727 | 6.198 | 161.3 | 13.33 | 979.601 | 87.5917 | 19.3499
2020-10-15 19:00:00 | 6.547 | 149.5 | 6.943 | 163.6 | 7.429 | 154.111 | 6.906 | 156.3 | 13.31 | 979.601 | 88.1379 | 22.1802
2020-10-15 19:15:00 | 5.975 | 159.2 | 6.056 | 169.3 | 6.4799 | 159.481 | 5.485 | 167 | 13.3 | 979.898 | 88.6841 | 21.1456
2020-10-15 19:30:00 | 6.777 | 167.2 | 6.493 | 188.4 | 6.9475 | 177.473 | 5.987 | 167.7 | 13.6 | 980.195 | 85.4753 | 31.2732
2020-10-15 19:45:00 | 6.077 | 164.1 | 5.783 | 182.8 | 6.1878 | 172.198 | 5.859 | 163.7 | 13.52 | 980.195 | 86.8749 | 30.331
2020-10-15 20:00:00 | 6.307 | 168.8 | 6.537 | 185.2 | 6.9946 | 174.458 | 6.295 | 172.8 | 13.32 | 980.195 | 87.7965 | 35.9989
2020-10-15 20:15:00 | 7.435 | 159.4 | 7.588 | 175.7 | 8.1192 | 165.509 | 7.013 | 167.3 | 13.36 | 980.047 | 88.411 | 37.4436
2020-10-15 20:30:00 | 8.23 | 150.9 | 7.966 | 166.3 | 8.5236 | 156.655 | 8.37 | 159.2 | 13.09 | 979.75 | 92.0976 | 43.4247
2020-10-15 20:45:00 | 7.607 | 154.3 | 8.04 | 170.4 | 8.6028 | 160.517 | 8.09 | 159.2 | 12.91 | 979.601 | 93.9409 | 43.0819
2020-10-15 21:00:00 | 8.59 | 153.7 | 8.77 | 168.7 | 9.3839 | 158.915 | 9.22 | 159.4 | 12.58 | 979.601 | 96.2622 | 51.1514
2020-10-15 21:15:00 | 8.62 | 149.8 | 8.92 | 167.2 | 9.5444 | 157.502 | 10.02 | 155.8 | 12.46 | 979.601 | 97.5252 | 50.8226
2020-10-15 21:30:00 | 8.96 | 155.8 | 8.73 | 171.1 | 9.3411 | 161.176 | 9 | 159.1 | 12.39 | 979.601 | 98.0031 | 57.0225
2020-10-15 21:45:00 | 8.05 | 149.6 | 8.74 | 165.9 | 9.3518 | 156.278 | 9.68 | 154.7 | 12.23 | 979.304 | 98.5492 | 51.2364
2020-10-15 22:00:00 | 7.134 | 157.2 | 7.092 | 171.8 | 7.5884 | 161.836 | 7.892 | 162 | 12.36 | 979.453 | 97.4228 | 53.8302
2020-10-15 22:15:00 | 8.13 | 156 | 8.49 | 172.5 | 9.0843 | 162.495 | 8.29 | 161.7 | 12.43 | 979.601 | 96.5694 | 52.3597
2020-10-15 22:30:00 | 7.535 | 152.7 | 8.09 | 168.1 | 8.6563 | 158.35 | 7.968 | 160.1 | 12.38 | 979.602 | 96.7401 | 45.8699
2020-10-15 22:45:00 | 8.02 | 157.9 | 7.905 | 174.3 | 8.4583 | 164.191 | 7.665 | 162.4 | 12.43 | 979.601 | 96.8083 | 45.6868
2020-10-15 23:00:00 | 7.951 | 156.5 | 8.31 | 175.1 | 8.8917 | 164.944 | 8.49 | 159.3 | 12.36 | 979.601 | 98.242 | 44.6892
2020-10-15 23:15:00 | 7.354 | 155.2 | 7.56 | 170.2 | 8.0892 | 160.328 | 7.614 | 160.3 | 12.33 | 979.601 | 99.1978 | 42.1286
2020-10-15 23:30:00 | 6.779 | 164.2 | 6.798 | 179.9 | 7.2739 | 169.466 | 7.064 | 167.2 | 12.3 | 979.602 | 99.9488 | 41.1347
2020-10-15 23:45:00 | 8.38 | 169.2 | 8.09 | 185 | 8.6563 | 174.27 | 7.459 | 169.4 | 12.5 | 979.607 | 99.744 | 32.9248