## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-16 00:00:00 | 7.647 | 169.9 | 6.972 | 187.3 | 7.46 | 176.437 | 6.835 | 169.9 | 12.52 | 979.75 | 99.8805 | 29.7694
2020-10-16 00:15:00 | 7.453 | 167.4 | 6.928 | 186.5 | 7.413 | 175.683 | 6.822 | 168.5 | 12.53 | 979.601 | 99.9488 | 31.4173
2020-10-16 00:30:00 | 7.382 | 164.3 | 7.217 | 182.4 | 7.7222 | 171.821 | 7.039 | 165.7 | 12.47 | 979.75 | 99.9488 | 32.4777
2020-10-16 00:45:00 | 7.336 | 171.9 | 6.56 | 189.9 | 7.0192 | 178.886 | 6.552 | 169.9 | 12.37 | 979.601 | 99.9488 | 27.97
2020-10-16 01:00:00 | 6.519 | 161.7 | 6.516 | 173.4 | 6.9721 | 163.343 | 6.41 | 166.3 | 12.17 | 979.453 | 99.9488 | 30.4862
2020-10-16 01:15:00 | 7.813 | 163.1 | 7.621 | 175.1 | 8.1545 | 164.944 | 7.105 | 166.7 | 12.14 | 979.453 | 99.9488 | 34.2254
2020-10-16 01:30:00 | 7.813 | 157.1 | 7.935 | 169.6 | 8.4904 | 159.763 | 7.601 | 163.2 | 12.11 | 979.308 | 99.9488 | 33.1908
2020-10-16 01:45:00 | 7.058 | 169.8 | 6.724 | 183.3 | 7.1947 | 172.669 | 6.412 | 174.3 | 12.09 | 979.328 | 99.9488 | 36.6307
2020-10-16 02:00:00 | 7.27 | 164 | 6.984 | 174.4 | 7.4729 | 164.285 | 6.432 | 170.9 | 12.1 | 979.304 | 99.9488 | 36.8007
2020-10-16 02:15:00 | 7.035 | 164.4 | 6.918 | 180.8 | 7.4023 | 170.314 | 6.402 | 168 | 12.14 | 979.314 | 99.9488 | 39.0065
2020-10-16 02:30:00 | 7.106 | 163 | 7.107 | 176.1 | 7.6045 | 165.886 | 6.942 | 168.1 | 12.17 | 978.859 | 99.9488 | 39.7011
2020-10-16 02:45:00 | 7.305 | 156.4 | 7.127 | 171.7 | 7.6259 | 161.741 | 6.957 | 163.2 | 12.12 | 979.007 | 99.9488 | 32.9174
2020-10-16 03:00:00 | 8.11 | 156.7 | 8.47 | 168.5 | 9.0629 | 158.727 | 7.484 | 163.4 | 12 | 978.71 | 99.9488 | 38.1567
2020-10-16 03:15:00 | 7.836 | 159.4 | 7.979 | 172.1 | 8.5375 | 162.118 | 7.614 | 167.4 | 11.99 | 979.007 | 99.9488 | 36.6676
2020-10-16 03:30:00 | 8.38 | 157.7 | 8.61 | 171.2 | 9.2127 | 161.27 | 8.36 | 162 | 11.96 | 978.859 | 99.9488 | 40.1297
2020-10-16 03:45:00 | 7.272 | 161.9 | 7.24 | 180.8 | 7.7468 | 170.314 | 7.706 | 163.4 | 11.96 | 978.859 | 99.9488 | 35.6848
2020-10-16 04:00:00 | 8.3 | 156.4 | 8.18 | 170.6 | 8.7526 | 160.705 | 7.578 | 162.5 | 11.97 | 978.415 | 99.9488 | 37.9719
2020-10-16 04:15:00 | 7.936 | 158.3 | 7.948 | 179.5 | 8.5044 | 169.089 | 8.2 | 162.7 | 11.97 | 978.413 | 99.9488 | 38.8735
2020-10-16 04:30:00 | 8.27 | 167.3 | 7.902 | 182.9 | 8.4551 | 172.292 | 7.813 | 162.6 | 11.97 | 978.436 | 99.9488 | 38.1862
2020-10-16 04:45:00 | 7.798 | 164 | 7.854 | 187.4 | 8.4038 | 176.531 | 7.617 | 164 | 12.04 | 979.008 | 99.9488 | 36.3905
2020-10-16 05:00:00 | 7.678 | 170.8 | 7.598 | 189.1 | 8.1299 | 178.132 | 7.005 | 172.9 | 11.99 | 979.008 | 99.9488 | 25.6422
2020-10-16 05:15:00 | 8.12 | 178.4 | 7.728 | 192.3 | 8.269 | 181.147 | 7.324 | 181.5 | 12.03 | 979.453 | 99.9488 | 9.7211
2020-10-16 05:30:00 | 5.408 | 184.9 | 5.458 | 195.9 | 5.8401 | 184.538 | 5.602 | 189.1 | 12.05 | 979.898 | 99.9488 | 4.2158
2020-10-16 05:45:00 | 3.93 | 173.2 | 3.804 | 184.3 | 4.0703 | 173.611 | 3.677 | 182.6 | 11.96 | 979.9 | 99.9488 | 2.1504
2020-10-16 06:00:00 | 3.363 | 170.1 | 3.604 | 181.8 | 3.8563 | 171.256 | 2.992 | 177.2 | 11.95 | 979.601 | 99.9488 | 0.46186
2020-10-16 06:15:00 | 2.181 | 181.7 | 2.449 | 189.2 | 2.6204 | 178.226 | 2.574 | 190.2 | 11.87 | 979.75 | 99.9488 | -0.38426
2020-10-16 06:30:00 | 2.311 | 190.7 | 2.528 | 198.4 | 2.705 | 186.893 | 2.653 | 201.4 | 11.8 | 979.901 | 99.9488 | -0.12932
2020-10-16 06:45:00 | 2.592 | 206.6 | 2.904 | 217 | 3.1073 | 204.414 | 3.269 | 212.4 | 11.79 | 980.211 | 99.9488 | -0.044338
2020-10-16 07:00:00 | 2.308 | 198.6 | 2.679 | 207.7 | 2.8665 | 195.653 | 3.127 | 203.9 | 11.82 | 980.196 | 99.9488 | 0.055423
2020-10-16 07:15:00 | 2.211 | 215.8 | 2.278 | 225.5 | 2.4375 | 212.421 | 2.992 | 220.2 | 11.82 | 980.351 | 99.9488 | -0.14779
2020-10-16 07:30:00 | 3.677 | 235.1 | 4.093 | 248.5 | 4.3795 | 234.087 | 4.344 | 238 | 11.81 | 980.789 | 99.9488 | 0.24755
2020-10-16 07:45:00 | 2.689 | 232.6 | 2.817 | 246.8 | 3.0142 | 232.486 | 3.056 | 240.1 | 11.89 | 980.789 | 99.9488 | 0.60965
2020-10-16 08:00:00 | 2.965 | 219.4 | 3.068 | 231.8 | 3.2828 | 218.356 | 3.178 | 225.2 | 11.9 | 980.789 | 99.9488 | 0.54684
2020-10-16 08:15:00 | 2.962 | 222.5 | 3.231 | 223.3 | 3.4572 | 210.349 | 3.529 | 234.8 | 11.96 | 981.235 | 99.9488 | 1.829
2020-10-16 08:30:00 | 5.025 | 277.8 | 5.473 | 292.7 | 5.8561 | 275.723 | 5.47 | 276.6 | 11.6 | 981.383 | 99.9488 | 4.105
2020-10-16 08:45:00 | 3.233 | 286.5 | 3.804 | 301 | 4.0703 | 283.542 | 4.011 | 287 | 11.54 | 981.383 | 99.9488 | 0.7131
2020-10-16 09:00:00 | 2.269 | 294.6 | 2.73 | 312 | 2.9211 | 293.904 | 3.012 | 295.8 | 11.54 | 981.535 | 99.9488 | -0.18844
2020-10-16 09:15:00 | 0.996 | 321.7 | 1.03 | 343.4 | 1.1021 | 323.483 | 0.623 | 334.1 | 11.74 | 981.829 | 99.9488 | 0.011085
2020-10-16 09:30:00 | 0.253 | 3.825 | 0.512 | 350 | 0.54784 | 329.7 | 0.737 | 355.2 | 11.97 | 981.977 | 99.9488 | -0.24016
2020-10-16 09:45:00 | 0.126 | 64.43 | 0.601 | 81.5 | 0.64307 | 76.773 | 0.952 | 92.4 | 11.93 | 981.977 | 99.9488 | -0.25864
2020-10-16 10:00:00 | 0.212 | 42.91 | 0.319 | 47.06 | 0.34133 | 44.3305 | 0.689 | 53.72 | 12.14 | 981.977 | 99.9356 | -0.24016
2020-10-16 10:15:00 | 0.499 | 58.6 | 0.794 | 83.7 | 0.84958 | 78.8454 | 0.944 | 76.67 | 13.02 | 982.571 | 98.0883 | -0.24016
2020-10-16 10:30:00 | 0.232 | 356.9 | 0.226 | 15.16 | 0.24182 | 14.2807 | 0.956 | 347.3 | 13.33 | 983.024 | 92.0679 | -0.27711
2020-10-16 10:45:00 | 0.606 | 2.138 | 1.272 | 324.8 | 1.361 | 305.962 | 1.201 | 6.811 | 13.64 | 982.865 | 89.5069 | -0.25125
2020-10-16 11:00:00 | 2.086 | 4.987 | 2.264 | 346.4 | 2.4225 | 326.309 | 2.353 | 13.11 | 13.82 | 982.864 | 88.3126 | -0.24016
2020-10-16 11:15:00 | 2.817 | 314.9 | 3.162 | 323.2 | 3.3833 | 304.454 | 2.966 | 316.2 | 13.38 | 982.864 | 91.1102 | -0.29559
2020-10-16 11:30:00 | 4.218 | 317.8 | 4.568 | 330.9 | 4.8878 | 311.708 | 4.148 | 320.2 | 13.12 | 982.716 | 91.0083 | 2.8746
2020-10-16 11:45:00 | 3.493 | 321.2 | 3.773 | 330.5 | 4.0371 | 311.331 | 3.618 | 320.9 | 13.55 | 982.567 | 88.3126 | 4.3858
2020-10-16 12:00:00 | 3.452 | 341 | 3.878 | 2.367 | 4.1495 | 2.2297 | 4.021 | 337.6 | 13.25 | 982.27 | 88.3126 | 10.3234
2020-10-16 12:15:00 | 2.959 | 339.4 | 2.962 | 344.5 | 3.1693 | 324.519 | 2.918 | 339.2 | 13.66 | 982.567 | 87.2888 | 7.0756
2020-10-16 12:30:00 | 3.46 | 337.3 | 3.231 | 339.9 | 3.4572 | 320.186 | 2.786 | 339.2 | 13.99 | 982.27 | 85.958 | 7.0498
2020-10-16 12:45:00 | 1.831 | 9.48 | 2.913 | 32 | 3.1169 | 30.144 | 2.857 | 0.096 | 13.88 | 981.677 | 85.4803 | 6.6988
2020-10-16 13:00:00 | 1.92 | 27.47 | 2.386 | 9.34 | 2.553 | 8.7983 | 2.386 | 20.02 | 14.01 | 981.825 | 85.7191 | 2.5273
2020-10-16 13:15:00 | 2.276 | 348.7 | 2.624 | 4.627 | 2.8077 | 4.3586 | 2.561 | 337.4 | 14.56 | 981.974 | 82.4774 | 7.5523
2020-10-16 13:30:00 | 3.567 | 356.7 | 3.535 | 4.474 | 3.7824 | 4.2145 | 3.054 | 348.5 | 14.21 | 981.677 | 83.6035 | 17.6022
2020-10-16 13:45:00 | 3.316 | 353.8 | 3.726 | 2.97 | 3.9868 | 2.7977 | 4.138 | 346.9 | 14.24 | 981.528 | 82.648 | 19.3942
2020-10-16 14:00:00 | 4.831 | 349 | 5.223 | 10.16 | 5.5886 | 9.5707 | 5.676 | 345.3 | 14.08 | 981.528 | 79.5086 | 20.5544
2020-10-16 14:15:00 | 4.614 | 5.208 | 5.453 | 29.74 | 5.8347 | 28.0151 | 5.961 | 4.009 | 14.96 | 981.677 | 72.4108 | 26.7388
2020-10-16 14:30:00 | 5.352 | 3.976 | 5.977 | 27.09 | 6.3954 | 25.5188 | 6.323 | 356.2 | 14.33 | 981.677 | 68.4075 | 25.2321
2020-10-16 14:45:00 | 3.455 | 13.42 | 6.113 | 34.95 | 6.5409 | 32.9229 | 4.711 | 0.922 | 14.8 | 981.974 | 64.3389 | 30.1204
2020-10-16 15:00:00 | 4.554 | 0.646 | 5.905 | 24.96 | 6.3183 | 23.5123 | 6.613 | 355.6 | 14.98 | 981.974 | 56.0819 | 26.662
2020-10-16 15:15:00 | 3.266 | 358.4 | 3.193 | 9.02 | 3.4165 | 8.4968 | 3.376 | 351.6 | 14.99 | 981.974 | 53.488 | 21.4301
2020-10-16 15:30:00 | 4.42 | 355 | 5.118 | 17.7 | 5.4763 | 16.6734 | 6.728 | 352.4 | 15.25 | 982.27 | 43.9025 | 17.7648
2020-10-16 15:45:00 | 3.774 | 354.6 | 3.62 | 12.25 | 3.8734 | 11.5395 | 3.914 | 348.6 | 15.34 | 982.107 | 43.5272 | 14.4616
2020-10-16 16:00:00 | 2.547 | 6.892 | 3.788 | 34.42 | 4.0532 | 32.4236 | 4.021 | 352.5 | 15.34 | 981.923 | 44.6188 | 12.6142
2020-10-16 16:15:00 | 3.087 | 357.6 | 3.449 | 3.479 | 3.6904 | 3.2772 | 3.565 | 343 | 15.2 | 981.602 | 43.1179 | 13.8335
2020-10-16 16:30:00 | 3.766 | 330 | 4.481 | 346 | 4.7947 | 325.932 | 3.977 | 329.1 | 15.41 | 981.81 | 43.1179 | 11.3358
2020-10-16 16:45:00 | 3.485 | 342.2 | 3.786 | 354.1 | 4.051 | 333.562 | 4.512 | 337.1 | 15.19 | 981.231 | 42.0263 | 8.439
2020-10-16 17:00:00 | 2.916 | 332.8 | 2.845 | 346 | 3.0442 | 325.932 | 2.5 | 332.9 | 15.1 | 981.083 | 42.2317 | 7.3306
2020-10-16 17:15:00 | 4.154 | 330.3 | 4.43 | 348.2 | 4.7401 | 328.004 | 3.59 | 331.4 | 15.03 | 980.934 | 40.597 | 9.9872
2020-10-16 17:30:00 | 3.876 | 323.3 | 3.177 | 340.4 | 3.3994 | 320.657 | 2.91 | 318.9 | 14.79 | 980.489 | 39.0375 | 12.2299
2020-10-16 17:45:00 | 4.042 | 330.7 | 3.765 | 346.9 | 4.0286 | 326.78 | 3.282 | 328.8 | 14.8 | 980.493 | 38.2187 | 16.4642
2020-10-16 18:00:00 | 3.999 | 335.2 | 4.423 | 350.7 | 4.7326 | 330.359 | 4.008 | 335.6 | 14.69 | 980.786 | 36.1084 | 13.7559
2020-10-16 18:15:00 | 3.988 | 338 | 4.43 | 353.7 | 4.7401 | 333.185 | 3.657 | 334.5 | 14.65 | 980.789 | 33.6177 | 14.9493
2020-10-16 18:30:00 | 4.014 | 328.4 | 4.029 | 349.2 | 4.311 | 328.946 | 2.686 | 326.5 | 14.65 | 980.789 | 32.3541 | 10.9922
2020-10-16 18:45:00 | 4.267 | 333 | 3.776 | 345.2 | 4.0403 | 325.178 | 3.061 | 330.6 | 14.65 | 981.086 | 31.5341 | 10.9035
2020-10-16 19:00:00 | 4.772 | 337.3 | 5.885 | 353.9 | 6.2969 | 333.374 | 6.012 | 339.6 | 14.78 | 981.086 | 30.6143 | 10.7557
2020-10-16 19:15:00 | 4.387 | 337.9 | 5.19 | 353.5 | 5.5533 | 332.997 | 4.423 | 337.2 | 14.65 | 981.234 | 31.536 | 9.8431
2020-10-16 19:30:00 | 4.16 | 338.7 | 5.246 | 358.5 | 5.6132 | 337.707 | 5.253 | 338.5 | 14.69 | 981.383 | 31.6048 | 7.2678
2020-10-16 19:45:00 | 3.812 | 338.9 | 4.354 | 355.4 | 4.6588 | 334.787 | 4.734 | 339.6 | 14.63 | 981.531 | 30.9228 | 6.1445
2020-10-16 20:00:00 | 2.995 | 346.9 | 3.615 | 9.65 | 3.8681 | 9.0903 | 4.382 | 347 | 14.62 | 981.68 | 31.8795 | 5.1876
2020-10-16 20:15:00 | 3.44 | 346.5 | 3.939 | 5.068 | 4.2147 | 4.7741 | 4.836 | 347.2 | 14.66 | 981.68 | 31.4713 | 4.5964
2020-10-16 20:30:00 | 2.954 | 4.363 | 3.673 | 17.17 | 3.9301 | 16.1741 | 5.207 | 0.609 | 14.5 | 981.383 | 33.0762 | 5.764
2020-10-16 20:45:00 | 3.197 | 3.886 | 3.418 | 17.06 | 3.6573 | 16.0705 | 4.759 | 357.8 | 14.34 | 981.383 | 32.5989 | 5.4942
2020-10-16 21:00:00 | 2.722 | 14.64 | 4.075 | 34.85 | 4.3602 | 32.8287 | 4.202 | 13.37 | 14.13 | 981.383 | 32.4967 | 6.7837
2020-10-16 21:15:00 | 2.967 | 15.36 | 4.172 | 34.56 | 4.464 | 32.5555 | 4.612 | 17.04 | 14.24 | 981.383 | 30.8585 | 5.4425
2020-10-16 21:30:00 | 2.633 | 21.63 | 4.21 | 42.22 | 4.5047 | 39.7712 | 4.988 | 22.46 | 14.34 | 981.383 | 29.22 | 3.8907
2020-10-16 21:45:00 | 2.487 | 21.28 | 3.906 | 40.42 | 4.1794 | 38.0756 | 4.189 | 24.47 | 14.35 | 981.531 | 28.2642 | 2.2982
2020-10-16 22:00:00 | 2.25 | 25.58 | 3.326 | 45.19 | 3.5588 | 42.569 | 3.893 | 27.47 | 14.5 | 981.68 | 27.9229 | 0.18474
2020-10-16 22:15:00 | 1.606 | 17.78 | 2.6 | 35.16 | 2.782 | 33.1207 | 3.005 | 19.97 | 14.68 | 981.68 | 27.1719 | -0.42491
2020-10-16 22:30:00 | 0.854 | 14.14 | 2.129 | 31.2 | 2.278 | 29.3904 | 1.935 | 6.656 | 14.82 | 981.977 | 26.3526 | -0.25864
2020-10-16 22:45:00 | 0.365 | 14.24 | 1.523 | 31.19 | 1.6296 | 29.381 | 1.665 | 6.727 | 14.77 | 981.68 | 25.4651 | -0.25864
2020-10-16 23:00:00 | 0.599 | 14.33 | 1.362 | 31.2 | 1.4573 | 29.3904 | 1.003 | 6.727 | 14.89 | 981.68 | 23.0756 | -0.25864
2020-10-16 23:15:00 | 0.223 | 14.32 | 1.075 | 31.2 | 1.1502 | 29.3904 | 0.81 | 6.727 | 14.89 | 981.68 | 23.0073 | -0.25864
2020-10-16 23:30:00 | 0 | 14.23 | 1.201 | 31.17 | 1.2851 | 29.3621 | 0.114 | 6.727 | 14.9 | 981.68 | 23.8949 | -0.25864
2020-10-16 23:45:00 | 0 | 14.24 | 0.432 | 31.19 | 0.46224 | 29.381 | 0 | 6.727 | 14.84 | 981.68 | 23.8607 | -0.25864