## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-17 00:00:00 | 0 | 14.28 | 0 | 31.19 | 0 | 29.381 | 0 | 6.727 | 14.69 | 981.683 | 24.0997 | -0.25864
2020-10-17 00:15:00 | 0 | 14.26 | 0 | 31.19 | 0 | 29.381 | 0 | 6.727 | 14.61 | 981.396 | 24.7141 | -0.25864
2020-10-17 00:30:00 | 1.719 | 138.5 | 1.498 | 136.9 | 1.6029 | 128.96 | 0 | 6.727 | 14.17 | 981.407 | 25.7723 | -0.26972
2020-10-17 00:45:00 | 0.876 | 168.3 | 1.24 | 161.4 | 1.3268 | 152.039 | 0.551 | 6.727 | 14.09 | 981.46 | 26.4892 | -0.25864
2020-10-17 01:00:00 | 2.268 | 168.3 | 2.122 | 171 | 2.2705 | 161.082 | 1.477 | 5.664 | 13.95 | 981.4 | 26.8988 | -0.27342
2020-10-17 01:15:00 | 1.915 | 170.7 | 2.157 | 192.7 | 2.308 | 181.523 | 2.396 | 180.1 | 13.56 | 981.438 | 30.8585 | -0.13671
2020-10-17 01:30:00 | 3.197 | 191.2 | 3.584 | 198.5 | 3.8349 | 186.987 | 3.832 | 195 | 13.35 | 981.386 | 33.5893 | 0.43969
2020-10-17 01:45:00 | 3.978 | 204.2 | 4.392 | 219.1 | 4.6994 | 206.392 | 3.71 | 199.5 | 13.35 | 981.387 | 34.8524 | 0.3547
2020-10-17 02:00:00 | 3.572 | 211.1 | 3.973 | 219.2 | 4.2511 | 206.486 | 3.59 | 215.5 | 12.99 | 981.385 | 35.3644 | 0.63921
2020-10-17 02:15:00 | 3.621 | 205.7 | 3.978 | 214.2 | 4.2565 | 201.776 | 3.855 | 211.1 | 12.83 | 981.105 | 39.6655 | 1.3043
2020-10-17 02:30:00 | 3.723 | 215.1 | 4.238 | 224.6 | 4.5347 | 211.573 | 3.825 | 216.8 | 12.5 | 981.112 | 40.8943 | 1.7772
2020-10-17 02:45:00 | 4.07 | 220.8 | 4.952 | 233.5 | 5.2986 | 219.957 | 3.899 | 221.9 | 12.74 | 980.792 | 45.1613 | 1.6811
2020-10-17 03:00:00 | 3.6 | 225.4 | 4.52 | 236.7 | 4.8364 | 222.971 | 4.27 | 226.7 | 12.93 | 980.825 | 43.6935 | 1.7033
2020-10-17 03:15:00 | 3.782 | 225.7 | 4.727 | 237 | 5.0579 | 223.254 | 4.311 | 226.4 | 13.05 | 980.806 | 42.9425 | 2.1134
2020-10-17 03:30:00 | 3.192 | 231.4 | 4.088 | 242.6 | 4.3742 | 228.529 | 4.158 | 232.1 | 12.92 | 980.792 | 44.8541 | 3.0446
2020-10-17 03:45:00 | 3.34 | 237.6 | 4.121 | 246.4 | 4.4095 | 232.109 | 4.008 | 241.2 | 12.78 | 980.793 | 47.107 | 3.1886
2020-10-17 04:00:00 | 3.197 | 233.8 | 3.929 | 235.7 | 4.204 | 222.029 | 4.393 | 239.5 | 12.62 | 980.819 | 48.4724 | 3.5397
2020-10-17 04:15:00 | 3.498 | 226.4 | 4.195 | 230 | 4.4886 | 216.66 | 4.754 | 233.2 | 12.44 | 980.822 | 50.7254 | 4.8439
2020-10-17 04:30:00 | 3.674 | 233.5 | 4.366 | 240.4 | 4.6716 | 226.457 | 4.479 | 238.1 | 12.43 | 980.865 | 50.384 | 4.4079
2020-10-17 04:45:00 | 3.238 | 229.1 | 3.868 | 232.2 | 4.1388 | 218.732 | 4.538 | 233.8 | 12.45 | 980.86 | 50.5206 | 3.9646
2020-10-17 05:00:00 | 3.577 | 230.1 | 4.348 | 231.4 | 4.6524 | 217.979 | 4.711 | 235.9 | 12.5 | 980.983 | 50.6571 | 4.4597
2020-10-17 05:15:00 | 3.534 | 223.8 | 4.103 | 226.8 | 4.3902 | 213.646 | 5.513 | 230 | 12.43 | 981.164 | 50.7254 | 5.1395
2020-10-17 05:30:00 | 3.276 | 227.6 | 4.134 | 230.4 | 4.4234 | 217.037 | 5.271 | 234.1 | 12.47 | 981.126 | 49.8379 | 5.2097
2020-10-17 05:45:00 | 3.605 | 223.4 | 4.52 | 227.7 | 4.8364 | 214.493 | 5.646 | 230.1 | 12.49 | 981.496 | 50.1792 | 8.9526
2020-10-17 06:00:00 | 3.521 | 218.4 | 4.686 | 222.3 | 5.014 | 209.407 | 6.203 | 225.9 | 12.43 | 981.427 | 50.384 | 6.78
2020-10-17 06:15:00 | 3.547 | 235.4 | 4.236 | 244.8 | 4.5325 | 230.602 | 4.752 | 240.5 | 12.56 | 980.868 | 47.4484 | 2.2206
2020-10-17 06:30:00 | 4.093 | 244.6 | 4.553 | 255.5 | 4.8717 | 240.681 | 4.93 | 248.5 | 12.95 | 981.16 | 47.0387 | 2.5605
2020-10-17 06:45:00 | 3.468 | 231.8 | 4.008 | 238.8 | 4.2886 | 224.95 | 4.54 | 240.2 | 12.85 | 980.798 | 47.7897 | 1.0161
2020-10-17 07:00:00 | 1.603 | 237.7 | 2.52 | 238.9 | 2.6964 | 225.044 | 3.407 | 246.9 | 13.02 | 981.086 | 46.5608 | 0.31037
2020-10-17 07:15:00 | 2.972 | 219.2 | 3.328 | 222.7 | 3.561 | 209.783 | 4.326 | 228.9 | 13.34 | 981.532 | 47.3801 | 1.441
2020-10-17 07:30:00 | 2.674 | 220 | 3.331 | 224.5 | 3.5642 | 211.479 | 4.474 | 230.9 | 13.32 | 981.829 | 47.0988 | 2.5457
2020-10-17 07:45:00 | 4.04 | 206.1 | 3.98 | 203.8 | 4.2586 | 191.98 | 4.393 | 211.4 | 13.27 | 982.125 | 47.0268 | 3.1037
2020-10-17 08:00:00 | 4.359 | 205.7 | 4.052 | 209 | 4.3356 | 196.878 | 4.854 | 212.9 | 13.29 | 982.014 | 47.5687 | 3.1147
2020-10-17 08:15:00 | 4.471 | 205.3 | 4.29 | 207.8 | 4.5903 | 195.748 | 5.2 | 213.5 | 13.42 | 982.122 | 47.1592 | 1.9176
2020-10-17 08:30:00 | 4.877 | 200.5 | 4.947 | 207.1 | 5.2933 | 195.088 | 5.187 | 208.8 | 13.74 | 982.27 | 46.4085 | 2.5236
2020-10-17 08:45:00 | 4.231 | 194.1 | 4.333 | 202.8 | 4.6363 | 191.038 | 4.535 | 203.7 | 14.03 | 982.864 | 47.2246 | 1.8696
2020-10-17 09:00:00 | 4.139 | 190.6 | 4.065 | 197.8 | 4.3495 | 186.328 | 4.067 | 201.2 | 14.29 | 983.013 | 45.7841 | 0.55792
2020-10-17 09:15:00 | 3.108 | 188.7 | 3.042 | 194.8 | 3.2549 | 183.502 | 3.254 | 198.1 | 14.5 | 982.864 | 43.1193 | 0.077592
2020-10-17 09:30:00 | 3.848 | 182.5 | 3.305 | 187.2 | 3.5364 | 176.342 | 3.007 | 193.9 | 15.08 | 982.864 | 40.8324 | 0.096066
2020-10-17 09:45:00 | 4.612 | 192.4 | 4.366 | 203.5 | 4.6716 | 191.697 | 3.708 | 196.3 | 15.36 | 982.968 | 38.2057 | 0.2882
2020-10-17 10:00:00 | 5.263 | 193.4 | 4.832 | 203.8 | 5.1702 | 191.98 | 4.176 | 202.7 | 15.31 | 982.591 | 38.8197 | 0.89046
2020-10-17 10:15:00 | 6.332 | 194.1 | 6.026 | 207.4 | 6.4478 | 195.371 | 5.327 | 199.1 | 15.22 | 982.564 | 39.1601 | 2.8709
2020-10-17 10:30:00 | 5.847 | 180 | 5.453 | 191.8 | 5.8347 | 180.676 | 4.721 | 187.1 | 15.09 | 982.569 | 43.2542 | 2.6972
2020-10-17 10:45:00 | 5.561 | 188.8 | 5.195 | 204 | 5.5587 | 192.168 | 4.563 | 187.1 | 15.22 | 982.6 | 37.9328 | 2.3721
2020-10-17 11:00:00 | 5.344 | 177 | 5.177 | 190.8 | 5.5394 | 179.734 | 4.968 | 180.4 | 15.19 | 982.642 | 39.0926 | 2.5125
2020-10-17 11:15:00 | 5.132 | 182.8 | 5.095 | 196.8 | 5.4516 | 185.386 | 4.456 | 187.3 | 15.74 | 982.12 | 42.5032 | 3.148
2020-10-17 11:30:00 | 4.652 | 184.9 | 4.382 | 198 | 4.6887 | 186.516 | 4.128 | 189 | 15.71 | 982.119 | 43.5567 | 2.6677
2020-10-17 11:45:00 | 5.487 | 178.3 | 5.034 | 190.9 | 5.3864 | 179.828 | 4.415 | 185.3 | 16.04 | 981.97 | 44.4067 | 2.4829
2020-10-17 12:00:00 | 4.606 | 180.5 | 4.635 | 190 | 4.9595 | 178.98 | 4.795 | 186.5 | 16.11 | 982.119 | 45.2592 | 2.3314
2020-10-17 12:15:00 | 4.834 | 162.9 | 4.676 | 180.1 | 5.0033 | 169.654 | 4.041 | 166.2 | 16.43 | 982.267 | 44.9523 | 2.5051
2020-10-17 12:30:00 | 5.196 | 176.7 | 4.847 | 189 | 5.1863 | 178.038 | 4.472 | 186.3 | 16.8 | 981.822 | 44.8841 | 3.8316
2020-10-17 12:45:00 | 5.212 | 180.3 | 4.814 | 191 | 5.151 | 179.922 | 4.26 | 189.9 | 16.72 | 981.525 | 39.8363 | 5.8637
2020-10-17 13:00:00 | 5.209 | 163.5 | 5.1 | 178.6 | 5.457 | 168.241 | 4.492 | 168.1 | 16.83 | 981.673 | 40.3138 | 7.8774
2020-10-17 13:15:00 | 6.151 | 151.1 | 5.954 | 164.9 | 6.3708 | 155.336 | 5.172 | 158.5 | 17.02 | 982.119 | 40.4502 | 7.785
2020-10-17 13:30:00 | 5.421 | 162.7 | 5.34 | 179.9 | 5.7138 | 169.466 | 4.854 | 166.2 | 17.03 | 981.822 | 36.4257 | 9.7359
2020-10-17 13:45:00 | 4.637 | 149.2 | 4.448 | 165.7 | 4.7594 | 156.089 | 3.998 | 156.4 | 17.16 | 981.673 | 35.3343 | 10.3012
2020-10-17 14:00:00 | 6.968 | 157.2 | 6.787 | 169.5 | 7.2621 | 159.669 | 6.127 | 163.2 | 17.23 | 981.377 | 32.5375 | 12.9504
2020-10-17 14:15:00 | 7.87 | 174.1 | 7.237 | 187.2 | 7.7436 | 176.342 | 6.718 | 182.3 | 17.53 | 981.377 | 33.4925 | 16.5825
2020-10-17 14:30:00 | 7.801 | 176.7 | 7.772 | 193.2 | 8.316 | 181.994 | 6.473 | 180.3 | 17.4 | 980.783 | 34.5157 | 16.2943
2020-10-17 14:45:00 | 8.74 | 182.6 | 8.36 | 195.1 | 8.9452 | 183.784 | 7.655 | 185.9 | 17.28 | 980.783 | 32.5381 | 16.3756
2020-10-17 15:00:00 | 7.259 | 204.5 | 6.744 | 207.9 | 7.2161 | 195.842 | 6.72 | 214.4 | 17.44 | 981.08 | 24.7965 | 16.0947
2020-10-17 15:15:00 | 5.998 | 209.4 | 5.535 | 215.3 | 5.9225 | 202.813 | 5.169 | 213.5 | 17.95 | 981.377 | 33.5607 | 13.4382
2020-10-17 15:30:00 | 7.525 | 193.1 | 7.046 | 200.7 | 7.5392 | 189.059 | 6.738 | 198.7 | 17.76 | 980.635 | 29.161 | 14.5392
2020-10-17 15:45:00 | 7.849 | 187.8 | 7.358 | 198.2 | 7.8731 | 186.704 | 6.687 | 195.6 | 17.39 | 980.635 | 30.3888 | 14.5244
2020-10-17 16:00:00 | 5.684 | 207.6 | 5.028 | 212 | 5.38 | 199.704 | 5.447 | 214.7 | 17.4 | 980.932 | 30.2526 | 8.7605
2020-10-17 16:15:00 | 6.818 | 195.8 | 6.468 | 204.7 | 6.9208 | 192.827 | 5.961 | 201 | 17.32 | 980.338 | 30.287 | 11.5981
2020-10-17 16:30:00 | 6.325 | 181.7 | 5.857 | 194.3 | 6.267 | 183.031 | 5.286 | 187.4 | 17.14 | 980.041 | 32.2694 | 8.8898
2020-10-17 16:45:00 | 7.221 | 174.9 | 6.89 | 191.1 | 7.3723 | 180.016 | 6.104 | 178.3 | 16.91 | 979.682 | 32.7477 | 11.587
2020-10-17 17:00:00 | 5.972 | 179.6 | 5.847 | 193.2 | 6.2563 | 181.994 | 5.569 | 185 | 16.68 | 979.877 | 34.7262 | 9.9835
2020-10-17 17:15:00 | 7.42 | 176.7 | 7.243 | 189.3 | 7.75 | 178.321 | 7.413 | 181.4 | 16.42 | 979.302 | 35.272 | 12.4221
2020-10-17 17:30:00 | 6.738 | 174 | 6.846 | 187.4 | 7.3252 | 176.531 | 6.784 | 179.5 | 16.21 | 979.153 | 37.1849 | 13.2054
2020-10-17 17:45:00 | 8.06 | 179.6 | 8.01 | 194 | 8.5707 | 182.748 | 7.823 | 183.3 | 16.02 | 978.708 | 37.1264 | 15.341
2020-10-17 18:00:00 | 7.596 | 176.4 | 7.445 | 189.5 | 7.9661 | 178.509 | 7.23 | 181.3 | 15.87 | 978.708 | 35.5571 | 15.16
2020-10-17 18:15:00 | 7.492 | 174.6 | 7.764 | 187.2 | 8.3075 | 176.342 | 7.645 | 180.1 | 15.69 | 978.757 | 35.6253 | 14.7757
2020-10-17 18:30:00 | 7.356 | 177.8 | 7.434 | 188.1 | 7.9544 | 177.19 | 7.415 | 183.2 | 15.67 | 978.61 | 35.0796 | 16.4125
2020-10-17 18:45:00 | 6.475 | 172.2 | 6.828 | 187.5 | 7.306 | 176.625 | 6.72 | 176.3 | 15.54 | 979.002 | 37.6758 | 19.579
2020-10-17 19:00:00 | 5.633 | 172.7 | 6.097 | 187.8 | 6.5238 | 176.908 | 6.165 | 175 | 14.99 | 979.007 | 38.1907 | 17.7685
2020-10-17 19:15:00 | 5.526 | 170.2 | 6.005 | 184 | 6.4253 | 173.328 | 6.779 | 177.4 | 14.97 | 978.859 | 37.1329 | 17.4729
2020-10-17 19:30:00 | 6.164 | 171.8 | 6.422 | 185.6 | 6.8715 | 174.835 | 6.715 | 176 | 15.02 | 979.007 | 39.249 | 16.5529
2020-10-17 19:45:00 | 6.159 | 162.6 | 6.332 | 173.4 | 6.7752 | 163.343 | 6.392 | 172.3 | 14.6 | 979.007 | 40.819 | 14.1476
2020-10-17 20:00:00 | 6.488 | 164 | 7.033 | 174.7 | 7.5253 | 164.567 | 6.814 | 174.5 | 14.51 | 979.007 | 40.8172 | 19.9041
2020-10-17 20:15:00 | 7.109 | 160.2 | 7.273 | 172.9 | 7.7821 | 162.872 | 7.331 | 170.8 | 14.41 | 979.007 | 40.4787 | 26.3332
2020-10-17 20:30:00 | 6.452 | 162.6 | 6.744 | 174 | 7.2161 | 163.908 | 6.97 | 169.7 | 14.15 | 978.71 | 41.5028 | 27.3012
2020-10-17 20:45:00 | 6.795 | 158.5 | 7.243 | 169.8 | 7.75 | 159.952 | 7.561 | 167.2 | 13.87 | 978.71 | 43.6224 | 31.5429
2020-10-17 21:00:00 | 7.078 | 157.7 | 7.179 | 170.7 | 7.6815 | 160.799 | 7.283 | 166 | 13.72 | 978.562 | 44.103 | 30.8815
2020-10-17 21:15:00 | 7.346 | 159 | 7.693 | 170.9 | 8.2315 | 160.988 | 8.22 | 167.2 | 13.4 | 978.413 | 45.2978 | 32.8693
2020-10-17 21:30:00 | 7.183 | 160.3 | 7.393 | 171.6 | 7.9105 | 161.647 | 8.3 | 167.4 | 13.49 | 978.562 | 45.4344 | 30.7965
2020-10-17 21:45:00 | 6.756 | 160 | 7.03 | 172.3 | 7.5221 | 162.307 | 7.398 | 168.3 | 13 | 978.562 | 44.0348 | 31.0145
2020-10-17 22:00:00 | 7.298 | 161 | 7.427 | 172.3 | 7.9469 | 162.307 | 7.685 | 169.5 | 13.24 | 978.562 | 44.2396 | 30.5009
2020-10-17 22:15:00 | 7.788 | 165.4 | 7.534 | 177.8 | 8.0614 | 167.488 | 7.637 | 175 | 13.04 | 978.71 | 44.9906 | 33.9963
2020-10-17 22:30:00 | 7.647 | 167.5 | 7.445 | 176.5 | 7.9661 | 166.263 | 8.23 | 176.4 | 12.8 | 978.71 | 46.5608 | 38.1419
2020-10-17 22:45:00 | 7.813 | 169.3 | 7.838 | 179.4 | 8.3867 | 168.995 | 8.65 | 177.7 | 12.91 | 978.71 | 42.8059 | 38.7257
2020-10-17 23:00:00 | 7.632 | 167.9 | 7.089 | 177.2 | 7.5852 | 166.922 | 7.614 | 175.3 | 12.88 | 978.71 | 45.605 | 38.4079
2020-10-17 23:15:00 | 7.499 | 170.8 | 7.56 | 182.8 | 8.0892 | 172.198 | 8.45 | 177.8 | 12.58 | 978.71 | 44.7858 | 33.4014
2020-10-17 23:30:00 | 7.676 | 164.2 | 7.782 | 175.3 | 8.3267 | 165.133 | 8.64 | 175.4 | 12.78 | 978.71 | 45.1272 | 35.2673
2020-10-17 23:45:00 | 7.91 | 171 | 8.14 | 180.9 | 8.7098 | 170.408 | 8.8 | 180.1 | 12.74 | 978.415 | 41.9867 | 37.1554