## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-18 00:00:00 | 8.07 | 172.7 | 8.38 | 182.2 | 8.9666 | 171.632 | 9.97 | 181.9 | 12.8 | 978.414 | 43.1473 | 37.3475
2020-10-18 00:15:00 | 8.68 | 174.6 | 9.05 | 183.7 | 9.6835 | 173.045 | 10.01 | 183 | 12.95 | 978.413 | 43.2838 | 40.8207
2020-10-18 00:30:00 | 9.02 | 172.3 | 9.44 | 182.4 | 10.1008 | 171.821 | 10.21 | 180.2 | 12.79 | 978.413 | 41.9184 | 39.0028
2020-10-18 00:45:00 | 8.56 | 168.7 | 8.4 | 179.2 | 8.988 | 168.806 | 8.25 | 177.7 | 12.83 | 978.414 | 42.8059 | 33.5861
2020-10-18 01:00:00 | 8.21 | 171.2 | 8.24 | 181 | 8.8168 | 170.502 | 8.36 | 180.9 | 12.61 | 978.717 | 42.3963 | 32.2966
2020-10-18 01:15:00 | 7.068 | 169.1 | 7.383 | 178.1 | 7.8998 | 167.77 | 7.935 | 178.9 | 12.5 | 978.413 | 43.2156 | 34.6466
2020-10-18 01:30:00 | 6.572 | 167.6 | 6.818 | 177.8 | 7.2953 | 167.488 | 6.891 | 179 | 12.43 | 978.429 | 44.581 | 34.6613
2020-10-18 01:45:00 | 7.898 | 169.4 | 7.672 | 177.1 | 8.209 | 166.828 | 8.17 | 179.1 | 12.33 | 978.295 | 45.1954 | 33.4605
2020-10-18 02:00:00 | 7.474 | 164.2 | 8.24 | 174.8 | 8.8168 | 164.662 | 8.29 | 176.3 | 12.23 | 978.183 | 43.7959 | 35.1047
2020-10-18 02:15:00 | 8.71 | 170.6 | 8.46 | 180.5 | 9.0522 | 170.031 | 8.93 | 179.9 | 12.53 | 977.994 | 44.4444 | 32.5368
2020-10-18 02:30:00 | 6.595 | 166.5 | 7.355 | 176.8 | 7.8698 | 166.546 | 7.841 | 177.3 | 12.17 | 978.158 | 44.581 | 34.0147
2020-10-18 02:45:00 | 7.76 | 174.9 | 8.05 | 183.6 | 8.6135 | 172.951 | 8.08 | 183.9 | 12.34 | 978.176 | 44.4444 | 34.6724
2020-10-18 03:00:00 | 7.254 | 169.7 | 7.529 | 181.1 | 8.056 | 170.596 | 7.535 | 178.9 | 12.19 | 977.862 | 45.9464 | 32.7733
2020-10-18 03:15:00 | 7.479 | 164.7 | 7.47 | 175.5 | 7.9929 | 165.321 | 7.754 | 175.2 | 12.32 | 977.937 | 45.4002 | 34.3436
2020-10-18 03:30:00 | 7.933 | 168.4 | 8.68 | 179.4 | 9.2876 | 168.995 | 8.81 | 178.2 | 12.44 | 977.909 | 45.9805 | 37.3512
2020-10-18 03:45:00 | 8.35 | 168.3 | 8.82 | 178.4 | 9.4374 | 168.053 | 8.91 | 177.2 | 12.29 | 977.84 | 47.107 | 39.8859
2020-10-18 04:00:00 | 8.45 | 164.9 | 8.76 | 175.9 | 9.3732 | 165.698 | 8.91 | 174.9 | 12.24 | 977.861 | 48.3359 | 37.0482
2020-10-18 04:15:00 | 7.558 | 164 | 8.49 | 172.8 | 9.0843 | 162.778 | 9.13 | 174.2 | 11.6 | 977.894 | 50.8278 | 38.2712
2020-10-18 04:30:00 | 8.97 | 160.2 | 9.71 | 172.1 | 10.3897 | 162.118 | 10.23 | 170.9 | 11.55 | 977.865 | 51.886 | 42.6976
2020-10-18 04:45:00 | 7.081 | 156 | 8.09 | 167.7 | 8.6563 | 157.973 | 9.13 | 168.6 | 11.2 | 977.568 | 53.388 | 36.8191
2020-10-18 05:00:00 | 7.545 | 155.2 | 8.33 | 166.1 | 8.9131 | 156.466 | 9.32 | 165.5 | 11.17 | 977.618 | 54.0769 | 41.4155
2020-10-18 05:15:00 | 7.047 | 152.4 | 8.2 | 166 | 8.774 | 156.372 | 9.4 | 161.6 | 10.88 | 977.686 | 54.3867 | 39.0213
2020-10-18 05:30:00 | 7.019 | 149.4 | 7.641 | 163.6 | 8.1759 | 154.111 | 8.92 | 159.8 | 10.72 | 977.827 | 54.6944 | 41.4599
2020-10-18 05:45:00 | 8.16 | 151.5 | 8.78 | 164 | 9.3946 | 154.488 | 9.51 | 162.1 | 10.83 | 978.118 | 53.1923 | 41.4192
2020-10-18 06:00:00 | 6.978 | 149 | 7.603 | 161.4 | 8.1352 | 152.039 | 8.64 | 159.4 | 10.88 | 978.41 | 52.7143 | 35.9435
2020-10-18 06:15:00 | 7.382 | 148.2 | 7.994 | 161.9 | 8.5536 | 152.51 | 8.84 | 159.6 | 11.09 | 978.415 | 52.8512 | 41.6815
2020-10-18 06:30:00 | 8.76 | 148.9 | 9.21 | 161.1 | 9.8547 | 151.756 | 9.2 | 157.6 | 11.19 | 978.385 | 52.3738 | 43.88
2020-10-18 06:45:00 | 7.374 | 146.3 | 8.15 | 161.2 | 8.7205 | 151.85 | 8.85 | 156.1 | 11.02 | 978.264 | 51.0072 | 41.5153
2020-10-18 07:00:00 | 8.03 | 147 | 8.43 | 161.6 | 9.0201 | 152.227 | 8.7 | 156.5 | 11.31 | 978.538 | 51.9639 | 35.0826
2020-10-18 07:15:00 | 7.79 | 147.4 | 7.905 | 164.7 | 8.4583 | 155.147 | 8.46 | 155.6 | 11.5 | 978.898 | 53.73 | 40.1112
2020-10-18 07:30:00 | 8.07 | 147.1 | 8.44 | 161.3 | 9.0308 | 151.945 | 8.85 | 156.8 | 11.38 | 979.175 | 54.5486 | 41.3195
2020-10-18 07:45:00 | 7.594 | 146.7 | 8.03 | 161.2 | 8.5921 | 151.85 | 8.34 | 154.3 | 11.42 | 979.601 | 54.3438 | 35.6405
2020-10-18 08:00:00 | 7.047 | 147.2 | 7.368 | 160.7 | 7.8838 | 151.379 | 8.12 | 155.7 | 11.73 | 980.047 | 53.7293 | 32.995
2020-10-18 08:15:00 | 7.563 | 149.2 | 7.836 | 163.5 | 8.3845 | 154.017 | 8.21 | 157.1 | 11.92 | 980.492 | 53.3118 | 27.6707
2020-10-18 08:30:00 | 7.525 | 148.7 | 7.833 | 162.1 | 8.3813 | 152.698 | 8.22 | 156.8 | 12.21 | 980.938 | 52.935 | 28.1769
2020-10-18 08:45:00 | 7.275 | 147.4 | 7.368 | 165.4 | 7.8838 | 155.807 | 7.775 | 154.3 | 12.38 | 981.086 | 52.4232 | 28.273
2020-10-18 09:00:00 | 7.129 | 150.1 | 7.166 | 167.5 | 7.6676 | 157.785 | 7.421 | 155.6 | 12.57 | 981.284 | 52.4149 | 25.391
2020-10-18 09:15:00 | 8.13 | 149.3 | 8.15 | 165.6 | 8.7205 | 155.995 | 7.494 | 156.5 | 12.63 | 981.401 | 52.619 | 23.3958
2020-10-18 09:30:00 | 7.218 | 148.1 | 7.156 | 163.8 | 7.6569 | 154.3 | 6.904 | 156.7 | 12.87 | 981.677 | 50.947 | 22.8009
2020-10-18 09:45:00 | 6.537 | 145.8 | 6.639 | 158.8 | 7.1037 | 149.59 | 6.078 | 156.1 | 13.35 | 981.677 | 50.844 | 19.4534
2020-10-18 10:00:00 | 6.57 | 146.3 | 6.506 | 162.2 | 6.9614 | 152.792 | 6.196 | 152.7 | 13.6 | 981.38 | 49.743 | 19.2834
2020-10-18 10:15:00 | 7.009 | 151 | 6.954 | 165.8 | 7.4408 | 156.184 | 6.786 | 158 | 13.78 | 981.38 | 49.6006 | 20.2662
2020-10-18 10:30:00 | 8.24 | 147.7 | 8.2 | 160.7 | 8.774 | 151.379 | 7.235 | 155.1 | 13.85 | 981.677 | 50.1451 | 25.0584
2020-10-18 10:45:00 | 6.851 | 152.8 | 6.729 | 171.9 | 7.2 | 161.93 | 6.555 | 157.9 | 14.39 | 981.677 | 49.8721 | 19.5494
2020-10-18 11:00:00 | 6.399 | 160.8 | 5.98 | 172.7 | 6.3986 | 162.683 | 5.605 | 168.9 | 15.04 | 981.677 | 48.03 | 20.9646
2020-10-18 11:15:00 | 7.129 | 165.6 | 6.78 | 181.6 | 7.2546 | 171.067 | 6.053 | 169.7 | 15.39 | 981.677 | 49.1898 | 19.2649
2020-10-18 11:30:00 | 6.677 | 167.5 | 6.327 | 189.9 | 6.7699 | 178.886 | 5.411 | 170.9 | 15.52 | 981.315 | 49.1898 | 20.1221
2020-10-18 11:45:00 | 7.617 | 148.6 | 7.56 | 162.8 | 8.0892 | 153.358 | 6.048 | 157.8 | 15.29 | 981.323 | 49.1898 | 18.9841
2020-10-18 12:00:00 | 6.866 | 156.7 | 6.621 | 173 | 7.0845 | 162.966 | 6.254 | 168.2 | 15.78 | 981.279 | 49.838 | 18.8548
2020-10-18 12:15:00 | 8.15 | 175.2 | 8 | 193.3 | 8.56 | 182.089 | 6.809 | 178.2 | 15.69 | 981.06 | 50.1109 | 20.2551
2020-10-18 12:30:00 | 7.732 | 182.6 | 7.462 | 198.9 | 7.9843 | 187.364 | 6.445 | 186.7 | 16.26 | 980.891 | 48.1324 | 24.8146
2020-10-18 12:45:00 | 7.548 | 159.4 | 7.716 | 171.9 | 8.2561 | 161.93 | 7.186 | 168.2 | 16.11 | 980.916 | 48.6782 | 18.0198
2020-10-18 13:00:00 | 6.018 | 155.3 | 6.274 | 169.8 | 6.7132 | 159.952 | 6.068 | 163.1 | 16.07 | 980.599 | 45.6763 | 16.5825
2020-10-18 13:15:00 | 5.873 | 155.8 | 5.946 | 172.9 | 6.3622 | 162.872 | 5.765 | 160.4 | 16.52 | 980.392 | 43.4931 | 15.6292
2020-10-18 13:30:00 | 6.018 | 171.7 | 5.734 | 191.5 | 6.1354 | 180.393 | 5.197 | 174.7 | 16.83 | 980.511 | 44.2095 | 11.8272
2020-10-18 13:45:00 | 5.52 | 148.3 | 5.865 | 162.6 | 6.2755 | 153.169 | 4.927 | 155.7 | 16.82 | 980.635 | 41.1374 | 9.9281
2020-10-18 14:00:00 | 5.914 | 164.9 | 5.629 | 178.6 | 6.023 | 168.241 | 4.769 | 174.2 | 17.33 | 980.486 | 41.8499 | 10.2236
2020-10-18 14:15:00 | 4.903 | 173.8 | 4.607 | 193.5 | 4.9295 | 182.277 | 4.181 | 172.8 | 17.51 | 980.486 | 41.6781 | 7.0756
2020-10-18 14:30:00 | 5.592 | 160.5 | 5.415 | 185.5 | 5.7941 | 174.741 | 5.055 | 162.2 | 17.2 | 980.486 | 42.3602 | 6.7468
2020-10-18 14:45:00 | 5.929 | 155.9 | 5.972 | 169.2 | 6.39 | 159.386 | 5.615 | 159.9 | 17.41 | 980.486 | 41.1324 | 8.4981
2020-10-18 15:00:00 | 6.024 | 161.2 | 5.767 | 175.4 | 6.1707 | 165.227 | 5.276 | 168.8 | 17.27 | 980.783 | 42.2238 | 11.1178
2020-10-18 15:15:00 | 6.963 | 182.2 | 6.67 | 196.3 | 7.1369 | 184.915 | 5.989 | 185.1 | 17.42 | 980.19 | 40.7231 | 7.7185
2020-10-18 15:30:00 | 6.641 | 171.3 | 6.279 | 185.7 | 6.7185 | 174.929 | 5.467 | 176.9 | 17.51 | 980.19 | 39.4952 | 4.988
2020-10-18 15:45:00 | 5.602 | 147 | 5.23 | 162.9 | 5.5961 | 153.452 | 3.916 | 155.2 | 17.32 | 980.19 | 40.7924 | 5.4351
2020-10-18 16:00:00 | 5.099 | 175 | 5.271 | 188 | 5.64 | 177.096 | 4.805 | 179.5 | 17.56 | 980.19 | 42.3618 | 6.817
2020-10-18 16:15:00 | 5.641 | 169.9 | 5.665 | 190.1 | 6.0616 | 179.074 | 5.299 | 173.3 | 17.32 | 980.19 | 41.2054 | 5.1617
2020-10-18 16:30:00 | 4.576 | 161.8 | 4.543 | 172.1 | 4.861 | 162.118 | 4.138 | 166 | 17.17 | 979.965 | 43.3908 | 3.9535
2020-10-18 16:45:00 | 4.53 | 165 | 4.336 | 176.2 | 4.6395 | 165.98 | 3.794 | 172.3 | 16.87 | 979.888 | 43.3908 | 3.414
2020-10-18 17:00:00 | 3.904 | 154.5 | 3.983 | 169.3 | 4.2618 | 159.481 | 3.723 | 160.1 | 16.64 | 979.45 | 44.6188 | 3.2773
2020-10-18 17:15:00 | 3.657 | 158.1 | 3.543 | 171.4 | 3.791 | 161.459 | 3.135 | 166.2 | 16.5 | 979.302 | 45.3705 | 3.7687
2020-10-18 17:30:00 | 3.381 | 167.9 | 3.4 | 181.5 | 3.638 | 170.973 | 3.241 | 172.5 | 16.17 | 979.302 | 46.7426 | 4.4301
2020-10-18 17:45:00 | 4.461 | 170.5 | 4.63 | 184.1 | 4.9541 | 173.422 | 4.494 | 175.2 | 16.19 | 979.302 | 46.0671 | 6.8281
2020-10-18 18:00:00 | 4.806 | 173.8 | 4.722 | 183.6 | 5.0525 | 172.951 | 4.932 | 180.4 | 16.11 | 979.302 | 46.3402 | 8.6681
2020-10-18 18:15:00 | 5.62 | 170.3 | 5.939 | 183.8 | 6.3547 | 173.14 | 5.862 | 175.5 | 16.02 | 979.516 | 46.8862 | 9.9576
2020-10-18 18:30:00 | 4.665 | 165.7 | 4.898 | 181.1 | 5.2409 | 170.596 | 4.777 | 169 | 15.72 | 979.612 | 49.6843 | 9.3258
2020-10-18 18:45:00 | 4.88 | 158.6 | 4.985 | 172.9 | 5.3339 | 162.872 | 5.368 | 167.1 | 15.44 | 979.88 | 48.3894 | 9.0561
2020-10-18 19:00:00 | 4.826 | 161.1 | 5.292 | 174.1 | 5.6624 | 164.002 | 5.472 | 168.1 | 15.47 | 979.895 | 48.3939 | 8.3541
2020-10-18 19:15:00 | 5.012 | 161.1 | 5.123 | 173.6 | 5.4816 | 163.531 | 5.5 | 170.4 | 15.42 | 980.195 | 47.6444 | 9.6657
2020-10-18 19:30:00 | 5.092 | 162.2 | 5.19 | 174.6 | 5.5533 | 164.473 | 5.2 | 171.8 | 15.42 | 980.195 | 47.9863 | 12.629
2020-10-18 19:45:00 | 5.298 | 157.2 | 5.701 | 170.2 | 6.1001 | 160.328 | 6.091 | 164.2 | 15.13 | 980.047 | 48.5666 | 17.6872
2020-10-18 20:00:00 | 5.738 | 155.3 | 5.834 | 170.1 | 6.2424 | 160.234 | 5.702 | 161.6 | 15.04 | 980.195 | 48.0546 | 18.7181
2020-10-18 20:15:00 | 5.411 | 161.2 | 5.532 | 175.8 | 5.9192 | 165.604 | 5.816 | 163.5 | 14.74 | 980.195 | 47.4743 | 18.1417
2020-10-18 20:30:00 | 6.475 | 159.3 | 6.235 | 174.9 | 6.6715 | 164.756 | 6.483 | 165 | 14.83 | 980.195 | 46.4823 | 18.441
2020-10-18 20:45:00 | 4.931 | 158.1 | 4.939 | 174.9 | 5.2847 | 164.756 | 5.414 | 163.7 | 14.49 | 980.344 | 45.3909 | 17.3325
2020-10-18 21:00:00 | 5.551 | 152.3 | 5.765 | 166.4 | 6.1685 | 156.749 | 6.162 | 159.4 | 14.33 | 980.195 | 47.1669 | 19.9669
2020-10-18 21:15:00 | 5.339 | 149.5 | 6.133 | 165.7 | 6.5623 | 156.089 | 6.44 | 156.7 | 14.02 | 979.898 | 47.3037 | 18.8142
2020-10-18 21:30:00 | 4.933 | 144.1 | 5.655 | 162.7 | 6.0508 | 153.263 | 6.863 | 150 | 13.78 | 979.601 | 47.3101 | 21.3821
2020-10-18 21:45:00 | 6.024 | 147.4 | 6.539 | 165.5 | 6.9967 | 155.901 | 7.915 | 154.7 | 13.54 | 979.75 | 47.107 | 17.4877
2020-10-18 22:00:00 | 6.835 | 155.6 | 7.411 | 169.3 | 7.9298 | 159.481 | 7.612 | 162 | 13.66 | 979.75 | 44.9906 | 16.0172
2020-10-18 22:15:00 | 5.998 | 157.7 | 6.585 | 170.8 | 7.046 | 160.894 | 6.835 | 165.2 | 13.63 | 979.898 | 43.6935 | 15.0454
2020-10-18 22:30:00 | 6.603 | 167.5 | 6.616 | 180.3 | 7.0791 | 169.843 | 6.626 | 173.8 | 13.9 | 980.047 | 42.2598 | 24.1975
2020-10-18 22:45:00 | 6.81 | 163 | 6.695 | 179.2 | 7.1636 | 168.806 | 7.186 | 169.3 | 13.49 | 980.047 | 43.1473 | 21.0237
2020-10-18 23:00:00 | 6.601 | 166.4 | 6.685 | 180.4 | 7.1529 | 169.937 | 7.764 | 172.8 | 13.53 | 979.75 | 43.5569 | 21.371
2020-10-18 23:15:00 | 6.907 | 157.1 | 7.204 | 170.5 | 7.7083 | 160.611 | 8.08 | 166.6 | 13.21 | 979.601 | 47.107 | 22.2725
2020-10-18 23:30:00 | 7.045 | 158.2 | 7.148 | 169.1 | 7.6484 | 159.292 | 7.843 | 166 | 12.94 | 979.601 | 46.9022 | 15.6735
2020-10-18 23:45:00 | 6.355 | 159.8 | 6.529 | 169.9 | 6.986 | 160.046 | 7.117 | 166.6 | 12.97 | 979.601 | 45.4685 | 12.3519