## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-19 00:00:00 | 6.654 | 158 | 6.639 | 167.5 | 7.1037 | 157.785 | 7.512 | 166.1 | 13.01 | 979.601 | 46.0829 | 11.0513
2020-10-19 00:15:00 | 5.852 | 160.3 | 6.412 | 168.8 | 6.8608 | 159.01 | 6.85 | 168.9 | 13.03 | 979.601 | 45.9464 | 9.2962
2020-10-19 00:30:00 | 5.73 | 155.1 | 6.182 | 163.8 | 6.6147 | 154.3 | 6.506 | 164.3 | 13.03 | 979.601 | 44.7858 | 8.003
2020-10-19 00:45:00 | 5.227 | 159.6 | 5.77 | 167.1 | 6.1739 | 157.408 | 6.488 | 169.3 | 13.06 | 979.601 | 43.83 | 6.4697
2020-10-19 01:00:00 | 4.183 | 160.9 | 4.908 | 167.2 | 5.2516 | 157.502 | 6.101 | 172 | 13.18 | 979.898 | 44.0348 | 5.5571
2020-10-19 01:15:00 | 3.248 | 159.4 | 4.249 | 165.6 | 4.5464 | 155.995 | 5.564 | 172.8 | 13.07 | 979.898 | 45.1954 | 5.4462
2020-10-19 01:30:00 | 2.893 | 171.6 | 4.354 | 180.8 | 4.6588 | 170.314 | 4.703 | 182.6 | 12.93 | 979.898 | 44.8541 | 6.0041
2020-10-19 01:45:00 | 3.616 | 180.2 | 4.369 | 189.3 | 4.6748 | 178.321 | 4.828 | 187.4 | 13.25 | 979.898 | 44.5127 | 6.9722
2020-10-19 02:00:00 | 3.733 | 171.7 | 4.786 | 179.8 | 5.121 | 169.372 | 4.571 | 183.5 | 13.22 | 979.601 | 45.1272 | 8.8713
2020-10-19 02:15:00 | 3.731 | 171.6 | 5.346 | 179.2 | 5.7202 | 168.806 | 5.732 | 183.4 | 13.2 | 979.601 | 44.1714 | 7.2197
2020-10-19 02:30:00 | 3.164 | 166.7 | 4.77 | 174.7 | 5.1039 | 164.567 | 5.439 | 178.3 | 13.24 | 979.601 | 43.6935 | 6.4143
2020-10-19 02:45:00 | 3.955 | 163.8 | 4.734 | 171.6 | 5.0654 | 161.647 | 5.404 | 177.1 | 13.42 | 979.601 | 43.2497 | 7.2715
2020-10-19 03:00:00 | 3.289 | 166.9 | 4.558 | 177.6 | 4.8771 | 167.299 | 5.449 | 177.4 | 13 | 979.601 | 41.9184 | 6.4992
2020-10-19 03:15:00 | 2.827 | 160.4 | 3.801 | 166.4 | 4.0671 | 156.749 | 4.795 | 170.9 | 13.26 | 979.601 | 42.9425 | 4.1087
2020-10-19 03:30:00 | 1.32 | 161.2 | 2.758 | 168.4 | 2.9511 | 158.633 | 3.853 | 170.3 | 13.22 | 979.601 | 41.5088 | 4.371
2020-10-19 03:45:00 | 3.812 | 177.4 | 3.868 | 188.4 | 4.1388 | 177.473 | 4.334 | 185.3 | 13.59 | 979.601 | 40.0751 | 5.2467
2020-10-19 04:00:00 | 3.041 | 172.1 | 4.154 | 179.7 | 4.4448 | 169.277 | 4.859 | 181.7 | 13.57 | 979.601 | 41.3381 | 5.0804
2020-10-19 04:15:00 | 2.745 | 169.1 | 3.835 | 179.1 | 4.1034 | 168.712 | 4.337 | 180.3 | 13.43 | 979.601 | 40.8943 | 5.3686
2020-10-19 04:30:00 | 2.536 | 166.4 | 3.676 | 180.5 | 3.9333 | 170.031 | 4.528 | 179 | 13.28 | 979.75 | 41.9184 | 5.2504
2020-10-19 04:45:00 | 2.311 | 165.5 | 3.589 | 174.1 | 3.8402 | 164.002 | 4.596 | 177.5 | 13.28 | 979.75 | 42.3963 | 6.6914
2020-10-19 05:00:00 | 2.799 | 167.2 | 3.745 | 174.7 | 4.0072 | 164.567 | 4.609 | 178.6 | 13.03 | 979.75 | 42.055 | 7.3934
2020-10-19 05:15:00 | 2.208 | 163.9 | 3.676 | 173.6 | 3.9333 | 163.531 | 4.808 | 174.4 | 12.94 | 979.601 | 41.8501 | 6.4253
2020-10-19 05:30:00 | 1.868 | 156.9 | 3.17 | 164 | 3.3919 | 154.488 | 3.858 | 168.9 | 12.95 | 979.601 | 41.1674 | 7.3712
2020-10-19 05:45:00 | 2.109 | 158.5 | 3.325 | 172.4 | 3.5577 | 162.401 | 4.39 | 167.6 | 12.99 | 979.898 | 41.8501 | 11.0735
2020-10-19 06:00:00 | 2.898 | 152.9 | 4.136 | 166.6 | 4.4255 | 156.937 | 4.286 | 161.2 | 12.74 | 979.773 | 43.2156 | 11.8678
2020-10-19 06:15:00 | 6.115 | 152.6 | 6.363 | 167.3 | 6.8084 | 157.597 | 5.796 | 163.7 | 12.5 | 979.948 | 41.8501 | 15.6218
2020-10-19 06:30:00 | 5.952 | 154.7 | 6.105 | 167.7 | 6.5324 | 157.973 | 6.348 | 164.1 | 12.57 | 979.899 | 42.1915 | 15.4814
2020-10-19 06:45:00 | 5.526 | 150.6 | 5.609 | 162.1 | 6.0016 | 152.698 | 5.895 | 162.9 | 12.72 | 980.065 | 41.0309 | 13.7448
2020-10-19 07:00:00 | 5.475 | 157.7 | 5.941 | 166.4 | 6.3569 | 156.749 | 5.88 | 168.8 | 13.02 | 980.225 | 40.7578 | 14.5614
2020-10-19 07:15:00 | 5.071 | 151.4 | 5.448 | 162 | 5.8294 | 152.604 | 5.724 | 162.3 | 13.13 | 980.789 | 40.8943 | 13.6303
2020-10-19 07:30:00 | 5.429 | 150.6 | 5.775 | 159.6 | 6.1792 | 150.343 | 5.709 | 162.3 | 13.06 | 980.938 | 39.9386 | 13.7818
2020-10-19 07:45:00 | 5.324 | 150.8 | 6.015 | 161.2 | 6.436 | 151.85 | 6.02 | 162.1 | 13.37 | 981.235 | 40.1018 | 15.7105
2020-10-19 08:00:00 | 6.378 | 151.7 | 6.798 | 162.7 | 7.2739 | 153.263 | 6.376 | 160.8 | 13.46 | 981.383 | 41.2962 | 19.4681
2020-10-19 08:15:00 | 6.021 | 148.1 | 6.371 | 163.8 | 6.817 | 154.3 | 6.241 | 154.9 | 13.39 | 981.928 | 42.9973 | 13.3643
2020-10-19 08:30:00 | 5.056 | 152.2 | 5.622 | 163.4 | 6.0155 | 153.923 | 5.518 | 160.6 | 13.66 | 981.829 | 40.3344 | 10.6079
2020-10-19 08:45:00 | 4.895 | 148.8 | 4.982 | 161.8 | 5.3307 | 152.416 | 4.846 | 157.3 | 14.32 | 982.27 | 40.0595 | 7.7333
2020-10-19 09:00:00 | 4.18 | 151.3 | 4.159 | 164.4 | 4.4726 | 158.444 | 4.176 | 159 | 14.76 | 982.716 | 38.3432 | 6.5547
2020-10-19 09:15:00 | 5.204 | 152.1 | 4.903 | 165.8 | 5.2462 | 156.184 | 4.403 | 154.3 | 14.86 | 982.864 | 39.0244 | 6.0226
2020-10-19 09:30:00 | 4.895 | 146.2 | 4.724 | 161.4 | 5.0547 | 152.039 | 4.27 | 153.9 | 14.72 | 982.942 | 39.6384 | 5.7455
2020-10-19 09:45:00 | 4.821 | 146.1 | 4.607 | 158.2 | 4.9295 | 149.024 | 3.909 | 155.3 | 15.14 | 982.865 | 39.0922 | 5.4573
2020-10-19 10:00:00 | 4.918 | 143.9 | 4.811 | 158.1 | 5.1478 | 148.93 | 4.39 | 154.6 | 15.23 | 983.157 | 38.9496 | 6.5251
2020-10-19 10:15:00 | 4.897 | 153.7 | 4.532 | 162.6 | 4.8492 | 153.169 | 3.715 | 159.6 | 15.43 | 983.009 | 40.3479 | 4.4634
2020-10-19 10:30:00 | 4.854 | 148.3 | 4.627 | 163.9 | 4.9509 | 154.394 | 4.158 | 155.9 | 15.83 | 983.157 | 40.4502 | 5.7381
2020-10-19 10:45:00 | 5.572 | 140.8 | 5.299 | 153.4 | 5.6699 | 144.503 | 4.472 | 151.2 | 15.72 | 983.157 | 40.3132 | 6.1297
2020-10-19 11:00:00 | 4.239 | 142.7 | 4.09 | 158.4 | 4.3763 | 149.213 | 3.43 | 146.7 | 16.13 | 983.306 | 39.7674 | 2.6307
2020-10-19 11:15:00 | 3.8 | 139.6 | 3.679 | 156 | 3.9365 | 146.952 | 3.201 | 143.5 | 16.32 | 983.129 | 38.5698 | 2.3721
2020-10-19 11:30:00 | 4.277 | 143.4 | 4.295 | 160.9 | 4.5957 | 151.568 | 3.965 | 146.2 | 17.1 | 983.106 | 36.6582 | 1.8031
2020-10-19 11:45:00 | 5.025 | 198 | 4.691 | 207 | 5.0194 | 194.994 | 4.306 | 199.9 | 17.18 | 982.858 | 37.7835 | 1.2415
2020-10-19 12:00:00 | 4.144 | 188.1 | 4.261 | 206.9 | 4.5593 | 194.9 | 3.466 | 190.9 | 17.38 | 982.416 | 36.8969 | 0.12932
2020-10-19 12:15:00 | 4.126 | 188.8 | 4.008 | 202.1 | 4.2886 | 190.378 | 3.257 | 192.5 | 17.61 | 982.263 | 35.8056 | -0.31037
2020-10-19 12:30:00 | 4.285 | 181.8 | 4.106 | 202.5 | 4.3934 | 190.755 | 3.259 | 186 | 17.81 | 982.288 | 35.26 | -0.29559
2020-10-19 12:45:00 | 3.131 | 189.2 | 3.257 | 198 | 3.485 | 186.516 | 2.932 | 194.8 | 17.54 | 982.265 | 36.4194 | -0.2143
2020-10-19 13:00:00 | 2.407 | 178.7 | 2.702 | 182.1 | 2.8911 | 171.538 | 2.252 | 180.4 | 17.57 | 982.412 | 35.1577 | -0.2882
2020-10-19 13:15:00 | 2.561 | 192.8 | 2.932 | 210.8 | 3.1372 | 198.574 | 2.437 | 198.1 | 18.22 | 982.263 | 34.578 | -0.26972
2020-10-19 13:30:00 | 4.885 | 182.2 | 4.302 | 197.8 | 4.6031 | 186.328 | 3.371 | 187.5 | 18.65 | 982.412 | 33.7255 | -0.24016
2020-10-19 13:45:00 | 2.665 | 187.1 | 2.671 | 195.4 | 2.858 | 184.067 | 1.801 | 201.8 | 18.63 | 982.115 | 33.9983 | -0.25125
2020-10-19 14:00:00 | 3.616 | 149.2 | 3.213 | 166.5 | 3.4379 | 156.843 | 2.187 | 154 | 18.53 | 982.56 | 31.4743 | -0.25125
2020-10-19 14:15:00 | 2.765 | 165.9 | 3.029 | 179.3 | 3.241 | 168.901 | 2.875 | 174.6 | 18.87 | 982.857 | 31.0287 | -0.26972
2020-10-19 14:30:00 | 3.697 | 166.2 | 3.63 | 180.5 | 3.8841 | 170.031 | 3.163 | 172.8 | 19.06 | 982.412 | 29.9352 | -0.26972
2020-10-19 14:45:00 | 4.382 | 194.8 | 4.123 | 207.7 | 4.4116 | 195.653 | 3.448 | 199.1 | 18.94 | 982.115 | 29.3557 | -0.17735
2020-10-19 15:00:00 | 4.305 | 171.8 | 4.141 | 188.7 | 4.4309 | 177.755 | 3.488 | 179.3 | 18.91 | 982.263 | 27.7873 | -0.25125
2020-10-19 15:15:00 | 4.236 | 179.2 | 3.824 | 198.3 | 4.0917 | 186.799 | 3.183 | 180.2 | 19.16 | 982.263 | 23.0831 | -0.25125
2020-10-19 15:30:00 | 4.328 | 158.7 | 4.331 | 174.4 | 4.6342 | 164.285 | 3.641 | 164.2 | 19.19 | 982.263 | 21.5831 | -0.1404
2020-10-19 15:45:00 | 4.267 | 155.5 | 3.944 | 169.8 | 4.2201 | 159.952 | 3.387 | 163.3 | 18.64 | 982.56 | 24.7562 | -0.10346
2020-10-19 16:00:00 | 4.683 | 145.3 | 4.438 | 159.1 | 4.7487 | 149.872 | 4.077 | 151.5 | 18.57 | 982.263 | 30.5536 | 0.50619
2020-10-19 16:15:00 | 4.402 | 151.9 | 4.267 | 168 | 4.5657 | 158.256 | 3.621 | 156.8 | 18.23 | 982.412 | 34.1688 | 2.4164
2020-10-19 16:30:00 | 4.149 | 173 | 3.99 | 189.2 | 4.2693 | 178.226 | 3.636 | 177.3 | 18.13 | 981.764 | 33.896 | 1.925
2020-10-19 16:45:00 | 3.605 | 180.3 | 3.576 | 197.2 | 3.8263 | 185.762 | 2.77 | 179.3 | 18.04 | 981.521 | 34.515 | 1.5925
2020-10-19 17:00:00 | 3.948 | 171.8 | 3.988 | 186.7 | 4.2672 | 175.871 | 3.695 | 176.2 | 17.71 | 981.08 | 35.8129 | 3.9941
2020-10-19 17:15:00 | 4.775 | 173.5 | 4.696 | 190.7 | 5.0247 | 179.639 | 4.128 | 175.5 | 17.59 | 980.878 | 37.3529 | 5.1876
2020-10-19 17:30:00 | 3.463 | 172.7 | 3.929 | 187 | 4.204 | 176.154 | 3.751 | 172.4 | 17.34 | 980.637 | 38.7515 | 5.025
2020-10-19 17:45:00 | 4.627 | 162.4 | 4.517 | 178.1 | 4.8332 | 167.77 | 4.823 | 166.3 | 17.2 | 980.489 | 38.7524 | 5.4795
2020-10-19 18:00:00 | 4.497 | 173 | 5.013 | 187.9 | 5.3639 | 177.002 | 4.736 | 173.3 | 17.19 | 980.489 | 39.6108 | 6.2923
2020-10-19 18:15:00 | 3.922 | 164.4 | 4.131 | 179.8 | 4.4202 | 169.372 | 4.242 | 170 | 16.99 | 980.637 | 40.3343 | 7.2973
2020-10-19 18:30:00 | 4.571 | 161.5 | 4.423 | 175.7 | 4.7326 | 165.509 | 4.629 | 165.5 | 16.75 | 980.489 | 40.4368 | 7.5966
2020-10-19 18:45:00 | 5.007 | 163.4 | 4.965 | 176.4 | 5.3125 | 166.169 | 4.823 | 168.5 | 16.72 | 980.637 | 39.6519 | 9.4071
2020-10-19 19:00:00 | 5.24 | 161.3 | 5.448 | 174 | 5.8294 | 163.908 | 5.106 | 166 | 16.43 | 980.489 | 40.6756 | 9.6288
2020-10-19 19:15:00 | 5.015 | 158.4 | 5.514 | 171 | 5.9 | 161.082 | 5.241 | 164.8 | 16.12 | 980.514 | 42.3818 | 8.9637
2020-10-19 19:30:00 | 5.028 | 161.9 | 5.282 | 174.4 | 5.6517 | 164.285 | 5.078 | 168.8 | 16.22 | 980.969 | 40.6756 | 10.6929
2020-10-19 19:45:00 | 5.842 | 155.1 | 6.115 | 170.3 | 6.5431 | 160.423 | 6.216 | 160.4 | 16.01 | 981.062 | 42.1774 | 14.5392
2020-10-19 20:00:00 | 4.433 | 168.6 | 4.336 | 180.3 | 4.6395 | 169.843 | 4.601 | 170.1 | 15.75 | 981.086 | 43.8874 | 13.0945
2020-10-19 20:15:00 | 4.739 | 165.8 | 4.614 | 177.2 | 4.937 | 166.922 | 4.184 | 169.1 | 15.76 | 981.086 | 44.6754 | 11.9972
2020-10-19 20:30:00 | 5.132 | 162.8 | 4.965 | 169.3 | 5.3125 | 159.481 | 4.558 | 170.6 | 15.66 | 981.086 | 45.051 | 12.3703
2020-10-19 20:45:00 | 5.153 | 165.3 | 4.683 | 172.3 | 5.0108 | 162.307 | 4.454 | 169.9 | 15.49 | 980.937 | 45.733 | 11.7644
2020-10-19 21:00:00 | 4.721 | 164 | 4.561 | 174.8 | 4.8803 | 164.662 | 5.207 | 168.7 | 15.36 | 980.789 | 46.0067 | 12.5883
2020-10-19 21:15:00 | 5.628 | 161.7 | 5.691 | 174.1 | 6.0894 | 164.002 | 5.269 | 167.1 | 15.14 | 980.789 | 46.8937 | 14.2067
2020-10-19 21:30:00 | 3.897 | 172.7 | 3.691 | 185.8 | 3.9494 | 175.024 | 4.046 | 172.9 | 15.01 | 981.086 | 46.5525 | 16.3792
2020-10-19 21:45:00 | 3.856 | 170.1 | 4.057 | 180.8 | 4.341 | 170.314 | 4.472 | 176.6 | 15.1 | 981.234 | 46.2796 | 17.5357
2020-10-19 22:00:00 | 3.787 | 161.5 | 3.98 | 175.3 | 4.2586 | 165.133 | 3.962 | 165.5 | 14.87 | 980.937 | 46.6201 | 14.8681
2020-10-19 22:15:00 | 4.203 | 161.1 | 4.233 | 172.1 | 4.5293 | 162.118 | 4.553 | 167.3 | 14.65 | 980.789 | 47.3033 | 15.4371
2020-10-19 22:30:00 | 4.859 | 156.6 | 4.793 | 170.6 | 5.1285 | 160.705 | 5.23 | 164.5 | 14.58 | 980.789 | 47.6446 | 17.9348
2020-10-19 22:45:00 | 4.057 | 163.4 | 4.584 | 174.2 | 4.9049 | 164.096 | 4.263 | 168.5 | 14.6 | 980.937 | 47.9863 | 16.2019
2020-10-19 23:00:00 | 3.526 | 163.6 | 3.269 | 171.5 | 3.4978 | 161.553 | 3.557 | 169.3 | 14.54 | 980.789 | 48.6009 | 16.1539
2020-10-19 23:15:00 | 3.593 | 180.2 | 4.149 | 192.4 | 4.4394 | 181.241 | 4.423 | 181.4 | 14.63 | 980.789 | 48.1237 | 17.9126
2020-10-19 23:30:00 | 5.046 | 181.9 | 5.524 | 194.9 | 5.9107 | 183.596 | 5.908 | 184.8 | 14.43 | 980.789 | 47.6489 | 21.6703
2020-10-19 23:45:00 | 8.62 | 174.7 | 8.87 | 187.7 | 9.4909 | 176.813 | 9.05 | 180.4 | 15.15 | 981.086 | 42.8007 | 23.8687