## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-20 00:00:00 | 9.27 | 175.4 | 9.36 | 189 | 10.0152 | 178.038 | 9.49 | 180.6 | 15.48 | 981.383 | 40.204 | 23.4992
2020-10-20 00:15:00 | 8.51 | 175.6 | 9.07 | 187.3 | 9.7049 | 176.437 | 9.83 | 181.6 | 15.47 | 981.531 | 41.7062 | 23.1778
2020-10-20 00:30:00 | 7.66 | 173.3 | 7.744 | 183.8 | 8.2861 | 173.14 | 8.32 | 180 | 15.07 | 981.68 | 42.8669 | 20.7096
2020-10-20 00:45:00 | 6.491 | 170.6 | 6.913 | 183.6 | 7.3969 | 172.951 | 7.283 | 176.1 | 15.28 | 981.68 | 41.7745 | 17.3177
2020-10-20 01:00:00 | 6.774 | 167.5 | 6.744 | 181.5 | 7.2161 | 170.973 | 6.789 | 172.8 | 15.17 | 981.383 | 43.0711 | 23.3034
2020-10-20 01:15:00 | 6.57 | 163.6 | 6.67 | 175.2 | 7.1369 | 165.038 | 7.739 | 170.4 | 13.93 | 981.383 | 48.0538 | 22.1136
2020-10-20 01:30:00 | 7.052 | 163.7 | 7.769 | 176.2 | 8.3128 | 165.98 | 8.16 | 168.6 | 13.89 | 980.937 | 48.1219 | 21.5114
2020-10-20 01:45:00 | 7.001 | 165 | 7.204 | 178.6 | 7.7083 | 168.241 | 7.68 | 169.6 | 13.94 | 980.937 | 46.93 | 22.9376
2020-10-20 02:00:00 | 7.576 | 166.4 | 7.969 | 179.3 | 8.5268 | 168.901 | 8.42 | 175 | 14.03 | 980.789 | 46.2513 | 24.4266
2020-10-20 02:15:00 | 7.364 | 166.2 | 7.59 | 177.7 | 8.1213 | 167.393 | 8.86 | 173.4 | 14.06 | 980.789 | 47.9938 | 22.5755
2020-10-20 02:30:00 | 7.956 | 165.8 | 8.15 | 174.7 | 8.7205 | 164.567 | 8.55 | 175 | 13.76 | 980.789 | 49.9744 | 23.1223
2020-10-20 02:45:00 | 7.704 | 163.4 | 8.12 | 173 | 8.6884 | 162.966 | 8.28 | 177.2 | 13.54 | 980.789 | 51.2033 | 24.5227
2020-10-20 03:00:00 | 7.849 | 169.5 | 8.5 | 175.2 | 9.095 | 165.038 | 9.09 | 181.4 | 13.58 | 980.195 | 49.5648 | 23.998
2020-10-20 03:15:00 | 7.573 | 169.7 | 7.792 | 176.7 | 8.3374 | 166.451 | 8.51 | 182.1 | 13.52 | 980.195 | 50.4523 | 22.1469
2020-10-20 03:30:00 | 7.139 | 163.3 | 7.769 | 174.4 | 8.3128 | 164.285 | 8.48 | 176.4 | 13.49 | 980.047 | 52.2615 | 23.1039
2020-10-20 03:45:00 | 7.019 | 159.3 | 7.475 | 169.6 | 7.9982 | 159.763 | 8.2 | 169 | 12.92 | 979.601 | 53.4562 | 20.7429
2020-10-20 04:00:00 | 7.198 | 160 | 7.884 | 168.1 | 8.4359 | 158.35 | 8.47 | 170.2 | 12.52 | 979.601 | 54.0024 | 22.6346
2020-10-20 04:15:00 | 7.162 | 155.5 | 7.864 | 164.4 | 8.4145 | 154.865 | 8.16 | 165.2 | 12.54 | 979.601 | 54.412 | 20.9793
2020-10-20 04:30:00 | 7.114 | 155.5 | 7.577 | 168.3 | 8.1074 | 158.539 | 8.09 | 165.5 | 12.52 | 979.601 | 54.0024 | 18.7329
2020-10-20 04:45:00 | 6.021 | 156.9 | 6.918 | 169.7 | 7.4023 | 159.857 | 7.866 | 163.9 | 12.64 | 979.601 | 53.149 | 15.5922
2020-10-20 05:00:00 | 6.138 | 155.4 | 6.325 | 171.8 | 6.7678 | 161.836 | 6.962 | 161 | 12.73 | 979.603 | 53.5928 | 16.8817
2020-10-20 05:15:00 | 6.092 | 158.9 | 6.984 | 171 | 7.4729 | 161.082 | 7.38 | 165.5 | 12.81 | 979.922 | 52.5687 | 16.9298
2020-10-20 05:30:00 | 7.405 | 161.1 | 7.943 | 172 | 8.499 | 162.024 | 7.897 | 170.9 | 12.87 | 979.75 | 53.5245 | 19.8081
2020-10-20 05:45:00 | 7.075 | 156.2 | 7.953 | 170.2 | 8.5097 | 160.328 | 8.51 | 165.6 | 12.38 | 979.472 | 55.2995 | 19.9743
2020-10-20 06:00:00 | 6.851 | 155 | 7.368 | 165.5 | 7.8838 | 155.901 | 8.09 | 166.1 | 12.25 | 979.321 | 55.1971 | 21.4671
2020-10-20 06:15:00 | 7.425 | 158.5 | 8.37 | 168.7 | 8.9559 | 158.915 | 8.49 | 167.9 | 12.36 | 979.626 | 54.2755 | 20.3069
2020-10-20 06:30:00 | 7.211 | 156.7 | 7.79 | 171.8 | 8.3353 | 161.836 | 8.56 | 165.5 | 12.09 | 979.645 | 56.1188 | 22.3464
2020-10-20 06:45:00 | 6.971 | 157.5 | 7.933 | 171.5 | 8.4883 | 161.553 | 8.52 | 164.3 | 12.14 | 979.959 | 54.6851 | 23.1667
2020-10-20 07:00:00 | 6.733 | 157.3 | 7.966 | 170.5 | 8.5236 | 160.611 | 8.63 | 162.8 | 12.02 | 980.235 | 55.8457 | 24.8885
2020-10-20 07:15:00 | 7.497 | 157.3 | 8.23 | 170.7 | 8.8061 | 160.799 | 8.36 | 164.4 | 11.78 | 980.796 | 55.0265 | 28.0623
2020-10-20 07:30:00 | 7.484 | 156.4 | 8.13 | 169.8 | 8.6991 | 159.952 | 8.77 | 162.4 | 11.73 | 980.853 | 56.5284 | 29.847
2020-10-20 07:45:00 | 7.706 | 159.5 | 8.15 | 173.4 | 8.7205 | 163.343 | 9.32 | 163.9 | 11.66 | 980.79 | 53.2514 | 33.3681
2020-10-20 08:00:00 | 7.773 | 158.6 | 8.29 | 174.3 | 8.8703 | 164.191 | 9.23 | 163.3 | 12.01 | 981.086 | 52.7735 | 34.2143
2020-10-20 08:15:00 | 7.464 | 158.6 | 7.641 | 171.5 | 8.1759 | 161.553 | 8.37 | 165.2 | 12.34 | 981.532 | 50.7595 | 37.1369
2020-10-20 08:30:00 | 7.854 | 157.2 | 7.841 | 173.6 | 8.3899 | 163.531 | 8.38 | 161.7 | 12.38 | 981.383 | 52.0225 | 34.4914
2020-10-20 08:45:00 | 8.04 | 155.8 | 8.24 | 169.7 | 8.8168 | 159.857 | 8.15 | 161.7 | 12.37 | 981.383 | 51.9517 | 30.2386
2020-10-20 09:00:00 | 7.333 | 154.4 | 7.409 | 168.4 | 7.9276 | 158.633 | 6.57 | 161 | 12.81 | 981.532 | 50.1367 | 26.0487
2020-10-20 09:15:00 | 8.21 | 153.6 | 7.987 | 168.9 | 8.5461 | 159.104 | 7.64 | 158.6 | 13.23 | 981.532 | 50.3411 | 31.5412
2020-10-20 09:30:00 | 7.614 | 153.6 | 7.508 | 166.6 | 8.0336 | 156.937 | 6.842 | 161.2 | 13.5 | 981.459 | 51.46 | 33.9335
2020-10-20 09:45:00 | 7.647 | 149.5 | 7.795 | 165.9 | 8.3407 | 156.278 | 8.01 | 154 | 13.32 | 980.889 | 53.3015 | 32.3077
2020-10-20 10:00:00 | 7.533 | 149.3 | 7.616 | 165.5 | 8.1491 | 155.901 | 8.25 | 156.5 | 13.36 | 981.092 | 55.3489 | 25.8713
2020-10-20 10:15:00 | 6.984 | 149.6 | 7.143 | 167.9 | 7.643 | 158.162 | 6.59 | 153.8 | 13.62 | 981.149 | 53.9157 | 21.94
2020-10-20 10:30:00 | 7.711 | 157.5 | 7.335 | 174.3 | 7.8484 | 164.191 | 6.812 | 160.5 | 14.66 | 981.384 | 48.7971 | 20.9793
2020-10-20 10:45:00 | 6.989 | 170.9 | 6.736 | 185 | 7.2075 | 174.27 | 6.55 | 174.1 | 15.29 | 981.231 | 48.4469 | 25.1545
2020-10-20 11:00:00 | 7.022 | 161.3 | 6.639 | 178.2 | 7.1037 | 167.864 | 6.473 | 163.6 | 15.38 | 981.38 | 48.9185 | 19.8155
2020-10-20 11:15:00 | 7.295 | 165.7 | 6.841 | 181.6 | 7.3199 | 171.067 | 6.124 | 167.6 | 15.68 | 981.528 | 48.5076 | 23.0152
2020-10-20 11:30:00 | 7.668 | 164.2 | 7.437 | 180.8 | 7.9576 | 170.314 | 6.399 | 172 | 15.76 | 981.38 | 45.6081 | 26.7248
2020-10-20 11:45:00 | 8.12 | 177.4 | 7.511 | 196.8 | 8.0368 | 185.386 | 6.443 | 177.8 | 15.98 | 981.231 | 47.7571 | 30.8704
2020-10-20 12:00:00 | 8.95 | 183.7 | 8.12 | 199.2 | 8.6884 | 187.646 | 6.898 | 182 | 16.11 | 981.074 | 48.03 | 31.2436
2020-10-20 12:15:00 | 9.19 | 150.4 | 9.31 | 160.9 | 9.9617 | 151.568 | 8.21 | 162.4 | 16.62 | 980.802 | 46.3244 | 41.1199
2020-10-20 12:30:00 | 9.38 | 162.6 | 9.82 | 174.3 | 10.5074 | 164.191 | 8.97 | 171.8 | 16.72 | 980.538 | 44.994 | 45.8493
2020-10-20 12:45:00 | 8.59 | 167.6 | 8.38 | 180.1 | 8.9666 | 169.654 | 7.507 | 173.4 | 17.03 | 980.19 | 44.0383 | 41.0277
2020-10-20 13:00:00 | 8.1 | 154.4 | 7.823 | 168.1 | 8.3706 | 158.35 | 7.146 | 161.1 | 16.65 | 980.19 | 44.6865 | 37.8906
2020-10-20 13:15:00 | 8.2 | 175.4 | 7.877 | 191.4 | 8.4284 | 180.299 | 7.069 | 174.7 | 17.08 | 979.304 | 43.3225 | 38.7183
2020-10-20 13:30:00 | 8.19 | 167.6 | 7.544 | 190.6 | 8.0721 | 179.545 | 6.832 | 168.5 | 17.24 | 979.161 | 42.4356 | 38.0865
2020-10-20 13:45:00 | 9.19 | 149.8 | 9.47 | 165.9 | 10.1329 | 156.278 | 8.81 | 157.1 | 16.93 | 979.004 | 42.3674 | 41.8389
2020-10-20 14:00:00 | 8.42 | 154.2 | 8.78 | 165.9 | 9.3946 | 156.278 | 7.948 | 163.3 | 16.93 | 979.096 | 43.2543 | 33.3349
2020-10-20 14:15:00 | 8.43 | 167.3 | 7.894 | 180.5 | 8.4466 | 170.031 | 6.57 | 171.4 | 16.85 | 979.349 | 41.6169 | 30.2386
2020-10-20 14:30:00 | 8.37 | 149.7 | 8.39 | 167.1 | 8.9773 | 157.408 | 8.05 | 157.3 | 17.14 | 978.602 | 41.2758 | 44.6781
2020-10-20 14:45:00 | 10.51 | 153.1 | 10.32 | 167.5 | 11.0424 | 157.785 | 9.11 | 159.4 | 17.01 | 978.697 | 39.8431 | 45.7422
2020-10-20 15:00:00 | 9.19 | 155.5 | 9.3 | 170.9 | 9.951 | 160.988 | 8.42 | 161.9 | 17.23 | 978.262 | 40.4571 | 52.4262
2020-10-20 15:15:00 | 8.49 | 153.8 | 8.71 | 170.9 | 9.3197 | 160.988 | 8.35 | 159.2 | 17.01 | 978.114 | 40.8664 | 48.3053
2020-10-20 15:30:00 | 9.23 | 151.3 | 9.66 | 165.6 | 10.3362 | 155.995 | 9.14 | 159.3 | 16.91 | 977.817 | 40.8664 | 60.036
2020-10-20 15:45:00 | 9.58 | 154.8 | 9.94 | 168.7 | 10.6358 | 158.915 | 9.53 | 160.5 | 16.82 | 977.52 | 43.1869 | 55.5327
2020-10-20 16:00:00 | 10.43 | 151.4 | 10.69 | 167.2 | 11.4383 | 157.502 | 10.6 | 157.2 | 16.81 | 977.52 | 43.5282 | 50.1132
2020-10-20 16:15:00 | 8.6 | 160.6 | 8.51 | 176.9 | 9.1057 | 166.64 | 7.367 | 166.4 | 16.72 | 977.223 | 44.006 | 48.6944
2020-10-20 16:30:00 | 7.933 | 163.9 | 7.802 | 176.5 | 8.3481 | 166.263 | 7.426 | 165.7 | 16.54 | 977.52 | 44.2106 | 41.1162
2020-10-20 16:45:00 | 7.594 | 165.7 | 7.174 | 176.8 | 7.6762 | 166.546 | 6.855 | 171.7 | 16.47 | 976.927 | 43.5342 | 51.2734
2020-10-20 17:00:00 | 8.1 | 162.2 | 7.887 | 183.3 | 8.4391 | 172.669 | 7.627 | 165.5 | 16.38 | 976.927 | 44.3596 | 48.168
2020-10-20 17:15:00 | 7.995 | 157.7 | 8.03 | 173.7 | 8.5921 | 163.625 | 8.08 | 162.9 | 16.17 | 976.778 | 46.3402 | 47.0982
2020-10-20 17:30:00 | 7.721 | 162.1 | 7.498 | 179.8 | 8.0229 | 169.372 | 7.377 | 168.6 | 16.12 | 976.778 | 47.3639 | 57.9684
2020-10-20 17:45:00 | 9.37 | 154 | 9.74 | 167.9 | 10.4218 | 158.162 | 9.64 | 161.3 | 15.95 | 976.333 | 50.2986 | 63.4885
2020-10-20 18:00:00 | 10.11 | 155.5 | 10.36 | 168.7 | 11.0852 | 158.915 | 10.03 | 163.2 | 15.64 | 976.645 | 49.6843 | 64.6376
2020-10-20 18:15:00 | 9.52 | 158.4 | 10.05 | 172.1 | 10.7535 | 162.118 | 9.03 | 165.8 | 15.57 | 976.672 | 50.0256 | 58.5839
2020-10-20 18:30:00 | 8.53 | 150.7 | 8.58 | 167.5 | 9.1806 | 157.785 | 8.76 | 157.3 | 15.1 | 976.677 | 52.619 | 57.8391
2020-10-20 18:45:00 | 9.52 | 146.7 | 9.37 | 165.7 | 10.0259 | 156.089 | 10.77 | 153 | 15.05 | 976.32 | 52.2139 | 69.8621
2020-10-20 19:00:00 | 9.58 | 146.6 | 9.76 | 165.9 | 10.4432 | 156.278 | 10.95 | 152 | 14.88 | 976.332 | 53.7881 | 71.4177
2020-10-20 19:15:00 | 10.26 | 153.3 | 10.06 | 170.7 | 10.7642 | 160.799 | 10.2 | 156.1 | 15.03 | 976.631 | 54.3335 | 63.6437
2020-10-20 19:30:00 | 8.72 | 149.4 | 9.67 | 165.7 | 10.3469 | 156.089 | 10.8 | 156 | 14.84 | 976.483 | 55.2215 | 57.8169
2020-10-20 19:45:00 | 9.54 | 153.5 | 9.49 | 165.8 | 10.1543 | 156.184 | 9.85 | 159.6 | 14.9 | 976.037 | 55.6995 | 60.7691
2020-10-20 20:00:00 | 9.93 | 150.4 | 10.54 | 166.9 | 11.2778 | 157.22 | 11.41 | 155.8 | 14.95 | 976.037 | 55.9725 | 67.8521
2020-10-20 20:15:00 | 10.11 | 148 | 10.39 | 166.3 | 11.1173 | 156.655 | 11.52 | 152.6 | 14.84 | 976.037 | 57.4061 | 73.4424
2020-10-20 20:30:00 | 9.8 | 151.5 | 10.06 | 166.4 | 10.7642 | 156.749 | 10.28 | 156.3 | 14.7 | 976.037 | 57.2696 | 67.5824
2020-10-20 20:45:00 | 9.6 | 147.9 | 10.33 | 164.7 | 11.0531 | 155.147 | 11.32 | 154.1 | 14.61 | 975.74 | 58.2924 | 71.5158
2020-10-20 21:00:00 | 10.35 | 148.6 | 10.49 | 165.5 | 11.2243 | 155.901 | 11.21 | 154.3 | 14.66 | 975.443 | 59.4539 | 75.6261
2020-10-20 21:15:00 | 9.78 | 159.2 | 9.69 | 179.9 | 10.3683 | 169.466 | 9.55 | 163.9 | 14.71 | 975.443 | 59.7941 | 72.7056
2020-10-20 21:30:00 | 9.56 | 170.5 | 9.46 | 185.6 | 10.1222 | 174.835 | 8.2 | 176.7 | 14.71 | 975.592 | 60.1362 | 73.3612
2020-10-20 21:45:00 | 9.06 | 171.4 | 9.1 | 187.2 | 9.737 | 176.342 | 8.84 | 176.1 | 14.81 | 975.443 | 60.3408 | 67.7672
2020-10-20 22:00:00 | 10.39 | 171.8 | 9.81 | 193.4 | 10.4967 | 182.183 | 9.52 | 172.5 | 14.8 | 975.74 | 60.954 | 58.955
2020-10-20 22:15:00 | 11.98 | 177.1 | 11.4 | 193.6 | 12.198 | 182.371 | 10.83 | 177.7 | 14.8 | 975.443 | 61.2968 | 64.549
2020-10-20 22:30:00 | 9.43 | 164 | 9.37 | 180.1 | 10.0259 | 169.654 | 9.45 | 167.9 | 14.41 | 975.295 | 63.6177 | 71.5137
2020-10-20 22:45:00 | 9.93 | 159.7 | 9.82 | 172.6 | 10.5074 | 162.589 | 9.59 | 167.2 | 13.98 | 974.85 | 64.7428 | 69.8568
2020-10-20 23:00:00 | 10.42 | 167.1 | 10.41 | 182.1 | 11.1387 | 171.538 | 9.77 | 174.9 | 14.27 | 975.146 | 62.6618 | 64.9812
2020-10-20 23:15:00 | 9.73 | 165.5 | 9.38 | 181.2 | 10.0366 | 170.69 | 10 | 166.1 | 14.14 | 974.553 | 64.9138 | 63.6733
2020-10-20 23:30:00 | 9.26 | 174 | 8.99 | 189.4 | 9.6193 | 178.415 | 8.67 | 177.8 | 14.24 | 974.998 | 60.5442 | 50.6342
2020-10-20 23:45:00 | 9.9 | 177.9 | 9.17 | 194.9 | 9.8119 | 183.596 | 8.33 | 174.8 | 14.5 | 975.146 | 60.4761 | 49.57