## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-21 00:00:00 | 9.85 | 173.6 | 9.51 | 190.2 | 10.1757 | 179.168 | 9.74 | 177.6 | 14.29 | 974.553 | 63.2745 | 52.016
2020-10-21 00:15:00 | 9.69 | 165 | 9.39 | 182.3 | 10.0473 | 171.727 | 8.98 | 173.3 | 13.89 | 974.553 | 67.0292 | 64.6228
2020-10-21 00:30:00 | 8.81 | 161.6 | 9.11 | 173.3 | 9.7477 | 163.249 | 9.06 | 169.5 | 13.16 | 974.256 | 71.3309 | 56.4129
2020-10-21 00:45:00 | 8.95 | 160.4 | 9.29 | 175.3 | 9.9403 | 165.133 | 8.8 | 168.6 | 13.27 | 973.662 | 71.0952 | 60.3036
2020-10-21 01:00:00 | 9.97 | 162.9 | 9.53 | 181.4 | 10.1971 | 170.879 | 10.07 | 167.3 | 13.56 | 973.959 | 66.0515 | 57.3625
2020-10-21 01:15:00 | 10.46 | 174.8 | 9.92 | 188.6 | 10.6144 | 177.661 | 9.46 | 178.6 | 13.73 | 973.81 | 63.7989 | 55.2851
2020-10-21 01:30:00 | 10.3 | 170.4 | 10.3 | 185.8 | 11.021 | 175.024 | 10.09 | 172.6 | 13.47 | 974.107 | 64.6513 | 45.8789
2020-10-21 01:45:00 | 9.33 | 167.8 | 9.12 | 185.3 | 9.7584 | 174.553 | 8.56 | 169.5 | 13.44 | 973.662 | 65.54 | 48.5318
2020-10-21 02:00:00 | 8.86 | 169.4 | 8.71 | 177.3 | 9.3197 | 167.017 | 8 | 174.7 | 13.1 | 973.662 | 67.1787 | 49.9691
2020-10-21 02:15:00 | 9.3 | 161.9 | 9.5 | 173.2 | 10.165 | 163.154 | 8.7 | 171 | 13.21 | 973.068 | 69.4316 | 59.9879
2020-10-21 02:30:00 | 9.56 | 165.1 | 9.67 | 178.9 | 10.3469 | 168.524 | 9.62 | 169.9 | 12.97 | 973.068 | 65.0623 | 55.988
2020-10-21 02:45:00 | 9.39 | 162.8 | 10.07 | 177.9 | 10.7749 | 167.582 | 9.96 | 168.3 | 13.19 | 972.771 | 66.0181 | 55.2527
2020-10-21 03:00:00 | 9.3 | 167.7 | 8.97 | 180.3 | 9.5979 | 169.843 | 8.47 | 172.9 | 13.05 | 972.474 | 65.8133 | 59.4648
2020-10-21 03:15:00 | 9.36 | 166.4 | 8.84 | 179.5 | 9.4588 | 169.089 | 8.63 | 171.1 | 13.05 | 972.771 | 64.4479 | 47.8409
2020-10-21 03:30:00 | 9.43 | 162.5 | 9.7 | 174.4 | 10.379 | 164.285 | 9.22 | 169.7 | 12.85 | 972.771 | 66.3594 | 52.4151
2020-10-21 03:45:00 | 9.88 | 162.1 | 10.12 | 174.4 | 10.8284 | 164.285 | 9.84 | 169.2 | 12.86 | 972.474 | 66.1546 | 54.4214
2020-10-21 04:00:00 | 9.71 | 159.7 | 9.97 | 172.8 | 10.6679 | 162.778 | 9.66 | 169.3 | 12.75 | 972.177 | 67.6566 | 62.2232
2020-10-21 04:15:00 | 9.8 | 158.6 | 10.12 | 174.1 | 10.8284 | 164.002 | 10.72 | 166.4 | 12.53 | 971.88 | 67.5201 | 60.3627
2020-10-21 04:30:00 | 10.33 | 159.9 | 10.54 | 175.9 | 11.2778 | 165.698 | 10.91 | 165.8 | 12.53 | 971.88 | 66.496 | 66.8804
2020-10-21 04:45:00 | 10.62 | 159.5 | 10.74 | 175.7 | 11.4918 | 165.509 | 11.04 | 165.1 | 12.65 | 971.88 | 66.1546 | 62.768
2020-10-21 05:00:00 | 9.18 | 159.6 | 9.85 | 176.9 | 10.5395 | 166.64 | 10.5 | 164.6 | 12.78 | 971.88 | 64.6868 | 60.9613
2020-10-21 05:15:00 | 10.31 | 158.3 | 10.35 | 175.4 | 11.0745 | 165.227 | 11.05 | 163.6 | 12.85 | 972.028 | 64.8575 | 62.7902
2020-10-21 05:30:00 | 9.73 | 155.1 | 10.03 | 173.6 | 10.7321 | 163.531 | 11.03 | 159.5 | 12.67 | 971.88 | 65.4719 | 66.3927
2020-10-21 05:45:00 | 10.05 | 157 | 10.15 | 174.7 | 10.8605 | 164.567 | 10.82 | 163.9 | 12.65 | 971.583 | 65.4719 | 54.9497
2020-10-21 06:00:00 | 9.16 | 163.4 | 9.05 | 181.7 | 9.6835 | 171.161 | 9.89 | 168.2 | 12.83 | 972.028 | 63.1507 | 43.5696
2020-10-21 06:15:00 | 7.384 | 158.6 | 7.45 | 175.8 | 7.9715 | 165.604 | 8.31 | 164.8 | 12.76 | 972.474 | 66.0864 | 32.2154
2020-10-21 06:30:00 | 5.694 | 161 | 6.332 | 177.6 | 6.7752 | 167.299 | 6.868 | 168.1 | 12.47 | 972.474 | 66.9056 | 23.9611
2020-10-21 06:45:00 | 7.571 | 168.1 | 7.68 | 178.9 | 8.2176 | 168.524 | 7.329 | 179.2 | 12.72 | 973.068 | 66.3594 | 16.612
2020-10-21 07:00:00 | 5.252 | 178 | 5.765 | 188.5 | 6.1685 | 177.567 | 5.505 | 187.4 | 12.84 | 973.068 | 66.8032 | 8.6275
2020-10-21 07:15:00 | 4.739 | 192.6 | 5.09 | 203.2 | 5.4463 | 191.414 | 4.953 | 199 | 12.85 | 973.365 | 66.7008 | 5.1802
2020-10-21 07:30:00 | 4.435 | 183.8 | 4.405 | 195.5 | 4.7134 | 184.161 | 4.316 | 195.9 | 13.01 | 973.81 | 67.3152 | 4.4634
2020-10-21 07:45:00 | 5.117 | 196.3 | 4.957 | 205.9 | 5.304 | 193.958 | 4.81 | 202.7 | 13.25 | 974.256 | 66.8373 | 2.191
2020-10-21 08:00:00 | 4.086 | 217.2 | 3.932 | 220.4 | 4.2072 | 207.617 | 4.736 | 227.2 | 13.25 | 974.256 | 67.1683 | 0.68724
2020-10-21 08:15:00 | 3.383 | 223.8 | 3.459 | 225 | 3.7011 | 211.95 | 3.751 | 233.7 | 13.48 | 974.85 | 67.0303 | 0.77961
2020-10-21 08:30:00 | 4.126 | 252.3 | 4.581 | 261.5 | 4.9017 | 246.333 | 4.678 | 258.2 | 13.28 | 975.443 | 67.5427 | 1.0272
2020-10-21 08:45:00 | 3.442 | 273.6 | 3.405 | 276.3 | 3.6433 | 260.275 | 2.987 | 276.9 | 13.5 | 975.378 | 68.3167 | 1.755
2020-10-21 09:00:00 | 4.203 | 302.7 | 4.826 | 310.3 | 5.1638 | 292.303 | 4.38 | 305.2 | 13.48 | 975.444 | 66.8828 | 7.4525
2020-10-21 09:15:00 | 5.127 | 313.3 | 5.228 | 321.5 | 5.594 | 302.853 | 3.911 | 315.2 | 13.37 | 975.443 | 67.5628 | 10.8444
2020-10-21 09:30:00 | 4.154 | 308.7 | 4.844 | 320.4 | 5.1831 | 301.817 | 4.787 | 312.3 | 13.64 | 975.739 | 63.7242 | 9.7359
2020-10-21 09:45:00 | 4.027 | 328.2 | 4.159 | 335.1 | 4.4501 | 315.664 | 3.402 | 330.9 | 14.03 | 975.888 | 60.6517 | 11.8198
2020-10-21 10:00:00 | 4.443 | 348.3 | 4.573 | 5.349 | 4.8931 | 5.0388 | 4.415 | 338.9 | 14.65 | 975.731 | 56.4216 | 15.293
2020-10-21 10:15:00 | 2.36 | 5.006 | 3.777 | 25.56 | 4.0414 | 24.0775 | 4.084 | 350.7 | 15.21 | 975.807 | 51.9188 | 13.719
2020-10-21 10:30:00 | 2.221 | 10.9 | 2.757 | 14.3 | 2.95 | 13.4706 | 4.082 | 16.95 | 15.55 | 975.738 | 51.2284 | 12.6844
2020-10-21 10:45:00 | 3.53 | 7.048 | 3.906 | 10.64 | 4.1794 | 10.0229 | 4.563 | 5.664 | 15.39 | 975.441 | 53.0696 | 18.6183
2020-10-21 11:00:00 | 3.026 | 18.56 | 3.608 | 10.9 | 3.8606 | 10.2678 | 4.375 | 17.68 | 15.42 | 975.738 | 54.2967 | 12.8174
2020-10-21 11:15:00 | 3.767 | 11.75 | 4.387 | 27.02 | 4.6941 | 25.4528 | 4.78 | 4.595 | 15.42 | 975.59 | 55.5215 | 14.9309
2020-10-21 11:30:00 | 2.263 | 350.7 | 3.166 | 11.03 | 3.3876 | 10.3903 | 3.905 | 348 | 15.77 | 975.441 | 55.0063 | 15.7622
2020-10-21 11:45:00 | 3.08 | 13.79 | 4.011 | 5.422 | 4.2918 | 5.1075 | 4.315 | 14.01 | 15.82 | 975.469 | 54.561 | 23.4364
2020-10-21 12:00:00 | 3.066 | 23.5 | 4.31 | 22.91 | 4.6117 | 21.5812 | 4.749 | 20.12 | 16.26 | 975.314 | 54.561 | 25.6924
2020-10-21 12:15:00 | 3.796 | 352.1 | 4.392 | 9.07 | 4.6994 | 8.5439 | 4.922 | 343.9 | 16.12 | 975.229 | 51.8329 | 28.8937
2020-10-21 12:30:00 | 3.844 | 10.34 | 4.936 | 20.8 | 5.2815 | 19.5936 | 5.702 | 5.706 | 15.98 | 975.124 | 46.8542 | 25.5018
2020-10-21 12:45:00 | 2.575 | 15.4 | 5.279 | 39.58 | 5.6485 | 37.2844 | 5.312 | 359.8 | 16.18 | 975.411 | 43.0698 | 24.0334
2020-10-21 13:00:00 | 4.833 | 9.9 | 6.836 | 26.39 | 7.3145 | 24.8594 | 6.685 | 7.361 | 15.92 | 974.682 | 43.1058 | 29.8787
2020-10-21 13:15:00 | 3.232 | 9.68 | 5.609 | 30.35 | 6.0016 | 28.5897 | 5.709 | 357.9 | 16.03 | 974.848 | 26.8758 | 33.8041
2020-10-21 13:30:00 | 4.451 | 18.19 | 7.005 | 36.44 | 7.4954 | 34.3265 | 6.364 | 1.881 | 16.06 | 974.848 | 26.5007 | 30.6894
2020-10-21 13:45:00 | 4.882 | 6.805 | 5.105 | 12.45 | 5.4623 | 11.7279 | 5.398 | 1.381 | 16.63 | 974.848 | 28.3765 | 26.3406
2020-10-21 14:00:00 | 3.44 | 7.413 | 4.377 | 15.58 | 4.6834 | 14.6764 | 3.7 | 3.552 | 16.58 | 975.293 | 27.4215 | 26.0597
2020-10-21 14:15:00 | 3.888 | 322.7 | 4.668 | 340.3 | 4.9948 | 320.563 | 4.726 | 323 | 16.34 | 974.848 | 28.0696 | 23.7468
2020-10-21 14:30:00 | 4.366 | 348.6 | 4.169 | 354.5 | 4.4608 | 333.939 | 3.895 | 345.4 | 16.39 | 974.848 | 29.7067 | 20.5433
2020-10-21 14:45:00 | 4.627 | 335 | 5.197 | 345.9 | 5.5608 | 325.838 | 4.53 | 329.1 | 16.29 | 974.699 | 31.1733 | 20.5433
2020-10-21 15:00:00 | 4.103 | 359 | 3.656 | 20.28 | 3.9119 | 19.1038 | 5.101 | 348.5 | 16.05 | 974.848 | 30.457 | 21.8513
2020-10-21 15:15:00 | 3.384 | 341.9 | 3.258 | 356.5 | 3.4861 | 335.823 | 3.593 | 342.8 | 15.95 | 974.848 | 29.8773 | 18.2119
2020-10-21 15:30:00 | 3.051 | 329.9 | 3.31 | 349 | 3.5417 | 328.758 | 3 | 329.5 | 15.99 | 974.699 | 29.9465 | 9.7618
2020-10-21 15:45:00 | 2.048 | 14.14 | 3.593 | 36.05 | 3.8445 | 33.9591 | 2.969 | 357.4 | 15.9 | 974.848 | 30.4618 | 8.6681
2020-10-21 16:00:00 | 1.976 | 2.476 | 3.287 | 23.3 | 3.5171 | 21.9486 | 3.387 | 353.4 | 15.7 | 974.609 | 30.0187 | 7.7887
2020-10-21 16:15:00 | 2.572 | 358.8 | 3.569 | 22.57 | 3.8188 | 21.2609 | 4.026 | 353.8 | 15.55 | 974.619 | 30.087 | 6.6729
2020-10-21 16:30:00 | 2.931 | 358.4 | 3.523 | 22.8 | 3.7696 | 21.4776 | 3.924 | 351.4 | 15.33 | 974.551 | 28.3814 | 5.594
2020-10-21 16:45:00 | 3.816 | 357.4 | 4.277 | 10.16 | 4.5764 | 9.5707 | 5.185 | 355.8 | 15.22 | 974.255 | 25.8581 | 6.7098
2020-10-21 17:00:00 | 4.04 | 350.5 | 4.134 | 5.034 | 4.4234 | 4.742 | 4.856 | 352 | 15.11 | 973.958 | 23.064 | 8.7974
2020-10-21 17:15:00 | 4.165 | 348.8 | 4.609 | 5.957 | 4.9316 | 5.6115 | 5.994 | 350.3 | 14.82 | 973.661 | 20.952 | 13.2793
2020-10-21 17:30:00 | 3.447 | 353.8 | 4.157 | 11.69 | 4.448 | 11.012 | 6.369 | 356.2 | 14.64 | 973.569 | 21.0203 | 9.311
2020-10-21 17:45:00 | 3.955 | 7.492 | 4.172 | 17.89 | 4.464 | 16.8524 | 5.103 | 7.073 | 14.45 | 973.656 | 22.0476 | 9.8135
2020-10-21 18:00:00 | 4.251 | 359.6 | 4.635 | 13.09 | 4.9595 | 12.3308 | 6.685 | 2.498 | 14.44 | 973.662 | 21.7063 | 13.2239
2020-10-21 18:15:00 | 3.948 | 355.7 | 4.532 | 12.04 | 4.8492 | 11.3417 | 6.303 | 355.4 | 14.06 | 973.662 | 23.0027 | 17.9089
2020-10-21 18:30:00 | 4.405 | 355 | 4.798 | 14.01 | 5.1339 | 13.1974 | 6.886 | 356.2 | 13.81 | 973.662 | 22.6634 | 24.652
2020-10-21 18:45:00 | 4.721 | 3.561 | 5.126 | 17.92 | 5.4848 | 16.8806 | 7.517 | 2.755 | 13.6 | 973.513 | 21.8465 | 24.8035
2020-10-21 19:00:00 | 5.219 | 8.83 | 5.108 | 19.46 | 5.4656 | 18.3313 | 5.037 | 9.72 | 13.58 | 973.513 | 20.413 | 22.2208
2020-10-21 19:15:00 | 4.333 | 9.09 | 5.606 | 26.35 | 5.9984 | 24.8217 | 4.94 | 9.68 | 13.56 | 973.662 | 21.0616 | 20.196
2020-10-21 19:30:00 | 4.157 | 7.327 | 5.803 | 24.55 | 6.2092 | 23.1261 | 5.136 | 7.141 | 13.32 | 973.662 | 20.0034 | 22.2467
2020-10-21 19:45:00 | 4.267 | 9.35 | 5.969 | 27.5 | 6.3868 | 25.905 | 5.427 | 10.02 | 13.42 | 973.662 | 20.14 | 17.7463
2020-10-21 20:00:00 | 3.93 | 12.8 | 5.609 | 29.98 | 6.0016 | 28.2412 | 5.337 | 16.62 | 13.36 | 973.662 | 19.2524 | 12.1856
2020-10-21 20:15:00 | 3.33 | 17.12 | 4.931 | 33.46 | 5.2762 | 31.5193 | 5.77 | 20.09 | 13.36 | 973.662 | 18.5697 | 10.9404
2020-10-21 20:30:00 | 3.225 | 14.78 | 4.722 | 33.02 | 5.0525 | 31.1048 | 4.943 | 17.15 | 13.33 | 973.662 | 18.8428 | 9.1115
2020-10-21 20:45:00 | 3.161 | 15.87 | 4.602 | 34.71 | 4.9241 | 32.6968 | 4.601 | 16.57 | 13.51 | 973.662 | 18.7745 | 4.5077
2020-10-21 21:00:00 | 2.582 | 35.36 | 3.875 | 55.61 | 4.1463 | 52.3846 | 4.528 | 37.5 | 13.59 | 973.959 | 19.0476 | 0.59487
2020-10-21 21:15:00 | 1.897 | 44.59 | 2.357 | 63.21 | 2.522 | 59.5438 | 2.164 | 45.69 | 13.74 | 974.107 | 18.4332 | -0.46925
2020-10-21 21:30:00 | 2.398 | 40.26 | 2.393 | 60.24 | 2.5605 | 56.7461 | 2.113 | 39.21 | 13.68 | 974.285 | 19.5938 | -0.26972
2020-10-21 21:45:00 | 2.625 | 29.49 | 2.837 | 49.54 | 3.0356 | 46.6667 | 2.814 | 26.54 | 13.67 | 974.256 | 20.0717 | -0.26972
2020-10-21 22:00:00 | 2.191 | 20.82 | 3.103 | 39.94 | 3.3202 | 37.6235 | 2.966 | 22.25 | 13.52 | 974.258 | 20.2082 | -0.25864
2020-10-21 22:15:00 | 2.832 | 12.52 | 3.18 | 26.1 | 3.4026 | 24.5862 | 2.91 | 13.83 | 13.73 | 974.704 | 19.5938 | -0.26972
2020-10-21 22:30:00 | 2.817 | 2.078 | 3.021 | 22.09 | 3.2325 | 20.8088 | 3.275 | 2.735 | 13.85 | 974.85 | 19.4572 | -0.26972
2020-10-21 22:45:00 | 2.283 | 0.099 | 2.71 | 17.75 | 2.8997 | 16.7205 | 2.74 | 2.1 | 13.75 | 974.85 | 19.5255 | -0.26972
2020-10-21 23:00:00 | 3.756 | 356.9 | 3.607 | 11.48 | 3.8595 | 10.8142 | 3.909 | 356.8 | 13.85 | 974.85 | 20.413 | -0.28081
2020-10-21 23:15:00 | 3.828 | 354.2 | 4.049 | 10.12 | 4.3324 | 9.533 | 4.497 | 355.3 | 13.73 | 974.708 | 21.0275 | 0.70202
2020-10-21 23:30:00 | 4.262 | 351.5 | 4.711 | 5.836 | 5.0408 | 5.4975 | 4.996 | 353.1 | 13.7 | 974.404 | 20.8227 | 3.0076
2020-10-21 23:45:00 | 4.009 | 348.2 | 4.714 | 2.872 | 5.044 | 2.7054 | 4.846 | 350.2 | 13.51 | 974.404 | 22.3246 | 2.7379