## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-22 00:00:00 | 3.235 | 2.819 | 3.558 | 12.3 | 3.8071 | 11.5866 | 4.68 | 357.3 | 13.3 | 974.256 | 23.2463 | 2.5494
2020-10-22 00:15:00 | 3.697 | 5.776 | 3.855 | 10.95 | 4.1249 | 10.3149 | 4.655 | 3.109 | 13.22 | 974.553 | 23.6218 | 1.6036
2020-10-22 00:30:00 | 3.24 | 13.25 | 3.101 | 11.73 | 3.3181 | 11.0497 | 3.603 | 4.154 | 12.88 | 974.553 | 23.4852 | 0.53945
2020-10-22 00:45:00 | 2.605 | 8.14 | 3.295 | 22.28 | 3.5257 | 20.9878 | 2.918 | 7.607 | 12.84 | 974.408 | 24.0314 | -0.22169
2020-10-22 01:00:00 | 0.504 | 16.24 | 1.71 | 33.06 | 1.8297 | 31.1425 | 2.633 | 15.55 | 12.94 | 974.564 | 24.0997 | -0.26972
2020-10-22 01:15:00 | 0.011 | 22.54 | 1.59 | 33.54 | 1.7013 | 31.5947 | 2.121 | 21.03 | 12.99 | 974.611 | 21.7785 | -0.26972
2020-10-22 01:30:00 | 0.703 | 26.13 | 1.779 | 39.49 | 1.9035 | 37.1996 | 2.149 | 19.26 | 13.2 | 974.881 | 20.8909 | -0.26972
2020-10-22 01:45:00 | 0.156 | 27.02 | 1.725 | 39.48 | 1.8458 | 37.1902 | 1.96 | 22.01 | 13.24 | 974.787 | 20.14 | -0.25864
2020-10-22 02:00:00 | 1.225 | 23.97 | 2.145 | 34.91 | 2.2952 | 32.8852 | 2.103 | 26.06 | 13.25 | 974.573 | 19.9351 | -0.25864
2020-10-22 02:15:00 | 1.504 | 23.11 | 2.295 | 36.5 | 2.4556 | 34.383 | 2.35 | 26.27 | 13.25 | 974.887 | 20.413 | -0.26972
2020-10-22 02:30:00 | 1.596 | 23.4 | 2.518 | 37.39 | 2.6943 | 35.2214 | 2.406 | 24.47 | 13.15 | 974.897 | 20.6179 | -0.25864
2020-10-22 02:45:00 | 1.565 | 24.73 | 2.51 | 37.68 | 2.6857 | 35.4946 | 2.508 | 26.86 | 12.98 | 974.476 | 20.6861 | -0.25864
2020-10-22 03:00:00 | 1.634 | 27.42 | 2.786 | 47.21 | 2.981 | 44.4718 | 2.605 | 29.31 | 12.98 | 974.319 | 20.5496 | -0.25864
2020-10-22 03:15:00 | 1.257 | 23.7 | 2.39 | 45.61 | 2.5573 | 42.9646 | 2.065 | 22.16 | 13 | 974.309 | 19.389 | -0.25864
2020-10-22 03:30:00 | 2.16 | 29.17 | 2.441 | 49.22 | 2.6119 | 46.3652 | 1.869 | 25.44 | 13.23 | 974.293 | 19.5938 | -0.26972
2020-10-22 03:45:00 | 2.275 | 32.83 | 2.285 | 54.95 | 2.4449 | 51.7629 | 1.711 | 39.22 | 13.24 | 974.312 | 19.3207 | -0.25864
2020-10-22 04:00:00 | 1.936 | 33.58 | 1.838 | 54.7 | 1.9667 | 51.5274 | 1.426 | 37.86 | 13.26 | 974.315 | 19.2524 | -0.25864
2020-10-22 04:15:00 | 1.936 | 22.99 | 2.313 | 44.13 | 2.4749 | 41.5705 | 1.981 | 23.29 | 13.3 | 974.441 | 19.0476 | -0.24016
2020-10-22 04:30:00 | 1.632 | 18.88 | 2.628 | 34.82 | 2.812 | 32.8004 | 2.399 | 24.69 | 13.16 | 974.597 | 18.9794 | -0.24016
2020-10-22 04:45:00 | 1.637 | 14.92 | 2.377 | 34.34 | 2.5434 | 32.3483 | 2.427 | 17.76 | 13.2 | 974.933 | 19.3207 | -0.22539
2020-10-22 05:00:00 | 1.606 | 21.57 | 2.699 | 37.29 | 2.8879 | 35.1272 | 2.646 | 24.46 | 13.05 | 974.956 | 19.5255 | -0.22539
2020-10-22 05:15:00 | 1.642 | 31.84 | 2.324 | 42.7 | 2.4867 | 40.2234 | 2.526 | 35.21 | 12.91 | 974.701 | 20.0717 | -0.22539
2020-10-22 05:30:00 | 2.538 | 38.35 | 2.899 | 61.33 | 3.1019 | 57.7729 | 2.271 | 34.87 | 12.78 | 974.557 | 20.7544 | -0.24016
2020-10-22 05:45:00 | 1.848 | 29.85 | 2.881 | 49.32 | 3.0827 | 46.4594 | 2.781 | 29.92 | 12.74 | 974.928 | 21.164 | -0.24016
2020-10-22 06:00:00 | 0.954 | 22.84 | 2.431 | 40.55 | 2.6012 | 38.1981 | 2.938 | 25 | 12.62 | 974.865 | 20.2084 | -0.24016
2020-10-22 06:15:00 | 1.532 | 26.06 | 2.707 | 44.78 | 2.8965 | 42.1828 | 3.01 | 26.64 | 12.78 | 975.004 | 20.1401 | -0.24016
2020-10-22 06:30:00 | 1.839 | 17.94 | 3.149 | 39.9 | 3.3694 | 37.5858 | 3.086 | 19.96 | 12.71 | 974.863 | 19.7994 | -0.24016
2020-10-22 06:45:00 | 1.887 | 12.58 | 2.687 | 35.35 | 2.8751 | 33.2997 | 2.582 | 18.44 | 12.94 | 975.302 | 19.2526 | -0.22539
2020-10-22 07:00:00 | 2.411 | 9.52 | 2.82 | 31.44 | 3.0174 | 29.6165 | 2.64 | 15.2 | 13.09 | 975.828 | 19.0477 | -0.24016
2020-10-22 07:15:00 | 2.551 | 7.023 | 2.978 | 27.05 | 3.1865 | 25.4811 | 1.953 | 10.31 | 13.22 | 976.039 | 18.7745 | -0.25125
2020-10-22 07:30:00 | 2.449 | 12.75 | 3.149 | 27.02 | 3.3694 | 25.4528 | 3.005 | 17.38 | 13.28 | 976.335 | 18.0918 | -0.22539
2020-10-22 07:45:00 | 1.813 | 21.93 | 3.083 | 39.13 | 3.2988 | 36.8605 | 3.05 | 27.53 | 13.26 | 976.632 | 17.0648 | -0.24016
2020-10-22 08:00:00 | 1.626 | 26.62 | 3.162 | 43.27 | 3.3833 | 40.7603 | 3.376 | 29.7 | 13.38 | 977.226 | 18.0188 | -0.24016
2020-10-22 08:15:00 | 1.449 | 36.8 | 2.684 | 52.92 | 2.8719 | 49.8506 | 2.528 | 41.28 | 13.71 | 977.079 | 17.1302 | -0.22539
2020-10-22 08:30:00 | 1.08 | 33.47 | 2.063 | 48.72 | 2.2074 | 45.8942 | 1.828 | 41.94 | 14.08 | 977.669 | 16.5806 | -0.22539
2020-10-22 08:45:00 | 1.164 | 24.35 | 2.04 | 44.55 | 2.1828 | 41.9661 | 1.731 | 34.47 | 14.53 | 978.114 | 14.6683 | -0.24016
2020-10-22 09:00:00 | 1.148 | 35.5 | 2.045 | 54.15 | 2.1881 | 51.0093 | 1.741 | 31.17 | 14.68 | 977.99 | 16.169 | -0.24016
2020-10-22 09:15:00 | 0.626 | 33.42 | 1.814 | 51.2 | 1.941 | 48.2304 | 1.478 | 32.8 | 15.24 | 978.409 | 15.0751 | -0.25864
2020-10-22 09:30:00 | 2.06 | 328.5 | 2.477 | 321.2 | 2.6504 | 302.57 | 2.04 | 348.4 | 15.69 | 978.314 | 18.244 | -0.24016
2020-10-22 09:45:00 | 1.811 | 338.2 | 2.349 | 332.5 | 2.5134 | 313.215 | 1.786 | 347.3 | 15.75 | 978.11 | 18.9593 | -0.22539
2020-10-22 10:00:00 | 2.888 | 296.9 | 2.804 | 300.1 | 3.0003 | 282.694 | 2.007 | 304.3 | 15.23 | 978.11 | 15.5132 | -0.22539
2020-10-22 10:15:00 | 2.543 | 307 | 2.761 | 317.8 | 2.9543 | 299.368 | 2.806 | 305.5 | 15.35 | 978.11 | 22.1616 | -0.25864
2020-10-22 10:30:00 | 3.189 | 302.5 | 3.441 | 315.9 | 3.6819 | 297.578 | 3 | 305.8 | 15.3 | 978.11 | 18.343 | -0.16996
2020-10-22 10:45:00 | 3.197 | 297.9 | 3.863 | 309.9 | 4.1334 | 291.926 | 3.96 | 299.8 | 15.24 | 978.258 | 20.6273 | 1.0346
2020-10-22 11:00:00 | 2.772 | 300.1 | 3.405 | 312.9 | 3.6433 | 294.752 | 3.343 | 303.7 | 15.41 | 978.11 | 16.8769 | 1.4447
2020-10-22 11:15:00 | 3.353 | 308 | 3.909 | 323.4 | 4.1826 | 304.643 | 3.565 | 307.5 | 15.48 | 977.962 | 17.968 | 2.2539
2020-10-22 11:30:00 | 3.815 | 303.7 | 3.973 | 318.5 | 4.2511 | 300.027 | 4.039 | 307.3 | 15.55 | 977.517 | 19.298 | 1.8807
2020-10-22 11:45:00 | 2.906 | 352.3 | 2.827 | 351.9 | 3.0249 | 331.49 | 1.8 | 1.69 | 16.61 | 977.962 | 19.026 | 2.3019
2020-10-22 12:00:00 | 4.103 | 299.2 | 4.469 | 307.7 | 4.7818 | 289.853 | 4.069 | 301.4 | 15.72 | 977.665 | 20.4254 | 3.7909
2020-10-22 12:15:00 | 4.369 | 300.4 | 4.719 | 312.6 | 5.0493 | 294.469 | 4.887 | 304.3 | 15.98 | 977.517 | 20.3921 | 6.3773
2020-10-22 12:30:00 | 3.404 | 351.8 | 3.195 | 346.1 | 3.4186 | 326.026 | 3.114 | 348.2 | 16.58 | 977.665 | 19.335 | 8.1841
2020-10-22 12:45:00 | 4.188 | 332.3 | 4.745 | 353.7 | 5.0771 | 333.185 | 5.095 | 332.1 | 16.35 | 977.517 | 19.7783 | 8.343
2020-10-22 13:00:00 | 4.362 | 311.2 | 4.834 | 314.5 | 5.1724 | 296.259 | 3.904 | 316.6 | 16 | 977.39 | 21.0742 | 9.7322
2020-10-22 13:15:00 | 5.595 | 313.6 | 5.739 | 324.6 | 6.1407 | 305.773 | 5.411 | 316.1 | 16.23 | 977.386 | 21.0742 | 10.0758
2020-10-22 13:30:00 | 5.053 | 299.2 | 5.645 | 314.1 | 6.0401 | 295.882 | 5.539 | 299.4 | 16.21 | 977.654 | 20.2572 | 11.8937
2020-10-22 13:45:00 | 5.36 | 295 | 6.304 | 309 | 6.7453 | 291.078 | 6.532 | 295 | 15.99 | 977.222 | 18.9629 | 11.3099
2020-10-22 14:00:00 | 4.462 | 298.1 | 4.811 | 313.8 | 5.1478 | 295.6 | 4.525 | 299.4 | 16.04 | 977.222 | 19.8158 | 12.0415
2020-10-22 14:15:00 | 5.186 | 298.3 | 5.859 | 309.5 | 6.2691 | 291.549 | 5.908 | 299.6 | 16.42 | 977.815 | 19.236 | 13.0317
2020-10-22 14:30:00 | 5.071 | 300.3 | 5.698 | 310.9 | 6.0969 | 292.868 | 5.304 | 308.2 | 16.28 | 977.518 | 20.2592 | 15.16
2020-10-22 14:45:00 | 4.034 | 332.1 | 4.415 | 348.7 | 4.7241 | 328.475 | 4.112 | 326.5 | 16.35 | 977.518 | 20.3956 | 17.4803
2020-10-22 15:00:00 | 5.12 | 314.9 | 5.765 | 329.7 | 6.1685 | 310.577 | 5.61 | 314.5 | 16.23 | 977.518 | 20.9413 | 19.4534
2020-10-22 15:15:00 | 4.537 | 333.6 | 5.031 | 349.9 | 5.3832 | 329.606 | 5.195 | 326.9 | 16.23 | 977.222 | 21.0095 | 25.1656
2020-10-22 15:30:00 | 4.083 | 335.6 | 4.42 | 345.7 | 4.7294 | 325.649 | 4.454 | 330.2 | 15.89 | 977.222 | 22.2378 | 23.5953
2020-10-22 15:45:00 | 3.534 | 336.6 | 4.384 | 353.9 | 4.6909 | 333.374 | 4.52 | 335.2 | 15.71 | 977.267 | 21.4896 | 23.4992
2020-10-22 16:00:00 | 3.063 | 356.2 | 3.798 | 24.61 | 4.0639 | 23.1826 | 3.85 | 346.5 | 15.39 | 977.371 | 22.1047 | 27.8333
2020-10-22 16:15:00 | 5.559 | 358.6 | 6.486 | 24.89 | 6.94 | 23.4464 | 7.084 | 356.2 | 14.86 | 976.89 | 24.5608 | 30.9037
2020-10-22 16:30:00 | 6.539 | 10.02 | 8.53 | 29.73 | 9.1271 | 28.0057 | 6.483 | 9.29 | 14.16 | 976.481 | 25.5159 | 31.0071
2020-10-22 16:45:00 | 6.578 | 2.892 | 6.371 | 16.58 | 6.817 | 15.6184 | 7.757 | 3.26 | 13.8 | 976.333 | 26.2059 | 19.8398
2020-10-22 17:00:00 | 4.305 | 359 | 4.688 | 21.05 | 5.0162 | 19.8291 | 6.353 | 358.4 | 13.54 | 976.055 | 27.1626 | 15.1489
2020-10-22 17:15:00 | 5.27 | 7.134 | 5.197 | 16.56 | 5.5608 | 15.5995 | 6.091 | 6.51 | 13.25 | 976.182 | 27.3035 | 16.9446
2020-10-22 17:30:00 | 5.25 | 356.8 | 5.578 | 13.35 | 5.9685 | 12.5757 | 7.568 | 3.069 | 12.97 | 976.037 | 28.6005 | 24.4414
2020-10-22 17:45:00 | 5.191 | 0.421 | 6.015 | 15.33 | 6.436 | 14.4409 | 8.23 | 5.477 | 12.6 | 976.037 | 29.8336 | 29.0341
2020-10-22 18:00:00 | 5.755 | 7.814 | 5.747 | 21.16 | 6.1493 | 19.9327 | 7.072 | 4.529 | 12.36 | 976.037 | 30.1758 | 32.2856
2020-10-22 18:15:00 | 5.556 | 7.46 | 5.57 | 21.7 | 5.9599 | 20.4414 | 6.02 | 7.025 | 12.06 | 976.037 | 30.7902 | 30.1425
2020-10-22 18:30:00 | 6.218 | 12.04 | 6.519 | 23.68 | 6.9753 | 22.3066 | 5.9 | 11.42 | 11.88 | 976.041 | 29.7662 | 28.1436
2020-10-22 18:45:00 | 5.012 | 11.02 | 7.245 | 27.65 | 7.7522 | 26.0463 | 6.697 | 13.88 | 11.51 | 976.106 | 29.1517 | 23.0226
2020-10-22 19:00:00 | 5.109 | 12.52 | 7.491 | 29.02 | 8.0154 | 27.3368 | 6.667 | 15.89 | 11.47 | 976.077 | 28.3666 | 22.679
2020-10-22 19:15:00 | 4.107 | 15.17 | 7.34 | 30.17 | 7.8538 | 28.4201 | 7.069 | 19.12 | 11.18 | 976.083 | 28.2645 | 22.7824
2020-10-22 19:30:00 | 4.642 | 19.57 | 8.47 | 36.41 | 9.0629 | 34.2982 | 9 | 23.75 | 11.3 | 976.169 | 28.7438 | 21.4744
2020-10-22 19:45:00 | 3.493 | 16.99 | 7.843 | 32.21 | 8.392 | 30.3418 | 7.747 | 20.74 | 11.14 | 976.419 | 27.1086 | 15.0897
2020-10-22 20:00:00 | 4.137 | 16.73 | 6.877 | 30.47 | 7.3584 | 28.7027 | 6.985 | 23.5 | 11.07 | 976.658 | 26.3571 | 8.0991
2020-10-22 20:15:00 | 3.217 | 17.75 | 5.205 | 34.86 | 5.5694 | 32.8381 | 5.495 | 22.22 | 11.03 | 976.892 | 27.2109 | 3.9018
2020-10-22 20:30:00 | 3.076 | 21.43 | 4.865 | 34.26 | 5.2055 | 32.2729 | 4.988 | 26.7 | 10.97 | 977.069 | 27.1087 | 2.9374
2020-10-22 20:45:00 | 3.371 | 18.27 | 4.714 | 32.41 | 5.044 | 30.5302 | 5.162 | 23.93 | 10.96 | 976.93 | 27.3135 | 4.7183
2020-10-22 21:00:00 | 2.957 | 22.65 | 4.74 | 37.24 | 5.0718 | 35.0801 | 5.111 | 26.54 | 10.85 | 976.93 | 27.0408 | 2.18
2020-10-22 21:15:00 | 2.053 | 27.48 | 3.346 | 42.12 | 3.5802 | 39.677 | 3.766 | 30.84 | 10.87 | 977.227 | 26.4958 | 1.0087
2020-10-22 21:30:00 | 2.485 | 39.19 | 3.415 | 54.14 | 3.654 | 50.9999 | 3.524 | 43.76 | 10.88 | 977.227 | 25.9515 | 1.1491
2020-10-22 21:45:00 | 2.542 | 37.98 | 3.993 | 54.7 | 4.2725 | 51.5274 | 4.268 | 40.61 | 10.81 | 977.227 | 25.9518 | 2.531
2020-10-22 22:00:00 | 2.632 | 34.62 | 4.555 | 51.81 | 4.8739 | 48.805 | 5.146 | 39.08 | 10.61 | 977.376 | 25.5421 | 3.2515
2020-10-22 22:15:00 | 2.587 | 35.52 | 4.64 | 53.04 | 4.9648 | 49.9637 | 5.292 | 39.59 | 10.61 | 977.524 | 25.5421 | 3.281
2020-10-22 22:30:00 | 2.225 | 28.01 | 3.868 | 43.6 | 4.1388 | 41.0712 | 4.701 | 33.52 | 10.46 | 977.524 | 24.6543 | 2.6307
2020-10-22 22:45:00 | 2.612 | 33 | 3.599 | 48.93 | 3.8509 | 46.0921 | 4.561 | 33.64 | 10.62 | 977.524 | 24.7908 | 1.2932
2020-10-22 23:00:00 | 2.005 | 28.27 | 2.97 | 43.08 | 3.1779 | 40.5814 | 3.46 | 30.34 | 10.67 | 977.673 | 23.8347 | 0.0036949
2020-10-22 23:15:00 | 1.61 | 30.93 | 3.078 | 46.61 | 3.2935 | 43.9066 | 3.231 | 33.11 | 10.9 | 977.524 | 23.4933 | -0.12193
2020-10-22 23:30:00 | 0.739 | 30.27 | 2.786 | 45.62 | 2.981 | 42.974 | 3.193 | 34.7 | 10.88 | 977.524 | 23.425 | -0.22169
2020-10-22 23:45:00 | 1.338 | 27.94 | 2.566 | 41.78 | 2.7456 | 39.3568 | 2.671 | 32.48 | 11.01 | 977.673 | 23.2201 | -0.12932