## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-23 00:00:00 | 2.533 | 21.64 | 3.492 | 37.4 | 3.7364 | 35.2308 | 3.417 | 26.8 | 10.95 | 977.673 | 23.8347 | -0.11084
2020-10-23 00:15:00 | 2.242 | 13.88 | 2.605 | 27.11 | 2.7873 | 25.5376 | 2.457 | 15.41 | 10.88 | 977.673 | 23.9713 | -0.18474
2020-10-23 00:30:00 | 2.259 | 7.986 | 1.914 | 14.56 | 2.048 | 13.7155 | 2.358 | 11.34 | 10.73 | 977.821 | 24.825 | -0.27711
2020-10-23 00:45:00 | 1.521 | 5.969 | 1.557 | 18.71 | 1.666 | 17.6248 | 1.736 | 9.43 | 10.53 | 977.673 | 25.3372 | -0.24016
2020-10-23 01:00:00 | 3.026 | 1.028 | 3.308 | 18.62 | 3.5396 | 17.54 | 2.452 | 6.924 | 10.22 | 977.673 | 26.6348 | -0.25864
2020-10-23 01:15:00 | 2.985 | 4.617 | 3.799 | 21.92 | 4.0649 | 20.6486 | 3.193 | 6.924 | 9.99 | 977.822 | 26.8397 | -0.17366
2020-10-23 01:30:00 | 2.947 | 86.6 | 3.397 | 14.47 | 3.6348 | 13.6307 | 3.157 | 3.14 | 9.91 | 978.122 | 27.1811 | 0.16996
2020-10-23 01:45:00 | 3.225 | 8.56 | 3.745 | 22.16 | 4.0072 | 20.8747 | 3.366 | 3.583 | 9.63 | 977.947 | 27.8641 | 1.84
2020-10-23 02:00:00 | 3.297 | 8.71 | 4.453 | 25.8 | 4.7647 | 24.3036 | 3.858 | 9.73 | 9.37 | 978.309 | 28.9568 | 3.414
2020-10-23 02:15:00 | 2.952 | 12.86 | 4.18 | 29.06 | 4.4726 | 27.3745 | 4.744 | 20.35 | 9.3 | 977.945 | 29.1617 | 4.3193
2020-10-23 02:30:00 | 2.773 | 12.57 | 4.065 | 29.94 | 4.3495 | 28.2035 | 4.657 | 19.41 | 9.35 | 977.815 | 27.5909 | 3.2219
2020-10-23 02:45:00 | 3.534 | 9.78 | 4.576 | 26.73 | 4.8963 | 25.1797 | 4.418 | 13.04 | 9.65 | 977.823 | 26.9763 | 3.6357
2020-10-23 03:00:00 | 3.128 | 4.378 | 3.727 | 21.29 | 3.9879 | 20.0552 | 4.431 | 2.187 | 10.02 | 977.971 | 23.9713 | 2.8155
2020-10-23 03:15:00 | 3.478 | 359.8 | 3.691 | 15.32 | 3.9494 | 14.4314 | 5.75 | 357.5 | 10.21 | 977.957 | 21.9225 | 4.7257
2020-10-23 03:30:00 | 3.577 | 355.1 | 4.361 | 11.23 | 4.6663 | 10.5787 | 6.511 | 353.7 | 10.21 | 978.041 | 21.7176 | 5.5275
2020-10-23 03:45:00 | 3.657 | 352.8 | 4.522 | 9.9 | 4.8385 | 9.3258 | 6.488 | 352.1 | 9.98 | 977.886 | 23.1518 | 6.0263
2020-10-23 04:00:00 | 3.968 | 347.1 | 5.062 | 5.379 | 5.4163 | 5.067 | 5.814 | 348.2 | 9.86 | 978.219 | 23.425 | 6.0374
2020-10-23 04:15:00 | 4.042 | 349.2 | 5.026 | 6.781 | 5.3778 | 6.3877 | 5.992 | 350.3 | 9.77 | 978.161 | 25.4738 | 7.3343
2020-10-23 04:30:00 | 3.6 | 347.6 | 4.486 | 5.788 | 4.8 | 5.4523 | 6.137 | 347.5 | 9.55 | 978.26 | 26.2933 | 10.885
2020-10-23 04:45:00 | 4.086 | 349.1 | 5.123 | 8.37 | 5.4816 | 7.8845 | 7.151 | 353.4 | 9.31 | 978.363 | 26.908 | 12.4627
2020-10-23 05:00:00 | 3.943 | 4.51 | 4.333 | 17.93 | 4.6363 | 16.8901 | 6.45 | 2.377 | 9.08 | 978.379 | 26.8397 | 10.8407
2020-10-23 05:15:00 | 4.236 | 3.392 | 4.571 | 17.39 | 4.891 | 16.3814 | 6.471 | 358.4 | 9.04 | 978.417 | 27.5226 | 10.6818
2020-10-23 05:30:00 | 4.43 | 0.137 | 5.057 | 15.95 | 5.411 | 15.0249 | 7.953 | 3.765 | 8.83 | 978.418 | 27.5909 | 12.3666
2020-10-23 05:45:00 | 3.943 | 1.323 | 4.619 | 12.6 | 4.9423 | 11.8692 | 5.936 | 358.5 | 8.58 | 978.418 | 30.1179 | 11.5575
2020-10-23 06:00:00 | 3.779 | 354.1 | 4.269 | 12.96 | 4.5678 | 12.2083 | 6.063 | 350.5 | 8.24 | 978.269 | 31.4842 | 9.1817
2020-10-23 06:15:00 | 3.302 | 4.719 | 3.689 | 21.48 | 3.9472 | 20.2342 | 4.884 | 359.3 | 7.891 | 978.12 | 33.4715 | 9.0191
2020-10-23 06:30:00 | 4.627 | 10.99 | 5.53 | 25.02 | 5.9171 | 23.5688 | 4.966 | 9.87 | 7.553 | 978.418 | 33.1338 | 11.369
2020-10-23 06:45:00 | 4.563 | 12.17 | 6.504 | 27.62 | 6.9593 | 26.018 | 5.903 | 15.55 | 7.414 | 978.418 | 33.8856 | 13.2239
2020-10-23 07:00:00 | 4.734 | 17.36 | 7.092 | 30.09 | 7.5884 | 28.3448 | 7.143 | 18.78 | 7.554 | 978.566 | 31.0132 | 13.7153
2020-10-23 07:15:00 | 3.659 | 19.17 | 6.199 | 37.45 | 6.6329 | 35.2779 | 6.651 | 21.53 | 7.664 | 979.012 | 28.5131 | 11.576
2020-10-23 07:30:00 | 4.272 | 16.95 | 6.946 | 31.64 | 7.4322 | 29.8049 | 6.876 | 20.79 | 7.839 | 978.771 | 27.7275 | 12.8507
2020-10-23 07:45:00 | 4.343 | 17.73 | 7.094 | 31.52 | 7.5906 | 29.6918 | 7.082 | 20.95 | 7.841 | 979.01 | 27.3519 | 8.9896
2020-10-23 08:00:00 | 4.216 | 19.5 | 6.235 | 36.55 | 6.6715 | 34.4301 | 6.544 | 23.67 | 8.09 | 979.455 | 28.7489 | 6.2443
2020-10-23 08:15:00 | 3.728 | 21.32 | 5.765 | 36.53 | 6.1685 | 34.4113 | 6.359 | 24.56 | 8.38 | 979.695 | 26.4238 | 4.0865
2020-10-23 08:30:00 | 3.83 | 16.94 | 6.194 | 32.32 | 6.6276 | 30.4454 | 5.959 | 19.85 | 8.78 | 979.952 | 25.192 | 3.6468
2020-10-23 08:45:00 | 4.014 | 20.9 | 5.737 | 36.49 | 6.1386 | 34.3736 | 5.546 | 23.5 | 8.95 | 980.198 | 24.8507 | 3.1997
2020-10-23 09:00:00 | 4.31 | 19.07 | 5.824 | 33.74 | 6.2317 | 31.7831 | 5.292 | 19.61 | 9.22 | 980.492 | 25.3968 | 2.6529
2020-10-23 09:15:00 | 3.897 | 20.83 | 5.9 | 39.64 | 6.313 | 37.3409 | 4.275 | 15.34 | 9.28 | 980.641 | 28.7416 | 4.1936
2020-10-23 09:30:00 | 3.348 | 22.59 | 4.706 | 45.08 | 5.0354 | 42.4654 | 3.557 | 9.28 | 9.62 | 980.789 | 27.6789 | 5.0767
2020-10-23 09:45:00 | 3.494 | 13.94 | 4.584 | 40.31 | 4.9049 | 37.972 | 3.71 | 7.241 | 9.74 | 980.789 | 25.6655 | 6.4364
2020-10-23 10:00:00 | 3.909 | 10.66 | 4.622 | 35.83 | 4.9455 | 33.7519 | 4.466 | 4.736 | 9.9 | 980.76 | 26.8918 | 9.1373
2020-10-23 10:15:00 | 4.535 | 13.28 | 5.233 | 38.53 | 5.5993 | 36.2953 | 4.749 | 2.827 | 9.85 | 980.583 | 24.5692 | 10.2199
2020-10-23 10:30:00 | 5.339 | 14.25 | 6.424 | 34.33 | 6.8737 | 32.3389 | 5.584 | 7.457 | 9.75 | 980.645 | 26.3436 | 15.7105
2020-10-23 10:45:00 | 5.39 | 14.91 | 6.077 | 31.79 | 6.5024 | 29.9462 | 5.602 | 6.727 | 9.8 | 980.462 | 26.992 | 12.3112
2020-10-23 11:00:00 | 3.582 | 17.6 | 5.765 | 38.89 | 6.1685 | 36.6344 | 4.846 | 10.14 | 10.42 | 980.487 | 25.0138 | 11.3469
2020-10-23 11:15:00 | 2.845 | 19.29 | 4.862 | 37.55 | 5.2023 | 35.3721 | 4.594 | 16.21 | 10.97 | 980.377 | 26.1048 | 10.3234
2020-10-23 11:30:00 | 3.651 | 14.53 | 5.348 | 36.83 | 5.7224 | 34.6939 | 5.686 | 4.112 | 11.21 | 980.192 | 25.0128 | 14.2732
2020-10-23 11:45:00 | 3.701 | 11.46 | 5.581 | 29.34 | 5.9717 | 27.6383 | 5.742 | 11.07 | 11.49 | 980.192 | 24.0232 | 12.3408
2020-10-23 12:00:00 | 4.11 | 14.41 | 5.818 | 34.34 | 6.2253 | 32.3483 | 5.577 | 12.11 | 11.16 | 979.896 | 24.262 | 12.5403
2020-10-23 12:15:00 | 2.559 | 357.7 | 4.104 | 15.77 | 4.3913 | 14.8553 | 4.889 | 358.4 | 11.25 | 979.896 | 24.0914 | 11.9085
2020-10-23 12:30:00 | 3.133 | 15.04 | 4.821 | 33.94 | 5.1585 | 31.9715 | 5.502 | 7.671 | 12.55 | 980.044 | 22.5187 | 12.9541
2020-10-23 12:45:00 | 2.814 | 17.69 | 5.44 | 33.67 | 5.8208 | 31.7171 | 5.05 | 11.38 | 11.83 | 979.896 | 23.0963 | 11.0513
2020-10-23 13:00:00 | 4.143 | 9.1 | 5.144 | 28.54 | 5.5041 | 26.8847 | 5.151 | 3.048 | 11.73 | 979.896 | 22.9949 | 10.486
2020-10-23 13:15:00 | 2.138 | 21.6 | 4.388 | 33.53 | 4.6952 | 31.5853 | 5.06 | 21.45 | 12.54 | 979.747 | 21.426 | 9.3664
2020-10-23 13:30:00 | 3.147 | 4.889 | 2.843 | 351.6 | 3.042 | 331.207 | 3.549 | 19.32 | 13.01 | 980.192 | 21.0144 | 7.4747
2020-10-23 13:45:00 | 3.062 | 2.439 | 4.044 | 350.8 | 4.3271 | 330.454 | 4.405 | 20.36 | 12.73 | 979.896 | 20.8095 | 6.8613
2020-10-23 14:00:00 | 2.465 | 13.5 | 3.394 | 21.52 | 3.6316 | 20.2718 | 3.389 | 7.934 | 12.77 | 979.747 | 21.3204 | 7.7887
2020-10-23 14:15:00 | 2.56 | 2.823 | 2.972 | 2.92 | 3.18 | 2.7506 | 4.229 | 9.42 | 13.37 | 980.044 | 20.4673 | 11.369
2020-10-23 14:30:00 | 2.167 | 359 | 3.093 | 8.24 | 3.3095 | 7.7621 | 3.31 | 1.279 | 12.79 | 980.044 | 21.1155 | 9.0635
2020-10-23 14:45:00 | 3.09 | 355.4 | 3.377 | 3.006 | 3.6134 | 2.8316 | 3.743 | 353.1 | 13.22 | 979.896 | 20.9108 | 11.6314
2020-10-23 15:00:00 | 4.16 | 347.9 | 4.806 | 1.917 | 5.1424 | 1.8058 | 4.915 | 345.5 | 12.83 | 979.599 | 20.7744 | 7.0978
2020-10-23 15:15:00 | 1.867 | 313.8 | 2.782 | 341.9 | 2.9767 | 322.07 | 2.782 | 310.8 | 12.87 | 979.747 | 21.1496 | 5.7676
2020-10-23 15:30:00 | 4.08 | 321 | 4.806 | 328.4 | 5.1424 | 309.353 | 4.352 | 328.4 | 12.97 | 979.747 | 20.9449 | 7.0017
2020-10-23 15:45:00 | 4.022 | 350.6 | 4.509 | 6.389 | 4.8246 | 6.0184 | 5.78 | 349.9 | 12.41 | 979.45 | 21.6613 | 5.86
2020-10-23 16:00:00 | 2.4 | 356.9 | 2.625 | 5.691 | 2.8087 | 5.3609 | 3.202 | 349.6 | 12.44 | 979.302 | 22.2074 | 4.4818
2020-10-23 16:15:00 | 1.707 | 319.8 | 2.717 | 337.9 | 2.9072 | 318.302 | 2.95 | 322.8 | 12.62 | 979.302 | 21.696 | 4.3451
2020-10-23 16:30:00 | 3.003 | 339.5 | 3.737 | 354.9 | 3.9986 | 334.316 | 4.362 | 339.5 | 12.23 | 979.005 | 22.3106 | 2.276
2020-10-23 16:45:00 | 2.858 | 357.2 | 3.223 | 17.28 | 3.4486 | 16.2778 | 3.634 | 355.3 | 12.11 | 978.411 | 22.5885 | 1.7329
2020-10-23 17:00:00 | 3.748 | 347.8 | 3.901 | 6.883 | 4.1741 | 6.4838 | 4.601 | 349.7 | 11.85 | 977.817 | 23.136 | 1.622
2020-10-23 17:15:00 | 3.784 | 345.3 | 4.226 | 1.915 | 4.5218 | 1.8039 | 4.217 | 349 | 11.74 | 977.81 | 23.2075 | 1.1713
2020-10-23 17:30:00 | 2.755 | 351.3 | 3.505 | 12 | 3.7504 | 11.304 | 4.054 | 352.5 | 11.54 | 977.522 | 23.5508 | 0.5727
2020-10-23 17:45:00 | 2.194 | 6.915 | 2.49 | 17.96 | 2.6643 | 16.9183 | 2.997 | 2.755 | 11.41 | 977.522 | 24.5434 | 0.6466
2020-10-23 18:00:00 | 2.344 | 3.982 | 3.004 | 17.9 | 3.2143 | 16.8618 | 3.076 | 4.69 | 11.36 | 977.301 | 24.9189 | 0.76853
2020-10-23 18:15:00 | 1.879 | 7.662 | 2.863 | 28.02 | 3.0634 | 26.3948 | 2.653 | 7.936 | 11.19 | 977.238 | 25.0569 | 0.67616
2020-10-23 18:30:00 | 1.589 | 13.74 | 2.592 | 30.75 | 2.7734 | 28.9665 | 2.577 | 11.93 | 11.15 | 977.435 | 25.1284 | 0.49141
2020-10-23 18:45:00 | 1.92 | 15.81 | 3.333 | 34.01 | 3.5663 | 32.0374 | 3.45 | 17.52 | 11.15 | 977.672 | 24.7876 | 0.61334
2020-10-23 19:00:00 | 2.439 | 16.36 | 3.54 | 32.89 | 3.7878 | 30.9824 | 3.69 | 19.24 | 11.18 | 977.524 | 24.5842 | 1.1158
2020-10-23 19:15:00 | 2.262 | 16.84 | 3.633 | 31.39 | 3.8873 | 29.5694 | 3.837 | 19.44 | 11.11 | 977.673 | 24.6873 | 1.3523
2020-10-23 19:30:00 | 1.467 | 19.23 | 2.932 | 37.34 | 3.1372 | 35.1743 | 3.504 | 20.77 | 10.99 | 977.821 | 24.927 | 1.1491
2020-10-23 19:45:00 | 1.984 | 25.96 | 2.812 | 43.64 | 3.0088 | 41.1089 | 3.247 | 28.14 | 11.06 | 978.118 | 24.62 | 0.11084
2020-10-23 20:00:00 | 2.354 | 31.59 | 2.743 | 45.23 | 2.935 | 42.6067 | 3.025 | 33.38 | 11.16 | 978.118 | 24.3811 | 0.3547
2020-10-23 20:15:00 | 2.352 | 29.65 | 3.093 | 48.99 | 3.3095 | 46.1486 | 3.392 | 33.92 | 11.1 | 978.118 | 24.586 | 0.15149
2020-10-23 20:30:00 | 1.7 | 26.52 | 2.981 | 45.49 | 3.1897 | 42.8516 | 3.005 | 29.57 | 11.11 | 978.118 | 24.3811 | -0.34362
2020-10-23 20:45:00 | 1.956 | 27.11 | 2.38 | 49.22 | 2.5466 | 46.3652 | 2.615 | 32.73 | 11.15 | 978.118 | 24.5177 | -0.26972
2020-10-23 21:00:00 | 1.491 | 18.47 | 2.393 | 39.2 | 2.5605 | 36.9264 | 2.348 | 23.39 | 11.28 | 978.267 | 23.9713 | -0.24016
2020-10-23 21:15:00 | 1.391 | 22.03 | 2.165 | 37.87 | 2.3165 | 35.6735 | 1.973 | 21.94 | 11.43 | 978.415 | 23.8347 | -0.24016
2020-10-23 21:30:00 | 1.706 | 14.21 | 2.508 | 34.71 | 2.6836 | 32.6968 | 1.823 | 11.82 | 11.43 | 978.415 | 23.9713 | -0.24016
2020-10-23 21:45:00 | 2.15 | 3.672 | 2.334 | 25.48 | 2.4974 | 24.0022 | 2.271 | 5.593 | 11.52 | 978.564 | 23.8347 | -0.24016
2020-10-23 22:00:00 | 1.67 | 9.97 | 1.996 | 23.11 | 2.1357 | 21.7696 | 1.943 | 5.537 | 11.43 | 978.712 | 23.6981 | -0.26972
2020-10-23 22:15:00 | 1.189 | 4.666 | 1.845 | 23.11 | 1.9742 | 21.7696 | 1.635 | 5.559 | 11.54 | 978.712 | 23.4933 | -0.26972
2020-10-23 22:30:00 | 0.052 | 4.637 | 1.485 | 23.11 | 1.589 | 21.7696 | 1.365 | 5.559 | 11.47 | 978.712 | 23.5615 | -0.26972
2020-10-23 22:45:00 | 1.011 | 13.97 | 1.935 | 24.38 | 2.0705 | 22.966 | 1.693 | 8.21 | 11.33 | 978.415 | 23.8346 | -0.26972
2020-10-23 23:00:00 | 1.127 | 44.26 | 1.835 | 33.7 | 1.9634 | 31.7454 | 1.701 | 9.43 | 11.39 | 978.415 | 23.6298 | -0.26972
2020-10-23 23:15:00 | 1.496 | 17.17 | 2.017 | 33.06 | 2.1582 | 31.1425 | 1.359 | 9.46 | 11.43 | 978.415 | 23.6298 | -0.26972
2020-10-23 23:30:00 | 1.662 | 7.886 | 2.313 | 31.58 | 2.4749 | 29.7484 | 1.803 | 9.46 | 11.4 | 978.415 | 23.7664 | -0.26972
2020-10-23 23:45:00 | 0.605 | 16.46 | 1.978 | 33.45 | 2.1165 | 31.5099 | 1.813 | 23.7 | 11.28 | 978.118 | 23.7664 | -0.26972