## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-24 00:00:00 | 2.02 | 33.17 | 2.155 | 50.09 | 2.3058 | 47.1848 | 2.014 | 34.65 | 11.28 | 978.415 | 23.9713 | -0.26972
2020-10-24 00:15:00 | 2.265 | 34.39 | 2.16 | 55.75 | 2.3112 | 52.5165 | 1.624 | 40.36 | 11.36 | 978.415 | 23.903 | -0.25864
2020-10-24 00:30:00 | 1.844 | 39.69 | 1.812 | 54.82 | 1.9388 | 51.6404 | 1.477 | 41.34 | 11.41 | 978.415 | 23.6981 | -0.26972
2020-10-24 00:45:00 | 2.081 | 38.87 | 2.063 | 57.32 | 2.2074 | 53.9954 | 1.5 | 42.3 | 11.33 | 978.118 | 23.7664 | -0.24016
2020-10-24 01:00:00 | 2.27 | 38.24 | 2.124 | 55.85 | 2.2727 | 52.6107 | 1.416 | 41.1 | 11.43 | 978.118 | 23.8006 | -0.26972
2020-10-24 01:15:00 | 2.571 | 43.78 | 2.572 | 62.84 | 2.752 | 59.1953 | 1.647 | 46.01 | 11.37 | 978.118 | 23.9713 | -0.26972
2020-10-24 01:30:00 | 2.086 | 46.85 | 1.981 | 67.73 | 2.1197 | 63.8017 | 1.186 | 50.59 | 11.42 | 978.118 | 23.7664 | -0.26233
2020-10-24 01:45:00 | 1.519 | 38.86 | 1.456 | 64.17 | 1.5579 | 60.4481 | 0.266 | 36.06 | 11.43 | 978.118 | 23.8006 | -0.26972
2020-10-24 02:00:00 | 0.9 | 38.93 | 1.203 | 64.17 | 1.2872 | 60.4481 | 0.037 | 36.05 | 11.39 | 978.118 | 24.2445 | -0.28081
2020-10-24 02:15:00 | 0.283 | 57.89 | 1.053 | 66.3 | 1.1267 | 62.4546 | 0.037 | 36.02 | 11.24 | 978.118 | 24.7226 | -0.24755
2020-10-24 02:30:00 | 1.697 | 72.77 | 1.562 | 151.8 | 1.6713 | 142.996 | 0 | 36.29 | 10.55 | 978.118 | 25.6104 | -0.081287
2020-10-24 02:45:00 | 1.227 | 74.6 | 1.955 | 155.5 | 2.0918 | 146.481 | 0 | 36.29 | 10.69 | 978.149 | 25.1323 | 0.33993
2020-10-24 03:00:00 | 1.72 | 146.9 | 2.367 | 167.2 | 2.5327 | 157.502 | 1.477 | 140.8 | 10.51 | 978.239 | 26.0884 | 1.3819
2020-10-24 03:15:00 | 2.691 | 141.1 | 3.845 | 157.9 | 4.1142 | 148.742 | 3.025 | 148.5 | 10.22 | 978.162 | 27.1811 | 2.7453
2020-10-24 03:30:00 | 4.226 | 142.4 | 4.745 | 157.8 | 5.0771 | 148.648 | 3.32 | 151.4 | 10.05 | 978.178 | 27.7958 | 4.0717
2020-10-24 03:45:00 | 4.206 | 142.7 | 5.067 | 157.6 | 5.4217 | 148.459 | 3.769 | 150.3 | 10.01 | 978.238 | 27.9324 | 3.972
2020-10-24 04:00:00 | 3.018 | 139.9 | 4.185 | 157.4 | 4.4779 | 148.271 | 4.319 | 148 | 9.34 | 978.243 | 29.5714 | 3.7059
2020-10-24 04:15:00 | 3.511 | 148.8 | 4.085 | 165.4 | 4.3709 | 155.807 | 3.797 | 155.8 | 9.5 | 978.226 | 29.0934 | 4.4708
2020-10-24 04:30:00 | 3.442 | 147.2 | 4.047 | 164.3 | 4.3303 | 154.771 | 3.87 | 153.1 | 9.54 | 978.414 | 28.3763 | 3.9165
2020-10-24 04:45:00 | 3.478 | 146 | 3.906 | 164.8 | 4.1794 | 155.242 | 3.203 | 153.9 | 9.92 | 978.413 | 27.5226 | 4.2269
2020-10-24 05:00:00 | 3.069 | 154.3 | 3.39 | 168.9 | 3.6273 | 159.104 | 3.506 | 158.9 | 9.69 | 978.418 | 28.6836 | 5.1839
2020-10-24 05:15:00 | 2.992 | 149.5 | 3.911 | 162.7 | 4.1848 | 153.263 | 3.99 | 158.6 | 9.4 | 978.417 | 29.3666 | 5.9117
2020-10-24 05:30:00 | 2.542 | 155.5 | 3.16 | 168.1 | 3.3812 | 158.35 | 3.799 | 160.8 | 9.64 | 978.418 | 28.308 | 6.0226
2020-10-24 05:45:00 | 2.377 | 152.9 | 3.039 | 166.7 | 3.2517 | 157.031 | 4.049 | 160 | 9.5 | 978.418 | 29.2983 | 6.163
2020-10-24 06:00:00 | 3.369 | 151.4 | 3.921 | 166.1 | 4.1955 | 156.466 | 3.84 | 158.4 | 9.49 | 978.566 | 28.8202 | 7.6742
2020-10-24 06:15:00 | 2.34 | 148.8 | 3.727 | 171.3 | 3.9879 | 161.365 | 4.189 | 156.4 | 9.42 | 978.566 | 29.5032 | 7.9883
2020-10-24 06:30:00 | 3.141 | 150.7 | 4.282 | 168.6 | 4.5817 | 158.821 | 4 | 154.2 | 9.41 | 978.715 | 29.5032 | 7.8848
2020-10-24 06:45:00 | 2.97 | 157.3 | 3.333 | 173 | 3.5663 | 162.966 | 3.626 | 158.5 | 9.57 | 978.998 | 28.9568 | 8.3836
2020-10-24 07:00:00 | 3.074 | 154.2 | 4.215 | 167.6 | 4.51 | 157.879 | 4.357 | 160.1 | 9.71 | 978.867 | 28.9568 | 8.9304
2020-10-24 07:15:00 | 4.846 | 151 | 4.844 | 164.1 | 5.1831 | 154.582 | 4.548 | 157.4 | 9.71 | 979.288 | 29.0216 | 9.226
2020-10-24 07:30:00 | 5.025 | 148.4 | 5.394 | 162.9 | 5.7716 | 153.452 | 4.838 | 154.7 | 9.8 | 979.382 | 28.606 | 8.7346
2020-10-24 07:45:00 | 4.688 | 140.4 | 5.376 | 156.1 | 5.7523 | 147.046 | 5.078 | 146.3 | 10.32 | 979.608 | 28.0594 | 8.4575
2020-10-24 08:00:00 | 5.224 | 142.1 | 5.778 | 159.8 | 6.1825 | 150.532 | 5.197 | 146.8 | 10.59 | 979.601 | 28.1277 | 7.7111
2020-10-24 08:15:00 | 4.06 | 147.4 | 3.975 | 165 | 4.2533 | 155.43 | 3.725 | 150.2 | 11.02 | 980.195 | 27.9174 | 6.7948
2020-10-24 08:30:00 | 4.739 | 143.8 | 4.543 | 158.9 | 4.861 | 149.684 | 3.891 | 151.2 | 11.14 | 980.492 | 27.7133 | 5.3169
2020-10-24 08:45:00 | 4.474 | 146 | 4.325 | 163.6 | 4.6277 | 154.111 | 3.152 | 153.6 | 11.85 | 980.446 | 26.1391 | 4.6555
2020-10-24 09:00:00 | 4.55 | 146.6 | 4.356 | 162.6 | 4.6609 | 153.169 | 3.799 | 151.4 | 12.36 | 980.49 | 25.2517 | 4.3119
2020-10-24 09:15:00 | 4.645 | 145.5 | 4.509 | 161.9 | 4.8246 | 152.51 | 3.664 | 151.7 | 12.12 | 980.489 | 25.9302 | 3.2958
2020-10-24 09:30:00 | 3.927 | 148.6 | 3.735 | 163.8 | 3.9964 | 154.3 | 2.783 | 157.1 | 12.36 | 980.489 | 25.6538 | 2.6862
2020-10-24 09:45:00 | 4.07 | 154.3 | 3.863 | 173.5 | 4.1334 | 163.437 | 2.865 | 157.7 | 12.88 | 980.638 | 24.0833 | 2.5864
2020-10-24 10:00:00 | 4.573 | 156.5 | 4.313 | 172.8 | 4.6149 | 162.778 | 3.086 | 162.8 | 12.98 | 980.786 | 25.7206 | 4.0237
2020-10-24 10:15:00 | 5.62 | 141.7 | 5.057 | 159.9 | 5.411 | 150.626 | 4.005 | 147.9 | 12.66 | 980.478 | 26.8463 | 4.2491
2020-10-24 10:30:00 | 4.77 | 149.8 | 4.474 | 163.9 | 4.7872 | 154.394 | 3.606 | 155.2 | 12.87 | 980.488 | 26.3005 | 3.802
2020-10-24 10:45:00 | 4.943 | 150.7 | 4.75 | 166.7 | 5.0825 | 157.031 | 3.682 | 158.2 | 13.16 | 980.192 | 26.6075 | 2.9891
2020-10-24 11:00:00 | 4.913 | 144.1 | 4.729 | 156.5 | 5.06 | 147.423 | 3.939 | 151.9 | 13.31 | 980.192 | 29.6777 | 3.2662
2020-10-24 11:15:00 | 5.278 | 172.8 | 5.026 | 195.8 | 5.3778 | 184.444 | 4.26 | 174.2 | 14.34 | 980.146 | 28.1767 | 2.616
2020-10-24 11:30:00 | 4.497 | 158.5 | 4.489 | 173.6 | 4.8032 | 163.531 | 3.911 | 165.7 | 14.55 | 979.893 | 28.4496 | 1.3191
2020-10-24 11:45:00 | 4.412 | 163.8 | 4.463 | 185.9 | 4.7754 | 175.118 | 3.715 | 173.5 | 14.78 | 979.727 | 26.744 | 0.45447
2020-10-24 12:00:00 | 4.571 | 176.7 | 4.139 | 197.2 | 4.4287 | 185.762 | 3.715 | 179.2 | 14.74 | 979.423 | 26.4711 | 0.33993
2020-10-24 12:15:00 | 4.124 | 165.7 | 4.011 | 181.6 | 4.2918 | 171.067 | 2.936 | 173.6 | 15.04 | 979.153 | 25.5842 | -0.11454
2020-10-24 12:30:00 | 4.9 | 193.9 | 4.264 | 204.1 | 4.5625 | 192.262 | 3.201 | 194.7 | 14.89 | 979.088 | 24.7655 | -0.084981
2020-10-24 12:45:00 | 5.035 | 193 | 4.54 | 203.5 | 4.8578 | 191.697 | 3.613 | 196.3 | 15.01 | 979.133 | 24.4585 | -0.28081
2020-10-24 13:00:00 | 4.951 | 201 | 4.888 | 210.4 | 5.2302 | 198.197 | 3.84 | 205.9 | 15.5 | 979.119 | 24.9019 | -0.26233
2020-10-24 13:15:00 | 4.882 | 198.3 | 4.671 | 208.1 | 4.998 | 196.03 | 4.258 | 200.8 | 15.03 | 978.759 | 25.0384 | -0.2143
2020-10-24 13:30:00 | 5.337 | 198.7 | 4.87 | 210.8 | 5.2109 | 198.574 | 4.1 | 196.2 | 15.24 | 978.644 | 24.9019 | -0.0036948
2020-10-24 13:45:00 | 3.835 | 200.4 | 3.556 | 215 | 3.8049 | 202.53 | 3.005 | 199.4 | 15.5 | 978.572 | 23.7762 | 0.033254
2020-10-24 14:00:00 | 4.918 | 186.2 | 4.44 | 202.5 | 4.7508 | 190.755 | 3.842 | 194.5 | 15.54 | 978.821 | 24.4926 | 0.58748
2020-10-24 14:15:00 | 5.778 | 185.6 | 5.315 | 197.7 | 5.6871 | 186.233 | 4.606 | 188.4 | 15.2 | 978.611 | 24.9702 | 0.77961
2020-10-24 14:30:00 | 5.278 | 189.2 | 5.215 | 210.7 | 5.58 | 198.479 | 4.558 | 184.5 | 15.57 | 978.587 | 24.2197 | 0.35101
2020-10-24 14:45:00 | 4.612 | 190.1 | 4.428 | 203.4 | 4.738 | 191.603 | 4.097 | 193.9 | 15.52 | 978.549 | 23.5374 | 1.7698
2020-10-24 15:00:00 | 5.73 | 156.8 | 5.489 | 174 | 5.8732 | 163.908 | 4.892 | 163 | 15.51 | 978.829 | 23.1281 | 2.3795
2020-10-24 15:15:00 | 4.969 | 140.7 | 4.78 | 154.3 | 5.1146 | 145.351 | 4.059 | 150.8 | 15.24 | 979.258 | 23.3328 | 2.361
2020-10-24 15:30:00 | 4.964 | 153.6 | 4.614 | 168.1 | 4.937 | 158.35 | 3.955 | 157.9 | 15.31 | 979.051 | 22.0365 | 1.6257
2020-10-24 15:45:00 | 4.269 | 149.9 | 4.333 | 166.7 | 4.6363 | 157.031 | 3.771 | 157.3 | 15.46 | 979.069 | 21.6272 | 1.6146
2020-10-24 16:00:00 | 4.346 | 141.7 | 4.333 | 160.1 | 4.6363 | 150.814 | 3.491 | 146.5 | 15.55 | 979.084 | 23.9468 | 2.0913
2020-10-24 16:15:00 | 4.716 | 149.6 | 4.717 | 165.3 | 5.0472 | 155.713 | 4.082 | 153.7 | 15.18 | 978.859 | 25.9935 | 4.0274
2020-10-24 16:30:00 | 5.227 | 139.1 | 5.343 | 155 | 5.717 | 146.01 | 4.724 | 146.1 | 15.06 | 978.555 | 26.9487 | 5.6901
2020-10-24 16:45:00 | 4.522 | 148.3 | 4.821 | 163.2 | 5.1585 | 153.734 | 4.953 | 156.5 | 14.86 | 978.114 | 27.7674 | 6.8502
2020-10-24 17:00:00 | 5.01 | 144.2 | 5.351 | 160.3 | 5.7256 | 151.003 | 5.755 | 149.5 | 14.59 | 977.52 | 28.4505 | 9.7359
2020-10-24 17:15:00 | 4.926 | 154 | 4.921 | 168.9 | 5.2655 | 159.104 | 5.078 | 161.2 | 14.31 | 976.927 | 27.7083 | 11.4984
2020-10-24 17:30:00 | 4.92 | 150.5 | 5.259 | 169.9 | 5.6271 | 160.046 | 5.768 | 155.4 | 14.24 | 976.997 | 28.4598 | 12.374
2020-10-24 17:45:00 | 3.84 | 163.1 | 4.123 | 175.4 | 4.4116 | 165.227 | 4.306 | 168.4 | 14.07 | 976.928 | 28.1224 | 12.5514
2020-10-24 18:00:00 | 3.751 | 168.4 | 3.934 | 181.7 | 4.2094 | 171.161 | 4.255 | 169.2 | 14.02 | 976.928 | 29.0781 | 12.0895
2020-10-24 18:15:00 | 4.576 | 147.5 | 5.361 | 163.2 | 5.7363 | 153.734 | 6.911 | 151.7 | 13.57 | 976.78 | 30.5141 | 10.6744
2020-10-24 18:30:00 | 5.268 | 147.5 | 5.657 | 166.4 | 6.053 | 156.749 | 7.217 | 152.7 | 13.53 | 976.631 | 29.5613 | 13.1758
2020-10-24 18:45:00 | 4.596 | 157.9 | 4.768 | 176.3 | 5.1018 | 166.075 | 5.304 | 160.4 | 13.6 | 976.78 | 28.469 | 14.3027
2020-10-24 19:00:00 | 5.028 | 159.7 | 5.036 | 186.4 | 5.3885 | 175.589 | 5.788 | 161.1 | 13.82 | 976.631 | 28.7421 | 15.9765
2020-10-24 19:15:00 | 5.132 | 161.3 | 5.103 | 177 | 5.4602 | 166.734 | 6.432 | 161.8 | 13.57 | 976.631 | 28.6738 | 20.6098
2020-10-24 19:30:00 | 6.509 | 145.8 | 7.153 | 161.6 | 7.6537 | 152.227 | 8.47 | 153 | 13.36 | 976.334 | 29.22 | 22.9782
2020-10-24 19:45:00 | 7.315 | 145.7 | 7.46 | 162.4 | 7.9822 | 152.981 | 8.42 | 152.3 | 13.03 | 976.037 | 31.6095 | 31.8052
2020-10-24 20:00:00 | 7.64 | 146.8 | 8.5 | 162.9 | 9.095 | 153.452 | 9.51 | 154 | 12.76 | 976.037 | 34.0672 | 33.6083
2020-10-24 20:15:00 | 7.068 | 154.6 | 7.194 | 172.1 | 7.6976 | 162.118 | 7.235 | 158.6 | 12.76 | 976.037 | 35.0913 | 31.1106
2020-10-24 20:30:00 | 6.851 | 155.3 | 7.36 | 169.7 | 7.8752 | 159.857 | 7.831 | 161 | 12.57 | 976.037 | 34.1355 | 30.7744
2020-10-24 20:45:00 | 6.848 | 150.1 | 7.646 | 164.3 | 8.1812 | 154.771 | 8.84 | 156.2 | 12.62 | 975.75 | 35.2961 | 32.2449
2020-10-24 21:00:00 | 7.558 | 146.7 | 8.56 | 161.7 | 9.1592 | 152.321 | 9.49 | 154.4 | 12.68 | 975.78 | 33.4528 | 33.9445
2020-10-24 21:15:00 | 7.201 | 145.7 | 8.32 | 161.7 | 8.9024 | 152.321 | 9.57 | 152.6 | 12.77 | 975.775 | 33.0432 | 37.7983
2020-10-24 21:30:00 | 6.422 | 148.6 | 7.452 | 168.8 | 7.9736 | 159.01 | 8.75 | 153.7 | 12.76 | 976.08 | 33.0432 | 34.3473
2020-10-24 21:45:00 | 7.165 | 154.3 | 7.104 | 168.7 | 7.6013 | 158.915 | 7.561 | 161.5 | 12.87 | 975.918 | 32.1557 | 27.0721
2020-10-24 22:00:00 | 6.447 | 156.7 | 6.519 | 175.2 | 6.9753 | 165.038 | 7.181 | 158.4 | 12.6 | 976.062 | 32.9749 | 22.0804
2020-10-24 22:15:00 | 5.574 | 152.8 | 5.755 | 172.5 | 6.1578 | 162.495 | 6.98 | 155.1 | 12.2 | 976.083 | 33.3163 | 18.0567
2020-10-24 22:30:00 | 5.743 | 156.8 | 6.125 | 170.2 | 6.5537 | 160.328 | 6.919 | 161.8 | 12.38 | 976.394 | 33.248 | 19.3203
2020-10-24 22:45:00 | 6.233 | 155.2 | 6.747 | 169.7 | 7.2193 | 159.857 | 7.387 | 161 | 12.4 | 976.351 | 33.6918 | 22.6014
2020-10-24 23:00:00 | 6.511 | 155.5 | 6.992 | 170.3 | 7.4814 | 160.423 | 7.398 | 161.7 | 12.27 | 976.221 | 34.2721 | 25.4944
2020-10-24 23:15:00 | 6.432 | 156.1 | 7.002 | 171.4 | 7.4921 | 161.459 | 7.894 | 161.2 | 12.03 | 976.091 | 34.75 | 32.4629
2020-10-24 23:30:00 | 6.481 | 153.4 | 6.869 | 171.2 | 7.3498 | 161.27 | 7.576 | 161.1 | 11.94 | 976.088 | 34.5451 | 34.7944
2020-10-24 23:45:00 | 6.355 | 148.2 | 6.729 | 165.3 | 7.2 | 155.713 | 7.67 | 153.9 | 11.97 | 976.131 | 34.8865 | 41.4525