## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-25 00:00:00 | 7.152 | 153.3 | 7.892 | 168.8 | 8.4444 | 159.01 | 8.79 | 159.7 | 11.99 | 975.848 | 34.5451 | 44.2753
2020-10-25 00:15:00 | 6.772 | 160.3 | 6.951 | 173.2 | 7.4376 | 163.154 | 7.161 | 166 | 12.18 | 975.973 | 34.3403 | 42.6829
2020-10-25 00:30:00 | 6.943 | 153.5 | 7.375 | 167.4 | 7.8913 | 157.691 | 8.3 | 159.1 | 12.11 | 976.08 | 34.0672 | 47.0982
2020-10-25 00:45:00 | 8.16 | 148.4 | 8.3 | 162.9 | 8.881 | 153.452 | 8.55 | 155.3 | 12.18 | 976.045 | 33.999 | 48.4948
2020-10-25 01:00:00 | 6.973 | 153 | 7.516 | 171.7 | 8.0421 | 161.741 | 8.91 | 156.4 | 11.98 | 975.785 | 35.3644 | 53.2944
2020-10-25 01:15:00 | 7.042 | 151 | 7.519 | 171.8 | 8.0453 | 161.836 | 9.11 | 155.5 | 12.24 | 975.487 | 35.5009 | 52.2636
2020-10-25 01:30:00 | 6.647 | 150.2 | 7.437 | 169.8 | 7.9576 | 159.952 | 8.19 | 153.5 | 12.33 | 975.483 | 35.5692 | 49.3705
2020-10-25 01:45:00 | 6.973 | 154.3 | 7.805 | 171.8 | 8.3514 | 161.836 | 8.99 | 157.2 | 12.17 | 975.614 | 35.2961 | 49.1008
2020-10-25 02:00:00 | 7.448 | 150.9 | 7.91 | 165.3 | 8.4637 | 155.713 | 8.85 | 153.2 | 12.12 | 975.447 | 35.2961 | 58.0017
2020-10-25 02:15:00 | 6.71 | 155.6 | 7.01 | 173.7 | 7.5007 | 163.625 | 8.14 | 157.3 | 12.27 | 975.19 | 36.1836 | 52.6027
2020-10-25 02:30:00 | 9.82 | 147.7 | 9.48 | 163.3 | 10.1436 | 153.829 | 10.49 | 152.8 | 12.03 | 973.962 | 37.1053 | 76.535
2020-10-25 02:45:00 | 10.58 | 150.2 | 10.63 | 171.2 | 11.3741 | 161.27 | 11.18 | 153.6 | 11.74 | 973.826 | 38.8462 | 61.8702
2020-10-25 03:00:00 | 8.72 | 150.1 | 9.04 | 170.7 | 9.6728 | 160.799 | 9.83 | 154.4 | 11.84 | 974.334 | 38.7779 | 48.3676
2020-10-25 03:15:00 | 7.203 | 151.5 | 7.554 | 172.1 | 8.0828 | 162.118 | 8.99 | 152.3 | 11.58 | 974.627 | 40.0068 | 32.7474
2020-10-25 03:30:00 | 6.253 | 157.4 | 6.542 | 176.8 | 6.9999 | 166.546 | 7.741 | 158.2 | 11.62 | 974.615 | 39.7337 | 32.4851
2020-10-25 03:45:00 | 5.589 | 142.8 | 5.951 | 162.3 | 6.3676 | 152.887 | 6.697 | 146.8 | 11.8 | 974.65 | 39.3924 | 34.2032
2020-10-25 04:00:00 | 6.769 | 140.4 | 7.383 | 160.1 | 7.8998 | 150.814 | 7.978 | 145.6 | 11.88 | 974.31 | 39.5289 | 38.1123
2020-10-25 04:15:00 | 7.443 | 138.5 | 7.327 | 154.7 | 7.8399 | 145.727 | 8.04 | 143.6 | 11.94 | 974.322 | 39.4607 | 40.3145
2020-10-25 04:30:00 | 6.021 | 143.9 | 6.453 | 164.8 | 6.9047 | 155.242 | 7.744 | 146.8 | 11.83 | 974.443 | 40.4165 | 49.6292
2020-10-25 04:45:00 | 6.838 | 142.7 | 6.951 | 158.4 | 7.4376 | 149.213 | 7.966 | 149.1 | 11.86 | 974.447 | 41.0309 | 38.9104
2020-10-25 05:00:00 | 6.682 | 153.1 | 6.759 | 173.1 | 7.2321 | 163.06 | 7.502 | 153.9 | 11.5 | 974.875 | 42.8059 | 46.5624
2020-10-25 05:15:00 | 7.045 | 150.3 | 7.347 | 170.2 | 7.8613 | 160.328 | 8.49 | 152.4 | 11.14 | 974.31 | 43.7959 | 50.1723
2020-10-25 05:30:00 | 6.721 | 146.8 | 7.186 | 162.3 | 7.689 | 152.887 | 7.713 | 149 | 11.17 | 974.31 | 44.1725 | 44.933
2020-10-25 05:45:00 | 6.601 | 149.9 | 7.102 | 168.1 | 7.5991 | 158.35 | 7.96 | 152.8 | 11.13 | 974.299 | 45.4046 | 51.6059
2020-10-25 06:00:00 | 6.432 | 153.8 | 6.961 | 173.2 | 7.4483 | 163.154 | 8.03 | 154.6 | 10.83 | 974.304 | 46.3622 | 45.9085
2020-10-25 06:15:00 | 6.621 | 147.4 | 7.122 | 171.2 | 7.6205 | 161.27 | 8.29 | 148.4 | 10.71 | 974.056 | 46.1581 | 48.9752
2020-10-25 06:30:00 | 5.171 | 150.5 | 5.417 | 175.5 | 5.7962 | 165.321 | 7.072 | 152.5 | 10.85 | 974.142 | 45.1695 | 44.7926
2020-10-25 06:45:00 | 6.274 | 150.6 | 6.24 | 174.7 | 6.6768 | 164.567 | 7.146 | 151.6 | 11.16 | 974.439 | 44.3153 | 48.3101
2020-10-25 07:00:00 | 9.63 | 143.5 | 10.11 | 160.6 | 10.8177 | 151.285 | 10.54 | 148.2 | 11.6 | 974.172 | 41.9908 | 51.4322
2020-10-25 07:15:00 | 8.52 | 142.6 | 9.01 | 162.3 | 9.6407 | 152.887 | 9.58 | 147.5 | 11.55 | 974.296 | 42.5329 | 49.4703
2020-10-25 07:30:00 | 7.75 | 147 | 7.529 | 161.8 | 8.056 | 152.416 | 8.23 | 152.5 | 11.42 | 974.736 | 43.079 | 50.7672
2020-10-25 07:45:00 | 7.538 | 147.9 | 7.882 | 165.8 | 8.4337 | 156.184 | 9.46 | 150.6 | 11.66 | 975.004 | 43.1473 | 52.138
2020-10-25 08:00:00 | 6.994 | 145.7 | 6.803 | 179.2 | 7.2792 | 168.806 | 7.334 | 149 | 11.39 | 974.998 | 43.83 | 53.9432
2020-10-25 08:15:00 | 8.55 | 146.7 | 8.69 | 166.5 | 9.2983 | 156.843 | 9.3 | 149.2 | 12 | 975.444 | 43.1473 | 54.8344
2020-10-25 08:30:00 | 9.63 | 149.2 | 9.53 | 166.3 | 10.1971 | 156.655 | 10.13 | 153.3 | 11.67 | 975.741 | 43.8955 | 50.3607
2020-10-25 08:45:00 | 9.58 | 150 | 9.6 | 166 | 10.272 | 156.372 | 9.69 | 156.2 | 11.9 | 975.741 | 44.782 | 50.411
2020-10-25 09:00:00 | 9.93 | 149.1 | 10.02 | 164.4 | 10.7214 | 154.865 | 9.96 | 155.8 | 12.22 | 975.741 | 44.0264 | 54.7872
2020-10-25 09:15:00 | 8.9 | 152.8 | 8.85 | 170.5 | 9.4695 | 160.611 | 8.79 | 157.4 | 12.62 | 976.038 | 42.0474 | 51.3694
2020-10-25 09:30:00 | 10.45 | 151.6 | 10.57 | 169.7 | 11.3099 | 159.857 | 10.18 | 155.8 | 12.91 | 976.038 | 41.1593 | 46.773
2020-10-25 09:45:00 | 9.42 | 160.2 | 9.41 | 173 | 10.0687 | 162.966 | 8.63 | 165.8 | 13.78 | 976.072 | 39.4132 | 46.9689
2020-10-25 10:00:00 | 7.195 | 156.3 | 7.314 | 173.9 | 7.826 | 163.814 | 6.809 | 164.7 | 13.86 | 976.336 | 37.9799 | 41.1088
2020-10-25 10:15:00 | 8.12 | 161.6 | 8.03 | 175.3 | 8.5921 | 165.133 | 7.983 | 166.4 | 14.16 | 976.036 | 36.8538 | 42.5389
2020-10-25 10:30:00 | 9.35 | 153.4 | 9.37 | 171.5 | 10.0259 | 161.553 | 9.45 | 157.6 | 14.23 | 975.739 | 38.5512 | 40.4327
2020-10-25 10:45:00 | 7.132 | 163.6 | 7.212 | 176.6 | 7.7168 | 166.357 | 6.977 | 169.2 | 14.44 | 975.739 | 37.2571 | 38.9437
2020-10-25 11:00:00 | 7.298 | 159.1 | 7.519 | 174.7 | 8.0453 | 164.567 | 6.552 | 167.5 | 14.72 | 975.739 | 36.9111 | 37.8943
2020-10-25 11:15:00 | 8.55 | 157 | 8.63 | 168.3 | 9.2341 | 158.539 | 7.713 | 163.4 | 15.03 | 975.888 | 36.7061 | 35.3006
2020-10-25 11:30:00 | 7.992 | 167.2 | 8.03 | 179.8 | 8.5921 | 169.372 | 6.55 | 174.9 | 15.92 | 975.739 | 35.7155 | 37.2868
2020-10-25 11:45:00 | 9.04 | 155.9 | 8.85 | 170.6 | 9.4695 | 160.705 | 8.14 | 165.1 | 15.5 | 975.443 | 35.2038 | 49.4355
2020-10-25 12:00:00 | 6.565 | 166.2 | 6.629 | 182.7 | 7.093 | 172.103 | 6.669 | 170.4 | 15.88 | 975.146 | 34.1805 | 41.9476
2020-10-25 12:15:00 | 7.51 | 175.1 | 7.409 | 193.4 | 7.9276 | 182.183 | 7.181 | 171.5 | 16.24 | 975.146 | 34.2487 | 35.67
2020-10-25 12:30:00 | 7.119 | 148.5 | 6.946 | 167.9 | 7.4322 | 158.162 | 6.31 | 153.6 | 16.33 | 975.406 | 33.3959 | 31.2547
2020-10-25 12:45:00 | 6.57 | 156.7 | 6.481 | 174.7 | 6.9347 | 164.567 | 5.483 | 160.8 | 16.74 | 975.734 | 33.6688 | 26.274
2020-10-25 13:00:00 | 7.264 | 164.8 | 7.018 | 176 | 7.5093 | 165.792 | 5.974 | 174 | 16.9 | 975.563 | 32.3384 | 27.497
2020-10-25 13:15:00 | 6.192 | 173.6 | 6.005 | 190 | 6.4253 | 178.98 | 5.398 | 178.3 | 16.95 | 974.903 | 31.5879 | 19.3721
2020-10-25 13:30:00 | 7.972 | 181.3 | 7.739 | 195.9 | 8.2807 | 184.538 | 7.005 | 183.5 | 17.34 | 974.851 | 31.9628 | 20.6062
2020-10-25 13:45:00 | 7.584 | 140.3 | 7.572 | 159.5 | 8.102 | 150.249 | 7.326 | 146.8 | 16.95 | 975.293 | 33.0526 | 19.3499
2020-10-25 14:00:00 | 6.631 | 150.7 | 6.552 | 166.9 | 7.0106 | 157.22 | 6.114 | 160.6 | 17.26 | 974.848 | 32.542 | 24.9143
2020-10-25 14:15:00 | 7.121 | 153.6 | 7.268 | 170.1 | 7.7768 | 160.234 | 6.702 | 159.7 | 17.69 | 975.145 | 32.1287 | 21.6998
2020-10-25 14:30:00 | 7.89 | 145.8 | 7.861 | 162.4 | 8.4113 | 152.981 | 7.423 | 151.9 | 17.49 | 974.848 | 30.9005 | 22.2245
2020-10-25 14:45:00 | 6.601 | 162.8 | 6.568 | 183.8 | 7.0278 | 173.14 | 5.865 | 164.5 | 17.61 | 974.848 | 31.3097 | 23.3736
2020-10-25 15:00:00 | 5.998 | 152.7 | 5.911 | 173.4 | 6.3248 | 163.343 | 5.261 | 157.8 | 17.76 | 974.996 | 31.4461 | 25.827
2020-10-25 15:15:00 | 8.13 | 153.3 | 8.19 | 170.6 | 8.7633 | 160.705 | 7.617 | 158.3 | 17.48 | 974.848 | 31.2415 | 23.8428
2020-10-25 15:30:00 | 7.742 | 154.1 | 7.468 | 171.1 | 7.9908 | 161.176 | 7.217 | 157.7 | 17.48 | 974.848 | 31.0369 | 20.4768
2020-10-25 15:45:00 | 7.009 | 150.5 | 7.166 | 170.3 | 7.6676 | 160.423 | 6.634 | 154.5 | 17.58 | 974.551 | 30.6633 | 26.1041
2020-10-25 16:00:00 | 6.968 | 150.4 | 7.207 | 166.7 | 7.7115 | 157.031 | 6.674 | 156.3 | 17.53 | 974.848 | 31.2785 | 20.1332
2020-10-25 16:15:00 | 5.12 | 156.6 | 5.394 | 177.5 | 5.7716 | 167.205 | 5.546 | 159.6 | 17.44 | 974.551 | 32.27 | 21.9954
2020-10-25 16:30:00 | 7.836 | 151.5 | 8.36 | 167.7 | 8.9452 | 157.973 | 8.02 | 159.1 | 17.27 | 974.467 | 31.315 | 25.4427
2020-10-25 16:45:00 | 6.8 | 147.2 | 7.01 | 165.9 | 7.5007 | 156.278 | 6.659 | 152.3 | 17.07 | 974.545 | 32.6113 | 22.908
2020-10-25 17:00:00 | 7.862 | 146 | 8.38 | 163.2 | 8.9666 | 153.734 | 8.26 | 153 | 16.78 | 973.958 | 33.5664 | 24.3675
2020-10-25 17:15:00 | 6.376 | 144.1 | 6.263 | 159.1 | 6.7014 | 149.872 | 6.028 | 147.4 | 16.42 | 973.958 | 34.7974 | 23.0152
2020-10-25 17:30:00 | 6.264 | 141.7 | 6.598 | 159.3 | 7.0599 | 150.061 | 7.151 | 147.9 | 16.22 | 973.809 | 34.7379 | 24.1902
2020-10-25 17:45:00 | 6.57 | 141.2 | 6.775 | 158.3 | 7.2492 | 149.119 | 7.505 | 146.8 | 16.31 | 973.809 | 35.1476 | 24.1532
2020-10-25 18:00:00 | 5.911 | 140.3 | 6.153 | 155.5 | 6.5837 | 146.481 | 6.84 | 146.6 | 16.32 | 973.958 | 35.9324 | 18.0863
2020-10-25 18:15:00 | 5.546 | 135.7 | 5.972 | 153.1 | 6.39 | 144.22 | 6.369 | 144 | 16.2 | 973.958 | 36.2054 | 18.0235
2020-10-25 18:30:00 | 5.679 | 141.7 | 5.918 | 157.5 | 6.3323 | 148.365 | 6.511 | 147 | 16.3 | 974.599 | 36.8538 | 20.1591
2020-10-25 18:45:00 | 4.612 | 144 | 5.1 | 161.8 | 5.457 | 152.416 | 5.763 | 149 | 16.05 | 974.606 | 37.8094 | 15.9543
2020-10-25 19:00:00 | 5.554 | 137.7 | 5.742 | 152.4 | 6.1439 | 143.561 | 5.859 | 142.3 | 16.22 | 974.726 | 36.649 | 12.7029
2020-10-25 19:15:00 | 4.977 | 144 | 5.645 | 159.2 | 6.0401 | 149.966 | 6.636 | 150.4 | 15.93 | 974.738 | 37.8093 | 13.464
2020-10-25 19:30:00 | 4.315 | 143.9 | 5.044 | 160.1 | 5.3971 | 150.814 | 6.017 | 149.3 | 15.77 | 974.832 | 38.152 | 11.5131
2020-10-25 19:45:00 | 4.739 | 142.6 | 4.929 | 158.8 | 5.274 | 149.59 | 5.747 | 150.1 | 15.79 | 974.848 | 38.4957 | 14.8348
2020-10-25 20:00:00 | 4.558 | 145.9 | 5.164 | 162 | 5.5255 | 152.604 | 6.529 | 152.4 | 15.64 | 974.998 | 38.7025 | 14.6981
2020-10-25 20:15:00 | 4.946 | 141.8 | 5.453 | 158.2 | 5.8347 | 149.024 | 6.071 | 146.6 | 15.91 | 975.146 | 39.112 | 15.8139
2020-10-25 20:30:00 | 4.412 | 138.4 | 4.942 | 157.6 | 5.2879 | 148.459 | 5.23 | 143.7 | 15.89 | 975.443 | 38.4978 | 17.2475
2020-10-25 20:45:00 | 5.337 | 139.8 | 5.248 | 156.6 | 5.6154 | 147.517 | 5.612 | 143.6 | 16.06 | 975.424 | 39.1118 | 16.7044
2020-10-25 21:00:00 | 5.255 | 141.2 | 5.688 | 159.8 | 6.0862 | 150.532 | 6.394 | 148.3 | 15.82 | 975.443 | 38.5639 | 18.7957
2020-10-25 21:15:00 | 4.961 | 144.9 | 5.284 | 159.8 | 5.6539 | 150.532 | 6.277 | 149.5 | 15.72 | 975.592 | 38.9729 | 19.3832
2020-10-25 21:30:00 | 4.859 | 150.6 | 5.716 | 168 | 6.1161 | 158.256 | 6.636 | 155.4 | 15.48 | 975.443 | 39.3839 | 19.6861
2020-10-25 21:45:00 | 4.726 | 148 | 5.468 | 166 | 5.8508 | 156.372 | 6.682 | 153.4 | 15.39 | 975.443 | 40.1362 | 20.3586
2020-10-25 22:00:00 | 4.686 | 149.3 | 5.151 | 166.8 | 5.5116 | 157.126 | 6.685 | 155.1 | 15.31 | 975.592 | 39.9998 | 20.3955
2020-10-25 22:15:00 | 4.918 | 152.5 | 5.32 | 168.5 | 5.6924 | 158.727 | 6.155 | 157.3 | 15.24 | 975.592 | 39.2491 | 23.78
2020-10-25 22:30:00 | 5.329 | 155.5 | 5.747 | 172.3 | 6.1493 | 162.307 | 6.646 | 160.3 | 15.22 | 975.443 | 38.4981 | 19.4534
2020-10-25 22:45:00 | 5.983 | 151.1 | 6.534 | 167.5 | 6.9914 | 157.785 | 7.599 | 156.9 | 15.32 | 975.443 | 38.9078 | 22.1912
2020-10-25 23:00:00 | 5.582 | 146.6 | 6.327 | 164.2 | 6.7699 | 154.676 | 7.441 | 152.9 | 15.35 | 975.443 | 39.6587 | 21.988
2020-10-25 23:15:00 | 5.932 | 142.9 | 6.401 | 159.7 | 6.8491 | 150.437 | 7.237 | 148.5 | 15.53 | 975.443 | 40.4433 | 18.1417
2020-10-25 23:30:00 | 6.289 | 162 | 6.353 | 180.7 | 6.7977 | 170.219 | 6.794 | 165.4 | 15.48 | 975.443 | 41.0237 | 24.9328
2020-10-25 23:45:00 | 6.261 | 154.5 | 6.56 | 168.5 | 7.0192 | 158.727 | 6.593 | 160.3 | 15.33 | 975.443 | 41.4334 | 23.2258