## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-26 00:00:00 | 6.013 | 154.6 | 6.435 | 169 | 6.8854 | 159.198 | 6.713 | 159.7 | 15.26 | 975.443 | 42.0477 | 21.6777
2020-10-26 00:15:00 | 5.842 | 150 | 6.378 | 165 | 6.8245 | 155.43 | 6.674 | 157.6 | 15.28 | 975.146 | 42.116 | 20.7207
2020-10-26 00:30:00 | 5.896 | 154.3 | 6.578 | 168 | 7.0385 | 158.256 | 6.646 | 161 | 15.32 | 975.295 | 42.9352 | 18.5186
2020-10-26 00:45:00 | 6.105 | 155.7 | 6.58 | 170.7 | 7.0406 | 160.799 | 6.672 | 162.8 | 15.15 | 975.295 | 43.7541 | 22.7233
2020-10-26 01:00:00 | 6.059 | 151.3 | 6.588 | 167.5 | 7.0492 | 157.785 | 6.993 | 158 | 14.84 | 975.295 | 44.6416 | 25.742
2020-10-26 01:15:00 | 6.095 | 150.6 | 6.11 | 169.2 | 6.5377 | 159.386 | 6.707 | 156 | 14.71 | 975.146 | 45.1186 | 23.5953
2020-10-26 01:30:00 | 6.501 | 151.7 | 7.138 | 166.4 | 7.6377 | 156.749 | 7.53 | 157.8 | 14.47 | 975.146 | 45.6636 | 26.8615
2020-10-26 01:45:00 | 6.131 | 151.4 | 6.9 | 167.8 | 7.383 | 158.068 | 7.494 | 159.4 | 14.39 | 974.85 | 46.8257 | 30.9406
2020-10-26 02:00:00 | 6.611 | 150 | 7.12 | 165.5 | 7.6184 | 155.901 | 8.08 | 155.9 | 14.53 | 974.553 | 48.6681 | 27.2643
2020-10-26 02:15:00 | 7.03 | 147.3 | 7.314 | 164.9 | 7.826 | 155.336 | 8.25 | 153.3 | 14.48 | 974.85 | 49.2134 | 30.7928
2020-10-26 02:30:00 | 6.253 | 146.4 | 6.575 | 167 | 7.0352 | 157.314 | 7.81 | 151.4 | 14.29 | 974.85 | 50.1024 | 28.757
2020-10-26 02:45:00 | 6.82 | 146.7 | 7.572 | 162.4 | 8.102 | 152.981 | 7.991 | 151.9 | 14.27 | 974.553 | 51.4343 | 27.3123
2020-10-26 03:00:00 | 6.23 | 145.3 | 7.002 | 164.8 | 7.4921 | 155.242 | 7.94 | 150.1 | 14.29 | 974.256 | 52.2867 | 29.9098
2020-10-26 03:15:00 | 6.322 | 148.1 | 7.066 | 167.5 | 7.5606 | 157.785 | 8.25 | 154.1 | 14.12 | 974.256 | 52.0136 | 31.6094
2020-10-26 03:30:00 | 6.279 | 148.1 | 6.57 | 167.6 | 7.0299 | 157.879 | 7.971 | 153.7 | 14.12 | 974.404 | 52.082 | 29.8507
2020-10-26 03:45:00 | 6.999 | 148.5 | 7.309 | 167 | 7.8206 | 157.314 | 7.935 | 154.2 | 14.13 | 974.553 | 52.9019 | 26.9576
2020-10-26 04:00:00 | 6.876 | 149.3 | 7.345 | 165.7 | 7.8591 | 156.089 | 7.724 | 154 | 14.01 | 974.404 | 53.3103 | 31.3471
2020-10-26 04:15:00 | 7.318 | 144.9 | 7.749 | 162.4 | 8.2914 | 152.981 | 8.02 | 151.7 | 14.01 | 974.404 | 53.7199 | 28.0365
2020-10-26 04:30:00 | 6.539 | 143.3 | 6.995 | 158.2 | 7.4847 | 149.024 | 7.377 | 152.4 | 13.94 | 974.256 | 55.6682 | 24.785
2020-10-26 04:45:00 | 5.378 | 147.1 | 5.888 | 165.9 | 6.3002 | 156.278 | 6.85 | 152 | 13.97 | 974.553 | 56.418 | 20.451
2020-10-26 05:00:00 | 6.072 | 145.6 | 6.516 | 160.8 | 6.9721 | 151.474 | 7.074 | 155.5 | 14.07 | 974.553 | 56.5217 | 27.3936
2020-10-26 05:15:00 | 5.794 | 141.8 | 6.286 | 160.9 | 6.726 | 151.568 | 7.286 | 148.8 | 14.11 | 974.85 | 56.0109 | 25.2469
2020-10-26 05:30:00 | 5.758 | 146.3 | 6.368 | 162.8 | 6.8138 | 153.358 | 7.125 | 153.7 | 13.99 | 974.85 | 55.4974 | 26.795
2020-10-26 05:45:00 | 5.978 | 141.3 | 6.412 | 157 | 6.8608 | 147.894 | 7.064 | 146.8 | 13.99 | 974.85 | 55.5676 | 27.3899
2020-10-26 06:00:00 | 6.018 | 148.5 | 6.621 | 164.5 | 7.0845 | 154.959 | 7.617 | 157.5 | 13.69 | 974.85 | 55.9102 | 28.4983
2020-10-26 06:15:00 | 6.864 | 147 | 7.69 | 162.8 | 8.2283 | 153.358 | 7.932 | 155.8 | 13.59 | 974.85 | 54.8206 | 30.1204
2020-10-26 06:30:00 | 6.447 | 144.9 | 7.291 | 161.4 | 7.8014 | 152.039 | 8.03 | 152.9 | 13.52 | 974.998 | 55.5031 | 28.2582
2020-10-26 06:45:00 | 6.516 | 144.6 | 7.087 | 162.9 | 7.5831 | 153.452 | 7.859 | 154.2 | 13.53 | 974.998 | 56.5625 | 25.923
2020-10-26 07:00:00 | 6.721 | 150.1 | 7.276 | 164.7 | 7.7853 | 155.147 | 7.421 | 162.2 | 13.8 | 975.295 | 56.4598 | 22.5644
2020-10-26 07:15:00 | 6.754 | 147.4 | 7.501 | 160.9 | 8.0261 | 151.568 | 7.148 | 158.2 | 13.81 | 975.443 | 57.2078 | 23.6359
2020-10-26 07:30:00 | 6.098 | 145.2 | 6.304 | 161.4 | 6.7453 | 152.039 | 6.87 | 154 | 14 | 975.74 | 55.2569 | 20.7909
2020-10-26 07:45:00 | 6.2 | 145.1 | 6.271 | 159.3 | 6.71 | 150.061 | 6.384 | 155.5 | 14.57 | 976.186 | 50.307 | 22.2208
2020-10-26 08:00:00 | 6.621 | 149.1 | 7.005 | 162.7 | 7.4954 | 153.263 | 6.657 | 160.4 | 14.67 | 976.334 | 52.0087 | 24.8626
2020-10-26 08:15:00 | 6.373 | 139.7 | 6.851 | 154.5 | 7.3306 | 145.539 | 6.494 | 148.5 | 14.55 | 976.337 | 52.1413 | 25.6348
2020-10-26 08:30:00 | 7.517 | 147.5 | 7.404 | 164.8 | 7.9223 | 155.242 | 7.059 | 155.1 | 14.77 | 976.927 | 51.3223 | 22.3279
2020-10-26 08:45:00 | 7.328 | 142.5 | 7.153 | 163.6 | 7.6537 | 154.111 | 6.646 | 148.3 | 14.81 | 976.63 | 50.5958 | 18.3338
2020-10-26 09:00:00 | 6.935 | 146.3 | 6.662 | 166.8 | 7.1283 | 157.126 | 5.668 | 148.4 | 15.2 | 976.63 | 49.1912 | 15.2338
2020-10-26 09:15:00 | 5.684 | 141.9 | 5.445 | 162.7 | 5.8262 | 153.263 | 5.21 | 146 | 15.71 | 976.927 | 47.075 | 14.2769
2020-10-26 09:30:00 | 6.996 | 143.2 | 6.522 | 164.9 | 6.9785 | 155.336 | 5.584 | 145.6 | 15.98 | 976.927 | 47.6889 | 13.7744
2020-10-26 09:45:00 | 6.613 | 148.2 | 6.023 | 168.2 | 6.4446 | 158.444 | 5.391 | 149.9 | 15.95 | 976.761 | 47.2796 | 13.9407
2020-10-26 10:00:00 | 6.361 | 149.4 | 6.028 | 165.7 | 6.45 | 156.089 | 5.592 | 153.9 | 16.05 | 976.792 | 46.6306 | 16.0282
2020-10-26 10:15:00 | 6.108 | 151.8 | 5.936 | 168.6 | 6.3515 | 158.821 | 5.742 | 155.7 | 16.17 | 976.628 | 45.909 | 16.2241
2020-10-26 10:30:00 | 6.828 | 150.3 | 6.555 | 165.1 | 7.0138 | 155.524 | 5.852 | 156.3 | 16.39 | 976.777 | 46.3848 | 13.0096
2020-10-26 10:45:00 | 6.412 | 147 | 6.12 | 163.3 | 6.5484 | 153.829 | 5.472 | 153.2 | 16.53 | 976.777 | 45.839 | 11.3543
2020-10-26 11:00:00 | 6.141 | 145.8 | 6.003 | 161.4 | 6.4232 | 152.039 | 5.396 | 152 | 16.87 | 976.925 | 43.9291 | 10.7298
2020-10-26 11:15:00 | 6.427 | 145.4 | 6.097 | 160.8 | 6.5238 | 151.474 | 5.057 | 154 | 17.2 | 976.777 | 44.4728 | 8.8455
2020-10-26 11:30:00 | 6.1 | 148.1 | 5.795 | 162.4 | 6.2007 | 152.981 | 5.223 | 153.5 | 17.54 | 976.628 | 44.2646 | 6.6618
2020-10-26 11:45:00 | 5.135 | 147.7 | 4.934 | 162.2 | 5.2794 | 152.792 | 4.472 | 150.5 | 17.93 | 976.834 | 40.5457 | 5.8822
2020-10-26 12:00:00 | 5.758 | 147.7 | 5.818 | 161.7 | 6.2253 | 152.321 | 5.016 | 159.3 | 18.15 | 976.653 | 42.4894 | 7.2825
2020-10-26 12:15:00 | 5.809 | 141.5 | 5.553 | 155.1 | 5.9417 | 146.104 | 5.151 | 148.9 | 18.15 | 976.627 | 41.1594 | 9.4588
2020-10-26 12:30:00 | 5.043 | 161.6 | 4.786 | 185.2 | 5.121 | 174.458 | 5.073 | 162.2 | 18.43 | 976.33 | 42.3188 | 7.5523
2020-10-26 12:45:00 | 5.505 | 163.4 | 5.279 | 182.1 | 5.6485 | 171.538 | 4.91 | 171.1 | 19.02 | 976.33 | 39.6249 | 6.5547
2020-10-26 13:00:00 | 6.218 | 166.4 | 6.077 | 182.3 | 6.5024 | 171.727 | 5.223 | 171.4 | 18.94 | 976.33 | 36.8287 | 4.9991
2020-10-26 13:15:00 | 6.034 | 179.9 | 6.003 | 198 | 6.4232 | 186.516 | 4.988 | 183.1 | 18.86 | 976.033 | 37.8517 | 4.94
2020-10-26 13:30:00 | 5.112 | 194.3 | 4.798 | 208.8 | 5.1339 | 196.69 | 3.927 | 198.6 | 19.3 | 976.033 | 39.1134 | 3.3808
2020-10-26 13:45:00 | 4.448 | 182.5 | 4.356 | 197.9 | 4.6609 | 186.422 | 4.199 | 182.7 | 19.18 | 975.737 | 38.5678 | 1.4816
2020-10-26 14:00:00 | 4.423 | 173.6 | 4.039 | 193.9 | 4.3217 | 182.654 | 3.486 | 174.9 | 19.37 | 976.182 | 38.4655 | 0.13671
2020-10-26 14:15:00 | 4.576 | 189.7 | 4.325 | 199.7 | 4.6277 | 188.117 | 3.794 | 194.3 | 19.53 | 976.478 | 40.1705 | -0.5727
2020-10-26 14:30:00 | 2.901 | 149.5 | 2.906 | 164 | 3.1094 | 154.488 | 2.429 | 156.3 | 19.71 | 976.627 | 39.7923 | -0.39165
2020-10-26 14:45:00 | 2.921 | 194.3 | 2.945 | 208.3 | 3.1511 | 196.219 | 2.605 | 201.5 | 19.76 | 976.33 | 39.1067 | -0.27711
2020-10-26 15:00:00 | 2.017 | 149.9 | 2.417 | 170.4 | 2.5862 | 160.517 | 2.05 | 157.5 | 19.92 | 976.627 | 38.9022 | -0.24755
2020-10-26 15:15:00 | 2.781 | 144 | 2.889 | 157 | 3.0912 | 147.894 | 2.448 | 148.2 | 19.62 | 976.775 | 39.9589 | -0.13671
2020-10-26 15:30:00 | 3.881 | 160.9 | 3.804 | 171.9 | 4.0703 | 161.93 | 3.272 | 174 | 19.7 | 976.627 | 39.0044 | -0.1441
2020-10-26 15:45:00 | 4.004 | 148.7 | 3.686 | 164.3 | 3.944 | 154.771 | 3.043 | 155.7 | 19.53 | 976.182 | 40.0273 | 0.0036948
2020-10-26 16:00:00 | 3.235 | 143.1 | 3.195 | 164.9 | 3.4186 | 155.336 | 2.6 | 146.9 | 19.42 | 976.033 | 40.1679 | 0.11084
2020-10-26 16:15:00 | 3.355 | 141.3 | 3.433 | 156.8 | 3.6733 | 147.706 | 3.017 | 144.4 | 19.13 | 975.737 | 41.6709 | 0.18474
2020-10-26 16:30:00 | 3.516 | 143.6 | 3.656 | 161.4 | 3.9119 | 152.039 | 3.287 | 147.5 | 18.97 | 975.362 | 42.2175 | 0.13671
2020-10-26 16:45:00 | 2.594 | 135.4 | 3.032 | 151.7 | 3.2442 | 142.901 | 3.015 | 141.8 | 18.8 | 975.441 | 42.36 | 0.10346
2020-10-26 17:00:00 | 3.823 | 140.7 | 3.829 | 155.4 | 4.097 | 146.387 | 3.471 | 141 | 18.7 | 975.293 | 41.2718 | 0.16996
2020-10-26 17:15:00 | 3.182 | 148.3 | 3.561 | 160.9 | 3.8103 | 151.568 | 3.715 | 150.7 | 18.58 | 975.044 | 42.1627 | 0.3584
2020-10-26 17:30:00 | 3.312 | 152.6 | 4.256 | 163.4 | 4.5539 | 153.923 | 4.102 | 160.6 | 18.4 | 974.997 | 40.6618 | 0.82395
2020-10-26 17:45:00 | 3.337 | 149.4 | 3.988 | 159.2 | 4.2672 | 149.966 | 3.993 | 160.5 | 18.47 | 975.294 | 41.4807 | 0.67985
2020-10-26 18:00:00 | 3.166 | 151.7 | 4.052 | 161.8 | 4.3356 | 152.416 | 4.097 | 160.6 | 18.46 | 975.442 | 41.4837 | 0.77961
2020-10-26 18:15:00 | 4.234 | 169.1 | 4.517 | 182.7 | 4.8332 | 172.103 | 4.27 | 173.5 | 18.56 | 975.739 | 40.7305 | 1.829
2020-10-26 18:30:00 | 3.404 | 162.4 | 3.801 | 175.9 | 4.0671 | 165.698 | 3.649 | 170.8 | 18.63 | 975.739 | 41.0717 | 0.10715
2020-10-26 18:45:00 | 2.898 | 162.4 | 3.523 | 176 | 3.7696 | 165.792 | 3.43 | 170.5 | 18.51 | 975.887 | 41.756 | -0.062812
2020-10-26 19:00:00 | 2.459 | 161.6 | 3.461 | 176.1 | 3.7033 | 165.886 | 3.053 | 170.3 | 18.4 | 975.739 | 40.87 | -0.24386
2020-10-26 19:15:00 | 2.216 | 153.4 | 3.129 | 166.1 | 3.348 | 156.466 | 3.066 | 164.8 | 18.36 | 975.739 | 41.4181 | -0.29189
2020-10-26 19:30:00 | 2.418 | 142.7 | 2.96 | 156.5 | 3.1672 | 147.423 | 3.292 | 148.5 | 18.35 | 975.739 | 41.1472 | -0.073897
2020-10-26 19:45:00 | 2.234 | 149.7 | 2.993 | 163.6 | 3.2025 | 154.111 | 3.191 | 151.2 | 18.22 | 976.036 | 41.2846 | -0.21061
2020-10-26 20:00:00 | 2.753 | 152.8 | 3.341 | 162.9 | 3.5749 | 153.452 | 3.29 | 152.3 | 18.27 | 976.184 | 41.1498 | -0.10346
2020-10-26 20:15:00 | 2.704 | 160.2 | 3.612 | 170.8 | 3.8648 | 160.894 | 3.422 | 161.1 | 18.19 | 976.333 | 41.2876 | -0.099761
2020-10-26 20:30:00 | 2.535 | 159.9 | 3.397 | 170.3 | 3.6348 | 160.423 | 2.946 | 168.4 | 18.31 | 976.333 | 41.1511 | -0.18474
2020-10-26 20:45:00 | 2.186 | 164.5 | 3.185 | 175.3 | 3.408 | 165.133 | 3.32 | 171.8 | 18.27 | 976.481 | 41.4898 | 0.31037
2020-10-26 21:00:00 | 3.138 | 156.4 | 3.911 | 168.3 | 4.1848 | 158.539 | 3.863 | 163.8 | 18.12 | 976.63 | 41.3518 | 0.76114
2020-10-26 21:15:00 | 2.643 | 158.9 | 3.569 | 166.8 | 3.8188 | 157.126 | 3.603 | 163 | 18.04 | 976.63 | 41.8979 | 1.3006
2020-10-26 21:30:00 | 3.003 | 150 | 3.441 | 161.4 | 3.6819 | 152.039 | 3.514 | 161.4 | 17.93 | 976.63 | 41.8293 | 1.5666
2020-10-26 21:45:00 | 2.103 | 140.9 | 3.464 | 154.7 | 3.7065 | 145.727 | 3.942 | 152.1 | 17.91 | 976.778 | 42.7868 | 2.1134
2020-10-26 22:00:00 | 2.873 | 146.4 | 3.431 | 162.9 | 3.6712 | 153.452 | 3.175 | 152.6 | 17.77 | 976.63 | 43.6053 | 1.4188
2020-10-26 22:15:00 | 1.241 | 150.5 | 1.534 | 160.7 | 1.6414 | 151.379 | 2.976 | 147.9 | 17.56 | 976.63 | 44.6992 | 0.11824
2020-10-26 22:30:00 | 1.37 | 156.9 | 2.113 | 166.2 | 2.2609 | 156.56 | 0.509 | 151 | 17.94 | 976.63 | 42.8244 | -0.29928
2020-10-26 22:45:00 | 0 | 306.5 | 0.098 | 169.3 | 0.10486 | 159.481 | 0.099 | 151.5 | 18.21 | 976.63 | 41.0837 | -0.25864
2020-10-26 23:00:00 | 0 | 314.2 | 0.485 | 177.9 | 0.51895 | 167.582 | 1.168 | 151.6 | 18.28 | 976.63 | 40.6074 | -0.25864
2020-10-26 23:15:00 | 1.563 | 336.2 | 2.196 | 351.4 | 2.3497 | 331.019 | 1.973 | 337 | 18.66 | 976.927 | 39.9932 | -0.25864
2020-10-26 23:30:00 | 2.086 | 339.5 | 2.454 | 351.7 | 2.6258 | 331.301 | 2.167 | 337.3 | 18.7 | 976.927 | 40.1628 | -0.24016
2020-10-26 23:45:00 | 1.989 | 332.3 | 2.495 | 344.8 | 2.6696 | 324.802 | 2.353 | 329.6 | 18.62 | 976.927 | 40.8066 | -0.25864