## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-27 00:00:00 | 1.693 | 330.4 | 2.221 | 358.5 | 2.3765 | 337.707 | 2.505 | 332.9 | 18.36 | 977.075 | 41.2476 | -0.24016
2020-10-27 00:15:00 | 1.565 | 328.4 | 2.316 | 342.2 | 2.4781 | 322.352 | 2.325 | 323.9 | 18.21 | 976.927 | 41.5551 | -0.24016
2020-10-27 00:30:00 | 2.229 | 328.4 | 2.786 | 351.5 | 2.981 | 331.113 | 2.816 | 326.5 | 18.14 | 977.223 | 42.0335 | -0.24016
2020-10-27 00:45:00 | 2.505 | 342.8 | 2.615 | 5.515 | 2.798 | 5.1951 | 2.623 | 329.8 | 17.75 | 977.223 | 42.8527 | -0.24016
2020-10-27 01:00:00 | 2.725 | 341.8 | 2.595 | 5.492 | 2.7767 | 5.1735 | 2.661 | 333.7 | 17.7 | 977.223 | 43.1973 | -0.24016
2020-10-27 01:15:00 | 2.755 | 347.1 | 2.664 | 13.89 | 2.8505 | 13.0844 | 3.04 | 339.6 | 17.48 | 976.927 | 43.674 | -0.25864
2020-10-27 01:30:00 | 2.942 | 346.3 | 3.351 | 16.03 | 3.5856 | 15.1003 | 3.86 | 342.1 | 17.32 | 977.372 | 43.6774 | -0.11084
2020-10-27 01:45:00 | 3.552 | 342.8 | 4.016 | 2.993 | 4.2971 | 2.8194 | 4.288 | 339.5 | 17.47 | 977.52 | 43.4735 | 0.37687
2020-10-27 02:00:00 | 3.2 | 346.3 | 4.021 | 5.856 | 4.3025 | 5.5164 | 3.488 | 341.6 | 17.33 | 977.52 | 44.3608 | 0.22169
2020-10-27 02:15:00 | 3.958 | 348.9 | 4.361 | 7.321 | 4.6663 | 6.8964 | 3.98 | 341 | 17.19 | 977.52 | 45.1457 | 0.81287
2020-10-27 02:30:00 | 3.733 | 62.99 | 4.047 | 17.81 | 4.3303 | 16.777 | 5.075 | 356.3 | 16.9 | 977.372 | 45.3506 | 2.0987
2020-10-27 02:45:00 | 3.496 | 2.945 | 4.653 | 22.21 | 4.9787 | 20.9218 | 3.764 | 4.253 | 16.76 | 977.52 | 45.7942 | 3.2441
2020-10-27 03:00:00 | 3.608 | 7.733 | 4.067 | 20.5 | 4.3517 | 19.311 | 3.87 | 6.178 | 16.73 | 977.52 | 46.1355 | 5.9746
2020-10-27 03:15:00 | 3.452 | 8.18 | 4.903 | 23.48 | 5.2462 | 22.1182 | 3.904 | 8.29 | 16.56 | 977.075 | 47.0909 | 7.1421
2020-10-27 03:30:00 | 3.514 | 7.932 | 4.563 | 21.72 | 4.8824 | 20.4602 | 3.527 | 7.497 | 16.44 | 977.223 | 47.4322 | 10.9072
2020-10-27 03:45:00 | 5.224 | 2.535 | 5.547 | 13.86 | 5.9353 | 13.0561 | 7.724 | 7.902 | 16.15 | 977.075 | 48.0464 | 22.3908
2020-10-27 04:00:00 | 6.348 | 6.821 | 6.982 | 22.92 | 7.4707 | 21.5906 | 6.842 | 10.4 | 15.64 | 976.654 | 50.0938 | 31.469
2020-10-27 04:15:00 | 5.786 | 11.44 | 8.32 | 26.76 | 8.9024 | 25.2079 | 8.04 | 17.25 | 15.23 | 976.686 | 50.1621 | 31.7313
2020-10-27 04:30:00 | 5.383 | 15.47 | 9.55 | 30.78 | 10.2185 | 28.9948 | 9.24 | 21.33 | 15.04 | 976.907 | 47.7068 | 30.0613
2020-10-27 04:45:00 | 5.298 | 17.28 | 9.22 | 31.24 | 9.8654 | 29.4281 | 8.94 | 23.31 | 14.94 | 976.928 | 40.3404 | 31.7018
2020-10-27 05:00:00 | 5.268 | 21.22 | 9.28 | 35.82 | 9.9296 | 33.7424 | 9.44 | 27.22 | 14.73 | 976.631 | 41.0239 | 37.1258
2020-10-27 05:15:00 | 5.069 | 21.48 | 9.3 | 34.3 | 9.951 | 32.3106 | 9.4 | 27.59 | 14.77 | 976.928 | 36.4491 | 32.1045
2020-10-27 05:30:00 | 5.515 | 17.5 | 9.08 | 30.73 | 9.7156 | 28.9477 | 9.3 | 24.52 | 14.67 | 976.928 | 36.4505 | 37.2256
2020-10-27 05:45:00 | 5.697 | 15.77 | 9.84 | 29.47 | 10.5288 | 27.7607 | 9.7 | 23.74 | 14.47 | 976.631 | 38.498 | 40.6211
2020-10-27 06:00:00 | 5.035 | 16.89 | 8.88 | 30.2 | 9.5016 | 28.4484 | 8.67 | 23.12 | 14.09 | 976.928 | 37.2689 | 33.2573
2020-10-27 06:15:00 | 5.773 | 20.53 | 8.63 | 31.74 | 9.2341 | 29.8991 | 8.39 | 26.83 | 14.12 | 977.077 | 35.4266 | 31.3323
2020-10-27 06:30:00 | 5.441 | 17.17 | 8.85 | 30.41 | 9.4695 | 28.6462 | 8.85 | 23.69 | 14.06 | 977.225 | 33.6511 | 34.0369
2020-10-27 06:45:00 | 5.952 | 19.61 | 9.3 | 32.76 | 9.951 | 30.8599 | 9.05 | 26.07 | 13.96 | 977.225 | 33.6513 | 32.2117
2020-10-27 07:00:00 | 5.541 | 17.17 | 8.92 | 30.77 | 9.5444 | 28.9853 | 8.82 | 24.12 | 13.99 | 977.225 | 33.6513 | 30.1499
2020-10-27 07:15:00 | 5.566 | 16.69 | 9 | 29.67 | 9.63 | 27.9491 | 8.88 | 24.36 | 13.89 | 977.225 | 33.9245 | 35.3264
2020-10-27 07:30:00 | 5.763 | 16.92 | 9.01 | 30.91 | 9.6407 | 29.1172 | 8.74 | 23.51 | 13.74 | 977.374 | 35.2894 | 36.7157
2020-10-27 07:45:00 | 5.376 | 16.04 | 9.19 | 30.55 | 9.8333 | 28.7781 | 8.39 | 21.81 | 13.7 | 977.522 | 35.0168 | 34.6022
2020-10-27 08:00:00 | 6.274 | 15.06 | 9.22 | 29.71 | 9.8654 | 27.9868 | 8.46 | 20.01 | 14.02 | 978.116 | 33.7196 | 28.6166
2020-10-27 08:15:00 | 7.201 | 10.19 | 8.29 | 26.18 | 8.8703 | 24.6616 | 7.596 | 16.25 | 14.03 | 978.413 | 35.3583 | 27.5525
2020-10-27 08:30:00 | 7.162 | 10.81 | 9.34 | 26.2 | 9.9938 | 24.6804 | 7.731 | 14.59 | 13.91 | 978.562 | 37.5419 | 25.912
2020-10-27 08:45:00 | 7.668 | 8.42 | 8.82 | 25.59 | 9.4374 | 24.1058 | 7.693 | 13.79 | 13.98 | 978.71 | 38.6637 | 22.5127
2020-10-27 09:00:00 | 7.045 | 14.97 | 9.01 | 29.43 | 9.6407 | 27.7231 | 8.37 | 20.91 | 14.23 | 978.804 | 38.56 | 16.5751
2020-10-27 09:15:00 | 6.391 | 10.16 | 8 | 26.81 | 8.56 | 25.255 | 6.893 | 11.09 | 14.61 | 979.302 | 39.2425 | 10.2089
2020-10-27 09:30:00 | 4.119 | 12.88 | 5.949 | 28.79 | 6.3654 | 27.1202 | 5.057 | 17.78 | 14.85 | 979.599 | 38.4917 | 7.1274
2020-10-27 09:45:00 | 4.451 | 9.28 | 4.875 | 21.9 | 5.2162 | 20.6298 | 4.8 | 1.279 | 15.2 | 979.896 | 40.539 | 10.6966
2020-10-27 10:00:00 | 4.093 | 355.8 | 4.123 | 21.53 | 4.4116 | 20.2813 | 4.752 | 352.4 | 15.06 | 980.044 | 43.6064 | 10.2569
2020-10-27 10:15:00 | 2.593 | 358.5 | 3.845 | 29.99 | 4.1142 | 28.2506 | 3.784 | 348.8 | 15 | 980.341 | 44.8334 | 13.9443
2020-10-27 10:30:00 | 2.637 | 3.622 | 3.353 | 25.49 | 3.5877 | 24.0116 | 2.867 | 346.4 | 14.8 | 980.489 | 45.9966 | 12.1893
2020-10-27 10:45:00 | 1.599 | 19.99 | 3.804 | 31.19 | 4.0703 | 29.381 | 3.254 | 13.07 | 14.78 | 980.638 | 47.2214 | 16.1649
2020-10-27 11:00:00 | 2.999 | 13.21 | 3.287 | 17.81 | 3.5171 | 16.777 | 3.259 | 1.55 | 14.44 | 980.489 | 50.3663 | 19.0728
2020-10-27 11:15:00 | 3.733 | 352 | 4.187 | 11.86 | 4.4801 | 11.1721 | 4.112 | 346.4 | 13.79 | 979.896 | 52.2095 | 22.6235
2020-10-27 11:30:00 | 2.958 | 3.755 | 4.555 | 35.71 | 4.8739 | 33.6388 | 4.084 | 350 | 13.39 | 979.896 | 53.6427 | 17.5431
2020-10-27 11:45:00 | 3.712 | 5.42 | 4.998 | 31.91 | 5.3479 | 30.0592 | 4.033 | 355.1 | 13.19 | 979.699 | 54.2248 | 14.7092
2020-10-27 12:00:00 | 4.2 | 359.3 | 4.832 | 29.83 | 5.1702 | 28.0999 | 5.034 | 351.8 | 13.26 | 979.898 | 54.6742 | 16.6268
2020-10-27 12:15:00 | 4.629 | 10.5 | 5.172 | 24.35 | 5.534 | 22.9377 | 5.23 | 5.866 | 13.38 | 979.75 | 55.5631 | 14.0404
2020-10-27 12:30:00 | 5.086 | 10.96 | 5.811 | 27.8 | 6.2178 | 26.1876 | 4.859 | 9.94 | 13.45 | 979.601 | 55.9727 | 12.1043
2020-10-27 12:45:00 | 4.606 | 12.31 | 6.161 | 29.44 | 6.5923 | 27.7325 | 5.269 | 15.83 | 13.63 | 979.156 | 56.2457 | 14.3877
2020-10-27 13:00:00 | 5.74 | 7.437 | 6.299 | 22.83 | 6.7399 | 21.5059 | 5.409 | 10.34 | 13.81 | 978.859 | 56.86 | 14.6907
2020-10-27 13:15:00 | 5.495 | 14.24 | 8.03 | 30.99 | 8.5921 | 29.1926 | 6.705 | 17.92 | 14.06 | 979.007 | 57.2696 | 16.1613
2020-10-27 13:30:00 | 5.498 | 13.42 | 8.01 | 30.51 | 8.5707 | 28.7404 | 6.043 | 13.75 | 14.21 | 979.007 | 57.3719 | 19.7379
2020-10-27 13:45:00 | 6.366 | 9.62 | 7.976 | 28.31 | 8.5343 | 26.668 | 6.336 | 8.87 | 14.26 | 978.859 | 57.5427 | 21.4338
2020-10-27 14:00:00 | 6.721 | 10.57 | 7.779 | 27.78 | 8.3235 | 26.1688 | 6.404 | 12.36 | 14.31 | 978.71 | 57.3379 | 22.5792
2020-10-27 14:15:00 | 5.526 | 14.3 | 9.06 | 29.9 | 9.9831 | 27.3934 | 7.864 | 21.37 | 14.32 | 978.413 | 56.8929 | 17.6503
2020-10-27 14:30:00 | 7.024 | 9.14 | 7.289 | 22.11 | 7.7992 | 20.8276 | 6.634 | 6.318 | 14.34 | 978.71 | 56.7235 | 18.9028
2020-10-27 14:45:00 | 6.182 | 4.647 | 6.509 | 23.42 | 6.9646 | 22.0616 | 7.474 | 1.797 | 14.39 | 979.007 | 56.041 | 20.9756
2020-10-27 15:00:00 | 6.728 | 1.657 | 6.695 | 19.51 | 7.1636 | 18.3784 | 8.14 | 4.231 | 14.46 | 979.007 | 55.7679 | 26.4477
2020-10-27 15:15:00 | 6.858 | 358.3 | 7.122 | 16.42 | 7.6205 | 15.4676 | 8.75 | 359.2 | 14.41 | 979.304 | 55.8359 | 28.7496
2020-10-27 15:30:00 | 7.252 | 4.809 | 7.048 | 19.55 | 7.5414 | 18.4161 | 7.915 | 4.739 | 14.46 | 979.304 | 55.7676 | 28.938
2020-10-27 15:45:00 | 7.052 | 4.819 | 6.9 | 18.81 | 7.383 | 17.719 | 8.04 | 7.515 | 14.45 | 979.304 | 55.9042 | 24.471
2020-10-27 16:00:00 | 5.978 | 357.5 | 6.649 | 20.22 | 7.1144 | 19.0472 | 7.955 | 0.363 | 14.35 | 979.601 | 55.7675 | 25.0547
2020-10-27 16:15:00 | 6.108 | 353 | 6.141 | 18.46 | 6.5709 | 17.3893 | 7.041 | 352.7 | 14.3 | 979.601 | 55.1536 | 26.2962
2020-10-27 16:30:00 | 5.87 | 2.733 | 6.327 | 21.48 | 6.7699 | 20.2342 | 7.994 | 0.445 | 14.22 | 979.601 | 54.6758 | 25.4649
2020-10-27 16:45:00 | 6.179 | 358 | 6.432 | 17.54 | 6.8822 | 16.5227 | 8.44 | 2.152 | 14.12 | 979.898 | 54.6075 | 23.4844
2020-10-27 17:00:00 | 6.046 | 2.616 | 6.251 | 21.44 | 6.6886 | 20.1965 | 7.089 | 359 | 14.06 | 979.898 | 53.6518 | 23.0632
2020-10-27 17:15:00 | 5.24 | 0.029 | 5.629 | 18.65 | 6.023 | 17.5683 | 6.012 | 359.3 | 14.02 | 979.898 | 53.4462 | 21.9843
2020-10-27 17:30:00 | 4.821 | 2.518 | 5.563 | 20.62 | 5.9524 | 19.424 | 6.353 | 360 | 13.89 | 980.047 | 53.5143 | 23.8059
2020-10-27 17:45:00 | 5.372 | 2.929 | 5.56 | 14.95 | 5.9492 | 14.0829 | 7.24 | 1.92 | 13.76 | 980.195 | 53.5834 | 18.5407
2020-10-27 18:00:00 | 4.836 | 6.038 | 4.965 | 18.37 | 5.3125 | 17.3045 | 6.185 | 6.427 | 13.69 | 980.344 | 53.7883 | 15.1304
2020-10-27 18:15:00 | 4.652 | 1.19 | 4.873 | 19.11 | 5.2141 | 18.0016 | 6.649 | 7.047 | 13.55 | 980.344 | 54.6757 | 16.4236
2020-10-27 18:30:00 | 4.229 | 8.83 | 4.366 | 21.34 | 4.6716 | 20.1023 | 4.731 | 7.211 | 13.38 | 980.789 | 55.8398 | 16.4864
2020-10-27 18:45:00 | 3.994 | 9.72 | 4.379 | 24.82 | 4.6855 | 23.3804 | 4.105 | 10.68 | 13.25 | 980.64 | 56.2538 | 15.777
2020-10-27 19:00:00 | 3.427 | 10.56 | 5.008 | 28.81 | 5.3586 | 27.139 | 4.184 | 12.58 | 13.14 | 980.789 | 57.1424 | 11.6018
2020-10-27 19:15:00 | 2.891 | 11.33 | 4.374 | 29.65 | 4.6802 | 27.9303 | 4.023 | 12.35 | 13.02 | 980.789 | 57.9621 | 9.0709
2020-10-27 19:30:00 | 2.645 | 20.48 | 3.765 | 38.37 | 4.0286 | 36.1445 | 3.886 | 23.33 | 12.98 | 980.789 | 57.5866 | 6.2849
2020-10-27 19:45:00 | 3.062 | 19.02 | 4.688 | 36.12 | 5.0162 | 34.025 | 4.899 | 22.17 | 13.05 | 980.789 | 57.1429 | 6.987
2020-10-27 20:00:00 | 2.222 | 21.65 | 3.479 | 39.97 | 3.7225 | 37.6517 | 4.138 | 25.39 | 12.95 | 980.789 | 57.7573 | 4.9067
2020-10-27 20:15:00 | 3.549 | 16.14 | 4.561 | 34.79 | 4.8803 | 32.7722 | 4.596 | 20.6 | 13.18 | 980.789 | 56.7332 | 7.5523
2020-10-27 20:30:00 | 3.812 | 9.76 | 5.53 | 24.96 | 5.9171 | 23.5123 | 4.808 | 10.18 | 13.25 | 980.789 | 56.2553 | 10.8961
2020-10-27 20:45:00 | 4.836 | 9.08 | 4.673 | 17.97 | 5.0001 | 16.9277 | 5.001 | 7.819 | 13.03 | 981.086 | 58.3035 | 10.0906
2020-10-27 21:00:00 | 4.578 | 9.64 | 6.079 | 26.2 | 6.5045 | 24.6804 | 4.701 | 14.4 | 13 | 981.383 | 58.5083 | 8.0363
2020-10-27 21:15:00 | 4.08 | 9.08 | 4.379 | 21.16 | 4.6855 | 19.9327 | 4.37 | 7.862 | 12.78 | 981.383 | 59.6347 | 7.8552
2020-10-27 21:30:00 | 4.361 | 9.56 | 4.988 | 22.97 | 5.3372 | 21.6377 | 4.606 | 9.67 | 12.84 | 981.383 | 59.6006 | 7.1939
2020-10-27 21:45:00 | 4.576 | 353.1 | 4.829 | 6.984 | 5.167 | 6.5789 | 6.033 | 359.7 | 12.56 | 981.234 | 61.0684 | 8.2063
2020-10-27 22:00:00 | 4.512 | 7.417 | 4.4 | 14.21 | 4.708 | 13.3858 | 4.334 | 7.206 | 12.37 | 981.383 | 61.5805 | 9.6694
2020-10-27 22:15:00 | 4.931 | 10.8 | 4.929 | 11.9 | 5.274 | 11.2098 | 5.098 | 4.342 | 12.16 | 981.383 | 63.0824 | 9.4477
2020-10-27 22:30:00 | 4.78 | 6.727 | 4.954 | 15.54 | 5.3008 | 14.6387 | 4.711 | 5.187 | 11.96 | 981.086 | 65.233 | 9.8024
2020-10-27 22:45:00 | 5.14 | 6.809 | 5.126 | 21.41 | 5.4848 | 20.1682 | 4.8 | 10.92 | 11.84 | 980.789 | 66.6325 | 12.3075
2020-10-27 23:00:00 | 3.937 | 12.5 | 4.169 | 22.9 | 4.4608 | 21.5718 | 4.128 | 10.05 | 11.7 | 980.789 | 67.7931 | 11.9898
2020-10-27 23:15:00 | 2.839 | 13 | 4.734 | 29.29 | 5.0654 | 27.5912 | 4.194 | 16.75 | 11.56 | 980.789 | 69.0903 | 10.8222
2020-10-27 23:30:00 | 2.527 | 13.85 | 4.169 | 32.32 | 4.4608 | 30.4454 | 4.874 | 15.19 | 11.68 | 980.813 | 68.8855 | 9.2002
2020-10-27 23:45:00 | 3.238 | 13.69 | 4.591 | 27.3 | 4.9124 | 25.7166 | 5.241 | 16.91 | 11.67 | 980.822 | 67.1104 | 7.8774