## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-28 00:00:00 | 3.529 | 6.003 | 4.331 | 18.33 | 4.6342 | 17.2669 | 4.252 | 5.856 | 12.26 | 981.128 | 66.7008 | 7.4784
2020-10-28 00:15:00 | 4.04 | 10.66 | 4.89 | 25.81 | 5.2323 | 24.313 | 5.365 | 12.26 | 11.44 | 980.792 | 70.1485 | 8.4169
2020-10-28 00:30:00 | 4.254 | 6.744 | 4.965 | 24.75 | 5.3125 | 23.3145 | 4.981 | 11.39 | 11.24 | 980.874 | 71.4115 | 8.2247
2020-10-28 00:45:00 | 3.631 | 10.24 | 5.072 | 24.67 | 5.427 | 23.2391 | 5.123 | 12.34 | 11.33 | 980.861 | 72.7428 | 8.3356
2020-10-28 01:00:00 | 3.697 | 6.332 | 5.351 | 25.88 | 5.7256 | 24.379 | 5.452 | 7.737 | 11.43 | 981.163 | 70.1485 | 7.955
2020-10-28 01:15:00 | 3.879 | 4.846 | 5.123 | 21.32 | 5.4816 | 20.0834 | 6.178 | 8.52 | 11.99 | 981.283 | 68.9879 | 9.3332
2020-10-28 01:30:00 | 3.649 | 7.674 | 4.054 | 17.54 | 4.3378 | 16.5227 | 5.325 | 12.96 | 11.18 | 981.198 | 74.3813 | 8.7346
2020-10-28 01:45:00 | 3.677 | 13.9 | 4.66 | 25.09 | 4.9862 | 23.6348 | 6.081 | 20.22 | 10.99 | 980.861 | 75.4395 | 8.6681
2020-10-28 02:00:00 | 4.037 | 12.06 | 5.637 | 25.09 | 6.0316 | 23.6348 | 6.14 | 20.5 | 10.66 | 980.973 | 77.3511 | 9.9281
2020-10-28 02:15:00 | 4.221 | 18.9 | 5.645 | 33.75 | 6.0401 | 31.7925 | 6.695 | 19.65 | 10.6 | 980.804 | 77.4206 | 11.3469
2020-10-28 02:30:00 | 4.195 | 19.65 | 5.734 | 36.72 | 6.1354 | 34.5902 | 7.128 | 21.04 | 10.71 | 980.528 | 78.722 | 15.7031
2020-10-28 02:45:00 | 4.254 | 21.07 | 6.92 | 36.6 | 7.4044 | 34.4772 | 7.966 | 23.8 | 11.01 | 980.529 | 74.4935 | 17.2512
2020-10-28 03:00:00 | 4.545 | 22.37 | 7.166 | 37.84 | 7.6676 | 35.6453 | 7.787 | 24.57 | 11.63 | 980.591 | 70.8019 | 17.6429
2020-10-28 03:15:00 | 5.02 | 26.93 | 7.969 | 42.88 | 8.5268 | 40.393 | 8.26 | 30.63 | 11.81 | 980.379 | 68.8869 | 19.446
2020-10-28 03:30:00 | 4.668 | 25.12 | 7.9 | 40.67 | 8.453 | 38.3111 | 8.15 | 29.56 | 12.05 | 980.378 | 65.0623 | 15.9396
2020-10-28 03:45:00 | 4.683 | 21.68 | 7.703 | 32.71 | 8.2422 | 30.8128 | 7.64 | 29.17 | 12.28 | 980.921 | 61.1709 | 14.4468
2020-10-28 04:00:00 | 4.29 | 23.6 | 7.053 | 34.73 | 7.5467 | 32.7157 | 7.446 | 27.79 | 12.24 | 980.827 | 63.0825 | 11.9602
2020-10-28 04:15:00 | 4.011 | 23.11 | 6.511 | 37.7 | 6.9668 | 35.5134 | 6.685 | 26.44 | 12.22 | 980.801 | 60.0785 | 10.6781
2020-10-28 04:30:00 | 4.274 | 19.6 | 7.079 | 34.08 | 7.5745 | 32.1034 | 7.255 | 25.36 | 12.28 | 981.102 | 58.5766 | 10.0056
2020-10-28 04:45:00 | 3.618 | 18.86 | 7.202 | 32.26 | 7.7061 | 30.3889 | 6.977 | 25.12 | 12.38 | 981.235 | 57.6208 | 8.0252
2020-10-28 05:00:00 | 4.346 | 17.53 | 6.805 | 32.05 | 7.2813 | 30.1911 | 6.985 | 23.86 | 12.2 | 981.086 | 59.191 | 9.311
2020-10-28 05:15:00 | 4.448 | 16.48 | 7.825 | 31.37 | 8.3727 | 29.5505 | 7.561 | 21.55 | 12.22 | 981.383 | 56.3919 | 9.4551
2020-10-28 05:30:00 | 4.131 | 18.85 | 7.041 | 33.79 | 7.5339 | 31.8302 | 7.064 | 24.1 | 12.03 | 981.235 | 58.3376 | 8.6496
2020-10-28 05:45:00 | 3.853 | 19.75 | 6.514 | 36.45 | 6.97 | 34.3359 | 7.135 | 24.49 | 11.93 | 981.235 | 59.6689 | 7.386
2020-10-28 06:00:00 | 3.24 | 17.06 | 5.737 | 32.1 | 6.1386 | 30.2382 | 6.106 | 22.29 | 11.93 | 981.406 | 58.1669 | 4.7442
2020-10-28 06:15:00 | 3.6 | 13.71 | 4.957 | 26.7 | 5.304 | 25.1514 | 5.218 | 21.87 | 12.05 | 981.532 | 56.665 | 5.9007
2020-10-28 06:30:00 | 3.339 | 17.36 | 5.092 | 30.19 | 5.4484 | 28.439 | 5.526 | 23.18 | 11.63 | 981.407 | 60.0103 | 4.1124
2020-10-28 06:45:00 | 2.299 | 9.45 | 4.315 | 24.6 | 4.617 | 23.1732 | 3.87 | 14.13 | 11.92 | 981.874 | 57.7573 | 2.3277
2020-10-28 07:00:00 | 3.608 | 8.98 | 3.983 | 12.58 | 4.2618 | 11.8504 | 4.077 | 9.33 | 11.37 | 982.012 | 66.7008 | 3.8796
2020-10-28 07:15:00 | 2.399 | 8.67 | 3.448 | 25.13 | 3.6894 | 23.6725 | 4.023 | 11.62 | 10.92 | 981.879 | 70.6606 | 4.3193
2020-10-28 07:30:00 | 2.596 | 10.26 | 4.435 | 25.82 | 4.7454 | 24.3224 | 4.329 | 16.56 | 10.53 | 982.089 | 75.5078 | 3.6136
2020-10-28 07:45:00 | 1.402 | 5.201 | 2.393 | 7.865 | 2.5605 | 7.4088 | 2.567 | 7.13 | 10.48 | 982.012 | 81.1743 | 1.3523
2020-10-28 08:00:00 | 0.517 | 17.47 | 1.922 | 36.53 | 2.0565 | 34.4113 | 3.224 | 18.5 | 10.57 | 982.471 | 79.3992 | 0.92741
2020-10-28 08:15:00 | 1.918 | 3.083 | 2.623 | 4.57 | 2.8066 | 4.3049 | 2.801 | 6.532 | 10.67 | 982.628 | 78.4093 | 2.4756
2020-10-28 08:30:00 | 1.547 | 6.387 | 3.272 | 17.87 | 3.501 | 16.8335 | 3.343 | 13.3 | 10.71 | 982.787 | 75.9174 | 4.456
2020-10-28 08:45:00 | 4.022 | 6.232 | 4.277 | 14.58 | 4.5764 | 13.7344 | 4.247 | 11.67 | 11.08 | 982.972 | 74.4837 | 5.195
2020-10-28 09:00:00 | 2.835 | 9.04 | 3.939 | 22.14 | 4.2147 | 20.8559 | 3.736 | 12.34 | 11.09 | 983.081 | 70.2509 | 3.3401
2020-10-28 09:15:00 | 3.371 | 10.25 | 4.261 | 24.58 | 4.5593 | 23.1544 | 3.761 | 13.3 | 11.23 | 983.188 | 68.7148 | 1.5075
2020-10-28 09:30:00 | 2.947 | 8.83 | 3.804 | 27.37 | 4.0703 | 25.7825 | 3.16 | 9.97 | 11.53 | 983.165 | 65.3354 | 0.48772
2020-10-28 09:45:00 | 3.215 | 10.13 | 4.218 | 25.7 | 4.5133 | 24.2094 | 3.491 | 13.95 | 11.92 | 983.462 | 65.8474 | 0.84612
2020-10-28 10:00:00 | 3.324 | 5.942 | 3.955 | 21.25 | 4.2318 | 20.0175 | 3.379 | 2.608 | 11.93 | 983.462 | 66.9728 | 1.1269
2020-10-28 10:15:00 | 2.759 | 9.2 | 3.878 | 25.84 | 4.1495 | 24.3413 | 3.099 | 5.259 | 12.28 | 983.759 | 65.5976 | 0.26233
2020-10-28 10:30:00 | 2.513 | 9.24 | 3.162 | 28.1 | 3.3833 | 26.4702 | 2.006 | 355.4 | 12.48 | 984.056 | 64.8461 | 0.47294
2020-10-28 10:45:00 | 1.72 | 15.76 | 2.665 | 30.94 | 2.8516 | 29.1455 | 2.307 | 12.1 | 12.69 | 983.907 | 63.686 | 0.096066
2020-10-28 11:00:00 | 2.013 | 6.621 | 2.873 | 27.51 | 3.0741 | 25.9144 | 2.388 | 6.684 | 12.96 | 983.961 | 61.4241 | -0.11454
2020-10-28 11:15:00 | 1.383 | 16.11 | 2.497 | 25.75 | 2.6718 | 24.2565 | 2.623 | 18.9 | 13.25 | 983.716 | 59.4438 | -0.22169
2020-10-28 11:30:00 | 1.289 | 17.26 | 2.509 | 39.63 | 2.6846 | 37.3315 | 2.083 | 17.59 | 13.75 | 983.758 | 57.0551 | -0.2845
2020-10-28 11:45:00 | 0.564 | 7.335 | 1.965 | 17.7 | 2.1025 | 16.6734 | 1.562 | 3.308 | 14.07 | 983.755 | 54.9394 | -0.25125
2020-10-28 12:00:00 | 1.085 | 350.6 | 1.936 | 8.42 | 2.0715 | 7.9316 | 1.402 | 347.6 | 14.36 | 983.606 | 53.6424 | -0.29928
2020-10-28 12:15:00 | 1.431 | 8.29 | 2.205 | 19.02 | 2.3594 | 17.9168 | 1.861 | 9.68 | 14.2 | 983.458 | 53.912 | -0.26972
2020-10-28 12:30:00 | 1.993 | 17.25 | 2.155 | 8.98 | 2.3058 | 8.4592 | 2.329 | 15.67 | 14.39 | 983.458 | 50.8365 | -0.26972
2020-10-28 12:45:00 | 1.698 | 325.4 | 2.518 | 340.9 | 2.6943 | 321.128 | 2.334 | 325 | 14.65 | 983.606 | 48.1025 | -0.25864
2020-10-28 13:00:00 | 2.435 | 7.629 | 2.996 | 16.75 | 3.2057 | 15.7785 | 2.954 | 8.56 | 14.87 | 983.458 | 47.5881 | -0.25864
2020-10-28 13:15:00 | 2.35 | 10.02 | 2.724 | 4.048 | 2.9147 | 3.8132 | 1.926 | 14.87 | 14.98 | 983.458 | 46.1883 | -0.2882
2020-10-28 13:30:00 | 1.762 | 330.3 | 2.588 | 348.1 | 2.7692 | 327.91 | 2.75 | 329.4 | 14.27 | 983.013 | 47.1113 | -0.10715
2020-10-28 13:45:00 | 2.594 | 13.52 | 2.518 | 354.2 | 2.6943 | 333.656 | 1.943 | 18.05 | 14.3 | 982.864 | 46.1286 | -0.26972
2020-10-28 14:00:00 | 2.758 | 320.6 | 3.083 | 329.3 | 3.2988 | 310.201 | 2.842 | 314.7 | 14.25 | 982.864 | 45.5883 | -0.28081
2020-10-28 14:15:00 | 1.471 | 6.536 | 2.36 | 12.05 | 2.5252 | 11.3511 | 1.949 | 352.6 | 14.37 | 982.864 | 44.4293 | -0.20322
2020-10-28 14:30:00 | 2.393 | 2.443 | 2.425 | 352.1 | 2.5947 | 331.678 | 1.844 | 19.1 | 14.58 | 982.864 | 43.6785 | -0.25494
2020-10-28 14:45:00 | 1.441 | 351.1 | 2.108 | 3.782 | 2.2556 | 3.5626 | 1.952 | 350.3 | 14.48 | 982.567 | 42.2453 | -0.28081
2020-10-28 15:00:00 | 0.966 | 16.53 | 2.093 | 24.01 | 2.2395 | 22.6174 | 1.833 | 8.9 | 14.46 | 982.567 | 41.3922 | -0.2882
2020-10-28 15:15:00 | 1.673 | 356.6 | 2.427 | 21.2 | 2.5969 | 19.9704 | 2.558 | 352.3 | 14.11 | 982.567 | 39.9932 | -0.26972
2020-10-28 15:30:00 | 0.544 | 4.402 | 1.431 | 13.45 | 1.5312 | 12.6699 | 1.238 | 349.6 | 14.32 | 982.567 | 39.3107 | -0.26972
2020-10-28 15:45:00 | 1.47 | 5.477 | 2.483 | 28.83 | 2.6568 | 27.1579 | 1.849 | 348.5 | 14.16 | 982.271 | 38.6965 | -0.26972
2020-10-28 16:00:00 | 0.742 | 14.33 | 0.815 | 16.78 | 0.87205 | 15.8068 | 0.616 | 351.6 | 14.06 | 982.4 | 39.7884 | -0.25864
2020-10-28 16:15:00 | 0.523 | 354.2 | 1.01 | 349.7 | 1.0807 | 329.417 | 0.372 | 356.2 | 14.04 | 982.565 | 39.6536 | -0.25864
2020-10-28 16:30:00 | 0.927 | 327.3 | 1.436 | 323 | 1.5365 | 304.266 | 0.68 | 337.9 | 13.9 | 982.274 | 39.7935 | -0.26972
2020-10-28 16:45:00 | 2.028 | 332.4 | 2.336 | 341.6 | 2.4995 | 321.787 | 1.879 | 338.1 | 13.8 | 982.125 | 39.1126 | -0.26972
2020-10-28 17:00:00 | 2.255 | 335.3 | 2.5 | 349.4 | 2.675 | 329.135 | 2.279 | 339.9 | 13.78 | 981.977 | 39.0436 | -0.26972
2020-10-28 17:15:00 | 2.109 | 335 | 2.433 | 349.3 | 2.6033 | 329.041 | 2.215 | 342.1 | 13.77 | 982.125 | 38.5652 | -0.25864
2020-10-28 17:30:00 | 2.017 | 346.9 | 2.533 | 0.146 | 2.7103 | 0.13753 | 2.233 | 348.7 | 13.76 | 981.977 | 37.9523 | -0.25864
2020-10-28 17:45:00 | 1.673 | 346.6 | 2.252 | 0.239 | 2.4096 | 0.22514 | 1.981 | 353 | 13.79 | 982.274 | 37.2021 | -0.26972
2020-10-28 18:00:00 | 1.805 | 342.9 | 2.042 | 353.4 | 2.1849 | 332.903 | 1.833 | 347.7 | 13.84 | 982.274 | 36.3149 | -0.25864
2020-10-28 18:15:00 | 1.74 | 349.9 | 2.129 | 356.9 | 2.278 | 336.2 | 2.157 | 350.6 | 13.83 | 982.274 | 34.5401 | -0.25864
2020-10-28 18:30:00 | 1.483 | 356.1 | 2.091 | 356.9 | 2.2374 | 336.2 | 2.014 | 356.5 | 13.98 | 982.422 | 33.3811 | -0.26972
2020-10-28 18:45:00 | 0.94 | 356.1 | 1.751 | 5.615 | 1.8736 | 5.2893 | 1.803 | 356.5 | 13.9 | 982.274 | 32.5626 | -0.26972
2020-10-28 19:00:00 | 1.575 | 347.8 | 2.347 | 6.532 | 2.5113 | 6.1531 | 2.449 | 354.2 | 13.94 | 982.422 | 33.1096 | -0.26972
2020-10-28 19:15:00 | 2.607 | 343 | 3.101 | 4.189 | 3.3181 | 3.946 | 3.119 | 347.3 | 13.86 | 982.571 | 33.1091 | -0.25864
2020-10-28 19:30:00 | 2.612 | 352.8 | 2.904 | 5.163 | 3.1073 | 4.8636 | 2.992 | 355.7 | 13.78 | 982.571 | 33.4501 | -0.24016
2020-10-28 19:45:00 | 1.818 | 356.9 | 2.329 | 4.874 | 2.492 | 4.5913 | 2.009 | 0.262 | 13.73 | 982.571 | 33.7253 | -0.24016
2020-10-28 20:00:00 | 1.418 | 2.891 | 1.776 | 11.2 | 1.9003 | 10.5504 | 1.212 | 4.789 | 13.6 | 982.422 | 34.5446 | -0.24016
2020-10-28 20:15:00 | 1.479 | 354.3 | 1.822 | 56.14 | 1.9495 | 52.8839 | 0.904 | 2.173 | 13.66 | 982.274 | 34.2038 | -0.24016
2020-10-28 20:30:00 | 0.435 | 5.069 | 1.111 | 2.442 | 1.1888 | 2.3004 | 0.317 | 4.875 | 13.48 | 982.274 | 38.1635 | -0.24016
2020-10-28 20:45:00 | 0 | 5.606 | 0.135 | 2.933 | 0.14445 | 2.7629 | 0.444 | 5.167 | 13.54 | 982.422 | 34.8182 | -0.25864
2020-10-28 21:00:00 | 0 | 23.44 | 0.905 | 2.958 | 0.96835 | 2.7864 | 0.958 | 5.253 | 13.53 | 982.422 | 34.2038 | -0.25864
2020-10-28 21:15:00 | 0.402 | 41.87 | 1.897 | 22.05 | 2.0298 | 20.7711 | 1.38 | 5.599 | 13.65 | 982.274 | 33.5893 | -0.25864
2020-10-28 21:30:00 | 0 | 41.87 | 1.311 | 29.15 | 1.4028 | 27.4593 | 0.671 | 30.9 | 13.73 | 982.422 | 32.497 | -0.24016
2020-10-28 21:45:00 | 0 | 60.88 | 0.744 | 29.15 | 0.79608 | 27.4593 | 0 | 31.66 | 13.79 | 982.571 | 32.7701 | -0.24016
2020-10-28 22:00:00 | 0 | 87.2 | 0.056 | 29.15 | 0.05992 | 27.4593 | 0 | 31.66 | 13.61 | 982.571 | 34.8182 | -0.25864
2020-10-28 22:15:00 | 0.461 | 134.4 | 1.294 | 99.7 | 1.3846 | 93.9174 | 1.41 | 146.6 | 13.22 | 982.274 | 35.5009 | -0.24016
2020-10-28 22:30:00 | 1.356 | 157.1 | 2.078 | 171.3 | 2.2235 | 161.365 | 1.212 | 155.7 | 13.25 | 982.276 | 34.3403 | -0.25864
2020-10-28 22:45:00 | 1.378 | 147.2 | 1.784 | 171.1 | 1.9089 | 161.176 | 1.311 | 155.6 | 13.47 | 982.274 | 34.2721 | -0.25125
2020-10-28 23:00:00 | 0.858 | 146.7 | 1.574 | 169.6 | 1.6842 | 159.763 | 1.283 | 155.2 | 13.28 | 982.128 | 34.75 | -0.24016
2020-10-28 23:15:00 | 1.823 | 150.6 | 2.385 | 169.3 | 2.552 | 159.481 | 1.678 | 155.7 | 13.26 | 981.987 | 35.3644 | -0.25864
2020-10-28 23:30:00 | 1.802 | 150.8 | 2.444 | 166.3 | 2.6151 | 156.655 | 1.815 | 157.1 | 13.24 | 982.02 | 35.9788 | -0.25864
2020-10-28 23:45:00 | 1.521 | 148.3 | 2.165 | 164.7 | 2.3165 | 155.147 | 1.754 | 156.9 | 13.25 | 981.977 | 36.8664 | -0.25864