## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-29 00:00:00 | 0.588 | 151.7 | 1.925 | 167.1 | 2.0598 | 157.408 | 1.446 | 157 | 13.19 | 981.829 | 38.3 | -0.26972
2020-10-29 00:15:00 | 1.616 | 157.7 | 2.339 | 174.3 | 2.5027 | 164.191 | 1.912 | 158.7 | 13.16 | 981.978 | 37.8222 | -0.25864
2020-10-29 00:30:00 | 2.314 | 156.8 | 2.712 | 162.8 | 2.9018 | 153.358 | 2.185 | 159.1 | 13.32 | 981.977 | 36.1836 | -0.25125
2020-10-29 00:45:00 | 1.868 | 153.4 | 2.904 | 171.5 | 3.1073 | 161.553 | 2.679 | 158.6 | 13.17 | 981.977 | 37.0712 | -0.26972
2020-10-29 01:00:00 | 2.556 | 153.8 | 2.825 | 166.4 | 3.0227 | 156.749 | 2.989 | 164.2 | 13.06 | 981.977 | 39.3582 | -0.27342
2020-10-29 01:15:00 | 2.449 | 140.4 | 3.2 | 157.5 | 3.424 | 148.365 | 3.229 | 151.5 | 12.89 | 981.829 | 43.0107 | -0.26972
2020-10-29 01:30:00 | 3.572 | 140.1 | 3.786 | 156.4 | 4.051 | 147.329 | 3.82 | 149 | 12.88 | 981.383 | 43.2156 | -0.16257
2020-10-29 01:45:00 | 1.994 | 140.9 | 2.858 | 164.6 | 3.0581 | 155.053 | 3.331 | 148 | 12.79 | 981.68 | 44.5127 | -0.18105
2020-10-29 02:00:00 | 2.651 | 147.7 | 3.137 | 161.7 | 3.3566 | 152.321 | 2.941 | 155.7 | 12.77 | 981.383 | 44.6151 | -0.25864
2020-10-29 02:15:00 | 2.336 | 148.6 | 3.096 | 163.5 | 3.3127 | 154.017 | 2.842 | 158.7 | 12.59 | 981.383 | 45.4685 | -0.26972
2020-10-29 02:30:00 | 2.498 | 153.2 | 3.175 | 164.6 | 3.3973 | 155.053 | 3.203 | 158.9 | 12.61 | 981.235 | 46.2195 | -0.26972
2020-10-29 02:45:00 | 3.585 | 149.7 | 3.643 | 164.3 | 3.898 | 154.771 | 3.817 | 158.4 | 12.63 | 981.086 | 46.7657 | -0.17735
2020-10-29 03:00:00 | 1.948 | 143.7 | 2.733 | 160.2 | 2.9243 | 150.908 | 2.961 | 156.7 | 12.5 | 981.086 | 47.9945 | -0.25494
2020-10-29 03:15:00 | 2.222 | 139.7 | 2.924 | 152.1 | 3.1287 | 143.278 | 2.271 | 151.8 | 12.56 | 981.086 | 50.7254 | -0.26972
2020-10-29 03:30:00 | 1.54 | 145.6 | 2.262 | 164.7 | 2.4203 | 155.147 | 1.902 | 154.8 | 12.57 | 981.086 | 53.3197 | -0.26972
2020-10-29 03:45:00 | 1.666 | 141.1 | 2.6 | 161.2 | 2.782 | 151.85 | 1.935 | 152.9 | 12.44 | 980.944 | 53.8658 | -0.26972
2020-10-29 04:00:00 | 1.643 | 138.8 | 3.203 | 157.4 | 3.4272 | 148.271 | 3.132 | 152.8 | 12.3 | 981.086 | 54.9582 | -0.070202
2020-10-29 04:15:00 | 2.408 | 135.5 | 2.82 | 155.2 | 3.0174 | 146.198 | 2.378 | 140.8 | 12.32 | 981.235 | 54.6168 | -0.28081
2020-10-29 04:30:00 | 1.278 | 138.4 | 1.441 | 163.2 | 1.5419 | 153.734 | 0 | 140.9 | 12.37 | 981.39 | 57.2453 | -0.24016
2020-10-29 04:45:00 | 1.837 | 138.4 | 1.567 | 163 | 1.6767 | 153.546 | 0 | 140.9 | 12.25 | 981.384 | 56.9039 | -0.26972
2020-10-29 05:00:00 | 0.201 | 118 | 0.286 | 97 | 0.30602 | 91.374 | 0 | 140.9 | 12.16 | 981.465 | 56.8698 | -0.26972
2020-10-29 05:15:00 | 1.299 | 73.4 | 1.485 | 89.2 | 1.589 | 84.0264 | 0.222 | 140.6 | 12.02 | 981.588 | 59.3275 | -0.26972
2020-10-29 05:30:00 | 1.399 | 75.71 | 1.922 | 86.9 | 2.0565 | 81.8598 | 1.65 | 89.8 | 11.93 | 981.401 | 58.3719 | -0.25864
2020-10-29 05:45:00 | 1.517 | 88.6 | 2.73 | 105.9 | 2.9211 | 99.7578 | 1.902 | 96.5 | 11.87 | 981.249 | 54.0034 | -0.26233
2020-10-29 06:00:00 | 2.288 | 91.2 | 2.766 | 109.8 | 2.9596 | 103.432 | 1.876 | 91.6 | 12.17 | 981.453 | 50.6626 | -0.20322
2020-10-29 06:15:00 | 2.674 | 81.7 | 3.131 | 102.7 | 3.3502 | 96.7434 | 2.612 | 85.7 | 11.98 | 981.327 | 52.5746 | 0.65768
2020-10-29 06:30:00 | 2.802 | 83.7 | 4.075 | 103.5 | 4.3602 | 97.497 | 3.687 | 88.4 | 11.79 | 981.57 | 59.2672 | 2.5421
2020-10-29 06:45:00 | 2.251 | 85.5 | 3.385 | 106.2 | 3.622 | 100.04 | 3.473 | 91.8 | 11.57 | 981.495 | 59.0656 | 2.1984
2020-10-29 07:00:00 | 2.459 | 99 | 2.986 | 119 | 3.195 | 112.098 | 3.354 | 100.1 | 11.66 | 981.366 | 57.0161 | 2.1024
2020-10-29 07:15:00 | 1.87 | 98.5 | 2.97 | 115.1 | 3.1779 | 108.424 | 3.078 | 103.8 | 11.7 | 981.557 | 54.6262 | 0.90524
2020-10-29 07:30:00 | 5.046 | 114.5 | 4.995 | 132 | 5.3446 | 124.344 | 3.639 | 115.4 | 12.02 | 981.745 | 54.0108 | 2.0543
2020-10-29 07:45:00 | 4.606 | 132.9 | 5.113 | 150.3 | 5.4709 | 141.583 | 5.083 | 137.4 | 11.76 | 982.022 | 58.5089 | 4.0865
2020-10-29 08:00:00 | 3.789 | 136.8 | 4.011 | 156.1 | 4.2918 | 147.046 | 4.021 | 141 | 11.41 | 982.019 | 61.9901 | 3.802
2020-10-29 08:15:00 | 2.422 | 131.7 | 2.929 | 146 | 3.134 | 137.532 | 3.091 | 139.3 | 11.59 | 982.626 | 61.1711 | 2.5014
2020-10-29 08:30:00 | 2.293 | 115.9 | 2.855 | 139.5 | 3.0549 | 131.409 | 3.31 | 120 | 11.9 | 982.664 | 55.0265 | 2.9817
2020-10-29 08:45:00 | 4.389 | 114.3 | 4.719 | 131.1 | 5.0493 | 123.496 | 4.612 | 121.5 | 11.94 | 982.596 | 56.5284 | 3.7429
2020-10-29 09:00:00 | 2.537 | 120.3 | 2.784 | 143.2 | 2.9789 | 134.894 | 2.948 | 126.6 | 11.92 | 982.868 | 56.0505 | 2.0913
2020-10-29 09:15:00 | 2.972 | 136.1 | 3.254 | 155.6 | 3.4818 | 146.575 | 3.371 | 136.4 | 11.95 | 982.868 | 57.6549 | 4.0902
2020-10-29 09:30:00 | 3.266 | 135.2 | 3.671 | 155.2 | 3.928 | 146.198 | 3.432 | 135.8 | 11.77 | 982.719 | 60.8295 | 4.4079
2020-10-29 09:45:00 | 2.952 | 134.2 | 3.05 | 154.6 | 3.2635 | 145.633 | 2.882 | 138.7 | 11.64 | 982.868 | 58.6448 | 4.7368
2020-10-29 10:00:00 | 2.592 | 142 | 2.528 | 170.1 | 2.705 | 160.234 | 1.659 | 148.2 | 12.37 | 983.165 | 55.5044 | 4.4449
2020-10-29 10:15:00 | 2.868 | 120.1 | 3.188 | 141.2 | 3.4112 | 133.01 | 3.224 | 126 | 12.52 | 983.165 | 55.7751 | 4.1604
2020-10-29 10:30:00 | 3.297 | 148.4 | 3.313 | 165.1 | 3.5449 | 155.524 | 2.917 | 151.2 | 12.62 | 983.165 | 56.0394 | 2.095
2020-10-29 10:45:00 | 0.844 | 86.8 | 0.826 | 131.9 | 0.88382 | 124.25 | 0.967 | 104.1 | 13.06 | 983.61 | 55.0165 | -0.092371
2020-10-29 11:00:00 | 0.766 | 147.1 | 1.078 | 137.8 | 1.1535 | 129.808 | 1.228 | 149 | 13.82 | 983.715 | 50.7798 | -0.17735
2020-10-29 11:15:00 | 3.636 | 149.1 | 3.188 | 168.9 | 3.4112 | 159.104 | 2.814 | 153 | 13.35 | 983.484 | 53.984 | -0.26233
2020-10-29 11:30:00 | 4.167 | 149 | 4.034 | 164 | 4.3164 | 154.488 | 3.333 | 153.7 | 13.49 | 983.161 | 52.4825 | -0.25125
2020-10-29 11:45:00 | 3.994 | 151.9 | 3.482 | 163.7 | 3.7257 | 154.205 | 2.602 | 158.1 | 13.31 | 983.013 | 47.8757 | -0.25125
2020-10-29 12:00:00 | 3.299 | 145.1 | 3.277 | 156.7 | 3.5064 | 147.611 | 2.745 | 149.6 | 13.47 | 982.864 | 58.2833 | -0.25125
2020-10-29 12:15:00 | 2.906 | 149.8 | 3.009 | 167.1 | 3.2196 | 157.408 | 2.381 | 152.8 | 13.27 | 982.27 | 59.1708 | -0.25125
2020-10-29 12:30:00 | 2.735 | 141 | 2.694 | 157.9 | 2.8826 | 148.742 | 2.424 | 144.4 | 13.27 | 981.974 | 58.0788 | -0.2882
2020-10-29 12:45:00 | 1.89 | 150.5 | 1.969 | 164.3 | 2.1068 | 154.771 | 1.494 | 166.5 | 13.48 | 981.677 | 57.7717 | -0.26972
2020-10-29 13:00:00 | 1.802 | 140 | 2.18 | 154.8 | 2.3326 | 145.822 | 1.612 | 142.6 | 13.39 | 981.819 | 58.966 | -0.26972
2020-10-29 13:15:00 | 0.79 | 134.1 | 1.069 | 120.3 | 1.1438 | 113.323 | 0.389 | 131.1 | 13.75 | 981.617 | 57.8759 | -0.26972
2020-10-29 13:30:00 | 1.046 | 130.6 | 1.519 | 145.2 | 1.6253 | 136.778 | 1.228 | 122.6 | 14.04 | 981.66 | 56.1682 | -0.26972
2020-10-29 13:45:00 | 1.263 | 147.8 | 1.644 | 163.7 | 1.7591 | 154.205 | 1.027 | 139.2 | 13.83 | 981.453 | 57.6354 | -0.26972
2020-10-29 14:00:00 | 1.084 | 122.5 | 1.403 | 160.6 | 1.5012 | 151.285 | 1.112 | 129.6 | 13.64 | 981.357 | 59.8585 | -0.26972
2020-10-29 14:15:00 | 1.525 | 131.6 | 1.741 | 151.4 | 1.8629 | 142.619 | 1.276 | 137.7 | 13.45 | 981.234 | 62.9006 | -0.26972
2020-10-29 14:30:00 | 0.004 | 130.3 | 0 | 135.3 | 0 | 127.453 | 0 | 131.7 | 13.55 | 981.383 | 62.1842 | -0.26972
2020-10-29 14:45:00 | 0 | 102.7 | 0.426 | 74.98 | 0.45582 | 70.6312 | 0.102 | 128.2 | 13.73 | 981.383 | 61.5015 | -0.2882
2020-10-29 15:00:00 | 0.424 | 24.42 | 1.396 | 46.06 | 1.4937 | 43.3885 | 0.55 | 32.01 | 13.76 | 981.383 | 61.7746 | -0.2882
2020-10-29 15:15:00 | 2.551 | 10.11 | 3.096 | 15.54 | 3.3127 | 14.6387 | 2.236 | 5.314 | 13.29 | 981.086 | 63.6177 | -0.25125
2020-10-29 15:30:00 | 3.092 | 12.8 | 3.2 | 10.74 | 3.424 | 10.1171 | 2.824 | 11.41 | 12.94 | 980.789 | 66.0068 | 0.055423
2020-10-29 15:45:00 | 2.606 | 13.61 | 2.743 | 14.48 | 2.935 | 13.6402 | 2.353 | 16.99 | 12.83 | 980.789 | 67.3715 | 0.073897
2020-10-29 16:00:00 | 2.285 | 10.69 | 2.991 | 18.41 | 3.2004 | 17.3422 | 2.406 | 25.39 | 12.76 | 980.789 | 67.2352 | 0.33623
2020-10-29 16:15:00 | 2.967 | 6.302 | 3.61 | 15.91 | 3.8627 | 14.9872 | 2.518 | 13.19 | 12.6 | 980.789 | 66.7622 | 0.41013
2020-10-29 16:30:00 | 2.689 | 5.419 | 3.627 | 20.08 | 3.8809 | 18.9154 | 2.926 | 14.87 | 12.49 | 980.64 | 67.6552 | 0.82026
2020-10-29 16:45:00 | 3.008 | 5.19 | 3.725 | 19.86 | 3.9857 | 18.7081 | 3.165 | 12.4 | 12.34 | 980.492 | 69.3634 | 1.1897
2020-10-29 17:00:00 | 3.109 | 11.23 | 4.011 | 24.16 | 4.2918 | 22.7587 | 3.621 | 19.94 | 12.22 | 980.492 | 67.9297 | 1.7366
2020-10-29 17:15:00 | 3.307 | 8.4 | 3.783 | 18.77 | 4.0478 | 17.6813 | 3.496 | 16.19 | 12.16 | 980.344 | 66.9739 | 2.0322
2020-10-29 17:30:00 | 3.12 | 10.76 | 3.906 | 18.41 | 4.1794 | 17.3422 | 3.593 | 19.98 | 12.04 | 980.492 | 66.4277 | 2.191
2020-10-29 17:45:00 | 3.634 | 5.432 | 3.852 | 19.74 | 4.1216 | 18.5951 | 3.601 | 17.63 | 11.96 | 980.492 | 65.7791 | 2.0285
2020-10-29 18:00:00 | 2.296 | 32.27 | 3.229 | 41.57 | 3.455 | 39.1589 | 3.068 | 42 | 11.95 | 980.5 | 65.8815 | 0.073897
2020-10-29 18:15:00 | 2.01 | 51.74 | 2.853 | 56.51 | 3.0527 | 53.2324 | 3.155 | 60.05 | 12.36 | 980.789 | 64.6527 | -0.24755
2020-10-29 18:30:00 | 2.638 | 64.39 | 2.929 | 69.66 | 3.134 | 65.6197 | 1.879 | 76.81 | 12.93 | 980.806 | 56.2553 | -0.26972
2020-10-29 18:45:00 | 2.204 | 119 | 2.127 | 123.9 | 2.2759 | 116.714 | 1.26 | 128 | 13.28 | 980.803 | 56.8015 | -0.26972
2020-10-29 19:00:00 | 1.549 | 147.9 | 1.958 | 151.7 | 2.0951 | 142.901 | 1.889 | 151.9 | 13.53 | 980.938 | 57.7573 | -0.26972
2020-10-29 19:15:00 | 0.402 | 136 | 1.592 | 158.3 | 1.7034 | 149.119 | 1.553 | 152.2 | 13.43 | 980.948 | 58.8496 | -0.26972
2020-10-29 19:30:00 | 1.365 | 132.5 | 2.262 | 151.6 | 2.4203 | 142.807 | 2.572 | 137.5 | 13.25 | 981.096 | 57.8938 | -0.26972
2020-10-29 19:45:00 | 0.878 | 125 | 2.446 | 143.3 | 2.6172 | 134.989 | 2.465 | 127.2 | 13.19 | 980.791 | 57.8597 | -0.26972
2020-10-29 20:00:00 | 2.038 | 125.1 | 3.042 | 141.8 | 3.2549 | 133.576 | 2.921 | 128.5 | 12.94 | 980.957 | 54.6851 | -0.25864
2020-10-29 20:15:00 | 3.036 | 108.6 | 3.032 | 131.8 | 3.2442 | 124.156 | 3.053 | 110.4 | 13.32 | 981.402 | 54.6168 | -0.19583
2020-10-29 20:30:00 | 0.063 | 84.3 | 1.219 | 92.4 | 1.3043 | 87.0408 | 1.443 | 100.8 | 12.9 | 981.388 | 56.2553 | -0.17735
2020-10-29 20:45:00 | 0 | 60.75 | 0.116 | 71.1 | 0.12412 | 66.9762 | 0.009 | 86 | 12.79 | 981.407 | 56.7332 | -0.23278
2020-10-29 21:00:00 | 0.223 | 41.19 | 0.233 | 71.08 | 0.24931 | 66.9574 | 0 | 85.5 | 12.68 | 981.409 | 55.8457 | -0.26972
2020-10-29 21:15:00 | 0.667 | 48.35 | 0.858 | 71.1 | 0.91806 | 66.9762 | 0.161 | 87 | 12.68 | 981.453 | 55.5726 | -0.26972
2020-10-29 21:30:00 | 0 | 104.4 | 0.451 | 78.92 | 0.48257 | 74.3426 | 0.177 | 101.8 | 12.64 | 981.648 | 55.3337 | -0.25864
2020-10-29 21:45:00 | 0 | 97.7 | 0.011 | 78.92 | 0.01177 | 74.3426 | 0.083 | 110.7 | 12.54 | 981.702 | 55.7774 | -0.24016
2020-10-29 22:00:00 | 0 | 134.5 | 0.229 | 78.93 | 0.24503 | 74.3521 | 0.149 | 113.2 | 12.5 | 981.733 | 55.5043 | -0.26972
2020-10-29 22:15:00 | 0 | 143.4 | 1.28 | 155.5 | 1.3696 | 146.481 | 1.761 | 142.2 | 12.64 | 981.94 | 55.2654 | -0.26972
2020-10-29 22:30:00 | 0 | 133 | 0.986 | 155.1 | 1.055 | 146.104 | 1.549 | 133.5 | 12.5 | 982.042 | 55.914 | -0.25864
2020-10-29 22:45:00 | 0.717 | 130.5 | 1.564 | 155 | 1.6735 | 146.01 | 1.499 | 133.4 | 12.52 | 981.717 | 55.5043 | -0.24016
2020-10-29 23:00:00 | 1.9 | 123.5 | 2.247 | 146.5 | 2.4043 | 138.003 | 2.202 | 117.5 | 12.54 | 981.733 | 55.7774 | -0.25864
2020-10-29 23:15:00 | 0 | 130.6 | 0.071 | 136.8 | 0.07597 | 128.866 | 0.304 | 121.4 | 12.41 | 981.751 | 56.5967 | -0.22169
2020-10-29 23:30:00 | 0 | 269.8 | 0.361 | 145 | 0.38627 | 136.59 | 0.012 | 137.7 | 12.27 | 981.393 | 56.5284 | -0.25864
2020-10-29 23:45:00 | 0.832 | 286.2 | 1.384 | 298.1 | 1.4809 | 280.81 | 0 | 68.96 | 12.43 | 981.552 | 56.1188 | -0.24016