## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-30 00:00:00 | 1.309 | 281.5 | 1.137 | 283.7 | 1.2166 | 267.245 | 0.003 | 21.06 | 12.39 | 981.704 | 56.6653 | -0.24016
2020-10-30 00:15:00 | 1.095 | 305.2 | 0.465 | 351.9 | 0.49755 | 331.49 | 0 | 21.06 | 11.93 | 981.781 | 57.7938 | -0.25864
2020-10-30 00:30:00 | 1.795 | 327.7 | 1.695 | 351.9 | 1.8136 | 331.49 | 0 | 21.06 | 12.08 | 981.755 | 56.465 | -0.24016
2020-10-30 00:45:00 | 1.591 | 339.8 | 1.664 | 351.9 | 1.7805 | 331.49 | 0 | 21.06 | 12.23 | 981.886 | 56.4627 | -0.26972
2020-10-30 01:00:00 | 1.515 | 339.8 | 1.664 | 351.9 | 1.7805 | 331.49 | 0 | 21.06 | 12.13 | 981.724 | 58.3085 | -0.26972
2020-10-30 01:15:00 | 2.49 | 3.835 | 2.61 | 15.61 | 2.7927 | 14.7046 | 2.521 | 2.045 | 11.7 | 981.741 | 61.449 | -0.26972
2020-10-30 01:30:00 | 2.768 | 353.6 | 3.3 | 12.36 | 3.531 | 11.6431 | 2.332 | 355.8 | 11.79 | 981.758 | 61.3843 | -0.23647
2020-10-30 01:45:00 | 2.855 | 47.45 | 2.301 | 14.35 | 2.4621 | 13.5177 | 2.674 | 3.908 | 11.92 | 981.738 | 59.8777 | -0.19583
2020-10-30 02:00:00 | 2.273 | 4.241 | 3.167 | 27.1 | 3.3887 | 25.5282 | 1.767 | 10.71 | 11.97 | 981.436 | 59.1986 | -0.218
2020-10-30 02:15:00 | 2.559 | 3.668 | 2.958 | 24.4 | 3.1651 | 22.9848 | 2.997 | 8.05 | 11.96 | 981.732 | 57.861 | -0.24755
2020-10-30 02:30:00 | 2.319 | 2.485 | 3.121 | 23.06 | 3.3395 | 21.7225 | 2.684 | 5.095 | 12.06 | 981.707 | 57.865 | -0.2143
2020-10-30 02:45:00 | 1.938 | 3.997 | 3.152 | 25.3 | 3.3726 | 23.8326 | 2.154 | 8.98 | 11.96 | 981.408 | 58.5808 | -0.16996
2020-10-30 03:00:00 | 2.625 | 4.513 | 3.505 | 25.19 | 3.7504 | 23.729 | 2.465 | 8.39 | 11.91 | 981.425 | 57.9642 | 0.11824
2020-10-30 03:15:00 | 2.487 | 3.075 | 3.408 | 21.85 | 3.6466 | 20.5827 | 2.786 | 6.992 | 11.9 | 981.443 | 56.9444 | 0.31037
2020-10-30 03:30:00 | 1.997 | 10.16 | 3.282 | 32.27 | 3.5117 | 30.3983 | 3.137 | 12.43 | 11.79 | 981.417 | 57.4884 | 0.10715
2020-10-30 03:45:00 | 2.015 | 9.78 | 3.234 | 29.96 | 3.4604 | 28.2223 | 2.719 | 13.73 | 11.77 | 981.422 | 57.5584 | 0.11824
2020-10-30 04:00:00 | 3.039 | 4.473 | 3.569 | 24.04 | 3.8188 | 22.6457 | 2.951 | 8.82 | 11.63 | 981.434 | 58.3773 | 0.44338
2020-10-30 04:15:00 | 2.492 | 8.59 | 3.633 | 29.13 | 3.8873 | 27.4405 | 3.285 | 10.02 | 11.42 | 981.486 | 59.3374 | 0.47294
2020-10-30 04:30:00 | 2.293 | 14.24 | 3.456 | 31.88 | 3.6979 | 30.031 | 3.552 | 14.81 | 11.36 | 981.584 | 59.2021 | 0.72789
2020-10-30 04:45:00 | 2.359 | 17.89 | 3.566 | 34.33 | 3.8156 | 32.3389 | 3.937 | 18.01 | 11.28 | 981.628 | 59.4062 | 0.82395
2020-10-30 05:00:00 | 2.819 | 28.45 | 3.553 | 46.75 | 3.8017 | 44.0385 | 3.784 | 30.45 | 11.34 | 981.645 | 58.7232 | 0.17735
2020-10-30 05:15:00 | 1.726 | 30.25 | 3.139 | 51.58 | 3.3587 | 48.5884 | 3.397 | 31.43 | 11.38 | 981.642 | 58.2452 | -0.044338
2020-10-30 05:30:00 | 1.752 | 20.94 | 2.993 | 36.44 | 3.2025 | 34.3265 | 3.588 | 22.58 | 11.36 | 981.678 | 58.5183 | -0.16996
2020-10-30 05:45:00 | 1.816 | 23.96 | 3.137 | 37.64 | 3.3566 | 35.4569 | 3.509 | 29.22 | 11.35 | 981.645 | 58.1769 | -0.17366
2020-10-30 06:00:00 | 2.068 | 21.44 | 2.929 | 35.19 | 3.134 | 33.149 | 3.203 | 28.31 | 11.31 | 981.683 | 58.9293 | -0.18474
2020-10-30 06:15:00 | 2.799 | 21.65 | 2.843 | 29.33 | 3.042 | 27.6289 | 2.663 | 31.92 | 10.89 | 981.653 | 60.3626 | -0.24016
2020-10-30 06:30:00 | 2.676 | 45.15 | 3.18 | 48.5 | 3.4026 | 45.687 | 2.972 | 62.14 | 10.59 | 981.683 | 61.1843 | -0.24755
2020-10-30 06:45:00 | 2.066 | 65.17 | 2.983 | 51.55 | 3.1918 | 48.5601 | 3.114 | 72.9 | 10.72 | 981.683 | 60.7784 | -0.25125
2020-10-30 07:00:00 | 1.956 | 75.58 | 2.773 | 83.3 | 2.9671 | 78.4686 | 2.218 | 80.8 | 11.51 | 982.277 | 56.8462 | -0.24016
2020-10-30 07:15:00 | 2.255 | 77.31 | 3.157 | 89.9 | 3.378 | 84.6858 | 2.475 | 84.1 | 11.93 | 982.412 | 56.2622 | -0.25864
2020-10-30 07:30:00 | 1.32 | 101 | 2.298 | 122 | 2.4589 | 114.924 | 2.625 | 98.5 | 12.14 | 982.614 | 54.9583 | -0.24016
2020-10-30 07:45:00 | 1.087 | 115.2 | 1.94 | 143.8 | 2.0758 | 135.46 | 2.162 | 121.9 | 12.38 | 983.165 | 56.4602 | -0.24016
2020-10-30 08:00:00 | 1.463 | 119 | 2.293 | 145.8 | 2.4535 | 137.344 | 2.574 | 115.6 | 12.39 | 983.462 | 55.9046 | -0.25864
2020-10-30 08:15:00 | 1.378 | 114.5 | 2.247 | 130.4 | 2.4043 | 122.837 | 2.21 | 112.5 | 12.87 | 983.759 | 55.2879 | -0.25864
2020-10-30 08:30:00 | 1.9 | 120.9 | 2.331 | 142.9 | 2.4942 | 134.612 | 2.265 | 111.5 | 13.31 | 984.063 | 55.1442 | -0.22539
2020-10-30 08:45:00 | 2.566 | 115.2 | 2.722 | 141.5 | 2.9125 | 133.293 | 2.544 | 112.7 | 13.29 | 984.052 | 53.1591 | 0.092371
2020-10-30 09:00:00 | 2.518 | 101.9 | 3.275 | 119.4 | 3.5042 | 112.475 | 3.842 | 109.3 | 13.84 | 984.349 | 52.5003 | 0.073897
2020-10-30 09:15:00 | 3.205 | 108.8 | 4.134 | 129 | 4.4234 | 121.518 | 4.138 | 114 | 14.21 | 984.2 | 53.7609 | 0.17366
2020-10-30 09:30:00 | 2.385 | 104.7 | 3.008 | 129.3 | 3.2186 | 121.801 | 3.02 | 111 | 13.92 | 984.052 | 51.4413 | 0.39535
2020-10-30 09:45:00 | 3.657 | 101.4 | 4.471 | 117.7 | 4.784 | 110.873 | 4.502 | 106.5 | 13.98 | 984.096 | 57.2403 | 0.69463
2020-10-30 10:00:00 | 2.628 | 111 | 3.158 | 127.6 | 3.3791 | 120.199 | 2.959 | 118 | 14.26 | 984.133 | 55.4665 | 0.69094
2020-10-30 10:15:00 | 3.748 | 141.9 | 3.911 | 163.6 | 4.1848 | 154.111 | 3.101 | 143.7 | 14.62 | 984.432 | 55.5347 | 0.59118
2020-10-30 10:30:00 | 2.51 | 124.2 | 2.987 | 147.9 | 3.1961 | 139.322 | 2.481 | 123.2 | 15.54 | 984.494 | 55.806 | 0.29189
2020-10-30 10:45:00 | 3.109 | 127.1 | 3.489 | 151.8 | 3.7332 | 142.996 | 2.646 | 128.2 | 15 | 984.196 | 55.253 | 0.40274
2020-10-30 11:00:00 | 3.456 | 141.4 | 4.077 | 162.4 | 4.3624 | 152.981 | 3.542 | 144.7 | 15.34 | 984.048 | 59.6863 | 0.2143
2020-10-30 11:15:00 | 4.057 | 156.3 | 3.85 | 168.2 | 4.1195 | 158.444 | 2.913 | 164.1 | 14.51 | 983.899 | 61.6644 | -0.062812
2020-10-30 11:30:00 | 4.356 | 150.3 | 4.182 | 170.7 | 4.4747 | 160.799 | 3.771 | 154.8 | 14.54 | 983.751 | 62.4888 | 0.066507
2020-10-30 11:45:00 | 3.373 | 124.6 | 3.359 | 141.8 | 3.5941 | 133.576 | 2.949 | 128.9 | 14.65 | 983.818 | 61.2995 | -0.070202
2020-10-30 12:00:00 | 4.555 | 137.4 | 4.678 | 157.7 | 5.0055 | 148.553 | 4.049 | 142.7 | 15.18 | 983.823 | 61.8796 | 0.12562
2020-10-30 12:15:00 | 3.47 | 120 | 3.888 | 140.8 | 4.1602 | 132.634 | 3.667 | 123.9 | 14.42 | 983.421 | 62.2889 | -0.26972
2020-10-30 12:30:00 | 2.195 | 112.3 | 2.784 | 121.7 | 2.9789 | 114.641 | 2.455 | 126.9 | 14.46 | 983.445 | 60.6174 | -0.2882
2020-10-30 12:45:00 | 4.517 | 134.8 | 4.466 | 149.8 | 4.7786 | 141.112 | 3.985 | 140.7 | 14.92 | 983.236 | 62.1525 | 0.27342
2020-10-30 13:00:00 | 3.417 | 137.3 | 3.303 | 150.7 | 3.5342 | 141.959 | 2.928 | 137.9 | 14.64 | 982.862 | 63.1076 | 0.5764
2020-10-30 13:15:00 | 3.802 | 128.6 | 4.126 | 141 | 4.4148 | 132.822 | 4.056 | 132.9 | 15.01 | 982.715 | 61.7772 | 1.0493
2020-10-30 13:30:00 | 2.67 | 166.8 | 3.208 | 185.4 | 3.4326 | 174.647 | 2.638 | 172.2 | 15.58 | 982.567 | 57.7861 | 1.3191
2020-10-30 13:45:00 | 4.174 | 171.1 | 4.139 | 180 | 4.4287 | 169.56 | 3.532 | 174.6 | 15.4 | 982.712 | 58.9459 | 1.2489
2020-10-30 14:00:00 | 3.087 | 154.9 | 3.075 | 171.9 | 3.2902 | 161.93 | 2.429 | 154.4 | 14.86 | 982.119 | 63.6534 | 1.1713
2020-10-30 14:15:00 | 3.882 | 134 | 4.169 | 150.6 | 4.4608 | 141.865 | 4.023 | 140 | 15.13 | 982.27 | 59.1847 | 1.5297
2020-10-30 14:30:00 | 3.761 | 123.5 | 4.333 | 139.4 | 4.6363 | 131.315 | 4.194 | 132 | 15.2 | 981.973 | 61.7432 | 1.2045
2020-10-30 14:45:00 | 3.557 | 161.8 | 3.791 | 180.9 | 4.0564 | 170.408 | 3.089 | 165.5 | 15.4 | 981.825 | 61.5734 | 0.46925
2020-10-30 15:00:00 | 3.746 | 143.4 | 3.916 | 155.2 | 4.1901 | 146.198 | 3.297 | 153.4 | 15.11 | 981.528 | 62.836 | 0.68355
2020-10-30 15:15:00 | 3.759 | 141.1 | 3.696 | 157.9 | 3.9547 | 148.742 | 3.387 | 144.3 | 14.86 | 981.231 | 63.4518 | 0.36579
2020-10-30 15:30:00 | 3.11 | 144.4 | 3.119 | 161.6 | 3.3373 | 152.227 | 2.989 | 146.2 | 14.93 | 981.231 | 63.1269 | 0.97174
2020-10-30 15:45:00 | 3.899 | 141.5 | 4.451 | 158.9 | 4.7626 | 149.684 | 4.186 | 146.2 | 15.04 | 981.083 | 62.9927 | 0.70202
2020-10-30 16:00:00 | 3.343 | 147.5 | 3.653 | 161.7 | 3.9087 | 152.321 | 3.407 | 154.9 | 14.95 | 980.934 | 63.095 | 0.77961
2020-10-30 16:15:00 | 3.659 | 145.7 | 3.916 | 161.4 | 4.1901 | 152.039 | 3.906 | 152 | 14.87 | 980.489 | 63.6751 | 1.3708
2020-10-30 16:30:00 | 3.054 | 145.8 | 3.252 | 161.6 | 3.4796 | 152.227 | 3.201 | 150.7 | 14.8 | 980.586 | 63.5386 | 1.1343
2020-10-30 16:45:00 | 2.921 | 125.7 | 3.246 | 139.3 | 3.4732 | 131.221 | 3.007 | 134.2 | 14.85 | 980.757 | 64.0524 | 1.0863
2020-10-30 17:00:00 | 3.417 | 112.4 | 3.543 | 126.6 | 3.791 | 119.257 | 3.303 | 121.7 | 14.66 | 980.492 | 64.8782 | 1.829
2020-10-30 17:15:00 | 4.063 | 109.7 | 4.65 | 125.8 | 4.9755 | 118.504 | 5.253 | 114.1 | 14.54 | 980.344 | 65.802 | 3.0963
2020-10-30 17:30:00 | 3.657 | 105.2 | 4.32 | 121.9 | 4.6224 | 114.83 | 4.94 | 110.4 | 14.34 | 980.195 | 65.6628 | 5.0582
2020-10-30 17:45:00 | 4.412 | 112.6 | 4.985 | 127.3 | 5.3339 | 119.917 | 5.146 | 118.2 | 14.4 | 980.344 | 64.4359 | 6.9131
2020-10-30 18:00:00 | 3.067 | 120.7 | 3.548 | 140.6 | 3.7964 | 132.445 | 3.522 | 123.7 | 14.45 | 980.344 | 63.4106 | 6.3514
2020-10-30 18:15:00 | 3.731 | 126.9 | 3.814 | 141.8 | 4.081 | 133.576 | 4.324 | 129.6 | 14.54 | 980.64 | 63.0028 | 6.1778
2020-10-30 18:30:00 | 4.101 | 127.2 | 4.451 | 143.2 | 4.7626 | 134.894 | 4.678 | 131.4 | 14.53 | 980.789 | 62.3547 | 7.216
2020-10-30 18:45:00 | 5.061 | 128.8 | 5.276 | 148.6 | 5.6453 | 139.981 | 4.721 | 131.1 | 14.6 | 980.789 | 61.6379 | 7.1532
2020-10-30 19:00:00 | 4.65 | 130.5 | 4.898 | 145 | 5.2409 | 136.59 | 4.787 | 138 | 14.61 | 980.789 | 61.7055 | 8.6386
2020-10-30 19:15:00 | 3.748 | 135.6 | 4.042 | 154.5 | 4.3249 | 145.539 | 4.316 | 140.1 | 14.42 | 980.789 | 63.0029 | 8.5129
2020-10-30 19:30:00 | 4.757 | 139 | 5.172 | 157.5 | 5.534 | 148.365 | 5.91 | 144.2 | 14.33 | 980.492 | 63.481 | 11.1326
2020-10-30 19:45:00 | 5.656 | 139.2 | 6.427 | 155.1 | 6.8769 | 146.104 | 6.657 | 146.6 | 14.33 | 980.492 | 64.5736 | 16.697
2020-10-30 20:00:00 | 5.712 | 143.4 | 5.89 | 163.2 | 6.3023 | 153.734 | 7.349 | 149 | 14.03 | 980.492 | 65.9391 | 15.7216
2020-10-30 20:15:00 | 4.724 | 159.5 | 4.947 | 178.2 | 5.2933 | 167.864 | 5.686 | 157.6 | 13.9 | 980.492 | 66.7969 | 15.4518
2020-10-30 20:30:00 | 4.098 | 160.1 | 4.522 | 174.6 | 4.8385 | 164.473 | 5.121 | 158.4 | 13.76 | 980.195 | 67.2773 | 17.5505
2020-10-30 20:45:00 | 4.2 | 154.8 | 4.635 | 173.1 | 4.9595 | 163.06 | 5.304 | 155.2 | 13.76 | 980.195 | 68.3386 | 17.0443
2020-10-30 21:00:00 | 4.55 | 163.3 | 4.609 | 191.7 | 4.9316 | 180.581 | 4.787 | 160 | 13.62 | 980.195 | 68.5441 | 19.2538
2020-10-30 21:15:00 | 5.446 | 167.6 | 5.601 | 189 | 5.9931 | 178.038 | 5.541 | 169 | 13.68 | 980.344 | 69.773 | 20.8944
2020-10-30 21:30:00 | 6.343 | 157.4 | 6.545 | 171 | 7.0031 | 161.082 | 6.333 | 165.6 | 13.45 | 980.195 | 70.5922 | 20.6837
2020-10-30 21:45:00 | 5.875 | 160.9 | 5.798 | 170.6 | 6.2039 | 160.705 | 5.607 | 170.3 | 13.36 | 980.195 | 71.2067 | 20.6025
2020-10-30 22:00:00 | 5.566 | 163.5 | 5.836 | 175.7 | 6.2445 | 165.509 | 6.012 | 171 | 13.23 | 979.898 | 71.9577 | 22.0545
2020-10-30 22:15:00 | 6.253 | 162.4 | 6.542 | 176.2 | 6.9999 | 165.98 | 6.756 | 168.6 | 13.25 | 979.601 | 72.3673 | 22.4129
2020-10-30 22:30:00 | 7.259 | 162.9 | 6.984 | 178.1 | 7.4729 | 167.77 | 7.069 | 166.5 | 13.22 | 979.601 | 73.3914 | 21.4486
2020-10-30 22:45:00 | 6.169 | 166.7 | 6.327 | 176.7 | 6.7699 | 166.451 | 5.735 | 175.9 | 13.06 | 979.601 | 73.2548 | 23.2923
2020-10-30 23:00:00 | 6.718 | 162.1 | 6.882 | 176.2 | 7.3637 | 165.98 | 7.227 | 168.2 | 13.02 | 979.304 | 73.801 | 32.1525
2020-10-30 23:15:00 | 7.065 | 159.1 | 7.043 | 172.6 | 7.536 | 162.589 | 7.003 | 165.6 | 12.89 | 978.71 | 74.4154 | 42.8565
2020-10-30 23:30:00 | 6.312 | 154.8 | 6.491 | 178.2 | 6.9454 | 167.864 | 8.2 | 154.8 | 12.64 | 978.562 | 75.6443 | 47.3864
2020-10-30 23:45:00 | 7.364 | 154.3 | 7.938 | 170.6 | 8.4937 | 160.705 | 8.74 | 157 | 12.73 | 978.413 | 74.6202 | 51.0258