## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-31 00:00:00 | 6.486 | 152.3 | 7.24 | 171.5 | 7.7468 | 161.553 | 8.19 | 155.8 | 12.84 | 978.859 | 73.7327 | 52.1232
2020-10-31 00:15:00 | 6.932 | 154.8 | 7.388 | 172.4 | 7.9052 | 162.401 | 8.34 | 158.1 | 13.01 | 979.007 | 72.5721 | 50.5048
2020-10-31 00:30:00 | 7.502 | 155.7 | 8.01 | 172.9 | 8.5707 | 162.872 | 8.14 | 160.2 | 13.16 | 979.007 | 71.3432 | 52.8769
2020-10-31 00:45:00 | 7.609 | 161.1 | 8.17 | 174.3 | 8.7419 | 164.191 | 8.03 | 166.7 | 13.11 | 979.007 | 70.7971 | 52.8585
2020-10-31 01:00:00 | 8.21 | 157.3 | 8.58 | 171.4 | 9.1806 | 161.459 | 8.14 | 164.7 | 13.08 | 979.007 | 71.275 | 57.4105
2020-10-31 01:15:00 | 7.635 | 159.6 | 7.534 | 175.9 | 8.0614 | 165.698 | 8.23 | 162.5 | 12.92 | 978.71 | 72.1625 | 56.0028
2020-10-31 01:30:00 | 7.732 | 169.2 | 7.754 | 183.6 | 8.2968 | 172.951 | 8.33 | 172.9 | 13.04 | 978.71 | 71.8211 | 50.6748
2020-10-31 01:45:00 | 8.12 | 165.1 | 8.33 | 178.7 | 8.9131 | 168.335 | 8.49 | 166.1 | 12.8 | 978.413 | 72.7428 | 62.4909
2020-10-31 02:00:00 | 8.59 | 158.8 | 8.54 | 175 | 9.1378 | 164.85 | 8.67 | 161.2 | 12.53 | 978.116 | 73.3914 | 61.8591
2020-10-31 02:15:00 | 8.7 | 155.6 | 9.01 | 172.5 | 9.6407 | 162.495 | 9.76 | 159.2 | 12.43 | 978.116 | 74.6885 | 68.7537
2020-10-31 02:30:00 | 9.01 | 157.7 | 8.82 | 175.4 | 9.4374 | 165.227 | 8.83 | 159.3 | 12.39 | 977.374 | 73.801 | 69.6774
2020-10-31 02:45:00 | 8.16 | 154.7 | 8.52 | 172.7 | 9.1164 | 162.683 | 9.84 | 159 | 12.17 | 977.23 | 76.4636 | 75.5987
2020-10-31 03:00:00 | 7.793 | 148.4 | 7.915 | 170.9 | 8.469 | 160.988 | 9.12 | 151.1 | 12.1 | 976.632 | 75.9174 | 73.1764
2020-10-31 03:15:00 | 7.923 | 150 | 8.59 | 169.3 | 9.1913 | 159.481 | 10.32 | 155.4 | 11.95 | 976.664 | 76.7366 | 70.9543
2020-10-31 03:30:00 | 8.35 | 149 | 8.54 | 167.1 | 9.1378 | 157.408 | 10 | 152.9 | 11.96 | 976.396 | 75.6443 | 67.6231
2020-10-31 03:45:00 | 8.27 | 156.2 | 8.44 | 172.2 | 9.0308 | 162.212 | 9.72 | 159 | 12.01 | 976.662 | 74.7568 | 66.589
2020-10-31 04:00:00 | 8.65 | 157.5 | 9 | 171.3 | 9.63 | 161.365 | 9.95 | 162.6 | 12.23 | 976.655 | 74.2789 | 65.5539
2020-10-31 04:15:00 | 9.05 | 154.8 | 9.38 | 172.2 | 10.0366 | 162.212 | 9.58 | 163.6 | 12.22 | 976.945 | 74.8251 | 64.6922
2020-10-31 04:30:00 | 8.85 | 161.3 | 8.47 | 176.3 | 9.0629 | 166.075 | 8.92 | 165.3 | 12.11 | 976.335 | 75.3029 | 74.5398
2020-10-31 04:45:00 | 9.4 | 156.2 | 9.46 | 170.2 | 10.1222 | 160.328 | 10.1 | 158.9 | 12.01 | 976.502 | 76.8049 | 73.2861
2020-10-31 05:00:00 | 9.89 | 153 | 10.22 | 171.4 | 10.9354 | 161.459 | 10.99 | 158.4 | 11.89 | 976.335 | 76.7708 | 72.3783
2020-10-31 05:15:00 | 10.25 | 153.6 | 10.51 | 171.4 | 11.2457 | 161.459 | 10.82 | 158 | 11.84 | 976.062 | 78.0338 | 76.0732
2020-10-31 05:30:00 | 10.23 | 151.8 | 10.28 | 169.5 | 10.9996 | 159.669 | 10.72 | 157.7 | 11.75 | 976.052 | 78.3751 | 76.923
2020-10-31 05:45:00 | 9.47 | 151.3 | 10.18 | 168.7 | 10.8926 | 158.915 | 11.1 | 156.5 | 11.68 | 976.104 | 79.1261 | 72.5631
2020-10-31 06:00:00 | 8.51 | 161.5 | 9.13 | 178.7 | 9.7691 | 168.335 | 9.77 | 162.8 | 11.66 | 976.095 | 79.1944 | 71.3533
2020-10-31 06:15:00 | 9.82 | 156.8 | 9.78 | 171 | 10.4646 | 161.082 | 9.99 | 160.2 | 11.67 | 976.08 | 80.4915 | 67.5307
2020-10-31 06:30:00 | 9.21 | 152.8 | 9.95 | 168.3 | 10.6465 | 158.539 | 10.36 | 158.8 | 11.51 | 976.094 | 82.0618 | 69.6331
2020-10-31 06:45:00 | 8.79 | 150.2 | 9.48 | 169.7 | 10.1436 | 159.857 | 11.04 | 154.1 | 11.41 | 975.927 | 82.4031 | 72.068
2020-10-31 07:00:00 | 10.17 | 156.5 | 10.06 | 175.9 | 10.7642 | 165.698 | 10.18 | 158.6 | 11.55 | 976.101 | 81.6522 | 69.0402
2020-10-31 07:15:00 | 8.68 | 152.5 | 8.92 | 168 | 9.5444 | 158.256 | 9.89 | 156.7 | 11.46 | 976.083 | 82.9493 | 68.3066
2020-10-31 07:30:00 | 7.91 | 152.1 | 8.14 | 171.3 | 8.7098 | 161.365 | 9.13 | 154 | 11.52 | 976.392 | 82.4035 | 59.8122
2020-10-31 07:45:00 | 9.54 | 151.8 | 10.22 | 168.9 | 10.9354 | 159.104 | 10.79 | 155.9 | 11.44 | 976.099 | 82.1984 | 68.6244
2020-10-31 08:00:00 | 8.86 | 154.4 | 9.25 | 171.1 | 9.8975 | 161.176 | 9.3 | 158.5 | 11.53 | 976.732 | 82.6766 | 68.5377
2020-10-31 08:15:00 | 8.57 | 157.6 | 8.81 | 178.6 | 9.4267 | 168.241 | 9.66 | 158.5 | 11.41 | 976.661 | 83.4272 | 60.5031
2020-10-31 08:30:00 | 8.8 | 153.2 | 9 | 170 | 9.63 | 160.14 | 9.41 | 157.3 | 11.35 | 976.681 | 84.4513 | 61.0425
2020-10-31 08:45:00 | 9.51 | 155.3 | 9.25 | 168.3 | 9.8975 | 158.539 | 9.56 | 158.7 | 11.26 | 976.594 | 85.134 | 59.7715
2020-10-31 09:00:00 | 9.04 | 152.1 | 9.31 | 167.1 | 9.9617 | 157.408 | 9.41 | 158.1 | 11.14 | 976.381 | 85.0316 | 57.9019
2020-10-31 09:15:00 | 9.41 | 156.5 | 9.69 | 169 | 10.3683 | 159.198 | 9.67 | 160.2 | 11.23 | 976.697 | 85.2706 | 47.9813
2020-10-31 09:30:00 | 8.98 | 153.5 | 9.28 | 167.4 | 9.9296 | 157.691 | 9.51 | 157 | 11.19 | 976.381 | 85.9191 | 54.6615
2020-10-31 09:45:00 | 9.4 | 153 | 9.75 | 168.1 | 10.4325 | 158.35 | 9.73 | 157.8 | 11.27 | 976.686 | 85.9533 | 47.2238
2020-10-31 10:00:00 | 9.61 | 155.2 | 9.47 | 168.1 | 10.1329 | 158.35 | 9.2 | 161 | 11.31 | 976.124 | 86.0557 | 51.704
2020-10-31 10:15:00 | 8.91 | 151.6 | 9.21 | 167 | 9.8547 | 157.314 | 9.65 | 156.7 | 11.39 | 976.099 | 85.8167 | 49.559
2020-10-31 10:30:00 | 8.81 | 154 | 9.04 | 169.3 | 9.6728 | 159.481 | 9.61 | 159.2 | 11.51 | 976.271 | 85.4754 | 51.1884
2020-10-31 10:45:00 | 9.55 | 152.3 | 9.78 | 169 | 10.4646 | 159.198 | 9.67 | 156.3 | 11.63 | 976.083 | 84.3489 | 55.1714
2020-10-31 11:00:00 | 9.32 | 151.8 | 9.49 | 167.2 | 10.1543 | 157.502 | 9.43 | 157.2 | 11.84 | 976.038 | 83.9734 | 47.0206
2020-10-31 11:15:00 | 10.25 | 148.7 | 10.31 | 163.3 | 11.0317 | 153.829 | 9.61 | 153.9 | 12.02 | 976.038 | 82.7445 | 47.1204
2020-10-31 11:30:00 | 8.91 | 152.9 | 8.91 | 167.4 | 9.5337 | 157.691 | 8.51 | 157.8 | 12.36 | 976.038 | 80.8989 | 49.8915
2020-10-31 11:45:00 | 9.74 | 149.3 | 9.59 | 165.1 | 10.2613 | 155.524 | 8.56 | 156.7 | 12.69 | 976.038 | 78.019 | 45.236
2020-10-31 12:00:00 | 9.17 | 145.5 | 9.03 | 163.5 | 9.6621 | 154.017 | 8.76 | 149.5 | 13.1 | 975.444 | 78.017 | 40.259
2020-10-31 12:15:00 | 10.02 | 144.8 | 10.09 | 161.4 | 10.7963 | 152.039 | 9.28 | 151.2 | 12.96 | 975.554 | 78.3487 | 38.5557
2020-10-31 12:30:00 | 8.79 | 148.2 | 8.65 | 162.9 | 9.2555 | 153.452 | 8.09 | 154.6 | 13.31 | 975.192 | 78.4849 | 36.8487
2020-10-31 12:45:00 | 8.81 | 157.4 | 8.86 | 171.7 | 9.4802 | 161.741 | 8.35 | 162.1 | 13.83 | 975.146 | 76.0963 | 34
2020-10-31 13:00:00 | 8.05 | 155.6 | 8.09 | 174.2 | 8.6563 | 164.096 | 8.01 | 160.3 | 14.36 | 975.591 | 75.4479 | 26.2149
2020-10-31 13:15:00 | 8.51 | 143.1 | 8.59 | 157.9 | 9.1913 | 148.742 | 8.03 | 148.2 | 14.08 | 975.443 | 76.8465 | 22.8341
2020-10-31 13:30:00 | 7.727 | 154.4 | 7.235 | 169 | 7.7415 | 159.198 | 6.417 | 162.3 | 14.4 | 975.739 | 74.5898 | 17.3953
2020-10-31 13:45:00 | 7.877 | 157.6 | 7.672 | 174.1 | 8.209 | 164.002 | 6.364 | 166.5 | 14.98 | 975.739 | 72.9376 | 20.1776
2020-10-31 14:00:00 | 6.496 | 148.4 | 6.872 | 167.2 | 7.353 | 157.502 | 6.201 | 151.3 | 15.13 | 975.443 | 73.9929 | 14.9087
2020-10-31 14:15:00 | 6.59 | 144.9 | 6.614 | 162.1 | 7.077 | 152.698 | 6.038 | 151.1 | 15.31 | 975.739 | 72.867 | 13.4382
2020-10-31 14:30:00 | 6.284 | 151.5 | 6.892 | 167.3 | 7.3744 | 157.597 | 6.534 | 156 | 15.2 | 975.739 | 73.6869 | 18.925
2020-10-31 14:45:00 | 7.017 | 141.1 | 7.099 | 159 | 7.5959 | 149.778 | 6.868 | 147.2 | 15.18 | 975.443 | 72.8995 | 20.366
2020-10-31 15:00:00 | 7.341 | 145 | 7.135 | 162.1 | 7.6345 | 152.698 | 6.909 | 148.2 | 15.16 | 975.146 | 72.8682 | 22.7011
2020-10-31 15:15:00 | 7.908 | 148.7 | 7.675 | 164 | 8.2122 | 154.488 | 7.377 | 152.4 | 15.19 | 974.997 | 73.2069 | 25.3873
2020-10-31 15:30:00 | 7.811 | 145.1 | 7.889 | 162.4 | 8.4412 | 152.981 | 7.68 | 149.5 | 15.15 | 974.997 | 73.0431 | 22.5386
2020-10-31 15:45:00 | 7.165 | 148.5 | 7.038 | 166 | 7.5307 | 156.372 | 7.894 | 148.1 | 15.1 | 974.7 | 73.2954 | 25.7863
2020-10-31 16:00:00 | 7.277 | 146.1 | 7.434 | 163.1 | 7.9544 | 153.64 | 7.55 | 150.4 | 15.07 | 974.552 | 73.7076 | 23.9426
2020-10-31 16:15:00 | 6.555 | 145.2 | 6.57 | 160.7 | 6.2755 | 160.611 | 6.29 | 149.1 | 14.89 | 974.552 | 74.9701 | 25.1767
2020-10-31 16:30:00 | 6.455 | 138.2 | 6.846 | 153.3 | 7.3252 | 144.409 | 6.527 | 144.7 | 14.47 | 974.293 | 76.7104 | 28.8567
2020-10-31 16:45:00 | 6.223 | 139.6 | 6.358 | 156 | 6.8031 | 146.952 | 6.29 | 144 | 14.15 | 974.222 | 77.9459 | 28.7607
2020-10-31 17:00:00 | 7.561 | 139.1 | 8.27 | 156.2 | 8.8489 | 147.14 | 8.02 | 142.6 | 13.96 | 974.107 | 78.2252 | 33.3127
2020-10-31 17:15:00 | 6.692 | 141.2 | 7.03 | 157.1 | 7.5221 | 147.988 | 6.983 | 147.5 | 13.78 | 974.256 | 79.1801 | 32.4075
2020-10-31 17:30:00 | 7.254 | 139.9 | 7.457 | 157.6 | 7.979 | 148.459 | 7.37 | 145.1 | 13.6 | 973.959 | 79.5209 | 34
2020-10-31 17:45:00 | 6.644 | 144.3 | 7.199 | 162.2 | 7.7029 | 152.792 | 7.606 | 149.9 | 13.6 | 974.553 | 79.0468 | 33.5418
2020-10-31 18:00:00 | 5.214 | 144.9 | 5.036 | 166.7 | 5.3885 | 157.031 | 6.012 | 146.5 | 13.44 | 974.85 | 80.6947 | 33.1169
2020-10-31 18:15:00 | 5.697 | 142.6 | 6.562 | 161.6 | 7.0213 | 152.227 | 7.543 | 145.7 | 13.47 | 974.85 | 79.9793 | 33.6785
2020-10-31 18:30:00 | 5.878 | 144.3 | 6.476 | 161.9 | 6.9293 | 152.51 | 7.252 | 148.2 | 13.58 | 974.85 | 79.3309 | 37.0482
2020-10-31 18:45:00 | 6.419 | 139.5 | 6.731 | 156.2 | 7.2022 | 147.14 | 7.479 | 145 | 13.74 | 974.85 | 77.4876 | 37.8241
2020-10-31 19:00:00 | 5.972 | 145.5 | 6.795 | 161.4 | 7.2706 | 152.039 | 7.66 | 149.2 | 13.83 | 974.998 | 77.1463 | 33.66
2020-10-31 19:15:00 | 6.705 | 142.4 | 7.214 | 160.5 | 7.719 | 151.191 | 8.13 | 147.8 | 13.82 | 974.998 | 76.4294 | 35.1786
2020-10-31 19:30:00 | 6.317 | 140.8 | 6.637 | 160.1 | 7.1016 | 150.814 | 7.525 | 146.6 | 13.81 | 974.998 | 77.1463 | 37.6579
2020-10-31 19:45:00 | 5.301 | 143.9 | 6.051 | 166.6 | 6.4746 | 156.937 | 7.474 | 147.2 | 13.49 | 974.85 | 78.5117 | 34.9311
2020-10-31 20:00:00 | 6.149 | 144 | 6.79 | 164.1 | 7.2653 | 154.582 | 8.17 | 149.1 | 13.41 | 974.85 | 78.3069 | 35.2267
2020-10-31 20:15:00 | 5.835 | 143.6 | 6.713 | 164.5 | 7.1829 | 154.959 | 7.82 | 149.4 | 13.49 | 974.85 | 77.829 | 31.6833
2020-10-31 20:30:00 | 5.949 | 147.8 | 6.327 | 166.1 | 6.7699 | 156.466 | 7.512 | 153.4 | 13.64 | 975.443 | 76.1222 | 27.146
2020-10-31 20:45:00 | 6.235 | 148.2 | 6.997 | 162.8 | 7.4868 | 153.358 | 7.624 | 155.8 | 13.66 | 975.443 | 76.6684 | 25.8233
2020-10-31 21:00:00 | 6.059 | 148.1 | 6.741 | 163.7 | 7.2129 | 154.205 | 7.046 | 156.4 | 13.58 | 975.295 | 75.9857 | 24.4303
2020-10-31 21:15:00 | 6.363 | 150.1 | 6.611 | 165.2 | 7.0738 | 155.618 | 6.825 | 158.1 | 13.85 | 975.443 | 74.8933 | 24.0571
2020-10-31 21:30:00 | 6.095 | 149 | 6.578 | 162.7 | 7.0385 | 153.263 | 6.972 | 156.4 | 13.92 | 975.295 | 75.576 | 26.4218
2020-10-31 21:45:00 | 7.571 | 153.5 | 7.9 | 166.3 | 8.453 | 156.655 | 7.408 | 161.6 | 14.14 | 975.443 | 72.9817 | 26.9761
2020-10-31 22:00:00 | 6.598 | 153.1 | 7.342 | 166.1 | 7.8559 | 156.466 | 7.153 | 161.1 | 14.02 | 975.443 | 73.3534 | 25.258
2020-10-31 22:15:00 | 6.524 | 148.3 | 6.759 | 162.9 | 7.2321 | 153.452 | 7.072 | 156.3 | 13.96 | 975.443 | 73.3204 | 25.923
2020-10-31 22:30:00 | 6.044 | 148.1 | 6.744 | 162.4 | 7.2161 | 152.981 | 6.995 | 155 | 13.76 | 975.443 | 74.2098 | 25.5351
2020-10-31 22:45:00 | 6.246 | 148.3 | 6.869 | 161.8 | 7.3498 | 152.416 | 7.324 | 155.4 | 13.67 | 975.443 | 74.4152 | 23.8835
2020-10-31 23:00:00 | 5.993 | 148 | 6.596 | 165.8 | 7.0577 | 156.184 | 7.4 | 155.5 | 13.39 | 975.295 | 75.1664 | 21.4042
2020-10-31 23:15:00 | 5.73 | 150.5 | 6.698 | 165.4 | 7.1669 | 155.807 | 7.456 | 159.9 | 13.39 | 975.443 | 75.4054 | 20.2293
2020-10-31 23:30:00 | 5.702 | 156 | 6.455 | 166.9 | 6.9069 | 157.22 | 6.817 | 164.9 | 13.49 | 975.443 | 74.9616 | 16.7303
2020-10-31 23:45:00 | 5.153 | 157.1 | 5.962 | 170.7 | 6.3793 | 160.799 | 6.567 | 164.8 | 13.55 | 975.443 | 74.9616 | 15.7363