## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-01 00:00:00 | 3.828 | 158.7 | 5.123 | 171.6 | 5.4816 | 161.647 | 5.309 | 165.6 | 13.53 | 975.443 | 75.9174 | 13.4751
2020-11-01 00:15:00 | 3.771 | 156.2 | 5.011 | 168.7 | 5.3618 | 158.915 | 5.042 | 162.6 | 13.77 | 975.74 | 75.6443 | 11.0476
2020-11-01 00:30:00 | 3.736 | 160.2 | 4.901 | 175.4 | 5.2441 | 165.227 | 5.106 | 167.5 | 13.87 | 975.74 | 74.9275 | 10.3603
2020-11-01 00:45:00 | 3.253 | 158.2 | 4.451 | 172.8 | 4.7626 | 162.778 | 5.121 | 165 | 13.73 | 976.037 | 76.327 | 13.0354
2020-11-01 01:00:00 | 3.94 | 158.4 | 4.87 | 173.2 | 5.2109 | 163.154 | 5.032 | 163.2 | 13.77 | 976.037 | 75.0981 | 11.9565
2020-11-01 01:15:00 | 3.542 | 158.1 | 4.824 | 174.3 | 5.1617 | 164.191 | 4.563 | 163.9 | 13.6 | 976.037 | 75.576 | 10.8739
2020-11-01 01:30:00 | 3.623 | 158 | 4.903 | 173.6 | 5.2462 | 163.531 | 5.045 | 163 | 13.36 | 976.037 | 76.9415 | 12.4997
2020-11-01 01:45:00 | 3.557 | 161.7 | 4.134 | 179.3 | 4.4234 | 168.901 | 4.161 | 163.9 | 13.33 | 976.037 | 77.0097 | 8.1139
2020-11-01 02:00:00 | 4.31 | 165.3 | 4.412 | 176.7 | 4.7208 | 166.451 | 4.046 | 172.9 | 13.77 | 976.037 | 75.9174 | 4.2158
2020-11-01 02:15:00 | 4.308 | 174.7 | 4.323 | 181.9 | 4.6256 | 171.35 | 3.899 | 186.6 | 13.94 | 976.037 | 76.2587 | 2.7859
2020-11-01 02:30:00 | 3.628 | 177.2 | 3.975 | 183.6 | 4.2533 | 172.951 | 3.641 | 185.6 | 14.02 | 976.037 | 75.8491 | 2.3314
2020-11-01 02:45:00 | 3.565 | 180.3 | 3.788 | 186.5 | 4.0532 | 175.683 | 3.269 | 191.6 | 14 | 975.889 | 76.2587 | 2.1541
2020-11-01 03:00:00 | 2.137 | 178.7 | 2.83 | 180.4 | 3.0281 | 169.937 | 2.447 | 195.8 | 14.05 | 975.443 | 76.0198 | 0.2845
2020-11-01 03:15:00 | 2.298 | 213.3 | 2.347 | 201.1 | 2.5113 | 189.436 | 2.266 | 224.9 | 14.48 | 975.443 | 73.5266 | -0.32884
2020-11-01 03:30:00 | 1.283 | 228.7 | 1.866 | 222.3 | 1.9966 | 209.407 | 1.968 | 245.2 | 14.75 | 975.443 | 72.8452 | -0.33623
2020-11-01 03:45:00 | 2.944 | 238.5 | 3.269 | 240.5 | 3.4978 | 226.551 | 3.328 | 246.6 | 14.87 | 976.037 | 72.1954 | -0.25864
2020-11-01 04:00:00 | 3.039 | 232.2 | 3.517 | 233.9 | 3.7632 | 220.334 | 3.685 | 240.9 | 14.73 | 976.186 | 72.9768 | -1.1176e-08
2020-11-01 04:15:00 | 2.502 | 237.1 | 2.937 | 234.2 | 3.1426 | 220.616 | 3.287 | 246.2 | 14.58 | 976.186 | 73.6526 | 0.092371
2020-11-01 04:30:00 | 2.771 | 241.2 | 3.326 | 242.3 | 3.5588 | 228.247 | 3.608 | 249.3 | 14.54 | 976.334 | 74.0622 | 0.20322
2020-11-01 04:45:00 | 2.331 | 240.6 | 3.001 | 241 | 3.2111 | 227.022 | 3.427 | 254.4 | 14.39 | 976.334 | 74.8824 | 0.29559
2020-11-01 05:00:00 | 3.588 | 247.6 | 3.998 | 248.7 | 4.2779 | 234.275 | 4.112 | 255.6 | 14.51 | 976.928 | 74.8148 | 0.68724
2020-11-01 05:15:00 | 3.284 | 251 | 3.712 | 253.9 | 3.9718 | 239.174 | 4.252 | 257.9 | 14.27 | 976.928 | 76.4517 | 1.3449
2020-11-01 05:30:00 | 2.965 | 248 | 3.671 | 252.6 | 3.928 | 237.949 | 3.753 | 252.2 | 14.11 | 976.928 | 77.477 | 1.1676
2020-11-01 05:45:00 | 3.299 | 245.1 | 3.702 | 253.2 | 3.9611 | 238.514 | 3.728 | 246.7 | 13.96 | 976.928 | 78.4369 | 1.0863
2020-11-01 06:00:00 | 2.768 | 246.7 | 3.144 | 255.7 | 3.3641 | 240.869 | 3.297 | 251.1 | 13.58 | 976.928 | 80.4854 | 0.75005
2020-11-01 06:15:00 | 2.771 | 253.8 | 3.517 | 260.3 | 3.7632 | 245.203 | 3.44 | 256.1 | 13.3 | 976.78 | 82.2666 | 0.88676
2020-11-01 06:30:00 | 2.508 | 253.1 | 3.517 | 262.8 | 3.7632 | 247.558 | 3.527 | 256.5 | 12.96 | 976.928 | 84.2806 | 2.494
2020-11-01 06:45:00 | 3.174 | 257.9 | 3.745 | 268.5 | 4.0072 | 252.927 | 3.69 | 261.1 | 12.62 | 977.077 | 84.7926 | 4.1382
2020-11-01 07:00:00 | 2.914 | 276.4 | 3.267 | 290.6 | 3.4957 | 273.745 | 2.926 | 276.3 | 12.2 | 976.928 | 84.0416 | 3.887
2020-11-01 07:15:00 | 2.51 | 284.1 | 2.738 | 291.8 | 2.9297 | 274.876 | 2.057 | 282.7 | 11.86 | 977.225 | 85.6801 | 3.9941
2020-11-01 07:30:00 | 2.255 | 308.9 | 2.26 | 313.3 | 2.4182 | 295.129 | 2.605 | 328.9 | 11.32 | 977.225 | 86.3629 | 3.9572
2020-11-01 07:45:00 | 3.363 | 15.24 | 2.945 | 336.1 | 3.1511 | 316.606 | 2.414 | 1.411 | 10.7 | 977.225 | 85.885 | 1.6294
2020-11-01 08:00:00 | 0.267 | 14.17 | 1.444 | 28.55 | 1.5451 | 26.8941 | 1.228 | 12.28 | 10.81 | 977.225 | 84.3147 | 2.3869
2020-11-01 08:15:00 | 2.551 | 8.32 | 3.139 | 26.22 | 3.3587 | 24.6992 | 4.663 | 354.8 | 10.8 | 977.225 | 85.9532 | 3.7318
2020-11-01 08:30:00 | 3.256 | 352.6 | 3.154 | 14.09 | 3.3748 | 13.2728 | 5.513 | 352 | 10.87 | 977.374 | 86.6359 | 4.5262
2020-11-01 08:45:00 | 3.514 | 356.8 | 4.029 | 19.1 | 4.311 | 17.9922 | 5.969 | 352.2 | 10.83 | 977.225 | 87.1138 | 4.6333
2020-11-01 09:00:00 | 3.787 | 353.2 | 4.696 | 8.29 | 5.0247 | 7.8092 | 6.448 | 355.4 | 10.73 | 977.522 | 85.2022 | 4.6629
2020-11-01 09:15:00 | 2.99 | 358.4 | 3.607 | 20.06 | 3.8595 | 18.8965 | 5.544 | 355.7 | 10.88 | 977.671 | 87.1138 | 4.4264
2020-11-01 09:30:00 | 2.786 | 359.6 | 3.418 | 28.89 | 3.6573 | 27.2144 | 4.413 | 357.5 | 11.39 | 977.819 | 85.7484 | 4.4929
2020-11-01 09:45:00 | 2.51 | 353.4 | 3.183 | 19.79 | 3.4058 | 18.6422 | 4.484 | 353.1 | 11.48 | 978.116 | 84.8609 | 4.3895
2020-11-01 10:00:00 | 2.857 | 354.3 | 3.551 | 22 | 3.7996 | 20.724 | 4.428 | 349.4 | 12.18 | 978.413 | 79.8088 | 3.4658
2020-11-01 10:15:00 | 3.323 | 352.9 | 4.024 | 19.71 | 4.3057 | 18.5668 | 5.335 | 350.9 | 12.14 | 978.413 | 80.0819 | 4.8994
2020-11-01 10:30:00 | 1.969 | 359 | 3.441 | 30.43 | 3.6819 | 28.6651 | 3.983 | 351.5 | 12.36 | 978.413 | 78.637 | 6.5657
2020-11-01 10:45:00 | 2.928 | 358.4 | 3.594 | 26.2 | 3.8456 | 24.6804 | 3.71 | 353.1 | 12.36 | 978.71 | 75.7663 | 4.4782
2020-11-01 11:00:00 | 2.764 | 9.97 | 3.763 | 31.57 | 4.0264 | 29.7389 | 3.32 | 0.594 | 12.19 | 978.413 | 79.6928 | 3.7651
2020-11-01 11:15:00 | 2.535 | 26.04 | 4.261 | 44.94 | 4.5593 | 42.3335 | 3.478 | 19.88 | 12.94 | 978.562 | 69.9645 | 3.6172
2020-11-01 11:30:00 | 4.435 | 12.13 | 5.264 | 27.99 | 5.6325 | 26.3666 | 4.668 | 11.51 | 12.62 | 978.069 | 64.119 | 4.1345
2020-11-01 11:45:00 | 3.848 | 14.85 | 4.78 | 38.34 | 5.1146 | 36.1163 | 3.758 | 4.794 | 13.16 | 977.895 | 58.8978 | 3.6985
2020-11-01 12:00:00 | 2.869 | 16.36 | 4.374 | 41.4 | 4.6802 | 38.9988 | 3.718 | 10.53 | 13.73 | 978.115 | 55.1783 | 3.3143
2020-11-01 12:15:00 | 2.033 | 21.17 | 3.4 | 25.53 | 3.638 | 24.0493 | 3.725 | 20.74 | 15.55 | 978.411 | 51.3763 | 3.3032
2020-11-01 12:30:00 | 1.356 | 12.73 | 3.395 | 29.25 | 3.6326 | 27.5535 | 3.178 | 8.64 | 14.67 | 978.065 | 51.7824 | 4.3267
2020-11-01 12:45:00 | 2.781 | 15.7 | 4.688 | 31.99 | 5.0162 | 30.1346 | 4.309 | 12.46 | 14.48 | 978.089 | 52.6011 | 6.1778
2020-11-01 13:00:00 | 3.889 | 15.8 | 5.696 | 34.82 | 6.0947 | 32.8004 | 4.538 | 13.25 | 14.33 | 977.813 | 43.2202 | 6.3071
2020-11-01 13:15:00 | 4.522 | 11.09 | 5.737 | 33.77 | 6.1386 | 31.8113 | 5.48 | 6.437 | 14.43 | 977.52 | 34.2487 | 10.0204
2020-11-01 13:30:00 | 2.7 | 8.02 | 4.065 | 33.97 | 4.3495 | 31.9997 | 3.774 | 353.4 | 14.53 | 977.669 | 38.001 | 8.609
2020-11-01 13:45:00 | 2.57 | 11.89 | 4.026 | 28.36 | 4.3078 | 26.7151 | 3.024 | 8.51 | 15.03 | 977.817 | 37.9329 | 8.6829
2020-11-01 14:00:00 | 1.96 | 19.89 | 3.847 | 34.42 | 4.1163 | 32.4236 | 3.514 | 12.14 | 14.81 | 977.817 | 38.6492 | 7.4968
2020-11-01 14:15:00 | 2.256 | 21.56 | 3.729 | 23.59 | 3.99 | 22.2218 | 4.482 | 22.57 | 15.83 | 978.114 | 36.0566 | 7.434
2020-11-01 14:30:00 | 2.264 | 17.81 | 4.885 | 29.25 | 5.227 | 27.5535 | 4.27 | 16.33 | 15.86 | 978.087 | 33.0206 | 6.732
2020-11-01 14:45:00 | 1.971 | 15.06 | 3.799 | 28.83 | 4.0649 | 27.1579 | 3.183 | 5.556 | 15.28 | 977.795 | 28.9272 | 3.7687
2020-11-01 15:00:00 | 3.318 | 10.18 | 4.821 | 31.25 | 5.1585 | 29.4375 | 3.944 | 8.23 | 15.08 | 977.223 | 28.9272 | 3.8981
2020-11-01 15:15:00 | 3.189 | 6.836 | 3.794 | 26.99 | 4.0596 | 25.4246 | 4.105 | 2.984 | 14.94 | 977.223 | 28.3829 | 3.6653
2020-11-01 15:30:00 | 3.434 | 6.242 | 3.988 | 27.32 | 4.2672 | 25.7354 | 4.242 | 356.1 | 14.98 | 976.927 | 30.7714 | 3.6394
2020-11-01 15:45:00 | 3.994 | 9.81 | 4.502 | 26.9 | 4.8171 | 25.3398 | 3.736 | 9.83 | 14.87 | 976.927 | 32.8256 | 3.4658
2020-11-01 16:00:00 | 3.297 | 9.17 | 4.694 | 27.29 | 5.0226 | 25.7072 | 3.453 | 9.52 | 14.77 | 976.63 | 32.5542 | 2.3943
2020-11-01 16:15:00 | 2.814 | 10.98 | 5.021 | 28.61 | 5.3725 | 26.9506 | 3.593 | 15.11 | 14.59 | 976.481 | 33.3049 | 1.9989
2020-11-01 16:30:00 | 1.981 | 15.5 | 3.735 | 31.83 | 3.9964 | 29.9839 | 3.305 | 17.51 | 14.44 | 976.583 | 34.7386 | 0.90154
2020-11-01 16:45:00 | 2.541 | 12.01 | 3.686 | 28.48 | 3.944 | 26.8282 | 3.142 | 14.42 | 14.26 | 976.631 | 35.6309 | 1.3966
2020-11-01 17:00:00 | 2.354 | 11.36 | 3.249 | 26.34 | 3.4764 | 24.8123 | 3.02 | 14.51 | 14.12 | 976.631 | 36.4503 | 1.5038
2020-11-01 17:15:00 | 2.571 | 9.64 | 3.497 | 27.43 | 3.7418 | 25.8391 | 3.213 | 11.56 | 14.07 | 976.334 | 37.1995 | 1.3782
2020-11-01 17:30:00 | 2.878 | 10.74 | 3.952 | 28.14 | 4.2286 | 26.5079 | 3.786 | 15.96 | 13.98 | 976.483 | 38.294 | 2.6751
2020-11-01 17:45:00 | 3.021 | 11.48 | 3.875 | 27.87 | 4.1463 | 26.2535 | 3.354 | 12.83 | 13.91 | 976.78 | 39.3214 | 2.7711
2020-11-01 18:00:00 | 2.885 | 12.38 | 3.525 | 27.7 | 3.7717 | 26.0934 | 3.774 | 18.04 | 13.79 | 976.928 | 40.3481 | 1.829
2020-11-01 18:15:00 | 3.059 | 21.01 | 4.461 | 37.44 | 4.7733 | 35.2685 | 4.744 | 25.52 | 13.65 | 976.928 | 41.4405 | 1.4447
2020-11-01 18:30:00 | 2.786 | 31.77 | 4.637 | 48.37 | 4.9616 | 45.5645 | 4.96 | 35.24 | 13.64 | 977.225 | 42.328 | 2.01
2020-11-01 18:45:00 | 2.051 | 38.47 | 3.341 | 50.35 | 3.5749 | 47.4297 | 4.074 | 41.46 | 13.65 | 977.225 | 43.4886 | 0.91263
2020-11-01 19:00:00 | 1.601 | 37.77 | 3.211 | 58.2 | 3.4358 | 54.8244 | 3.924 | 40.1 | 13.64 | 977.522 | 43.2838 | 0.37687
2020-11-01 19:15:00 | 2.196 | 32.45 | 3.259 | 50.87 | 3.4871 | 47.9195 | 3.827 | 35.76 | 13.73 | 977.522 | 40.9626 | 0.24016
2020-11-01 19:30:00 | 2.306 | 34.44 | 2.789 | 50.48 | 2.9842 | 47.5522 | 3.106 | 36.98 | 13.95 | 977.522 | 36.2519 | 0.081287
2020-11-01 19:45:00 | 2.536 | 33.14 | 3.111 | 51.75 | 3.3288 | 48.7485 | 2.9 | 36.48 | 14.05 | 977.819 | 32.6336 | -0.26233
2020-11-01 20:00:00 | 2.605 | 58.35 | 3.162 | 73.84 | 3.3833 | 69.5573 | 3.366 | 61.43 | 14.07 | 977.819 | 34.4769 | -0.18474
2020-11-01 20:15:00 | 2.319 | 72.29 | 3.075 | 88.2 | 3.2902 | 83.0844 | 3.7 | 74.94 | 14.14 | 977.819 | 26.6257 | -0.11084
2020-11-01 20:30:00 | 2.214 | 70.16 | 2.968 | 84.8 | 3.1758 | 79.8816 | 3.351 | 73.51 | 14.21 | 977.968 | 25.943 | -0.18474
2020-11-01 20:45:00 | 2.209 | 78.88 | 3.277 | 98.9 | 3.5064 | 93.1638 | 3.718 | 82.2 | 14.08 | 978.116 | 25.8747 | -0.14779
2020-11-01 21:00:00 | 2.449 | 84.7 | 3.351 | 106.4 | 3.5856 | 100.229 | 3.269 | 84.6 | 14.27 | 978.116 | 23.1439 | -0.17735
2020-11-01 21:15:00 | 2.773 | 110 | 2.975 | 130.1 | 3.1833 | 122.554 | 3.104 | 109.8 | 14.05 | 978.413 | 23.7583 | 0.25494
2020-11-01 21:30:00 | 1.426 | 98.1 | 2.722 | 121.1 | 2.9125 | 114.076 | 2.477 | 100.6 | 14.4 | 978.413 | 21.0957 | 0.24386
2020-11-01 21:45:00 | 2.939 | 92.6 | 3.385 | 109.2 | 3.622 | 102.866 | 2.271 | 98.7 | 14.73 | 978.413 | 19.7303 | 0.16996
2020-11-01 22:00:00 | 2.686 | 110.5 | 2.612 | 120.3 | 2.7948 | 113.323 | 1.826 | 116.7 | 14.72 | 978.413 | 18.3649 | -0.17735
2020-11-01 22:15:00 | 2.086 | 114.9 | 1.485 | 121.4 | 1.589 | 114.359 | 0.432 | 125.8 | 15.02 | 978.413 | 17.4774 | -0.14779
2020-11-01 22:30:00 | 2.594 | 102.2 | 2.162 | 115.6 | 2.3133 | 108.895 | 0.599 | 125.2 | 15.05 | 978.413 | 17.2726 | -0.0036948
2020-11-01 22:45:00 | 1.508 | 138.9 | 1.858 | 138.4 | 1.9881 | 130.373 | 1.15 | 126.3 | 15.06 | 978.413 | 16.2144 | -0.28081
2020-11-01 23:00:00 | 1.429 | 117.2 | 1.59 | 123.6 | 1.7013 | 116.431 | 0.749 | 126.2 | 15.12 | 978.413 | 16.4533 | -0.25864
2020-11-01 23:15:00 | 0.477 | 148.9 | 1.641 | 147.2 | 1.7559 | 138.662 | 1.09 | 127.1 | 14.99 | 978.413 | 16.385 | -0.26972
2020-11-01 23:30:00 | 1.515 | 161.2 | 2.214 | 167.3 | 2.369 | 157.597 | 1.629 | 149.5 | 14.86 | 978.413 | 16.9312 | 0.66138
2020-11-01 23:45:00 | 1.153 | 125.9 | 2.549 | 136.4 | 2.7274 | 128.489 | 2.103 | 140.7 | 14.65 | 977.968 | 15.9072 | 1.611