## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-02 00:00:00 | 2.405 | 92.1 | 2.505 | 111.3 | 2.6803 | 104.845 | 1.642 | 100.2 | 14.89 | 978.116 | 15.9754 | 1.6848
2020-11-02 00:15:00 | 1.512 | 147.2 | 2.536 | 165.5 | 2.7135 | 155.901 | 2.865 | 150.5 | 14.63 | 978.116 | 16.8629 | 3.015
2020-11-02 00:30:00 | 1.941 | 140.6 | 2.564 | 159.5 | 2.7435 | 150.249 | 2.562 | 152.8 | 14.55 | 978.116 | 16.8629 | 3.0224
2020-11-02 00:45:00 | 1.412 | 157.5 | 2.183 | 166.3 | 2.3358 | 156.655 | 1.874 | 154.6 | 14.54 | 978.116 | 17.8187 | 3.1111
2020-11-02 01:00:00 | 1.665 | 165.2 | 1.684 | 173 | 1.8019 | 162.966 | 1.403 | 156.4 | 13.81 | 978.116 | 20.14 | 2.4682
2020-11-02 01:15:00 | 1.49 | 173.5 | 1.779 | 179.7 | 1.9035 | 169.277 | 1.652 | 177.3 | 14.29 | 977.968 | 20.14 | 3.2071
2020-11-02 01:30:00 | 1.484 | 178.9 | 2.221 | 180 | 2.3765 | 169.56 | 1.787 | 184.8 | 14.2 | 977.968 | 22.0515 | 4.5742
2020-11-02 01:45:00 | 2.5 | 163.3 | 3.216 | 173.5 | 3.4411 | 163.437 | 2.409 | 178.8 | 13.47 | 977.819 | 25.7382 | 4.2121
2020-11-02 02:00:00 | 2.834 | 163.9 | 3.543 | 172.7 | 3.791 | 162.683 | 2.717 | 181.1 | 13.47 | 978.116 | 27.2401 | 3.4325
2020-11-02 02:15:00 | 3.493 | 165.7 | 3.597 | 170.2 | 3.8488 | 160.328 | 2.847 | 183.3 | 13.71 | 977.968 | 27.3767 | 3.7355
2020-11-02 02:30:00 | 2.428 | 160.2 | 3.326 | 172.5 | 3.5588 | 162.495 | 3.41 | 171.9 | 13.33 | 977.821 | 30.995 | 3.2441
2020-11-02 02:45:00 | 2.635 | 160 | 3.607 | 172.5 | 3.8595 | 162.495 | 3.682 | 176.3 | 12.94 | 977.819 | 33.6576 | 2.3167
2020-11-02 03:00:00 | 2.333 | 159.9 | 3.436 | 169.8 | 3.6765 | 159.952 | 3.708 | 171.3 | 12.66 | 977.819 | 37.5491 | 2.579
2020-11-02 03:15:00 | 2.1 | 156.8 | 3.267 | 167.3 | 3.4957 | 157.597 | 3.911 | 167.5 | 12.91 | 977.57 | 33.5893 | 2.4349
2020-11-02 03:30:00 | 3.312 | 164.4 | 4.026 | 177.7 | 4.3078 | 167.393 | 4.309 | 172.1 | 12.81 | 977.619 | 35.5692 | 3.0076
2020-11-02 03:45:00 | 3.092 | 156.5 | 4.157 | 169.3 | 4.448 | 159.481 | 4.545 | 167.6 | 12.25 | 977.322 | 34.3403 | 4.6444
2020-11-02 04:00:00 | 3.327 | 153.3 | 4.435 | 164.5 | 4.7454 | 154.959 | 4.787 | 162.7 | 11.82 | 977.293 | 43.7617 | 7.2604
2020-11-02 04:15:00 | 3.123 | 155 | 4.43 | 167 | 4.7401 | 157.314 | 4.856 | 160.7 | 11.15 | 977.102 | 46.2884 | 9.0376
2020-11-02 04:30:00 | 3.718 | 155.5 | 4.763 | 167.3 | 5.0964 | 157.597 | 4.932 | 165.2 | 11.29 | 977.183 | 49.6054 | 6.7911
2020-11-02 04:45:00 | 3.217 | 156.6 | 4.336 | 175.1 | 4.6395 | 164.944 | 5.345 | 164.4 | 11.08 | 977.443 | 58.6548 | 8.258
2020-11-02 05:00:00 | 4.867 | 151.8 | 5.698 | 164.5 | 6.0969 | 154.959 | 6.099 | 163.8 | 10.65 | 977.487 | 65.21 | 6.5473
2020-11-02 05:15:00 | 4.269 | 163 | 5.532 | 170.1 | 5.9192 | 160.234 | 5.383 | 177.7 | 10.64 | 977.523 | 59.9532 | 5.9967
2020-11-02 05:30:00 | 3.955 | 179.2 | 4.558 | 185.5 | 4.8771 | 174.741 | 4.95 | 192.4 | 11.29 | 977.673 | 48.143 | 3.6911
2020-11-02 05:45:00 | 3.6 | 196.6 | 4.221 | 208.2 | 4.5165 | 196.124 | 5.396 | 202.1 | 11.96 | 977.821 | 45.2047 | 3.4103
2020-11-02 06:00:00 | 3.537 | 191.8 | 4.74 | 203.4 | 5.0718 | 191.603 | 5.709 | 198 | 11.26 | 978.073 | 49.8123 | 3.4731
2020-11-02 06:15:00 | 5.204 | 192.4 | 5.872 | 205.9 | 6.283 | 193.958 | 6.124 | 197.3 | 10.9 | 978.106 | 62.0695 | 6.3256
2020-11-02 06:30:00 | 6.092 | 192.6 | 6.33 | 206.8 | 6.7731 | 194.806 | 5.63 | 193.7 | 9.74 | 977.958 | 65.1417 | 9.5475
2020-11-02 06:45:00 | 5.36 | 204.8 | 5.785 | 214.2 | 6.1899 | 201.776 | 6.188 | 209.8 | 9.76 | 978.267 | 61.8027 | 10.4749
2020-11-02 07:00:00 | 4.351 | 228.7 | 5.553 | 239.1 | 5.9417 | 225.232 | 6.063 | 233.3 | 9.94 | 978.712 | 56.5464 | 13.6931
2020-11-02 07:15:00 | 5.628 | 236 | 6.437 | 245.7 | 6.8876 | 231.449 | 7.077 | 240 | 10.77 | 979.307 | 47.663 | 14.3064
2020-11-02 07:30:00 | 5.071 | 247.2 | 5.259 | 259.3 | 5.6271 | 244.261 | 5.447 | 250.1 | 10.5 | 979.811 | 44.3838 | 13.7633
2020-11-02 07:45:00 | 4.147 | 255 | 4.328 | 260.8 | 4.631 | 245.674 | 4.072 | 264.8 | 10.25 | 979.693 | 43.6253 | 6.7616
2020-11-02 08:00:00 | 3.24 | 273.2 | 3.466 | 283.3 | 3.7086 | 266.869 | 3.988 | 277.2 | 10.39 | 980.199 | 43.4204 | 4.9363
2020-11-02 08:15:00 | 3.34 | 293 | 3.763 | 304.4 | 4.0264 | 286.745 | 3.965 | 299.6 | 10.47 | 980.344 | 42.0876 | 2.8044
2020-11-02 08:30:00 | 3.08 | 326.3 | 3.528 | 332.4 | 3.775 | 313.121 | 3.687 | 335.7 | 10.75 | 980.789 | 41.9792 | 2.6751
2020-11-02 08:45:00 | 2.753 | 341.2 | 2.824 | 356.5 | 3.0217 | 335.823 | 3.035 | 347.5 | 11.36 | 980.539 | 41.2901 | 3.7429
2020-11-02 09:00:00 | 3.138 | 343 | 3.251 | 352.6 | 3.4786 | 332.149 | 3.927 | 345.2 | 11.47 | 980.786 | 39.788 | 5.6753
2020-11-02 09:15:00 | 3.159 | 10.12 | 3.058 | 10.89 | 3.2721 | 10.2584 | 3.226 | 10.49 | 11.63 | 981.231 | 40.2584 | 11.5094
2020-11-02 09:30:00 | 3.485 | 345.2 | 3.97 | 2.117 | 4.2479 | 1.9942 | 4.231 | 334.7 | 11.52 | 981.083 | 41.2437 | 10.9922
2020-11-02 09:45:00 | 3.478 | 358.3 | 3.621 | 11.67 | 3.8745 | 10.9931 | 3.616 | 350.2 | 11.92 | 981.083 | 39.5361 | 11.7792
2020-11-02 10:00:00 | 3.011 | 21.94 | 3.674 | 12.75 | 3.9312 | 12.0105 | 4.107 | 15.56 | 12.51 | 981.083 | 35.545 | 14.9309
2020-11-02 10:15:00 | 1.887 | 23.88 | 3.137 | 33.98 | 3.3566 | 32.0092 | 4.051 | 16.54 | 12.87 | 981.195 | 35.0333 | 29.3999
2020-11-02 10:30:00 | 5.357 | 351.7 | 5.565 | 15.61 | 5.9546 | 14.7046 | 6.226 | 346.3 | 12.92 | 981.195 | 32.6113 | 35.0936
2020-11-02 10:45:00 | 3.786 | 14.63 | 4.081 | 8.19 | 4.3667 | 7.715 | 5.08 | 15.37 | 13.25 | 981.164 | 29.9505 | 48.7826
2020-11-02 11:00:00 | 6.723 | 343.7 | 6.532 | 359.6 | 6.9892 | 338.743 | 6.606 | 340.1 | 13.17 | 981.157 | 28.1085 | 56.2059
2020-11-02 11:15:00 | 4.89 | 346.5 | 6.169 | 3.123 | 6.6008 | 2.9419 | 7.904 | 346.1 | 13.46 | 980.954 | 26.9828 | 50.7598
2020-11-02 11:30:00 | 3.858 | 5.556 | 4.674 | 20.07 | 5.0012 | 18.9059 | 4.909 | 353.5 | 13.74 | 981.307 | 25.9594 | 60.843
2020-11-02 11:45:00 | 5.587 | 351.3 | 5.131 | 359.4 | 5.4902 | 338.555 | 5.798 | 351.1 | 13.61 | 981.037 | 27.1533 | 56.973
2020-11-02 12:00:00 | 5.28 | 0.064 | 5.949 | 21.01 | 6.3654 | 19.7914 | 6.848 | 356.2 | 13.36 | 981.005 | 28.6202 | 53.2612
2020-11-02 12:15:00 | 4.025 | 13.04 | 5.204 | 27.79 | 5.5683 | 26.1782 | 5.865 | 357 | 13.41 | 981.078 | 29.5412 | 55.0162
2020-11-02 12:30:00 | 5.242 | 352.2 | 6.629 | 9.45 | 7.093 | 8.9019 | 7.624 | 348.1 | 13.2 | 981.083 | 30.9057 | 48.2547
2020-11-02 12:45:00 | 7.568 | 329.2 | 8.53 | 346.4 | 9.1271 | 326.309 | 8.07 | 328.5 | 12.95 | 980.933 | 26.5393 | 62.612
2020-11-02 13:00:00 | 6.212 | 343.2 | 6.345 | 344.9 | 6.7892 | 324.896 | 5.87 | 348.9 | 13.25 | 981.083 | 25.0727 | 63.8896
2020-11-02 13:15:00 | 6.999 | 334.8 | 7.115 | 353.5 | 7.6131 | 332.997 | 7.764 | 331.9 | 12.77 | 980.489 | 24.0505 | 60.4949
2020-11-02 13:30:00 | 7.379 | 311.9 | 8.85 | 327.2 | 9.4695 | 308.222 | 9.28 | 312.6 | 12.81 | 980.489 | 24.3622 | 60.6178
2020-11-02 13:45:00 | 4.857 | 341.6 | 5.535 | 358.6 | 5.9225 | 337.801 | 5.297 | 339.1 | 12.63 | 980.934 | 26.9578 | 56.073
2020-11-02 14:00:00 | 5.339 | 335.4 | 5.213 | 351 | 5.5779 | 330.642 | 5.052 | 332 | 12.58 | 980.786 | 24.3303 | 52.0715
2020-11-02 14:15:00 | 5.025 | 336.3 | 5.176 | 353.5 | 5.5383 | 332.997 | 5.136 | 335.6 | 12.55 | 980.786 | 23.9888 | 45.7274
2020-11-02 14:30:00 | 5.303 | 332.9 | 5.682 | 351 | 6.0797 | 330.642 | 6.364 | 332.2 | 12.47 | 980.489 | 24.0232 | 43.1927
2020-11-02 14:45:00 | 4.109 | 356.7 | 4.88 | 16.5 | 5.2216 | 15.543 | 5.597 | 350.5 | 12.53 | 980.934 | 23.4431 | 35.9287
2020-11-02 15:00:00 | 6.322 | 332.4 | 6.396 | 349.4 | 6.8437 | 329.135 | 6.168 | 332.9 | 12.3 | 980.786 | 23.2384 | 33.4347
2020-11-02 15:15:00 | 4.389 | 334.8 | 4.591 | 354.3 | 4.9124 | 333.751 | 4.716 | 333.9 | 12.27 | 980.786 | 23.7843 | 32.0528
2020-11-02 15:30:00 | 3.338 | 358.5 | 4.036 | 17.01 | 4.3185 | 16.0234 | 5.123 | 346.4 | 12.07 | 980.499 | 23.682 | 35.0013
2020-11-02 15:45:00 | 4.974 | 345.1 | 5.476 | 1.866 | 5.8593 | 1.7578 | 6.134 | 343.3 | 11.95 | 980.554 | 23.6137 | 30.9296
2020-11-02 16:00:00 | 4.793 | 341.2 | 5.563 | 2.16 | 5.9524 | 2.0347 | 5.959 | 335.2 | 11.88 | 980.636 | 22.3198 | 29.1265
2020-11-02 16:15:00 | 3.612 | 353.2 | 4.711 | 21.37 | 5.0408 | 20.1305 | 5.465 | 344.4 | 11.75 | 980.344 | 23.2082 | 24.519
2020-11-02 16:30:00 | 4.624 | 354.7 | 4.576 | 19.61 | 4.8963 | 18.4726 | 6.229 | 348.3 | 11.53 | 979.898 | 24.5046 | 26.206
2020-11-02 16:45:00 | 4.555 | 347 | 4.614 | 15.83 | 4.937 | 14.9119 | 5.949 | 344.8 | 11.32 | 979.898 | 22.8702 | 25.2986
2020-11-02 17:00:00 | 4.645 | 353.1 | 5.772 | 23.52 | 6.176 | 22.1558 | 7.657 | 350.1 | 11.2 | 979.601 | 22.1881 | 21.7737
2020-11-02 17:15:00 | 4.512 | 9.83 | 4.757 | 20.16 | 5.09 | 18.9907 | 6.175 | 5.073 | 10.99 | 979.704 | 23.3487 | 17.6059
2020-11-02 17:30:00 | 4.788 | 2.241 | 5.351 | 15.83 | 5.7256 | 14.9119 | 8.18 | 4.31 | 10.86 | 979.175 | 23.1443 | 21.4338
2020-11-02 17:45:00 | 4.783 | 8.44 | 4.998 | 19.39 | 5.3479 | 18.2654 | 4.645 | 8.37 | 10.75 | 979.463 | 22.7381 | 26.0893
2020-11-02 18:00:00 | 4.76 | 9.75 | 6.726 | 27.72 | 7.1968 | 26.1122 | 6.099 | 11.74 | 10.47 | 979.446 | 23.1479 | 28.2397
2020-11-02 18:15:00 | 4.489 | 16.68 | 7.025 | 33.53 | 7.5168 | 31.5853 | 7.123 | 19.27 | 10.46 | 979.306 | 21.9198 | 24.1643
2020-11-02 18:30:00 | 4.543 | 14.01 | 6.757 | 30.28 | 7.23 | 28.5238 | 6.802 | 17.76 | 10.32 | 979.307 | 20.7605 | 16.6822
2020-11-02 18:45:00 | 3.019 | 10.55 | 4.87 | 22.35 | 5.2109 | 21.0537 | 4.484 | 9.72 | 10.42 | 979.901 | 20.9663 | 5.2652
2020-11-02 19:00:00 | 3.182 | 18.5 | 4.341 | 32.53 | 4.6449 | 30.6433 | 4.734 | 23.05 | 10.55 | 980.049 | 21.4444 | 1.9915
2020-11-02 19:15:00 | 2.995 | 15.84 | 4.031 | 32.08 | 4.3132 | 30.2194 | 4.273 | 16.06 | 10.43 | 980.346 | 21.1712 | 1.5481
2020-11-02 19:30:00 | 2.388 | 12.61 | 3.464 | 30.3 | 3.7065 | 28.5426 | 3.585 | 15.27 | 10.4 | 980.346 | 21.4786 | -0.0073897
2020-11-02 19:45:00 | 2.49 | 20.72 | 3.799 | 37.06 | 4.0649 | 34.9105 | 4.23 | 26.28 | 10.33 | 980.198 | 21.7176 | 0.50989
2020-11-02 20:00:00 | 2.477 | 22.98 | 3.492 | 36.19 | 3.7364 | 34.091 | 3.562 | 28.13 | 10.24 | 980.346 | 21.4444 | 0.19213
2020-11-02 20:15:00 | 1.167 | 38.34 | 1.973 | 48.18 | 2.1111 | 45.3856 | 2.154 | 45.85 | 10.11 | 980.535 | 21.7859 | -0.018474
2020-11-02 20:30:00 | 1.337 | 28.78 | 2.924 | 46.82 | 3.1287 | 44.1044 | 3.208 | 34.91 | 9.88 | 980.586 | 23.425 | -0.036949
2020-11-02 20:45:00 | 1.751 | 33.33 | 2.479 | 49.7 | 2.6525 | 46.8174 | 2.821 | 37.34 | 9.96 | 980.718 | 24.1079 | -0.018474
2020-11-02 21:00:00 | 1.741 | 24.12 | 2.873 | 40.87 | 3.0741 | 38.4995 | 3.282 | 25.98 | 9.94 | 981.091 | 24.5177 | 0.22908
2020-11-02 21:15:00 | 2.725 | 15.85 | 3.737 | 32.01 | 3.9986 | 30.1534 | 3.942 | 21.2 | 9.95 | 981.375 | 24.7226 | 0.3584
2020-11-02 21:30:00 | 3.016 | 7.165 | 3.832 | 24.48 | 4.1002 | 23.0602 | 3.078 | 14.12 | 9.79 | 981.344 | 24.8591 | 0.36949
2020-11-02 21:45:00 | 2.691 | 7.359 | 3.241 | 20.7 | 3.4679 | 19.4994 | 3.211 | 14.27 | 9.76 | 981.508 | 24.9274 | 0.3584
2020-11-02 22:00:00 | 2.523 | 9.63 | 3.305 | 25.28 | 3.5364 | 23.8138 | 3.468 | 16.64 | 9.74 | 981.659 | 24.9957 | 0.22169
2020-11-02 22:15:00 | 2.962 | 3.044 | 3.236 | 17.82 | 3.4625 | 16.7864 | 3.764 | 9.93 | 9.63 | 981.678 | 25.3372 | 0.46186
2020-11-02 22:30:00 | 3.143 | 4.77 | 3.556 | 18.07 | 3.8049 | 17.0219 | 3.899 | 6.753 | 9.47 | 981.831 | 26.0201 | 0.72788
2020-11-02 22:45:00 | 3.034 | 6.581 | 3.671 | 6.541 | 3.928 | 6.1616 | 3.04 | 6.072 | 9.28 | 981.984 | 26.6348 | 0.4988
2020-11-02 23:00:00 | 2.829 | 17.54 | 2.658 | 15.34 | 2.8441 | 14.4503 | 2.516 | 6.219 | 9.07 | 981.984 | 27.6592 | 0.63551
2020-11-02 23:15:00 | 3.516 | 356.7 | 3.921 | 8.44 | 4.1955 | 7.9505 | 3.69 | 1.819 | 8.63 | 981.984 | 30.2544 | 0.84242
2020-11-02 23:30:00 | 2.605 | 13.46 | 3.714 | 29.15 | 3.974 | 27.4593 | 3.972 | 17.69 | 8.21 | 981.686 | 31.6911 | 3.0519
2020-11-02 23:45:00 | 2.028 | 18.74 | 3.556 | 33.09 | 3.8049 | 31.1708 | 4.566 | 22.92 | 7.933 | 981.389 | 31.0833 | 2.2612